## BoQ1
Government eProcurement System Created By: Sudhir Kumar Created Date/Time: 28-Oct-2024 01:09 PM Tender Title: Construction of Multi-Purpose Halls, Classrooms, Toilet Blocks, Mid-Day Meal Shelter, Drinking Water Tank, Prayer Stage (with and without Shed) and other associated infrastructure works in schools nearby GHAVP, Vill-Gorakhpur, Fatehabad, Haryana. Tender ID: 2024_NPCIL_206739_1
Tender Inviting Authority: Chief Construction Engineer
Name of Work: Construction of Multi-Purpose Halls, Classrooms, Toilet Blocks (Boys & Girls), Mid-Day Meal Shelter, Drinking Water Tank, Prayer Stage with Shed, Prayer Stage without Shed and other associated infrastructure works in nearby schools near Gorakhpur Haryana Anu Vidyut Pariyojana (GHAVP), Village-Gorakhpur, Distt.- Fatehabad, Haryana.
Contract No: NPCIL/GHAVP/CTC/2024/PT-238
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s. JYOTI SARUP MITTAL (GSTN-07AAAFJ3400H2ZW) BID ID -747387 |  | MEHTA CONSTRUCTION CO. (GSTN-06AAHFM3503D1ZT) BID ID -747562 |  | PREM KUMAR BANSAL PROJECTS LLP (GSTN-NA) BID ID -748338 |  | gauri buildcon pvt. ltd. (GSTN-NA) BID ID -748359 |  | LORD SHIVA CONSTRUCTION CO (GSTN-NA) BID ID -747434
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish outside the periphery of the area cleared. | 6000.00 | SqM |  | 20.00 | 120000.00 | 2.00 | 12000.00 | 9.00 | 54000.00 | 10.00 | 60000.00 | 12.00 | 72000.00 | 12000.00 | MEHTA CONSTRUCTION CO.
2.00 | EXCAVATION :- Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas including getting out and disposal of excavated earth as directed by Engineer-in-charge. | 5000.00 | CuM |  | 160.00 | 800000.00 | 135.00 | 675000.00 | 155.00 | 775000.00 | 280.00 | 1400000.00 | 200.00 | 1000000.00 | 675000.00 | MEHTA CONSTRUCTION CO.
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering as directed by Engineer-in-charge. | 5000.00 | CuM |  | 60.00 | 300000.00 | 125.00 | 625000.00 | 165.00 | 825000.00 | 240.00 | 1200000.00 | 250.00 | 1250000.00 | 300000.00 | M/s. JYOTI SARUP MITTAL
4.00 | Supplying and filling of local earth (including royalty) by mechanical transport also including ramming and watering of the earth in layers not exceeding 20cm in trenches, plinth, sides of foundation etc. complete. | 7000.00 | CuM |  | 480.00 | 3360000.00 | 155.00 | 1085000.00 | 470.00 | 3290000.00 | 320.00 | 2240000.00 | 250.00 | 1750000.00 | 1085000.00 | MEHTA CONSTRUCTION CO.
5.00 | Supplying chemical emulsion Chlorpyriphos/ Lindane emulsifiable concentrate of 20% in sealed containers including delivery as specified | 1100.00 | Ltr |  | 380.00 | 418000.00 | 128.00 | 140800.00 | 130.00 | 143000.00 | 110.00 | 121000.00 | 50.00 | 55000.00 | 55000.00 | LORD SHIVA CONSTRUCTION CO
6.00 | Diluting and injecting chemical emulsion for anti-termite treatment (excluding the cost of chemical emulsion) with Chlorpyriphos/ Lindane E.C. 20% with 1% concentration for Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor. | 2000.00 | SqM |  | 60.00 | 120000.00 | 128.75 | 257500.00 | 35.00 | 70000.00 | 60.00 | 120000.00 | 15.00 | 30000.00 | 30000.00 | LORD SHIVA CONSTRUCTION CO
7.00 | Concrete Works
7.10 | CONCRETE (1:3:6, upto PLINTH LEVEL) :- Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 975.00 | CuM |  | 6300.00 | 6142500.00 | 4996.00 | 4871100.00 | 4990.00 | 4865250.00 | 6000.00 | 5850000.00 | 5400.00 | 5265000.00 | 4865250.00 | PREM KUMAR BANSAL PROJECTS LLP
7.20 | DPC :- Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) . | 225.00 | SqM |  | 750.00 | 168750.00 | 307.00 | 69075.00 | 330.00 | 74250.00 | 305.00 | 68625.00 | 300.00 | 67500.00 | 67500.00 | LORD SHIVA CONSTRUCTION CO
8.00 | CONCRETE (M25) :- Providing and laying structural reinforced cement concrete work, machine batched (using weigh batcher) and machine mixed, design mix M-25 grade cement concrete conforming to IS:456 at all heights and depth for construction of beams, columns, staircases chajja, roof slabs, facia, canopies, fins, porch, water tank etc. excluding providing centering, shuttering, staging, scaffolding, form work, pumping including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in chargeetc compacting with mechanical vibrator, curing etc. complete in all respects, inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 800.00 | CuM |  | 7500.00 | 6000000.00 | 6285.00 | 5028000.00 | 6610.00 | 5288000.00 | 7500.00 | 6000000.00 | 8000.00 | 6400000.00 | 5028000.00 | MEHTA CONSTRUCTION CO.
9.00 | REINFORCEMENT:- Supplying and providing reinforcement (for reinforced cement concrete works) Thermo-mechanically treated (TMT) Fe 500D bars conforming to IS:1786 including initial straightening of coiled/ uncoiled bars, removal of loose rust, cutting, bending to correct size & shape, binding with G.I. wire at each intersection and placing at any position, at any height and depth complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 81000.00 | Kg |  | 85.00 | 6885000.00 | 91.50 | 7411500.00 | 81.50 | 6601500.00 | 95.00 | 7695000.00 | 90.00 | 7290000.00 | 6601500.00 | PREM KUMAR BANSAL PROJECTS LLP
10.00 | Centering and shuttering including strutting, propping etc. and removal of form work for:
10.10 | Below Plinth Level | 2200.00 | SqM |  | 500.00 | 1100000.00 | 195.00 | 429000.00 | 248.00 | 545600.00 | 280.00 | 616000.00 | 200.00 | 440000.00 | 429000.00 | MEHTA CONSTRUCTION CO.
10.20 | Suspended floors, roofs, landings, balconies and access platform | 1800.00 | SqM |  | 500.00 | 900000.00 | 245.00 | 441000.00 | 480.00 | 864000.00 | 390.00 | 702000.00 | 250.00 | 450000.00 | 441000.00 | MEHTA CONSTRUCTION CO.
10.30 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 1275.00 | SqM |  | 500.00 | 637500.00 | 325.00 | 414375.00 | 413.00 | 526575.00 | 390.00 | 497250.00 | 300.00 | 382500.00 | 382500.00 | LORD SHIVA CONSTRUCTION CO
10.40 | Columns, Pillars, Piers, Abutments, Posts and Struts | 800.00 | SqM |  | 500.00 | 400000.00 | 415.00 | 332000.00 | 472.00 | 377600.00 | 390.00 | 312000.00 | 300.00 | 240000.00 | 240000.00 | LORD SHIVA CONSTRUCTION CO
11.00 | Brickwork
11.10 | BRICK MASONRY (CLAY BURNT BRICKS) :- Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in Cement mortar 1:6 (cement : 6 coarse sand) at all heights and depths laid to proper position line, level as per the drawings and specifications including providing necessary scaffolding, staging, raking out of joints, curing etc. complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 930.00 | CuM |  | 7000.00 | 6510000.00 | 5257.00 | 4889010.00 | 5300.00 | 4929000.00 | 6000.00 | 5580000.00 | 6000.00 | 5580000.00 | 4889010.00 | MEHTA CONSTRUCTION CO.
11.20 | Providing and laying Fly-ash brick masonry using Fly-ash building bricks of class designation- 10 ( IS-12894 -2002 ) in cement mortar 1:6 (1 cement : 6 coarse sand) in superstructure above plinth level up to floor five level as per specifications and direction of Engineer including cost of labour, materials, curing, etc. all complete as per drawings, specifications and direction of Engineer-in-charge. | 835.00 | CuM |  | 6500.00 | 5427500.00 | 5125.00 | 4279375.00 | 5425.00 | 4529875.00 | 6000.00 | 5010000.00 | 6000.00 | 5010000.00 | 4279375.00 | MEHTA CONSTRUCTION CO.
12.00 | Providing and laying 15 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 8600.00 | SqM |  | 370.00 | 3182000.00 | 235.75 | 2027450.00 | 400.00 | 3440000.00 | 280.00 | 2408000.00 | 280.00 | 2408000.00 | 2027450.00 | MEHTA CONSTRUCTION CO.
13.00 | Providing and laying 6 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 1800.00 | SqM |  | 350.00 | 630000.00 | 225.00 | 405000.00 | 260.00 | 468000.00 | 290.00 | 522000.00 | 280.00 | 504000.00 | 405000.00 | MEHTA CONSTRUCTION CO.
14.00 | WALL PUTTY :- Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 8500.00 | SqM |  | 100.00 | 850000.00 | 98.25 | 835125.00 | 93.00 | 790500.00 | 100.00 | 850000.00 | 100.00 | 850000.00 | 790500.00 | PREM KUMAR BANSAL PROJECTS LLP
15.00 | ACRYLIC SMOOTH EXTERIOR PAINT :- Finishing walls with Acrylic Smooth exterior paint of required shade on New work as per manufacturers specifications or Two or more coat including priming coat of exterior primer as per directions of Engineer-In-charge. | 7000.00 | SqM |  | 160.00 | 1120000.00 | 125.95 | 881650.00 | 132.00 | 924000.00 | 120.00 | 840000.00 | 140.00 | 980000.00 | 840000.00 | gauri buildcon pvt. ltd.
16.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade on New work (two or more coats) over and including water thinnable priming coat with cement primer. | 6600.00 | SqM |  | 95.00 | 627000.00 | 125.85 | 830610.00 | 105.00 | 693000.00 | 120.00 | 792000.00 | 140.00 | 924000.00 | 627000.00 | M/s. JYOTI SARUP MITTAL
17.00 | SYNTHETIC ENAMEL PAINT :- Painting with synthetic enamel paint of approved brand and manufacture to give an even shade with Two or more coats on new work. | 315.00 | SqM |  | 150.00 | 47250.00 | 101.56 | 31991.40 | 140.00 | 44100.00 | 120.00 | 37800.00 | 140.00 | 44100.00 | 31991.40 | MEHTA CONSTRUCTION CO.
18.00 | CERAMIC WALL TILES :- Providing and fixing Ist quality ceramic glazed wall tiles (6mm thk) conforming to IS: 15622 , of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry including pointing in white cement mixed with pigment of matching shade complete. | 1550.00 | SqM |  | 1250.00 | 1937500.00 | 945.28 | 1465184.00 | 1015.00 | 1573250.00 | 900.00 | 1395000.00 | 1200.00 | 1860000.00 | 1395000.00 | gauri buildcon pvt. ltd.
19.00 | CERAMIC FLOOR TILES :- Providing and laying branded (Kajaria,NITCO,Johnson or Somany) Ceramic glazed floor tiles (6mm thk) of size 300x300 mm of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), jointing with grey cement slurryincluding pointing the joints with white cement and matching pigment etc. complete. | 375.00 | SqM |  | 1400.00 | 525000.00 | 875.25 | 328218.75 | 960.00 | 360000.00 | 950.00 | 356250.00 | 1200.00 | 450000.00 | 328218.75 | MEHTA CONSTRUCTION CO.
20.00 | Providing and laying 75 mm thick compacted bed of dry brick aggregate of 40 mm-75 mm thick size including spreading, well ramming, consolidating etc. complete as per direction of Engineer-in-charge. | 7700.00 | SqM |  | 460.00 | 3542000.00 | 353.00 | 2718100.00 | 164.00 | 1262800.00 | 155.00 | 1193500.00 | 220.00 | 1694000.00 | 1193500.00 | gauri buildcon pvt. ltd.
21.00 | KOTA STONE SLAB (20mm THICK) :- Kota stone slab 20 mm thick in flooring laid 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) | 2325.00 | SqM |  | 1800.00 | 4185000.00 | 1586.78 | 3689263.50 | 1154.00 | 2683050.00 | 1100.00 | 2557500.00 | 1650.00 | 3836250.00 | 2557500.00 | gauri buildcon pvt. ltd.
22.00 | Providing and laying Polished Granite stone in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. | 125.00 | SqM |  | 3200.00 | 400000.00 | 3126.00 | 390750.00 | 2985.00 | 373125.00 | 2500.00 | 312500.00 | 3700.00 | 462500.00 | 312500.00 | gauri buildcon pvt. ltd.
23.00 | Providing and fixing 20mm thick black Granite stone plaque of required size engraved with specified text, NPCIL logo, etc. inside a decorative border and inscription coated with indelible ink/paint all complete as per direction of EIC. | 15.00 | SqM |  | 4000.00 | 60000.00 | 3601.00 | 54015.00 | 4600.00 | 69000.00 | 6000.00 | 90000.00 | 6000.00 | 90000.00 | 54015.00 | MEHTA CONSTRUCTION CO.
24.00 | CC CHEQUERED TILES :- Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed wit neat cement slurry mixed with Light shade pigment using white cement to match the shade of tiles, including rubbing and cleaning etc. complete, on 20mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Light shade pigment using white cement | 275.00 | SqM |  | 800.00 | 220000.00 | 915.50 | 251762.50 | 930.00 | 255750.00 | 700.00 | 192500.00 | 800.00 | 220000.00 | 192500.00 | gauri buildcon pvt. ltd.
25.00 | CEMENT BASEDWATER PROOFING :- Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/SqM. of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls up to 300 mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand)admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with waterproofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs c) After two days of proper curing applying a second coat of cement slurry using 2.75kg/ SqM of cement admixed with water proofing compound conforming to IS:2645 and approved by Engineer-in-charge. d)Finishing the surface with 20 mm thick joint less cement mortar of mix1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS: 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge: With average thickness of 120mm and minimum thickness at khurra as 65 mm. | 1500.00 | SqM |  | 1350.00 | 2025000.00 | 1202.25 | 1803375.00 | 1155.00 | 1732500.00 | 650.00 | 975000.00 | 750.00 | 1125000.00 | 975000.00 | gauri buildcon pvt. ltd.
26.00 | Supply & Installation of colour coated Profile sheet of supply width 1000-1220 mm and effective cover width of 900-1020 mm and nominal 28-32mm mm deep ribs in four-five pans. The end rib shall be installed to avoid any seepage of water through the lateral overlap. The feed material is manufactured out of 0.45 mm Base Metal thickness and 0.50 mm total Coated Thickness, Hi-strength steel with min. 550 MPa yield strength, having polyester paint on both sides. Material Test Certificate for the chemical and mechanical properties of steel shall be submitted. Roof sheet will have brand marking giving product details on the back of the sheet confirming genuinity of the same. Make : Tata BlueScope, Lloyd, JSW SDST screws shall be used for Fixing of Roofing Sheets and Flashings and cost of the same shall be deemed to be included in the quoted rates. | 1300.00 | SqM |  | 680.00 | 884000.00 | 1503.45 | 1954485.00 | 810.00 | 1053000.00 | 700.00 | 910000.00 | 850.00 | 1105000.00 | 884000.00 | M/s. JYOTI SARUP MITTAL
27.00 | Supply and installation of factory manufactured Al-Zn alloy Color coated sheets of G550 Grade, with Polyester paint coat with feed material manufactured from 0.45 mm Base Metal thickness, 0.50 mm total Coated Thickness. The coated steel shall be factory painted and both side panited over primer coat as per manufactured specification.Flashings of various girth sizes Like Gutter, ridge cap etc.Coil Make : Tata Blue Scope, Lloyd, JSW. | 150.00 | SqM |  | 700.00 | 105000.00 | 1829.00 | 274350.00 | 750.00 | 112500.00 | 640.00 | 96000.00 | 850.00 | 127500.00 | 96000.00 | gauri buildcon pvt. ltd.
28.00 | STRUCTURAL STEEL (TUBULAR SECTIONS) :- Steel work in built up tubular Hot finished type tubes ( round, square or rectangular hollow tubes etc.) etc., including cutting, hoisting, fixing in position and applying two coats of synthetic enamel paint of approved make and shade over a coat of primer, including welding and bolted etc. | 33000.00 | Kg |  | 140.00 | 4620000.00 | 119.00 | 3927000.00 | 130.00 | 4290000.00 | 120.00 | 3960000.00 | 150.00 | 4950000.00 | 3927000.00 | MEHTA CONSTRUCTION CO.
29.00 | STRUCTURAL STEEL (BUILT-UP SECTION) :- Structural steel work riveted, bolted or welded in built up sections and framed work, including cutting, hoisting, fixing in position and and applying two coats of synthetic enamel paint of approved make and shade over a coat of primer. | 8000.00 | Kg |  | 130.00 | 1040000.00 | 102.00 | 816000.00 | 105.00 | 840000.00 | 120.00 | 960000.00 | 150.00 | 1200000.00 | 816000.00 | MEHTA CONSTRUCTION CO.
30.00 | STRUCTURAL STEEL (WINDOW FRAMES) : Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc.applying two coats of synthetic enamel paint of approved make and shade over a coat of primer with all complete. (Fixed to steel windows by welding) | 3600.00 | Kg |  | 130.00 | 468000.00 | 138.00 | 496800.00 | 153.00 | 550800.00 | 120.00 | 432000.00 | 150.00 | 540000.00 | 432000.00 | gauri buildcon pvt. ltd.
31.00 | Providing and fixing fly proof M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete.With 12 mm mild steel U beading | 200.00 | SqM |  | 600.00 | 120000.00 | 356.00 | 71200.00 | 505.00 | 101000.00 | 520.00 | 104000.00 | 650.00 | 130000.00 | 71200.00 | MEHTA CONSTRUCTION CO.
32.00 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs, beams during laying including painting the exposed portion of loop, all as per standard design complete. | 50.00 | Each |  | 300.00 | 15000.00 | 148.75 | 7437.50 | 130.00 | 6500.00 | 70.00 | 3500.00 | 100.00 | 5000.00 | 3500.00 | gauri buildcon pvt. ltd.
33.00 | Providing and fixing 2 mm thick M.S. sheet door with internal frame of 40x40x6 mm angle iron all necessary fittings complete, including applying a priming coat of approved steel primer. Using M.S. angels 40x40x6 mm for diagonal braces (Rate does not include external door frame) | 115.00 | SqM |  | 2700.00 | 310500.00 | 9527.00 | 1095605.00 | 4955.00 | 569825.00 | 4500.00 | 517500.00 | 4000.00 | 460000.00 | 310500.00 | M/s. JYOTI SARUP MITTAL
34.00 | Providing wood work in frames of doors, windows, etc. with second class teak wood and fixed in position as per standard industry practice or as per directions of Engineer-In-charge. | .50 | CuM |  | 160000.00 | 80000.00 | 11023.00 | 5511.50 | 129800.00 | 64900.00 | 100000.00 | 50000.00 | 120000.00 | 60000.00 | 5511.50 | MEHTA CONSTRUCTION CO.
35.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards as specified and applying a coat of approved steel primer as directed by Engineer-in-charge: | 450.00 | RM |  | 600.00 | 270000.00 | 1095.00 | 492750.00 | 530.00 | 238500.00 | 600.00 | 270000.00 | 600.00 | 270000.00 | 238500.00 | PREM KUMAR BANSAL PROJECTS LLP
36.00 | Providing and fixing 35 mm thick Flush door shutter single / double leaf including lipping and 1.0 mm thick decorative laminated sheet on both sides conforming to IS ; 2202(part-1) of make KITPLY GOLD / GREENLAM / CENTURY as approved by EIC, non-decorative type with block board core of grade BWP conforming to IS:1659 with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutter including providing and fixing 2nd class teak wood leaping of suitable size and shape all around the edges including approved brand IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. including 1.0 mm thick decorative laminated sheet on both side | 120.00 | SqM |  | 2600.00 | 312000.00 | 2885.00 | 346200.00 | 3185.00 | 382200.00 | 2000.00 | 240000.00 | 2400.00 | 288000.00 | 240000.00 | gauri buildcon pvt. ltd.
37.00 | POWDER COATED ALUMINIUM DOORS & WINDOWS :- Providing and fixing Powder coated aluminium (minimum thickness of powder coating 50 micron) aluminium work for glazed single/ double leaf doors doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top,bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing/ paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing to be paid for separately) :
37.10 | For Fixed portion, | 225.00 | kg |  | 460.00 | 103500.00 | 437.00 | 98325.00 | 525.00 | 118125.00 | 400.00 | 90000.00 | 500.00 | 112500.00 | 90000.00 | gauri buildcon pvt. ltd.
37.20 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required | 525.00 | kg |  | 460.00 | 241500.00 | 486.00 | 255150.00 | 575.00 | 301875.00 | 420.00 | 220500.00 | 500.00 | 262500.00 | 220500.00 | gauri buildcon pvt. ltd.
38.00 | Providing and fixing glazing with float glass panes of 5mm thickness in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item) | 100.00 | SqM |  | 900.00 | 90000.00 | 1775.90 | 177590.00 | 1400.00 | 140000.00 | 800.00 | 80000.00 | 650.00 | 65000.00 | 65000.00 | LORD SHIVA CONSTRUCTION CO
39.00 | Providing and fixing stainless steel tower bolts, ISI marked, with necessary screws etc. complete :
39.10 | 250x10MM | 15.00 | Each |  | 250.00 | 3750.00 | 177.00 | 2655.00 | 375.00 | 5625.00 | 300.00 | 4500.00 | 200.00 | 3000.00 | 2655.00 | MEHTA CONSTRUCTION CO.
39.20 | 200X10 MM | 65.00 | Each |  | 200.00 | 13000.00 | 171.00 | 11115.00 | 280.00 | 18200.00 | 250.00 | 16250.00 | 200.00 | 13000.00 | 11115.00 | MEHTA CONSTRUCTION CO.
40.00 | Providing and fixing aluminium tower bolts, ISI marked, with necessary screws etc. complete : Size 100x10 MM | 130.00 | Each |  | 70.00 | 9100.00 | 112.00 | 14560.00 | 65.00 | 8450.00 | 65.00 | 8450.00 | 50.00 | 6500.00 | 6500.00 | LORD SHIVA CONSTRUCTION CO
41.00 | ALUMINIUM HYDRAULIC DOOR CLOSER (FOR DOOR WEIGHT BEYOND 35kg) :- Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo , embossed on the body, door weight upto 36 kg to 80 kg with double speed adjustment with necessary accessories and screws etc. complete. | 20.00 | Each |  | 2200.00 | 44000.00 | 1138.70 | 22774.00 | 130.00 | 2600.00 | 500.00 | 10000.00 | 50.00 | 1000.00 | 1000.00 | LORD SHIVA CONSTRUCTION CO
42.00 | Providing and fixing stainless steel sliding door bolts (Aldrop), ISI marked with nuts and screws etc. complete
42.10 | 300x16 MM | 10.00 | Each |  | 480.00 | 4800.00 | 317.00 | 3170.00 | 575.00 | 5750.00 | 500.00 | 5000.00 | 200.00 | 2000.00 | 2000.00 | LORD SHIVA CONSTRUCTION CO
42.20 | 200x16 MM | 40.00 | Each |  | 350.00 | 14000.00 | 247.00 | 9880.00 | 435.00 | 17400.00 | 500.00 | 20000.00 | 200.00 | 8000.00 | 8000.00 | LORD SHIVA CONSTRUCTION CO
43.00 | ALUMINIUM DOOR STOPPER :- Providing and fixing aluminium hanging floor door twin rubber stopper ISI marked anodised transparent or dyed to required colour and shade with necessary screws etc. complete Twin rubber stopper | 40.00 | Each |  | 50.00 | 2000.00 | 94.50 | 3780.00 | 70.00 | 2800.00 | 50.00 | 2000.00 | 50.00 | 2000.00 | 2000.00 | M/s. JYOTI SARUP MITTAL, LORD SHIVA CONSTRUCTION CO, gauri buildcon pvt. ltd.
44.00 | ALUMINIUM HANDLES :- Providing and fixing aluminium handles ISI marked anodised transparent or dyed to required colour or shade with necessary screws etc. complete Size (100MM) | 122.00 | Each |  | 50.00 | 6100.00 | 65.00 | 7930.00 | 59.00 | 7198.00 | 60.00 | 7320.00 | 50.00 | 6100.00 | 6100.00 | M/s. JYOTI SARUP MITTAL, LORD SHIVA CONSTRUCTION CO
45.00 | Stainless steel HANDLES :- Providing and fixing Stainless steel handles ISI marked with necessary screws etc. complete
45.10 | Size (250 MM) | 15.00 | Each |  | 160.00 | 2400.00 | 118.00 | 1770.00 | 375.00 | 5625.00 | 360.00 | 5400.00 | 400.00 | 6000.00 | 1770.00 | MEHTA CONSTRUCTION CO.
45.20 | Size (200 MM) | 25.00 | Each |  | 140.00 | 3500.00 | 114.00 | 2850.00 | 280.00 | 7000.00 | 260.00 | 6500.00 | 400.00 | 10000.00 | 2850.00 | MEHTA CONSTRUCTION CO.
46.00 | 110MM UNPLASTICIZED SINGLE SOCKETED PVC RAIN WATER PIPE :- Providing and fixing on wall face 110 mm diameter unplasticised Single socketed Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring, leaving 10 mm gap for thermal expansion, | 725.00 | Metre |  | 470.00 | 340750.00 | 248.50 | 180162.50 | 354.00 | 256650.00 | 260.00 | 188500.00 | 350.00 | 253750.00 | 180162.50 | MEHTA CONSTRUCTION CO.
47.00 | PAVER BLOCK (M-30) :- Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | 6600.00 | SqM |  | 750.00 | 4950000.00 | 618.00 | 4078800.00 | 650.00 | 4290000.00 | 720.00 | 4752000.00 | 750.00 | 4950000.00 | 4078800.00 | MEHTA CONSTRUCTION CO.
48.00 | KERB STONE :- Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). | 100.00 | CuM |  | 11000.00 | 1100000.00 | 9985.50 | 998550.00 | 8010.00 | 801000.00 | 7100.00 | 710000.00 | 5500.00 | 550000.00 | 550000.00 | LORD SHIVA CONSTRUCTION CO
49.00 | RECTANGULAR CHINA CLAY BASIN :- Providing and fixing White Vitreous China Wash basin size 550x400 mm with a single 15 mm C.P. brass pillar tap (of JAQUAR CLARION/ CONTINENTIAL or equalent quality of 'MARK'/ 'HINDWARE) with C.I. brackets, Pedestal, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required Size mentioned above is tentative, it may vary slightly as per model of different brands as approved by EIC | 30.00 | Each |  | 4700.00 | 141000.00 | 3423.00 | 102690.00 | 3180.00 | 95400.00 | 3000.00 | 90000.00 | 3500.00 | 105000.00 | 90000.00 | gauri buildcon pvt. ltd.
50.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan) of Cera/ Hindware/ Parryware with 100 mm, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests Size mentioned above is tentative, it may vary slightly as per model of different brands as approved by EIC | 55.00 | Each |  | 4000.00 | 220000.00 | 3363.00 | 184965.00 | 4360.00 | 239800.00 | 4000.00 | 220000.00 | 3500.00 | 192500.00 | 184965.00 | MEHTA CONSTRUCTION CO.
51.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design: With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. and providing adequate manholes and laying arrangements for sewage pipelines. (manhole and pipeline to be paid in relevant items) EIC | 15.00 | Each |  | 36000.00 | 540000.00 | 19845.00 | 297675.00 | 28300.00 | 424500.00 | 25000.00 | 375000.00 | 28000.00 | 420000.00 | 297675.00 | MEHTA CONSTRUCTION CO.
52.00 | Providing and fixing white vitreous china flat back urinal basin of 420x325x310 mm sizes in Cera/ Hindware/ Parryware with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, C.I trap with outlet grating including supply and fixing of urinal partition and painting of fittings and brackets, cutting and making good the walls and floors wherever required. Size mentioned above is tentative, it may vary slightly as per model of different brands as approved by EIC
52.10 | Range of three urinal basins | 10.00 | Each |  | 9000.00 | 90000.00 | 9493.00 | 94930.00 | 11730.00 | 117300.00 | 8000.00 | 80000.00 | 9000.00 | 90000.00 | 80000.00 | gauri buildcon pvt. ltd.
52.20 | Range of two urinal basins | 2.00 | Each |  | 7000.00 | 14000.00 | 8546.00 | 17092.00 | 8490.00 | 16980.00 | 6000.00 | 12000.00 | 6000.00 | 12000.00 | 12000.00 | LORD SHIVA CONSTRUCTION CO, gauri buildcon pvt. ltd.
53.00 | BRASS BIB COCK :- Providing and fixing C.P. 15 mm nominal bore brass bib cock/ long nose bib cock of approved quality Hindware, Parryware, Jaquar | 90.00 | Each |  | 1000.00 | 90000.00 | 477.00 | 42930.00 | 480.00 | 43200.00 | 400.00 | 36000.00 | 500.00 | 45000.00 | 36000.00 | gauri buildcon pvt. ltd.
54.00 | BRASS STOP COCK :- Providing and fixing C.P. 15 mm nominal bore brass stop cock (concealed) of standard design and of approved quality Hindware, Parryware, Jaquar | 160.00 | Each |  | 1200.00 | 192000.00 | 690.00 | 110400.00 | 625.00 | 100000.00 | 400.00 | 64000.00 | 500.00 | 80000.00 | 64000.00 | gauri buildcon pvt. ltd.
55.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge.
55.10 | 15 mm dia. nominal bore | 150.00 | Metre |  | 190.00 | 28500.00 | 89.00 | 13350.00 | 300.00 | 45000.00 | 180.00 | 27000.00 | 400.00 | 60000.00 | 13350.00 | MEHTA CONSTRUCTION CO.
55.20 | 20 mm dia. nominal bore | 400.00 | Metre |  | 240.00 | 96000.00 | 91.00 | 36400.00 | 385.00 | 154000.00 | 220.00 | 88000.00 | 400.00 | 160000.00 | 36400.00 | MEHTA CONSTRUCTION CO.
56.00 | External Work : Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. : External work
56.10 | 25 mm dia. nominal bore | 300.00 | Metre |  | 320.00 | 96000.00 | 454.00 | 136200.00 | 435.00 | 130500.00 | 500.00 | 150000.00 | 500.00 | 150000.00 | 96000.00 | M/s. JYOTI SARUP MITTAL
56.20 | 32 mm dia. nominal bore | 450.00 | Metre |  | 360.00 | 162000.00 | 487.00 | 219150.00 | 510.00 | 229500.00 | 450.00 | 202500.00 | 500.00 | 225000.00 | 162000.00 | M/s. JYOTI SARUP MITTAL
57.00 | Providing and fixing 25 mm nominal bore ball valve (brass) of approved quality, High or low pressure | 30.00 | Each |  | 650.00 | 19500.00 | 419.00 | 12570.00 | 425.00 | 12750.00 | 250.00 | 7500.00 | 150.00 | 4500.00 | 4500.00 | LORD SHIVA CONSTRUCTION CO
58.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. Pipe | 140.00 | Metre |  | 750.00 | 105000.00 | 513.00 | 71820.00 | 400.00 | 56000.00 | 500.00 | 70000.00 | 500.00 | 70000.00 | 56000.00 | PREM KUMAR BANSAL PROJECTS LLP
59.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 27.00 | Each |  | 1500.00 | 40500.00 | 613.00 | 16551.00 | 1150.00 | 31050.00 | 800.00 | 21600.00 | 1200.00 | 32400.00 | 16551.00 | MEHTA CONSTRUCTION CO.
60.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 13000.00 | Litre |  | 14.00 | 182000.00 | 9.35 | 121550.00 | 10.00 | 130000.00 | 8.50 | 110500.00 | 10.00 | 130000.00 | 110500.00 | gauri buildcon pvt. ltd.
61.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with aluminium rod with L.P./ H.P.H.D. plastic ball: 25 mm nominal bore, 152 mm long. Weighing not less than 440 gms. | 30.00 | Each |  | 800.00 | 24000.00 | 578.00 | 17340.00 | 490.00 | 14700.00 | 145.00 | 4350.00 | 100.00 | 3000.00 | 3000.00 | LORD SHIVA CONSTRUCTION CO
62.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work)
62.10 | 25 mm nominal bore. | 60.00 | Each |  | 150.00 | 9000.00 | 397.00 | 23820.00 | 340.00 | 20400.00 | 150.00 | 9000.00 | 100.00 | 6000.00 | 6000.00 | LORD SHIVA CONSTRUCTION CO
62.20 | 32 mm nominal bore. | 100.00 | Each |  | 250.00 | 25000.00 | 461.00 | 46100.00 | 425.00 | 42500.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 10000.00 | LORD SHIVA CONSTRUCTION CO
63.00 | LIQUID SOAP DISPENSER :- Providing and fixing the following washroom fittings,PTMT liquid soap container (spring loaded push type) with lid and brackets fixed to PVC cleats with C.P. brass screws etc. complete in all respects; inclusive of cost of all materials, labour, tools, tackles etc. as per specifications and direction of EIC. | 30.00 | Each |  | 900.00 | 27000.00 | 195.00 | 5850.00 | 170.00 | 5100.00 | 140.00 | 4200.00 | 100.00 | 3000.00 | 3000.00 | LORD SHIVA CONSTRUCTION CO
64.00 | Manufacturing, supplying and fixing retro reflective sign boards made up of 2 mm thick aluminium sheet, face to be fully covered with retro reflective sheeting in any colour combination as decided by EIC including subject matter, message (bi-lingual), symbols and borders etc. pasted on substrate by an adhesive backing complete as per direction of Engineer-in-charge. | 80.00 | SqM |  | 1800.00 | 144000.00 | 4215.75 | 337260.00 | 6840.00 | 547200.00 | 4200.00 | 336000.00 | 7000.00 | 560000.00 | 144000.00 | M/s. JYOTI SARUP MITTAL
65.00 | Boring : Boring of 500mm diameter holes for foundation works upto required depth using Truck Mounted Rotary including hiring and running charges of all equipments, tools, plants and mahinery required for the job, all complete as per the direction of Engineer-In charge. | 60.00 | Meter |  | 2000.00 | 120000.00 | 692.00 | 41520.00 | 950.00 | 57000.00 | 600.00 | 36000.00 | 950.00 | 57000.00 | 36000.00 | gauri buildcon pvt. ltd.
66.00 | Wiring for circuit/submain wiring alongwith earthwire with the following sizes of FRLS PVC insulated copper conductor, single core cable in Surface/Recessed medium class PVC conduit as required.
66.10 | 2 x 1.5 +1 x 1.5 (E) sq. mm. | 150.00 | Meter |  | 120.00 | 18000.00 | 177.00 | 26550.00 | 210.00 | 31500.00 | 270.00 | 40500.00 | 250.00 | 37500.00 | 18000.00 | M/s. JYOTI SARUP MITTAL
66.20 | 2 x 2.5 +1 x 2.5 (E) sq. mm. | 900.00 | Meter |  | 240.00 | 216000.00 | 201.00 | 180900.00 | 250.00 | 225000.00 | 290.00 | 261000.00 | 250.00 | 225000.00 | 180900.00 | MEHTA CONSTRUCTION CO.
67.00 | Wiring for light point/ fan point/ exhaust point/ call bell point with 1.5 sqmm FRLS PVC Insulated copper conductor single core cable in surface / recessed PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 210.00 | Point |  | 1500.00 | 315000.00 | 932.00 | 195720.00 | 695.00 | 145950.00 | 1200.00 | 252000.00 | 1600.00 | 336000.00 | 145950.00 | PREM KUMAR BANSAL PROJECTS LLP
68.00 | Wiring for group controlled (looped) light point/ fan point/ exhaust point/ call bell point (without independent switch etc.) with 1.5 sqmm FRLS PVC Insulated copper conductor single core cable in surface / recessed PVC conduit and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 120.00 | loop |  | 470.00 | 56400.00 | 560.00 | 67200.00 | 670.00 | 80400.00 | 600.00 | 72000.00 | 850.00 | 102000.00 | 56400.00 | M/s. JYOTI SARUP MITTAL
69.00 | Supply and installation, testing and cmmissioning of 1200mm sweep size Ceiling fans, having double ball bearing, along with socket type regulator/ dimmer, down rod of required length and canopy. make of fan crompton/ Usha/ Bajaj/ Orient. Make of regulator ANCHOR/ LEGRAND. | 50.00 | Each |  | 3000.00 | 150000.00 | 3334.00 | 166700.00 | 2240.00 | 112000.00 | 1900.00 | 95000.00 | 2000.00 | 100000.00 | 95000.00 | gauri buildcon pvt. ltd.
70.00 | Supply and installation of air exhaust fan of light duty, 230 volts A.C. 200 mm sweep, plastic body, with louvers. | 63.00 | Each |  | 2000.00 | 126000.00 | 1546.00 | 97398.00 | 1650.00 | 103950.00 | 1400.00 | 88200.00 | 2000.00 | 126000.00 | 88200.00 | gauri buildcon pvt. ltd.
71.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 modular socket outlet and 5/6 A modular switch, connections etc. as required. | 40.00 | Each |  | 200.00 | 8000.00 | 477.00 | 19080.00 | 480.00 | 19200.00 | 200.00 | 8000.00 | 480.00 | 19200.00 | 8000.00 | M/s. JYOTI SARUP MITTAL, gauri buildcon pvt. ltd.
72.00 | Supply of LED luminaries with basic channel, holder, LED driver control gear box complete with decorative attachments, lamps etc.
72.10 | 40W LED batten, 230V, 50Hz 4 feet LED with output of 4000 lumens and system eficacy of 105 lumne/ watt.surface/ recess mounting tube light with fitting and all other accessories. Similar to philips make Endureld batten BN108CLED40SPSUCDLWH | 140.00 | Each |  | 800.00 | 112000.00 | 961.00 | 134540.00 | 860.00 | 120400.00 | 600.00 | 84000.00 | 600.00 | 84000.00 | 84000.00 | LORD SHIVA CONSTRUCTION CO, gauri buildcon pvt. ltd.
72.20 | 20 W, 230 V 50 Hz, WALL LIGHTLED, make PHILIPS | 80.00 | Each |  | 500.00 | 40000.00 | 749.00 | 59920.00 | 800.00 | 64000.00 | 500.00 | 40000.00 | 500.00 | 40000.00 | 40000.00 | M/s. JYOTI SARUP MITTAL, LORD SHIVA CONSTRUCTION CO, gauri buildcon pvt. ltd.
73.00 | 10 A rating, SPN, MCB "C" Curve, 10 kA breaking capecity | 40.00 | Each |  | 170.00 | 6800.00 | 237.00 | 9480.00 | 365.00 | 14600.00 | 400.00 | 16000.00 | 420.00 | 16800.00 | 6800.00 | M/s. JYOTI SARUP MITTAL
74.00 | 25 A rating, 2 pole RCCB, 30 mA | 7.00 | Each |  | 2300.00 | 16100.00 | 2573.00 | 18011.00 | 1685.00 | 11795.00 | 650.00 | 4550.00 | 1400.00 | 9800.00 | 4550.00 | gauri buildcon pvt. ltd.
75.00 | Supplying and fixing following way, single pole and neutral,STEEL sheet , MCB distribution board, 240V on surface or recess, complete with tinned copper busbar, neutral bus bar, earth bus bar, Din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator) 8 way double door | 7.00 | Each |  | 600.00 | 4200.00 | 2678.00 | 18746.00 | 2350.00 | 16450.00 | 2000.00 | 14000.00 | 2400.00 | 16800.00 | 4200.00 | M/s. JYOTI SARUP MITTAL
76.00 | Supply and laying of 1100V grade, 4C 16sqmm aluminium conductor, XLPE insulated extruded PVC inner sheath, galvanised flat steel armoured outer PVC sheathed cable conforming to IS 7098(part-1). The scope also includes the glanding, termination of the cable. all as directed by EIC | 300.00 | Meter |  | 260.00 | 78000.00 | 278.00 | 83400.00 | 305.00 | 91500.00 | 260.00 | 78000.00 | 250.00 | 75000.00 | 75000.00 | LORD SHIVA CONSTRUCTION CO
77.00 | Providing and fixing 6SWG dia. GI wire on surface or in recess for loop earthing as required. | 100.00 | Meter |  | 60.00 | 6000.00 | 154.00 | 15400.00 | 75.00 | 7500.00 | 60.00 | 6000.00 | 50.00 | 5000.00 | 5000.00 | LORD SHIVA CONSTRUCTION CO
78.00 | Earthing with G.I Earth pipe 4.5 meter long, 40mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangements and watering pipe etc. with charcoal/coke and salt as required | 7.00 | Each |  | 6800.00 | 47600.00 | 4729.00 | 33103.00 | 7300.00 | 51100.00 | 3000.00 | 21000.00 | 4000.00 | 28000.00 | 21000.00 | gauri buildcon pvt. ltd.
| Total in Figures |  |  |  |  | 77358500.00 |  | 65104941.65 |  | 66233473.00 |  | 66702245.00 |  | 69753200.00
Lowest Amount Quoted BY: MEHTA CONSTRUCTION CO.(65104941.65)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Multi-Purpose Halls, Classrooms, Toilet Blocks, Mid-Day Meal Shelter, Drinking Water Tank, Prayer Stage (with and without Shed) and other associated infrastructure works in schools nearby GHAVP, Vill-Gorakhpur, Fatehabad, Haryana. Tender ID: 2024_NPCIL_206739_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MEHTA CONSTRUCTION CO. (BID ID -747562) | 65104941.65 | L1
| 2 | PREM KUMAR BANSAL PROJECTS LLP (BID ID -748338) | 66233473.00 | L2
| 3 | gauri buildcon pvt. ltd. (BID ID -748359) | 66702245.00 | L3
| 4 | LORD SHIVA CONSTRUCTION CO (BID ID -747434) | 69753200.00 | L4
| 5 | M/s. JYOTI SARUP MITTAL (BID ID -747387) | 77358500.00 | L5