## BoQ1
Government eProcurement System Created By: Kamlesh Chandra Sharma Created Date/Time: 27-Nov-2024 10:42 AM Tender Title: Miscellaneous works in newly leased CMPAPP office at 4th floor BSNL building South Civil Lines Jabalpur. Tender ID: 2024_NPCIL_207555_1
Tender Inviting Authority: Project Engineer, CMPAPP
Name of Work : “Miscellaneous works in newly leased CMPAPP office at 4th floor BSNL building South Civil Lines Jabalpur.”
Tender No: NPCIL/CMPAPP/2024/CIVIL/PT-79
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MADHYA BHARAT ENGINEERING (GSTN-NA) BID ID -751664
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade including - the cost of centering and shuttering - All work up to floor level five: 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 4.00 | Cum |  | 5390.24 | 21560.96 | 21560.96 | MADHYA BHARAT ENGINEERING
2.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 6.00 | Cum |  | 195.88 | 1175.28 | 1175.28 | MADHYA BHARAT ENGINEERING
3.00 | Providing and fixing to existing door frames:25 mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762 mm X 25 mm or less as per requirement with an average wall thickness of 1 mm (0.3 mm). PVC foam end cap of size 23x10 mm are provided on both vertical edges to ensure the overall thickness of 25 mm. M.S. tube having dimensions 19 mm x 19 mm and 1.0 mm (± 0.1 mm) is inserted along the hinge side of the door. Core of the door shutter should be filld with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25 mm x 11 mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufacturer's specification and direction of Engineer- in-charge to take up necessary hardware and fixtures. Stickers indicating the locations of hardware will be pasted at appropriate places. | 8.00 | sqm |  | 2326.96 | 18615.68 | 18615.68 | MADHYA BHARAT ENGINEERING
4.00 | Providing and laying ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacture) , of of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortor 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg./sgm including pointing the joints with white cement and matching pigments etc., complete. | 42.00 | sqm |  | 986.48 | 41432.16 | 41432.16 | MADHYA BHARAT ENGINEERING
5.00 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approvedmake, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed ot cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, inciuding pointing in white cement mixed with pigment of matching shade complete. | 90.00 | sqm |  | 946.36 | 85172.40 | 85172.40 | MADHYA BHARAT ENGINEERING
6.00 | Providing and painting by any mechanical or manual means with plastic emulsion paint of approved brand and manufacture to give an even shade: Old work (Two or more coats) incuding two coat of water thinnable cement primer of approved brand and manufacture and putty in two coats of approved brand and manufacture. | 1620.00 | sqm |  | 145.14 | 235126.80 | 235126.80 | MADHYA BHARAT ENGINEERING
7.00 | Providing and painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: One or more coats on old work. | 100.00 | sqm |  | 77.88 | 7788.00 | 7788.00 | MADHYA BHARAT ENGINEERING
8.00 | Providing polishing on wood work with ready made wax polish of approved brand and manufacture: Old work | 300.00 | sqm |  | 74.34 | 22302.00 | 22302.00 | MADHYA BHARAT ENGINEERING
9.00 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: Float glass panes of nominail thickness 5mm (weight not less that 12.5kg/sqm). | 100.00 | sqm |  | 1109.20 | 110920.00 | 110920.00 | MADHYA BHARAT ENGINEERING
10.00 | Providing and fixing white vitreoous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass unions and G.I. clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required: Range of two urinal basins with 5 litre white P.V.C. automatic flushing cistern | 4.00 | Nos |  | 7231.04 | 28924.16 | 28924.16 | MADHYA BHARAT ENGINEERING
11.00 | Providing and fixing wash basin with C.I. brackets, 15 mm PTMT pillar cock, 32 mm PTMT waste coupling of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required. White Vitreous China Flat back wash basin size 550x400 mm with single 15 mm PTMT pillar cock. | 4.00 | Nos |  | 2242.00 | 8968.00 | 8968.00 | MADHYA BHARAT ENGINEERING
12.00 | Providing and fixing white vitreous china pedestal type (European type/ wash down type) water closet pan. | 2.00 | Nos |  | 2141.70 | 4283.40 | 4283.40 | MADHYA BHARAT ENGINEERING
13.00 | Providing and fixing white vitreous china water closet squatting pan(Indian type) : Orissa pattern W.C. pan of size 580x440 mm | 2.00 | Nos |  | 2456.76 | 4913.52 | 4913.52 | MADHYA BHARAT ENGINEERING
14.00 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete: 10 litre capacity - White | 4.00 | Nos. |  | 912.14 | 3648.56 | 3648.56 | MADHYA BHARAT ENGINEERING
15.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete: .Flexible pipe: 32 mm dia | 10.00 | Nos. |  | 94.40 | 944.00 | 944.00 | MADHYA BHARAT ENGINEERING
16.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall
16.01 | 20 mm nominal outer dia. Piepes. | 20.00 | m |  | 289.10 | 5782.00 | 5782.00 | MADHYA BHARAT ENGINEERING
16.02 | 25 mm nominal outer dia. Piepes. | 30.00 | m |  | 365.80 | 10974.00 | 10974.00 | MADHYA BHARAT ENGINEERING
16.03 | 15 mm nominal outer dia. Piepes. | 30.00 | m |  | 224.20 | 6726.00 | 6726.00 | MADHYA BHARAT ENGINEERING
17.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :20 mm nominal bore | 1.00 | Nos |  | 354.00 | 354.00 | 354.00 | MADHYA BHARAT ENGINEERING
18.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlel, outlet and overflow pipes for tank. | 2000.00 | Ltr |  | 9.44 | 18880.00 | 18880.00 | MADHYA BHARAT ENGINEERING
19.00 | Providing and fixing PTMT bib cock of approved quality and colour: 15mm nominal bore, 86 mm long. Weighing not less than 88 gms. | 5.00 | Nos |  | 97.94 | 489.70 | 489.70 | MADHYA BHARAT ENGINEERING
20.00 | Providing and fixing PTMT stop cock of approved quality and colour: 15mm nominal bore, 86 mm long Weighing not lcoo than 88 gmo. | 10.00 | Nos |  | 92.04 | 920.40 | 920.40 | MADHYA BHARAT ENGINEERING
21.00 | Providing and fixing PTMT pillar cock of approved quality and colour: 15mm nominal bore, 107 mm long Weighing not less than 110 gms. | 5.00 | Nos |  | 160.48 | 802.40 | 802.40 | MADHYA BHARAT ENGINEERING
22.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion: Single socketed pipes: 110 mm diameter | 50.00 | m |  | 284.38 | 14219.00 | 14219.00 | MADHYA BHARAT ENGINEERING
23.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes/sanitary pipes conforming to IS 13592 type A including all required clips, hard wood plugs, screwed jointing, sealring etc. conforming to IS :5382 leaving 10 mm gap for thermal expansion.
23.01 | Bend 87.5° /plain bend/socket: 110 mm bend | 10.00 | Nos |  | 118.00 | 1180.00 | 1180.00 | MADHYA BHARAT ENGINEERING
23.02 | Single tee with door: 110x110x110mm | 5.00 | Nos |  | 177.00 | 885.00 | 885.00 | MADHYA BHARAT ENGINEERING
24.00 | Providing and fixing UPVC trap of self cleaning design complete. Including cost of cutting and making good the wall and floors. 100 mm inlet and 75 mm outlet | 5.00 | Nos |  | 460.20 | 2301.00 | 2301.00 | MADHYA BHARAT ENGINEERING
25.00 | Replacement of old damaged polyethelene cover for water storage tank by providing and fixing polyethelene cover for water storage tank with PVC bolts and jnuts and locking arrangement all complete as directed by the Engineer-in-charge: Circular shape | 2.00 | Nos |  | 312.70 | 625.40 | 625.40 | MADHYA BHARAT ENGINEERING
26.00 | Repair of Steel window including straightening the members, removing paint etc deposits in hinges ,Lubricating or oiling it making it rust free and easy operational all complete (for External; Windows at any floor level): Steel windows (pair of openable leafs) | 85.00 | Nos |  | 444.86 | 37813.10 | 37813.10 | MADHYA BHARAT ENGINEERING
27.00 | Demolishing cement concrete manually / by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge: Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 5.00 | Cum |  | 1787.70 | 8938.50 | 8938.50 | MADHYA BHARAT ENGINEERING
28.00 | Dismantling tile work in floors and walls laid in cement mortar including stacking material within 50 metres lead: For thickness of tiles 10 mm to 25 mm | 90.00 | sqm |  | 54.28 | 4885.20 | 4885.20 | MADHYA BHARAT ENGINEERING
29.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 1620.00 | sqm |  | 18.88 | 30585.60 | 30585.60 | MADHYA BHARAT ENGINEERING
30.00 | Cleaning of floor by removing deposits, stains etc, with use of water and detergent / floor cleaner/ non toxic chemical and making it neat. | 600.00 | sqm |  | 2.36 | 1416.00 | 1416.00 | MADHYA BHARAT ENGINEERING
31.00 | Aluminum Partition work using aluminum section 2.5” x 1.5” in 1.5mm thick, plain silver color, partition will covered by 12mm thick PLPB upto 3’H from the bottom and above that glass partition upto 4’H with 5mm thickness of glass (including the frosted film), after that upto roof Height PLPB covered. Cabin should be covered by aluminum partition upto 12’ Height along with openable doors. Door shall be fixed with two aluminum handles of 4” size and one lock with duplicate key including all materials, labour, etc. complete. | 200.00 | sqm |  | 3086.88 | 617376.00 | 617376.00 | MADHYA BHARAT ENGINEERING
32.00 | Supply and fixing of hanging type Door Slider as directed by Engineer-in-Charge. | 15.00 | Each |  | 1180.00 | 17700.00 | 17700.00 | MADHYA BHARAT ENGINEERING
33.00 | Supply and fixing of Tubular Type Hydraulic Door closer as per IS: 3564 with all materials and labour. | 6.00 | Each |  | 1770.00 | 10620.00 | 10620.00 | MADHYA BHARAT ENGINEERING
34.00 | Providing and fixing 1.20mm thick resilient vinyl flooring in colour/plain/wood finish and finish as directed by Engineer-in-Charge fixed with water based adhesives (low VOC) | 400.00 | sqm |  | 295.00 | 118000.00 | 118000.00 | MADHYA BHARAT ENGINEERING
35.00 | Structural steel work using M.S. flats, angles, channels I-section, H-section etc. riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 160.00 | kg |  | 100.30 | 16048.00 | 16048.00 | MADHYA BHARAT ENGINEERING
36.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2mm and braced with flat iron diagonals 20x5mm size with top and bottom rail of T-iron 40x40x6mm with 40mm dia steel pulleys complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. Rate includes recess cutting in floor and making good the same wherever required. | 7.00 | sqm |  | 3681.60 | 25771.20 | 25771.20 | MADHYA BHARAT ENGINEERING
37.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shape with 6 mm thick hard board backing | 1.00 | sqm |  | 590.00 | 590.00 | 590.00 | MADHYA BHARAT ENGINEERING
38.00 | Providing services to accomplishing the tasks as assigned and directed by Engineer-in-charge by supplying of various categories of labours on task basis. Note : A task would mean 8 hours of duty including half an hour of lunch time.
38.01 | Un-Skilled Labour | 20.00 | Task |  | 590.00 | 11800.00 | 11800.00 | MADHYA BHARAT ENGINEERING
38.02 | Semi-Skilled Labour | 10.00 | Task |  | 767.00 | 7670.00 | 7670.00 | MADHYA BHARAT ENGINEERING
38.03 | Skilled Labour | 10.00 | Task |  | 1062.00 | 10620.00 | 10620.00 | MADHYA BHARAT ENGINEERING
39.00 | Dual Port CAT 6 INFORMATION OUTLET / IO BOX | 100.00 | Nos |  | 159.30 | 15930.00 | 15930.00 | MADHYA BHARAT ENGINEERING
40.00 | CAT 6.0 UTP Cable 305 Mtr Roll | 8.00 | Box |  | 6490.00 | 51920.00 | 51920.00 | MADHYA BHARAT ENGINEERING
41.00 | Press Fit 2 Mtr Cable ducting system | 150.00 | PCS |  | 448.40 | 67260.00 | 67260.00 | MADHYA BHARAT ENGINEERING
42.00 | 36 U Rack with 4 set of Fan For Heat dissipation 1Nos | 1.00 | Nos |  | 24308.00 | 24308.00 | 24308.00 | MADHYA BHARAT ENGINEERING
43.00 | 24 Ports Un Managed Non PoE Layer 2 Access Switch | 6.00 | Nos |  | 7221.60 | 43329.60 | 43329.60 | MADHYA BHARAT ENGINEERING
44.00 | CAT 6 UTP Jack Patch Panel Loaded | 5.00 | Nos |  | 2265.60 | 11328.00 | 11328.00 | MADHYA BHARAT ENGINEERING
45.00 | Moulded patch cord 1Mtr, 2Mtr & 5Mtr Each 100 Nos. | 300.00 | Nos |  | 112.10 | 33630.00 | 33630.00 | MADHYA BHARAT ENGINEERING
46.00 | Installation of UTP Nodes including laying of Cat 6.0 cable, both side punching, Fixation of Jack Panel, Fixation of Switch, Fixation of Face Plate & Gang Box, Fixation of Patch Cord, Feruling and Cables & Tagging of Patch Cord including supply of Ferules and Patch Cord Tag, Numbering of UTP Points, Fixation of cable ducting system with required Accessories and fixtures, Rack Dressing including supply of Cable Tie & Velcro Tie as per requirement. | 1.00 | Job |  | 26432.00 | 26432.00 | 26432.00 | MADHYA BHARAT ENGINEERING
47.00 | Sandwich board containing 2 Pcs 6 mm Thick Transparent Acrylic sheet with Hole 3 Set Stud Nut Complete size 30"*48". | 10.00 | Nos |  | 6490.00 | 64900.00 | 64900.00 | MADHYA BHARAT ENGINEERING
48.00 | Vinyl with resting , Lemination, Sun board. | 1220.00 | Sqft |  | 80.24 | 97892.80 | 97892.80 | MADHYA BHARAT ENGINEERING
49.00 | Digital NPCIL logo: Supplying and installing of size 2.5 ft dia. | 2.00 | Nos |  | 8909.00 | 17818.00 | 17818.00 | MADHYA BHARAT ENGINEERING
50.00 | Supply, installation, testing and commissioning of T5, 18Watt, energy efficient, LED Tube Light suitable for 220V,50Hz , lumrn per watt is 100Lm fitting shall be staright and linear and cool white light. as required as per specification and scope of work.Make SYSKA/BAJAJ/HAVELLS/PHILIPHS/Wipro. | 200.00 | Nos |  | 283.20 | 56640.00 | 56640.00 | MADHYA BHARAT ENGINEERING
51.00 | Supply and Installation of circuit wiring for Light/fan/exhaust/ bell point/power point with following sizes of Copper conductor 1100 V grade of approved make, FRLS PVC insulated wires both for supply and earthing and erected in provided ISI mark MS ERW black stove enamelled conduit/capping casing including all consumables like rawal plugs,wooden screws,saddle spacers etc.
51.01 | a) 2 X 1.5 and 1 X 1.5(E) sq.mm. | 300.00 | Mtr |  | 59.00 | 17700.00 | 17700.00 | MADHYA BHARAT ENGINEERING
51.02 | c) 2 x 2.5 and 1 X 2.5 (E) sq. mm | 250.00 | Mtr |  | 88.50 | 22125.00 | 22125.00 | MADHYA BHARAT ENGINEERING
51.03 | b) 2 x 4 and 1 X 4 (E) sq. mm | 300.00 | Mtr |  | 188.80 | 56640.00 | 56640.00 | MADHYA BHARAT ENGINEERING
52.00 | Supply and installation of PVC insulated and PVC Sheathed ,standed copper conductor TRS cable for 1100V confirming to latest IS 694 :2010 make Polycab/havells/RRKabel/ including all consumables like rawal plugs,wooden screws,saddle spacers , as required as per specification and scope of worketc.
52.01 | a) 3Core X 2.5Sqmm | 200.00 | Mtr |  | 171.10 | 34220.00 | 34220.00 | MADHYA BHARAT ENGINEERING
52.02 | b) 3Core X 4Sqmm | 100.00 | Mtr |  | 259.60 | 25960.00 | 25960.00 | MADHYA BHARAT ENGINEERING
53.00 | Supply and installation of heavy duty good quality IS marked white PVC 50/25mm capping casing for point wiring/power point wiring. The supply & installation shall include supply of all consumables like screws/PVC slevees/bend/tee crossing required to complete the work alongwith wiring. | 1000.00 | Mtr |  | 47.20 | 47200.00 | 47200.00 | MADHYA BHARAT ENGINEERING
54.00 | Supply and installation of heavy duty good quality white PVC switch boards/power point boards/modular switches/sockets/fan regulators & etc. Switch boards are suitable for installation/fixing of anchor roma or MK/Havells make modular type switch/sockets on wall /ceiling. Supplied PVC Switch boards are suitable to accommodate all modular switch/socket with front & base modular plate alongwith necessary accesserirs/consumables as required to complete the work.
54.01 | One room switch board consists of 10A 3nos of switches (cat.no. 21011), I No. 10A D socket (cat No 21113), 1no. Fan regulator (cat. No.22546) along with Tresa solid front plate with base frame plate. Reffered module is of Anchor Roma catalouge or /MK/Havells etc. | 20.00 | Nos |  | 1097.40 | 21948.00 | 21948.00 | MADHYA BHARAT ENGINEERING
54.02 | Supply & Installation of Power Point switch for AC/Room Heater consits of 1nos of C type 20A SP MCB, 1No 20A shutter type socket (cat No 98488 of Anchor make) with box nad 20A Power Plug suitable Tresa white front plate with base plate.Reffered module is of Anchor Roma catalouge or /MK/Havells etc. | 30.00 | Nos |  | 749.30 | 22479.00 | 22479.00 | MADHYA BHARAT ENGINEERING
54.03 | Power Point switch board consists of 2nos of 20A 1 way switch (cat no.21066) and 3 Nos 20A shutter type socket (cat No.30828) with switable Tresa white front plate with base plate.Reffered module is of Anchor Roma catalouge or /MK/Havells etc. | 25.00 | Nos |  | 1416.00 | 35400.00 | 35400.00 | MADHYA BHARAT ENGINEERING
55.00 | Supply, installation, testing and commissioning of similer to BAJAJ BHAR Deco 3Blade 1200mm Ceiling Fan , made of steel blade, motor , canopy, Bottom Canopy, shackle assembly, down rod with white clour glossy finish , suitable for 100-240V , 50Hz .as required as per specification and scope of work. Make: Havells, USHA,Cromptorn Greaves. | 25.00 | Nos |  | 1121.00 | 28025.00 | 28025.00 | MADHYA BHARAT ENGINEERING
56.00 | Supplying and installation of the 8 way with 24 outgoing , three pole and neutral, sheet steel, Phase segregation type (PPI), Double door MCB distribution board, 240 Volts on surface/recess, complete with tinned 125 A copper bus bar, and are C- Curve a) 1No. 80A 4P MCB as incomer b) 6 NO. 10 A SP MCB as outgoing c) 2 No. 20 A SP MCB as outgoing d) 10 No. 25 A MCB as outgoing | 1.00 | Nos |  | 14160.00 | 14160.00 | 14160.00 | MADHYA BHARAT ENGINEERING
57.00 | Supplying and Installation of 12 way with 10 outgoing , single pole and neutral, sheet steel, Phase segregation type (PPI), Double door MCB distribution board, 240 Volts on surface/recess, complete with tinned 40 A copper bus bar, a) 1No. 50A DP RCBO (30 mA) as incomer b) 4 No. 10 A MCB as outgoing c) 2 No. 20 A MCB as outgoing d) 2 No. 25 A MCB as outgoing | 1.00 | No |  | 20060.00 | 20060.00 | 20060.00 | MADHYA BHARAT ENGINEERING
58.00 | Supply , installation testing and commisioning of Main Switch Disconnector Fuse Unit TPN 125Amp SS Enclousure fit with HRC Fuse and Standard Cylinder, the unit is also supply of CT operated 3Ph Energy Meter of rating 100-150Amp | 1.00 | No |  | 22420.00 | 22420.00 | 22420.00 | MADHYA BHARAT ENGINEERING
| Total in Figures |  |  |  |  | 2459472.82
Lowest Amount Quoted BY: MADHYA BHARAT ENGINEERING(2459472.82)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous works in newly leased CMPAPP office at 4th floor BSNL building South Civil Lines Jabalpur. Tender ID: 2024_NPCIL_207555_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MADHYA BHARAT ENGINEERING (BID ID -751664) | 2459472.82 | L1