## BoQ1
Government eProcurement System Created By: Shivkumar Sonkere Created Date/Time: 19-Nov-2024 10:57 AM Tender Title: Supply, installation, commissioning and maintenance of Air Conditioning Systems in Construction office building at Kaiga 5-6 sites. Tender ID: 2024_NPCIL_207937_1
Tender Inviting Authority: Additional Chief Engineer (RE)
Name of Work: Supply, installation, commissioning and maintenance of Air Conditioning Systems in Construction office building at Kaiga 5&6 sites.
Contract No: NPCIL/KGS/CTC- C&MM (Works Group)/Elect./Kaiga 5&6/CPPP/2024/051
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JAGGI ELECTRICALS (GSTN-NA) BID ID -753718 |  | SHANMUKH ELECTRICAL WORKS (GSTN-NA) BID ID -753635
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part-A Providing following capacity Top & side discharge (Cooling Only) Variable Refrigerant Flow (VRV/VRF) type outdoor air-conditioning system. All as per technical specifications.
1.01 | Part-A 16 HP - Out door units (Top Discharge) | 1.00 | Nos | 369498.00 | 359999.01 | 359999.01 | 457500.00 | 457500.00 | 359999.01 | JAGGI ELECTRICALS
1.02 | Part-A 28 HP - Out door units (Top Discharge) | 2.00 | Nos | 651098.00 | 599999.49 | 1199998.98 | 807000.00 | 1614000.00 | 1199998.98 | JAGGI ELECTRICALS
1.03 | Part-A 30 HP - Out door units (Top Discharge) | 2.00 | Nos | 675899.00 | 649999.00 | 1299998.00 | 830000.00 | 1660000.00 | 1299998.00 | JAGGI ELECTRICALS
1.04 | Part-A 10 HP - Out door units (Side Discharge) | 2.00 | Nos | 224457.00 | 249999.00 | 499998.00 | 275000.00 | 550000.00 | 499998.00 | JAGGI ELECTRICALS
2.00 | Part-A Providing following capacity Ceiling suspended/ Mounted 4-way Cassette (VRF) type units. All as per technical specifications.
2.01 | Part-A 1.0 TR Mini Cassette (Compact) Unit | 8.00 | Nos | 49127.00 | 44999.00 | 359992.00 | 60000.00 | 480000.00 | 359992.00 | JAGGI ELECTRICALS
2.02 | Part-A 1.6 TR Cassette Unit | 6.00 | Nos | 47631.00 | 47999.00 | 287994.00 | 58500.00 | 351000.00 | 287994.00 | JAGGI ELECTRICALS
2.03 | Part-A 2.0 TR Cassette Unit | 1.00 | Nos | 50559.00 | 49999.01 | 49999.01 | 61500.00 | 61500.00 | 49999.01 | JAGGI ELECTRICALS
2.04 | Part-A 2.5 TR Cassette Unit | 2.00 | Nos | 56624.00 | 51999.00 | 103998.00 | 69500.00 | 139000.00 | 103998.00 | JAGGI ELECTRICALS
2.05 | Part-A 3.2 TR Cassette Unit | 5.00 | Nos | 57477.00 | 55999.00 | 279995.00 | 69500.00 | 347500.00 | 279995.00 | JAGGI ELECTRICALS
2.06 | Part-A 4.0 TR Cassette Unit | 11.00 | Nos | 61185.00 | 56999.00 | 626989.00 | 74500.00 | 819500.00 | 626989.00 | JAGGI ELECTRICALS
3.00 | Part-A Providing VRF Hi-wall Mounted Split Type Indoor unit Capacity 2.5 Tr. All as per technical specifications. | 3.00 | Nos | 37734.00 | 34999.00 | 104997.00 | 45500.00 | 136500.00 | 104997.00 | JAGGI ELECTRICALS
4.00 | Part-A Providing following capacity Ceiling suspended/Mounted MID STATIC ductable type unit-VRF Type. All as per technical specifications.
4.01 | Part-A 2.0 TR Ductable Unit | 5.00 | Nos | 44984.00 | 39999.00 | 199995.00 | 55000.00 | 275000.00 | 199995.00 | JAGGI ELECTRICALS
4.02 | Part-A 2.5 TR Ductable Unit | 13.00 | Nos | 53351.00 | 45999.00 | 597987.00 | 65800.00 | 855400.00 | 597987.00 | JAGGI ELECTRICALS
4.03 | Part-A 3.2 TR Ductable Unit | 5.00 | Nos | 54497.00 | 44999.00 | 224995.00 | 67000.00 | 335000.00 | 224995.00 | JAGGI ELECTRICALS
5.00 | Part-A Providing Refrigerant "Y" / "T" joints with insulation, suitable for the combination of indoor and outdoor machines. All as per technical specifications. | 56.00 | Nos | 5838.00 | 3999.00 | 223944.00 | 7100.00 | 397600.00 | 223944.00 | JAGGI ELECTRICALS
6.00 | Part-A Providing DX type 2.5 TR Air-cooled Inverter driven Split type Hi-Wall AC units with ODU & IDU. All as per technical specifications. | 2.00 | Nos | 59764.00 | 59999.00 | 119998.00 | 73800.00 | 147600.00 | 119998.00 | JAGGI ELECTRICALS
7.00 | Part-A Providing 8.5 TR Air-cooled, ducted AC unit - CSU, comprising of inverter driven compressor with ductable type indoor unit. All as per technical specifications. | 3.00 | Nos | 208732.00 | 189999.00 | 569997.00 | 256670.00 | 770010.00 | 569997.00 | JAGGI ELECTRICALS
8.00 | Part-A Providing 34 TR capacity Double Skin Air Handling Unit for First floor lounge. All as per technical specifications. | 1.00 | No | 892968.00 | 799999.00 | 799999.00 | 1100000.00 | 1100000.00 | 799999.00 | JAGGI ELECTRICALS
9.00 | Part-A Providing 8.5 TR condensing unit with single scroll compressor suitable for item no.8.0. Scope of work includes providing control cum starter panel including AHU kit (Expantion Valve) for AHU and condensing unit with all necessaory interlocks. All as per technical specifications. | 4.00 | Nos | 178334.00 | 169999.00 | 679996.00 | 220000.00 | 880000.00 | 679996.00 | JAGGI ELECTRICALS
10.00 | Part-A Providing receiver kit with cordless remote hand set for ductable unit | 22.00 | Nos | 9864.00 | 9229.00 | 203038.00 | 12150.00 | 267300.00 | 203038.00 | JAGGI ELECTRICALS
11.00 | Part-A Providing suitable following size Hard drawn liquid pipe with 19 or 13 mm thick insulation inclusive of supporting arrangment (as per system requirement). All as per technical specifications.
11.01 | Part-A 6.4mm Dia, 0.8mm Thick, 21G Hard Copper Pipe (insulation 13 mm thick) | 55.00 | Rmt | 444.00 | 399.00 | 21945.00 | 535.00 | 29425.00 | 21945.00 | JAGGI ELECTRICALS
11.02 | Part-A 9.5mm Dia, 0.8mm Thick, 21G Hard Copper Pipe (insulation 13 mm thick) | 250.00 | Rmt | 541.00 | 489.00 | 122250.00 | 665.00 | 166250.00 | 122250.00 | JAGGI ELECTRICALS
11.03 | Part-A 12.7mm Dia, 0.8mm Thick, 21G Hard Copper Pipe (insulation 13 mm thick) | 90.00 | Rmt | 629.00 | 599.00 | 53910.00 | 755.00 | 67950.00 | 53910.00 | JAGGI ELECTRICALS
11.04 | Part-A 15.9mm Dia, 1.0mm Thick, 19G Hard Copper Pipe (insulation 19 mm thick) | 200.00 | Rmt | 900.00 | 829.00 | 165800.00 | 1090.00 | 218000.00 | 165800.00 | JAGGI ELECTRICALS
11.05 | Part-A 19.1mm Dia, 1.0mm Thick, 19G Hard Copper Pipe (insulation 19 mm thick) | 105.00 | Rmt | 1040.00 | 929.00 | 97545.00 | 1275.00 | 133875.00 | 97545.00 | JAGGI ELECTRICALS
11.06 | Part-A 22.2mm Dia, 1.0mm Thick, 19G Hard Copper Pipe (insulation 19 mm thick) | 45.00 | Rmt | 1228.00 | 1199.00 | 53955.00 | 1500.00 | 67500.00 | 53955.00 | JAGGI ELECTRICALS
11.07 | Part-A 25.4mm Dia, 1.0mm Thick, 19G Hard Copper Pipe (insulation 19 mm thick) | 25.00 | Rmt | 1515.00 | 1429.00 | 35725.00 | 1865.00 | 46625.00 | 35725.00 | JAGGI ELECTRICALS
11.08 | Part-A 28.6mm Dia, 1.1mm Thick, 19G Hard Copper Pipe (insulation 19 mm thick) | 65.00 | Rmt | 1730.00 | 1649.00 | 107185.00 | 2100.00 | 136500.00 | 107185.00 | JAGGI ELECTRICALS
11.09 | Part-A 31.8mm Dia, 1.1mm Thick, 19G Hard Copper Pipe (insulation 19 mm thick) | 20.00 | Rmt | 1921.00 | 1899.00 | 37980.00 | 2350.00 | 47000.00 | 37980.00 | JAGGI ELECTRICALS
11.10 | Part-A 34.9mm Dia, 1.1mm Thick, 19G Hard Copper Pipe (insulation 19 mm thick) | 70.00 | Rmt | 2063.00 | 1999.00 | 139930.00 | 2525.00 | 176750.00 | 139930.00 | JAGGI ELECTRICALS
11.11 | Part-A 38.1mm Dia, 1.35mm Thick, 19G Hard Copper Pipe (insulation 19 mm thick) | 30.00 | Rmt | 2236.00 | 2049.00 | 61470.00 | 2750.00 | 82500.00 | 61470.00 | JAGGI ELECTRICALS
11.12 | Part-A 41.3 mm Dia, 1.35mm Thick, 19G Hard Copper Pipe (insulation 19 mm thick) | 45.00 | Rmt | 2717.00 | 2399.00 | 107955.00 | 3345.00 | 150525.00 | 107955.00 | JAGGI ELECTRICALS
12.00 | Part-A Providing following size CPVC drain pipe insulated with 9mm nitrile rubber insulation including elbows, connectors, U traps, Y-connections and flexible tubing for all indoor units to the nearest toilet drain /pantry drain/ HVAC shaft available as per site conditions and as directed by Engineer in charge.
12.01 | Part-A 25 mm Dia | 160.00 | Rmt | 271.00 | 249.00 | 39840.00 | 335.00 | 53600.00 | 39840.00 | JAGGI ELECTRICALS
12.02 | Part-A 32 mm Dia | 120.00 | Rmt | 355.00 | 289.00 | 34680.00 | 435.00 | 52200.00 | 34680.00 | JAGGI ELECTRICALS
12.03 | Part-A 40 mm Dia | 80.00 | Rmt | 394.00 | 319.00 | 25520.00 | 475.00 | 38000.00 | 25520.00 | JAGGI ELECTRICALS
13.00 | Part-A Providing 25 mm dia heavy duty, rigid PVC Conduit in the brick wall surface/roof slab by chipping the wall / concrete surface. Wherever conduit is laid (surface conduiting) over struss/ pipe to be clamped by aluminium clamp and GI nut bolt at an interval of 600mm. The scope includes supply and providing PVC moulded conduit accessories like bends, couplers, elbow, Tee, junction/ pulling boxes etc. The job shall be completed in all respect, as directed by EIC. | 1000.00 | Rmt | 132.00 | 129.00 | 129000.00 | 160.00 | 160000.00 | 129000.00 | JAGGI ELECTRICALS
14.00 | Part-A Providing 3 Core, 2.5 sq mm, flexible multi stranded copper Power cable for all indoor unit from power DB. All as per technical specifications. | 1000.00 | Rmt | 271.00 | 179.00 | 179000.00 | 330.00 | 330000.00 | 179000.00 | JAGGI ELECTRICALS
15.00 | Part-A Providing Communication cabling from Indoor unit to outdoor unit by providing PVC Conduite. All as per technical specifications. | 675.00 | Rmt | 320.00 | 269.00 | 181575.00 | 385.00 | 259875.00 | 181575.00 | JAGGI ELECTRICALS
16.00 | Part-A Pressure testing, vaccumising, entire system testing and commissioning of Complete Air Conditioning of office building. All as per technical specifications. | 1.00 | Lot | 135627.00 | 129999.00 | 129999.00 | 167500.00 | 167500.00 | 129999.00 | JAGGI ELECTRICALS
17.00 | Part-A Providing environment friendly refrigerant gas for additional top up as per system requirement. The scope shall include the cost towrads pressure testing with nitrogen Gas, Vaccumising including all consumables for all systems. All as per technical specifications. | 120.00 | Kg | 1260.00 | 1169.00 | 140280.00 | 1550.00 | 186000.00 | 140280.00 | JAGGI ELECTRICALS
18.00 | Part-A Providing following size, 1.2 mm thick hot dip galvanized perforated Cable tray in standard length of 2500 mm with top cover. All as per technical specifications.
18.01 | Part-A 300(W) X 100mm (D) | 50.00 | Nos | 1711.00 | 1599.00 | 79950.00 | 2100.00 | 105000.00 | 79950.00 | JAGGI ELECTRICALS
18.02 | Part-A 150(W) X 100mm (D) | 30.00 | Nos | 924.00 | 879.00 | 26370.00 | 1140.00 | 34200.00 | 26370.00 | JAGGI ELECTRICALS
19.00 | Part-A Providing following size GI factory fabricated and also site fabricated completely finished ducting as per site requirement. The GI ducting shall be erected at site as per drawing by providing threaded rod supports with asscociated accessories such as angle flanges, anchor fastners, GI bolts & nuts etc., All as per technical specifications.
19.01 | Part-A 24G. Ducting | 300.00 | Sq mtr | 1092.00 | 999.00 | 299700.00 | 1345.00 | 403500.00 | 299700.00 | JAGGI ELECTRICALS
19.02 | Part-A 22G. Ducting | 50.00 | Sq mtr | 1188.00 | 1099.00 | 54950.00 | 1450.00 | 72500.00 | 54950.00 | JAGGI ELECTRICALS
19.03 | Part-A 20G. Ducting | 10.00 | Sq mtr | 1631.00 | 1579.00 | 15790.00 | 2000.00 | 20000.00 | 15790.00 | JAGGI ELECTRICALS
20.00 | Part-A Providing 10mm thick Class "1" type, Acoustic insulation for ducts, fire retardant and moisture resistant open cell elastomeric acoustic insulation with density not less than 140 kg / m3. All as per technical specifications. | 80.00 | Sq mtr | 1034.00 | 999.00 | 79920.00 | 1260.00 | 100800.00 | 79920.00 | JAGGI ELECTRICALS
21.00 | Part-A Providing 13 mm thick thermal insulation for the sheet metal duct with closed cell elastomeric insulation of Class 'O' material with density of 40 - 55 kg/cum. All as per technical specifications. | 300.00 | Sq mtr | 655.00 | 669.00 | 200700.00 | 800.00 | 240000.00 | 200700.00 | JAGGI ELECTRICALS
22.00 | Part-A Providing collar damper - opposed blade type constructed out of extruded aluminum alloy with multiple blade of oppose blade type. Shall be used for the supply air diffuser & grilles as per the drawings & specifications. | 15.00 | Sq mtr | 9460.00 | 8999.00 | 134985.00 | 11500.00 | 172500.00 | 134985.00 | JAGGI ELECTRICALS
23.00 | Part-A Providing Aluminum Extruded powder coated grilles (Higher grade) with blade deflection of 0 & 15 deg. as per technical specifications. | 30.00 | Sq mtr | 8851.00 | 7999.00 | 239970.00 | 10500.00 | 315000.00 | 239970.00 | JAGGI ELECTRICALS
24.00 | Part-A Providing fire damper with opposed blade (Fusible Link type)- Extended Sleeve type - with 450 mm sleeve constructed with 1.6mm thick galvanized steel frame and the blade/Leaf with 1.6mm thick GSS. And with necessary flanges for connection as per specifications and drawings. | 1.00 | Sqmt | 17729.00 | 15999.00 | 15999.00 | 21900.00 | 21900.00 | 15999.00 | JAGGI ELECTRICALS
25.00 | Part-A Providing following Rectangular duct inline fan with all accessories like fan, motor, 10 micron washable filter with frame (50mm Thick), flanges including nrcessary cabling. All as per technical specifications.
25.01 | Part-A 1000 CFM, 20 mm wc. | 1.00 | No. | 29708.00 | 25999.00 | 25999.00 | 36800.00 | 36800.00 | 25999.00 | JAGGI ELECTRICALS
25.02 | Part-A 800 CFM, 20 mm wc. | 1.00 | No. | 23696.00 | 20999.00 | 20999.00 | 29000.00 | 29000.00 | 20999.00 | JAGGI ELECTRICALS
26.00 | Part-A Providing 100mm dia round flexible ducts with insulation to connect the rigid ductwork with the Terminal box diffuser without any joints. All as per technical specifications. | 30.00 | Rmt | 662.00 | 549.00 | 16470.00 | 810.00 | 24300.00 | 16470.00 | JAGGI ELECTRICALS
27.00 | Part-A Supply, balancing and commissioning of factory designed and manufactured Nanosox fabric ducting and fabric shall be inherant & permanant FIRE retardant. The Nanosox Fabric Air Dispersion Systems shall be provided with ACD (Air Flow Control Device) & PAD (Air Pressure Adjustment Device) as to achieve the desired performance of the AC System. Fabric Duct Section shall be connected with each other with HEAVY duty industrial ZIPPERS & will be covered with Fabric Sleeve. All as per technical specifications. | 230.00 | Sq mtr | 2938.00 | 2849.00 | 655270.00 | 3600.00 | 828000.00 | 655270.00 | JAGGI ELECTRICALS
28.00 | Part-A Supply & Installation of canvas cloth for connection of ductable unit & AHU unit (1200 L x 200 H). | 15.00 | Rmt | 2028.00 | 1699.00 | 25485.00 | 2500.00 | 37500.00 | 25485.00 | JAGGI ELECTRICALS
29.00 | Part-B COMPREHNSIVE MAINTENANCE OF above Air Conditioning System (installed at Part-A) at Kaiga 5&6 office buiding:The preventive & break down maintenance of above Air Conditioning System shall be carried out for a period of 2 years by continous engaging manpower with support of requisite spares. The equipment has to be kept healthy & working condition during entire contract period by daily condition monitoring. The preventive maintenances shall be carried out once in three months & same will be considered as one operation. And break downs if any shall be attended during the entire contract period on priority. The necessay check lists for PM/BM/CM shall be arranged by the bidder. The duly filled check lists shall be submitted to the EIC/his authorised representative for verification. All as per technical specifications. | 9.00 | Operation | 183167.00 | 174999.00 | 1574991.00 | 226500.00 | 2038500.00 | 1574991.00 | JAGGI ELECTRICALS
| Total in Figures |  |  |  |  | 14126999.00 |  | 18693985.00
Lowest Amount Quoted BY: JAGGI ELECTRICALS(14126999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, installation, commissioning and maintenance of Air Conditioning Systems in Construction office building at Kaiga 5-6 sites. Tender ID: 2024_NPCIL_207937_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAGGI ELECTRICALS (BID ID -753718) | 14126999.00 | L1
| 2 | SHANMUKH ELECTRICAL WORKS (BID ID -753635) | 18693985.00 | L2