## BoQ1
Government eProcurement System Created By: Basanagouda Naganuri Created Date/Time: 11-Nov-2024 12:11 PM Tender Title: Miscellaneous Civil Maintenance Works Tender ID: 2024_NPCIL_209030_1
Tender Inviting Authority: Maintenance Superintendent, KGS-3&4
Name of Work: Miscellaneous Civil Maintenance Works at Kaiga Generating Station 3&4, Kaiga for the year 2024-2026.
Contract No: NPCIL/KGS/CTC/C&SM-3&4/CPPP/2024/052
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Gimmy K Thomas (GSTN-NA) BID ID -757235 |  | MURUGAN KANNAPPA (GSTN-NA) BID ID -756998
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork Excavation in all Sorts of Soil for foundation trenches, walls, drains, plinths, footings, pedestals, columns and for all other miscellaneous foundation works etc., including Cutting / removing & clearance of jungle, bushes, grass & creepers etc. Shoring, strutting, bailing out water [if necessary], dressing, leveling & hand ramming he bottom of foundation base using wooden hand rammer with proper watering, refilling the sides of the foundation with excavated available good quality of Soil, leveling & hand ramming the sides of foundation base using wooden hand rammer with proper watering, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the waste soil or surplus soil, generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 500.00 | CuM | 504.00 | 499.00 | 249500.00 | 480.00 | 240000.00 | 240000.00 | MURUGAN KANNAPPA
2.00 | Providing and filling the Soil selected good quality soil brought from the borrow pits and filling Low laying areas etc., to the required gradient, camber, leveling and cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. NOTE: Measurement will be made on the basis of dimensions of vehicle trailer. | 1630.00 | CuM | 547.00 | 499.00 | 813370.00 | 500.00 | 815000.00 | 813370.00 | Gimmy K Thomas
3.00 | Providing and laying PCC 1:2:4 using 20 mm & downsize clean, crushed, well graded, aggregates of hard, durable & approved quality including mixing, transporting, laying, spreading, consolidation, leveling, finishing including curing, providing; fixing and removing necessary form work, cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. | 15.00 | CuM | 8942.00 | 8950.00 | 134250.00 | 9000.00 | 135000.00 | 134250.00 | Gimmy K Thomas
4.00 | Providing and laying RCC 1:1.5:3 using 20 mm & downsize clean, crushed, well graded, aggregates of hard, durable & approved quality for RCC works including mixing, transporting, laying, spreading, consolidation, leveling, finishing, curing and cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. | 55.00 | CuM | 11064.00 | 10333.00 | 568315.00 | 11000.00 | 605000.00 | 568315.00 | Gimmy K Thomas
5.00 | Providing, placing and removing formwork for all in-situ concrete works such as foundation, rafts, footings, pedestals, plinth, columns, beams, slabs, Chejjas, Lintels, bedding, platform, pathways, walkways and all other miscellaneous RCC works [All RCC works below & above plinth level] including Providing; fixing & removing necessary staging / platform / scaffolding / ladder [if required], preparation of base, cleaning the work area, collecting & disposing the construction & generated waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per standard technical specification and as directed by Engineer-In-charge at all locations and at all lift & height. Note: The measurement for the form work will be actual area of form in contact with the concrete surfaces. | 410.00 | SqM | 631.00 | 555.00 | 227550.00 | 500.00 | 205000.00 | 205000.00 | MURUGAN KANNAPPA
6.00 | Providing and laying approved make high strength deformed Reinforcement bars of all diameters confirming to grade Fe-500D IS: 1786 including cutting, bending, transporting, placing in position & binding with suitable gauge soft annealed binding wire of approved quality for all insitu concrete works including providing & placing suitable cover blocks, scaffolding / staging, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. | 13.00 | MT | 129272.00 | 106999.00 | 1390987.00 | 115000.00 | 1495000.00 | 1390987.00 | Gimmy K Thomas
7.00 | Providing and constructing Masonry [below plinth & above plinth] with C.C. Solid Blocks of size 400/300 mm X 200mm X 200/150mm or size as approved by the engineer-in-charge size, having crushing strength not less than 45 Kgs. per SqCM. in C.M. 1:5 including simultaneous flush pointing, providing & removing necessary scaffolding / staging / platform, curing, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. | 190.00 | CuM | 7342.00 | 7850.00 | 1491500.00 | 8400.00 | 1596000.00 | 1491500.00 | Gimmy K Thomas
8.00 | Providing and laying Internal Cement Plaster 15 mm thick in CM 1:5 to the masonry & concrete surfaces etc., rubbed perfectly so as to obtain smooth & even finish including preparation of base by racking out all the masonry joints & close hacking the concrete surfaces for proper bonding, curing, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the construction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 750.00 | SqM | 433.00 | 403.00 | 302250.00 | 400.00 | 300000.00 | 300000.00 | MURUGAN KANNAPPA
9.00 | Providing and laying External Cement Plaster 18 mm thick in Two Coats. Base coat shall be 12 mm thick in CM 1:5 & finishing coat shall be 6 mm thick in CM 1:3 (sponge finished) with Non-Shrink Water Proofing Compound [confirming to the BIS 2645 of the latest edition] @ 2 % by the weight of cement / as per the recommendation of the manufacturer to the Masonry surfaces & concrete surfaces etc. rubbed perfectly so as to obtain smooth & even finish including preparation of base by close hacking / chipping the old surface, racking out the joints & cleaning, curing, providing; fixing & removing necessary staging / platform / scaffolding, collecting & disposing the generated waste, construction waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations and at all lift & height. | 110.00 | SqM | 601.00 | 555.00 | 61050.00 | 500.00 | 55000.00 | 55000.00 | MURUGAN KANNAPPA
10.00 | Providing and applying One Coat of Interior Grade Primer [of superior 1st quality & of standard make] and Two Coats of Interior Grade Acrylic Plastic Emulsion Paint [superior 1st quality & of standard make], of shade /colour [as per site requirement & as selected by engineer-in-charge], over the interior surface of newly plastered / concrete or masonry wall, RCC members such as columns; beams & other concrete surfaces, including providing & applying Two Coats of Acrylic Putty, [of superior 1st quality & of standard make] to the entire surface, preparation of surfaces by sand papering properly before application of putty; primer & paint. Putty, Primer & Paint shall be confirming relevant BIS specification of latest edition, providing; fixing & removing necessary staging / platform / scaffolding / ladder [if required], collecting & disposing the generated & construction waste, up to a lead of 2 - 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 400.00 | SqM | 200.00 | 199.00 | 79600.00 | 150.00 | 60000.00 | 60000.00 | MURUGAN KANNAPPA
11.00 | Providing and applying One Coat of Exterior Grade Primer, [of superior 1st quality & of standard make] and Two Coats of Exterior Grade weather Proof Paint [of superior 1st quality & of standard make], of shade / colour [as per site requirement & as selected by engineer-in-charge], for New Surfaces of concrete, plaster or masonry wall, RCC members such as columns; beams & other concrete surfaces including providing & filling Crack Sealing Compound [of superior 1st quality & of standard make] in the cracks, preparation of surfaces by sand papering & Pressured Water Jet machine, cleaning the surface, surface shall be neat; clean & dry before application of crack sealing compound, Primer & paint. Primer, Paint & Crack Sealing Compound shall be confirming relevant BIS specification of latest edition, providing; fixing & removing necessary staging / platform / scaffolding / ladder [if required], collecting & disposing the construction & generated waste up to a lead of 2 - 3 kms. from the place of work & cleaning the work area etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift & height. | 900.00 | SqM | 199.00 | 195.00 | 175500.00 | 180.00 | 162000.00 | 162000.00 | MURUGAN KANNAPPA
12.00 | Providing and fixing in position 18 - 20 mm. thick, one side Mirror Polished Granite Stone Slabs of approved size; of approved quality; of approve shade / colour & Laying / fixing in approved pattern for flooring, Skirting, Platforms etc. to the true line; level & slope etc, including fixing / laying the Slabs using cement mortar in CM 1:4; 20 mm. thick bedding, cement [for bedding @ 4.4 Kgs. per Sqm. of floor area] for slurry, cement [for joints @ 0.60 Kgs. per Sqm. of floor area] for slurry & colouring pigment to match the existing surface, preparation of base & curing properly, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. | 35.00 | SqM | 4029.00 | 3900.00 | 136500.00 | 4000.00 | 140000.00 | 136500.00 | Gimmy K Thomas
13.00 | Providing and laying Ceramic Wall Tiles of different size for dado of approved make, Size, colors /shade, laid on 12 mm thick in CM 1:4 including grouting the joints with white and matching pigment as per specification and relevant IS, including preparation of base and collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. | 55.00 | SqM | 1480.00 | 1299.00 | 71445.00 | 1300.00 | 71500.00 | 71445.00 | Gimmy K Thomas
14.00 | Providing and laying premium quality Ceramic Anti Skid 11/2' X 11/2' Tiles for floor, of approved brand & shade / colour with 20 mm thick in CM 1:4 bedding, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels gradient etc., including cutting of tiles, preparation of base and collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. | 25.00 | SqM | 1447.00 | 1250.00 | 31250.00 | 1200.00 | 30000.00 | 30000.00 | MURUGAN KANNAPPA
15.00 | Providing, fabricating and fixing in position Mild Structural Items like pipes, angles, flats, plates, other approved sections etc., including the cost of nuts, bolts /anchor fasteners for fabricating & fixing different Mild Structural Steel works such as gates, grills, trusses and all othe Mild Structural Steel works etc., including providing & painting One Coat of Metal primer [superior quality & make] and Two coats of synthetic enamel paint [Paint shall of superior quality and make with approved shade /colour] including preparation of base, providing, fixing and removing necessary staging / platform / scaffolding, all materials shall be confirming to the relevant BIS specification of the latest edition, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. | 7.00 | MT | 157521.00 | 133999.00 | 937993.00 | 140000.00 | 980000.00 | 937993.00 | Gimmy K Thomas
16.00 | Providing and laying 40 mm. thick, Indian Patent Stone for Flooring, Steps, Landing & Ramps etc. with PCC 1:2:4 using 10 / 12 mm. & down size, clean, crushed, well graded, cubical shape, sharp edged aggregates of hard, durable & approved quality stones / rubbles including machine mixing, transporting, laying, spreading, compaction, laying in bays to proper line; slope or level etc. using 6 mm. thick plane glass dividing strips for flooring, steps, landings & ramps including smooth finish, Curing, providing; fixing & removing scaffolding / staging / platform, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. | 165.00 | SqM | 862.00 | 699.00 | 115335.00 | 800.00 | 132000.00 | 115335.00 | Gimmy K Thomas
17.00 | Providing and laying / fixing Plane or Curved Galvalum Sheets for Roofing, Ridges & Cladding etc. [0 .47 mm thick] of Colour Mat Finish Coating: AZ - 150 / 550 MPA, Paint : RMP [Regular Modified Polyester], Top Coat: 18 - 20 Micron, Bottom Coat: 5 - 7 Micron, Trapezoidal Profile 0.47 mm thick at pitch 250 mm., Width 1060 mm, Length as per site measurement, Aluminium - Zinc Steel Sheet [Galvalum Base] 55 % aluminium, 43 % Zinc, 1.60 % Silicon with Tensile strength of 345 to 550 MPA including providing & fixing necessary self drilling screws of best quality & EPDM washers, Galvalum sheets Roofing with Galvalum Ridges shall be of approved shade / colour & confirming to the relevent BIS specification of the latest edition and of approved make, preparation of base, providing; fixing & removing Staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 900.00 | SqM | 761.00 | 703.00 | 632700.00 | 730.00 | 657000.00 | 632700.00 | Gimmy K Thomas
18.00 | Providing and fixing 2 mm thick, PVC flooring of Tusker brand from M/S Krishna Vinyls or Royal House brand, of approved shades and pattern with necessary adhesive of approved quality & shall be used, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. | 90.00 | SqM | 742.00 | 733.00 | 65970.00 | 750.00 | 67500.00 | 65970.00 | Gimmy K Thomas
19.00 | Providing, fixing / placing in position Rotary Press; Heavy Duty; Anti Skid; 5-Star; Short Blasted; Paver Blocks of 65 mm thick [of standard size & in colour combination of terracotta & black and as selected by engineer-in-charge] of approved & reputed make & of superior 1st quality. Paver blocks compressive strength shall not be less than 300 Kg/Sqcm and manufactured as per IS 15658-2006, Paver shall be laid over well Saturated 50 mm. thick River Sand / M-sand bedding including preparation of base by proper dressing / leveling and ramming [using Plate Vibrator to have uniform surface and to get the required line & level / gradient, camber] the base with proper watering, the gaps shall be filled with fine sand, ramming top surface of pavers using Plate Vibrator to have uniform surface and to get the required line & level / gradient & camber, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lift / height. | 100.00 | SqM | 1086.00 | 1088.00 | 108800.00 | 1200.00 | 120000.00 | 108800.00 | Gimmy K Thomas
20.00 | Providing and fixing SS 316 grade,18 to 20 gauge, thick pipe of 50 / 40 / 32 NB or suitable square / rectangle sections [thickness of wall shall be minimum 5 mm.] for staircase railing / handrails work including fabrication as per drawing and site requirement, transportation and fixing in the location by using suitable anchoring bolts, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. | 600.00 | Kg | 814.00 | 777.00 | 466200.00 | 950.00 | 570000.00 | 466200.00 | Gimmy K Thomas
21.00 | Providing and fixing in position factory made Wood plastic composite (WPC) Door Shutters 30mm thick. The entire shutter shall have glossy polish with IS specification including providing & fixing [to each shutters] One number of 250 mm long &16 mm dia. Aldrop, One number of 200 mm long & 10 mm dia. Tower Bolt; One number of 150 mm long & 10 mm dia. Tower Bolt, Two numbers of 125 mm grip 'D' handles, Two numbers of 40 mm dia. & 50 mm long rubber bushes [Aldrop,Tower Bolts & 'D' handles shall be of approved make Stainless steel material], preparatation of base, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 20.00 | SqM | 4315.00 | 4199.00 | 83980.00 | 4500.00 | 90000.00 | 83980.00 | Gimmy K Thomas
22.00 | Providing, fabricating and fixing in position Pre-Coated Aluminum Composite Panels of approved colour / make with exterior grade coating and 4 mm. thickness (TCT) using powder coated “JINDAL” or Hidalco” make Aluminum extruded sections as base grid frame mounted on anti corrosive treated SS brackets including fixing the panels, tray type and sealing with down corning make weather sealant structural silicon sealant with necessary masking to the panels, providing, fixing and removing necessary staging / platform / scaffolding, all materials shall be confirming to the relevant BIS specification of the latest edition, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. | 200.00 | SqM | 4572.00 | 4299.00 | 859800.00 | 4600.00 | 920000.00 | 859800.00 | Gimmy K Thomas
23.00 | Providing and fixing Wall Cladding with 12 mm thick water proof ply wood as per IS: 303 AA Type over 2 ½” size GI ‘U’ channels at 600 mm centre to centre fixed to the wall with necessary stainless steel screws; fasteners, and providing and fixing 3 mm thick Vineer over ply wood paneling, including required screws; adhesive; pins; grips for joints; making grooves; rebates; moulding & finishing smooth with sand paper including applying three or more coats of natural Finish with melamine Polish, fixing and removing necessary staging / platform & cleaning the area etc., complete as per drawing and as directed by the Engineer-In-Charge etc.,complete all as per manufacturer's technical specification and as directed by Engineer-In-Charge at all locations. | 35.00 | SqM | 7141.00 | 7099.00 | 248465.00 | 7300.00 | 255500.00 | 248465.00 | Gimmy K Thomas
24.00 | Providing and laying/fixing Decorative with architectural finish Suspended False ceiling using first quality PVC Boards of size 300mm X 3000mm X 6mm of approved make with GI Grid Work of 600 mm. x 600 mm. made out of Perimeter channels [MF 6A], Ceiling Sections [MF5 : placing at 457 mm. (Maximum) C/C] , Intermediate channels [MF7: placing @ 1220 mm. (Maximum) C/C], Ceiling angles 25 mm X 25 mm. Size, placing @ 1220 mm. (Maximum) C/C] including Screws, soffit cleats, nuts & bolts, connecting clips and all other required miscellaneous materials & consumable of approved first quality/make etc., all materials shall be confirming to the relevant BIS specification of the latest edition, providing; fixing & removing necessary staging / platform, cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 meters from place of work etc.,complete all as per standard/ manufacturer's specifications and as directed by Engineer-In-Charge at all locations & all lifts / heights. | 150.00 | SqM | 1983.00 | 1900.00 | 285000.00 | 2200.00 | 330000.00 | 285000.00 | Gimmy K Thomas
25.00 | Providing and fixing GI 2 ply X 4 bails barbed wire of 12 gauge, of approved quality & confirming to the relevant BIS specification of the latest edition on the ' Y ' / ' L ' shape existing RCC / MS fencing posts including providing & binding / tying with GI wire of 18 gauge or split pins to the existing post, providing; fixing & removing necessary staging / platform, cleaning the work area & and disposing the debris up to a lead of 2000 meters outside the periphery of work premises, cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. Note: Galvanization shall be as per relevent IS code. | 20000.00 | RM | 33.00 | 35.00 | 700000.00 | 36.00 | 720000.00 | 700000.00 | Gimmy K Thomas
26.00 | Providing and fixing Iron Galvanized concertina coil, cross Razor of 610 mm dia / 750 mm dia. / as directed by EIC and Fixing over 'Y' shape RCC posts / MS fencing posts / MS Gates , along with providing & fixing 4mm dia. GI wire including providing and tying using 'J' clips and tying with suitable gauge GI wire [J clips and GI wire shall be of suitable gauge, of standard make] at regular interval by maintaining the proper & required pitch distance including preparation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specifications, drawing [in any] and as directed by engineer-in-charge at all locations and at all lifts / height. | 1600.00 | Kg | 234.00 | 255.00 | 408000.00 | 250.00 | 400000.00 | 400000.00 | MURUGAN KANNAPPA
27.00 | Providing and fixing Vertical venetian blinds of Vista Levolor Dustguard No -103 or equivalent or as approved by EIC with all necessary fittings & fixtures of approved shade / colour, of required size, providing; fixing & removing scaffolding / staging / platform, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations. | 550.00 | SqM | 1520.00 | 1450.00 | 797500.00 | 1720.00 | 946000.00 | 797500.00 | Gimmy K Thomas
28.00 | Providing and fixing in position Premium Quality, Double charge nano finish Vitrified [straight edge] Tiles for flooring, Skirting & dado of Johnson / Bell / Regency / Marbit o/ Nitco / Naveen diamontile / Somany make of approved shade / colours [as per the design] including laying in CM 1:4, 20 mm thick, base layer for flooring, in CM 1:3, 12 mm thick, base layer for Skirting & dado, Cement Slurry @ 3.3 Kgs [for flooring, skirting & dado] per sqm. or using approved adhesive [such as laticrete L290, laid thickness of laticrete shall not be less than 6 mm], pointing the joints neatly with white cement mixed with matching [tiles] colouring pigment, including preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, curing etc., providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 110.00 | SqM | 1735.00 | 1599.00 | 175890.00 | 1900.00 | 209000.00 | 175890.00 | Gimmy K Thomas
29.00 | Providing and fixing in position Display Boards consisting of PU spray painted PVC foam letters fitted over ACP sheet boards, including fabrication of frames, letters, ACP board etc.; including transportation, installation, removal of existing display board etc. & cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000- 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. Note: (1)The pvc foam sheet used for letters should have density of 0.55, (2)Frame shall be made using GI Square tube section of 1" X 1" & 2mm thick, (3)ACP sheet shall be of bending quality & 3mm thick, (4)PVC foam letters shall be PU spray painted & 18mm in thickness, (5)Letters shall be fitted on board using nut and bolts of suitable size. (6)Letters are to be made trilingual i.e. Kannada, Hindi & English. (7)Main body of the Letters will only be considered for size measurements of Kannada & Hindi letters.
30.00 | ACP sheet boards along with GI frame work as specified above. | 2000.00 | Sqft. | 434.00 | 450.00 | 900000.00 | 506.00 | 1012000.00 | 900000.00 | Gimmy K Thomas
31.00 | PU spray painted PVC foam letters as specified above having size: 4inch to 5inch | 400.00 | Each | 645.00 | 666.00 | 266400.00 | 686.00 | 274400.00 | 266400.00 | Gimmy K Thomas
32.00 | PU spray painted PVC foam letters as specified above having size: 6inch to 8inch | 50.00 | Each | 902.00 | 899.00 | 44950.00 | 956.00 | 47800.00 | 44950.00 | Gimmy K Thomas
33.00 | PU spray painted PVC foam letters as specified above having size: 9inch to 10inch | 570.00 | Each | 1289.00 | 1299.00 | 740430.00 | 1500.00 | 855000.00 | 740430.00 | Gimmy K Thomas
34.00 | PU spray painted PVC foam letters as specified above having size: 11inch to 12inch | 480.00 | Each | 1418.00 | 1455.00 | 698400.00 | 1566.00 | 751680.00 | 698400.00 | Gimmy K Thomas
35.00 | Providing, laying & concreting in position / Placing of RCC Pre-Cast drain/ trench Slab Covers made out of RCC 1:2:4 casting with slots of 75 mm or 50mm or as directed by the Engineer-in-charge thickness including mixing, transporting, laying, spreading, consolidating, leveling, smooth finishing the all exposed faces, providing; fixing & removing necessary formwork, curing properly, Providing and tying reinforcement Steel Bars for RCC pre-cast covers / slabs of approved quality [Fe-500D steel bars shall be confirming to the BIS 1786 - of the latest edition] sealing the joints in CM 1:2, Stacking & disposing debris upto lead of 2Kms etc. complete all as per specification and as directed by the Engineer-in-charge at all locations. Note: 1) Reinforcement steel & formwork will be measured & paid under relevant items. (2) Precast slabs shall be cured properly & placed in position after 28 days from date of casting. | 30.00 | CuM | 10398.00 | 10101.00 | 303030.00 | 10500.00 | 315000.00 | 303030.00 | Gimmy K Thomas
36.00 | Engaging Excavator (JCB) for removal & disposal of road side collapsed soil / earth; stone boulders; wooden logs; dried trees & other unwanted materials / things which are making obstruction for free movement of men & vehicles etc., cleaning of existing drains for free flow of rain water, formation of new drains for free flow of rain water and other miscellaneous works etc. including hire charges of Excavator; operator wages; Excavator maintenance charges; cost of diesel & lubricants and tool & tackles etc. cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000- 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. | 100.00 | Per Hour | 1522.00 | 1250.00 | 125000.00 | 1500.00 | 150000.00 | 125000.00 | Gimmy K Thomas
37.00 | Providing Clear / tinted Glass of minimum 5.5 mm thick including safe delivery at Kaiga site. Glass shall be free from any defects (glass shall be of superior quality & of first grade) of Modi / Saint Gobin make & confirming to the relevant BIS specification of the latest edition. Note: Contractor shall take clearance from Engineer-In-Charge prior to bulk supply of material. | 40.00 | SqM | 907.00 | 950.00 | 38000.00 | 1000.00 | 40000.00 | 38000.00 | Gimmy K Thomas
38.00 | Providing 20 micron thick, Sun Control Film of GARWARE or equivalent make, of approved quality, colour/ shade & confirming the relevant BIS specification of latest edition. Note: Contractor shall take clearance from Engineer-In-Charge prior to bulk supply of material. | 40.00 | SqM | 80.00 | 88.00 | 3520.00 | 550.00 | 22000.00 | 3520.00 | Gimmy K Thomas
39.00 | Providing 12 mm thick, BSD, Interior Grade Pre-laminated Partical Board of superior & approved quality of ONZE / equivalent make and confirming to the relevant BIS specification of the latest edition for wall partitions, doors & all other miscellaneous works. Note: Contractor shall take clearance from Engineer-In-Charge prior to bulk supply of material. | 30.00 | SqM | 615.00 | 625.00 | 18750.00 | 600.00 | 18000.00 | 18000.00 | MURUGAN KANNAPPA
40.00 | Providing StainlessSteel edge protection angle of size 50mm X 50mm X 3mm thick (minimum) & 1.5 meter in length; including providing 8 nos. of suitatble size holes for fixing of S.S. screws for fixing the angle in the wall edge portion and including providing suitable size S.S. Screws along with PVC hole plugs of required nos., of superior & approved quality confirming to the relevant BIS specification of the latest edition. Note: (1) The length of single edge protection angle may change as per site requirement. (2) S.S. screws shall be flat head and should flush with Angle surface. (3)Contractor shall take clearance from Engineer-In-Charge prior to bulk supply of material. | 120.00 | RM | 4567.00 | 3950.00 | 474000.00 | 4800.00 | 576000.00 | 474000.00 | Gimmy K Thomas
41.00 | Providing Aluminum Jalley of 50 X 50 mm. (Opening) X 6.5 mm thick (Minimum) of Square or diagonal pattern 50 X 60 mm. (Opening) X 6.5 mm thick (Minimum) of Square or diagonal pattern, fabricated out of extruded annodised aluminum sections confirming to the relevant BIS specification of the latest edition, including providing U channels and required screws. Note: (1) The length of U channel and required screws shall be supplied along with aluminium jally considering grill of size 2.4m X 1.2m. (2)Contractor shall take clearance from Engineer-In-Charge prior to bulk supply of material. | 50.00 | SqM | 1503.00 | 1499.00 | 74950.00 | 1400.00 | 70000.00 | 70000.00 | MURUGAN KANNAPPA
42.00 | Providing Astral / Finolex / Supreme / Ashirwad or equivalent make CPVC Pipes , Fittings, & CPVC solvent etc. [Pipes & Fittings shall be of class SDR 11, of plumbing quality of and confirming to the IS:15778 specification of the latest edition].
43.00 | CPVC Pipe 20 mm | 100.00 | RM | 168.00 | 165.00 | 16500.00 | 180.00 | 18000.00 | 16500.00 | Gimmy K Thomas
44.00 | CPVC Pipe 25 mm | 150.00 | RM | 258.00 | 250.00 | 37500.00 | 280.00 | 42000.00 | 37500.00 | Gimmy K Thomas
45.00 | CPVC Pipe 32 mm | 150.00 | RM | 392.00 | 399.00 | 59850.00 | 400.00 | 60000.00 | 59850.00 | Gimmy K Thomas
46.00 | CPVC Pipe 40 mm | 150.00 | RM | 430.00 | 433.00 | 64950.00 | 400.00 | 60000.00 | 60000.00 | MURUGAN KANNAPPA
47.00 | CPVC Pipe 50 mm | 150.00 | RM | 871.00 | 799.00 | 119850.00 | 900.00 | 135000.00 | 119850.00 | Gimmy K Thomas
48.00 | CPVC Coupler 20mm | 50.00 | Each | 27.00 | 26.00 | 1300.00 | 20.00 | 1000.00 | 1000.00 | MURUGAN KANNAPPA
49.00 | CPVC Coupler 25mm | 60.00 | Each | 41.00 | 42.00 | 2520.00 | 35.00 | 2100.00 | 2100.00 | MURUGAN KANNAPPA
50.00 | CPVC Coupler 32mm | 60.00 | Each | 51.00 | 50.00 | 3000.00 | 50.00 | 3000.00 | 3000.00 | MURUGAN KANNAPPA, Gimmy K Thomas
51.00 | CPVC Coupler 40mm | 60.00 | Each | 84.00 | 80.00 | 4800.00 | 75.00 | 4500.00 | 4500.00 | MURUGAN KANNAPPA
52.00 | CPVC Coupler 50mm | 60.00 | Each | 231.00 | 255.00 | 15300.00 | 200.00 | 12000.00 | 12000.00 | MURUGAN KANNAPPA
53.00 | CPVC Equal T 20mm | 15.00 | Each | 52.00 | 55.00 | 825.00 | 50.00 | 750.00 | 750.00 | MURUGAN KANNAPPA
54.00 | CPVC Equal T 25mm | 15.00 | Each | 117.00 | 125.00 | 1875.00 | 100.00 | 1500.00 | 1500.00 | MURUGAN KANNAPPA
55.00 | CPVC Equal T 32mm | 15.00 | Each | 129.00 | 140.00 | 2100.00 | 120.00 | 1800.00 | 1800.00 | MURUGAN KANNAPPA
56.00 | CPVC Equal T 40mm | 15.00 | Each | 172.00 | 180.00 | 2700.00 | 150.00 | 2250.00 | 2250.00 | MURUGAN KANNAPPA
57.00 | CPVC Equal T 50mm | 15.00 | Each | 328.00 | 325.00 | 4875.00 | 300.00 | 4500.00 | 4500.00 | MURUGAN KANNAPPA
58.00 | CPVC Reducer T 32mm X 25mm | 30.00 | Each | 161.00 | 151.00 | 4530.00 | 160.00 | 4800.00 | 4530.00 | Gimmy K Thomas
59.00 | CPVC Reducer T 50mm X 32mm | 20.00 | Each | 194.00 | 190.00 | 3800.00 | 170.00 | 3400.00 | 3400.00 | MURUGAN KANNAPPA
60.00 | CPVC 90degree Elbow 20mm | 20.00 | Each | 30.00 | 32.00 | 640.00 | 30.00 | 600.00 | 600.00 | MURUGAN KANNAPPA
61.00 | CPVC 90degree Elbow 25mm | 20.00 | Each | 75.00 | 78.00 | 1560.00 | 80.00 | 1600.00 | 1560.00 | Gimmy K Thomas
62.00 | CPVC 90degree Elbow 32mm | 20.00 | Each | 77.00 | 75.00 | 1500.00 | 70.00 | 1400.00 | 1400.00 | MURUGAN KANNAPPA
63.00 | CPVC 90degree Elbow 40mm | 20.00 | Each | 134.00 | 140.00 | 2800.00 | 120.00 | 2400.00 | 2400.00 | MURUGAN KANNAPPA
64.00 | CPVC 90degree Elbow 50mm | 20.00 | Each | 292.00 | 290.00 | 5800.00 | 300.00 | 6000.00 | 5800.00 | Gimmy K Thomas
65.00 | CPVC solvent in standard packing | 100.00 | Liter | 1279.00 | 1250.00 | 125000.00 | 1300.00 | 130000.00 | 125000.00 | Gimmy K Thomas
66.00 | Fabricating, providing and fixing in position Stainless steel (304 grade) NPCIL logo having size 26(+/-2)inch in overall height, 20(+/-2)inch in dia for round part of logo & 0.8 to 1 inch in thickness, including transportation, installation, removal of existing display board etc. & cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000- 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. Note: (1) NPCIL logo design shall be made by making grove using lesser machine over Stainless steel (304grade) gold in colur sheet and embossing to 1 inch. | 2.00 | Each | 40710.00 | 40998.00 | 81996.00 | 42000.00 | 84000.00 | 81996.00 | Gimmy K Thomas
67.00 | Fabricating, providing and fixing in position Stainless steel (304 grade) Letters having size 9 to 10 inch & SS sheet of 0.8 to 1 inch in thickness , including transportation, installation, removal of existing display board etc. & cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000- 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. Note: The letters shall be made using Stainless steel (304grade) gold in colour sheet matching to the colour of NPCIL logo and embossing to 1inch. | 30.00 | Each | 1900.00 | 1933.00 | 57990.00 | 2200.00 | 66000.00 | 57990.00 | Gimmy K Thomas
68.00 | Providing, laying / fixing CPVC Pipes [SDR 11] with its all required Plain & brass threaded fittings [such as collars, elbows, tees, unions, coupling, reducers, enlargers, bends, nipples and all other fittings required for completing the job, as per code of practice for water supply to the buildings -BIS 2065 of the latest edition, of superior 1st quality, of standard make and confirming to relevant BIS specification of latest edition] including fixing on the wall with suitable PVC clamps, jointing the pipes & fittings using CPVC solvent, cost of all materials like white or red lead, clamps, cement, sand, tools & tackles, testing the pipe with clean water [as per specification] and ensuring smooth functioning, providing; fixing & removing necessary staging / platform / ladder / scaffolding [if required], preparation of base, collecting & disposing the construction & generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lifts / heights. FIXING ON WALL SURFACE [Inside / Outside Bldgs /trench]
69.00 | 25 mm dia. FIXING ON WALL SURFACE [Inside / Outside Bldgs/trenches] | 100.00 | RM | 665.00 | 666.00 | 66600.00 | 750.00 | 75000.00 | 66600.00 | Gimmy K Thomas
70.00 | 32 mm dia. FIXING ON WALL SURFACE [Inside / Outside Bldgs/trenches] | 200.00 | RM | 886.00 | 899.00 | 179800.00 | 1080.00 | 216000.00 | 179800.00 | Gimmy K Thomas
71.00 | 50 mm dia. FIXING ON WALL SURFACE [Inside / Outside Bldgs/trenches] | 400.00 | RM | 1671.00 | 1599.00 | 639600.00 | 1900.00 | 760000.00 | 639600.00 | Gimmy K Thomas
72.00 | Dismantling / breaking / removing by Manual or Mechanical means PCC with both side plaster, in cement mortar & other finishes [if any] including collecting & stacking neatly; all serviceable materials [such as stone aggregates] in sectional store, providing; fixing & removing necessary staging / platform / scaffolding / ladder [if required], collecting & disposing the generated & construction waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift. | 40.00 | CuM | 965.00 | 951.00 | 38040.00 | 1000.00 | 40000.00 | 38040.00 | Gimmy K Thomas
73.00 | Providing and fixing in position factory made 45 mm thick Single/double leaf, hinged metallic stability, integrity and insulation fire barrier doors of 60 minutes fire rated confirming to IS:3614 (part-I & II) including providing & fixing cement sand grouted door frame with necessary fixtures, intumescent strip, Stainless steel ball bearing flat button hinge with machine Screws (4 Pieces per leaf), GEZE Overhead rack and pinion door closer GEZE TS 1000 C, EN 2/3 & 4 with adjustable closing speed and adjustable latching action with mounting plate (01 piece per leaf), Vision Panel 200mm (width) X 300mm (height) X 6 mm (thick) made of Fire rated clear Glass (01 piece per leaf), 250 mm long &16 mm dia. Aldrop (2 pieces per door), Stainless Steel D Handle (19x250mm) (2 pieces leaf). Specifications : (1)The thickness of sheet used for door shutter shall be 1.2mm, (2) Insulated with Honeycomb / rockwool, (3) GI material shall be used for frame & shutter, (4) Frame & door shall be powder coated, (5) Frame profile shall be 105mm X 75mm and (6) The thickness of sheet used for shutter frame shall be 1.2mm. Including preparation of base, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. Note: (1)The contractor needs to submit manufacturer test certificate for confirming the fire rating of full assembly of fire barrier door. (2) Approximate size of single door opening is around 750mm X 2100mm. | 32.00 | SqM | 31091.00 | 31099.00 | 995168.00 | 33000.00 | 1056000.00 | 995168.00 | Gimmy K Thomas
| Total in Figures |  |  |  |  | 17848899.00 |  | 19233980.00
Lowest Amount Quoted BY: Gimmy K Thomas(17848899.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil Maintenance Works Tender ID: 2024_NPCIL_209030_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Gimmy K Thomas (BID ID -757235) | 17848899.00 | L1
| 2 | MURUGAN KANNAPPA (BID ID -756998) | 19233980.00 | L2