## BoQ1
Government eProcurement System Created By: Sudhir Kumar Created Date/Time: 27-Dec-2024 12:56 PM Tender Title: Construction of first floor of canteen building, four watch towers and an ATM shelter at Gorakhpur Haryana Anu Vidyut Pariyojana. Tender ID: 2024_NPCIL_209842_1
Tender Inviting Authority: Chief Engineer
Name of Work: Construction of first floor of canteen building, four watch towers and an ATM shelter at Gorakhpur Haryana Anu Vidyut Pariyojana.
Contract No: NPCIL/GHAVP/CTC/2024/PT-243
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SS Contractors (GSTN-NA) BID ID -758591 |  | Goswami Furniture House (GSTN-NA) BID ID -758531
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | DEMOLISHING RCC :- Demolishing R.C.C. work in existing building structures at all heights and depths using pneumatic tools or chemicals or core cutter as approved by Engineer-in- charge including following all safety requirements, ensuring adequate precaution to the neighborhood structures & equipment, putting necessary cover , stacking of reinforcement bars and disposal of unserviceable material within station area limit all complete as directed by Site Engineer. Note:- 1. Dismantling shall be allowed during day shift only & prior permission for the same shall be obtained. 2. Providing of necessary covers/barricades around the work area is to be done prior to dismantling operations. 3. Cutting of all reinforcement shall be done using hack saw or chisel or any other method as approved by Engineer-in-charge. | 6.00 | Cum |  | 3000.00 | 18000.00 | 1000.00 | 6000.00 | 6000.00 | Goswami Furniture House
2.00 | DEMOLISHING PCC :- Demolishing P.C.C. work in existing building structures at all heights and depths using pneumatic tools or as approved by Engineer-in- charge including following all safety requirements, ensuring adequate precaution to the neighborhood structures & equipment, putting necessary cover , and disposal of unserviceable material within station area limit all complete as directed by Site Engineer. Note: 1. Dismantling shall be allowed during day shift only & prior permission for the same shall be obtained. 2. Providing of necessary covers/barricades around the work area is to be done prior to dismantling operations. | 16.00 | CuM |  | 2500.00 | 40000.00 | 500.00 | 8000.00 | 8000.00 | Goswami Furniture House
3.00 | DEMOLISHING BRICKWORK :- Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within station area limit as per direction of Engineer-in-charge. In cement mortar | 22.00 | Cum |  | 1800.00 | 39600.00 | 500.00 | 11000.00 | 11000.00 | Goswami Furniture House
4.00 | DEMOLISHING STRUCTURAL STEEL WORKS :- Dismantling of structural steel consisting of frames / built up sections in angles, tees, flats, tubes, plates, Joists , channels, , struts, bars etc. at all heights and depths as directed including cutting, welding/ rivets etc., following all safety requirements,ensuring adequate precaution to the neighbourhood structures & equipments, putting necessary cover, dismembering & stacking of all serviceable materials and disposal of unserviceable materials within station area limit as ditrected by Site Engineer inclusive of all labour, material, tools etc. complete. Note:- 1. Dismantling shall be allowed during day shift only & prior permission for the same shall be obtained. 2. Providing of necessary covers/barricades around the work area is to be done prior to dismantling operations. 3. Cutting of all steel shall be done using hack saw or any other method as approved by Engineer-in-charge. | 827.00 | Kg |  | 25.00 | 20675.00 | 15.00 | 12405.00 | 12405.00 | Goswami Furniture House
5.00 | DISMANTLING G.I PIPES (above 40mm nominal bore) :- Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes as per direction of Engineer in Charge | 92.00 | metre |  | 100.00 | 9200.00 | 80.00 | 7360.00 | 7360.00 | Goswami Furniture House
6.00 | DISMANTLING ALUMINIUM/GYPSUM PARTITIONS :- Dismantling Aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material to Owner's store as directed by the Engineer-in-Charge. | 56.00 | SqM |  | 55.00 | 3080.00 | 160.00 | 8960.00 | 3080.00 | SS Contractors
7.00 | DISMANTLING TILE:- Dismantling tile work in floors and roofs laid in cement mortar including stacking material withind station area limit. | 41.00 | SqM |  | 90.00 | 3690.00 | 15.00 | 615.00 | 615.00 | Goswami Furniture House
8.00 | Clearing jungle:- including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish outside the periphery of the area cleared. | 160.00 | SqM |  | 10.00 | 1600.00 | 10.00 | 1600.00 | 1600.00 | Goswami Furniture House, SS Contractors
9.00 | EXCAVATION :- Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas including getting out and disposal of excavated earth as directed by Engineer-incharge. | 698.00 | SqM |  | 170.00 | 118660.00 | 280.00 | 195440.00 | 118660.00 | SS Contractors
10.00 | Filling available excavated earth (excluding rock):- in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering as directed by Engineer-in-charge. | 701.00 | SqM |  | 200.00 | 140200.00 | 300.00 | 210300.00 | 140200.00 | SS Contractors
11.00 | Supplying and filling of local earth (including royalty):- by mechanical transport also including ramming and watering of the earth in layers not exceeding 20cm in trenches, plinth, sides of foundation etc. complete. | 76.00 | CuM |  | 350.00 | 26600.00 | 300.00 | 22800.00 | 22800.00 | Goswami Furniture House
12.00 | Anti Termite Chemical :- Supplying chemical emulsion Chlorpyriphos/ Lindane emulsifiable concentrate of 20% in sealed containers including delivery as specified | 17.00 | Ltr |  | 240.00 | 4080.00 | 120.00 | 2040.00 | 2040.00 | Goswami Furniture House
13.00 | Anti Termite Treatment :- Diluting and injecting chemical emulsion for anti-termite treatment (excluding the cost of chemical emulsion) with Chlorpyriphos / Lindane E.C. 20% with 1% concentration for Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor. | 145.00 | SqM |  | 240.00 | 34800.00 | 70.00 | 10150.00 | 10150.00 | Goswami Furniture House
14.00 | CONCRETE (1:3:6, upto PLINTH LEVEL) :- Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 30.00 | CuM |  | 6000.00 | 180000.00 | 6000.00 | 180000.00 | 180000.00 | Goswami Furniture House, SS Contractors
15.00 | CONCRETE (M25) (below plinth level) :- Providing and laying structural reinforced cement concrete work, machine batched (using weigh batcher) and machine mixed, design mix M-25 grade cement concrete conforming to IS:456 at all depths for construction of raft, footings, plinth beams etc. excluding providing centering, shuttering, staging, scaffolding, form work, as per direction of Engineer-in-chargeetc compacting with mechanical vibrator, curing etc. complete in all respects, inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 55.00 | CuM |  | 9000.00 | 495000.00 | 7500.00 | 412500.00 | 412500.00 | Goswami Furniture House
16.00 | CONCRETE (M25) (above Plinth Level) :- Providing and laying structural reinforced cement concrete work, machine batched (using weigh batcher) and machine mixed, design mix M-25 grade cement concrete conforming to IS:456 at all heights for construction of beams, columns, staircases chajja, roof slabs etc. excluding providing centering, shuttering, staging, scaffolding, form work, as per direction of Engineer-in-charge etc compacting with mechanical vibrator, curing etc. complete in all respects, inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 87.00 | CuM |  | 9500.00 | 826500.00 | 7500.00 | 652500.00 | 652500.00 | Goswami Furniture House
17.00 | CONCRETE (M35) (above plinth level) :- Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete M-35 grade for Reinforced cement concrete or other works using 20mm size stone aggregates including transporting of concrete to site for laying but excluding the cost of centering, shuttering and reinforcement, including cost of finishing, compaction, curing, approved PC-E based chemical admixtures conforming to IS 9103 in recommended proportions for achieving slump not less than 120mm after 1 hour of production and water/cement ratio not more than 0.40 at all levels as per direction of Engineer-in-charge. Use of concrete retarding agent/accelerator conforming to IS 9103 shall also be done if situation demands so. Rates should be based on using 350 kg of OPC cement per cum of concrete.NOTE- Excess/ less cement used as per design mix is payable/recoverable separately. | 103.00 | CuM |  | 9500.00 | 978500.00 | 8200.00 | 844600.00 | 844600.00 | Goswami Furniture House
18.00 | REINFORCEMENT :- Supplying and providing reinforcement (for reinforced cement concrete works) Thermo-mechanically treated (TMT) Fe 500D bars conforming to IS:1786 including initial straightening of coiled/uncoiled bars, removal of loose rust, cutting, bending to correct size & shape, binding with G.I. wire at each intersection and placing at any position, at any height and depth complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 36066.00 | Kg |  | 95.00 | 3426270.00 | 95.00 | 3426270.00 | 3426270.00 | Goswami Furniture House, SS Contractors
19.00 | Post Installed Reinforcement:- Supplying and installing/ grouting of following types of rebars of relevant diameter using chemical grout of reputed make (HILTI/SIKA/etc..) including use of ferro scan of minimum detection range of 300mm to identify safe drilling location all complete as per specification and directions of Engineer. Note: cost of rebar paid seperately under relevant item.
19.10 | 8mm dia - 120mm embedment length (15d) | 60.00 | Nos. |  | 150.00 | 9000.00 | 200.00 | 12000.00 | 9000.00 | SS Contractors
19.20 | 10mm dia - 150mm embedment length (15d) | 60.00 | Nos. |  | 160.00 | 9600.00 | 205.00 | 12300.00 | 9600.00 | SS Contractors
19.30 | 20mm dia - 400mm embedment length (20d) | 58.00 | Nos. |  | 270.00 | 15660.00 | 2200.00 | 127600.00 | 15660.00 | SS Contractors
19.40 | 25mm dia - 500mm embedment length (20d) | 14.00 | Nos. |  | 500.00 | 7000.00 | 6500.00 | 91000.00 | 7000.00 | SS Contractors
20.00 | Centering and shuttering :- including strutting, propping etc. and removal of form work for:
20.10 | Below Plinth Level | 61.00 | SqM |  | 500.00 | 30500.00 | 280.00 | 17080.00 | 17080.00 | Goswami Furniture House
20.20 | Suspended floors, roofs, landings, balconies and access platform | 622.00 | SqM |  | 900.00 | 559800.00 | 390.00 | 242580.00 | 242580.00 | Goswami Furniture House
20.30 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 391.00 | SqM |  | 700.00 | 273700.00 | 390.00 | 152490.00 | 152490.00 | Goswami Furniture House
20.40 | Columns, Pillars, Piers, Abutments, Posts and Struts | 475.00 | SqM |  | 700.00 | 332500.00 | 390.00 | 185250.00 | 185250.00 | Goswami Furniture House
20.50 | Providing and fixing double scaffolding system (cup lock type) on exterior side of building upto 15m height above ground level including additional row in stepped manner as per requirement of site made with 40mm dia MS Tube, placed 1.5m centre to centre. Stiffened by suitable bracings, runners, connection with building and including work platforms. | 640.00 | SqM |  | 400.00 | 256000.00 | 500.00 | 320000.00 | 256000.00 | SS Contractors
21.00 | BRICK MASONRY (CLAY BURNT BRICKS) :- Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in Cement mortar 1:6 ( cement : 6 coarse sand) at all heights and depths laid to proper position line, level as per the drawings and specifications including providing necessary scaffolding, staging, raking out of joints, curing etc. complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 21.00 | CuM |  | 8500.00 | 178500.00 | 6000.00 | 126000.00 | 126000.00 | Goswami Furniture House
22.00 | BRICK MASONRY (FLY ASH BRICKS) :- Brick work with clay fly ash F.P.S. (non modular)of class designation 7.5 in superstructure above plinth level up to floor five level in Cement mortar 1:6 (1 cement : 6 coarse sand) at all heights and depths laid to proper position line, level as per the drawings and specifications including providing necessary scaffolding, staging, raking out of joints, curing etc. complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 122.00 | CuM |  | 8500.00 | 1037000.00 | 6000.00 | 732000.00 | 732000.00 | Goswami Furniture House
23.00 | 12mm Plaster 1:4:- Providing and laying 12 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 326.00 | SqM |  | 400.00 | 130400.00 | 280.00 | 91280.00 | 91280.00 | Goswami Furniture House
24.00 | 15mm Plaster 1:4:- Providing and laying 15 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 782.00 | SqM |  | 400.00 | 312800.00 | 295.00 | 230690.00 | 230690.00 | Goswami Furniture House
25.00 | 6mm Plaster 1:4:- Providing and laying 6 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 61.00 | SqM |  | 350.00 | 21350.00 | 300.00 | 18300.00 | 18300.00 | Goswami Furniture House
26.00 | WALL PUTTY :- Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 1744.00 | SqM |  | 120.00 | 209280.00 | 85.00 | 148240.00 | 148240.00 | Goswami Furniture House
27.00 | ACRYLIC SMOOTH EXTERIOR PAINT :- Finishing walls with Acrylic Smooth exterior paint of required shade on New work as per manufacturers specifications or Two or more coat including priming coat of exterior primer as per directions of Engineer-Incharge. | 1231.00 | SqM |  | 200.00 | 246200.00 | 80.00 | 98480.00 | 98480.00 | Goswami Furniture House
28.00 | Oil Bound Distemper :- Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade on New work (two or more coats) over and including water thinnable priming coat with cement primer. | 502.00 | SqM |  | 170.00 | 85340.00 | 80.00 | 40160.00 | 40160.00 | Goswami Furniture House
29.00 | CERAMIC WALL TILES :- Providing and fixing Ist quality ceramic glazed wall tiles (6mm thk) conforming to IS: 15622 , of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry including pointing in white cement mixed with pigment of matching shade complete. | 180.00 | SqM |  | 1150.00 | 207000.00 | 850.00 | 153000.00 | 153000.00 | Goswami Furniture House
30.00 | CERAMIC FLOOR TILES :- Providing and laying branded (Kajaria,NITCO,Johnson or Somany) Ceramic glazed floor tiles (6mm thk) of size 600x600 mm of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), jointing with grey cement slurryincluding pointing the joints with white cement and matching pigment etc. complete. | 454.00 | SqM |  | 1200.00 | 544800.00 | 850.00 | 385900.00 | 385900.00 | Goswami Furniture House
31.00 | GYPSUM FALSE CEILING BOARD :- Providing and fixing 12.5 mm thick tapered edge gypsum fire resistant board conforming to IS: 2095- Part I false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | 374.00 | SqM |  | 1500.00 | 561000.00 | 2000.00 | 748000.00 | 561000.00 | SS Contractors
32.00 | Brick Aggregate:- Providing and laying 75 mm thick compacted bed of dry brick aggregate of 40 mm-75 mm thick size including spreading, well ramming, consolidating etc. complete as per direction of Engineer-in-charge. | 250.00 | SqM |  | 225.00 | 56250.00 | 125.00 | 31250.00 | 31250.00 | Goswami Furniture House
33.00 | PAVER BLOCK (M-30) :- Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | 208.00 | SqM |  | 600.00 | 124800.00 | 720.00 | 149760.00 | 124800.00 | SS Contractors
34.00 | KERB STONE :- Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). | 6.00 | CuM |  | 7000.00 | 42000.00 | 8500.00 | 51000.00 | 42000.00 | SS Contractors
35.00 | GRANITE STONE:- Providing and laying Polished Granite stone in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. | 15.00 | SqM |  | 1700.00 | 25500.00 | 2000.00 | 30000.00 | 25500.00 | SS Contractors
36.00 | CEMENT BASEDWATER PROOFING :- Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/SqM. of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls up to 300 mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand)admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with waterproofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs c) After two days of proper curing applying a second coat of cement slurry using 2.75kg/ SqM of cement admixed with water proofing compound conforming to IS:2645 and approved by Engineer-in-charge. d) Finishing the surface with 20 mm thick joint less cement mortar of mix1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge:With average thickness of 120mm and minimum thickness at khurra as 65 mm. | 109.00 | SqM |  | 900.00 | 98100.00 | 580.00 | 63220.00 | 63220.00 | Goswami Furniture House
37.00 | ROOF INSULATION :-Providing and laying roof insulation with 40mm thick impervious sprayed, closed cell free Rigid Polyurethane foam over deck insulation confirming to IS - 12432 Pt. III (density of foam being 40-45 kg/cum), over a coat of polyurethane primer applied @ 6-8 sqm per litre, laying 400 G polythene sheet over PUF spray and providing a wearing course of 40 mm thick cement screed 1:2:4 ( 1 cement : 2 coarse sand : 4 stone aggregate 20 mm nominal size ) in chequered rough finish, in panels of 2.5 m x 2.5 m and embedding with 24 G wire netting and sealing the joints with polymerized mastic, all complete as per direction of Engineer-in-Charge. | 364.00 | SqM |  | 1800.00 | 655200.00 | 2060.00 | 749840.00 | 655200.00 | SS Contractors
38.00 | Profile Sheet :- Supply & Installation of colour coated Profile sheet of supply width 1072-1220 mm and effective cover width of 1000-1020 mm and nominal 28-30mm mm deep ribs in four-five pans at nominal 200-255 mm centre-to-centre. Make : Tata BlueScope LYSAGHT, Lloyd, JSW, Kamdhenu | 11.00 | SqM |  | 900.00 | 9900.00 | 700.00 | 7700.00 | 7700.00 | Goswami Furniture House
39.00 | STRUCTURAL STEEL (TUBULAR SECTIONS) :- Steel work in built up tubular Hot finished type tubes (round, square or rectangular hollow tubes etc.) etc., including cutting, hoisting, fixing in position and applying two coats of synthetic enamel paint of approved make and shade over a coat of primer, including welding and bolted etc. | 2400.00 | Kg |  | 140.00 | 336000.00 | 110.00 | 264000.00 | 264000.00 | Goswami Furniture House
40.00 | STRUCTURAL STEEL (BUILT-UP SECTION ) :- Structural steel work riveted, bolted or welded in built up sections and framed work, including cutting, hoisting, fixing in position and and applying two coats of synthetic enamel paint of approved make and shade over a coat of primer. | 6734.00 | Kg |  | 130.00 | 875420.00 | 120.00 | 808080.00 | 808080.00 | Goswami Furniture House
41.00 | FAN Clamp :- Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs, beams during laying including painting the exposed portion of loop, all as per standard design complete. | 4.00 | each |  | 100.00 | 400.00 | 70.00 | 280.00 | 280.00 | Goswami Furniture House
42.00 | FLUSH DOORS :- Providing and fixing 35 mm thick Flush door shutter single / double leaf including lipping and 1.0 mm thick decorative laminated sheet on both sides conforming to IS ; 2202(part-1) of make KITPLY GOLD / GREENLAM / CENTURY as approved by EIC, non-decorative type with block board core of grade BWP conforming to IS:1659 with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutter including providing and fixing 2nd class teak wood leaping of suitable size and shape all around the edges including approved brand IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. including 1.0 mm thick decorative laminated sheet on both side | 19.00 | SqM |  | 2800.00 | 53200.00 | 2000.00 | 38000.00 | 38000.00 | Goswami Furniture House
43.00 | Modular Wooden Partitioning:- supplying and installing foldable wooden partition pannels with pannels of height 6 feet and minimum thickness of 35mm as per direction of engineer. | 30.00 | SqM |  | 2800.00 | 84000.00 | 5000.00 | 150000.00 | 84000.00 | SS Contractors
44.00 | BRASS MORTICE LATCH :- Providing and fixing bright finished brass 100 mm mortice latch and lock ISI marked with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc., complete. | 6.00 | Each |  | 500.00 | 3000.00 | 3000.00 | 18000.00 | 3000.00 | SS Contractors
45.00 | POWDER COATED ALUMINIUM DOORS & WINDOWS
45.10 | For Fixed portion, | 514.00 | kg |  | 450.00 | 231300.00 | 440.00 | 226160.00 | 226160.00 | Goswami Furniture House
45.20 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required | 370.00 | kg |  | 500.00 | 185000.00 | 440.00 | 162800.00 | 162800.00 | Goswami Furniture House
46.00 | FLOAT GLASS :- Providing and fixing glazing with float glass panes of 5mm thickness in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item) | 72.00 | SqM |  | 1300.00 | 93600.00 | 800.00 | 57600.00 | 57600.00 | Goswami Furniture House
47.00 | TOUGHENED GLASS (12 mm thick) :- Providing and fixing 12 mm thick frameless toughened glass in door shutter of approved brand and manufacture, including fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, floor spring, lock and stopper etc.to be paid separately). | 19.00 | SqM |  | 3200.00 | 60800.00 | 700.00 | 13300.00 | 13300.00 | Goswami Furniture House
48.00 | DOUBLE GLAZED PANELS :- Assembling, supplying ,Providing & fixing in existing aluminium frame work , glass panels comprising of hermetically-sealed 6-12- 6 mm insulated glass (double glazed) Envision panel units of size and shape as required and specified, comprising of an outer heat strengthened float glass 6mm thick, of Neutral colour and shade with reflective soft coating on surface # 2 of approved colour and shade, an inner Heat strengthned clear float glass 6mm thick, spacer tube 12mm wide, dessicants, including primary seal and secondary seal (structural silicone sealant) etc. all complete for the required performances, as per the Architectural drawings for fixed & openable panels , as per the approved shop drawings ( to be prepared & supplied by the contractor) as specified and as directed by the Engineer-in-Charge. The glass shall be assembled in the factory/ workshop of the glass processor. “(Payment for fixing of Panels in the curtain glazing is to included in cost of item of structural glazing /aluminium doors/windows). “For payment, only the actual area of glass on face # 1 of the glass panels (excluding the areas of the grooves and weather silicone sealant) provided and fixed in position, shall be measured in sqm.“ Aluminium work to be paid seperatly in relevanat aluminium items. The properties of performance glass shall be decided by Engineer-In-Charge. | 33.00 | SqM |  | 4000.00 | 132000.00 | 4000.00 | 132000.00 | 132000.00 | Goswami Furniture House, SS Contractors
49.00 | ALUMINIUM HYDRAULIC DOOR CLOSER (FOR DOOR WEIGHT BEYOND 35kg) :- Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo , embossed on the body, door weight upto 36 kg to 80 kg with double speed adjustment with necessary accessories and screws etc. complete. | 8.00 | each |  | 900.00 | 7200.00 | 2500.00 | 20000.00 | 7200.00 | SS Contractors
50.00 | ALUMINIUM DOOR STOPPER :- Providing and fixing aluminium hanging floor door twin rubber stopper ISI marked anodised transparent or dyed to required colour and shade with necessary screws etc. complete Twin rubber stopper | 11.00 | each |  | 50.00 | 550.00 | 50.00 | 550.00 | 550.00 | Goswami Furniture House, SS Contractors
51.00 | BRASS HANDLES :- Providing and fixing bright finished brass handles of size 150mm with screws etc. complete | 14.00 | each |  | 240.00 | 3360.00 | 300.00 | 4200.00 | 3360.00 | SS Contractors
52.00 | ALUMINIUM HANDLES (100MM) :- Providing and fixing 100 mm aluminium handles anodised transparent or dyed to required colour or shade with nuts and screws etc. complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 24.00 | each |  | 150.00 | 3600.00 | 60.00 | 1440.00 | 1440.00 | Goswami Furniture House
53.00 | ALUMINIUM TOWER BOLTS (200mm×10mm DIMENSION) :- Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete of 200x10 mm dimension. | 38.00 | each |  | 100.00 | 3800.00 | 90.00 | 3420.00 | 3420.00 | Goswami Furniture House
54.00 | 110MM UNPLASTICIZED SINGLE SOCKETED PVC RAIN WATER PIPE :- Providing and fixing on wall face 110 mm diameter unplasticised Single socketed Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring , leaving 10 mm gap for thermal expansion, | 238.00 | metre |  | 320.00 | 76160.00 | 200.00 | 47600.00 | 47600.00 | Goswami Furniture House
55.00 | RECTANGULAR CHINA CLAY BASIN :- Providing and fixing White Vitreous China Wash basin size 550x400 mm with a single 15 mm C.P. brass pillar tap (of JAQUAR CLARION / CONTINENTIAL or equalent quality of 'MARK'/ 'HINDWARE) with C.I. brackets, Pedestal, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required Size mentioned above is tentative , it may vary slightly as per model of different brands as approved by EIC | 4.00 | each |  | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 8000.00 | Goswami Furniture House
56.00 | TABLE TOP BASIN :- Providing and fixing Thin Rim Table Top Basin,Shape - Rectangular,Size: 525x415x140mm(Jaquar JDS-WHT-25907N or equivalent in Jaquar,Kohler,Duravit) including 32 mm C.P. brass waste coupling of standard pattern(Jaquar ALD 709 or equivalent in Kohler , Duravit). Rates are inclusive of providing Exposed Part Kit of Single Lever Basin Mixer Wall Mounted Consisting of Operating Lever, Cartridge Sleeve, Wall Flange, Nipple & Spout (Jaquar OPP-CHR-15233NKPM or equivalent in Jaquar,Kohler,Duravit) icluding Regular Body of Concealed Stop Cock Suitable For 20 mm Pipe Line with Protection Cap (Jaquar ALD-CHR-089 or equivalent in Jaquar,Kohler,Duravit) and suitable fixing accessories set all complete as per manufacturers specification and direction of Engineer-in-charge. | 6.00 | each |  | 12500.00 | 75000.00 | 2700.00 | 16200.00 | 16200.00 | Goswami Furniture House
57.00 | BOTTLE TRAP :- Providing and fixing CP Brass 32mm size Bottle Trap with 250 mm & 190 mm long wall connection pipes & wall flanges of approved quality (JAQUAR model no. -ALD-769L, 250X190 or equivalent in Jaquar/Kohler/Grohe) as per the direction of Engineer in- charge. | 6.00 | each |  | 1800.00 | 10800.00 | 3200.00 | 19200.00 | 10800.00 | SS Contractors
58.00 | Indian type W.C. :- Providing and fixing water closet squatting pan (Indian type W.C. pan ) of Cera/Hindware/Parryware with 100 mm , 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot restsSize mentioned above is tentative , it may vary slightly as per model of different brands as approved by EIC | 4.00 | each |  | 5000.00 | 20000.00 | 2500.00 | 10000.00 | 10000.00 | Goswami Furniture House
59.00 | Soak Pit :- Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design: With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. and providing adequate manholes and laying arrangements for sewage pipelines. (manhole and pipeline to be paid in relevant items) EIC | 4.00 | each |  | 20000.00 | 80000.00 | 1800.00 | 7200.00 | 7200.00 | Goswami Furniture House
60.00 | URINAL :- Providing and fixing white vitreous china flat back lipped front urinal basin of 430x260x350 mm size with standard flushing pipe and angle valve and C.P. brass spreaders with brass union and GI clamps, including painting of fittings and brackets, cutting and making good the walls and floors whenever required. | 4.00 | each |  | 7300.00 | 29200.00 | 1500.00 | 6000.00 | 6000.00 | Goswami Furniture House
61.00 | BRASS BIB COCK :- Providing and fixing C.P. 15 mm nominal bore brass bib cock/ long nose bib cock of approved quality Hindware , Parryware , Jaquar | 8.00 | each |  | 900.00 | 7200.00 | 400.00 | 3200.00 | 3200.00 | Goswami Furniture House
62.00 | BRASS STOP COCK :- Providing and fixing C.P. 15 mm nominal bore brass stop cock (concealed) of standard design and of approved quality Hindware, Parryware, Jaquar | 22.00 | each |  | 900.00 | 19800.00 | 400.00 | 8800.00 | 8800.00 | Goswami Furniture House
63.00 | CPVC Pipe :- Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.
63.10 | 15 mm dia. nominal bore | 18.00 | metre |  | 400.00 | 7200.00 | 180.00 | 3240.00 | 3240.00 | Goswami Furniture House
63.20 | 20 mm dia. nominal bore | 58.00 | metre |  | 450.00 | 26100.00 | 220.00 | 12760.00 | 12760.00 | Goswami Furniture House
64.00 | GI Pipe :- External Work : Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. : External work
64.10 | 25 mm dia. nominal bore | 15.00 | metre |  | 400.00 | 6000.00 | 350.00 | 5250.00 | 5250.00 | Goswami Furniture House
64.20 | 32 mm dia. nominal bore | 117.00 | metre |  | 450.00 | 52650.00 | 500.00 | 58500.00 | 52650.00 | SS Contractors
65.00 | Ball Valve :- Providing and fixing 25 mm nominal bore ball valve (brass) of approved quality, High or low pressure | 8.00 | each |  | 1500.00 | 12000.00 | 180.00 | 1440.00 | 1440.00 | Goswami Furniture House
66.00 | Mirror :- Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete | 10.00 | each |  | 1000.00 | 10000.00 | 800.00 | 8000.00 | 8000.00 | Goswami Furniture House
67.00 | Water Tank :- Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Litre |  | 10.00 | 20000.00 | 10.00 | 20000.00 | 20000.00 | Goswami Furniture House, SS Contractors
68.00 | PTMT Ball Cock :- Providing and fixing PTMT Ball cock of approved quality, colour and make complete with aluminium rod with L.P./ H.P.H.D. plastic ball: 25 mm nominal bore, 152 mm long. Weighing not less than 440 gms. | 4.00 | each |  | 500.00 | 2000.00 | 200.00 | 800.00 | 800.00 | Goswami Furniture House
69.00 | G.I UNION & PIPE (25 mm nominal bore) :- Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) | 5.00 | each |  | 200.00 | 1000.00 | 100.00 | 500.00 | 500.00 | Goswami Furniture House
70.00 | G.I UNION & PIPE (32 mm nominal bore) :- Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) | 10.00 | each |  | 250.00 | 2500.00 | 150.00 | 1500.00 | 1500.00 | Goswami Furniture House
71.00 | RE_ENGINEERING :- Comprehensive Re-Engineering for Architectural Planning, RCC Structural Design, Internal and External Building fitting-fixtures and Finishes, Water supply, Plumbing, Ventilation System (HVAC) Electrical, Sanitary, tele-communication and other Services and preparing construction drawings all as per the detailed scope of work defined under tender conditions and as directed by the NPCIL Engineer. It also includes:- i) Complete initial study of the existing building, listing of all jobs and preparation of architectural and good for construction drawings as may be required. (ii) Conceptualization and final report of all works being taken up inclusive of final drawings | 1.00 | Lump sum |  | 180000.00 | 180000.00 | 500000.00 | 500000.00 | 180000.00 | SS Contractors
72.00 | Supply, Installation, Testing of 125mm deep antivibration flexible joints at the outlet of air handling units/ductable split units/inline fans. Flexible connections shall be constructed using fire retardant fabric with extruded aluminium frame/flange on both sides of approved make. | 5.00 | RM |  | 1000.00 | 5000.00 | 2000.00 | 10000.00 | 5000.00 | SS Contractors
73.00 | Supply, Installation, Testing and Balancing of square supply air diffusers with removable key operated volume control dampers with opposed blades as per the approved shop drawings and specifications.The diffusers shall be anti-smudge ring type/flat type as approved by the interior designer. Diffusers shall be with removable core for the following neck sizes. The diffusers shall be suitable for fixing in the gypsum/grid ceiling. The diffusers shall be of regular type and with outer dimension of 450 x 450mm, 375mmx375mm & 300mmx300mm.Powder coated extruded aluminium diffusers of approved colour & shade. | 3.00 | SqM |  | 4000.00 | 12000.00 | 5000.00 | 15000.00 | 12000.00 | SS Contractors
74.00 | Supply, Installation, Testing and Balancing of square supply air diffusers with removable key operated volume control dampers with opposed blades & 150mm high GSS plenum as per the approved shop drawings and specifications.The diffusers shall be anti-smudge ring type/flat type as approved by the interior designer. Diffusers shall be with removable core for the following neck sizes. The diffusers shall be suitable for fixing in the gypsum/grid ceiling. The diffusers shall be of regular type and with outer dimension of 600 x 600mm. | 5.00 | No |  | 4000.00 | 20000.00 | 5000.00 | 25000.00 | 20000.00 | SS Contractors
75.00 | Supply, Installation,Testing and Balancing of square return air diffusers same as supply air diffusers but without volume control dampers as per the approved shop drawings and specifications. The diffusers shall be anti -smudge ring type.Powder coated extruded aluminium diffusers of approved colour & shade. | 3.00 | SqM |  | 4000.00 | 12000.00 | 2000.00 | 6000.00 | 6000.00 | Goswami Furniture House
76.00 | Supply, Installation and Testing of GI box type volume control dampers as per the specifications and shop drawings. | 4.00 | SqM |  | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 8000.00 | Goswami Furniture House
77.00 | Supply, Installation and Testing of extruded aluminium powder coated louver with GI wire mesh to be installed outside for discharge of exhaust air from exhaust fans as per the specifications and shop drawings.Sample of louvers to be got approved from Clients prior to procurement. | 1.00 | SqM |  | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 4000.00 | SS Contractors
78.00 | Supply, Installation and Testing of Bird Screens with GI wire mesh to be installed at the suction of fresh air/discharge of Exhaust air as per the specifications and shop drawings.Sample of bird screen to be got approved from consultants and Clients prior to procurement. | 1.00 | SqM |  | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 4000.00 | SS Contractors
79.00 | Supply and Application of internal acoustic lining of supply/ return air ducting using resin bonded fibre glass insulation of density not less than 32Kg/CuM as per the approved shop drawings and specifications. Quoted price shall be inclusive of GSS channel, metal screws, washers, fibre glass tissue, perforated aluminium sheet of 24G etc. as required for complete installation. 25mm thick lining - For AHU Plenums & Baffles | 650.00 | SqM |  | 500.00 | 325000.00 | 2500.00 | 1625000.00 | 325000.00 | SS Contractors
80.00 | Supply and Application of external thermal insulation of supply /return air ducting using factory laminated aluminium foil faced closed cell elastomeric nitrile rubber insulation with class 'O' fire retardant properties as per the specifications and drawings. Cladding shall provide protection from mechanical impact, and Scratches etc. Both insulation & cladding should have built in antimicrobial protection. Adhesive - AC Duct King Eco Fresh 19mm thick insulation | 10.00 | SqM |  | 1000.00 | 10000.00 | 5000.00 | 50000.00 | 10000.00 | SS Contractors
81.00 | Supply, Installation and Testing of factory fabricated GSS ducting complete with vanes,splitter dampers, fire retardant gaskets, hanging arrangement including fully threaded GI rods and GI "C" channels/ rolled steel wires or Gripple Wire Rope Hangers & Supports complete with end fixing, GI "C" channels etc. as approved by clients in accordance with the approved shop drawings and specifications. Quoted price shall be inclusive of necessary scaffolding charges towards installation of supply/exhaust air ducts outside or within building wherever required. Spacing between duct supports should not exceed 2m in both cases i.e GI rods with GI "C" channels & Gripple Wire Rope Hanger support . In case of Gripple Wire Rope Hanger support for duct sizes above 1800mm, MS angles duly painted with black enamel paint should be used along with neoprene pad in between the duct & MS angle. All duct supports shall be provided with check nuts (lock nuts).While selecting the duct supports vendor shall ensure vibration free installation.Quoted price shall be inclusive of smoke test using smoke bombs. For Air-Cooling ducts
81.10 | 1mm to 899mm -- 24G GSS with TDC Joints | 20.00 | SqM |  | 500.00 | 10000.00 | 2500.00 | 50000.00 | 10000.00 | SS Contractors
81.20 | 900mm to 1500mm -- 22G GSS with TDC Joints | 5.00 | SqM |  | 550.00 | 2750.00 | 4500.00 | 22500.00 | 2750.00 | SS Contractors
81.30 | 1501mm to 2100mm - 20G GSS with TDC Joints | 5.00 | SqM |  | 600.00 | 3000.00 | 5500.00 | 27500.00 | 3000.00 | SS Contractors
82.00 | Supply, Fabrication, Installation and Testing of site fabricated sheet metal ducts complete with vanes, splitter dampers, hanging arrangement including check nuts in accordance with the approved shop drawings and specifications.
82.10 | 0.63mm (24 gauge) GSS | 5.00 | SqM |  | 500.00 | 2500.00 | 1420.00 | 7100.00 | 2500.00 | SS Contractors
82.20 | 0.8 mm (22 gauge) GSS | 5.00 | SqM |  | 550.00 | 2750.00 | 1029.00 | 5145.00 | 2750.00 | SS Contractors
82.30 | 1.0mm (20 gauge) GSS | 5.00 | SqM |  | 600.00 | 3000.00 | 590.00 | 2950.00 | 2950.00 | Goswami Furniture House
83.00 | Supply, Installation , Testing and Balancing of double louvered Powder coated extruded aluminium supply air grilles as per approved shop drawings and specifications complete with key operated aluminium volume control dampers. | 2.00 | SqM |  | 8000.00 | 16000.00 | 5500.00 | 11000.00 | 11000.00 | Goswami Furniture House
84.00 | Supply, Installation and Testing of GI box type volume control dampers as per the specifications and shop drawings.- For Rectangular Duct | 2.00 | SqM |  | 8000.00 | 16000.00 | 93.00 | 186.00 | 186.00 | Goswami Furniture House
85.00 | Supply, Installation and Testing of fresh air grilles of powder coated / anodised extruded aluminium with GI wire mesh, inlet louvers, Box type VCD & bird screen, as per the approved shop drawings and specifications. | .20 | SqM |  | 8000.00 | 1600.00 | 5500.00 | 1100.00 | 1100.00 | Goswami Furniture House
86.00 | Supply and Application of external thermal insulation of supply /return air ducting using aluminium foil faced fibre glass insulation of density not less than 24Kg/CuM and aluminium foil thickness of 22 microns as per the specifications and drawings. Quoted price shall be inclusive of Low VOC adhesive as required, aluminium tape straps.
86.10 | 25mm thick insulation | 15.00 | SqM |  | 300.00 | 4500.00 | 352.00 | 5280.00 | 4500.00 | SS Contractors
86.20 | 50mm thick insulation | 15.00 | SqM |  | 450.00 | 6750.00 | 250.00 | 3750.00 | 3750.00 | Goswami Furniture House
87.00 | Supply, Installation and Testing of aluminium multi blade type louver dampers as per the specifications and shop drawings. | .20 | SqM |  | 1000.00 | 200.00 | 2200.00 | 440.00 | 200.00 | SS Contractors
88.00 | Supply, Installation, Testing & Commissioning of split type all weather airconditioning units, each comprising of an outdoor and single indoor unit. Condensing unit shall be complete with hermetically sealed / semi- hermetic scroll/ rotary compressor, air cooled condenser with fan. Evaporating unit shall consist of a fan section with dynamically balanced centrifugal fans driven by FHP motor, multirows deep copper cooling coil with aluminium fins, thermostatic expansion valves etc. Enclosures shall be fabricated as specified. The evaporating unit shall be equipped with synthetic fibre filters, insulated drain pan, safety controls, thermostat all complete in a unit. The enclosure shall be factory painted to a smooth finish. The quoted price shall be inclusive of full charge of refrigerant gas, vibration isolation pads etc. Refrigerant Shall be R-32/R410A/R407C. Split Unit Model proposed for critical area shall be capable of working on heating mode during peak winters with ambient temperatures of 1-2 degC and cooling mode during peak summer with ambient temperature of 47-48 degC. Single phase Non-ductable split units with scroll compressor (Units should be suitable to handle piping length upto 40 meter with Level Difference of around 15RM.) 3TR nominal capacity, split unit with single Cassette type indoor unit and cordless control. | 7.00 | No |  | 100000.00 | 700000.00 | 100000.00 | 700000.00 | 700000.00 | Goswami Furniture House, SS Contractors
89.00 | Supply, Installation, testing & Commissioning of hard drawn copper refrigerant piping complete with fittings between indoor units and remote condensers. Refrigerant piping above ceiling and in comfort AC areas shall be insulated with 13mm thick closed cell elastomeric insulation with class 'O' fire retardant properties in tubing form. Quoted price shall be inclusive of power cabling as required shall be inclusive of power cabling as required between indoor and outdoor units. Piping shall be supported properly in a neat & clean manner using GI clamps & slotted ladder type trays.
89.10 | Pair of hard drawn copper refrigerant piping not less than 16 gauge thick for Split Packaged units having single refrigerant circuits. | 200.00 | RM |  | 1200.00 | 240000.00 | 205.00 | 41000.00 | 41000.00 | Goswami Furniture House
89.20 | Prepainted MS cover for refrigerant piping laid on 300 mm wide cable trays. | 40.00 | RM |  | 400.00 | 16000.00 | 495.00 | 19800.00 | 16000.00 | SS Contractors
90.00 | Supply, Installation, Testing & Commissioning of circular /rectangular inline fans for exhaust air complete with sheet metal casing, direct driven centrifugal fan, motor with proper protection and inspection door. Fan shall be suitable for operation on 220+6 % volts, 50 Hz,1 phase AC power supply. Flanges to be provided on both sides to facilitate duct connections. Fan shall be installed as shown in the drawings and will be of following characteristics : All single phase inline fans shall be provided with factory fitted speed regulators. All Fans Should be complete with Plug Top & necessary power cable. Fan Capacity S.P Area to No. (Cfm) (mmWG) to be exhausted IF-13 (Circular) 300 13-14 Hand Wash Area and store room | 4.00 | No |  | 10000.00 | 40000.00 | 18500.00 | 74000.00 | 40000.00 | SS Contractors
91.00 | Supply, Installation, Testing and Balancing of one way blow linear supply cum return air grilles complete with removable/fixed core as per approved shop drawings and specifications. The grilles shall be of approved colour & shade. Powder coated aluminium grilles of extruded sections with integral flanges on both sides & ends as required complete with corner pieces. 100/150/250 mm High grilles | 10.00 | SqM |  | 3000.00 | 30000.00 | 5900.00 | 59000.00 | 30000.00 | SS Contractors
92.00 | Supply, Installation and Testing of multiblade box type zero leakage extruded aluminium dampers for ducts to be provided with suitable links, levers and quadrants for manual control of volume of air flow and for proper balancing of the air distribution system as per the approved shop drawing and specifications. | .50 | SqM |  | 10000.00 | 5000.00 | 5500.00 | 2750.00 | 2750.00 | Goswami Furniture House
93.00 | Supply and fixing of actuators of suitable rating of torque complete with copper wiring from the junction box and actuator associated with the manual volume control dampers.Actuator shall be suitable for duct size as shown in the drawing. | 2.00 | No |  | 10000.00 | 20000.00 | 16500.00 | 33000.00 | 20000.00 | SS Contractors
94.00 | Supply, Installation and Testing of fresh air grilles of powder coated / anodised extruded aluminium with GI wire mesh, inlet louvers,Box type VCD & bird screen, as per the approved shop drawings and specifications. | 22.00 | SqM |  | 5000.00 | 110000.00 | 5500.00 | 121000.00 | 110000.00 | SS Contractors
95.00 | Supply, Fixing and Testing of CO2 Sensors. Sensors should be capable to give command to PLC panel directly after increasing of CO2 level beyond certain specified levels. Quoted price shall be inclusive of Power cabling and control cabling as required between PLCs & sensors etc. Price shall also be inclusive of all accessories required to make installation complete whether specified or not. CO2 sensors to be integrated with PLC Panel by the Vendors. | 1.00 | No |  | 10000.00 | 10000.00 | 25600.00 | 25600.00 | 10000.00 | SS Contractors
96.00 | Supply, Installation, Testing and Commissioning of Programme Logic Controller (PLC) with necessary logic for CO2 detectors and control of Motorised Damper installed in AHU Room based on CO2 sensing & CO2 level. The panel shall be installed in AHU Rooms or other specified locations as per approved shop drawing. PLC should be able to automatically switch ON/OFF the Motorised Damper after increasing/control of CO2 level beyond certain specified levels respectively. Price shall also be inclusive of all Power cabling, control cabling and accessories required to make installation complete whether specified or not. | 1.00 | No |  | 50000.00 | 50000.00 | 88500.00 | 88500.00 | 50000.00 | SS Contractors
97.00 | Supply, Installation, Testing and Commissioning of Air Curtains for covering dimension of 2500 mm with air velocity of 21 m/sec at Main Entrance door of Dining Hall at First floor of utility building of Anushilp building.Scope of Work includes electrical cabling and connections, mounting at the desired location, sensors with control cables and its connections for auto operation.Quanity of air curtains may depend up on the standarization in length of OEM. | 1.00 | Set |  | 45000.00 | 45000.00 | 22000.00 | 22000.00 | 22000.00 | Goswami Furniture House
98.00 | Supply Installation,Testing and Commissioning of On Line type variable air volume boxes complete with necessary controllers, Heating-Cooling digital thermostat, Damper actuator, multi point pick-up inlet Air Flow velocity sensor and copper control wiring and necessary transformer etc. as required and as per the specifications. VAV Boxes should be BMS compatible. VAV Boxes should be suitable to working on Cooling & Heating mode as per requirement. VAV Box shall be of following design parameters : Max. Air Qty. (Cfm) Min. Air Qty. (Cfm)
98.10 | From 525 to 1000 From 50 to 100 | 3.00 | No |  | 15000.00 | 45000.00 | 19000.00 | 57000.00 | 45000.00 | SS Contractors
98.20 | From 1025 to 1500 From 100 to 150 | 3.00 | No |  | 17000.00 | 51000.00 | 28500.00 | 85500.00 | 51000.00 | SS Contractors
98.30 | From 1525 to 2000 From 150 to 200 | 2.00 | No |  | 19000.00 | 38000.00 | 32000.00 | 64000.00 | 38000.00 | SS Contractors
98.40 | From 3025 to 3500 From 300 to 350 | 2.00 | No |  | 20500.00 | 41000.00 | 38000.00 | 76000.00 | 41000.00 | SS Contractors
99.00 | Supply, Installation and Testing of pressure sensors to be installed in supply air ducts. Quoted price shall be inclusive of necessary conduting, copper control cabling from the sensors to the respective VFDs as per "Approved Shop Drawings". | 3.00 | No |  | 10500.00 | 31500.00 | 25000.00 | 75000.00 | 31500.00 | SS Contractors
100.00 | Supply, Installation, Testing and Commissioning of GI medium class (Class 'B') pipes cut to requird lengths and installed with all screwed joints for condensate drain. Quoted price shall be inclusive of supply and fixing in position the necessary fittings like elbows, tees reducers etc., and supporting arrangement in accordance with the approved shop drawings and specifications.Pipes shall be insulated with 9mm thick closed cell elastomeric insulation with class 'O' fire retardant properties in tubing form. Insulation to be applied with necessary glass cloth and UV protection paint to achive smooth surface. Pipes shall be of following sizes :
100.10 | 50mm dia pipe | 5.00 | RM |  | 600.00 | 3000.00 | 695.00 | 3475.00 | 3000.00 | SS Contractors
100.20 | 40mm dia pipe | 20.00 | RM |  | 600.00 | 12000.00 | 605.00 | 12100.00 | 12000.00 | SS Contractors
100.30 | 25mm dia pipe | 15.00 | RM |  | 500.00 | 7500.00 | 385.00 | 5775.00 | 5775.00 | Goswami Furniture House
100.40 | 20 mm dia pipe | 10.00 | RM |  | 400.00 | 4000.00 | 300.00 | 3000.00 | 3000.00 | Goswami Furniture House
101.00 | Shifting, testing and commissioning of Electrostatic Precipitator for dry type air scrubber with Weight: 01 Te approx.,Dimension of precipitator: 20mmX620mmX560mm, Dimension of fan: 1000mmX840mmX470mm, Air Qty. - 5200Cfm, Max. Pressure Drop - 10-11mmWG, Air washer wet section shall be complete with 300mm thick cellulose based paper fills, drift eliminators water distribution system complete with FRP sprayheaders, strainer of fine mesh brass screen, globe valve, make EDGETECH, from one location to other as per instructions of Engineer-in-charge and technical specifications. The scope includes price for addition of ducting due to changed location, thermal insulation as per technical specifications and any other material required to complete the system successful operation after shifting to new location as per attached drawing. | 1.00 | Lump sum |  | 60000.00 | 60000.00 | 89000.00 | 89000.00 | 60000.00 | SS Contractors
102.00 | Shifting, testing and commissioning of double skin type evaporative air cooling machines with Weight: 1.5 Te approx.,Dimension: 2100mmX1400mmX1400mm,Air Qty.- 4400 cfm, static pressure 42-43 mmWG, 3.0 H.P. motor rating of water circulation pump, make ESPAIR, from one location to other as per instructions of Engineer-in-charge and technical specifications. The scope includes price for addition of ducting due to changed location, thermal insulation as per technical specifications and any other material required to complete the system successful operation after shifting to new location as per attached drawing. | 1.00 | Lump sum |  | 60000.00 | 60000.00 | 95000.00 | 95000.00 | 60000.00 | SS Contractors
103.00 | Wiring for circuit/submain wiring alongwith earthwire with the following sizes of FRLS PVC insulated copper conductor, single core cable incuding all accessories required for steel conduite Surface/Recessed Steel conduit as required.(exluding conduit)
103.10 | 2 x 2.5 +1 x 2.5 (E) sq. mm. | 600.00 | Meter |  | 250.00 | 150000.00 | 270.00 | 162000.00 | 150000.00 | SS Contractors
103.20 | 2 x 4 +1 x 4 (E) sq. mm. | 400.00 | Meter |  | 300.00 | 120000.00 | 300.00 | 120000.00 | 120000.00 | Goswami Furniture House, SS Contractors
104.00 | Wiring for light point/ fan point/ exhaust point/ call bell point with 1.5 sqmm FRLS PVC Insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
104.10 | Group C | 40.00 | Point |  | 1600.00 | 64000.00 | 900.00 | 36000.00 | 36000.00 | Goswami Furniture House
105.00 | Wiring for group controlled (looped) light point/ fan point/ exhaust point/ call bell point (without independent switch etc.) with 1.5 sqmm FRLS PVC Insulated copper conductor single core cable in surface / recessed PVC conduit and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required.
105.10 | Group C | 40.00 | loop |  | 1000.00 | 40000.00 | 800.00 | 32000.00 | 32000.00 | Goswami Furniture House
106.00 | Supply and installation, testing and cmmissioning of 1200mm sweep size Ceiling fans, having double ball bearing, along with socket type regulator/ dimmer, down rod of required length, Fanbox and canopy. make of fan crompton /Usha/Bajaj/Orient. make of regulator ANCHOR/ LEGRAND. | 15.00 | Each |  | 2000.00 | 30000.00 | 1600.00 | 24000.00 | 24000.00 | Goswami Furniture House
107.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6A modular socket outlet and 5/6A modular switch, connections etc. as required. | 2.00 | Each |  | 1000.00 | 2000.00 | 200.00 | 400.00 | 400.00 | Goswami Furniture House
108.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 2 Nos. 3 pin 5/6A modular socket outlet and 2 Nos. 5/6A modular switch, connections etc. as required. | 2.00 | Each |  | 1000.00 | 2000.00 | 200.00 | 400.00 | 400.00 | Goswami Furniture House
109.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16A modular socket outlet and 5/6 & 15/16A modular switch, connections etc. as required. | 15.00 | Each |  | 750.00 | 11250.00 | 220.00 | 3300.00 | 3300.00 | Goswami Furniture House
110.00 | Supply of LED luminaries with basic channel, holder, LED driver control gear box complete with decorative attachments, lamps etc.
110.10 | Supply & erection of LED Recessed Downlighter. The luminaire shall meet IP20 rating with THD<10% and PF > 0.9. The luminaire shall meet IP20 rating with PF > 0.9 (including driver). Similar to make philips, crompton, bajaj | 60.00 | Each |  | 700.00 | 42000.00 | 2670.00 | 160200.00 | 42000.00 | SS Contractors
111.00 | 6A, to 32A, ratings, SPN, MCB "C" Curve, 10 kA breaking capecity | 66.00 | Each |  | 300.00 | 19800.00 | 200.00 | 13200.00 | 13200.00 | Goswami Furniture House
112.00 | Supply and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker(RCCB), having a sensitivity current 30mA in the existing MCB DB complete with connections, testing and commissioning etc.as required.
112.10 | 63A | 3.00 | Each |  | 5000.00 | 15000.00 | 1500.00 | 4500.00 | 4500.00 | Goswami Furniture House
113.00 | Supplying and fixing following way, horizontal type three pole and neutral,STEEL sheet , MCB distribution board, 240V on surface or recess, complete with tinned copper busbar, neutral bus bar, earth bus bar, Din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
113.10 | 6 Way (4+18), double door | 1.00 | Each |  | 5000.00 | 5000.00 | 1400.00 | 1400.00 | 1400.00 | Goswami Furniture House
113.20 | 8 Way (4+24), double door | 2.00 | Each |  | 5000.00 | 10000.00 | 1600.00 | 3200.00 | 3200.00 | Goswami Furniture House
114.00 | Supply and laying of 1100V grade, 4C 10sqmm copper conductor, FRLS PVC innsulation, conforming to IS 694:2010. The scope also includes the glanding, termination of the cable. all as directed by EIC | 200.00 | Meter |  | 700.00 | 140000.00 | 500.00 | 100000.00 | 100000.00 | Goswami Furniture House
115.00 | Providing and fixing 25*5mm GI strip on surface or in recess for connections etc. as required. | 50.00 | Meter |  | 200.00 | 10000.00 | 325.00 | 16250.00 | 10000.00 | SS Contractors
116.00 | Earthing with G.I Earth pipe 4.5 meter long, 40mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangements and watering pipe etc. with charcoal/coke and salt as required | 4.00 | Each |  | 600.00 | 2400.00 | 3000.00 | 12000.00 | 2400.00 | SS Contractors
117.00 | Supply and Erection of Dumbwaiter as per technical specification. | 1.00 | Each |  | 1400000.00 | 1400000.00 | 1000000.00 | 1000000.00 | 1000000.00 | Goswami Furniture House
118.00 | Electric water heater geyser 25 liter tank capacity, minimum 2 KW rating. As per specification. | 2.00 | Each |  | 5000.00 | 10000.00 | 22000.00 | 44000.00 | 10000.00 | SS Contractors
119.00 | 20 watt flying insect catcher as per specification | 5.00 | Each |  | 5000.00 | 25000.00 | 9200.00 | 46000.00 | 25000.00 | SS Contractors
120.00 | Air curtain of 2500mm length with automatic operation on door opening. As per specification | 1.00 | Each |  | 40000.00 | 40000.00 | 17550.00 | 17550.00 | 17550.00 | Goswami Furniture House
121.00 | Stainless steel hand dryer, as per specification. | 2.00 | Each |  | 8000.00 | 16000.00 | 85000.00 | 170000.00 | 16000.00 | SS Contractors
122.00 | Profile light in false ceiling (18/19mm wide, aluminium profile with 240 LED/meter, Led strip and suitable driver. | 180.00 | Meter |  | 300.00 | 54000.00 | 500.00 | 90000.00 | 54000.00 | SS Contractors
123.00 | Supplying testing and commissioning of Music System. Supplying, erecting, testing, commissioning of 240 Watts Mixer Amplifier with built in Bluetooth and USB playback (01 nos) of make Bosch PLE-1ME240-3IN or Honeywell HN-MA260 or JBL VMA1240 or equivalent. 12 Watts ceiling mount speakers (16 nos.) of make Bosch/Honeywell/JBL or equivalent. Supplying and connecting 1.5 Sq mm Armoured speaker cable as required (upto 150m) in ceiling. Supplying of mounting rack for amplifier. | 1.00 | Lump sum |  | 75000.00 | 75000.00 | 250000.00 | 250000.00 | 75000.00 | SS Contractors
| Total in Figures |  |  |  |  | 19511975.00 |  | 19610031.00
Lowest Amount Quoted BY: SS Contractors(19511975.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of first floor of canteen building, four watch towers and an ATM shelter at Gorakhpur Haryana Anu Vidyut Pariyojana. Tender ID: 2024_NPCIL_209842_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SS Contractors (BID ID -758591) | 19511975.00 | L1
| 2 | Goswami Furniture House (BID ID -758531) | 19610031.00 | L2