## BoQ1
Government eProcurement System Created By: RAM MURAT RAM Created Date/Time: 03-Dec-2024 03:23 PM Tender Title: ET-1565 Tender ID: 2024_NPCIL_210534_1
Tender Inviting Authority:
Name of Work: Attending Residential Electrical complaints and other electrical maintenance works in colony of KAPS township at Kakarapar Gujarat Site.
Contract No.: KAPS/CMM-W/COMMON/EMG/2024/ET/1565
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S R ELECTRICAL WORKS (GSTN-24ASAPR2498D1ZR) BID ID -759017 |  | elektron (GSTN-09AAFFE6230P1Z2) BID ID -761066 |  | SHREE NATH ENTERPRISES (GSTN-NA) BID ID -761721 |  | SHREE RAM ELECTRICALS (GSTN-NA) BID ID -760543
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply and installation-for fixing the hanging conduit etc.
1.10 | GI saddle. | 2500.00 | Nos. |  | 10.00 | 25000.00 | 2.00 | 5000.00 | 20.00 | 50000.00 | 25.00 | 62500.00 | 5000.00 | elektron
1.20 | Round /square block, JB’s, | 250.00 | Nos. |  | 40.00 | 10000.00 | 36.00 | 9000.00 | 75.00 | 18750.00 | 35.00 | 8750.00 | 8750.00 | SHREE RAM ELECTRICALS
2.00 | Rectification of Residential qtrs, public buildings, staircase & parking etc. electrical complaints, including temporary lighting, exhaust fans & geyser complaints etc. | 24000.00 | Nos. |  | 176.00 | 4224000.00 | 178.00 | 4272000.00 | 187.00 | 4488000.00 | 190.00 | 4560000.00 | 4224000.00 | S R ELECTRICAL WORKS
3.00 | Supply and installation of PVC conduit etc.
3.10 | 20 mm dia 1.8 mm thick | 2500.00 | Mtrs |  | 45.00 | 112500.00 | 28.00 | 70000.00 | 51.00 | 127500.00 | 50.00 | 125000.00 | 70000.00 | elektron
3.20 | 25mm dia 1.8 mm thick | 600.00 | Mtrs |  | 55.00 | 33000.00 | 28.00 | 16800.00 | 58.00 | 34800.00 | 70.00 | 42000.00 | 16800.00 | elektron
4.00 | Supply, installation and termination of single core 1100volt grade PVC insulated multi stranded copper conductor wires ,of M/s finolex/ RR Kable/L&T/Havells/Polycab make. Red and black color for phases and neutral respectively and green for earth.
4.10 | 1x 1.5 sq.mm | 5000.00 | Mtrs |  | 47.00 | 235000.00 | 30.00 | 150000.00 | 52.00 | 260000.00 | 35.00 | 175000.00 | 150000.00 | elektron
4.20 | 1x 2.5 sq.mm | 5000.00 | Mtrs |  | 60.00 | 300000.00 | 45.00 | 225000.00 | 64.00 | 320000.00 | 45.00 | 225000.00 | 225000.00 | SHREE RAM ELECTRICALS, elektron
4.30 | 1x 4 sq.mm | 4000.00 | Mtrs |  | 75.00 | 300000.00 | 69.00 | 276000.00 | 94.00 | 376000.00 | 70.00 | 280000.00 | 276000.00 | elektron
4.40 | 1x 6 sq.mm | 1000.00 | Mtrs |  | 100.00 | 100000.00 | 137.00 | 137000.00 | 122.00 | 122000.00 | 95.00 | 95000.00 | 95000.00 | SHREE RAM ELECTRICALS
5.00 | Supply and installation of ISI approved 25mm size ivory/white colour casing capping. | 1500.00 | Mtrs |  | 70.00 | 105000.00 | 97.00 | 145500.00 | 94.00 | 141000.00 | 60.00 | 90000.00 | 90000.00 | SHREE RAM ELECTRICALS
6.00 | Supply & Installation of fiber box for switches & socket with sunmica finished bakelite sheet . (+/- 10 mm variation allowed)
6.10 | 250 x 300 mm | 50.00 | Nos. |  | 250.00 | 12500.00 | 115.00 | 5750.00 | 438.00 | 21900.00 | 320.00 | 16000.00 | 5750.00 | elektron
6.20 | 250 x 200 mm | 50.00 | Nos. |  | 220.00 | 11000.00 | 96.00 | 4800.00 | 413.00 | 20650.00 | 255.00 | 12750.00 | 4800.00 | elektron
6.30 | 200 x 150 mm | 50.00 | Nos. |  | 170.00 | 8500.00 | 56.00 | 2800.00 | 381.00 | 19050.00 | 200.00 | 10000.00 | 2800.00 | elektron
6.40 | 150 x 150 mm | 50.00 | Nos. |  | 120.00 | 6000.00 | 46.00 | 2300.00 | 289.00 | 14450.00 | 170.00 | 8500.00 | 2300.00 | elektron
6.50 | Supply, Installation of PVC gang box (approx 100*100 mm)having 5A switch and socket along with JB. | 250.00 | Nos. |  | 160.00 | 40000.00 | 28.00 | 7000.00 | 330.00 | 82500.00 | 155.00 | 38750.00 | 7000.00 | elektron
7.00 | Assistance services of skilled technician for miscellaneous and unmeasurable work for one working day during departmental General shift timing. | 250.00 | Operation |  | 1313.00 | 328250.00 | 1876.00 | 469000.00 | 1303.00 | 325750.00 | 1350.00 | 337500.00 | 325750.00 | SHREE NATH ENTERPRISES
8.00 | Assistance services of unskilled technician for miscellaneous and unmeasurable work for one working day during departmental General shift timing. | 250.00 | Operation |  | 956.00 | 239000.00 | 1588.00 | 397000.00 | 963.00 | 240750.00 | 995.00 | 248750.00 | 239000.00 | S R ELECTRICAL WORKS
9.00 | Supply of bulb holder as per following specification-: Material : Polycarbonate Electrical Grade, Type of fitment : Angular base, Conformity to Indian Standard IS:1258:2005 with latest amendments, Lamp Cap for which holder is suitable - Bayonet Type B-22, Rated voltage (Volt) 250 VOLT, 50 HZ, Rated current 2 Amp | 2000.00 | Nos. |  | 35.00 | 70000.00 | 49.00 | 98000.00 | 25.00 | 50000.00 | 30.00 | 60000.00 | 50000.00 | SHREE NATH ENTERPRISES
10.00 | Supply installation/ replacement of dummy bakelite sheet having sunmica finish at various location to enclose the electrical JB/ switch board openings.
10.10 | 250 x 300 mm | 50.00 | Nos. |  | 550.00 | 27500.00 | 106.00 | 5300.00 | 509.00 | 25450.00 | 490.00 | 24500.00 | 5300.00 | elektron
10.20 | 250 x 200 mm | 50.00 | Nos. |  | 400.00 | 20000.00 | 86.00 | 4300.00 | 421.00 | 21050.00 | 365.00 | 18250.00 | 4300.00 | elektron
10.30 | 200 x 150 mm | 50.00 | Nos. |  | 250.00 | 12500.00 | 46.00 | 2300.00 | 275.00 | 13750.00 | 260.00 | 13000.00 | 2300.00 | elektron
10.40 | 150 x 150 mm | 25.00 | Nos. |  | 210.00 | 5250.00 | 36.00 | 900.00 | 225.00 | 5625.00 | 205.00 | 5125.00 | 900.00 | elektron
10.50 | 100 x 100 mm | 25.00 | Nos. |  | 120.00 | 3000.00 | 16.00 | 400.00 | 191.00 | 4775.00 | 100.00 | 2500.00 | 400.00 | elektron
11.00 | Supply & installation of exhaust fan wire mesh for 12” exhaust fan
11.10 | steel wire mesh (SS 304) having apprx. aperture width of 2.5 mm , wire dia. 0.8 mm. Total area of one mesh will be approx 0.16 sq meter | 150.00 | Nos. |  | 200.00 | 30000.00 | 660.00 | 99000.00 | 738.00 | 110700.00 | 445.00 | 66750.00 | 30000.00 | S R ELECTRICAL WORKS
11.20 | Aluminum wire mesh with Aluminum framing square size of 14 swg thick and 15 mm minimum mesh size. | 200.00 | Nos. |  | 350.00 | 70000.00 | 330.00 | 66000.00 | 646.00 | 129200.00 | 445.00 | 89000.00 | 66000.00 | elektron
12.00 | Preventive Maintenance and servicing of KOEL make following ratings DG set through OEM/ OEM authorised service centre.
12.10 | 3 phase 100KVA DG set | 1.00 | Nos. |  | 30000.00 | 30000.00 | 309300.00 | 309300.00 | 35965.00 | 35965.00 | 26550.00 | 26550.00 | 26550.00 | SHREE RAM ELECTRICALS
12.20 | 3 phase 62.5 KVA DG set | 1.00 | Nos. |  | 24000.00 | 24000.00 | 216510.00 | 216510.00 | 31005.00 | 31005.00 | 20650.00 | 20650.00 | 20650.00 | SHREE RAM ELECTRICALS
13.00 | Supply of switches, sockets etc. as per specification mentioned in section V
13.10 | 6A one way single switch- white as per specification mentioned in section V | 1500.00 | Nos. |  | 93.00 | 139500.00 | 132.00 | 198000.00 | 103.00 | 154500.00 | 90.00 | 135000.00 | 135000.00 | SHREE RAM ELECTRICALS
13.20 | 6A universal socket as per specification mentioned in section V | 1000.00 | Nos. |  | 148.00 | 148000.00 | 211.00 | 211000.00 | 196.00 | 196000.00 | 140.00 | 140000.00 | 140000.00 | SHREE RAM ELECTRICALS
13.30 | 6A/16A 3 pin combined shuttered socket as per specification mentioned in section V | 5.00 | Nos. |  | 247.00 | 1235.00 | 355.00 | 1775.00 | 289.00 | 1445.00 | 235.00 | 1175.00 | 1175.00 | SHREE RAM ELECTRICALS
13.40 | 100W fan regulator as per specification mentioned in section V | 450.00 | Nos. |  | 520.00 | 234000.00 | 751.00 | 337950.00 | 651.00 | 292950.00 | 515.00 | 231750.00 | 231750.00 | SHREE RAM ELECTRICALS
13.50 | 32A DP mini trip switch as per specification mentioned in section V | 50.00 | Nos. |  | 470.00 | 23500.00 | 561.00 | 28050.00 | 561.00 | 28050.00 | 375.00 | 18750.00 | 18750.00 | SHREE RAM ELECTRICALS
14.00 | Supply of socket & timer
14.10 | 20A PLUG SOCKET as per specification mentioned in section V | 5.00 | Nos. |  | 180.00 | 900.00 | 277.00 | 1385.00 | 463.00 | 2315.00 | 485.00 | 2425.00 | 900.00 | S R ELECTRICAL WORKS
14.20 | 32A MCB trip switch as per specification mentioned in section V | 5.00 | Nos. |  | 400.00 | 2000.00 | 396.00 | 1980.00 | 624.00 | 3120.00 | 515.00 | 2575.00 | 1980.00 | elektron
15.00 | Supply of 12 inch polycarbonate unbreakable Doom globe light without bulb. Suitable for installation on a pole with dia approximately 35 to 60 mm. All accessories for installation of same including B22d holder shall also be provided. | 40.00 | Nos. |  | 1100.00 | 44000.00 | 825.00 | 33000.00 | 1059.00 | 42360.00 | 1770.00 | 70800.00 | 33000.00 | elektron
16.00 | Supply of White color 1200 mm seep size ceiling fan of M/s Bajaj/Orient/Crompton/Usha/Havells | 100.00 | Nos. |  | 1770.00 | 177000.00 | 2009.00 | 200900.00 | 2839.00 | 283900.00 | 1920.00 | 192000.00 | 177000.00 | S R ELECTRICAL WORKS
17.00 | Supply of switches sockets, angle holders etc. as per specification mentioned in section V
17.10 | 250 VOLTS, 50Hz AC, 6 AMPS, 1 WAY SWITCH as per specification mentioned in section V | 3000.00 | Nos. |  | 38.00 | 114000.00 | 20.00 | 60000.00 | 30.00 | 90000.00 | 17.00 | 51000.00 | 51000.00 | SHREE RAM ELECTRICALS
17.20 | 250 VOLTS, 50 Hz AC, 6 AMPS. BELL PUSH SWITCH as per specification mentioned in section V | 400.00 | Nos. |  | 41.00 | 16400.00 | 36.00 | 14400.00 | 47.00 | 18800.00 | 30.00 | 12000.00 | 12000.00 | SHREE RAM ELECTRICALS
17.30 | 250 VOLTS, 50 Hz AC, 20/10 AMPS, 5 IN 1 TYPE SWITCH & SOCKET COMBINED UNIT WITH SHUTTER INDICATOR, FUSE & BOX as per specification mentioned in section V | 100.00 | Nos. |  | 218.00 | 21800.00 | 241.00 | 24100.00 | 314.00 | 31400.00 | 185.00 | 18500.00 | 18500.00 | SHREE RAM ELECTRICALS
17.40 | 240 VOLTS, 50 Hz AC, ELECTRONIC DELUX FAN REGULATOR SUITABLE FOR 100 WATTS LOAD as per specification mentioned in section V | 300.00 | Nos. |  | 230.00 | 69000.00 | 264.00 | 79200.00 | 409.00 | 122700.00 | 200.00 | 60000.00 | 60000.00 | SHREE RAM ELECTRICALS
17.50 | Ding dong bell as per specification mentioned in section V | 300.00 | Nos. |  | 188.00 | 56400.00 | 186.00 | 55800.00 | 286.00 | 85800.00 | 145.00 | 43500.00 | 43500.00 | SHREE RAM ELECTRICALS
17.60 | 250 VOLTS, 50 Hz AC, 32 AMPS. DP MAINS SWITCH WITH KEYRING TAG 2-m as per specification mentioned in section V | 40.00 | Nos. |  | 530.00 | 21200.00 | 678.00 | 27120.00 | 742.00 | 29680.00 | 510.00 | 20400.00 | 20400.00 | SHREE RAM ELECTRICALS
18.00 | Supply of Different size copper and aluminium ring type lugs
18.01 | 10 sq mm copper lug ring type | 300.00 | Nos. |  | 8.00 | 2400.00 | 8.00 | 2400.00 | 17.00 | 5100.00 | 9.00 | 2700.00 | 2400.00 | S R ELECTRICAL WORKS, elektron
18.02 | 16 sq mm copper lug ring type | 250.00 | Nos. |  | 12.00 | 3000.00 | 16.00 | 4000.00 | 28.00 | 7000.00 | 16.00 | 4000.00 | 3000.00 | S R ELECTRICAL WORKS
18.03 | 25 sq mm copper lug ring type | 100.00 | Nos. |  | 17.00 | 1700.00 | 28.00 | 2800.00 | 42.00 | 4200.00 | 32.00 | 3200.00 | 1700.00 | S R ELECTRICAL WORKS
18.04 | 35 sq mm copper lug ring type | 250.00 | Nos. |  | 23.00 | 5750.00 | 35.00 | 8750.00 | 135.00 | 33750.00 | 38.00 | 9500.00 | 5750.00 | S R ELECTRICAL WORKS
18.05 | 70 sq mm copper lug ring type | 100.00 | Nos. |  | 35.00 | 3500.00 | 76.00 | 7600.00 | 211.00 | 21100.00 | 77.00 | 7700.00 | 3500.00 | S R ELECTRICAL WORKS
18.06 | 150 sq mm copper lug ring type | 50.00 | Nos. |  | 60.00 | 3000.00 | 285.00 | 14250.00 | 308.00 | 15400.00 | 266.00 | 13300.00 | 3000.00 | S R ELECTRICAL WORKS
18.07 | Crimping type Aluminium connector lugs for 16 mm2 cable | 400.00 | Nos. |  | 10.00 | 4000.00 | 3.00 | 1200.00 | 22.00 | 8800.00 | 5.00 | 2000.00 | 1200.00 | elektron
18.08 | Crimping type Aluminium connector lugs for 25 mm2 cable | 400.00 | Nos. |  | 12.00 | 4800.00 | 6.00 | 2400.00 | 29.00 | 11600.00 | 6.00 | 2400.00 | 2400.00 | SHREE RAM ELECTRICALS, elektron
18.09 | 70 sq mm Al lug ring type | 100.00 | Nos. |  | 14.00 | 1400.00 | 21.00 | 2100.00 | 39.00 | 3900.00 | 20.00 | 2000.00 | 1400.00 | S R ELECTRICAL WORKS
18.10 | 120 sq mm Al lug ring type | 90.00 | Nos. |  | 29.00 | 2610.00 | 30.00 | 2700.00 | 77.00 | 6930.00 | 31.00 | 2790.00 | 2610.00 | S R ELECTRICAL WORKS
18.11 | 240 sq mm Al lug ring type | 30.00 | Nos. |  | 55.00 | 1650.00 | 82.00 | 2460.00 | 161.00 | 4830.00 | 85.00 | 2550.00 | 1650.00 | S R ELECTRICAL WORKS
18.12 | 300 sq mm Al lug ring type | 30.00 | Nos. |  | 70.00 | 2100.00 | 115.00 | 3450.00 | 234.00 | 7020.00 | 116.00 | 3480.00 | 2100.00 | S R ELECTRICAL WORKS
19.00 | supply of spares for 1 litre instamteneous type water geyser operating at 240V AC 50 Hz, 2/3KW rating as per specification mentioned in section V
19.10 | 3 KW HEATING COIL | 30.00 | Nos. |  | 610.00 | 18300.00 | 1650.00 | 49500.00 | 814.00 | 24420.00 | 545.00 | 16350.00 | 16350.00 | SHREE RAM ELECTRICALS
19.20 | THERMOSTAT ELEMENT -THERMOSTAT 7" | 200.00 | Nos. |  | 247.00 | 49400.00 | 825.00 | 165000.00 | 373.00 | 74600.00 | 165.00 | 33000.00 | 33000.00 | SHREE RAM ELECTRICALS
19.30 | THERMOSTAT ELEMENT "THERMOSTAT 11" | 100.00 | Nos. |  | 295.00 | 29500.00 | 1155.00 | 115500.00 | 391.00 | 39100.00 | 190.00 | 19000.00 | 19000.00 | SHREE RAM ELECTRICALS
19.40 | NEON GAS FILLED INDICATING LAMP ( ORANGE, RED) | 500.00 | Nos. |  | 36.00 | 18000.00 | 10.00 | 5000.00 | 67.00 | 33500.00 | 30.00 | 15000.00 | 5000.00 | elektron
19.50 | thermal cut out | 100.00 | Nos. |  | 153.00 | 15300.00 | 495.00 | 49500.00 | 300.00 | 30000.00 | 614.00 | 61400.00 | 15300.00 | S R ELECTRICAL WORKS
19.60 | SAFETY VALVE FUSEABLE | 50.00 | Nos. |  | 235.00 | 11750.00 | 495.00 | 24750.00 | 199.00 | 9950.00 | 50.00 | 2500.00 | 2500.00 | SHREE RAM ELECTRICALS
19.70 | rubber "O" ring. | 50.00 | Nos. |  | 59.00 | 2950.00 | 495.00 | 24750.00 | 123.00 | 6150.00 | 115.00 | 5750.00 | 2950.00 | S R ELECTRICAL WORKS
20.00 | Supply, Installation of PVC gang box having 5/15A combined switch socket along with JB and termination of wire . | 200.00 | Nos. |  | 235.00 | 47000.00 | 355.00 | 71000.00 | 279.00 | 55800.00 | 145.00 | 29000.00 | 29000.00 | SHREE RAM ELECTRICALS
21.00 | supply of spares as mentioned below suitable for 6 litre storage type water geyser operating at 240V AC 50 Hz, 2 to 3KW rating as per specification mentioned in section V .If required sample will be given.
21.10 | Thermostat/Thermal cut out | 50.00 | Nos. |  | 295.00 | 14750.00 | 1650.00 | 82500.00 | 439.00 | 21950.00 | 165.00 | 8250.00 | 8250.00 | SHREE RAM ELECTRICALS
21.20 | Heating coil suitable for existing 6 liter storage type water geyser | 20.00 | Nos. |  | 590.00 | 11800.00 | 1650.00 | 33000.00 | 950.00 | 19000.00 | 1025.00 | 20500.00 | 11800.00 | S R ELECTRICAL WORKS
22.00 | supply of spares as mentioned below for suitable for e 15 litre storage type water geyser operating at 240V AC 50 Hz, 2KW rating.As per specification mentioned in section V
22.10 | 11" thermostat/Thermal cutout | 200.00 | Nos. |  | 590.00 | 118000.00 | 1155.00 | 231000.00 | 724.00 | 144800.00 | 190.00 | 38000.00 | 38000.00 | SHREE RAM ELECTRICALS
22.20 | Heating coil suitable for existing 15 liter storage type water geyser | 12.00 | Nos. |  | 1180.00 | 14160.00 | 1650.00 | 19800.00 | 1222.00 | 14664.00 | 1300.00 | 15600.00 | 14160.00 | S R ELECTRICAL WORKS
23.00 | Supply of electrical extension switch Board-: | 7.00 | Nos. |  | 5900.00 | 41300.00 | 278.00 | 1946.00 | 6720.00 | 47040.00 | 7500.00 | 52500.00 | 1946.00 | elektron
24.00 | Supply of "RR KABEL/finolex/havells/ POLYCAB" make multi stranded bright annealed copper conductors, PVC insulated and PVC sheathed multicore flexible cable for voltage gd. upto 1100V conf. to IS:694/1990. SIZE :
24.10 | FLEX 3 CORE 0.75 SQ. MM | 400.00 | Mtrs |  | 38.00 | 15200.00 | 46.00 | 18400.00 | 74.00 | 29600.00 | 40.00 | 16000.00 | 15200.00 | S R ELECTRICAL WORKS
24.20 | FLEX 3 CORE 1.5 SQ. MM | 500.00 | Mtrs |  | 65.00 | 32500.00 | 81.00 | 40500.00 | 115.00 | 57500.00 | 60.00 | 30000.00 | 30000.00 | SHREE RAM ELECTRICALS
24.30 | FLEX 3 CORE 2.5 SQ. MM | 500.00 | Mtrs |  | 105.00 | 52500.00 | 129.00 | 64500.00 | 188.00 | 94000.00 | 95.00 | 47500.00 | 47500.00 | SHREE RAM ELECTRICALS
24.40 | FLEX 4 CORE 2.5 SQ. MM | 500.00 | Mtrs |  | 135.00 | 67500.00 | 132.00 | 66000.00 | 246.00 | 123000.00 | 120.00 | 60000.00 | 60000.00 | SHREE RAM ELECTRICALS
24.50 | FLEX 3 CORE 4 SQ. MM | 200.00 | Mtrs |  | 160.00 | 32000.00 | 201.00 | 40200.00 | 281.00 | 56200.00 | 149.00 | 29800.00 | 29800.00 | SHREE RAM ELECTRICALS
24.60 | FLEX 4 CORE 4 SQ. MM | 200.00 | Mtrs |  | 200.00 | 40000.00 | 264.00 | 52800.00 | 373.00 | 74600.00 | 195.00 | 39000.00 | 39000.00 | SHREE RAM ELECTRICALS
24.70 | FLEX 4 CORE 6 SQ. MM | 100.00 | Mtrs |  | 295.00 | 29500.00 | 389.00 | 38900.00 | 492.00 | 49200.00 | 275.00 | 27500.00 | 27500.00 | SHREE RAM ELECTRICALS
24.80 | FLEX 4 CORE 10 SQ. MM | 50.00 | Mtrs |  | 520.00 | 26000.00 | 675.00 | 33750.00 | 803.00 | 40150.00 | 500.00 | 25000.00 | 25000.00 | SHREE RAM ELECTRICALS
25.00 | Supply of canopy cover suitable for 1200 mm ceiling fan of white/Brown color. | 400.00 | Nos. |  | 120.00 | 48000.00 | 20.00 | 8000.00 | 108.00 | 43200.00 | 85.00 | 34000.00 | 8000.00 | elektron
26.00 | Supply of water proof decorative LED multi color series lighting along with adopter so that suitable for single phase 230V AC supply. Sample to be given before supply. | 1500.00 | Mtrs |  | 35.00 | 52500.00 | 82.00 | 123000.00 | 41.00 | 61500.00 | 25.00 | 37500.00 | 37500.00 | SHREE RAM ELECTRICALS
27.00 | ELCB/RCCB testing for Residential quarters.
27.10 | single phase ELCB/RCCB | 1900.00 | Nos. |  | 110.00 | 209000.00 | 82.00 | 155800.00 | 241.00 | 457900.00 | 120.00 | 228000.00 | 155800.00 | elektron
27.20 | Three phsae ELCB/RCCB | 90.00 | Nos. |  | 150.00 | 13500.00 | 82.00 | 7380.00 | 292.00 | 26280.00 | 140.00 | 12600.00 | 7380.00 | elektron
| Total in Figures |  |  |  |  | 8497255.00 |  | 9848206.00 |  | 10237374.00 |  | 8621070.00
Lowest Amount Quoted BY: S R ELECTRICAL WORKS(8497255.00)

## BOQ Summary
BOQ Summary Details Tender Title: ET-1565 Tender ID: 2024_NPCIL_210534_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S R ELECTRICAL WORKS (BID ID -759017) | 8497255.00 | L1
| 2 | SHREE RAM ELECTRICALS (BID ID -760543) | 8621070.00 | L2
| 3 | elektron (BID ID -761066) | 9848206.00 | L3
| 4 | SHREE NATH ENTERPRISES (BID ID -761721) | 10237374.00 | L4