## BoQ1
Government eProcurement System Created By: VIKASH KUMAR MISHRA Created Date/Time: 25-Nov-2024 04:30 PM Tender Title: MAPS/CTC/CSR/PUBLIC/ET883/2024 Tender ID: 2024_NPCIL_211293_1
Tender Inviting Authority: SME (Civil)
Name of Work:Construction of Anganwadi Building at Eagai and Sadras Village, under MAPS CSR Activities.
Contract No: MAPS/CTC/MM/PUBLIC/ET883/2024
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MEKKAVAN CIVIL CONTRACTOR (GSTN-NA) BID ID -764096
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic Excavator )/ manual means in foundation trenches,Plinth beam, or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, for all Lifts, including getting out the excavated soil and disposal of surplus excavated soil as directed, and Back filling available Excavated Earth Trench, Plinth ,Sides of Foundation Etc,. In layers not Exceeding 20cm in depth Consolidating each deposited Layer By Ramming and Watering , lead lead Upto 50 m for all lifts. For All kinds of soil as directed by Engineer in charge. | 185.00 | CuM | 550.65 | 550.00 | 101750.00 | 101750.00 | MEKKAVAN CIVIL CONTRACTOR
2.00 | Providing and laying soling 150mm thick under floor with 150mm size hard granite soling stones including supplying, filling and packing voids with 40 to 75mm size hard granite metal and gravel bindage, watering, well rammed, compaction by power/hand roller etc., complete all as directed by Engineer-in-charge. | 180.00 | SqM | 500.00 | 750.00 | 135000.00 | 135000.00 | MEKKAVAN CIVIL CONTRACTOR
3.00 | Providing and laying plain cement concrete 1:3:6 using 20mm maximum size graded aggregates including mechanical mixing, transporting and placing in required position, ramming, compaction, taging , curing, shuttering, dewatering if any, complete all as per specification for taging courses in foundation for walls, footings, floor drains etc., encasing pipes and other required works directed by Engineer-in-Charge complete all as per specifications. | 27.00 | CuM | 8671.20 | 9000.00 | 243000.00 | 243000.00 | MEKKAVAN CIVIL CONTRACTOR
4.00 | Providing and laying cast insitu controlled reinforced cement concrete of specified grade at all levels and lifts mentioned below using 20mm maximum size hard granite machine crushed graded stone aggregates including weigh batching, charges for mixing & cost of admixture, mechanical mixing, transporting and placing at all lifts, vibrating, consolidating, curing and finishing smooth of all exposed faces complete for column footings, columns, lintels, sunshades, gutter slabs, beams, slabs, water tank, machine foundation and all other structural elements including dewatering wherever necessary (Formwork and reinforcement will be paid for separately) all as per specification and all as shown in drawings and as directed by the Engineer-in-charge for all insitu item. Note: 1. The rate of concrete shall include all labour, equipment, charges for mixing & cost of admixture. Chemical admixture conforming to IS 9103 shall be mixed in fresh concrete and prior permission from Engineer-in-charge shall be obtained for dosage and compatibility 2. Test certificate of cement, procured from dealer/company to be submitted for all cement related works by the Contractor. 3. The rate shall be quoted on the basis of using minimum cement per cu.m. of concrete mentioned below for relevant grade of concrete. Any upward/ Downward variation required to obtain the specified strength will be paid for or deducted at the rate of Rs.8/Kg of cement . M30 grade with 350 kg. of Ordinary Portland Cement per cu.m. of concrete all works upto plinth level. | 27.00 | CuM | 11424.35 | 12000.00 | 324000.00 | 324000.00 | MEKKAVAN CIVIL CONTRACTOR
5.00 | Providing and laying cast insitu controlled reinforced cement concrete of specified grade at all levels and lifts mentioned below using 20mm maximum size hard granite machine crushed graded stone aggregates including weigh batching, charges for mixing & cost of admixture, mechanical mixing, transporting and placing at all lifts, vibrating, consolidating, curing and finishing smooth of all exposed faces complete for column footings, columns, lintels, sunshades, gutter slabs, beams, slabs, water tank, machine foundation and all other structural elements including dewatering wherever necessary (Formwork and reinforcement will be paid for separately) all as per specification and all as shown in drawings and as directed by the Engineer-in-charge for all insitu item. Note: 1. The rate of concrete shall include all labour, equipment, charges for mixing & cost of admixture. Chemical admixture conforming to IS 9103 shall be mixed in fresh concrete and prior permission from Engineer-in-charge shall be obtained for dosage and compatibility 2. Test certificate of cement, procured from dealer/company to be submitted for all cement related works by the Contractor. 3. The rate shall be quoted on the basis of using minimum cement per cu.m. of concrete mentioned below for relevant grade of concrete. Any upward/ Downward variation required to obtain the specified strength will be paid for or deducted at the rate of Rs.8/Kg of cement . M30 grade with 350 kg. of Ordinary Portland Cement per cu.m. of concrete all works Above plinth level. | 28.00 | CuM | 11780.00 | 13000.00 | 364000.00 | 364000.00 | MEKKAVAN CIVIL CONTRACTOR
6.00 | Providing, straightening, decoiling wherever necessary bending, cutting, binding and fixing in position steel reinforcement TMT bars of Fe500D grade steel conforming to IS:1786 ‘SAIL or VIZAG or approved equivalent make’ and tying with approved annealed binding wire of 1.6mm dia in all reinforced cement concrete work at all lifts, including cost of supplying and fixing the spacer/cover blocks in cement mortar 1:2 and binding wire complete all as per specification and as directed by Engineer-in-Charge at all lifts.Note: The rate shall be including the cost of reinforcement steel. The reinforcement steel will be procured from dealers with a test certificate as approved by the department. | 5.00 | MT | 116617.75 | 110000.00 | 550000.00 | 550000.00 | MEKKAVAN CIVIL CONTRACTOR
7.00 | Supplying, fabricating, erecting and fixing in position at all levels, centering and shuttering to correct line and levels including strutting, propping, etc., with necessary bracings in all axes to give a stable assembly with provision for making the joints in the shuttering fully leak proof and with provision for fixing coil nuts with tie rods along with suitable channel for lateral supports and for inserts, projecting dowels, anchor bolts or any other fixture, including staging, access and working platforms etc., all complete as specified and directed as per Enginner-in-charge including dismantling and removing the aforesaid assembly after the concrete attains the sufficient strength to self-support itself without cracking and distortion all as per specification, including all materials and labour complete in all respects at all lifts. (The measurement for the formwork will be the actual area of forms in contact with concrete surfaces.)shuttering with plywod panels alone will be permitted | 392.00 | SqM | 1184.75 | 850.00 | 333200.00 | 333200.00 | MEKKAVAN CIVIL CONTRACTOR
8.00 | Providing and constructing brick masonry at all lifts using well burnt stock bricks in cement mortar 1:5 including suitable scaffolding, raking out joints, curing complete as per specifications and drawings for foundation, superstructure, etc. for the following floors as directed by Engineer-in-Charge. | 50.00 | CuM | 12683.45 | 11500.00 | 575000.00 | 575000.00 | MEKKAVAN CIVIL CONTRACTOR
9.00 | Providing and constructing at all floors and lifts 115mm thick brick work in cement mortar 1:4 using well burnt bricks including placing in position 2 nos of 8mm dia rods at every 3rd layer, scaffolding, curing, racking out the joint on both faces etc. complete as per specification and as directed by the Engineer-in-Charge.The quoted rate for the above shall be inclusive of 2 nos of 8mm dia rods at every 3rd layer. | 73.00 | SqM | 1736.40 | 1450.00 | 105850.00 | 105850.00 | MEKKAVAN CIVIL CONTRACTOR
10.00 | Providing plastering to the internal surfaces of brickwork/concrete at all elevations in cement mortar 1:5, 12mm thick including hacking of concrete surfaces with pointed tool, scaffolding, finishing, curing, forming grooves wherever necessary, all as per specifications. | 278.00 | SqM | 455.65 | 450.00 | 125100.00 | 125100.00 | MEKKAVAN CIVIL CONTRACTOR
11.00 | Providing plastering to the external surfaces of brickwork/concrete at all elevations in cement mortar 1:5, 20mm thick in two coats including hacking of concrete surfaces with pointed tool, scaffolding, finishing, curing, forming grooves wherever necessary, all as directed by the Engineer-in-Charge per specifications. | 407.00 | SqM | 616.45 | 500.00 | 203500.00 | 203500.00 | MEKKAVAN CIVIL CONTRACTOR
12.00 | Providing and fixing VITRIFIED Double charged floor tiles in different sizes with water absorption less that 0.08% and confirming to IS 15622 of Marbonite or approved make in all colours and shades in Glossy or Matt or satin finish (as required by Engineer-in-charge) laid over a bed of minimum 20mm thick bed of cement mortar 1:4 (in skirting, risers of steps and dados over 12mm thick bed of cement mortar 1:3) including machine/hand cutting to required size & shape, grouting the joints with white cement mixed with coloring pigment to match colour of tile patterns, curing, cleaning the surface neatly at the time of handing over the area complete all as per drawings and specifications. Note: The sample tile shall be got approved by the Architect/Engineer before procurement. In flooring, tile size of 600x600mm fixing with 20mm thick bedding in cement mortar 1:4 | 54.00 | SqM | 2371.75 | 2000.00 | 108000.00 | 108000.00 | MEKKAVAN CIVIL CONTRACTOR
13.00 | Providing and fixing 1st quality ceramic glazed floor/wall tiles confirming to IS 15622 of approved make in approved size, shade and colour (as approved by Engineer-in-charge), free from cracks, fissures & flakes with straight edges & perfect corners fixed at right angles as per design and pattern required over a bed of 20mm thick bed of cement mortar 1:4 (in skirting, risers of steps and dados over 12mm thick bed of cement mortar 1:3), including machine / hand cutting to required size and shape, pointed neatly with white cement mixed with coloring pigment to match colour of tile, properly finished in all respects, curing, cleaning the surface neatly at the time of handing over the area, all materials and labour complete. In flooring fixing with 20mm thick bedding in cement mortar 1:4 Note: The sample tile shall be got approved by the Architect/Engineer before procurement. | 34.00 | SqM | 1533.85 | 1800.00 | 61200.00 | 61200.00 | MEKKAVAN CIVIL CONTRACTOR
14.00 | Providing and fixing Chequerred Precast Cement Concrete Tiles 22mm thick in footh path & courtyard, jointed with neat cement sulrry mixed with pigment to match the Shade of tiles. Including rubbing and cleaning etc.complete on 20mm thick bed of cement mortor 1:4(1 cement: 4 coarse sand), setting the tiles in cement slurry including pointing the joints with white cement with matching colour pigments, curing and cleaning the external face of tiles by water sponging complete all as per specification and as directed by the Engineer-in-Charge. | 30.00 | SqM | 1912.80 | 600.00 | 18000.00 | 18000.00 | MEKKAVAN CIVIL CONTRACTOR
15.00 | Providing and applying painting Two coats at all levels with premium Plastic emulsion paint (Asian - Tractor shine or Equivalent approved brand, colour and manufacturer) to give an even shade including one under coat of cement primer, applying putty to make plain and smooth surface, preparation of the surfaces, scaffolding complete all as per specifications and as directed by the Engineer-in-Charge.. | 380.00 | SqM | 254.00 | 150.00 | 57000.00 | 57000.00 | MEKKAVAN CIVIL CONTRACTOR
16.00 | Providing and applying painting Two coats at all levels with Acrylic emulsion paint (Asian - Apex or Equivalent approved brand, colour and manufacturer) to give an even shade including one under coat of suitable primer, preparation of the surfaces, scaffolding complete all as per specifications and as directed by the Engineer-in-Charge. | 402.00 | SqM | 256.00 | 180.00 | 72360.00 | 72360.00 | MEKKAVAN CIVIL CONTRACTOR
17.00 | Providing and laying pressed flat clay tiles 230 x 230mm size and 16mm thick tiles on roof slab jointed with cement mortar 1:3 (1 cement : 3 coarse sand) mixed with 2% integral waterproofing compound laid over a bed of 20mm thick cement mortar 1:3 and finished neat complete all as per specifications and as directed by the Engineer-in-Charge. | 94.00 | SqM | 1070.35 | 1100.00 | 103400.00 | 103400.00 | MEKKAVAN CIVIL CONTRACTOR
18.00 | Providing, supplying, cutting, bending to shape, welding, fabricating, hoisting, placing and fixing in position structural steel members like MS structural embedment’s/pipe and sleeves/penetration etc. using MS angles, channels, I-sections, plates, tees, flats, rounds, square sections etc. including chamfering and rounding off the edges, applying a coat of Red lead paint primer / Zinc chromate primer of approved make and 2 coats of flat oil paint / synthetic enamel paint of approved colour and make, scaffolding and staging required for fabrication as well as erection complete all as per specifications, drawings and as directed by the Engineer-in-charge. Note: Lifting device arrangements if any required Shall also be arranged by the contractor at his own cost. | 2.90 | MT | 130949.00 | 145000.00 | 420500.00 | 420500.00 | MEKKAVAN CIVIL CONTRACTOR
19.00 | Providing factory made pre-laminated FPVC (Formed Polyvinyl Chloride) Door Frame of the size 105 x 40mm with a wall thickness of 10mm made out of extruded rigid FPVC profile mitre joined with 6 Nos. of 5mm long screw. The door frame shall be fixed to the wall by using 80mm long screws through the frame with the help of PVC fasteners of 3 Nos. to be provided for each vertical member, GI stiffeners of ('U' channel of size 29 x 9, 1mm, 150mm long) - 3 Nos. at hinge point, frame reinforcement of ('U' GI channel of size 46 x 22 x 0.6mm), bottom tie rod of ('U' GI channel size of 15 x 15 x 1mm), etc., complete complying with the standard pecification. The door frame should be got approved from the Engineer in Charge before use on work. | 12.00 | RM | 637.95 | 800.00 | 9600.00 | 9600.00 | MEKKAVAN CIVIL CONTRACTOR
20.00 | Providing of 35mm thick factory made pre-laminated ABS (Acrolynitrile Butadiene Styrene) Door Shutter moulded in different designs, consisting of all round frame made out of water proof solid foam PVC bar of size 20 x 32mm, reinforced by 32 x 32mm - 2 Nos., for vertical made out of LVL (Laminated Veneer Lumber), core material of 32mm thick high density craft paper honey comb board, sandwiched on both sides with pre-laminated ABS sheet thickness of 1.5mm. PVC edge banding of size 0.45mm on the vertical sides. Hardware made out of steel coated butterfly hinges - 3 Nos., for each shutter and ISI make SS round lock complete for finished item of work, complete complying with the standard specification. The door shutter and frame should be got approved from the Engineer in Charge before use on work. Plain Pre-laminated Door. | 4.00 | SqM | 7157.30 | 6500.00 | 26000.00 | 26000.00 | MEKKAVAN CIVIL CONTRACTOR
21.00 | Providing and fixing PVC rain water downtake pipes conforming to IS:13592 Type A and PVC SWR Fittings & specials confirming to IS:14735, ‘Finolex’ or other approved equivalent make of pipes, fittings & specials including jointing with seal ring / with PVC solvent adhesive including fixing in walls/columns using clamps, anchor fasteners, bolts and teakwood packing pieces, joint testing etc complete all as per drawings, specifications and as directed by the Engineer-in-Charge. PVC SWR Rain water pipe 110mm outer dia. | 38.00 | RM | 520.50 | 600.00 | 22800.00 | 22800.00 | MEKKAVAN CIVIL CONTRACTOR
22.00 | Providing and fixing Un-Plasticized Polyvinyl Chloride (UPVC) pipes, having thermal stability for hot & cold water supply including all UPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step UPVC solvent cement, trenching, refilling and testing of joints complete as per direction of Engineer in Charge. 25mm Nominal dia Pipe For External work. | 150.00 | RM | 460.45 | 500.00 | 75000.00 | 75000.00 | MEKKAVAN CIVIL CONTRACTOR
23.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling and the costy of cutting chases and making good the same inculding testing of joints complete as per direction of Engineer in Charge. 20mm Nominal dia Pipe for Consealed work, including chases and making good the wall etc. | 50.00 | RM | 792.20 | 400.00 | 20000.00 | 20000.00 | MEKKAVAN CIVIL CONTRACTOR
24.00 | Providing and fixing the of UPVC ball valves used for commercial applications operate and designed to handle higher water pressure etc., complete all as per specification and as directed by the Engineer-in-Charge. 25mm nominal bore. | 4.00 | Nos | 375.00 | 1300.00 | 5200.00 | 5200.00 | MEKKAVAN CIVIL CONTRACTOR
25.00 | Providing and fixing Heavy Quality C.P. brass 15mm dia long body Bib cock of "Parryware or approved equivalent make as per specifications and as directed by the Engineer-in-Charge. (Samples to be got approved by the Engineer-in-Charge) | 6.00 | Nos | 1190.25 | 1500.00 | 9000.00 | 9000.00 | MEKKAVAN CIVIL CONTRACTOR
26.00 | Providing and fixing / embedding white vitreous Indian water closet Orissa pattern W.C. pan of size 580 x 440mm with integral type footrest of 'Parryware C 0117 or equivalent approved make", Including 100 mm sand cast iron P or S trap, 10 litre low level white P.V.C flushing cistern, including flush pipe, with manually controlled device (Handle lever) conforming to IS:7231, with all fittings and fixtures complete,including cutting and making good the walls and floors wherever required complete all as per specifications and as directed by the Engineer-in-Charge. | 2.00 | Nos | 8802.90 | 5000.00 | 10000.00 | 10000.00 | MEKKAVAN CIVIL CONTRACTOR
27.00 | Providing and fixing Heavy Quality 15mm nominal bore C.P. Brass Angle cock of Parryware or approved equivalent make for wash basin inlet / flush cistern etc. as per specifications and as directed by the Engineer-in-Charge (Samples to be got approved by the Engineer-in-Charge) | 2.00 | Nos | 1069.70 | 1200.00 | 2400.00 | 2400.00 | MEKKAVAN CIVIL CONTRACTOR
28.00 | Providing and fixing Heavy Quality C.P Brass Health Faucet with 1.50metres flexible hose (Hand Shower) of Parryware brand complete all as per specifications and as directed by the Engineer-in-Charge (Samples to be got approved by the Engineer-in-Charge) | 2.00 | Nos | 1203.35 | 1600.00 | 3200.00 | 3200.00 | MEKKAVAN CIVIL CONTRACTOR
29.00 | Providing and fixing Viterious China white wash basin size 550x400mm/550x420mm ( PARRYWARE) with C.I. brackets, 15mm C.P. brass pillar taps of Parryware or approved equivalent make, 15mm x 600mm long PVC Inlet connection, 32mm Heavy quality C.P. brass waste coupling of standard pattern 32mm dia 'B' Class GI Waste Pipe 15mm dia GM Wheel Valve, 15mm dia Nylon Connection, 15mm dia rass Nipples , including painting of fittings and brackets, cutting and making good the walls and testing complete all as per specifications and as directed by the Engineer-in-Charge. | 2.00 | Nos | 4612.70 | 5000.00 | 10000.00 | 10000.00 | MEKKAVAN CIVIL CONTRACTOR
30.00 | Providing, hoisting and installing at required elevation moulded HDPE cylindrical vertical water storage tanks conformimg to IS:12701 make of the following capacities with suitable S. M. C Cover at top including the cost of labour for making hole in the storage tank for inlet, outlet, scour and overflow, providing and fixing necessary G.I Nipples ranging from 15mm to 50mm n.b of average 150mm length with double check nuts, washers etc. complete all as directed by the Engineer-in-Charge. HDPE Cylindrical Vertical Storage Water Tank 1000 Litre Capacity | 2.00 | Nos | 15166.50 | 20000.00 | 40000.00 | 40000.00 | MEKKAVAN CIVIL CONTRACTOR
31.00 | Providing and Fixing 18mm thick Jet black or approved make Granite inaugural plaque with granite stone engraved with artistic letters and golden colour painting for lettering, including cost of labour and material for fixing on a wall all as per specifications and as directed by the Engineer-in-Charge. | 1.60 | SqM | 17300.00 | 15000.00 | 24000.00 | 24000.00 | MEKKAVAN CIVIL CONTRACTOR
32.00 | Painting of all size of letters, artistic painting of different colours/designs/patterns over board with Enamel Paint including scaffolding erection, surface preparation, Applying putty and back round painting (walls, steel plates, banners etc.)., the rate including cost of labour,material, bursh, , complete to maximum height of 13 meters, all as per specifications and as directed by the Engineer-in-Charge. | 10.00 | SqM | 2170.00 | 800.00 | 8000.00 | 8000.00 | MEKKAVAN CIVIL CONTRACTOR
33.00 | Providing and painting Artist painting / Theme painting / Poster painting with Emulsion paint of Asian ULTIMA brand or approved equivalent brand in the exterior and interior walls of newly constructed Anganwadi building including materials, tools and Scaffolding arrangements as per the direction of Engineer in charge. | 2000.00 | Sqf | 162.05 | 350.00 | 700000.00 | 700000.00 | MEKKAVAN CIVIL CONTRACTOR
34.00 | Supplying and filling the selected earth (Including royalty) from outside including excavation from borrow pits if any required, filling in layer of not more than 200mm thick, each layer well rammed and consolidated by mechanical roller including water consolidation etc., levelling, dressing the top surface to the required level, complying with standard specification and as directed by the Engineer-in-charge. | 60.00 | CuM | 1362.30 | 1500.00 | 90000.00 | 90000.00 | MEKKAVAN CIVIL CONTRACTOR
35.00 | Providing and Fixing of the mini slide for Anganwadi children (Age-3 to 5 Years) Shall be of minimum 3 feet height.The Support pipes shall be made of minimum 50mm NB GI pipe.The slide shall be made of Fiberglass Reinforced Plastic of minimum 4 to 5mm thick.The ladder frame and support pipes shall be minimum 25mm NB.The steps shall be designed to ensure safety of children while climbimg without trapping their legs, all as per specifications and as directed by the Engineer-in-Charge. | 2.00 | Nos | 32646.65 | 35000.00 | 70000.00 | 70000.00 | MEKKAVAN CIVIL CONTRACTOR
36.00 | Providing and Fixing of double arch swing the arch shaped side frames shall be made of GI pipe of minimum 80mm NB.The top frame pipe shall be minimum 50mm NB.The swimgs shall be made of anti skid material minimum 10mm thick with rubber reinforcement to withstand weight of children.The chain material shall be GI with suitable coating material,Suitable bearings to be provided for free swinging, all as per specifications and as directed by the Engineer-in-Charge. | 2.00 | Nos | 36776.65 | 45000.00 | 90000.00 | 90000.00 | MEKKAVAN CIVIL CONTRACTOR
37.00 | Providing and Fixing of Standard see-saw the sea saw main support pipe shall be minimum 40mm and other pipes shall be minimum 15mm GI material.The pipes shall be powder coated.The seat of see saw shall be made of molded plastic.The bearing shall be rugged and Heavy duty application compatible, all as per specifications and as directed by the Engineer-in-Charge. | 2.00 | Nos | 22813.35 | 25000.00 | 50000.00 | 50000.00 | MEKKAVAN CIVIL CONTRACTOR
38.00 | Supply and installation of 1 inch PVC conduit 2mm thick with ISI mark for concealed wiring. Make: Modi / Precision | 160.00 | RM | 91.20 | 150.00 | 24000.00 | 24000.00 | MEKKAVAN CIVIL CONTRACTOR
39.00 | Supply and installation of 1 inch PVC conduit bend/ coupling 2mm thick with ISI mark for concealed wiring. Make: Modi / Precision. | 40.00 | Nos | 24.80 | 35.00 | 1400.00 | 1400.00 | MEKKAVAN CIVIL CONTRACTOR
40.00 | Supply and installation of Heavy PVC / Metal Fan Box. | 4.00 | Nos | 194.40 | 180.00 | 720.00 | 720.00 | MEKKAVAN CIVIL CONTRACTOR
41.00 | Supply and installation of 4 way / 3 way / 2 way 1 inch PVC deep and wall junction box for concealed wiring. Make: Modi / Precision | 30.00 | Nos | 47.00 | 75.00 | 2250.00 | 2250.00 | MEKKAVAN CIVIL CONTRACTOR
42.00 | Supply and installation of 4M GI box with cover plate for fixing modular switch. Make: L&T / Legrand / Anchor. | 4.00 | Nos | 284.80 | 200.00 | 800.00 | 800.00 | MEKKAVAN CIVIL CONTRACTOR
43.00 | Supply and installation of 6M GI box with cover plate for fixing modular switch. Make: L&T / Legrand / Anchor. | 4.00 | Nos | 410.60 | 350.00 | 1400.00 | 1400.00 | MEKKAVAN CIVIL CONTRACTOR
44.00 | Supply and installation of 12M GI box with cover plate for fixing modular switch. Make: L&T / Legrand / Anchor. | 2.00 | Nos | 734.60 | 600.00 | 1200.00 | 1200.00 | MEKKAVAN CIVIL CONTRACTOR
45.00 | Supply and installation of ceiling rose with PVC dummy sheet. Make: Anchor / Colors / Fybros. | 18.00 | Nos | 73.20 | 90.00 | 1620.00 | 1620.00 | MEKKAVAN CIVIL CONTRACTOR
46.00 | Supply and installation of 4 feet 20W to 24W 230V AC, LED tube light. Make: Philips / CG/ Bajaj / Suriya. | 16.00 | Nos | 326.60 | 300.00 | 4800.00 | 4800.00 | MEKKAVAN CIVIL CONTRACTOR
47.00 | Supply and installation of High Speed / Heavy duty Ceiling fan complete with 450mm to 600 mm down rod, safety (hanging) rope, canopies, shackles and blades working on 230/240V single phase AC, 1200 mm sweep, 370 to 425 rpm. Make: Usha / Havells / CG / Bajaj / Polar / Almonard. | 4.00 | Nos | 3143.20 | 3500.00 | 14000.00 | 14000.00 | MEKKAVAN CIVIL CONTRACTOR
48.00 | Supply and installation of 12" Heavy duty Exhaust fan with ISI Make:Bajaj/Usha/Havells/Polar/CG | 2.00 | Nos | 3558.00 | 4500.00 | 9000.00 | 9000.00 | MEKKAVAN CIVIL CONTRACTOR
49.00 | Supply and installation of 20 W to 25 W LED 230V AC ceiling / surface mounted fitting. Make: CG / Philips/Suriya/ Bajaj. | 6.00 | Nos | 1227.80 | 1200.00 | 7200.00 | 7200.00 | MEKKAVAN CIVIL CONTRACTOR
50.00 | Supply and installation of 1 way 6A/10A modular switch. Make: Anchor-Roma / Crabtree. | 28.00 | Nos | 79.40 | 90.00 | 2520.00 | 2520.00 | MEKKAVAN CIVIL CONTRACTOR
51.00 | Supply and installation of 6A/10A , 3 pin modular socket.Make: Anchor-Roma / Crabtree. | 8.00 | Nos | 159.00 | 150.00 | 1200.00 | 1200.00 | MEKKAVAN CIVIL CONTRACTOR
52.00 | Supply and installation of SPN 4 way double door DB. Make: L&T/Legrand. | 2.00 | Nos | 1604.80 | 1800.00 | 3600.00 | 3600.00 | MEKKAVAN CIVIL CONTRACTOR
53.00 | Supply and installation of 2-Pole 25 Amps., 30mA ELCB/RCCB Make: L&T / Legrand. | 2.00 | Nos | 2344.40 | 2500.00 | 5000.00 | 5000.00 | MEKKAVAN CIVIL CONTRACTOR
54.00 | Supply and installation of 1-Pole 6A / 10A MCB. Make: L&T / Legrand. | 4.00 | Nos | 255.20 | 350.00 | 1400.00 | 1400.00 | MEKKAVAN CIVIL CONTRACTOR
55.00 | Supply and laying of 2.5 sq.mm single core multistrand FRLS copper wire. Make: Finolex / Havells / Zflex / orbit. | 660.00 | RM | 43.20 | 38.00 | 25080.00 | 25080.00 | MEKKAVAN CIVIL CONTRACTOR
56.00 | Supply and laying of 4.0 to 6.0 sq.mm single core multistrand FR / FRLS Aluminium wire Make: Finolex / Havells / RR Kabel / KEI / orbit. | 600.00 | RM | 50.24 | 20.00 | 12000.00 | 12000.00 | MEKKAVAN CIVIL CONTRACTOR
57.00 | Supply and installation of earth electrode 2mm thick pipe of 60mm dia and 3m length including the construction of 2x2 feet earth chamber with precast concrete lid. | 2.00 | Nos | 11171.00 | 10000.00 | 20000.00 | 20000.00 | MEKKAVAN CIVIL CONTRACTOR
58.00 | Supply and Laying of 1 run 8SWG Solid copper wire for earthing. | 100.00 | RM | 201.76 | 200.00 | 20000.00 | 20000.00 | MEKKAVAN CIVIL CONTRACTOR
59.00 | Supply and installation of Material required for TNEB Connection as per Tamil nadu Govt. current norms (Single Phase). | 2.00 | Nos | 10808.00 | 15000.00 | 30000.00 | 30000.00 | MEKKAVAN CIVIL CONTRACTOR
| Total in Figures |  |  |  |  | 5355250.00
Lowest Amount Quoted BY: MEKKAVAN CIVIL CONTRACTOR(5355250.00)

## BOQ Summary
BOQ Summary Details Tender Title: MAPS/CTC/CSR/PUBLIC/ET883/2024 Tender ID: 2024_NPCIL_211293_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MEKKAVAN CIVIL CONTRACTOR (BID ID -764096) | 5355250.00 | L1