## BoQ1
Government eProcurement System Created By: Arun Kumar Tiwari Created Date/Time: 02-Jan-2025 11:51 AM Tender Title: Construction of Foundation, Shielding Wall, Roof Slab and Trench for Scrubber Tank of CFV System for NAPS 2 and Erection and Installation of Scrubber tank of CFVS of NAPS 2 Tender ID: 2024_NPCIL_212252_1
Tender Inviting Authority: Maintenance Superintendent, NAPS, Narora
Name of Work: Construction of Foundation, Shielding Wall, Roof Slab & Trench for Scrubber Tank of CFV System for NAPS-2 and Erection and Installation of Scrubber Tank of CFVS of NAPS-2.
Contract No: NAPS/CTC/CVL/2024/CPPP/PT/1118
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Technical Construction Co. (GSTN-NA) BID ID -767535 |  | KHAN CONTRACTOR (GSTN-NA) BID ID -767209 |  | ROYAL ENGINEERING SERVICES (GSTN-NA) BID ID -767730 |  | Goswami Furniture House (GSTN-NA) BID ID -768659
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part-I (Civil)- Earth work in excavation for foundation, drains, trenches etc. in soil upto required depth upto 6 M or greater depth as required, including ..... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-1 of item description of Annexure-D of Technical specification. | 515.00 | CuM |  | 750.00 | 386250.00 | 1286.00 | 662290.00 | 800.00 | 412000.00 | 950.00 | 489250.00 | 386250.00 | Technical Construction Co.
2.00 | Part-I (Civil)- Breaking of brick work / plain cement concrete (PCC) (plastered/unplastered) and stacking of all usable material in civil stores, disposal of all rubbish and brick bats up to a lead of 3 Km by tractor trolley and other suitable equipment as per direction of EIC. | 45.00 | CuM |  | 1000.00 | 45000.00 | 1786.00 | 80370.00 | 1250.00 | 56250.00 | 1875.00 | 84375.00 | 45000.00 | Technical Construction Co.
3.00 | Part-I (Civil)- Breaking of reinforced cement concrete , including cutting steel bars and stacking of all usable material in civil stores, disposal of all rubbish up to a lead of 3 Km by tractor trolley and other suitable equipment as per direction of EIC. | 17.00 | Cum |  | 2000.00 | 34000.00 | 5786.00 | 98362.00 | 2000.00 | 34000.00 | 3185.00 | 54145.00 | 34000.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
4.00 | Part-I (Civil)- Providing and laying M-15 Concrete (Minimum Compressive Strength 150 Kg. / cm2 ) machine batched and machine mixed using graded stone aggregate 20 mm maximum size and down graded including scaffolding, formwork, mixing, pouring, mechanical vibrating, consolidation, finishing, curing by hessian bags and making removable cement bunds where ever applicable etc. ... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-4 of item description of Annexure-D of Technical specification. | 29.00 | CuM |  | 7850.00 | 227650.00 | 10786.00 | 312794.00 | 7000.00 | 203000.00 | 8500.00 | 246500.00 | 203000.00 | ROYAL ENGINEERING SERVICES
5.00 | Part-I (Civil)- Supplying and laying M-20 concrete (minimum compressive strength 200 Kg /cm2) using graded stone aggregate 20mm maximum size for different works (beam, Columns, Footing, slab etc. wherever required.) including mixing, consolidation, finishing, application of vibrator and curing etc. complete as per specification and drawing etc. complete. (Cement content is 350 kg/M3). ......Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-5 of item description of Annexure-D of Technical specification. | 7.50 | CuM |  | 8500.00 | 63750.00 | 11786.00 | 88395.00 | 7500.00 | 56250.00 | 9000.00 | 67500.00 | 56250.00 | ROYAL ENGINEERING SERVICES
6.00 | Part-I (Civil)- Supplying and laying Reinforced / unreinforced cement concrete grade M-30 (complying to IS 456 and IS 10262) machine batched and machine mixed with suitable arrangement for transporting the concrete to laying site and at all heights....... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-6 of item description of Annexure-D of Technical specification. | 265.00 | CuM |  | 10000.00 | 2650000.00 | 14786.00 | 3918290.00 | 13500.00 | 3577500.00 | 12000.00 | 3180000.00 | 2650000.00 | Technical Construction Co.
7.00 | Part-I (Civil)- Supplying and laying 115mm thick soling with brick {average size-225mmx105mmx65mm (± 5mm)} of minimum compressive strength 70 kg / cm2 including leveling, compaction and dressing the surface by cutting, transporting and filling the earth, complete to the required level and shape laying bricks with joints staggered and filling with 1:6 cement mortar and disposal of surplus earth upto a level of 3Km all as per specification and direction of Engineer. | 300.00 | SqM |  | 450.00 | 135000.00 | 986.00 | 295800.00 | 600.00 | 180000.00 | 768.00 | 230400.00 | 135000.00 | Technical Construction Co.
8.00 | Part-I (Civil)- Supplying and placing in position T.M.T bars as per specifications and drawings (TMT bars properties Conforming to IS-1786), for all reinforced cement concrete work including cutting, bending, fabricating, fixing and tying in position with 16 gauge soft drawn annealed binding wire with chairs, ...... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-8 of item description of Annexure-D of Technical specification. | 59.00 | MT |  | 95000.00 | 5605000.00 | 141786.00 | 8365374.00 | 107000.00 | 6313000.00 | 110000.00 | 6490000.00 | 5605000.00 | Technical Construction Co.
9.00 | Part-I (Civil)- Providing and preparing New Form-work using steel plates , timber planks, and steel supports, framework etc. as per requirement for concreting including oiling & cutting the formwork to required profile including centering , shuttering ,strutting, propping, staging , fixing and removal including...... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-9 of item description of Annexure-D of Technical specification. | 945.00 | SqM |  | 700.00 | 661500.00 | 1486.00 | 1404270.00 | 1250.00 | 1181250.00 | 1000.00 | 945000.00 | 661500.00 | Technical Construction Co.
10.00 | Part-I (Civil)- Supply, laying & compacting the earth, brought from outer side for back filling (not excavated from site it self) in and around the structures the layers not exceeding 150mm including watering, consolidation, compaction by vibratory compactor, roller or any suitable equipment to achieve at least 95% of the compaction density obtainable at optimum moisture content (Proctor density). ....Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-10 of item description of Annexure-D of Technical specification. | 15.00 | CuM |  | 700.00 | 10500.00 | 686.00 | 10290.00 | 500.00 | 7500.00 | 800.00 | 12000.00 | 7500.00 | ROYAL ENGINEERING SERVICES
11.00 | Part-I (Civil)- Supplying and laying bricks masonry using brick {average size-225mmx105mmx65mm (± 5mm)} and minimum compressive strength 100 kg / cm2 and water absorption not more than 20% with cement mortar 1:4 at all elevation including simultaneous pointing below plinth level and racking out joints above ground level, curing, Scaffolding etc. complete. | 25.00 | CuM |  | 5500.00 | 137500.00 | 7786.00 | 194650.00 | 5500.00 | 137500.00 | 7000.00 | 175000.00 | 137500.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
12.00 | Part-I (Civil)- Providing 12 mm thick cement plaster in cement mortar 1:3 to concrete or brick surface, etc. at all heights including preparation of surface hacking, removing of loose materials, cleaning of joints, finishing curing, provision of steel scaffolding, disposal of rubbish, all complete as per direction of EIC. | 630.00 | SqM |  | 400.00 | 252000.00 | 586.00 | 369180.00 | 475.00 | 299250.00 | 500.00 | 315000.00 | 252000.00 | Technical Construction Co.
13.00 | Part-I (Civil)- Supplying, fabrication, bolting erecting and embedding structural steel of materials as per IS:2062 Grade E250 Quality-A, IS-2062 Grade-A (BR or any other quality designation ), IS:1239, IS:1363 , SA 53 GR-2 or equivalent , SA 234 Gr.-B carbon steel as mentioned in drawings or any other grade of carbon steel including pipes, angles, flats, tee, plate, welded mesh, canopy, stud bolts of EP with required threading , etc...... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-13 of item description of Annexure-D of Technical specification. | 7.75 | MT |  | 150000.00 | 1162500.00 | 286786.00 | 2222591.50 | 220000.00 | 1705000.00 | 270000.00 | 2092500.00 | 1162500.00 | Technical Construction Co.
14.00 | Part-I (Civil)- Providing and placing in position PVC water stops 225mm wide, 7-12mm thick conforming to IS:15058 for construction / expansion joints and fixed to the reinforcement with binding wire before pouring concrete etc. complete. | 390.00 | RM |  | 500.00 | 195000.00 | 786.00 | 306540.00 | 550.00 | 214500.00 | 600.00 | 234000.00 | 195000.00 | Technical Construction Co.
15.00 | Part-I (Civil)- Supply, fabrication and erection of stainless steel ( SA 240 TP 304L, SA 312 TP 304L or any other material required as per drawing) angles, pipes, tee, liner, railing, Hollow tubes, channels, plates ,angles, flats, embedded parts (EPs), puddle flange, elbow , tee etc........ Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-15 of item description of Annexure-D of Technical specification. | 530.00 | Kg |  | 1000.00 | 530000.00 | 1326.00 | 702780.00 | 900.00 | 477000.00 | 1065.00 | 564450.00 | 477000.00 | ROYAL ENGINEERING SERVICES
16.00 | Part-I (Civil)- Supplying and applying two coat of Exterior plastic emulsion paint (Water thinable) with one coat exterior primer, brand of Asian paints Apex Ultima or AkzoNobel, Dulux Weathershield Ultra Clean over existing painted/new all type of surface at all heights ......... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-16 of item description of Annexure-D of Technical specification. | 275.00 | SqM |  | 250.00 | 68750.00 | 246.00 | 67650.00 | 150.00 | 41250.00 | 200.00 | 55000.00 | 41250.00 | ROYAL ENGINEERING SERVICES
17.00 | Part-I (Civil)- Supply & Application of Epoxy Paint of approved brands make Asian- Apcodur CF 641/ 641CS / Berger- protectomatic (Epoxy top coat) / Kansai Nerolac- Neromastic 400 NPK (Epoxy top coat). mixed with epoxy thinner, in two coats on new concrete / plastered / metal surface on floor / wall/ ceilings and filling holes /crack/undulations with epoxy putty mix with silica powder...... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-17 of item description of Annexure-D of Technical specification. | 250.00 | SqM |  | 350.00 | 87500.00 | 526.00 | 131500.00 | 400.00 | 100000.00 | 280.00 | 70000.00 | 70000.00 | Goswami Furniture House
18.00 | Part-I (Civil)- Supply & Application of Inorganic Zinc silicate epoxy primer of make M/s Berger-Zinc Anode 304 NPC / M/s Asian Apcosil 605/ M/s Nerolac- Nerosil 118 NP. make in one coat on new concrete / plastered / metal surface on floor / wall/ ceilings and filling holes /crack/undulations with epoxy paint putty mix...... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-18 of item description of Annexure-D of Technical specification. | 250.00 | SqM |  | 300.00 | 75000.00 | 526.00 | 131500.00 | 350.00 | 87500.00 | 300.00 | 75000.00 | 75000.00 | Technical Construction Co., Goswami Furniture House
19.00 | Part-I (Civil)- Providing, laying and fixing in position 150mm nominal diameter Double flanged centrifugally (Spun) cast iron Pipe as per IS:1536, socket and spigot ventilation pipes and fittings (Fitting as per IS:1729) including cost of all fittings like bends, offset tees, tapers, collars, connection plugs, shoes, cowls and clamps.....Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-19 of item description of Annexure-D of Technical specification. | 1450.00 | Kg |  | 250.00 | 362500.00 | 416.00 | 603200.00 | 250.00 | 362500.00 | 260.00 | 377000.00 | 362500.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
20.00 | Part-I (Civil)- Providing, Laying and Casting Plain Cement Concrete (PCC) of M10 grade minimum cement 220Kg/ CuM including all Formwork, Placing, Compacting by using suitable means such as surface vibrators etc. Curing by hessian , curing compound etc...... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-20 of item description of Annexure-D of Technical specification. | 11.00 | CuM |  | 6000.00 | 66000.00 | 8286.00 | 91146.00 | 5000.00 | 55000.00 | 6000.00 | 66000.00 | 55000.00 | ROYAL ENGINEERING SERVICES
21.00 | Part-I (Civil)- Supply, fabrication of left in place structural steel and carbon steel shuttering of roof top slab of shielding wall as per drawing & technical specification complete, including fabrication using different sections of mild steel and carbon steel as per drawing. The scope of item also includes similar & dissimilar welding of members as per IS:800, bolting, fitting riveting, etc........ Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-21 of item description of Annexure-D of Technical specification. | 4.00 | MT |  | 160000.00 | 640000.00 | 236786.00 | 947144.00 | 200000.00 | 800000.00 | 191500.00 | 766000.00 | 640000.00 | Technical Construction Co.
22.00 | Part-I (Civil)- Providing and fixing hand rail of G.I. Pipe of approved size by welding etc. to steel ladder railing, staircase/roof railing and similar works, including providing, cutting, hoisting, fixing in position/ embedding in concrete..... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-22 of item description of Annexure-D of Technical specification. | 620.00 | Kg |  | 200.00 | 124000.00 | 276.00 | 171120.00 | 180.00 | 111600.00 | 225.00 | 139500.00 | 111600.00 | ROYAL ENGINEERING SERVICES
23.00 | Part-I (Civil)- Supplying and Applying two coat of synthetic enamel paint of make Asian Paint Apcolite Premium Gloss Enamel / Berger Luxol Hi-Gloss Enamel to walls, railing, pipe, Embedded part etc. including preparation surface with sand papering, applying compatible putty over the entire surface, scaffolding etc. all complete as per specification and direction of Engineer-in-charge.... Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-23 of item description of Annexure-D of Technical specification. | 200.00 | SqM |  | 120.00 | 24000.00 | 131.43 | 26285.50 | 130.00 | 26000.00 | 200.00 | 40000.00 | 24000.00 | Technical Construction Co.
24.00 | Part-I (Civil)- Supplying and applying Two part Gun grade Poly sulphide sealant as per BS-4254-1983 in joints of RCC of shielding wall, slab, around EP, on shielding trench cover etc. including erection of scaffolding as required for applying polysulphide to joints etc. all complete. Note- (1) Payment will be on the basis of weight of poly sulphide applied in joints. | 200.00 | Kg |  | 900.00 | 180000.00 | 1486.00 | 297200.00 | 1100.00 | 220000.00 | 1000.00 | 200000.00 | 180000.00 | Technical Construction Co.
25.00 | Part-I (Civil)- Providing , fixing, embedding in concrete as required 50 NB G.I. Pipes 'medium type' as per IS-1239 (part-1) complete with GI fittings and clamps, including cutting etc. | 8.00 | RM |  | 1200.00 | 9600.00 | 686.00 | 5488.00 | 650.00 | 5200.00 | 750.00 | 6000.00 | 5200.00 | ROYAL ENGINEERING SERVICES
26.00 | Part-I (Civil)- Providing externally Rough cast plaster upto all height with a mixture of sand and gravel or crushed stone from 6 mm to 10 mm nominal size, dashed over and including the fresh plaster in two layers, under layer 12 mm cement plaster 1:4 (1 cement : 4 coarse sand) and top layer 10 mm cement plaster 1:3 (1 cement : 3 fine sand) mixed with crushed stone as per above and 2% water proofing compound by weight of cement including all scaffolding, making grooves at the junction of brick and concrete surface, hacking of concrete surface, scarifying the under layer, curing all complete as per the direction of engineer-in-charge. | 120.00 | SqM |  | 500.00 | 60000.00 | 686.00 | 82320.00 | 600.00 | 72000.00 | 550.00 | 66000.00 | 60000.00 | Technical Construction Co.
27.00 | Part-I (Civil)- Supplying fabrication, erecting, fixing and embedding cutting of thread of foundation bolt, stud bolt, Anchor bolt of material as specified in drawings at the specified level and orientation ,to be checked using suitable levelling instrument such , total station. (Weight of these bolts will not be paid separately in item pertaining to fabrication of St. steel / Stainless steel). Test certificate is required pertaining to material conformance to relevant IS code , material will be sent for third party testing at the risk and cost of contractor .
27.01 | Part-I (Civil)- Anchor bolt M36 X 4P X 1150mm length, of material as per IS:2062 grade E250 quality BR and threads as per IS:14962 (Part-3)-2001 and thread length 125mm. | 32.00 | Nos |  | 3000.00 | 96000.00 | 3686.00 | 117952.00 | 3500.00 | 112000.00 | 3600.00 | 115200.00 | 96000.00 | Technical Construction Co.
27.02 | Part-I (Civil)- M36 X 4 Hex nut, Lock nut and washer of material as per IS: 1363. | 32.00 | Set |  | 500.00 | 16000.00 | 586.00 | 18752.00 | 650.00 | 20800.00 | 600.00 | 19200.00 | 16000.00 | Technical Construction Co.
28.00 | Part-I (Civil)- Back filling of excavated useful soil obtained from item no. 1 around the foundation in layers not exceeding 150mm as per requirement including collecting the earth, watering, consolidation, compaction by vibratory compactor, roller or any suitable equipment as feasible to use in limited space at site to achieve at least 95% of the compaction density obtainable at optimum moisture content (Proctor density)......Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-28 of item description of Annexure-D of Technical specification. | 430.00 | CuM |  | 700.00 | 301000.00 | 186.00 | 79980.00 | 200.00 | 86000.00 | 200.00 | 86000.00 | 79980.00 | KHAN CONTRACTOR
29.00 | Part-II (ERECTION WORKS)- Shifting and installation of CFVS scrubber tank on the constructed foundation with the deployment of suitable trailor, mobile crane, manpower etc. all complete as per technical specification part II: Erection works. | 1.00 | Nos |  | 500000.00 | 500000.00 | 1486786.00 | 1486786.00 | 1500000.00 | 1500000.00 | 1045701.00 | 1045701.00 | 500000.00 | Technical Construction Co.
30.00 | Part-II (ERECTION WORKS)- Shifting, Erection & installation of left in place shuttering of roof slab of shielding wall fabricated as per item no. 21 of Part-1. The scope of item includes shifting , lifting , placing in position , of left in place shuttering using proper lifting machinery (like mobile crane, hydra , etc of required capacity ) and other mechanicals tools & equipments required to carry out the job by ensuring all the safety precautions and measures. Also, contractor has to ensure the installation of left in shuttering at proper place, all the connections must be in good condition and placed as per drawing & technical specifications . The scope also includes , welding , bolting , riveting etc. that may be required to be carried out of left in place shuttering after its placing in position .Note- 1. Contractor has to ensure proper barricading of the area during execution of the job. 2. Contractor must adhere to all the instructions given by F&IS section of NAPS during execution of the work. 3. Payment will be on the basis of each number of left in place shuttering erected and installed over shielding wall of each unit. | 1.00 | Nos |  | 300000.00 | 300000.00 | 346786.00 | 346786.00 | 285000.00 | 285000.00 | 290000.00 | 290000.00 | 285000.00 | ROYAL ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 15006000.00 |  | 23636786.00 |  | 18738850.00 |  | 18596721.00
Lowest Amount Quoted BY: Technical Construction Co.(15006000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Foundation, Shielding Wall, Roof Slab and Trench for Scrubber Tank of CFV System for NAPS 2 and Erection and Installation of Scrubber tank of CFVS of NAPS 2 Tender ID: 2024_NPCIL_212252_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Technical Construction Co. (BID ID -767535) | 15006000.00 | L1
| 2 | Goswami Furniture House (BID ID -768659) | 18596721.00 | L2
| 3 | ROYAL ENGINEERING SERVICES (BID ID -767730) | 18738850.00 | L3
| 4 | KHAN CONTRACTOR (BID ID -767209) | 23636786.00 | L4