## BoQ1
Government eProcurement System Created By: Shashikant Songire Created Date/Time: 20-Feb-2025 02:59 PM Tender Title: Miscellaneous Repairs and Maintenance to Civil Structures at TAPS 1and2, TMS Site. Tender ID: 2024_NPCIL_215497_1
Tender Inviting Authority: Chief Superintendent, TAPS-1&2
Name of Work: Miscellaneous Repairs & Maintenance to Civil Structures at TAPS 1&2, TMS Site.
Contract No: TMS / C&MM-WORKS / CIVIL-1&2 / 2024 / 2543
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Technical Construction Co. (GSTN-NA) BID ID -790820 |  | P. N. MORE (GSTN-NA) BID ID -790719
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Miscellaneous work Dismantling tile work / paver blocks in floors and roofs laid in cement mortar including stacking material within 100 m lead For thickness of tiles above 40 mm. | 1920.00 | Sq.M | 1.25 | 60.00 | 115200.00 | 100.00 | 192000.00 | 115200.00 | Technical Construction Co.
2.00 | Dismantling steel work in single sections including dismantling and stacking within 100 m lead in R.S Joists, Angles etc. | 6.00 | M.T. | 0.00 | 15000.00 | 90000.00 | 10000.00 | 60000.00 | 60000.00 | P. N. MORE
3.00 | Dismantling brick work in Cement mortar carefully without damaging adjacent structures including stacking of materials and disposal of unserviceable materials within 100 m lead as per direction of Engineer-in-charge | 15.00 | Cu.M. | 0.00 | 1200.00 | 18000.00 | 1500.00 | 22500.00 | 18000.00 | Technical Construction Co.
4.00 | Dismantling of RCC works including Cutting and stacking of steel reinforcement bars and disposal of unserviceable materials within 100 m lead as per direction of Engineer-in-charge | 15.00 | Cu.M. | 0.00 | 2500.00 | 37500.00 | 1700.00 | 25500.00 | 25500.00 | P. N. MORE
5.00 | Dismantling of RCC works carefully manually without damaging adjacent structures excluding cutting of reinforcement including stacking of steel reinforcement bars and disposal of unserviceable materials within 200 m lead as per direction of Engineer-in-charge | 9.00 | Cu.M. | 0.00 | 2500.00 | 22500.00 | 1800.00 | 16200.00 | 16200.00 | P. N. MORE
6.00 | Dismantling old plaster / skirting carefully , raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 100 m lead | 420.00 | Sq.M | 0.00 | 60.00 | 25200.00 | 70.00 | 29400.00 | 25200.00 | Technical Construction Co.
7.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 100 m lead For thickness of tiles above 10 mm and up to 25 mm | 195.00 | Sq.M | 0.00 | 60.00 | 11700.00 | 100.00 | 19500.00 | 11700.00 | Technical Construction Co.
8.00 | Dismantling roofing including ridges, valleys and gutter etc and stacking the material within 50 m lead
8.01 | G.S Sheet / FRP Sheet / AC Sheet | 820.00 | Sq.M | 0.00 | 120.00 | 98400.00 | 300.00 | 246000.00 | 98400.00 | Technical Construction Co.
9.00 | Earth work excavation by mechanical means (Hydraulic excavator)/manual means in all types of soil other than soft and hard rock, dressing the sides of foundation, ramming of bottom etc. including shoring and dewatering (if necessary) and refilling with selected excavated earth in layers of not more than 500mm thick, each layer well rammed and consolidated including disposing the surplus earth with in a distance of 200 m all as per specifications including clearing Jungle, uprooting of vegetation, grass, etc. complete and as directed by the Engineer-in-charge
9.01 | From 0.00 to 1.50 m depth from Average Ground Level | 920.00 | Cu.M. | 0.00 | 800.00 | 736000.00 | 500.00 | 460000.00 | 460000.00 | P. N. MORE
10.00 | Lead charges for 1st 1 KM or part thereof, by mechanical transport including loading unloading, stacking / levelling for soil etc. Note: The rates in respect of Item Nos 1 is applicable for NET Quantities arrived at after making deduction for voids @ 20% in respect of soil and @ 50% in respect of Rock from corresponding STACK / TRUCK Measurement | 370.00 | Cu.M. | 0.00 | 300.00 | 111000.00 | 350.00 | 129500.00 | 111000.00 | Technical Construction Co.
11.00 | Murum filling under floors of specified thickness in layers of not more than 150 mm thickness including supplying required materials and consolidation etc. complete (Murrum to be brought from out side campus of BARC) | 210.00 | Cu.M. | 0.00 | 1200.00 | 252000.00 | 1100.00 | 231000.00 | 231000.00 | P. N. MORE
12.00 | Supplying, Stacking and Laying of 150 mm thick rubble soling stones as under floor base including packing with smaller stone and compacting, ramming including spreading and consolidation of blinding material, moorum etc. complete all as per specifications and as irected by the Engineer-in-charge | 3890.00 | Sq.M. | 0.00 | 700.00 | 2723000.00 | 700.00 | 2723000.00 | 2723000.00 | P. N. MORE, Technical Construction Co.
13.00 | Providing and laying in position cement concrete of 1:2:4 (1 cement, 2 crushed sand, 4 graded stone aggregate of nominal size 20 mm) including consolidation, finishing, curing etc. complete as per specification and drawings but excluding the cost of Formwork shuttering, centering and steel reinforcement at all Levels | 440.00 | Cu.M. | 0.00 | 7000.00 | 3080000.00 | 7000.00 | 3080000.00 | 3080000.00 | P. N. MORE, Technical Construction Co.
14.00 | Providing and laying in position Reinforced Cement Concrete (RCC) of grade M-30 using 20mm maximum size aggregates and crushed sand of approved quality including admixtures of approved brand and quality (plasticiser or super plasticiser) if required, including weigh batching, mechanical mixing, transporting, placing, vibrating, consolidation, finishing, curing etc. complete but excluding the cost of centering, shuttering and reinforcement complete as per specifications up to Plinth Level. | 130.00 | Cu.M. | 0.00 | 9000.00 | 1170000.00 | 9000.00 | 1170000.00 | 1170000.00 | P. N. MORE, Technical Construction Co.
15.00 | Providing , centering ,shuttering Form work using PVC film faced plywood to get a neat form finish surface for all types of structures including necessary strutting, proping, staging, supports etc and deshuttering the same after the specified time all as per drawings, specifications and as directed by the Engineer-in-charge at all levels
15.01 | For Super Structure | 260.00 | Sq.M | 0.00 | 700.00 | 182000.00 | 800.00 | 208000.00 | 182000.00 | Technical Construction Co.
16.00 | Providing and laying in situ cement concrete M-30 with tremix treatment for 150mm thickness for Concrete Road is including laying plastic sheet for 125micron thickness with groove cutting of 4mm wide and 20mm deep with necessary refilling with bitumen (excluding reinforcement ) with coarse and fine aggregate (naturals and/VSI grade finely washed crushed sand ) etc. complete with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/concrete Batch mix plant (Pan mixer) etc. complete. | 80.00 | Cu.M | 0.00 | 9000.00 | 720000.00 | 9500.00 | 760000.00 | 720000.00 | Technical Construction Co.
17.00 | Providing and fixing in position 25 mm thick Joint filler board of approved make in expansion joints to the required size and shape, placing and keeping in position complete as per specifications and drawings and as directed by the Engineer in charge. | 60.00 | Sq.M | 0.00 | 900.00 | 54000.00 | 700.00 | 42000.00 | 42000.00 | P. N. MORE
18.00 | Providing Reinforcement Steel for reinforced cement concrete at all levels including supplying, preparation of bar bending schedules, cutting, bending, transporting, fixing, tieing in position with VC coated G.I binding wire, all labour charges, cost of cover blocks in specified grade of concrete etc. complete as per specifications and drawings.
18.01 | Steel supplied by the contractor Upto and including 32mm dia reinforcement: Using TMT bars of specified grades. TMT bars to be supplied by vendors as per Approved Vendor list of BARC using virgin materials | 5.50 | M.T. | 0.00 | 110000.00 | 605000.00 | 110000.00 | 605000.00 | 605000.00 | P. N. MORE, Technical Construction Co.
19.00 | Providing Structural steel work using angles, channels, joists and other sections, welded and / or bolted in built up sections for trusses , structural steel floors, frame works, monorails and other structures including supplying, cutting, welding, fabricating, oisting, fixing in position, applying a priming coat of approved steel primer etc. complete all as per specifications, drawings and as directed by the Engineer in charge
19.01 | Up to and including 300 mm Joists, 350 mm channels, and below sections using materials from Approved vendor of BARC. | 1.20 | M.T. | 0.00 | 130000.00 | 156000.00 | 125000.00 | 150000.00 | 150000.00 | P. N. MORE
20.00 | Providing, supplying, cutting, welding, fabricating, hoisting and fixing in position structural steel members like trusses, purlins, posts etc. using MS hollow / circular / square / rectangular tubular sections including applying a coat of Zinc chromate primer of approved make all as per specifications, drawings and as directed by the Engineer in charge | 1.00 | M.T. | 0.00 | 140000.00 | 140000.00 | 125000.00 | 125000.00 | 125000.00 | P. N. MORE
21.00 | Providing and fixing concertina barbed tape coil of following dia. made from M.S galvanized ribbon tape of 0.5 mm thickness, 19 mm width stretching the coil to 9 m approximate, fixing the coil with clips between "Y" armed and MS angle posts 2.44 m high from ground level, including supplying and fixing MS galvanized clips etc. complete as per manufacturer's specification and including painting by dipping method the concertina tape coil with two coats of synthetic enamel paint of approved shade and make over a coat of approved primer at fabrication shop, before bringing the material to the site and fixing in position etc.complete as directed by the Engineerin-charge.
21.01 | 600/ 610 mm Dia Concertina coils | 100.00 | RM | 0.00 | 450.00 | 45000.00 | 600.00 | 60000.00 | 45000.00 | Technical Construction Co.
22.00 | Fencing with RCC post placed at required distance, embedded n cement concrete blocks every 15th post, last but one end post and corner post shall be strutted on both sides and end post one side only, provided with horizontal lines and two diagonals of barbed wire 9.38 kg per 100 metres (min) between the two posts fitted and fixed with G.I. staples on wooden plugs or G.I. binding wire tied to 6 mm bar nibs fixed while casting the post etc. complete as directed by the Engineer-in-charge. (cost of RCC posts, struts, earth work and concrete to be paid for separately) : Payment to be made per metre cost of total length of barbed wire used
22.01 | With G.I. barbed wire 12 swg | 1000.00 | Meter | 0.00 | 25.00 | 25000.00 | 30.00 | 30000.00 | 25000.00 | Technical Construction Co.
23.00 | Providing and fixing GI chain link fabric fencing Made of GI wire of dia 4 mm of required width in mesh size 50 x 50 mm including strengthening with 2mm dia wire or nuts, bolts and washers as requeid complete as per direction of Engineer-in-charge. | 320.00 | Sq.M | 0.00 | 700.00 | 224000.00 | 950.00 | 304000.00 | 224000.00 | Technical Construction Co.
24.00 | Providing and constructing Random Rubble masonry using approved Rubble stone in super structure (above plinth) in C.M 1:6 (using crushed sand) including raking out joints or simultaneous flush pointing above ground level / plinth level and up to and including 20 m height including scaffolding, curing etc. complete as per drawings and specifications. | 50.00 | Cu.M. | 0.00 | 5000.00 | 250000.00 | 7000.00 | 350000.00 | 250000.00 | Technical Construction Co.
25.00 | Providing 15 mm thick Internal plaster in cement mortar 1:4 without cement punning (using Crushed Sand) finished smooth, including sieving of sand to required fineness, preparation of the surface, scaffolding, curing all as per specifications, drawings and as directed at site complete. | 125.00 | Sq.M | 0.00 | 500.00 | 62500.00 | 700.00 | 87500.00 | 62500.00 | Technical Construction Co.
26.00 | Providing 20 mm thick External plastering in two coats under layer 12 mm thick with C.M 1:4 (using crushed sand) finished with a top layer 8 mm thick in C. M 1:3 (using crushed sand) including approved water proofing compound @ 2% by weight of cement or as per manufacturer's specifications, sieving of sand to required fineness, scaffolding up to 10 metres height, finishing, curing etc. complete as per specifications. and as directed by the Engineer-in-charge | 310.00 | Sq.M | 0.00 | 600.00 | 186000.00 | 800.00 | 248000.00 | 186000.00 | Technical Construction Co.
27.00 | Providing and applying white cement based wall putty of approved make over concrete or Plastered surface up to 3 mm thick to get uniform surface free from undulation including cleaning complete all as directed by the Engineer-in-charge | 120.00 | Sq.M | 0.00 | 100.00 | 12000.00 | 130.00 | 15600.00 | 12000.00 | Technical Construction Co.
28.00 | Providing and fixing Glazed VITRIFIED floor tiles of approved make in different sizes conforming to IS 15622 in all colours and shades in Glossy or Matt or satin finish laid over a bed of minimum 20 mm thick bed of cement mortar 1:4 (using Crushed sand) and jointing with tile spacers & epoxy based Tile Grout of approved make and matching shade complete as per patterns, drawings and specifications complete as directed by the Engineer-in-charge
28.01 | Using Tiles of size 600 X 600 mm | 60.00 | Sq.M | 0.00 | 1600.00 | 96000.00 | 2000.00 | 120000.00 | 96000.00 | Technical Construction Co.
29.00 | Providing and fixing Glazed VITRIFIED wall tiles of approved make in different sizes conforming to IS 15622 in all colours and shades in Glossy or Matt or satin finish laid over a bed of minimum 20 mm thick bed of cement mortar 1:4 (using Crushed sand) and jointing with tile spacers & epoxy based Tile Grout of approved make and matching shade complete as per patterns, drawings and specifications complete as directed by the Engineer-in-charge
29.01 | Using Tiles of size 600 X 600 mm | 205.00 | Sq.M | 0.00 | 600.00 | 123000.00 | 2100.00 | 430500.00 | 123000.00 | Technical Construction Co.
30.00 | Providing and fixing at and near ground level precast cement concrete 1:2:4 in kerbs, edgings etc. as per approved patterns and setting in position with C.M 1:3 (using crushed sand) including consolidation, curing, cost of required centering, shuttering, finishing smooth with 6 mm thick cement plaster 1:3 (using crushed sand) on exposed surfaces complete as per specifications and as directed by the Engineer-in-charge | 11.00 | Cu.M. | 0.00 | 15000.00 | 165000.00 | 11000.00 | 121000.00 | 121000.00 | P. N. MORE
31.00 | Providing and fixing at all levels, precast members using cement concrete 1:2:4 (1 cement, 2 crushed sand, 4 graded stone aggregate of max. size 20 mm) in, copings and / or bed blocks, plain window sills, shelves, louvers, steps, staircases, trench covers, drain covers etc. including hoisting and setting in position with C.M 1:3 (using crushed sand) cost of required centering, shuttering and finishing smooth with 6 mm thick cement plaster 1:3 (using Crushed sand) on exposed surfaces complete as per specifications at all levels. Notes: (1) All projections, fins etc in the concrete surface formed at the joints in formwork shall be ground & flush and finished at no extra cost. 2) Angle frame of precast covers shall be trial tested before placement of concrete at no extra cost. 3) Reinforcement steel, lifting hooks & structural steel sections for inserts, sleeves, frame, nosing etc. shall be measured & paid under separate items. | 8.40 | Cu.M. | 0.00 | 8000.00 | 67200.00 | 14000.00 | 117600.00 | 67200.00 | Technical Construction Co.
32.00 | Providing and fixing vitreous China wash basin of approved make and colour with C.I. brackets,15 m C.P. brass pillar tap of approved make,15 mm x 600mm long PVC Inlet connection, 32 mm heavy quality C.P. brass waste coupling of standard pattern, including painting of fittings and brackets, cutting and making good the walls and testing complete all as per specifications and asdirected by the Engineer-in-charge
32.01 | White vitreous China counter top / counter below wash basin size 560 x 410 mm / 560 x 450 mmwith single 15 mm C.P. brass pillar tap (OVAL / ROUND Models). | 10.00 | Each set | 0.00 | 7500.00 | 75000.00 | 22000.00 | 220000.00 | 75000.00 | Technical Construction Co.
33.00 | Providing and fixing white vitreous china European type Water Closet with 'P' or 'S' Trap with solid seat and lid of approved make, 10 litre low level white PVC flushing cistern with manually controlled device (handle lever) conforming to IS:7231, flush bend, fixing EWC with C.P brass screws, 15 mm PVC heavy quality inlet connection of 450 mm long, including testing , commissioning & cleaning etc. complete all as per drawings and specifications and as directed by the Engineer-in-charge
33.01 | E.W.C. pan in White colour with ISI marked white solid plastic seat and lid. | 7.00 | Each | 0.00 | 9000.00 | 63000.00 | 17000.00 | 119000.00 | 63000.00 | Technical Construction Co.
34.00 | Providing and fixing white vitreous china flat back half stall urinal size 580x380x350 mm / 610 mm of approved make Aquaseal model with Push cock of approved make, with CP brass flush pipe unions, heavy quality C.P. brass spreaders, C.P waste coupling with dome grating, clamps complete all as per specifications drawings and as directed by the Engineer-in-charge.
34.01 | Rectangular shape 1500x450 mm Mirror with Plastic moulded frame | 10.00 | Each | 0.00 | 1500.00 | 15000.00 | 20000.00 | 200000.00 | 15000.00 | Technical Construction Co.
35.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.
35.01 | 15 mm nominal dia Pipes | 30.00 | Meter | 0.00 | 240.00 | 7200.00 | 300.00 | 9000.00 | 7200.00 | Technical Construction Co.
35.02 | 25 mm nominal dia Pipes | 24.00 | Meter | 0.00 | 500.00 | 12000.00 | 400.00 | 9600.00 | 9600.00 | P. N. MORE
36.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.External work
36.01 | 40 mm nominal dia Pipes | 18.00 | Meter | 0.00 | 1150.00 | 20700.00 | 400.00 | 7200.00 | 7200.00 | P. N. MORE
37.00 | Providing and fixing C.P Brass open stop cock of Heavy Quality of specified / approved make as per specifications and as directed by the Engineer-in-charge
37.01 | 15 mm n.b CP Brass open stop cock of approved make and type | 25.00 | Nos | 0.00 | 700.00 | 17500.00 | 1200.00 | 30000.00 | 17500.00 | Technical Construction Co.
37.02 | 20 mm n.b CP brass open stop cock of approved make and type | 12.00 | Nos | 0.00 | 700.00 | 8400.00 | 1500.00 | 18000.00 | 8400.00 | Technical Construction Co.
38.00 | Providing and fixing C.P brass bib cock of heavy quality of specified / approved make as per specifications and as directed by the Engineer-in-charge
38.01 | 20 mm dia C.P brass bib cock of approved make | 15.00 | No | 0.00 | 850.00 | 12750.00 | 2000.00 | 30000.00 | 12750.00 | Technical Construction Co.
39.00 | Providing and fixing in position suspended false ceiling system using 12 mm thick calcium silicate boards (HILUX ceiling systems) 100% humidity resistance, incombustible as per BS476 part IV with thermal conductivity of 0.043 w/m KC placed in a suspended grid of size of 600x 600mm made of hot-dipped G.I steel sections wherein the ceiling sections of 0.55 mm thick shall be suspended at 1200 mm centres along the length of ceiling with 4mm dia G.I wires/ 1 mm thick strip hangers made of G.I sheet sections with necessary level adjusters and inter channels of 0.90mm thick with connecting clips and resting on the periphery walls on wall angles of 0.55 mm thickness including providing necessary openings for light fixtures, diffusers, trap doors etc to be made as per layout drawings and as per directions of Engineer-in-charge. The main tees to be suspended from the ceiling/ soffit with the help of metal dash fasteners of 6mmx50mm, soffit clits of 25mmx35mmx1.60mm and 4mm dia G.I wire with galvanised spring steel levelling clips/ G.I strip Hangers at 600mm centers . the entire grid system shall be designed to bear a distributed load of minimum 25 kg/Sq.m (Only calcium silicate false ceiling area will be measured for the purpose of payment) | 500.00 | Sq.M | 0.00 | 3000.00 | 1500000.00 | 2200.00 | 1100000.00 | 1100000.00 | P. N. MORE
40.00 | Providing at all heights, levels and locations Aluminium profile industrial troughed sheet of Alloy 31500/31000/40800, conforming to IS 1254, IS 737, IS 2676. The Sheet shall be fixed using self drilling/self tapping SS screws of size 5.5 X 65 mm with EPDM seal complete upto required pitch in horizontal, vertical or curved surfaces i/c cutting to size and shape where required as per specifications detail drawings and direction of Engineer-In-Charge. The rate shall be inclusive of all screws, seal, ridge, labour, scaffolding,machinery for fixing and approved sealent where required etc, but excluding the cost purlins, rafters and trusses.
40.01 | 0.71 mm thick, the profile detail width 1044/920 mm, cover width 1000/875 mm. | 620.00 | Sq.M | 0.00 | 1600.00 | 992000.00 | 1250.00 | 775000.00 | 775000.00 | P. N. MORE
41.00 | Providing and fixing 9 mm thick pre-laminated particle board flat pressed 3 layer or graded wood particle board conforming to IS 12823 Grade-I, Type - II in panelling fixed in aluminium doors, windows, shutters and partition frames with C.P brass /stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge Prelaminated particle board with decorative lamination on both sides | 25.00 | Sq.M | 0.00 | 1500.00 | 37500.00 | 2000.00 | 50000.00 | 37500.00 | Technical Construction Co.
42.00 | Providing, supplying and fixing hollow metal flush steel doors 40 mm thick of approved make consisting of door frame and shutters and all hardware fittings, frame made out of 14g thick G.I sheets and shutters made of 16g thick sheets, hollow portion filled with puff, including necessary stiffeners in shutters and frame, vision panel of specified size with 4 mm glass and clip on pressed steel frame for vision panels, fixing 4 nos heavy duty stainless steel 304 grade ball bearing, fire tested stainless steel butt hinges of size 100 x 75 x 3.00 mm (heavy weight) of approved make with suitable stainless steel screws, mortise / dead lock of approved make, a pair of 200 mm long stainless steel handles, 250 mm long stainless steel tower bolt, etc. frame hollow portion filled with PCC 1:2:4, necessary hold fast embedded in concrete, fixing in concrete with anchor fasteners. finished with Polyurethane painting of approved colour complete all as per drawings and specifications and as directed by the Engineer-in-charge | 25.00 | Sq.M | 0.00 | 8000.00 | 200000.00 | 16000.00 | 400000.00 | 200000.00 | Technical Construction Co.
43.00 | Providing and fixing IS: 3564 marked aluminium die cast body tubular type universal hydraulic door closer 80-120Kg Capacity of approved make with necessary accessories and screws etc. in wooden doors / steel doors with necessary bolts & nuts complete as per specifications and as directed by the Engineer-in-charge. | 40.00 | No | 0.00 | 1800.00 | 72000.00 | 2000.00 | 80000.00 | 72000.00 | Technical Construction Co.
44.00 | Providing and fixing FRP door shutters flush door / panelled type with plain colour or wooden veneer finish of approved make, design & colour. made out of 1.5mm thick FRP skin moulded over wooden frame work of 40 mm wide and required thickness wooden styles and minimum100mm wide lock rail sand woden blocks for door stoppers, towerbolts, baby latch, aldrop, handles etc. wherever required and core filled with Polyurethane Foam and fixing with 4Nos100mm (ISI marked) stainless steel hinges with S.S. wood screws.
44.01 | 30 mm thick panelled door type of approved colours including the cost of ISI marked 100 mm heavy quality stainless steel butt hinges with necessary screws. | 25.00 | Sq.M | 0.00 | 4000.00 | 100000.00 | 4900.00 | 122500.00 | 100000.00 | Technical Construction Co.
45.00 | Providing and fixing anodized aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections / Z sections and other sections of approved make conforming to IS 733 and IS 1285 fixed with rawl plugs and screws or with fixing clips or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC / neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, aluminium snap beading for glazing / panelling, C.P brass / stainless screws all complete as per drawings and and directions of Engineer-in-charge including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required including the cost of PVC / neoprene gasket required filling the gaps using silicon grout sealant etc. (fittings glazing and panelling shall be paid for separately)
45.01 | Anodised Aluminium sections (Minimum anodizing thickness of 15 micron) | 270.00 | Kg. | 0.00 | 750.00 | 202500.00 | 900.00 | 243000.00 | 202500.00 | Technical Construction Co.
46.00 | Providing and fixing glazing in aluminium doors, window, ventilator shutters and partitions etc with PVC / Neoprene gasket etc. complete as per the architectural drawings and directions of the Engineer-in-charge (Cost of snap beading shall be paid in basic item)
46.01 | With toughened float glass panes of 5.00 mm thickness | 50.00 | Sq.M | 0.00 | 1200.00 | 60000.00 | 2000.00 | 100000.00 | 60000.00 | Technical Construction Co.
47.00 | Portland Cement (OPC-43 Grade) | 10.00 | Tonne | 0.00 | 8500.00 | 85000.00 | 490.00 | 4900.00 | 4900.00 | P. N. MORE
48.00 | Coarse sand (zone III) | 30.00 | Cu.M. | 0.00 | 2500.00 | 75000.00 | 2500.00 | 75000.00 | 75000.00 | P. N. MORE, Technical Construction Co.
49.00 | Stone Aggregate (Single size) : 10 mm nominal size | 30.00 | Cu.M. | 0.00 | 2500.00 | 75000.00 | 1800.00 | 54000.00 | 54000.00 | P. N. MORE
50.00 | Stone Aggregate (Single size) : 20 mm nominal size | 30.00 | Cu.M. | 0.00 | 2500.00 | 75000.00 | 1800.00 | 54000.00 | 54000.00 | P. N. MORE
51.00 | Autoclaved aerated cement (AAC) blocks of diferent sizes | 20.00 | Cu.M. | 0.00 | 4500.00 | 90000.00 | 4800.00 | 96000.00 | 90000.00 | Technical Construction Co.
52.00 | Providing and Fixing 2.00 mm thick Anti-Static PVC sheet / tile in flooring and skirting of approved make in approved pattern on a smooth and damp proof base using rubber based adhesive of approved quality and manufacturer including levelling small undulations with plaster of paris if required, Copper foil strips as per manufacturers specifications, rolling with light wooden roller weighing about 5 kg all complete as directed by Engineer-in-charge in approved colour and shade | 340.00 | Sq.M | 0.00 | 1500.00 | 510000.00 | 1500.00 | 510000.00 | 510000.00 | P. N. MORE, Technical Construction Co.
53.00 | The Graduate in Civil Engineering with one year experience in Civil Construction/Maintenance works. Contractor shall submit work profile of the candidate to the ENC for interview before appointment. The candidate shall be able to carry out the Supervision of Construction & Maintenance works, measurements of Civil works, billings, maintaining records of works, Preparation of Job Hazard Analysis, Work Procedure & other activities related to works as per the directions of ENC. The person should have basic knowledge of computer operation & shall be able to operate Visitor Management System, Works Contract Management Systems, Radiological Work Permit, Industrial Safety Permits etc. | 568.00 | Per Task | 0.00 | 2200.00 | 1249600.00 | 1800.00 | 1022400.00 | 1022400.00 | P. N. MORE
54.00 | The Diploma in Civil Engineering with 5 year in Civil Construction/Maintenance works. Contractor shall submit work profile of the candidate to the ENC for interview before appointment. The candidate shall be able to carry out the Supervision of Construction & Maintenance works, measurements of Civil works, billings, maintaining records of works, Preparation of Job Hazard Analysis, Work Procedure & other activities related to works as per the directions of ENC. The person should have basic knowledge of computer operation & shall be able to operate Visitor Management System, Works Contract Management Systems, Radiological Work Permit, Industrial Safety Permits etc. | 568.00 | Per Task | 0.00 | 2200.00 | 1249600.00 | 1800.00 | 1022400.00 | 1022400.00 | P. N. MORE
55.00 | Assisting services of Data entry operator for day to day Computer Data Entry, preparation of Bills in Co-Manas system, upkeep of all records, files, reports and all other works of Civil section. Generally eight hours working (duty) in a day per person shall be considered as one Task. | 568.00 | Per Task | 0.00 | 2000.00 | 1136000.00 | 1650.00 | 937200.00 | 937200.00 | P. N. MORE
56.00 | Skilled meson | 568.00 | Per Task | 0.00 | 1800.00 | 1022400.00 | 1650.00 | 937200.00 | 937200.00 | P. N. MORE
57.00 | Unskilled Labour | 1740.00 | Per Task | 0.00 | 1550.00 | 2697000.00 | 1600.00 | 2784000.00 | 2697000.00 | Technical Construction Co.
58.00 | Contingencies Operation / Task for item No 53&54 above | 1155.00 | Per Hr. | 0.00 | 400.00 | 462000.00 | 330.00 | 381150.00 | 381150.00 | P. N. MORE
59.00 | Contingencies Operation / Task for item No 56 above | 290.00 | Per Hr. | 100.00 | 350.00 | 101500.00 | 245.00 | 71050.00 | 71050.00 | P. N. MORE
60.00 | Contingencies Operation / Task for item No 57 above | 1730.00 | Per Hr. | 53.00 | 310.00 | 536300.00 | 210.00 | 363300.00 | 363300.00 | P. N. MORE
61.00 | Providing and fixing 10 mm thick flooring with acid and alkali resistant tiles of approved make and colour as per IS 4457 using acid and / or alkali resistant mortar bedding and joints filled with acid and / or alkali resisting Epoxy for 5 to 8 mm depth over a bed of Bitumastic compound 8 to 10 mm layer and bitumastic primer complete as per the direction of the Engineer-in-charge In flooring over a bed of minimum 10 mm thick acid proof mortar with acid and / or alkali resistant tiles of size 300 X 300 X 10 mm of approved colour including providing required slopes and levels (this work to be carried out through approved specialized agency) complete as per specifications and as directed by the Engineer-in-charge. | 55.00 | Sq.M | 10.00 | 3000.00 | 165000.00 | 800.00 | 44000.00 | 44000.00 | P. N. MORE
62.00 | 3 mm thick translucent white acrylic plastic sheet | 180.00 | Sq.M | 11.00 | 1800.00 | 324000.00 | 700.00 | 126000.00 | 126000.00 | P. N. MORE
63.00 | Providing and fixing Minimum 17 mm thick gang saw cut mirror polished (premoulded and prepolished) machine cut Granite of Telephone Black colour for kitchen platforms, vanity counters, Wash basin Counters, Door Frames, window sills, facias and similar locations of required size, colour and texture laid over 20 mm thick base cement mortar 1:4 (using crushed sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing the edges to give high gloss finish etc. complete as directed by the Engineer-in-charge at all levels | 25.00 | Sq.M | 11.00 | 5000.00 | 125000.00 | 5000.00 | 125000.00 | 125000.00 | P. N. MORE, Technical Construction Co.
64.00 | 12 mm thick translucent white acrylic plastic sheet | 30.00 | Sq.M | 10.00 | 6000.00 | 180000.00 | 3500.00 | 105000.00 | 105000.00 | P. N. MORE
65.00 | Providing and fixing 2mm thick fire resistant, Anti microbial, non-porous - hard PVC wall cladding system for clean room, kitchens and canteens using compatible adhesive and seamless welding of approved color including all required accessores, etc complete. | 250.00 | Sq.M | 22.00 | 4000.00 | 1000000.00 | 5000.00 | 1250000.00 | 1000000.00 | Technical Construction Co.
66.00 | Add extra for polymer adhesive in place of cement mortar for Item No. 28 & 29 | 106.00 | Sq.M | 0.00 | 500.00 | 53000.00 | 100.00 | 10600.00 | 10600.00 | P. N. MORE
67.00 | APPLICABLE TOTAL GST RATE (%) INCLUDED IN THE QUOTED PRICE:
67.01 | CGST RATE(%)
67.02 | SGST RATE(%)
67.03 | IGST RATE(%)
| Total in Figures |  |  |  |  | 26210150.00 |  | 25665300.00
Lowest Amount Quoted BY: P. N. MORE(25665300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Repairs and Maintenance to Civil Structures at TAPS 1and2, TMS Site. Tender ID: 2024_NPCIL_215497_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P. N. MORE (BID ID -790719) | 25665300.00 | L1
| 2 | Technical Construction Co. (BID ID -790820) | 26210150.00 | L2