## BoQ1
Government eProcurement System Created By: Sonu Kumar Rai Created Date/Time: 21-Feb-2025 03:45 PM Tender Title: GEOTECHNICAL INVESTIGATIONS Tender ID: 2024_NPCIL_216789_1
Tender Inviting Authority: Maintenance Superintendent, NAPS, Narora
Name of Work: Geo-technical investigations, field & laboratory tests for Dyke wall of Narora Atomic Power Station-1&2 (NAPS-1&2) at Narora, District Bulandshahr, Uttar Pradesh.
Contract No: NAPS/CTC/CVL/2024/CPPP/PT/1125
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Cengrs Geotechnica Pvt. Ltd. (GSTN-07AAACC0043N1ZW) BID ID -777561 |  | SKW SOIL AND SURVEY CO (GSTN-27AAPPW9137M1ZL) BID ID -779827 |  | CEG Test House And Research Centre Pvt. Ltd. (GSTN-08AACCC6227A1Z5) BID ID -780689 |  | Fugro Geotech (India) Pvt. Ltd. (GSTN-27AAACF4381L1ZE) BID ID -791733
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Rotary boring/ drilling of "SX" (150mm) size and ‘NX’(75 mm ) size holes and enlarging to "SX" (150mm) size in progressive manner, by first making "SX" size hole upto the depth of UDS collection, , collecting suitable number of UDS as per drawing and schedule in a 150 mm hole, then making a 75 mm borehole for PMT test, conducting the PMT test , then enlarging it to 150 mm, ........Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-1 of item description of Annexure-D of Technical specification.
1.01 | 0 M to 25 M | 150.00 | RM |  | 7300.00 | 1095000.00 | 12500.00 | 1875000.00 | 2950.00 | 442500.00 | 9499.00 | 1424850.00 | 442500.00 | CEG Test House And Research Centre Pvt. Ltd.
1.02 | Providing and installing permanent new PVC casing of hX size dia in the already drilled SX size holes including filling the annular space by Bentonite / other suitable material as directed by EIC along with necessary coupling, cutting, threading etc. complete, in the above specified drilled holes, wherever asked for by the Engineer. | 150.00 | RM |  | 600.00 | 90000.00 | 1500.00 | 225000.00 | 4130.00 | 619500.00 | 1486.80 | 223020.00 | 90000.00 | Cengrs Geotechnica Pvt. Ltd.
2.00 | Conducting Standard Penetration Test (SPT) in the bore holes @ every 3m depth and / or change of strata in all the bore hole,. Collecting & Packing SPT samples from split spoon sampler, proper sealing using wax etc. and transport to laboratory for testing suitably as per Technical Specification and IS codes. Note: The scope of the item shall also include safe retrieval, packaging, supply of core boxes, sealing, labelling, preservation of SPT spoon samples in the manner as specified in IS 4078: 1980 and other applicable code. Core Boxes made up of GI sheets (GI sheet of thickness not less than 0.60 mm conforming to IS 277:2003 shall be sturdy) | 50.00 | Nos |  | 425.00 | 21250.00 | 500.00 | 25000.00 | 590.00 | 29500.00 | 708.00 | 35400.00 | 21250.00 | Cengrs Geotechnica Pvt. Ltd.
3.00 | Obtaining Undisturbed tube / piston soil samples, 90 mm diameter & 450 mm long from all depths of the drilled boreholes, necessary sealing and transporting the same to testing laboratory as per specifications and as directed by the engineer. Note: Bidder should study the sample borelogs to understand the soil type expected to be encountered for sampling. Collection of undisturbed samples will require deployment of special samplers viz. Mazier/Denision etc considering the silty sand strata at site. Samples to be collected before conducting SPT in the bore holes. As an alternate acceptance, 2 nos. of Undisturbed samples of size 75mm diameter & 300mm long may be permitted but it will be considered as one no. of sample for payment purpose. | 50.00 | Nos |  | 650.00 | 32500.00 | 500.00 | 25000.00 | 5900.00 | 295000.00 | 3127.00 | 156350.00 | 25000.00 | SKW SOIL AND SURVEY CO
4.00 | Carrying out pressure meter tests (PMT) by volume increment method in soil upto 100 bars or as required in homes at specified depths for estimation of modulus of elasticity of soil etc. as per ASTM 4719 and ISO 22476-4 and other relevant code, technical specification and drawings in selected boreholes as directed by Engineer in charge and establishment of Elastic Modulus and Deformation modulus. Note- 50% payment will be released after conducting the test at site, 30% on submission of draft report along with required data and remaining payment will be released after review and acceptance of final report by NPCIL. | 8.00 | Nos |  | 47500.00 | 380000.00 | 175000.00 | 1400000.00 | 206500.00 | 1652000.00 | 47790.00 | 382320.00 | 380000.00 | Cengrs Geotechnica Pvt. Ltd.
5.00 | Plugging of bore holes with the cement in-situ soil grout (1:6) of flowing consistency after the completion of all the tests in the bore holes as per the direction and clearance of the Engineer etc all complete. Note: The grouting of the hole shall be done using a tremie extending upto bottom of the hole and raising the same as the grouting proceeds. | 150.00 | RM |  | 400.00 | 60000.00 | 1000.00 | 150000.00 | 5900.00 | 885000.00 | 283.20 | 42480.00 | 42480.00 | Fugro Geotech (India) Pvt. Ltd.
6.00 | LABORATORY TESTS ON SOIL SAMPLES- Conducting Grain size analysis, particle size & percent fines distribution of soil and soil classification (IS 1498), (Sieve analysis & Hydrometer or Pipette analysis) including Grain Size Distribution curve as per drawings, specifications, IS 2720 (part4) and as directed by the Engineer on disturbed soil sample from SPT or undisturbed samples as per specifications, IS 2720 (Part4) and as directed by the Engineer. | 50.00 | Nos |  | 250.00 | 12500.00 | 900.00 | 45000.00 | 295.00 | 14750.00 | 637.20 | 31860.00 | 12500.00 | Cengrs Geotechnica Pvt. Ltd.
7.00 | LABORATORY TESTS ON SOIL SAMPLES- Conducting index properties of soil such as Liquid limit, plastic limit and plasticity index etc as per drawings, specification, IS 2720 (Part 5), IS 9259 on undisturbed soil samples and direction of the Engineer. Three tests of each soil sample will be considered as one set. | 50.00 | Set |  | 400.00 | 20000.00 | 900.00 | 45000.00 | 295.00 | 14750.00 | 1239.00 | 61950.00 | 14750.00 | CEG Test House And Research Centre Pvt. Ltd.
8.00 | LABORATORY TESTS ON SOIL SAMPLES- Conducting Specific gravity as per specification, drawings, IS 2720 (Part 3) and as directed by the Engineer. Three tests of each soil sample will be considered as one set. | 50.00 | Set |  | 250.00 | 12500.00 | 400.00 | 20000.00 | 295.00 | 14750.00 | 1239.00 | 61950.00 | 12500.00 | Cengrs Geotechnica Pvt. Ltd.
9.00 | LABORATORY TESTS ON SOIL SAMPLES- Conducting tests for bulk density and natural moisture content from the undisturbed samples collected from selected bore holes as per drawings, specifications, IS 2720 and as directed by the Engineer. Note: One set will comprise of one test each for bulk density and natural moisture content. | 50.00 | Set |  | 300.00 | 15000.00 | 600.00 | 30000.00 | 295.00 | 14750.00 | 531.00 | 26550.00 | 14750.00 | CEG Test House And Research Centre Pvt. Ltd.
10.00 | LABORATORY TESTS ON SOIL SAMPLES- Conducting chemical analysis of undisturbed soil samples or disturbed SPT soil samples coated with wax including total soluble solids, organic matter, Calcium carbonate, cation exchange capacity, silica sesquioxide ratio, sulphates as SO4, Chlorides and PH as per drawing, specification, IS 2720 (Part 21,22,23,24,25,26, & 27) and as directed by the Engineer. | 2.00 | Nos |  | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 2360.00 | 4720.00 | 4425.00 | 8850.00 | 4000.00 | SKW SOIL AND SURVEY CO
11.00 | LABORATORY TESTS ON SOIL SAMPLES- Conducting Consolidation test on undisturbed soil samples, giving full test results including e - log p curve, virgin curves, C,e, av, Cc , etc as per drawing and relevant IS code:2720 Part 15. | 6.00 | Nos |  | 350.00 | 2100.00 | 2000.00 | 12000.00 | 1770.00 | 10620.00 | 1711.00 | 10266.00 | 2100.00 | Cengrs Geotechnica Pvt. Ltd.
12.00 | LABORATORY TESTS ON SOIL SAMPLES- Excavating a pit of size 1m x 1m x 1.5m (Depth) and obtaining and collecting the excavated earth and conducting compaction test on re-moulded soil sample as per drawings, specifications and as directed by the Engineer.
12.01 | Using light compaction as per IS:2720-Part-VII. | 2.00 | Nos |  | 5900.00 | 11800.00 | 3000.00 | 6000.00 | 3540.00 | 7080.00 | 10620.00 | 21240.00 | 6000.00 | SKW SOIL AND SURVEY CO
12.02 | Using heavy compaction as per IS:2720 – Part-VIII. | 2.00 | Nos |  | 5900.00 | 11800.00 | 3000.00 | 6000.00 | 5900.00 | 11800.00 | 11564.00 | 23128.00 | 6000.00 | SKW SOIL AND SURVEY CO
13.00 | LABORATORY TESTS ON SOIL SAMPLES- Conducting triaxial compressive strength test on undisturbed soil samples or on remoulded soil samples as per drawings, specifications, relevant IS 2720 (Part-11 & 12) and as directed by the Engineer.
13.01 | Triaxial compressive strength ( consolidated undrained type) | 3.00 | Nos |  | 590.00 | 1770.00 | 1800.00 | 5400.00 | 2360.00 | 7080.00 | 6490.00 | 19470.00 | 1770.00 | Cengrs Geotechnica Pvt. Ltd.
13.02 | Triaxial compressive strength ( consolidated drained type) | 3.00 | Nos |  | 590.00 | 1770.00 | 1800.00 | 5400.00 | 2950.00 | 8850.00 | 7670.00 | 23010.00 | 1770.00 | Cengrs Geotechnica Pvt. Ltd.
14.00 | LABORATORY TESTS ON GROUND WATER SAMPLES-Collecting ground water samples as applicable at specified depths from drill holes (minimum 2 litres) and conducting full chemical analysis of water sample as per relevant IS code in an approved laboratory, complete as per drawing, specifications, including submission of test reports.
14.01 | Determination of turbidity. | 1.00 | Nos |  | 590.00 | 590.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 767.00 | 767.00 | 590.00 | Cengrs Geotechnica Pvt. Ltd.
14.02 | PH Value determination. | 1.00 | Nos |  | 590.00 | 590.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 295.00 | 295.00 | 295.00 | Fugro Geotech (India) Pvt. Ltd.
14.03 | Alkalinity determination. | 1.00 | Nos |  | 590.00 | 590.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 885.00 | 885.00 | 590.00 | Cengrs Geotechnica Pvt. Ltd.
14.04 | Chlorides content determination. | 1.00 | Nos |  | 590.00 | 590.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 767.00 | 767.00 | 590.00 | Cengrs Geotechnica Pvt. Ltd.
14.05 | Sulphates content determination. | 1.00 | Nos |  | 590.00 | 590.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 767.00 | 767.00 | 590.00 | Cengrs Geotechnica Pvt. Ltd.
14.06 | Nitrites content determination | 1.00 | Nos |  | 590.00 | 590.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 885.00 | 885.00 | 590.00 | Cengrs Geotechnica Pvt. Ltd.
14.07 | Nitrates content determination | 1.00 | Nos |  | 590.00 | 590.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 885.00 | 885.00 | 590.00 | Cengrs Geotechnica Pvt. Ltd.
14.08 | Flourides content determination | 1.00 | Nos |  | 590.00 | 590.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 1003.00 | 1003.00 | 590.00 | Cengrs Geotechnica Pvt. Ltd.
14.09 | Free & Saline ammonia content determination. | 1.00 | Nos |  | 590.00 | 590.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 1003.00 | 1003.00 | 590.00 | Cengrs Geotechnica Pvt. Ltd.
14.10 | Determination of hardness. | 1.00 | Nos |  | 885.00 | 885.00 | 600.00 | 600.00 | 1180.00 | 1180.00 | 649.00 | 649.00 | 600.00 | SKW SOIL AND SURVEY CO
15.00 | REPORT SUBMISSION OF THE SURVEYS, TESTS, INVESTIGATIONS AND FOUNDATION PARAMETERS- Preparation and submission of comprehensive draft ( 2 Copies ) and final ( 6 copies) reports of all the tests, field investigations, laboratory tests etc. in the scope of this tender as detailed in various schedules, Technical specifications, drawings inclusive of bore logs, Compilation, interpretation, analysis of the data, recommendations of the foundation design parameters found out from the tests, as per AERB Guide no. AERB /NPP/SG/CSE-2 or other codes as directed by NPCIL. Final report shall be submitted after the draft interim copy is approved by NPCIL. Also submission of .....Note- for complete item description please refer Annexure-D of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-15 of item description of Annexure-D of Technical specification. | 1.00 | Lumpsump |  | 925000.00 | 925000.00 | 300000.00 | 300000.00 | 324500.00 | 324500.00 | 1538720.00 | 1538720.00 | 300000.00 | SKW SOIL AND SURVEY CO
| Total in Figures |  |  |  |  | 2707185.00 |  | 4184800.00 |  | 4368950.00 |  | 4099320.00
Lowest Amount Quoted BY: Cengrs Geotechnica Pvt. Ltd.(2707185.00)

## BOQ Summary
BOQ Summary Details Tender Title: GEOTECHNICAL INVESTIGATIONS Tender ID: 2024_NPCIL_216789_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Cengrs Geotechnica Pvt. Ltd. (BID ID -777561) | 2707185.00 | L1
| 2 | Fugro Geotech (India) Pvt. Ltd. (BID ID -791733) | 4099320.00 | L2
| 3 | SKW SOIL AND SURVEY CO (BID ID -779827) | 4184800.00 | L3
| 4 | CEG Test House And Research Centre Pvt. Ltd. (BID ID -780689) | 4368950.00 | L4