## BoQ1
Government eProcurement System Created By: RAGHU L Created Date/Time: 10-Feb-2025 04:22 PM Tender Title: Construction of additional infra. facilities for CMM at KKNPP 3 to 6 Tender ID: 2024_NPCIL_217521_1
Tender Inviting Authority: CCE, KK-5&6
Name of Work: Construction of additional infra. facilities for CMM at KKNPP 3 to 6
Contract No: NPCIL/KK-5&6/CONST/CIVIL-INFRA/PT/2024/171
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RKANDSONS (GSTN-33AAEFR1671C1ZN) BID ID -794953 |  | C.KATHIRESAN (GSTN-NA) BID ID -791535 |  | S.A.V.Constructions (GSTN-NA) BID ID -792592
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work excavation by mechanical means(hydraulic excavator)/manual means for foundation, trenches etc., in all types of soils below ground level including shoring, strutting, bailing / pumping of water, leveling, ramming the bottom of excavation, refilling with selected excavated materials in the sides of the foundation in layers, consolidating and disposing off the surplus earth at places as directed with in a lead of 2 Kms all as per drawings and specifications. - up to 1.5m ht | 686.00 | Cu. Meter |  | 144.00 | 98784.00 | 144.00 | 98784.00 | 200.00 | 137200.00 | 98784.00 | C.KATHIRESAN, RKANDSONS
2.00 | Earth work excavation by mechanical means(hydraulic excavator)/manual means in Soft rock in foundation, trenches etc. including shoring, shrutting wherever required bailing/pumping of water, leveling the bottom of excavation and refilling selected excavated materials and consolidating in the sides of foundation and disposing the surplus materials at places as directed within a lead of 2 Kms all as per drawings and specifications. | 1030.00 | Cu. Meter |  | 281.00 | 289430.00 | 234.00 | 241020.00 | 325.00 | 334750.00 | 241020.00 | C.KATHIRESAN
3.00 | Filling with selected earth in layers of not more than 150 mm thick compacted layer, each layer well rammed, watered and consolidated as per drawings and specifications. Selected earth shall be brought from within a lead of 2 Km (including excavation soil as directed) | 995.00 | Cu. Meter |  | 135.00 | 134325.00 | 90.00 | 89550.00 | 125.00 | 124375.00 | 89550.00 | C.KATHIRESAN
4.00 | Providing and laying plain cement concrete 1:4:8 using 40 mm and down graded stone aggregate at all height including mechanical mixing, leveling, compaction, vibrating, shuttering, finishing smooth the exposed surfaces of concrete, curing etc complete as per drawings and standard specifications. | 87.00 | Cu. Meter |  | 4158.00 | 361746.00 | 5400.00 | 469800.00 | 5000.00 | 435000.00 | 361746.00 | RKANDSONS
5.00 | Providing and laying plain cement concrete 1:2:4, using 20 mm and down graded stone aggregate at all height including mechanical mixing, leveling, compaction, vibrating, scaffolding, shuttering, finishing smooth the exposed surfaces of concrete, curing etc complete as per drawings and standard specifications. | 46.00 | Cu. Meter |  | 4791.00 | 220386.00 | 6300.00 | 289800.00 | 6300.00 | 289800.00 | 220386.00 | RKANDSONS
6.00 | Designing providing and laying M30 Grade controlled concrete mix meeting requirements of table-5 of IS-456, using 20mm and down graded stone aggregates including Mixing ,Ramming, Compaction, leveling, curing, placing at all lifts, including scaffolding and finishing smooth all exposed faces complete as per specification. | 851.00 | Cu. Meter |  | 5194.00 | 4420094.00 | 6750.00 | 5744250.00 | 7000.00 | 5957000.00 | 4420094.00 | RKANDSONS
7.00 | Providing ,placing in position and removing Form work for all insitu concrete works including scaffolding etc., complete at all elevations as per drawing and specification (measurement for form work shall be the area of forms in contact with concrete surfaces) | 3370.00 | Sq. Meter |  | 693.00 | 2335410.00 | 450.00 | 1516500.00 | 700.00 | 2359000.00 | 1516500.00 | C.KATHIRESAN
8.00 | Providing cutting ,bending placing and tying mild steel, high yield steel reinforcement in RCC works including providing spacer blocks in CM 1:2, binding wires etc.complete at all elevations as per drawings and specifications including dewatering wherever necessary etc complete as per drawings and specifications | 44.00 | MT |  | 72856.00 | 3205664.00 | 85500.00 | 3762000.00 | 100000.00 | 4400000.00 | 3205664.00 | RKANDSONS
9.00 | Providing Pre-construction anti-termite treatment using chlorpyriphos emulsifiable concentrate 20 % with 1 % concentration as per specifications. Note: The contractor shall furnish from the agency carrying out this work under this item a written guarantee in favour of NPCIL for the satisfactory performance of the treatment for a period of ten years. | 2350.00 | Sq. Meter |  | 80.00 | 188000.00 | 110.00 | 258500.00 | 175.00 | 411250.00 | 188000.00 | RKANDSONS
10.00 | Providing and constructing cement concrete block masonry of minimum M5 grade conforming to IS-2185 of latest version , using solid blocks of Approved size , cement mortar 1:4 by volume, for walls in super structure for all locations and elevations including scaffolding, racking out joints, curing etc complete as per drawings and specifications | 438.00 | Cu. Meter |  | 6106.00 | 2674428.00 | 5400.00 | 2365200.00 | 7500.00 | 3285000.00 | 2365200.00 | C.KATHIRESAN
11.00 | Providing and constructing 100mm thick cement concrete block masonry of minimum M5 grade conforming to IS-2185 of latest version , using solid blocks of Approved size , cement mortar 1:4 by volume, including providing 40mm thick Cement Concrete 1:2:4 at every third layer, for partition walls at all elevations and locations including scaffolding, racking out joints, curing etc complete as per specifications and drawing | 456.00 | Sq. Meter |  | 679.00 | 309624.00 | 630.00 | 287280.00 | 850.00 | 387600.00 | 287280.00 | C.KATHIRESAN
12.00 | Plastering of external faces of brick work/concrete at all elevations in cement mortar 1:4, 20 mm thick including scaffolding, curing, forming grooves, plaster bands, border, keystone etc wherever required all as per drawings and specifications | 1934.00 | Sq. Meter |  | 402.00 | 777468.00 | 378.00 | 731052.00 | 450.00 | 870300.00 | 731052.00 | C.KATHIRESAN
13.00 | Providing cement plaster for the internal faces of brickwork / concrete at all elevations in cement mortar 1:5, 12mm thick using River sand finished smooth with a floating coat of neat cement including scaffolding, finishing, curing, forming grooves wherever necessary all complete as per drawings and specifications | 3043.00 | Sq. Meter |  | 363.00 | 1104609.00 | 360.00 | 1095480.00 | 400.00 | 1217200.00 | 1095480.00 | C.KATHIRESAN
14.00 | Providing and applying exterior emulsion paint of ACE of ASIAN/ Promise of ICI DULUX/Wall masta of LEWIS BERGER of approved make & shade in two or more coast over a coat of approved primer to give an even shade as per manufacturer's instruction to the external plastered surfaces including preparation of surfaces, scaffolding etc. at all elevations, complete as per drawings and specifications | 1934.00 | Sq. Meter |  | 182.00 | 351988.00 | 180.00 | 348120.00 | 250.00 | 483500.00 | 348120.00 | C.KATHIRESAN
15.00 | Providing and applying Plastic Emulsion paint of Asian paints /Lewis Berger /ICI Dulux make of approved shade in two or more coats over a coat of primer including preparation of surface with required coats of putty using Birla/ JK make, sand papering etc., to get good finish at all elevations, all as per drawings and specifications | 3043.00 | Sq. Meter |  | 214.00 | 651202.00 | 280.00 | 852040.00 | 275.00 | 836825.00 | 651202.00 | RKANDSONS
16.00 | Providing and Fixing in position Anti-Skid ceramic floor tiles of approved sizes (thickness to be specified by the manufacturer) of premium quality confirming to IS-15622 of JOHNSON/ SOMANY/ REGENCY/ASIAN/NITCO/BELL/ KAJARIA make, in all colours and shades laid on 20mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse Sand) including pointing the joint with white cement and matching colour pigment etc at all floors complete all as per drawings and specifications | 45.00 | Sq. Meter |  | 1127.00 | 50715.00 | 990.00 | 44550.00 | 1200.00 | 54000.00 | 44550.00 | C.KATHIRESAN
17.00 | Providing and Fixing in position ceramic glazed wall tiles of size as specified below (thickness to be specified by the manufacturer) of premium quality confirming to IS-15622 of JOHNSON/ SOMANY/ REGENCY/ASIAN/NITCO/BELL/ KAJARIA make laid on 20mm thick Cement Mortar 1:3(1 Cement : 3 Coarse Sand) and jointing with grey cement slurry @3.3kg/Sqm including pointing the joint with white cement mixed with colour pigment of matching shade complete at all floors, all as per drawings and specifications (Size 200 x 300 mm) | 96.00 | Sq. Meter |  | 1047.00 | 100512.00 | 1080.00 | 103680.00 | 1250.00 | 120000.00 | 100512.00 | RKANDSONS
18.00 | Providing as per requirement and laying acid and alkali resistant tiles / bricks of approved make and colour at various elevations with 20mm thick acid and alkali resistance mortar and caulking of joints with acid resistant mortar all related materials, equipment, tools & tackles, scaffolding, all consumables etc, complete as per drawing and specification. | 1257.00 | Sq. Meter |  | 2639.00 | 3317223.00 | 2700.00 | 3393900.00 | 5000.00 | 6285000.00 | 3317223.00 | RKANDSONS
19.00 | Providing and Fixing Powder coated (50 micron black or bronze) Aluminium doors, hinged / sliding windows & ventilators and partitions with extruded built up standard tubular and other sections of approved make conforming to IS:733 and IS:1285 powder coated to the required shade, fixed with rawl plugs and screws or with Fixing clips or with expansion hold fasteners including filling up of gap at junctions, at top, at bottom and sides with required PVC / Neoprene felt etc, aluminium sections are smooth rust free, straight, mitered and jointed mechanically wherever required, sections are prepared to receive the glass or particle board of specified thickness, including aluminium snap beading, CP brass / stainless steel screws, providing and Fixing all powder coated fixtures and fittings all complete as per drawings and specifications | 3620.00 | Kg |  | 867.00 | 3138540.00 | 450.00 | 1629000.00 | 700.00 | 2534000.00 | 1629000.00 | C.KATHIRESAN
20.00 | Providing and Fixing 5.5mm thick plain glazing, Modi guard/Saint Gobain make for aluminium windows and ventilator shutters fixed glazing, with PVC/neoprene gasket, aluminium snap beading etc. all complete as per drawings and specifications (Cost of aluminium snap beadings will be paid in Aluminium item). | 135.00 | Sq. Meter |  | 890.00 | 120150.00 | 1080.00 | 145800.00 | 1000.00 | 135000.00 | 120150.00 | RKANDSONS
21.00 | Providing and Fixing PVC door frame of size 50 x 47 mm with a wall thickness of 5mm made out of extruded 5 mm rigid foam sheet, mitre cut at two corners and jointed with 2nos of 150mm long brackets of 15 x 15 mm MS square tube in two corners. The two vertical door profile are to be reinforced with 19x19mm phosphated square tube of 19 gauge & hard wood shall be inserted in re square tube. EPDM Rubber gasket weather seal to be provided throughout re-frame, the door frame shall be fixed to the wall by drilling 100 mm long stainless screws through the frame by using PVC fasteners on each side of the verticals, minimum 4 nos of screws to be provided for each vertical member and the Door shutter shall be of 30 mm thick PVC panel door of approved shade and design made out of 5 mm thick C-channels of width 50 mm to form the styles and rails the inner panel shall be of minimum 5 mm thick which is welded/sealed to the style and rails along with 5 x 25 mm PVC beading on all sides and both faces. The shutter frames shall be square M.S. tube of heavy gauge 20 x 20mm on all sides including providing and Fixing fittings and fixture as per relevant IS such as 75mm SS hinges-3 Nos, 75mm Aluminium handle-2 Nos and 100mm aluminium Tower bolt - 2 nos etc complete as per specifications | 12.00 | Sq. Meter |  | 3846.00 | 46152.00 | 1350.00 | 16200.00 | 4000.00 | 48000.00 | 16200.00 | C.KATHIRESAN
22.00 | Supply and Fixing of Both side laminated Board of 12 mm thick IS make of approved colour as specified for the existing damaged door shutters, cost inclusive of opening the joints and Fixing the new board and re-Fixing the shutter in original position with necessary tools, tackles, men, material etc., complete (only clear area will be measured) | 104.00 | Sq. Meter |  | 983.00 | 102232.00 | 900.00 | 93600.00 | 800.00 | 83200.00 | 83200.00 | S.A.V.Constructions
23.00 | Providing and Fixing heavy duty hydraulic door closers of SHUTWELL/OPEL/KBD/KADSON/CORE/DORSET/GAZE/OZONE/ARCHIS/DYNA/EVEREST makes confirming to IS 3564 for doors including the cost of required tools, labour etc complete as per specifications | 11.00 | No. |  | 1917.00 | 21087.00 | 1350.00 | 14850.00 | 3300.00 | 36300.00 | 14850.00 | C.KATHIRESAN
24.00 | Supplying and Fixing Mortice lock 4 levers of GODREJ or other approved make with all fittings and fixtures etc., complete | 23.00 | No. |  | 2163.00 | 49749.00 | 1530.00 | 35190.00 | 2000.00 | 46000.00 | 35190.00 | C.KATHIRESAN
25.00 | Providing and Fixing in position 24 guage G.I. Chicken mesh of 150 mm wide in between the junction of column/beams with masonry by placing the mesh with nailing etc before at all elevations etc complete as per drawings and specifications | 1646.00 | Meter |  | 54.00 | 88884.00 | 36.00 | 59256.00 | 30.00 | 49380.00 | 49380.00 | S.A.V.Constructions
26.00 | Supplying & Fixing in position suspended Gypsum board False ceiling and side cladding with anodised aluminium frame work using anodised aluminium sections, with adjustable GI rods, holding cleats grid work suitably modified along the walls and beams, fixed with anchor bolts, making extra frame work around the Air conditioning and electrical fixtures and fittings fixed with necessary clips, Supplying and Fixing 12.5 mm thick GYPBOARD as per IS: 2095 etc. complete as per specifications. | 72.00 | Sq. Meter |  | 806.00 | 58032.00 | 720.00 | 51840.00 | 1100.00 | 79200.00 | 51840.00 | C.KATHIRESAN
27.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC , carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-I (size range 75 mm to 0.075 mm ) having CBR Value-30, as per clause 401 of MORT & H specifications complete in all respects . | 174.00 | Cu. Meter |  | 1409.00 | 245166.00 | 1080.00 | 187920.00 | 1550.00 | 269700.00 | 187920.00 | C.KATHIRESAN
28.00 | Providing, laying, spreading and compacting graded stone aggregate (size range53 mm to 0.075 mm) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge, as per clause 406 of MORT & H specifications complete in all respects. | 295.00 | Cu. Meter |  | 1409.00 | 415655.00 | 1170.00 | 345150.00 | 1850.00 | 545750.00 | 345150.00 | C.KATHIRESAN
29.00 | Providing and Fixing MS weld mesh of approved quality and sizes 50mmx50mmx4mm , Fixing in the places as specified with required binding wires/welding etc as per the requirement as per drawings and specifications | 275.00 | Sq. Meter |  | 488.00 | 134200.00 | 175.00 | 48125.00 | 600.00 | 165000.00 | 48125.00 | C.KATHIRESAN
30.00 | Providing, fabricating and erection of Structural steel members made out of M.S. angles, flats, plates, pipes, channels, tubes, rods etc conforming to relevant IS etc., including cost of welding, welding rods, drilling holes, bolts/nuts wherever required and providing and applying two or more coats of approved quality synthetic enamel paint over a coat of zinc chromate yellow primer etc., as per drawings and specifications | 80.00 | Mt |  | 117358.00 | 9388640.00 | 108000.00 | 8640000.00 | 110000.00 | 8800000.00 | 8640000.00 | C.KATHIRESAN
31.00 | Providing and Fixing roofing at all elevations using Zinc-Aluminium alloy coated profile sheet of 0.45 mm thickness of TATA "Durashine" make or equivalent of approved colour including all shapes, over laps, side cladding, ridges, eaves board, gutters etc., including Supplying and Fixing of necessary 6mm dia J or L GI hooks, bolts, nuts, screws, bitumen washers, sealing of joints etc., complete all as per manufacturer's recommendations including scaffolding as per drawings and specifications. (Note: Payment shall be made only to the superficial area. No over laps, corrugations /profile shall be measured) | 3681.56 | Sq. Meter |  | 838.00 | 3085147.28 | 575.00 | 2116897.00 | 1100.00 | 4049716.00 | 2116897.00 | C.KATHIRESAN
32.00 | Supplying and Fixing in position approved quality 18SWG steel rolling shutter, push and pull type made of MS girders, pressed bottom rails, brackets, extra strong door suspension shaft with fully and cage with cowl, top rolling springs, hood locking arrangements, all fittings and accessories as per approved drawings including providing and applying two coats of approved quality synthetic enamel paint over a coat of zinc chromite primer, Fixing at all levels as per drawings and specifications Note:(1)payment will be made based on the clear structural opening dimensions only and not full size of shutter. (2). The hood will not be measured for payment | 150.00 | Sq. Meter |  | 5719.00 | 857850.00 | 2700.00 | 405000.00 | 5000.00 | 750000.00 | 405000.00 | C.KATHIRESAN
33.00 | Providing and laying to proper levels and slopes and in chequered board fashion, hardonite cement concrete flooring 40mm thick , 28mm thick cement concrete M30 with 12 mm and down stone aggregate and a top layer of 12 mm thick wearing coat with metallic concrete hardener mix of approved quality mixed in the ratio of 1: 4 by weight ( 1 part of metallic hardener : 4 parts of cement) and mixing the same with 2 parts of 6 mm aggregate by volume, making the paste with water cement ratio not exceeding 0.4, including cement slurry, providing glass strips, laying in alternate bays in panels not exceeding 5 SqM finishing, curing etc. complete inclusive of all materials, labour, equipment, all as per drawings and specifications . | 1012.00 | Sq. Meter |  | 555.00 | 561660.00 | 450.00 | 455400.00 | 900.00 | 910800.00 | 455400.00 | C.KATHIRESAN
34.00 | Providing and painting two coats of food grade epoxy to the water tanks using Araldite / Krishna Conchem / Monarch or equivalent make including preparation of the surface, staging, scaffolding etc all as per specifications and as per drawings and specifications. (This item may be got executed by specialised agent duly approved by NPCIL and 10 years joint guarantee for the performance of food grade epoxy coating is required to be submitted) | 400.00 | Sq. Meter |  | 602.00 | 240800.00 | 560.00 | 224000.00 | 700.00 | 280000.00 | 224000.00 | C.KATHIRESAN
35.00 | Providing and applying two coats of First Quality synthetic enamel paint of Asian paints/ Lewis Berger/ ICI Dulux make of approved colour over a coat of primer on new wood / steel work, suitably prepared for receiving the paint by surface scraping, rubbing applying filler etc., including cost of filler primer, paint etc all complete as per drawings and specifications | 390.00 | Sq. Meter |  | 189.00 | 73710.00 | 198.00 | 77220.00 | 200.00 | 78000.00 | 73710.00 | RKANDSONS
36.00 | Providing, Fixing and testing PVC rain water pipes of 110 mm dia as per IS-13592 of Type A of Prince/Jain/ Kitec/Finolex/Supreme /Astral/ Ashirvad make with necessary fittings and fixtures, such as bottom shoe, PVC grating, GI clamps, screws/nails, wooden packing pieces at minimum 1 m spacing, cost inclusive of Fixing the shoes in brick masonry in CM 1:6 and plastering the same with CM 1:4 etc complete all as per drawings and specifications. | 383.00 | Rm |  | 418.00 | 160094.00 | 270.00 | 103410.00 | 470.00 | 180010.00 | 103410.00 | C.KATHIRESAN
37.00 | Providing and Fixing in position approved quality Anglo Indian type water closet of Hindware/Cera/Nycer/Parryware/Prayag/Johnson/ Somany make comprising of (a) Wash down AIWC in white glazed vitreous chinaware with integral "P/S" trap, Fixing in position with the floor by Brass screws, (b) White solid seat cover with CP pillar hinges and rubber buffers etc complete as per drawings and specifications | 1.00 | No. |  | 6144.00 | 6144.00 | 4500.00 | 4500.00 | 5000.00 | 5000.00 | 4500.00 | C.KATHIRESAN
38.00 | Providing and Fixing in position approved European type water closet of Hindware/Cera/ Nycer/ Parryware/Prayag/Johnson /Somany make comprising of a) Wash down EWC in white glazed vitreous chinaware with integral "P" of "S" trap with or without vent and jointing the trap with soil pipe in CM 1:1 b) Hindware/Cera/ Nycer/Parryware make PVC 10 liters capacity low level flushing cistern with all syphonic fittings. c) White solid plastic seat cover with CP pillar hinges and rubber buffers etc complete as per drawings and specifications | 2.00 | No. |  | 6445.00 | 12890.00 | 3600.00 | 7200.00 | 6500.00 | 13000.00 | 7200.00 | C.KATHIRESAN
39.00 | Providing and Fixing in position best quality vitreous chinaware hand wash basin of 550x400mm size white colour of Hindware/Cera/Nycer/Parryware/Prayag/Johnson/Somany make and Fixing with Rug bolt of approved size and make as per drawings and specifications | 6.00 | No. |  | 2949.00 | 17694.00 | 1350.00 | 8100.00 | 4000.00 | 24000.00 | 8100.00 | C.KATHIRESAN
40.00 | Providing and Fixing in position white vitreous china flat back lipped front urinal basin of size 430 x260 x 350 mm with integral flushing rim Hindware/Cera/Nycer/Parryware/Prayag/Johnson/Somany , CI concealed brackets including CP brass spreader of Hindware/Cera/Nycer/ Parryware/Prayag/Johnson/Somany make with complete fittings including painting of bracket etc., complete as per drawings and specifications | 7.00 | No. |  | 2949.00 | 20643.00 | 1800.00 | 12600.00 | 2000.00 | 14000.00 | 12600.00 | C.KATHIRESAN
41.00 | Providing and Fixing in position mirror of size 600 x 450mm, made of Indian glass 6mm thick manufactured by Modi guard/Saint Gobain/Hindustan/Borosil/Asahi India/La Opala RG Ltd make factory silvered with PVC backing 4mm thick etc., complete as per drawings and specifications | 6.00 | No. |  | 2027.00 | 12162.00 | 1170.00 | 7020.00 | 2400.00 | 14400.00 | 7020.00 | C.KATHIRESAN
42.00 | Providing and Fixing PTMT symet waste coupling -32mm dia half threaded for wash basin as per IS-9763 of Prayag/Polytuf/Wavin Vectus/King pipes/Polo India/Plasto make with rubber plug ball chain with necessary check nut as per drawings and specifications | 12.00 | No. |  | 553.00 | 6636.00 | 90.00 | 1080.00 | 150.00 | 1800.00 | 1080.00 | C.KATHIRESAN
43.00 | Providing and Fixing heavy quality 15mm dia CP brass angle cock as per relevant IS, Adson/Cera/Parryware/ Prayag/ Watgerman/ Asian(ESSESS)/ Hindware/Johnson/Somany make as per drawings and specifications | 15.00 | No. |  | 599.00 | 8985.00 | 630.00 | 9450.00 | 1000.00 | 15000.00 | 8985.00 | RKANDSONS
44.00 | Providing and Fixing 15 mm size heavy quality CP brass pillar cock easy clean type as per relevant IS for wash basin with capstan head Adson/Cera/Parryware/ Prayag/ Watgerman/ Asian(ESSESS)/ Hindware/Johnson/Somany make as per drawings and specifications | 6.00 | No. |  | 994.00 | 5964.00 | 675.00 | 4050.00 | 1050.00 | 6300.00 | 4050.00 | C.KATHIRESAN
45.00 | Providing and placing on terrace (at all floor levels) polyethene water Storage Tanks capacity as required of Sintex/Aquatec/Supreme Industrie/Penguin Tank Industries/Vectus Industries make with cover and suitable locking arrangements and making holes for inlet, outlet, scour and overflow pipes as per drawings and specifications | 2500.00 | Litres |  | 10.00 | 25000.00 | 9.00 | 22500.00 | 11.00 | 27500.00 | 22500.00 | C.KATHIRESAN
46.00 | Providing and Fixing polyethylene - Aluminium polyethylene (PE-AL-PE) composite pressure pipe 25-32 UV stabilized with carbon black confirming to IS:15450-2004 for water Supply including providing and Fixing box clamps at 1000mm spacing for external works and laying under floor wherever required and cutting the walls for required depth for concealed installation including cutting charges and making good the walls for internals and providing and Fixing all the required specials/fittings etc wherever required at all elevations including cost of scaffolding etc. complete as per drawings and specifications-Pipes without specials [Earthwork excavation will be paid under relevant item] | 40.00 | Meter |  | 371.00 | 14840.00 | 360.00 | 14400.00 | 400.00 | 16000.00 | 14400.00 | C.KATHIRESAN
47.00 | Providing, laying / Fixing in position approved PVC pipes 50 mm dia 6 kg/cm2 Prince/Jain/ Kitec/Finolex/ Supreme/ Astral/Ashirvad make IS - 4985 of latest version with required specials and Fixing arrangements for water Supply works as per standard specifications and providing and Fixing approved nails quality clamps and screws for Fixing as per drawings and specifications. (Excavation if required will be paid under relevant item) | 1.00 | Meter |  | 147.00 | 147.00 | 135.00 | 135.00 | 250.00 | 250.00 | 135.00 | C.KATHIRESAN
48.00 | Providing and Fixing PVC flushing cistern of 10 liters capacity Hindware/Cera/ Nycer/Parryware/ Prayag/Johnson/Somany make with all syphonic fittings, including assembling the cistern components and flush pipe, testing etc., Complete all as per drawings and specifications | 1.00 | No. |  | 1733.00 | 1733.00 | 1461.00 | 1461.00 | 2500.00 | 2500.00 | 1461.00 | C.KATHIRESAN
49.00 | Supply and Fixing of 15 mm, 1 m length Health faucet of JAQUAR/CRABTREE/KOHLER make and with all necessary accessories etc., complete as per drawings and specifications | 3.00 | No. |  | 1474.00 | 4422.00 | 1150.00 | 3450.00 | 1750.00 | 5250.00 | 3450.00 | C.KATHIRESAN
50.00 | Providing and Fixing heavy quality 15 mm dia, PTMT long bodied bib tap as per IS-9763 of Prayag/Polytuf/Wavin Vectus/King pipes/Polo India/Plasto make including check nut and flange as per drawings and specifications | 3.00 | No. |  | 1119.00 | 3357.00 | 270.00 | 810.00 | 1250.00 | 3750.00 | 810.00 | C.KATHIRESAN
51.00 | Providing and Fixing 15 mm dia PVC inlet connections to withstand temperature up to 600 C of "Kohinoor/Prayag/ Adson/water tec" make with heavy PVC check nut at both ends of length not exceeding 450 mm as per drawings and specifications | 15.00 | No. |  | 367.00 | 5505.00 | 135.00 | 2025.00 | 200.00 | 3000.00 | 2025.00 | C.KATHIRESAN
52.00 | Applicable GST Rate (%) Included in the Quoted Price
| Total in Figures |  |  |  |  | 39525478.28 |  | 36439145.00 |  | 47179606.00
Lowest Amount Quoted BY: C.KATHIRESAN(36439145.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of additional infra. facilities for CMM at KKNPP 3 to 6 Tender ID: 2024_NPCIL_217521_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | C.KATHIRESAN (BID ID -791535) | 36439145.00 | L1
| 2 | RKANDSONS (BID ID -794953) | 39525478.28 | L2
| 3 | S.A.V.Constructions (BID ID -792592) | 47179606.00 | L3