## BoQ1
Government eProcurement System Created By: RAGHU L Created Date/Time: 15-Feb-2025 03:53 PM Tender Title: Execution of additional electrical works arised in the Balance of Plant (BoP) due to FCN/DCN/TAR requirements. NPCIL/KK34/EandI/PT/2024/176 Tender ID: 2024_NPCIL_218491_1
Tender Inviting Authority: CE (E&I), KK-3&4
Name of Work: Execution of additional electrical works arised in the Balance of Plant (BoP) due to FCN/DCN/TAR requirements.
Contract No: NPCIL/KK-3&4/CONST/E&I/PT/2024/176
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | FATHIMA ENGINEERING.COM (GSTN-32AAACF7885P1Z0) BID ID -811164 |  | POWER ENGINEERING COMPANY (GSTN-NA) BID ID -798457
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Laying of various sizes of LV power and control cable, armoured / unarmoured, from / on cable trays /excavated trench, tunnel, in GI Pipe, Hume Pipe, Wall, Ceiling, Roof truss etc. fixing clamping etc. aluminimum tag with identifcation for both side cable as per site requirement and as directed by the Engineer. (Excavation / filling in any, will be paid in a separate item).
1.10 | upto 25 mm dia cable | 750.00 | meter |  | 170.00 | 127500.00 | 70.00 | 52500.00 | 52500.00 | POWER ENGINEERING COMPANY
1.20 | above 25 mm up to 60 mm dia cable | 500.00 | meter |  | 227.00 | 113500.00 | 130.00 | 65000.00 | 65000.00 | POWER ENGINEERING COMPANY
2.00 | Removal of various sizes of LV power and control cable, armoured / unarmoured, from / on cable trays /excavated trench, tunnel, in GI Pipe, Hume Pipe, Wall, Ceiling, Roof truss etc. removing of clamping and termination etc. aluminimum tag with identifcation for both side cable as per site requirement and as directed by the Engineer. (Excavation / filling in any, will be paid in a separate item). The scope includes winding in empty drums if necessary and depositing to NPCIl stores inside plant boundary.
2.10 | upto 25 mm dia cable | 750.00 | meter |  | 142.00 | 106500.00 | 65.00 | 48750.00 | 48750.00 | POWER ENGINEERING COMPANY
2.20 | above 25 mm up to 60 mm dia cable | 500.00 | meter |  | 177.00 | 88500.00 | 115.00 | 57500.00 | 57500.00 | POWER ENGINEERING COMPANY
3.00 | Laying of various sizes of MV power cable of any diameter, armoured / unarmoured, from / on cable trays /excavated trench, tunnel, in GI Pipe, Hume Pipe, Wall, Ceiling, Roof truss etc. fixing clamping etc. as per site requirement and as directed by the Engineer. (Excavation / filling in any, will be paid in a separate item). | 750.00 | meter |  | 283.00 | 212250.00 | 125.00 | 93750.00 | 93750.00 | POWER ENGINEERING COMPANY
4.00 | Providing all inclusive works for testing with calibrated Motor checker for 9 hours in a per day including required accessories at plant site as directed by EIC for NPCIL use whenever necessary | 300.00 | per day |  | 750.00 | 225000.00 | 300.00 | 90000.00 | 90000.00 | POWER ENGINEERING COMPANY
5.00 | Providing all inclusive works for testing with calibrated 2.5 kV Megger for 9 hours in a per day including required accessories at plant site as directed by EIC for NPCIL use whenever necessary | 200.00 | per day |  | 750.00 | 150000.00 | 350.00 | 70000.00 | 70000.00 | POWER ENGINEERING COMPANY
6.00 | Providing all inclusive works for testing with calibrated Contact Resistance Measurement kit for 9 hours in a per day including required accessories at plant site as directed by EIC for NPCIL use whenever necessary | 150.00 | per day |  | 750.00 | 112500.00 | 360.00 | 54000.00 | 54000.00 | POWER ENGINEERING COMPANY
7.00 | Providing all-inclusive works for making gland holes of various diameter in panel gland plates, sheets, structural plates or any other with suitable Magnetic drilling machine for 9 hours in a per day including required accessories at plant site as directed by EIC for NPCIL use whenever necessary | 150.00 | per day |  | 500.00 | 75000.00 | 330.00 | 49500.00 | 49500.00 | POWER ENGINEERING COMPANY
8.00 | Providing Highly skilled man power, for carrying out works of BOM preparation from drawings, site survey, measurement, overseeing pep talk and erection works as per drawings, IS guidelines and regulations, checking permits etc. as directed by EIC. Fulfilling the above requirements for 9 Hrs a per day is considered as one operation | 2400.00 | Operation |  | 1900.00 | 4560000.00 | 1725.00 | 4140000.00 | 4140000.00 | POWER ENGINEERING COMPANY
9.00 | Installation of cable trays, Electrical panels and DB's as per the latest DCN/FCN/ Additional drawings and instructions as directed by EIC. This job requires Providing Skilled man power like electrician, fitter, welder, grinder etc.. Fulfilling the above requirements for 9 Hrs a per day is considered as one operation | 3600.00 | Operation |  | 1650.00 | 5940000.00 | 1625.00 | 5850000.00 | 5850000.00 | POWER ENGINEERING COMPANY
10.00 | Providing unskilled man power carrying out the given work assisting for the above item no. 9 and as directed by EIC. Fulfilling the requirements for 9 Hrs a per day is considered as one operation. | 4800.00 | Operation |  | 1600.00 | 7680000.00 | 1500.00 | 7200000.00 | 7200000.00 | POWER ENGINEERING COMPANY
11.00 | Providing single phase welding machine for 9 hours in a per day for works including welding oven, required 2.5 mm rods for CS /MS material, consumables and accessories at plant site as directed by EIC for NPCIL use whenever necessary | 200.00 | per day |  | 700.00 | 140000.00 | 400.00 | 80000.00 | 80000.00 | POWER ENGINEERING COMPANY
12.00 | Providing AG-5 Grinding machine and wheels including consumables and accessories for 9 hours in a per day for works at plant site as directed by EIC for NPCIL use whenever necessary | 200.00 | per day |  | 420.00 | 84000.00 | 375.00 | 75000.00 | 75000.00 | POWER ENGINEERING COMPANY
13.00 | Providing Cutting machine with required cutting wheel including consumables and accessories for 9 hours in a per day for works at plant site as directed by EIC for NPCIL use whenever necessary | 200.00 | per day |  | 420.00 | 84000.00 | 370.00 | 74000.00 | 74000.00 | POWER ENGINEERING COMPANY
14.00 | Excavation by mechanical means (hydraulic excavator)/manual means for foundation, trenches etc., in all types of soils below ground level up to 1.5 meter depth, leveling, ramming the bottom of excavation, refilling with excavated soil, consolidating as per drawings, specifications or as directed by the Engineer. | 1000.00 | Cu. Meter |  | 700.00 | 700000.00 | 350.00 | 350000.00 | 350000.00 | POWER ENGINEERING COMPANY
15.00 | Providing, fabrication and erection of Structural steel (CS / MS) plates, angles, channels, hollow rectangular ducts, beams, flats, plates, bars, rods, hot finished seamless pipes for major erection works including all cutting, grinding, drilling, welding, testing, painting with approved epoxy paint including supply of paint and consumables, as per drawings/ DCN or as directed by the Engineer -in-charge. The measurement shall be in terms of the finished/installed weight conforming to lS 2062-2011 Grade E250 Quality - A / B / BR and dimension as per IS 8O8, IS 1730, IS1731 and IS 1732, steel pipes conforming to IS 1161 and IS 3601, square and rectangular structural steel tubes confoming to lS 4923 and Chequered plate conforming to IS 3502, for main cable ducts in main plant buildings, metal structures for Construction of semicovered protective sheds. providing and applying two or more coats of approved epoxy / synthetic enamel paint over a coat of zinc rich primer as per drawings and specifications. | 24.00 | MT |  | 212400.00 | 5097600.00 | 165000.00 | 3960000.00 | 3960000.00 | POWER ENGINEERING COMPANY
16.00 | providing and installation of GI perforated tray of different sizes including all accessories like clamps, hardware etc. any cutting, drilling, welding, Providing as per requirement and application of cold galvanisation paint, etc., as directed by the ENGINEER. | 750.00 | Kgs |  | 540.00 | 405000.00 | 105.00 | 78750.00 | 78750.00 | POWER ENGINEERING COMPANY
17.00 | Termination of armoured / unarmoured Power cable, testing and commissioining including providing suitable glands and lugs for both side and all as per specification. Measurement will be done per core wise.
17.10 | up to 16 sq mm | 750.00 | Nos. |  | 425.00 | 318750.00 | 750.00 | 562500.00 | 318750.00 | FATHIMA ENGINEERING.COM
17.20 | above 16 sqmm to 95 sq mm | 200.00 | Nos. |  | 696.00 | 139200.00 | 1550.00 | 310000.00 | 139200.00 | FATHIMA ENGINEERING.COM
17.30 | above 95 sq mm up to 300 sq mm | 50.00 | Nos. |  | 1203.00 | 60150.00 | 2700.00 | 135000.00 | 60150.00 | FATHIMA ENGINEERING.COM
18.00 | Termination of armoured / unarmoured control cable, testing and commissioining including providing suitable SS-DC glands at both ends and required ring-type / U type lugs for both sides per specification and directed by EIC.providing and installation of the heat shrinkable termination type kits above 50sqmm etc. Measurement will be done cable end wise
18.10 | up to 7 core and 6 sq mm | 1500.00 | Nos. |  | 1699.00 | 2548500.00 | 300.00 | 450000.00 | 450000.00 | POWER ENGINEERING COMPANY
18.20 | above 7 core to 15 core and 6 sq mm | 1000.00 | Nos. |  | 2195.00 | 2195000.00 | 450.00 | 450000.00 | 450000.00 | POWER ENGINEERING COMPANY
18.30 | above 15 core up to 37 core and 2.5 sq mm sq mm | 500.00 | Nos. |  | 2832.00 | 1416000.00 | 1000.00 | 500000.00 | 500000.00 | POWER ENGINEERING COMPANY
19.00 | EXOTHERMIC WELDING T - JOINT/ Cross Joint/ Straight Joints of COPPER CONDUCTOR Upto size of 185 Sq.mm. Scope includes welding of conductor by supplying all required materials for welding and also measurement of resistance using the calibrated instrument | 120.00 | Nos. |  | 5000.00 | 600000.00 | 4000.00 | 480000.00 | 480000.00 | POWER ENGINEERING COMPANY
20.00 | Providing & installation of Various sizes cable trays of different types like GRP, GI, Duct type, painted type etc. Including the accessories like nuts, bolts, Z-clamps etc. for the respective type of as per the techincal specification
20.10 | GI Ladder type | 2500.00 | meter |  | 818.00 | 2045000.00 | 810.00 | 2025000.00 | 2025000.00 | POWER ENGINEERING COMPANY
20.20 | GI Duct type | 2400.00 | meter |  | 886.00 | 2126400.00 | 1900.00 | 4560000.00 | 2126400.00 | FATHIMA ENGINEERING.COM
20.30 | Painted ladder type | 1200.00 | meter |  | 646.00 | 775200.00 | 750.00 | 900000.00 | 775200.00 | FATHIMA ENGINEERING.COM
20.40 | Painted duct type | 1200.00 | meter |  | 716.00 | 859200.00 | 1600.00 | 1920000.00 | 859200.00 | FATHIMA ENGINEERING.COM
20.50 | FRP / GRP type | 1200.00 | meter |  | 2040.00 | 2448000.00 | 990.00 | 1188000.00 | 1188000.00 | POWER ENGINEERING COMPANY
21.00 | Providing & installation of knife type switches of capacity 150 A used for cranes as per technical specification
21.10 | Providing & installation of knife type switches of capacity 150 A & 250 A used for cranes as per technical specification | 3.00 | Nos. |  | 21500.00 | 64500.00 | 34000.00 | 102000.00 | 64500.00 | FATHIMA ENGINEERING.COM
21.20 | Providing & installation of knife type switches of capacity 250 A used for cranes as per technical specification | 3.00 | Nos. |  | 23600.00 | 70800.00 | 49000.00 | 147000.00 | 70800.00 | FATHIMA ENGINEERING.COM
22.00 | Dewatering outside or within excavated pits of main plant buildings/structures, deploying required dewatering pumps and flexible hose pipes including standby and skilled manpower, shifting & placing wherever required, deploying additional equipments to cater the urgent needs, providing and erection of support structures where ever necessary, installation of pumps and flexible hose pipes, setting it to work, commissioning, running and maintaining, maintaining per day to per day record in log book, dismantling and taking back on completion of dewatering requirement etc, complete. | 90.00 | BHP Day |  | 1700.00 | 153000.00 | 6000.00 | 540000.00 | 153000.00 | FATHIMA ENGINEERING.COM
23.00 | Providing & installation of brass, nickel coated double compression glands, suitable for unarmoured/armoured cable for the Cable Ods upto 50 Sq.mm (Outer diameter) of power cables as per relevant IEC standard.
23.10 | Cable Gland OD Range : 10.0-.12.0 mm | 50.00 | Nos. |  | 1100.00 | 55000.00 | 700.00 | 35000.00 | 35000.00 | POWER ENGINEERING COMPANY
23.20 | Cable Gland OD Range : 14.0-18.0 mm | 50.00 | Nos. |  | 1150.00 | 57500.00 | 750.00 | 37500.00 | 37500.00 | POWER ENGINEERING COMPANY
23.30 | Cable Gland OD Range : 18.0-20.0 mm | 50.00 | Nos. |  | 1250.00 | 62500.00 | 860.00 | 43000.00 | 43000.00 | POWER ENGINEERING COMPANY
23.40 | Cable Gland OD Range : 20.0-23.0 mm | 50.00 | Nos. |  | 1355.00 | 67750.00 | 950.00 | 47500.00 | 47500.00 | POWER ENGINEERING COMPANY
23.50 | Cable Gland OD Range : 23.0-26.0 mm | 50.00 | Nos. |  | 1450.00 | 72500.00 | 1150.00 | 57500.00 | 57500.00 | POWER ENGINEERING COMPANY
23.60 | Cable Gland OD Range : 26.0-30.0 mm | 50.00 | Nos. |  | 1570.00 | 78500.00 | 1250.00 | 62500.00 | 62500.00 | POWER ENGINEERING COMPANY
23.70 | Cable Gland OD Range : 30.0-33.0 mm | 30.00 | Nos. |  | 1720.00 | 51600.00 | 1390.00 | 41700.00 | 41700.00 | POWER ENGINEERING COMPANY
23.80 | Cable Gland OD Range : 36.0-41.0 mm | 30.00 | Nos. |  | 1850.00 | 55500.00 | 1600.00 | 48000.00 | 48000.00 | POWER ENGINEERING COMPANY
23.90 | Cable Gland OD Range : 44.0-52.0 mm | 25.00 | Nos. |  | 2000.00 | 50000.00 | 1980.00 | 49500.00 | 49500.00 | POWER ENGINEERING COMPANY
24.00 | Providing & installation of Copper heavy duty crimping type terminal lugs for the various sizes of core of the LT power cables as per relevant IEC standard. The measurement shall be in term of the number of cores:
24.10 | Copper crimping ring terminals (1 Sq mm to 10 Sq mm) | 500.00 | Nos. |  | 28.00 | 14000.00 | 20.00 | 10000.00 | 10000.00 | POWER ENGINEERING COMPANY
24.20 | Copper crimping ring terminals (10 Sq mm to 25 Sq mm) | 200.00 | Nos. |  | 70.00 | 14000.00 | 50.00 | 10000.00 | 10000.00 | POWER ENGINEERING COMPANY
24.30 | Copper crimping ring terminals (25 Sq mm to 70 Sq mm) | 150.00 | Nos. |  | 110.00 | 16500.00 | 90.00 | 13500.00 | 13500.00 | POWER ENGINEERING COMPANY
24.40 | Copper crimping ring terminals (70 Sq mm to 120 Sq mm) | 120.00 | Nos. |  | 165.00 | 19800.00 | 160.00 | 19200.00 | 19200.00 | POWER ENGINEERING COMPANY
24.50 | Copper crimping ring terminals (150 Sq mm to 185 Sq mm) | 90.00 | Nos. |  | 240.00 | 21600.00 | 270.00 | 24300.00 | 21600.00 | FATHIMA ENGINEERING.COM
24.60 | Copper crimping ring terminals (240 Sq mm to 300 Sq mm) | 70.00 | Nos. |  | 311.00 | 21770.00 | 350.00 | 24500.00 | 21770.00 | FATHIMA ENGINEERING.COM
24.70 | Copper crimping ring terminals (400 Sq mm) | 30.00 | Nos. |  | 332.00 | 9960.00 | 490.00 | 14700.00 | 9960.00 | FATHIMA ENGINEERING.COM
25.00 | Providing & installation of Copper heavy duty crimping type terminal lugs for any size of core of control cable upto 2.5 sqmm. The measurement shall be in term of the number of cores: | 900.00 | Nos. |  | 15.00 | 13500.00 | 75.00 | 67500.00 | 13500.00 | FATHIMA ENGINEERING.COM
26.00 | Providing & installation of various capacity from 15 kW to 100 kW range starters as per technical specification
26.10 | Upto 15 KW Starter panel | 1.00 | No. |  | 12000.00 | 12000.00 | 75000.00 | 75000.00 | 12000.00 | FATHIMA ENGINEERING.COM
26.20 | Upto 30 KW Starter panel | 1.00 | No. |  | 16000.00 | 16000.00 | 80000.00 | 80000.00 | 16000.00 | FATHIMA ENGINEERING.COM
26.30 | Upto 40 KW Starter panel | 1.00 | No. |  | 22000.00 | 22000.00 | 110000.00 | 110000.00 | 22000.00 | FATHIMA ENGINEERING.COM
26.40 | Upto 60 KW Starter panel | 1.00 | No. |  | 26000.00 | 26000.00 | 127000.00 | 127000.00 | 26000.00 | FATHIMA ENGINEERING.COM
26.50 | Upto 100 KW Starter panel | 1.00 | No. |  | 30000.00 | 30000.00 | 160000.00 | 160000.00 | 30000.00 | FATHIMA ENGINEERING.COM
27.00 | Applicable GST Rate (%) Included in the Quoted Price
| Total in Figures |  |  |  |  | 42509030.00 |  | 37816150.00
Lowest Amount Quoted BY: POWER ENGINEERING COMPANY(37816150.00)

## BOQ Summary
BOQ Summary Details Tender Title: Execution of additional electrical works arised in the Balance of Plant (BoP) due to FCN/DCN/TAR requirements. NPCIL/KK34/EandI/PT/2024/176 Tender ID: 2024_NPCIL_218491_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | POWER ENGINEERING COMPANY (BID ID -798457) | 37816150.00 | L1
| 2 | FATHIMA ENGINEERING.COM (BID ID -811164) | 42509030.00 | L2