## BoQ1
Government eProcurement System Created By: Basanagouda Naganuri Created Date/Time: 29-Jan-2025 12:06 PM Tender Title: Construction of Higher Primary School building at Ulga Village Tq. Karwar. Tender ID: 2024_NPCIL_221129_1
Tender Inviting Authority: MS, KGS 1&2 & Chairman CSR
Name of Work: Construction of Higher Primary School building at Ulga Village Tq. Karwar.
Contract No: NPCIL/KGS/CTC/CSR/CPPP/2024/066
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Ramshree Global Constructions Pvt. Ltd. (GSTN-29AAECR9253M1ZN) BID ID -808565 |  | Sweet Home Constructions (GSTN-NA) BID ID -809078 |  | PRAKASH M GAUNSKAR (GSTN-NA) BID ID -807989
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART - A Civil works Earth work excavation for Foundation by mechanical means for all works & depth upto 3 m, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, including dressing of excavated surfaces, disposing off or levelling the excavated earth or sorting & stacking the selected earth for reuse in a radius of 50 m and lift upto 1.5 m including cost of labour, tools, usage of machinery & other appurtenaces required to complete the work. In all kinds of soils Depth upto 3 m | 100.00 | CuM | 135.00 | 165.00 | 16500.00 | 200.00 | 20000.00 | 150.00 | 15000.00 | 15000.00 | PRAKASH M GAUNSKAR
2.00 | PART - A Civil works Earth work excavation for Foundation by mechanical means for all works & depth upto 1.5 m, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, including dressing of excavated surfaces, disposing off or levelling the excavated earth or sorting & stacking the selected earth for reuse in a radius of 50 m and lift upto 1.5 m including cost of labour, tools, usage of machinery & other appurtenaces required to complete the work. soft rock without blasting upto 1.5 m depth | 60.00 | CuM | 480.00 | 590.00 | 35400.00 | 480.00 | 28800.00 | 450.00 | 27000.00 | 27000.00 | PRAKASH M GAUNSKAR
3.00 | PART - A Civil works Providing and laying in position Cement Concrete for levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machinery, curing, and all the other appurtenances required to complete the work as per technical specifications. Mix 1:3:6 Using 20 mm and down size graded crushed coarse aggregates. | 25.00 | CuM | 8216.00 | 8150.00 | 203750.00 | 8200.00 | 205000.00 | 7500.00 | 187500.00 | 187500.00 | PRAKASH M GAUNSKAR
4.00 | PART - A Civil works Providing and laying in position Cement Concrete for all Foundation works below plinth beam. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticizers laid in finished layers, well compacted using needle vibrators, including all lead & lifts, including providing fixing and removing shuttering, scaffolding, staging etc, including cost of all materials, quality confirming to the requirements of relevant IS codes, labour, Usage charges of machinery, curing and all the other appurtenances required to complete the work as per technical specifications. M25 Design Mix Using 20 mm and down size graded crushed coarse aggregates. Note: Quoted rate shall include all the cost of shuttering, scaffolding, staging etc, and no seperate payment shall be made for the same. | 23.00 | CuM | 9044.00 | 8900.00 | 204700.00 | 9100.00 | 209300.00 | 8700.00 | 200100.00 | 200100.00 | PRAKASH M GAUNSKAR
5.00 | PART - A Civil works Providing and laying in position Cement Concrete for all Plinth beam works. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticizers laid in finished layers, well compacted using needle vibrators, including all lead & lifts, including providing fixing and removing shuttering, scaffolding, staging etc, cost of all materials, quality confirming to the requirements of relevant IS codes, labour, Usage charges of machinery, curing and all the other appurtenances required to complete the work as per technical specifications. M25 Design Mix Using 20 mm and down size graded crushed coarse aggregates. Note: Quoted rate shall include all the cost of shuttering, scaffolding, staging etc, and no seperate payment shall be made for the same | 22.00 | CuM | 12560.00 | 12000.00 | 264000.00 | 12000.00 | 264000.00 | 12000.00 | 264000.00 | 264000.00 | PRAKASH M GAUNSKAR, M/s Ramshree Global Constructions Pvt. Ltd., Sweet Home Constructions
6.00 | PART - A Civil works Providing and laying in position Cement Concrete for all Super structures of building, road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications. M25 Design Mix Using 20 mm and down size graded crushed coarse aggregates. Note : Quoted rate shall include all the cost of shuttering, scaffolding, staging etc and no seperate payment shall be made for the same. | 132.00 | CuM | 15374.00 | 14500.00 | 1914000.00 | 15000.00 | 1980000.00 | 14800.00 | 1953600.00 | 1914000.00 | M/s Ramshree Global Constructions Pvt. Ltd.
7.00 | PART - A Civil works Supplying, fitting and placing TMT FE 550/550D Steel Reinforcement complete as per drawing and technical specification | 18000.00 | Kg | 118.00 | 110.00 | 1980000.00 | 118.00 | 2124000.00 | 108.00 | 1944000.00 | 1944000.00 | PRAKASH M GAUNSKAR
8.00 | PART - A Civil works Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations and other similar works etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and wateringas directed by Engineer-In-charge. | 60.00 | CuM | 352.00 | 320.00 | 19200.00 | 350.00 | 21000.00 | 300.00 | 18000.00 | 18000.00 | PRAKASH M GAUNSKAR
9.00 | PART - A Civil works Filling approved earth (excluding rock) in trenches, plinth, sides of foundations and other similar works etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering and as directed by Engineer-In-charge. | 40.00 | CuM | 572.00 | 550.00 | 22000.00 | 550.00 | 22000.00 | 350.00 | 14000.00 | 14000.00 | PRAKASH M GAUNSKAR
10.00 | PART - A Civil works Providing and laying 65 to 100mm size granite soling stones of approved quality & size for flooring base including preparation of base properly by leveling dressing & hand ramming using hand rammer with watering, providing & filling interstices using small sized stones / chips, providing & spreading binding materials such as murrum / gravel with proper watering, collecting & disposing the generated waste, from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by Engineer-in-charge at all locations & lifts. | 30.00 | CuM | 2906.00 | 2800.00 | 84000.00 | 3000.00 | 90000.00 | 2800.00 | 84000.00 | 84000.00 | PRAKASH M GAUNSKAR, M/s Ramshree Global Constructions Pvt. Ltd.
11.00 | PART - A Civil works Providing Brick work with common burnt clay Non Modular bricks of class designation 3.5 in superstructure above plinth level in all shapes and sizes in Cement mortar 1:6 (1 cement : 6 coarse sand) including cost of all materials, labour, scaffolding and usage charges of machinery & other incidental charges complete as per the direction of engineer incharge of work. | 130.00 | CuM | 10532.00 | 10100.00 | 1313000.00 | 10000.00 | 1300000.00 | 9600.00 | 1248000.00 | 1248000.00 | PRAKASH M GAUNSKAR
12.00 | PART - A Civil works Providing and constructing load bearing wall with Solid Concrete blocks of size 400x200x200mm having block density more than 1800kg/m3 and minimum compressive strength of 4.00 N/mm2 conforming to IS 2185 (Part - I) - 2005 and constructed with CM 1:6 as per IS 2572:2005 including cost of all materials, labour, scaffolding and curing, usage charges of machinery etc complete as per specifications. | 14.00 | CuM | 11438.00 | 10950.00 | 153300.00 | 9200.00 | 128800.00 | 10000.00 | 140000.00 | 128800.00 | Sweet Home Constructions
13.00 | PART - A Civil works Providing 12 mm cement plaster with cement mortar 1:4 (1 cement: 4 fine sand) to brick masonry including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge. | 375.00 | SqM | 337.00 | 325.00 | 121875.00 | 337.00 | 126375.00 | 350.00 | 131250.00 | 121875.00 | M/s Ramshree Global Constructions Pvt. Ltd.
14.00 | PART - A Civil works Providing 15 mm cement plaster on the rough side of single or half brick wall of mix 1:4 (1 cement: 4 fine sand) including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge. | 930.00 | SqM | 390.00 | 375.00 | 348750.00 | 400.00 | 372000.00 | 380.00 | 353400.00 | 348750.00 | M/s Ramshree Global Constructions Pvt. Ltd.
15.00 | PART - A Civil works Providing 18 mm cement plaster in two coats under layer 12 mm thick cement plaster with cement mortar 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster with cement mortar 1:3 (1 cement : 3 coarse sand) 2% of integral water proofing compound by weight of cement, finished rough with sponge to brick masonry including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including ,cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge. | 650.00 | SqM | 509.00 | 500.00 | 325000.00 | 500.00 | 325000.00 | 450.00 | 292500.00 | 292500.00 | PRAKASH M GAUNSKAR
16.00 | PART - A Civil works Providing and fixing pressed steel door frames of size 125 x 60mm conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer- in-charge: Profile C Fixing with adjustable lugs with split end tail to each jamb including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. | 85.00 | RM | 662.00 | 630.00 | 53550.00 | 690.00 | 58650.00 | 800.00 | 68000.00 | 53550.00 | M/s Ramshree Global Constructions Pvt. Ltd.
17.00 | PART - A Civil works Providing and fixing flush door shutter made out of solid core block board type, well seasoned , chemicaly treated hard wood battens and internal frame with minimum 45 mm wide wooden frame alround door shutters covered with cross bonded wooden sheets (core veneer) hot pressed and fastened on both sides of the door useing liquid phenol formaldehyde resin as per IS specifications 2202 (part-I) 1991. from manufacturer complete as per spcification. 30 mm thick both side commercial. | 23.00 | SqM | 3971.00 | 3800.00 | 87400.00 | 3900.00 | 89700.00 | 3500.00 | 80500.00 | 80500.00 | PRAKASH M GAUNSKAR
18.00 | PART - A Civil works Providing & fixing 30mm thick factory made rigid foam Prelam Panelled Door Shutters made from M.S. tube of 19x19mm, 19 gauge for stiles and 15x15mm for top & bottom rails, covered with heat moulded Prelaminated PVC C Channel of 5mm thick sheet & 30x50mm wide to form stiles & 5mm thick & 75mm wide Prelaminated PVC Sheets for top rail, lock rail & bottom rail on either side & 5mm thick, 20mm wide cross PVC sheet as gap insert for top rail & bottom rail, Panelling of 5mm thick PVC sheet Prelaminated on either side fitted in the M.S. frame, Sealed to the stiles & rails with PVC Designer beading on either side & joined together with solvent cement adhesive etc., Complete as per manufacturers specification & direction of Engineer-in-charge fixed to frames with 3 nos of 75mm Aluminium hinges. with both side prelam | 10.00 | SqM | 3127.00 | 3000.00 | 30000.00 | 3200.00 | 32000.00 | 3500.00 | 35000.00 | 30000.00 | M/s Ramshree Global Constructions Pvt. Ltd.
19.00 | PART - A Civil works Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding | 1450.00 | Kg | 222.00 | 210.00 | 304500.00 | 150.00 | 217500.00 | 200.00 | 290000.00 | 217500.00 | Sweet Home Constructions
20.00 | PART - A Civil works Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate sections and other sections of approved make conforming to IS: 733 and IS:1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-incharge. (Glazing, paneling and dash fasteners to be paid for separately) :For Fixed Portion: Powder coated aluminium (minimum thickness of powder coating 50 micron) including cost of materials, labour, usage Charges of machinery complete as per specifications. | 435.00 | Kg | 646.00 | 640.00 | 278400.00 | 700.00 | 304500.00 | 700.00 | 304500.00 | 278400.00 | M/s Ramshree Global Constructions Pvt. Ltd.
21.00 | PART - A Civil works Providing & fixing glass panes with putty and glazing clips in steel/alluminum doors, windows, clerestory windows, all complete with : 5.5 mm thick glass panes including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. | 40.00 | SqM | 1663.00 | 1560.00 | 62400.00 | 1500.00 | 60000.00 | 1400.00 | 56000.00 | 56000.00 | PRAKASH M GAUNSKAR
22.00 | PART - A Civil works Providing and laying vitrified floor tiles of size 600mm x600mm with thickness 9-10 mm in size with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ m2 including grouting the joints with white cement and matching pigments etc., complete.Basic rate of tiles shall no be less than Rs.650/- per Sqm(Including GST) | 440.00 | SqM | 1513.00 | 1450.00 | 638000.00 | 1500.00 | 660000.00 | 1375.00 | 605000.00 | 605000.00 | PRAKASH M GAUNSKAR
23.00 | PART - A Civil works Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. ** Polished Granite stone slab Black, Cat Eye, River Pink or equivalent. | 25.00 | SqM | 3769.00 | 3600.00 | 90000.00 | 3800.00 | 95000.00 | 3400.00 | 85000.00 | 85000.00 | PRAKASH M GAUNSKAR
24.00 | PART - A Civil works Providing edge moulding to 18mm thick Granite stone counters, vanities etc including machine polishing to edge to give high gloss finish etc. Complete as per design approved by Engineer-in-charge. | 200.00 | RM | 433.00 | 400.00 | 80000.00 | 400.00 | 80000.00 | 385.00 | 77000.00 | 77000.00 | PRAKASH M GAUNSKAR
25.00 | PART - A Civil works Embossing / Engraving the title of the project in Kannada Script and “NPCIL LOGO " of standard size & shape [to suit structure] on the external plastered surface of the building by using CM 1:3 and painting the same over a Coat of exterior grade primer in contrast with wall Colour.The alphabets of the script and the logo shall be very neat clean and print like finish. The hight of the alphabets shall be 6'' to 8'' and logo shall be in a Square frame of 1.5 feet. The script and the logo shall be traced on the plastered surface with 'computer printed template cut-out ' to get the title very neat clean and print like finish including preparation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, as per site requirement and as directed by Engineer-in-charge at all locations & heights. | 1.00 | Each | 8241.00 | 7500.00 | 7500.00 | 8500.00 | 8500.00 | 8000.00 | 8000.00 | 7500.00 | M/s Ramshree Global Constructions Pvt. Ltd.
26.00 | PART - A Civil works Providing and painting the title of the project in Kannada Script and "NPCIL LOGO" using approved paint and shade on the plastered surface of the internal wall of the building by professional painter. The alphabets of the script and the logo shall be very neat clean and print like finish. The hight of the alphabets shall be 6'' to 8'' and logo shall be in a Square frame of 1.5 feet side including preparation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, as per site requirement and as directed by Engineer-in-charge at all locations & heights. | 1.00 | Each | 2364.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | PRAKASH M GAUNSKAR, M/s Ramshree Global Constructions Pvt. Ltd., Sweet Home Constructions
27.00 | PART - A Civil works Providing and fixing, standard quality class room Green Board of size 2.5 Mtr X 1.25Mtr, made out of 6mm thick green board, with alluminium moulded frame of width not less than 20mm in class room walls including fixing firmely using clamps / hooks, nails / screws, providing, fixing & removing necessary staging / platform / ladder etc. complete all as per standard specification/ manufacturers specification and as directed by Engineer-in-charge at all locations & heights. Note: Each board shall be labeled with paint or permenent stickers of NPCIL Logo and script given by the Engineer- in-Charge | 21.00 | SqM | 7415.00 | 6500.00 | 136500.00 | 7200.00 | 151200.00 | 7000.00 | 147000.00 | 136500.00 | M/s Ramshree Global Constructions Pvt. Ltd.
28.00 | PART - A Civil works Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete as per specifications and as per directions of Engineer in charge. | 930.00 | SqM | 132.00 | 120.00 | 111600.00 | 130.00 | 120900.00 | 130.00 | 120900.00 | 111600.00 | M/s Ramshree Global Constructions Pvt. Ltd.
29.00 | PART - A Civil works Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound) content. With water thinnable cement primer on wall surface having VOC content less than 50 g/L as per specifications and as per directions of Engineer in charge. | 1310.00 | SqM | 70.00 | 65.00 | 85150.00 | 60.00 | 78600.00 | 50.00 | 65500.00 | 65500.00 | PRAKASH M GAUNSKAR
30.00 | PART - A Civil works Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound) content less than 50 g/L, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats as per specifications and as per directions of Engineer in charge. | 1310.00 | SqM | 131.00 | 125.00 | 163750.00 | 130.00 | 170300.00 | 110.00 | 144100.00 | 144100.00 | PRAKASH M GAUNSKAR
31.00 | PART - A Civil works Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives with pure Acrylic Resin, UV resistant, dirt & pick up resistant, Alkali & Water resistant of required shade: New work (Two coats applied @ 1.43 L/10 m² over and including priming coat of exterior primer applied @ 2.20 kg/10 m²) with paint of approved quality to give an even shade, after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. | 660.00 | SqM | 235.00 | 220.00 | 145200.00 | 200.00 | 132000.00 | 200.00 | 132000.00 | 132000.00 | PRAKASH M GAUNSKAR, Sweet Home Constructions
32.00 | PART - A Civil works Providing and laying water proofing treatment to the Roof with PU based single component elastomeric pure polyurethane based coating on New terrace/Chajjas/Sunken portion of WC:Bathroom, cold applied PU waterproofing membrane that is highly elastic with elongation greater than 400% and tensile strength greater than 2MPa as per ASTM D412. The waterproofing membrane to be applied in 2coats @ 1.6 kg/m2 to achieve final DFT (Dry Film Thickness) of 1mm including prime coat of epoxy primer @150 g/m2 and protection with 120gsm Geo-textile over the waterproofing membrane. The finished cost to include surface preparation, making coving at Junction, Bore Packing, treatment of construction joints completely as per specification. | 200.00 | SqM | 1080.00 | 1000.00 | 200000.00 | 1080.00 | 216000.00 | 900.00 | 180000.00 | 180000.00 | PRAKASH M GAUNSKAR
33.00 | PART - A Civil works Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in- charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.) including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. | 10.00 | Kg | 747.00 | 800.00 | 8000.00 | 800.00 | 8000.00 | 720.00 | 7200.00 | 7200.00 | PRAKASH M GAUNSKAR
34.00 | PART - A Civil works Proving and fixing mirror polished Inaugural board of Lacared granite stone of 18 to 20 mm thickness in approved size & shape and quality printed with Computerized Script & "NPCIL LOGO" etc., Inaugural board shall be fixed firmely on the surface of the structure as directed including preparation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, as per site requirement and as directed by Engineer-in-charge at all locations & heights. | 1.00 | Sqm | 17886.00 | 18000.00 | 18000.00 | 17000.00 | 17000.00 | 17000.00 | 17000.00 | 17000.00 | PRAKASH M GAUNSKAR, Sweet Home Constructions
35.00 | PART - B "Water Supply and Sanitary works" Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 2.00 | Each | 3099.00 | 3000.00 | 6000.00 | 3100.00 | 6200.00 | 3300.00 | 6600.00 | 6000.00 | M/s Ramshree Global Constructions Pvt. Ltd.
36.00 | PART - B "Water Supply and Sanitary works" Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 5.00 | Each | 6455.00 | 6200.00 | 31000.00 | 6000.00 | 30000.00 | 6500.00 | 32500.00 | 30000.00 | Sweet Home Constructions
37.00 | PART - B "Water Supply and Sanitary works" Providing and fixing PVC Pipe 110mm outer dia at 2kg per Sqcm.for down comer of rain water. | 25.00 | RM | 205.00 | 195.00 | 4875.00 | 250.00 | 6250.00 | 200.00 | 5000.00 | 4875.00 | M/s Ramshree Global Constructions Pvt. Ltd.
38.00 | PART - B "Water Supply and Sanitary works" Providing and fixing NP2 Class, Pre-Cast RCC, Septic Tank of size 2.50 meter long & 1.20 meter outer dia., including necessary excavation [Size of pit shall be 3.50 mete (L) X 2.20 meter (W) X 1.80 meter (D) in in all sorts of soil, including laying bed PCC 1:4:8 of 100 mm thick using 40 mm down size stone aggregates at bottom of Precast RCC Septic Tank] including loading, carriage, unloading, lowering [without damaging the RCC Septic Tank] in the pit, alighining [to true line & level / slope etc.]; finishing smooth; ensuring smooth functioning & back filling the sides [as directed] etc., providing; fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standard technical specification, manufacturer's technical specification and as directed by the Engineer-in-charge at all locations and at all lifts. | 1.00 | Each | 31951.00 | 30000.00 | 30000.00 | 32000.00 | 32000.00 | 32000.00 | 32000.00 | 30000.00 | M/s Ramshree Global Constructions Pvt. Ltd.
39.00 | PART - B "Water Supply and Sanitary works" Providing and fixing 15 NB, Brass, Clutch Head, Bib tap weight of each shall not be less than 600 grams with all its required accessories and ensuring smooth functioning including providing; fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standard technical specification, manufacturer's technical specification and as directed by the Engineer-in-charge at all locations and at all lifts / heights. | 10.00 | Each | 378.00 | 360.00 | 3600.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 3600.00 | M/s Ramshree Global Constructions Pvt. Ltd.
40.00 | PART - B "Water Supply and Sanitary works" Providing and fixing 15 NB, "Stop Cock" weight of each shall not be less than 450 grams. with all its required accessories and ensuring smooth functioning including providing, fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standard technical specification and as directed by the Engineer-in-charge at all locations and at all lifts / heights. | 5.00 | Each | 395.00 | 380.00 | 1900.00 | 500.00 | 2500.00 | 520.00 | 2600.00 | 1900.00 | M/s Ramshree Global Constructions Pvt. Ltd.
41.00 | PART - B "Water Supply and Sanitary works" Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :25 mm dia Ball Valves | 1.00 | Each | 439.00 | 420.00 | 420.00 | 450.00 | 450.00 | 500.00 | 500.00 | 420.00 | M/s Ramshree Global Constructions Pvt. Ltd.
42.00 | PART - B "Water Supply and Sanitary works" Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making ecessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | l | 12.00 | 11.00 | 11000.00 | 12.00 | 12000.00 | 10.00 | 10000.00 | 10000.00 | PRAKASH M GAUNSKAR
43.00 | PART - B "Water Supply and Sanitary works" Providing and fixing Unplasticised Polyvinyl Chloride (uPVC) pipes, for cold water supply including all uPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step uPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work
43.10 | 15 mm | 40.00 | RM | 185.00 | 175.00 | 7000.00 | 185.00 | 7400.00 | 200.00 | 8000.00 | 7000.00 | M/s Ramshree Global Constructions Pvt. Ltd.
43.20 | 20 mm | 75.00 | RM | 227.00 | 210.00 | 15750.00 | 227.00 | 17025.00 | 220.00 | 16500.00 | 15750.00 | M/s Ramshree Global Constructions Pvt. Ltd.
43.30 | 25 mm | 65.00 | RM | 296.00 | 280.00 | 18200.00 | 296.00 | 19240.00 | 260.00 | 16900.00 | 16900.00 | PRAKASH M GAUNSKAR
44.00 | PART - B "Water Supply and Sanitary works" Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.
44.10 | 15 mm | 50.00 | RM | 408.00 | 400.00 | 20000.00 | 408.00 | 20400.00 | 400.00 | 20000.00 | 20000.00 | PRAKASH M GAUNSKAR, M/s Ramshree Global Constructions Pvt. Ltd.
44.20 | 20 mm | 20.00 | RM | 501.00 | 485.00 | 9700.00 | 501.00 | 10020.00 | 480.00 | 9600.00 | 9600.00 | PRAKASH M GAUNSKAR
45.00 | PART - B "Water Supply and Sanitary works" Providing and fixing Sewer PVC (SWR) pipes, including all fittings, This includes jointing of pipes & fittings with one step solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.
45.10 | 75mm nominal dia pipes | 25.00 | RM | 382.00 | 350.00 | 8750.00 | 382.00 | 9550.00 | 400.00 | 10000.00 | 8750.00 | M/s Ramshree Global Constructions Pvt. Ltd.
45.20 | 110mm nominal dia pipes | 35.00 | RM | 509.00 | 485.00 | 16975.00 | 509.00 | 17815.00 | 520.00 | 18200.00 | 16975.00 | M/s Ramshree Global Constructions Pvt. Ltd.
46.00 | PART - B "Water Supply and Sanitary works" Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :One urinal basin with 5 litre white P.V.C. automatic flushing istern | 3.00 | Nos | 5886.00 | 5800.00 | 17400.00 | 6000.00 | 18000.00 | 6500.00 | 19500.00 | 17400.00 | M/s Ramshree Global Constructions Pvt. Ltd.
47.00 | PART - B "Water Supply and Sanitary works" Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | Each | 1612.00 | 1500.00 | 3000.00 | 1600.00 | 3200.00 | 1900.00 | 3800.00 | 3000.00 | M/s Ramshree Global Constructions Pvt. Ltd.
48.00 | PART - B "Water Supply and Sanitary works" Providing and fixing PVC (S.W.R) Nahani Trap 10cms x 10cms with all fitting arrangements & all necessary accessories complete | 5.00 | Each | 291.00 | 260.00 | 1300.00 | 290.00 | 1450.00 | 300.00 | 1500.00 | 1300.00 | M/s Ramshree Global Constructions Pvt. Ltd.
49.00 | PART - C "Electricals" Supply and laying of O.D.20/25 mm of corrugated PVC rigid/flexible conduits in concealed fashion at Ceiling, column and wall with necessary wire pulling or inspection JB, bends etc along with one run of steel wire. All civil works related to wiring installation such as chasing of walls for embedding PVC conduits and necessary rough plastering should be part of the laying work. The corrugated PVC conduit shall be ISI marked. The item sample shall be shown to engineer in-charge and get approved before bulk All accessories and consumables required for installation are in the scope of contractor to complete the job in all respect. | 340.00 | RM | 112.00 | 100.00 | 34000.00 | 120.00 | 40800.00 | 110.00 | 37400.00 | 34000.00 | M/s Ramshree Global Constructions Pvt. Ltd.
50.00 | PART - C "Electricals" Supply and pulling of wiring for light/ fan points: Supply and Pulling of concealed 20/25mm corrugated PVC rigid/flexible Conduit and wiring for light points, wired from modular switch control with 3Run of 1.5sqmm PVC insulated copper conductor wire as Phase, Neutral and earth for each fitting taken in 20/25mm PVC pipe complete with accessories. All civil works related to wiring installation such as chasing of walls for embedding PVC conduits and necessary rough plastering should be part of the wiring work. Every junction an inspection JB with cover must be provided. The 3 core X 0.75 sq.mm copper flexible cable for connection of LED fixtures and fans. The lighting accessories such as ceiling rose, angle/batten holders and required copper lugs are in contractors scope. All wires are of PVC insulated 650/ 1100 volt grade, copper conductor, multi stranded wire confirming to latest IS : 694. All as instructed by the engineer in-charge. The maker of switch, angle holder, adopter, ceiling rose shall BIS approved make. | 69.00 | point | 2276.00 | 2000.00 | 138000.00 | 2250.00 | 155250.00 | 2100.00 | 144900.00 | 138000.00 | M/s Ramshree Global Constructions Pvt. Ltd.
51.00 | PART - C "Electricals" Supply, Installation and wiring for 6/16 amps, twin socket of modular switch board with the connections. Switch board cover in item no 5.1 .All as instructed by the Engineer in Charge | 18.00 | Nos | 600.00 | 580.00 | 10440.00 | 600.00 | 10800.00 | 580.00 | 10440.00 | 10440.00 | PRAKASH M GAUNSKAR, M/s Ramshree Global Constructions Pvt. Ltd.
52.00 | PART - C "Electricals" Supply and pulling of wiring for lighting/ power circuits : Wire shall PVC insulated 650 / 1100V grade, copper conductor, multi stranded wire confirming to latest IS: 694. The colour code of wires for phase shall be red and black for neutral. The earth wire shall be of green colour to be laid in installed PVC concealed conduit. The required consumables to complete the job of pulling wires are in the scope of contractor.
52.10 | Supply & pulling of 3 run of Wire of(2 run of 2.5 sq mm for Phase and neutral and 1 run of 1.5 sq mm for earth) The wires shall be pulled for main supply from meter board to main switch boards and looping. | 240.00 | RM | 69.00 | 65.00 | 15600.00 | 69.00 | 16560.00 | 70.00 | 16800.00 | 15600.00 | M/s Ramshree Global Constructions Pvt. Ltd.
52.20 | Supply & pulling of 3 run of Wire of(3run of 1.5 sq mm for Phase and neutral and 1 run of 1.5 sq mm for earth) The wires shall be pulled for main supply from Switch board to 10 A switch socket looping and Lighting boards. | 750.00 | RM | 61.00 | 56.00 | 42000.00 | 65.00 | 48750.00 | 60.00 | 45000.00 | 42000.00 | M/s Ramshree Global Constructions Pvt. Ltd.
53.00 | PART - C "Electricals" Supply and installation of GI Metal box 18 SWG for concealed wiring for fixing modular switches including base frame and cover plate as per technical specification. All civil works related to wiring installation such as chasing of walls for embedding PVC conduits and necessary rough plastering should be part of the wiring work.
53.10 | Size 79x135x52 mm for 7 or 9 module solid plate. with base frame | 9.00 | Nos | 1049.00 | 980.00 | 8820.00 | 675.00 | 6075.00 | 1000.00 | 9000.00 | 6075.00 | Sweet Home Constructions
53.20 | Size 79x75x46 mm for 2 or 5 module solid plate. with base frame | 5.00 | Nos | 552.00 | 500.00 | 2500.00 | 1050.00 | 5250.00 | 550.00 | 2750.00 | 2500.00 | M/s Ramshree Global Constructions Pvt. Ltd.
54.00 | PART - C "Electricals" Supply and installation of fan : The fan shall be BIS approved.The item sample shall be shown to engineer in-charge and get approved before bulk supply.
54.10 | Supply and installation of ceiling fan 1200 mm. sweep, 300-375 rpm,230 V, 1 Ph, 50 Hz, AC, brown colour, along with its accessories Item also includes supply of electronic, step type, white colour fan regulators and installing them on Modular switch board. | 14.00 | Nos | 4109.00 | 3900.00 | 54600.00 | 4100.00 | 57400.00 | 4000.00 | 56000.00 | 54600.00 | M/s Ramshree Global Constructions Pvt. Ltd.
54.20 | Supply and installation of Exhaust fan 300 mm dia/ sweep, brown colour. 230 V, 1 Ph, 50 Hz, AC. and its accessories. Also supply of SS Wire mesh guard for back and opening. Installation work includes assembling, fixing at wall with anchor fasteners and making all the connections including earth connection. BIS approved. | 6.00 | Nos | 2454.00 | 2400.00 | 14400.00 | 2400.00 | 14400.00 | 2400.00 | 14400.00 | 14400.00 | PRAKASH M GAUNSKAR, M/s Ramshree Global Constructions Pvt. Ltd., Sweet Home Constructions
55.00 | PART - C "Electricals" Supply and Installation of LED fixtures including all accessories with all connections made up to connector. The fixtures shall be installed on the wall/ ceiling by using two number PVC round block and 6mm coach screw for fixing. Necessary connections has to be made and fittings shall be connected by using adaptor with 3C X 0.5 Sq.mm PVC insulated, PVC sheathed, copper conductor cable from nearest ceiling rose / angle holder. (The angle/ pendent holder is covered in item no.2). All as instructed by the Engineer in Charge and technical specification
55.10 | Supply and Installation of 20-22 watt, cool day white, Batten Type , LED fixtures including all accessories with all connections made up to connector. | 31.00 | Nos | 1364.00 | 1250.00 | 38750.00 | 1360.00 | 42160.00 | 1300.00 | 40300.00 | 38750.00 | M/s Ramshree Global Constructions Pvt. Ltd.
55.20 | Supply and Installation of 7watt, LED (Light emitting Diode) lamp, cool day white, Base B22, Lumen 600, non dimmable, lifetime 15000 hrs with warranty 2 years. | 18.00 | Nos | 128.00 | 120.00 | 2160.00 | 120.00 | 2160.00 | 130.00 | 2340.00 | 2160.00 | M/s Ramshree Global Constructions Pvt. Ltd., Sweet Home Constructions
55.30 | Supply and installation of LED type flood light of 50 W,IP65 Water proof fitting.100 lumens/Watt Size 188 x 216 x 62 mm(LxBxH)appx. | 2.00 | Nos | 1323.00 | 1200.00 | 2400.00 | 2500.00 | 5000.00 | 1400.00 | 2800.00 | 2400.00 | M/s Ramshree Global Constructions Pvt. Ltd.
56.00 | PART - C "Electricals" Supply and installation of plate type earth pit (Confirming to BIS : 3043) with 600mm X 600mm X 6.3mm G.I. plate including all required items such as salt, charcoal etc,. The earth pit shall be of 2.5 meter deep excavated in all type of soil. The plate shall be placed at centre of pit and shall be covered with alternate layer of salt and charcoal. Two number of 50mm X 6mm G.I. flat shall be welded to the plate and brought up to the top of pit. 40mm of medium class G.I. pipe with funnel shall be provided to the full depth of pit for watering. A masonry chamber of 450mm X 450mm (from inside ) with 50mm thick RCC cover with lifting hook shall be provided for earth pit. A G.I wire of 8 SWG shall be connected from earth pit to meter board. All the items to complete the job in all respect is in contractors scope. | 2.00 | Nos | 8535.00 | 9000.00 | 18000.00 | 7000.00 | 14000.00 | 8600.00 | 17200.00 | 14000.00 | Sweet Home Constructions
57.00 | PART - C "Electricals" Supply and providing catnary service connection by using 4.0 sq.mm, 2 run of pvc insulated, pvc sheathed (CTS), aluminium stranded conductor/wire,1100 V,grade, reel insulator and 10 SWG G.I wire. The required accessories such as GI wire, hardwares, binding wire, reel insulators etc to complete the job in all respect is in contractors scope. | 50.00 | RM | 86.00 | 80.00 | 4000.00 | 85.00 | 4250.00 | 75.00 | 3750.00 | 3750.00 | PRAKASH M GAUNSKAR
58.00 | PART - C "Electricals" Supply and installation of metal meter board (size 45cmx30 cm appx),installed with one number 63 amps fuse unit, one number DP, 63 amps, 30 mA sensitivity ELCB (RCCB) 415V. The termination / connection of incoming power service from pole to DB & meter board including earth connection shall be done by contractor. The required accessories such as GI pipe, GI wire, hardwares, GI clamps etc., to complete the job in all respect is in contractors scope. | 1.00 | Nos | 7060.00 | 6800.00 | 6800.00 | 7100.00 | 7100.00 | 7000.00 | 7000.00 | 6800.00 | M/s Ramshree Global Constructions Pvt. Ltd.
59.00 | PART - C "Electricals" Supply and installation of single phase MCB DB 8 Way,-1 No.The DB Consisting of 1 No DP 25 Amp,, 415 V, MCB and 4 numbers of10 amps, single pole MCB's with concealed mounting type metal enclosure DB. And supply of cable end box 6 way (2 nos) concealed mounting type. The DB shall mount on concealed fashion and the required hardware’s and wall chasing and finishing are in contractors scope. All Lighting Circuit MCB shall connect to change over switch MCB. | 2.00 | set | 5855.00 | 6000.00 | 12000.00 | 5850.00 | 11700.00 | 5700.00 | 11400.00 | 11400.00 | PRAKASH M GAUNSKAR
60.00 | PART - C "Electricals" Supply and installation of Plastic cable end box in concealed mounting fashion for cable end. The required hardwares and wall chasing and finishing are in contractor’s scope. | 2.00 | Nos | 513.00 | 490.00 | 980.00 | 512.00 | 1024.00 | 500.00 | 1000.00 | 980.00 | M/s Ramshree Global Constructions Pvt. Ltd.
61.00 | PART - C "Electricals" GENERAL NOTE FOR ABOVE ITEMS. 1] work shall be executed as specified in the each item description and as directed by the Engineer-in-charge. 2] Item Description shall be read in conjunction with the Technical specification and, drawing, General conditions of the contract and all other terms & conditions specified in the entire bid document.3) All items shall be ISI / BIS approved & marked as per the latest version of relevant BIS wherever applicable.
| Total in Figures |  |  |  |  | 10120245.00 |  | 10378804.00 |  | 9938230.00
Lowest Amount Quoted BY: PRAKASH M GAUNSKAR(9938230.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Higher Primary School building at Ulga Village Tq. Karwar. Tender ID: 2024_NPCIL_221129_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PRAKASH M GAUNSKAR (BID ID -807989) | 9938230.00 | L1
| 2 | M/s Ramshree Global Constructions Pvt. Ltd. (BID ID -808565) | 10120245.00 | L2
| 3 | Sweet Home Constructions (BID ID -809078) | 10378804.00 | L3