## BoQ1
Government eProcurement System Created By: Omkar Chaturvedi Created Date/Time: 08-Jan-2025 04:21 PM Tender Title: Execution and Supervision Assistance of miscellaneous Control and Instrumentation works of RAPP-7 and 8. Tender ID: 2024_NPCIL_221192_1
Tender Inviting Authority: CCE, RAPP-7&8
Name of Work:Execution and Supervision/Assistance of miscellaneous Control & Instrumentation works of RAPP-7&8.
Contract No: NPC/RRS/78/2024/CPP-LT-B 2773R
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BALDOTA CONTROL AND EQUIPMENTS PVT LTD (GSTN-NA) BID ID -802931 |  | Space Controls (GSTN-NA) BID ID -804065 |  | JAGGI ELECTRICALS (GSTN-NA) BID ID -804273
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Installation of MS hot dip galvanised light channel including the installation of supports, supply of anchor fasteners/Hilti bolt, Cutting, welding, fastening hardware and painting of supports.
1.10 | 30 x 90 x 30 x 2mm thick. | 1500.00 | Mtrs | 0.00 | 154.00 | 231000.00 | 416.00 | 624000.00 | 429.00 | 643500.00 | 231000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
1.20 | 30 x 125 x 30 x 2 mm thick. | 1500.00 | Mtrs | 0.00 | 190.00 | 285000.00 | 527.00 | 790500.00 | 529.00 | 793500.00 | 285000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
2.00 | Installation of Solid/Ladder GI Cable Tray of size 150mm including the installation of supports, supply of anchor fasteners/Hilti bolt, Cutting, welding, fastening hardware and painting of supports. | 1000.00 | Mtrs | 0.00 | 208.00 | 208000.00 | 610.00 | 610000.00 | 629.00 | 629000.00 | 208000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
3.00 | Installation of GS earthing leads of following sizes for connecting equipment earthing terminal to nearest earthing pads including lug to equipment/ welding & painting at earthing pad, making chase in the floor, grouting the chased area of the floor, hardware, clamping & anchoring etc., as required/ specified
3.10 | 50 X 6 mm GS Flat | 200.00 | Mtrs | 0.00 | 107.00 | 21400.00 | 277.00 | 55400.00 | 209.00 | 41800.00 | 21400.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
3.20 | 35 X 6 mm or 40 X 6 GS Flat | 500.00 | Mtrs | 0.00 | 73.00 | 36500.00 | 255.00 | 127500.00 | 129.00 | 64500.00 | 36500.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
3.30 | 25 X 3 mm GS Flat | 2000.00 | Mtrs | 0.00 | 56.00 | 112000.00 | 189.00 | 378000.00 | 119.00 | 238000.00 | 112000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
4.00 | Laying of Un armoured control cables (LHLS/Co-Axial/Rubber/ ETFE/FS/Thermocouple extension/PEEK etc.) on light channel/conduit/cable tray in following sizes including Loading/unloading of cable drum from stores, supply of clamps, spacer, fastening hardware and any other items required (Cabling between sensors to FJBs/Field panels and FJBs/ Field panels to MJBs).
4.10 | Size- OD sizes up to 30mm 1 pair, 2 pair / 3 pair/3 core/ 4 pair/4 core, 5 pair/ 7, 10 pair/ 20 core, Co-axial, OFC,UTP,STP etc. | 30000.00 | Mtrs. | 0.00 | 82.00 | 2460000.00 | 55.00 | 1650000.00 | 49.00 | 1470000.00 | 1470000.00 | JAGGI ELECTRICALS
4.20 | Size- OD-Sizes above 30mm 25 pair/ 10 triad, 50 pair etc. | 10000.00 | Mtrs. | 0.00 | 105.00 | 1050000.00 | 89.00 | 890000.00 | 79.00 | 790000.00 | 790000.00 | JAGGI ELECTRICALS
5.00 | Glanding of Un-armoured cable by using nickel plated brass double compression cable glands (This does not include supply of cable Glands)
5.10 | Size- OD sizes up to 30mm 1 pair, 2 pair / 3 pair/3 core/ 4 pair/4 core, 5 pair/ 7, 10 pair/ 20 core, Co-axial, OFC,UTP,STP etc. | 1000.00 | Nos. | 0.00 | 209.00 | 209000.00 | 277.00 | 277000.00 | 249.00 | 249000.00 | 209000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
5.20 | Size- OD-Sizes above 30mm & upto 55mm of 25 pair/ 10 triad, 50/100 pair etc. | 500.00 | Nos. | 0.00 | 319.00 | 159500.00 | 499.00 | 249500.00 | 429.00 | 214500.00 | 159500.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
6.00 | Terminations/Splicing of Optical Fiber Cable (OFC) MM or SM (each fibre) including supply of consumables Testing: OTDR & identification sleeves. | 250.00 | Nos | 0.00 | 414.00 | 103500.00 | 944.00 | 236000.00 | 499.00 | 124750.00 | 103500.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
7.00 | Installation of hot dipped galvanized GI rigid/flexible conduit in following sizes including installation of all accessories like 2/3/4 way boxes, bends, elbows, couplers saddles, spacers, etc. and other accessories required to complete the job on wall/ ceiling, including colour marking at suitable distance for identification of system.
7.10 | Rigid conduit size up to 25 mm | 4000.00 | Mtrs. | 0.00 | 92.00 | 368000.00 | 200.00 | 800000.00 | 199.00 | 796000.00 | 368000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
7.20 | Rigid conduit size above 25 mm up to 40 mm | 200.00 | Mtrs. | 0.00 | 144.00 | 28800.00 | 229.00 | 45800.00 | 229.00 | 45800.00 | 28800.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
8.00 | Cutting, Fabrication, Installation & Clamping of GI sheet of 1 mm to 2 mm thick on over filled cable trays wherever already fabricated cable tray cover are not fitting properly. The rates shall includes supply of aluminium strip/flat of 25x2 mm thick size from which clamps shall be fabricated to suit site conditions. | 200.00 | SqMtr | 0.00 | 579.00 | 115800.00 | 360.00 | 72000.00 | 299.00 | 59800.00 | 59800.00 | JAGGI ELECTRICALS
9.00 | Loading, Unloading, Shifting and Installation of Junction Boxes (JBs)/ wall mounted racks/LCPs (Maximum Size 805x725x210mm) including Shifting, assembly and installation of terminal blocks, including installation of MS brackets/supports by Hilti bolt/anchoring or welding supply of welding material, fastening hardware or Hilti bolt/anchor. | 20.00 | Nos | 0.00 | 8831.00 | 176620.00 | 4991.00 | 99820.00 | 4999.00 | 99980.00 | 99820.00 | Space Controls
10.00 | Loading, Unloading, Shifting and Installation of Field panels/Racks (Size 2200x800x900mm) on floor including installation of supports/brackets/base frame by welding/anchoring Hilti bolt including supply of welding material or Hilti bolt/anchor. | 10.00 | Nos | 0.00 | 13500.00 | 135000.00 | 13310.00 | 133100.00 | 6399.00 | 63990.00 | 63990.00 | JAGGI ELECTRICALS
11.00 | Cleaning, fabrication and laying of copper tube of size Up to 12mm OD, on light channels, spacers or on MS brackets including the supply of fastening hardware and tube clamps. | 2000.00 | Mtrs | 0.00 | 132.00 | 264000.00 | 388.00 | 776000.00 | 349.00 | 698000.00 | 264000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
12.00 | Termination of Copper tube of size up to 12mm OD by installation of brass compression fittings.( A Union shall be counted as 2 nos. of swaged joints) | 1000.00 | Nos | 0.00 | 160.00 | 160000.00 | 222.00 | 222000.00 | 199.00 | 199000.00 | 160000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
13.00 | Cleaning, fabrication and laying of SS tube of size Up to 12mm OD, on light channels, spacers or on MS brackets including the supply of fastening hardware and tube clamps | 500.00 | Mtrs | 0.00 | 289.00 | 144500.00 | 499.00 | 249500.00 | 449.00 | 224500.00 | 144500.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
14.00 | Termination of SS tube of size up to 12mm OD by installation of brass compression fittings.( A Union shall be counted as 2 nos. of swaged joints) | 250.00 | Nos | 0.00 | 211.00 | 52750.00 | 277.00 | 69250.00 | 349.00 | 87250.00 | 52750.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
15.00 | Excavation of cable trench including blasting if required up to size 200 mm x 500 mm including back filling after laying of cables and compacting. Whenever roads are cut, the same shall be normalized. It includes supply and filling of sands into 100 mm layers all along the trench and over the cable and supply and laying of A grade backed bricks longitudinally all along the trench and over the cable and install cable markers. | 200.00 | Cu. Mtrs. | 0.00 | 5117.00 | 1023400.00 | 1664.00 | 332800.00 | 1729.00 | 345800.00 | 332800.00 | Space Controls
16.00 | Supply of Multi mode LC-LC 2m long duplex OFC patch cord as details mentioned in Technical specification. | 250.00 | Nos | 0.00 | 3104.00 | 776000.00 | 1770.00 | 442500.00 | 1849.00 | 462250.00 | 442500.00 | Space Controls
17.00 | Supply of STP CAT-6A patch cords (1mtr length) as detailed in technical specifications. | 400.00 | Nos | 0.00 | 346.00 | 138400.00 | 1062.00 | 424800.00 | 899.00 | 359600.00 | 138400.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
18.00 | Supply of Ferrule/PVC Sleeve printing machine for Control wires tagging along with 50 nos of Black colour printer cartridges | 1.00 | No. | 0.00 | 82579.00 | 82579.00 | 132750.00 | 132750.00 | 175899.00 | 175899.00 | 82579.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
19.00 | Supply of various sizes of 10mm & 12 mm OD Brass Tube fittings as details mentioned in Technical specification. | 1.00 | Set | 0.00 | 926285.00 | 926285.00 | 1345200.00 | 1345200.00 | 1999999.00 | 1999999.00 | 926285.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
20.00 | Supply of various sizes of 6mm, 10mm & 12 mm SS Tube fittings as detailed in Technical specifications. | 1.00 | Set | 0.00 | 8706486.00 | 8706486.00 | 10123883.00 | 10123883.00 | 10299999.00 | 10299999.00 | 8706486.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
21.00 | Supply of various sizes of double compression weatherproof brass cable glands duly nickel plated as per BS EN 62444 / BS 6121 & IP 66 suitable for un-armoured cables.
21.10 | 19mm | 100.00 | Nos. | 0.00 | 245.00 | 24500.00 | 295.00 | 29500.00 | 329.00 | 32900.00 | 24500.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
21.20 | 25mm | 100.00 | Nos. | 0.00 | 430.00 | 43000.00 | 369.00 | 36900.00 | 409.00 | 40900.00 | 36900.00 | Space Controls
21.30 | 29mm | 100.00 | Nos. | 0.00 | 741.00 | 74100.00 | 443.00 | 44300.00 | 549.00 | 54900.00 | 44300.00 | Space Controls
21.40 | 38mm | 100.00 | Nos. | 0.00 | 870.00 | 87000.00 | 1106.00 | 110600.00 | 1099.00 | 109900.00 | 87000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
21.50 | 40mm | 100.00 | Nos. | 0.00 | 1004.00 | 100400.00 | 1180.00 | 118000.00 | 1199.00 | 119900.00 | 100400.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
21.60 | 51mm | 50.00 | Nos. | 0.00 | 1276.00 | 63800.00 | 1328.00 | 66400.00 | 1529.00 | 76450.00 | 63800.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
21.70 | 64mm | 50.00 | Nos. | 0.00 | 2180.00 | 109000.00 | 2508.00 | 125400.00 | 2499.00 | 124950.00 | 109000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
22.00 | Supply of MS hot dip galvanised light channel 30 x 125 x 30 x 2 mm thick as detailed in Technical specifications | 2000.00 | Mtrs | 0.00 | 279.00 | 558000.00 | 541.00 | 1082000.00 | 629.00 | 1258000.00 | 558000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
23.00 | Supply of MS hot dip galvanised light channel 30 x 90 x 30 x 2 mm thick as detailed in Technical specifications | 2000.00 | Mtrs | 0.00 | 338.00 | 676000.00 | 436.00 | 872000.00 | 529.00 | 1058000.00 | 676000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
24.00 | Supply of 25 mm GI rigid conduit as detailed in Technical specifications | 500.00 | Mtrs | 0.00 | 375.00 | 187500.00 | 184.00 | 92000.00 | 179.00 | 89500.00 | 89500.00 | JAGGI ELECTRICALS
25.00 | Supply of 25mm GI flexible conduit as detailed in Technical specifications | 1000.00 | Mtrs | 0.00 | 116.00 | 116000.00 | 74.00 | 74000.00 | 79.00 | 79000.00 | 74000.00 | Space Controls
26.00 | Supply of 15U wall mount Network Rack having Minimum Depth-600mm 2nos of Heat dissipation fans 01 no of Power distribution board as detailed in Technical specifications | 16.00 | Nos | 0.00 | 14663.00 | 234608.00 | 14750.00 | 236000.00 | 11999.00 | 191984.00 | 191984.00 | JAGGI ELECTRICALS
27.00 | Supply of 1.5 sq. mm 2 pair EPR insulated LHLS sheathed unarmoured overall shielded Instrumentation cables as per details mentioned in attached Technical specifications | 3000.00 | Mtrs | 0.00 | 174.00 | 522000.00 | 223.00 | 669000.00 | 259.00 | 777000.00 | 522000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
28.00 | Supply of 1.5 sq. mm 10 pair EPR insulated LHLS sheathed unarmoured overall shielded Instrumentation cables as per details mentioned in attached Technical specifications | 6000.00 | Mtrs | 0.00 | 601.00 | 3606000.00 | 784.00 | 4704000.00 | 899.00 | 5394000.00 | 3606000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
29.00 | Supply of 1.5 sq. mm 25 pair EPR insulated LHLS sheathed unarmoured overall shielded Instrumentation cables as per details mentioned in attached Technical specifications | 5000.00 | Mtrs | 0.00 | 1387.00 | 6935000.00 | 1819.00 | 9095000.00 | 1999.00 | 9995000.00 | 6935000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
30.00 | Supply of Copper tube of 10mm OD x 1.2mm WT as per details mentioned in attached Technical specifications | 5000.00 | Mtrs | 0.00 | 453.00 | 2265000.00 | 474.00 | 2370000.00 | 499.00 | 2495000.00 | 2265000.00 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD
31.00 | Rates for use of Contractor’s Personnel for Purchaser’s use for performing the works beyond the scope of the above BBU of Contract.
31.10 | Services of C&I field works to be executed by engaging Highly skilled Labour-Supervisor as per details mentioned in technical specifications | 1350.00 | Nos | 0.00 | 2135.00 | 2882250.00 | 1600.00 | 2160000.00 | 1679.00 | 2266650.00 | 2160000.00 | Space Controls
31.20 | Services of C&I field works to be executed by engaging Skilled Labour- Technician as per details mentioned in technical specifications | 2700.00 | Nos | 0.00 | 1929.00 | 5208300.00 | 1362.00 | 3677400.00 | 1429.00 | 3858300.00 | 3677400.00 | Space Controls
31.30 | Services of C&I field works to be executed by engaging Semi-Skilled Labour- as per details mentioned in technical specifications | 1350.00 | Nos | 0.00 | 1596.00 | 2154600.00 | 1132.00 | 1528200.00 | 1189.00 | 1605150.00 | 1528200.00 | Space Controls
31.40 | Contingency services provided for item no. 31.1 as per details mentioned in technical specification | 1350.00 | Nos | 0.00 | 474.00 | 639900.00 | 266.00 | 359100.00 | 259.00 | 349650.00 | 349650.00 | JAGGI ELECTRICALS
31.50 | Contingency services provided for item no. 31.2 as per details mentioned in technical specification | 2700.00 | Nos | 0.00 | 429.00 | 1158300.00 | 227.00 | 612900.00 | 219.00 | 591300.00 | 591300.00 | JAGGI ELECTRICALS
31.60 | Contingency services provided for item no. 31.3 as per details mentioned in technical specification | 1350.00 | Nos | 0.00 | 355.00 | 479250.00 | 188.00 | 253800.00 | 189.00 | 255150.00 | 253800.00 | Space Controls
| Total in Figures |  |  |  |  | 46099028.00 |  | 49473803.00 |  | 52000001.00
Lowest Amount Quoted BY: BALDOTA CONTROL AND EQUIPMENTS PVT LTD(46099028.00)

## BOQ Summary
BOQ Summary Details Tender Title: Execution and Supervision Assistance of miscellaneous Control and Instrumentation works of RAPP-7 and 8. Tender ID: 2024_NPCIL_221192_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BALDOTA CONTROL AND EQUIPMENTS PVT LTD (BID ID -802931) | 46099028.00 | L1
| 2 | Space Controls (BID ID -804065) | 49473803.00 | L2
| 3 | JAGGI ELECTRICALS (BID ID -804273) | 52000001.00 | L3