## BoQ1
Government eProcurement System Created By: Shivkumar Sonkere Created Date/Time: 22-Feb-2025 03:06 PM Tender Title: Internal Electrification and Establishment of Fire alarm system, CCTV surveillance System, Public announcement system, communication system and Audio and Video Conferencing solution at Construction Office Building of Kaiga 5 and 6. Tender ID: 2024_NPCIL_221781_1
Tender Inviting Authority: Chief Engineer, Kaiga 5&6
Name of Work: Internal Electrification and Establishment of Fire Alarm System, CCTV Surveillance System, Public Announcement System, Communication System and Audio & Video Conferencing Solution at Construction Office Building of Kaiga 5&6.
Contract No: CPPP/2024/062
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ascent Networks Pvt Ltd (GSTN-27AAACB0666L1ZM) BID ID -812645 |  | Puthur Infotech PVT LTD (GSTN-29AAECP0946R1ZP) BID ID -815243 |  | JAGGI ELECTRICALS (GSTN-NA) BID ID -812761 |  | Space Controls (GSTN-NA) BID ID -815828
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part-A - Electrifical Works: Fabrication, Supply, Installation, testing & commissioning of Following rating 3 phase with neutral medium voltage floor standing cubicle type outdoor panel with the followings. The panel shall have degree of protection not less than IP 54. The panel shall be complete with internal wiring, measuring digital type meters, selector switches, CT's, LED type indicating lamps etc. shall be provided for incomer. The Panel shall be fabricated using ISA, 14SWG CRCA sheet & Painted with one coat of epoxy primer, 2 coats of epoxy grey paint. The fabrication/general arrangement/ wiring diagram and make of the materials shall be got approved by the Engineer -in- charge before fabrication. All as per technical specification and as directed by the Engineer -in- charge.
1.01 | Part-A - Electrifical Works: Supply of 250 Amps Feeder piller panel outdoor type with canopy a) 250 Amps 4 Pole 36 kA MCCB with Microprocessor Based - 01 no. as incomer. b) 100 Amps 4 Pole TM release 25 kA MCCB - 02nos. as outgoing. b) 63 Amps 4 Pole TM release 25 kA MCCB - 02nos. as outgoing. c) 32 Amps 4 Pole TM release 25 kA MCCB - 02nos. as outgoing. | 2.00 | Set | 343715.00 | 300900.00 | 601800.00 | 362520.00 | 725040.00 | 329999.00 | 659998.00 | 350000.00 | 700000.00 | 601800.00 | Ascent Networks Pvt Ltd
1.02 | Part-A - Electrifical Works: Supply of 800 Amps PDB panel outdoor type with canopy a) 800 Amps 4 Pole 50 kA ACB with Microprocessor Based - 01 no. as incomer. b) 250 Amps 4 Pole TM release 25 kA MCCB - 02nos. as outgoing. b) 125 Amps 4 Pole TM release 25 kA MCCB - 02nos. as outgoing. c) 100 Amps 4 Pole TM release 25 kA MCCB - 02nos. as outgoing. | 3.00 | Set | 601501.00 | 531000.00 | 1593000.00 | 636000.00 | 1908000.00 | 609999.00 | 1829997.00 | 610000.00 | 1830000.00 | 1593000.00 | Ascent Networks Pvt Ltd
1.03 | Part-A - Electrifical Works: Installation of above panel mentioned in item no. 1.01 & 1.02 | 3.00 | Set | 9099.00 | 8260.00 | 24780.00 | 9900.00 | 29700.00 | 7999.00 | 23997.00 | 9200.00 | 27600.00 | 23997.00 | JAGGI ELECTRICALS
2.00 | Part-A - Electrifical Works: Excavation of cable trench in any type of soil including literate strata of size 400mm (width) X 600mm (depth)X length in Mtrs. with supply and spreading river sand below and above the cable to a thickness of 100mm. Supply and providing well burnt bricks for covering the cable on both sides & top after cable laying throughout the cable length. In case the depth of the excavated trench is less than 600mm due to rock, in such portion of length, semicircular cement pipe/C- channel etc shall be kept & concreted by providing required materials as per site requirement. Excavated trench shall be back filled using the available soil. | 800.00 | Mtrs. | 614.00 | 708.00 | 566400.00 | 655.00 | 524000.00 | 559.00 | 447200.00 | 490.00 | 392000.00 | 392000.00 | Space Controls
3.00 | Part-A - Electrifical Works: Laying of following size 1.1 kV armoured aluminium, XLPE insulated power cable. (Cable will be issued from NPCIL as free issue item & contractor has to arrange manpower for transportation from store to Site). All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
3.01 | Part-A - Electrifical Works: Up to 40 mm over all diameter | 500.00 | Mtr. | 92.00 | 76.70 | 38350.00 | 93.00 | 46500.00 | 59.00 | 29500.00 | 80.00 | 40000.00 | 29500.00 | JAGGI ELECTRICALS
3.02 | Part-A - Electrifical Works: 41 mm to 100 mm over all diameter | 700.00 | Mtr. | 119.00 | 106.20 | 74340.00 | 110.00 | 77000.00 | 99.00 | 69300.00 | 90.00 | 63000.00 | 63000.00 | Space Controls
4.00 | Part-A - Electrifical Works: Glanding, termination, connections & testing of armoured / unarmoured cables for following sizes of cables (The required glands only will be issued by NPCIL as free issue item & contractor has to arrange for transportation from NPCIL store to work site).The glanding of shall be done as per requirement. All materials including suitable size lugs, insulation tape, crimping paste etc., is in the scope of contract. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
4.01 | Part-A - Electrifical Works: Up to 40 mm over all diameter | 12.00 | Nos. | 854.00 | 767.00 | 9204.00 | 852.00 | 10224.00 | 599.00 | 7188.00 | 750.00 | 9000.00 | 7188.00 | JAGGI ELECTRICALS
4.02 | Part-A - Electrifical Works: 41 mm to 100 mm over all diameter | 6.00 | Nos. | 1630.00 | 1416.00 | 8496.00 | 1650.00 | 9900.00 | 1199.00 | 7194.00 | 1300.00 | 7800.00 | 7194.00 | JAGGI ELECTRICALS
5.00 | Part-A - Electrifical Works: Supply of maintenance free earthing stations as per technical specifications. The Maintenance free earth pit station made out of 3 Mtrs. length, 80mm dia Copper 250 micron coated/ GI Pipe and back filling compound & masonry chamber or readymade FRP pit cover as per IS - 3043 at location shown by the Engineer. All as per technical specifications. | 20.00 | Nos. | 5802.00 | 5310.00 | 106200.00 | 6042.00 | 120840.00 | 4999.00 | 99980.00 | 8000.00 | 160000.00 | 99980.00 | JAGGI ELECTRICALS
6.00 | Part-A - Electrifical Works: Installation, testing & commissioning above maintenance free earthing stations supplied against item no. 5 at location shown by the Engineer in charge. The scope of work includes excavation of earth to the required depth and back filling with back filling compound after installation of earth electrode etc., as per technical specifications and as directed by the Engineer in charge. | 20.00 | Nos. | 4616.00 | 4130.00 | 82600.00 | 4950.00 | 99000.00 | 4599.00 | 91980.00 | 3500.00 | 70000.00 | 70000.00 | Space Controls
7.00 | Part-A - Electrifical Works: Supply & installation of 25 X 3 mm sizes of GI flat for structure/ DB/equipment earthing purpose. Flat shall be laid on floor surface /along the panel/ below finished ground level (if required) and through routes as directed by Engineer -in -Charge. The scope of work includes clamping of flat at an interval of 500 mm on wall /structure/equipment surface, laying in ground by excavating to a depth of about 300mm & in trench/floor & bending, drilling, welding & connection with required G.I hardwares etc & all other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
7.01 | Part-A - Electrifical Works: Supply | 1000.00 | Mtr. | 109.00 | 94.40 | 94400.00 | 106.00 | 106000.00 | 89.00 | 89000.00 | 90.00 | 90000.00 | 89000.00 | JAGGI ELECTRICALS
7.02 | Part-A - Electrifical Works: Installation | 1000.00 | Mtr. | 119.00 | 106.20 | 106200.00 | 105.00 | 105000.00 | 69.00 | 69000.00 | 100.00 | 100000.00 | 69000.00 | JAGGI ELECTRICALS
8.00 | Part-A - Electrifical Works: Installation of 415 Volts 8/12 way TPN Double door, tinned copper vertical bus bar type MCB Distribution boards with specified MCB units. Installation includes Supply of required fixing screws, nuts & washers etc. Installation covers, supply of all consumables, rawal plug/wooden screws etc to complete the installation in all respect. (The required MCB DB will be issued by NPCIL as free issue item & contractor has to arrange for transportation from NPCIL store to work site). All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition. | 8.00 | Nos. | 2466.00 | 2124.00 | 16992.00 | 2640.00 | 21120.00 | 1899.00 | 15192.00 | 1700.00 | 13600.00 | 13600.00 | Space Controls
9.00 | Part-A - Electrifical Works: Supply and pulling of following size 1100 Volts grade PVC insulated FRLS copper conductor (multi-stranded) wire in already installed conduit/casing & capping for lighting/power circuits. The contractor has to supply the wire of required colour code for each phase, neutral & earth. The wire shall be terminated at both ends with using lugs & proper identification ferrules. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
9.01 | Part-A - Electrifical Works: Supply of 1.5 sq.mm Copper wire | 10000.00 | Mtr | 33.00 | 29.50 | 295000.00 | 32.00 | 320000.00 | 29.00 | 290000.00 | 21.00 | 210000.00 | 210000.00 | Space Controls
9.02 | Part-A - Electrifical Works: Supply of 2.5 sq.mm Copper wire | 10000.00 | Mtr | 52.00 | 47.20 | 472000.00 | 53.00 | 530000.00 | 39.00 | 390000.00 | 36.00 | 360000.00 | 360000.00 | Space Controls
9.03 | Part-A - Electrifical Works: Supply of 4 sq.mm Copper wire | 5000.00 | Mtr | 76.00 | 67.26 | 336300.00 | 78.00 | 390000.00 | 59.00 | 295000.00 | 52.00 | 260000.00 | 260000.00 | Space Controls
9.04 | Part-A - Electrifical Works: Supply of 6 sq.mm Copper wire | 5000.00 | Mtr | 115.00 | 106.20 | 531000.00 | 111.00 | 555000.00 | 89.00 | 445000.00 | 80.00 | 400000.00 | 400000.00 | Space Controls
9.05 | Part-A - Electrifical Works: Supply of 10 sq.mm Copper wire | 500.00 | Mtr | 197.00 | 182.90 | 91450.00 | 196.00 | 98000.00 | 159.00 | 79500.00 | 150.00 | 75000.00 | 75000.00 | Space Controls
9.06 | Part-A - Electrifical Works: Pulling of 1.5 sq.mm / 2.5 sq.mm copper wire | 20000.00 | Mtr | 19.00 | 16.52 | 330400.00 | 19.00 | 380000.00 | 19.00 | 380000.00 | 15.00 | 300000.00 | 300000.00 | Space Controls
9.07 | Part-A - Electrifical Works: Pulling of 4 sq.mm / 6 sq.mm copper wire | 10000.00 | Mtr | 19.00 | 16.52 | 165200.00 | 19.00 | 190000.00 | 19.00 | 190000.00 | 15.00 | 150000.00 | 150000.00 | Space Controls
9.08 | Part-A - Electrifical Works: Pulling of 10 sq.mm copper wire | 500.00 | Mtr | 25.00 | 21.24 | 10620.00 | 25.00 | 12500.00 | 19.00 | 9500.00 | 20.00 | 10000.00 | 9500.00 | JAGGI ELECTRICALS
10.00 | Part-A - Electrifical Works: Supply and installation of modular slim switch, power socket, fan regulators, bulb holder, Blank switch plate,Ceiling rose as per following. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition
10.01 | Part-A - Electrifical Works: Supply of 6A, SP switch for light/power point/ceiling fans control. Similar to Havells make model No.AHFSXXW061. | 750.00 | Nos. | 55.00 | 48.38 | 36285.00 | 55.00 | 41250.00 | 49.00 | 36750.00 | 45.00 | 33750.00 | 33750.00 | Space Controls
10.02 | Part-A - Electrifical Works: Supply of 6A, SP Flat switch for light/power point/ceiling fans control. Similar to Havells make model No.ACGZPXG061. | 150.00 | Nos. | 84.00 | 75.52 | 11328.00 | 85.00 | 12750.00 | 79.00 | 11850.00 | 70.00 | 10500.00 | 10500.00 | Space Controls
10.03 | Part-A - Electrifical Works: Supply of 6A socket for 3 pin, shutter type. Similar to Havells make model No.AHFKPXW063. | 320.00 | Nos. | 159.00 | 141.60 | 45312.00 | 159.00 | 50880.00 | 149.00 | 47680.00 | 140.00 | 44800.00 | 44800.00 | Space Controls
10.04 | Part-A - Electrifical Works: Supply of 6A socket for 3 pin, shutter type. Similar to Havells make model No.ACGKPWG063. | 60.00 | Nos. | 201.00 | 182.90 | 10974.00 | 207.00 | 12420.00 | 189.00 | 11340.00 | 185.00 | 11100.00 | 10974.00 | Ascent Networks Pvt Ltd
10.05 | Part-A - Electrifical Works: Supply of Electronic step type fan regulator Similar to Havells make model No.AHFRFXW004. | 110.00 | Nos. | 479.00 | 383.50 | 42185.00 | 498.00 | 54780.00 | 449.00 | 49390.00 | 425.00 | 46750.00 | 42185.00 | Ascent Networks Pvt Ltd
10.06 | Part-A - Electrifical Works: Supply of Electronic step type fan regulator Similar to Havells make model No. ACGRFXG104. | 35.00 | Nos. | 614.00 | 531.00 | 18585.00 | 636.00 | 22260.00 | 579.00 | 20265.00 | 550.00 | 19250.00 | 18585.00 | Ascent Networks Pvt Ltd
10.07 | Part-A - Electrifical Works: Supply of 16A, SP switch with Neon Indicator for power point. Similar to Havells make model No.AHFSXIW161. | 20.00 | Nos. | 198.00 | 177.00 | 3540.00 | 196.00 | 3920.00 | 169.00 | 3380.00 | 200.00 | 4000.00 | 3380.00 | JAGGI ELECTRICALS
10.08 | Part-A - Electrifical Works: Supply of 16A, SP switch with Neon Indicator for power point. Similar to Havells make model No.ACGZPIG161. | 20.00 | Nos. | 333.00 | 298.54 | 5970.80 | 334.00 | 6680.00 | 299.00 | 5980.00 | 325.00 | 6500.00 | 5970.80 | Ascent Networks Pvt Ltd
10.09 | Part-A - Electrifical Works: Supply of 16 A & 6A Twin Socket (Heavy duty), shutter type. Similar to Havells make model No.AHFKCXW253. | 20.00 | Nos. | 299.00 | 283.20 | 5664.00 | 291.00 | 5820.00 | 279.00 | 5580.00 | 275.00 | 5500.00 | 5500.00 | Space Controls
10.10 | Part-A - Electrifical Works: Supply of 16 A & 6A Twin Socket (Heavy duty), shutter type. Similar to Havells make model No.ACGKSWG163. | 20.00 | Nos. | 340.00 | 330.40 | 6608.00 | 345.00 | 6900.00 | 319.00 | 6380.00 | 325.00 | 6500.00 | 6380.00 | JAGGI ELECTRICALS
10.11 | Part-A - Electrifical Works: Supply of white color round angle bulb holder similar to Anchor by panasonic Cat No:39673 | 25.00 | Nos. | 68.00 | 64.90 | 1622.50 | 64.00 | 1600.00 | 59.00 | 1475.00 | 60.00 | 1500.00 | 1475.00 | JAGGI ELECTRICALS
10.12 | Part-A - Electrifical Works: Supply of 3 plate ceiling rose similar to Penta Anchor make model No.39040 | 50.00 | Nos. | 37.00 | 36.58 | 1829.00 | 34.00 | 1700.00 | 29.00 | 1450.00 | 40.00 | 2000.00 | 1450.00 | JAGGI ELECTRICALS
10.13 | Part-A - Electrifical Works: Installation of above item no.10.01 to 10.12 | 1580.00 | Nos. | 32.00 | 31.86 | 50338.80 | 31.00 | 48980.00 | 29.00 | 45820.00 | 25.00 | 39500.00 | 39500.00 | Space Controls
10.14 | Part-A - Electrifical Works: Supply and installation of Blank switch plate of 1 module for switch board to fill the extra/ balance gap of modular switch board. | 200.00 | Nos. | 70.00 | 70.80 | 14160.00 | 72.00 | 14400.00 | 59.00 | 11800.00 | 70.00 | 14000.00 | 11800.00 | JAGGI ELECTRICALS
10.15 | Part-A - Electrifical Works: Supply and installation of PVC Electrical Round plate/ Holder plate/ Junction plate | 600.00 | Nos. | 59.00 | 59.00 | 35400.00 | 60.00 | 36000.00 | 49.00 | 29400.00 | 55.00 | 33000.00 | 29400.00 | JAGGI ELECTRICALS
11.00 | Part-A - Electrifical Works: Supply and installation of following size PVC base frame and front plate for accommodating above supplied switches/socket in already embeded Concealed GI Sheet Metal box modular switch board . Installation covers, supply of all consumables, rawal plug/wooden screws etc to complete the installation in all respect. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
11.01 | Part-A - Electrifical Works: Supply of 4 modular switch board PC White inner plate & mounting plate similar to Havells model No: AHXPLIWV04 & AHXPL0WV04 | 110.00 | Nos. | 251.00 | 250.16 | 27517.60 | 249.00 | 27390.00 | 229.00 | 25190.00 | 185.00 | 20350.00 | 20350.00 | Space Controls
11.02 | Part-A - Electrifical Works: Supply of 6 modular switch board PC White inner plate & mounting plate similar to Havells model No: AHXPLIWV06 & AHXPL0WV06 | 200.00 | Nos. | 345.00 | 342.20 | 68440.00 | 349.00 | 69800.00 | 299.00 | 59800.00 | 300.00 | 60000.00 | 59800.00 | JAGGI ELECTRICALS
11.03 | Part-A - Electrifical Works: Supply of 8 modular switch board PC White inner plate & mounting plate similar to Havells model No: AHXPLIWH08 & AHXPL0WH08 | 90.00 | Nos. | 460.00 | 454.30 | 40887.00 | 466.00 | 41940.00 | 399.00 | 35910.00 | 425.00 | 38250.00 | 35910.00 | JAGGI ELECTRICALS
11.04 | Part-A - Electrifical Works: Supply of 12 modular switch board PC White inner plate & mounting plate similar to Havells model No: AHXPLIWV12 & AHXPL0WV12 | 25.00 | Nos. | 538.00 | 531.00 | 13275.00 | 557.00 | 13925.00 | 459.00 | 11475.00 | 480.00 | 12000.00 | 11475.00 | JAGGI ELECTRICALS
11.05 | Part-A - Electrifical Works: Supply of 4 modular switch board Acrylic walnut Wood inner plate & mounting plate similar to Havells model No: ACGPT0DV04 | 25.00 | Nos. | 414.00 | 413.00 | 10325.00 | 424.00 | 10600.00 | 359.00 | 8975.00 | 385.00 | 9625.00 | 8975.00 | JAGGI ELECTRICALS
11.06 | Part-A - Electrifical Works: Supply of 6 modular switch board Acrylic walnut Wood inner plate & mounting plate similar to Havells model No: ACGPT0DV06 | 30.00 | Nos. | 560.00 | 554.60 | 16638.00 | 562.00 | 16860.00 | 479.00 | 14370.00 | 490.00 | 14700.00 | 14370.00 | JAGGI ELECTRICALS
11.07 | Part-A - Electrifical Works: Supply of 8 modular switch board Acrylic walnut Wood inner plate & mounting plate similar to Havells model No: ACGPT0DH08 | 4.00 | Nos. | 734.00 | 731.60 | 2926.40 | 758.00 | 3032.00 | 629.00 | 2516.00 | 700.00 | 2800.00 | 2516.00 | JAGGI ELECTRICALS
11.08 | Part-A - Electrifical Works: Supply of 12 modular switch board Acrylic walnut Wood inner plate & mounting plate similar to Havells model No: ACGPT0DV12 | 10.00 | Nos. | 935.00 | 926.30 | 9263.00 | 970.00 | 9700.00 | 799.00 | 7990.00 | 825.00 | 8250.00 | 7990.00 | JAGGI ELECTRICALS
11.09 | Part-A - Electrifical Works: Installation of above 4/6/8/12Modular switch board with all accessories | 494.00 | Nos. | 119.00 | 118.00 | 58292.00 | 110.00 | 54340.00 | 99.00 | 48906.00 | 115.00 | 56810.00 | 48906.00 | JAGGI ELECTRICALS
12.00 | Part-A - Electrifical Works: Supply and installation of 2 number 30A Rated 5 way screw type panel mount Terminal Block for mounting GI Moduler/Gang box of size 175 x 450 x 125. Each Moduler should have 2 number of 5 way terminal block. Installation covers mounting of terminal block, lugging & connection of wires , supply of all consumables, lugs, screws, ferrules etc to complete the installation in all respect. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition. | 100.00 | Nos. | 393.00 | 365.80 | 36580.00 | 413.00 | 41300.00 | 349.00 | 34900.00 | 430.00 | 43000.00 | 34900.00 | JAGGI ELECTRICALS
13.00 | Part-A - Electrifical Works: Supply & installation of Power socket distribution Board made of CRCA Sheet metal having thickness 0.8/1.0 mm with powder coatng painting fitted with industrial socket and plug of 32 Amps, 415V (3P+N+E) with 3Phase 4 Pole MCB (C Curve) as per 9 Electric powered up cat No:9ESS004. Installation covers, supply of all consumables, rawal plug/wooden screws etc to complete the installation in all respect. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
13.01 | Part-A - Electrifical Works: Supply | 25.00 | Nos. | 5442.00 | 5074.00 | 126850.00 | 5618.00 | 140450.00 | 4999.00 | 124975.00 | 5500.00 | 137500.00 | 124975.00 | JAGGI ELECTRICALS
13.02 | Part-A - Electrifical Works: Installation of above item no 13.01 and 20 Amps, 3 pin, Metal clad Plug & Socket (The required 3 pin, Metal clad Plug & Socket will be issued by NPCIL as free issue item & contractor has to arrange for transportation from NPCIL store to work site). | 25.00 | Nos. | 173.00 | 165.20 | 4130.00 | 176.00 | 4400.00 | 129.00 | 3225.00 | 150.00 | 3750.00 | 3225.00 | JAGGI ELECTRICALS
14.00 | Part-A - Electrifical Works: Supply & installation of 25mm width,12 mm depth, 1.2mm thick heavy duty PVC casing & capping along with all accessories and consumable such as wooden screws, T's couplers, corner L bends, wire pulling JBs, PVC sleeves etc. Installation shall be at various locations based on requirement at site. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
14.01 | Part-A - Electrifical Works: Supply | 250.00 | Mtr | 29.00 | 27.14 | 6785.00 | 26.00 | 6500.00 | 29.00 | 7250.00 | 35.00 | 8750.00 | 6500.00 | Puthur Infotech PVT LTD
14.02 | Part-A - Electrifical Works: Installation | 250.00 | Mtr | 81.00 | 80.24 | 20060.00 | 79.00 | 19750.00 | 69.00 | 17250.00 | 75.00 | 18750.00 | 17250.00 | JAGGI ELECTRICALS
15.00 | Part-A - Electrifical Works: Supply and Installation/ Embedment of 25 mm dia heavy duty, rigid PVC conduit. Heavy duty rigid PVC conduit in the brick wall surface/roof slab by chipping the wall / concrete surface. Wherever conduit is laid (surface conduiting) over struss/ pipe to be clamped by aluminium clamp and GI nut bolt at an interval of 600mm. The conduit shall be embedded to a minimum depth of 50mm from the finished surface wall. The scope includes supply and providing PVC moulded conduit accessories like bends, couplers, elbow, Tee, junction/ pulling boxes etc. The job shall be completed in all respect, as directed by EIC.
15.01 | Part-A - Electrifical Works: Supply | 250.00 | Mtrs. | 50.00 | 49.56 | 12390.00 | 51.00 | 12750.00 | 49.00 | 12250.00 | 58.00 | 14500.00 | 12250.00 | JAGGI ELECTRICALS
15.02 | Part-A - Electrifical Works: Installation/ Embedment | 250.00 | Mtrs. | 90.00 | 89.68 | 22420.00 | 96.00 | 24000.00 | 69.00 | 17250.00 | 85.00 | 21250.00 | 17250.00 | JAGGI ELECTRICALS
16.00 | Part-A - Electrifical Works: Supply and installation of 6 W LED bollard with die cast aluminium housing opal white polycarbonate diffuser matt grey finish (similar to Jaquar Elumx bollard model-OBL-GRY-LBLD05R601XW or equivalent) and IP 54 protection. The Luminaire with post shall be fixed by arranging foundation at location shown by the Engineer. The necessary hardwares, connecting cable for the luminaire, connectors, termination & connection etc to complete the job in all respect is in the scope of contract. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
16.01 | Part-A - Electrifical Works: Supply | 15.00 | Nos. | 6064.00 | 5900.00 | 88500.00 | 6360.00 | 95400.00 | 5299.00 | 79485.00 | 6500.00 | 97500.00 | 79485.00 | JAGGI ELECTRICALS
16.02 | Part-A - Electrifical Works: Installation | 15.00 | Nos. | 1579.00 | 1534.00 | 23010.00 | 1595.00 | 23925.00 | 1299.00 | 19485.00 | 1400.00 | 21000.00 | 19485.00 | JAGGI ELECTRICALS
17.00 | Part-A - Electrifical Works: Supply & Installation of 3 mtr height post and 60W LED Ring post top Lantern with die cast aluminium housing polycorbonate diffuser. (similar to Jaquar FDP-GRYFLPOLD114604 for height post & OGL-GRYLGTP07X060XW for post top or equivalent) and IP 65 protection. The Luminaire shall be fixed on the supplied pole by arranging necessary connecting 3C 1.5 Sq mm Cu cable, connectors, termination & connection etc to complete the job in all respect. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
17.01 | Part-A - Electrifical Works: Supply | 15.00 | Nos. | 21145.00 | 17700.00 | 265500.00 | 22260.00 | 333900.00 | 19999.00 | 299985.00 | 22500.00 | 337500.00 | 265500.00 | Ascent Networks Pvt Ltd
17.02 | Part-A - Electrifical Works: Installation | 15.00 | Nos. | 2503.00 | 2360.00 | 35400.00 | 2695.00 | 40425.00 | 1999.00 | 29985.00 | 2250.00 | 33750.00 | 29985.00 | JAGGI ELECTRICALS
18.00 | Part-A - Electrifical Works: Supply and installation of following Light fixtures recessed mounting type /flush with false ceiling, installation includes supply of required consumable such as Ball & socket, round junction box, down rods, supporting chain, false ceiling mounting clamp, 3core 1.5 copper flexible cable etc to complete the job in all respect. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
18.01 | Part-A - Electrifical Works: Supply of Light fixtures recessed mounting type /flush with false ceiling, square/ Round type LED of 9 W Neutral white as per Bajaj cat No:BGSLO SLEEK RCESS RD 9W WH LED | 120.00 | Nos. | 537.00 | 531.00 | 63720.00 | 530.00 | 63600.00 | 499.00 | 59880.00 | 630.00 | 75600.00 | 59880.00 | JAGGI ELECTRICALS
18.02 | Part-A - Electrifical Works: Supply Light fixtures recessed mounting type /flush with false ceiling, square type LED of 36 W white as per Wipro cat No: LED Panel 2X2 CRCO10R036HP57G3-36W 5700K | 350.00 | Nos. | 1412.00 | 1298.00 | 454300.00 | 1453.00 | 508550.00 | 1299.00 | 454650.00 | 1400.00 | 490000.00 | 454300.00 | Ascent Networks Pvt Ltd
18.03 | Part-A - Electrifical Works: Supply Light fixtures recessed mounting type /flush with false ceiling, square type LED of 33 W white as per Wipro cat No: LED Panel 2X2 verge 5700K-33W LM29-451-XXX-57-XX along with MS frame for Gypsum Ceiling. | 100.00 | Nos. | 5401.00 | 5310.00 | 531000.00 | 5618.00 | 561800.00 | 4999.00 | 499900.00 | 5300.00 | 530000.00 | 499900.00 | JAGGI ELECTRICALS
18.04 | Part-A - Electrifical Works: Installation of above item no.18.01 to 18.03 | 570.00 | Nos. | 307.00 | 295.00 | 168150.00 | 308.00 | 175560.00 | 249.00 | 141930.00 | 240.00 | 136800.00 | 136800.00 | Space Controls
19.00 | Part-A - Electrifical Works: Supply, installation, testing and commissioning of 5 star rated, 1200 mm sweep, silent BLDC motor ceiling fan complete with speed control remote , 3 nos. of wider tip blades, double ball bearing, down rod, mounting clamps etc, BEE maximum star rating is preferable for ceiling fan. Installation work includes supply of all accessories/consumable to complete the work including arrangement and fixing of suitable fan hook. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
19.01 | Part-A - Electrifical Works: Supply | 150.00 | Nos. | 3939.00 | 3894.00 | 584100.00 | 4080.00 | 612000.00 | 3699.00 | 554850.00 | 3500.00 | 525000.00 | 525000.00 | Space Controls
19.02 | Part-A - Electrifical Works: Installation | 150.00 | Nos. | 817.00 | 767.00 | 115050.00 | 852.00 | 127800.00 | 499.00 | 74850.00 | 700.00 | 105000.00 | 74850.00 | JAGGI ELECTRICALS
20.00 | Part-A - Electrifical Works: Supply and installation of following single phase Exhaust Fans with louver heavy duty, continuously rated, capacitor start and run type, totally enclosed, pre lubricated double ball bearing, copper wounded, A & E class insulation, dynamically balanced. Installation of exhaust fan by making fixing arrangement on wall with all consumables such anchors/screws/bolts etc. Preferred make: Bajaj/Havells/crompton. All as per technical specifications.
20.01 | Part-A - Electrifical Works: Supply of 300 mm, 900 RPM Heavy duty metal body exhaust fan | 20.00 | Nos. | 3576.00 | 3540.00 | 70800.00 | 3604.00 | 72080.00 | 3299.00 | 65980.00 | 3800.00 | 76000.00 | 65980.00 | JAGGI ELECTRICALS
20.02 | Part-A - Electrifical Works: Supply of 300 mm, 900 RPM Heavy duty PVC body exhaust fan | 20.00 | Nos. | 2617.00 | 2596.00 | 51920.00 | 5671.00 | 113420.00 | 2299.00 | 45980.00 | 6000.00 | 120000.00 | 45980.00 | JAGGI ELECTRICALS
20.03 | Part-A - Electrifical Works: Installation of Heavy duty metal body exhaust fan item no. 20.01 & 20.02 | 40.00 | Nos. | 840.00 | 826.00 | 33040.00 | 868.00 | 34720.00 | 599.00 | 23960.00 | 800.00 | 32000.00 | 23960.00 | JAGGI ELECTRICALS
21.00 | Part-A - Electrifical Works: Supply & installation of cable route indicators as specified below along the LT cable route, using cement and sand by concreting with 1:2:4 ratio by excavating a pit of size 300 X 300 X 300mm. The LT cable route indicators shall be as per enclosed sketch & all other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
21.01 | Part-A - Electrifical Works: Supply of LT Cable route indicator | 50.00 | Nos. | 591.00 | 560.50 | 28025.00 | 610.00 | 30500.00 | 349.00 | 17450.00 | 650.00 | 32500.00 | 17450.00 | JAGGI ELECTRICALS
21.02 | Part-A - Electrifical Works: Installation of LT Cable route indicator | 50.00 | Nos. | 294.00 | 265.50 | 13275.00 | 302.00 | 15100.00 | 229.00 | 11450.00 | 380.00 | 19000.00 | 11450.00 | JAGGI ELECTRICALS
22.00 | Part-A - Electrifical Works: Design, Manufacture, Supply, Installation, Testing, Commissioning, statutory requirements to install new lift and Handing over of 06 passsenger MRL Lift (Gearless Machine) G+2 Landings, with speed of 1.0 mtr per second, variable voltage, variable frequency drive without machine room for the available well size, operating at 415V, 3 phase, 50Hz AC supply, stainless steel Designer finish car entrance door enclosure with flooring, car illumination, emergency light, intercom and fan as desired by the user, entral opening/ side opening automatic door with attendant operation. Dot matrix/ 7 segment display, call register indicators, SS handrails inside car, full length infrared length curtain in car door, automatic rescue device, voice annunciation in languages, Braille buttons etc.& all other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition. | 1.00 | Set | 1878277.00 | 2194800.00 | 2194800.00 | 1840800.00 | 1840800.00 | 1799999.00 | 1799999.00 | 1770000.00 | 1770000.00 | 1770000.00 | Space Controls
23.00 | Part-A - Electrifical Works: Supply of 20 user calling bell with individual wireless call bell remote unit (Trnasmitter to receiver range min 90-100 mtr), display call station having numeric display, facility to acknowledge, buzzer etc, bright red colour numerics, audio alert - soft ding dong bell on every push of a call button. display have provision for displaying multiple call request at the same time, panel/ console sourced by 230V and have provision to cancel the individual request by push button and reset button to reset all calls at attendant display board, inbuilt 220/5V Switch mode power supply (SMPS). Wireless call bell remote hand held type and have attendant call function, call status indicators with RED colour LED lamps, and HW 9V suitable battery for long use etc,.& all other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition. | 4.00 | Set | 43789.00 | 43778.00 | 175112.00 | 45580.00 | 182320.00 | 39999.00 | 159996.00 | 40000.00 | 160000.00 | 159996.00 | JAGGI ELECTRICALS
24.00 | Part-A - Electrifical Works: Supply, installation, testing and commissioning of 20KVA UPS with battery for 60 minutes backup with battery stand. UPS Model: Powerone PPT 20KVA UPS 360 to 480VDC 3 Phase input 3 Phase IGBT Based with 40 Nos of 65Ah Quanta SMF 12V to give 60 minutes backup. Installation covers, supply of Batery Stand, battery cables, DC Cables, all consumables, rawal plug/wooden screws etc to complete the installation in all respect. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition. | 1.00 | Set | 726344.00 | 725700.00 | 725700.00 | 596568.00 | 596568.00 | 729999.00 | 729999.00 | 700000.00 | 700000.00 | 596568.00 | Puthur Infotech PVT LTD
25.00 | Part-A - Electrifical Works: Supply of 1 KVA UPS (inverter) with suitable 12V 150Ah Tubular battery. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition. | 4.00 | Nos. | 18619.00 | 18526.00 | 74104.00 | 19079.00 | 76316.00 | 19999.00 | 79996.00 | 20000.00 | 80000.00 | 74104.00 | Ascent Networks Pvt Ltd
26.00 | Part-A - Electrifical Works: Supply of 3 Core 2.5 sq. mm. armored electrical cable with following specs: Voltage rating - 1.1 kV (AC), Cores color - 3 Core (Red, Yellow, Blue), Core material - Solid / Stranded Annealed Bare Copper as per Class-2 of IS: 8130, Insulation material - PVC Type-A OR HR PVC Type-C as per IS: 5831, Inner Sheath - PVC Type ST-1 as per IS: 5831, Armouring - Single Layer of Aluminium Round Wire / Flat Strip, Outer Sheath - PVC Type ST-1 as per IS: 5831 of Black color | 500.00 | Mtr. | 218.00 | 217.12 | 108560.00 | 228.00 | 114000.00 | 189.00 | 94500.00 | 220.00 | 110000.00 | 94500.00 | JAGGI ELECTRICALS
27.00 | Part-A - Electrifical Works: Laying of 3 core 2.5 sq. mm. electrical cable through 25mm/32mm HDPE Pipe | 500.00 | Mtr. | 54.00 | 53.10 | 26550.00 | 55.00 | 27500.00 | 39.00 | 19500.00 | 50.00 | 25000.00 | 19500.00 | JAGGI ELECTRICALS
28.00 | Part-A - Electrifical Works: Supply of 5/15A socket with switch, fuse & LED indicator with surface mounting plastic enclosure | 50.00 | Nos. | 335.00 | 330.40 | 16520.00 | 345.00 | 17250.00 | 329.00 | 16450.00 | 300.00 | 15000.00 | 15000.00 | Space Controls
29.00 | Part-A - Electrifical Works: Supply of 10A ELCB with following specs: Current rating - 10A Poles - 2 Pole Rated voltage - 230V AC Standards - IS 12640 Part1/Part2 Frequency - 50 Hz Warranty - 18 months or higher | 20.00 | Nos. | 3576.00 | 3540.00 | 70800.00 | 3604.00 | 72080.00 | 3229.00 | 64580.00 | 3750.00 | 75000.00 | 64580.00 | JAGGI ELECTRICALS
30.00 | Part-A - Electrifical Works: Supply of Fire alarm circuit breaker of 20A capacity conforming to NFPA 72,2016 section 10.6.5.2.2 and 10.6.5.2.3 | 2.00 | Nos. | 2557.00 | 2478.00 | 4956.00 | 2314.00 | 4628.00 | 2599.00 | 5198.00 | 2350.00 | 4700.00 | 4628.00 | Puthur Infotech PVT LTD
31.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply & Installation of Fire Alarm Control Panel along with set of required accessories and cards as per technical specifications mentioned in Annexure-01 | 1.00 | Set | 253645.00 | 365966.03 | 365966.03 | 262668.00 | 262668.00 | 269999.00 | 269999.00 | 270000.00 | 270000.00 | 262668.00 | Puthur Infotech PVT LTD
32.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Spare 20% items or Min. 02 card/module required for Fire alarm Control Panel(whichever is higher) mentioned in Annexure-01 | 1.00 | Set | 118268.00 | 166628.15 | 166628.15 | 112572.00 | 112572.00 | 111999.00 | 111999.00 | 130000.00 | 130000.00 | 111999.00 | JAGGI ELECTRICALS
33.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of Intelligent type Optical Smoke detectors with complete set of mounting assemblies in false ceiling as per technical specifications mentioned in Annexure-02 Item 01 | 120.00 | Nos. | 2823.00 | 2420.77 | 290492.40 | 2564.00 | 307680.00 | 2599.00 | 311880.00 | 2500.00 | 300000.00 | 290492.40 | Ascent Networks Pvt Ltd
34.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of Intelligent type Thermal Heat detectors with complete set of mounting assemblies in false ceiling as technical mentioned in Annexure-02 Item 02 | 4.00 | Nos. | 2909.00 | 2420.77 | 9683.08 | 2377.00 | 9508.00 | 2699.00 | 10796.00 | 3300.00 | 13200.00 | 9508.00 | Puthur Infotech PVT LTD
35.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of Base assemblies with complete set of mounting accessories as per technical specifications mentioned in Annexure-02 Item 03 | 124.00 | Nos. | 271.00 | 259.60 | 32190.40 | 237.00 | 29388.00 | 259.00 | 32116.00 | 250.00 | 31000.00 | 29388.00 | Puthur Infotech PVT LTD
36.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of Manual Call Points with complete set of mounting assembiles as per technical specifications mentioned in Annexure-02 Item 04 | 10.00 | Nos. | 4059.00 | 9433.86 | 94338.60 | 4003.00 | 40030.00 | 3599.00 | 35990.00 | 4200.00 | 42000.00 | 35990.00 | JAGGI ELECTRICALS
37.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of Sounder with complete set of mounting assembiles as per technical specifications mentioned in Annexure-02 Item 05 | 1.00 | Nos. | 8795.00 | 6606.82 | 6606.82 | 7380.00 | 7380.00 | 7799.00 | 7799.00 | 11000.00 | 11000.00 | 6606.82 | Ascent Networks Pvt Ltd
38.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply & Installation of Desktop PC along with Set of Computer table and Executive Chair installed with Graphic monitoring software along with required accessories as per technical specifications mentioned in Annexure-03 Item 01 | 1.00 | Set | 273180.00 | 259600.00 | 259600.00 | 361080.00 | 361080.00 | 259999.00 | 259999.00 | 300000.00 | 300000.00 | 259600.00 | Ascent Networks Pvt Ltd
39.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of Detector installation/removal tool as per technical specifications mentioned in Annexure-04 Item 01 | 2.00 | Nos. | 57527.00 | 62524.66 | 125049.32 | 47082.00 | 94164.00 | 49999.00 | 99998.00 | 68000.00 | 136000.00 | 94164.00 | Puthur Infotech PVT LTD
40.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of Aerosol test cans as per technical specifications mentioned in Annexure-04 Item 02 | 20.00 | Nos. | 4794.00 | 4720.00 | 94400.00 | 3245.00 | 64900.00 | 4529.00 | 90580.00 | 5000.00 | 100000.00 | 64900.00 | Puthur Infotech PVT LTD
41.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of following items: 1. 25mm hot dipped GI Rigid Conduit of Postoffice red color 2m length(2000 m) 2. 25mm hot dipped GI Rigid Conduit 2m length(1000 m) 3. Set of GI Saddle for 25 mm conduit with 02 self threaded screws and plastic gripper (9000 Lot) 4. 25mm GI Elbow(500 Nos.) 5. 25mm GI 2-way JB (500 Nos.) 6. 25mm GI 3-way JB (500 Nos.) | 1.00 | Set | 802286.00 | 767000.00 | 767000.00 | 707410.00 | 707410.00 | 699999.00 | 699999.00 | 655000.00 | 655000.00 | 655000.00 | Space Controls
42.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of 14 SWG GI Wire | 500.00 | Metre | 26.00 | 21.24 | 10620.00 | 13.00 | 6500.00 | 19.00 | 9500.00 | 25.00 | 12500.00 | 6500.00 | Puthur Infotech PVT LTD
43.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of Spring type GI wire for pulling cable through Conduit | 500.00 | Metre | 38.00 | 30.68 | 15340.00 | 13.00 | 6500.00 | 39.00 | 19500.00 | 42.00 | 21000.00 | 6500.00 | Puthur Infotech PVT LTD
44.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of 2 core 1.5 sq. mm. EPR insulated Cu conductor LHLS cable | 3000.00 | Metre | 248.00 | 218.30 | 654900.00 | 93.00 | 279000.00 | 199.00 | 597000.00 | 235.00 | 705000.00 | 279000.00 | Puthur Infotech PVT LTD
45.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Supply of 4 core 2.5 sq. mm. EPR insulated Cu conductor LHLS cable | 200.00 | Metre | 513.00 | 472.00 | 94400.00 | 223.00 | 44600.00 | 349.00 | 69800.00 | 500.00 | 100000.00 | 44600.00 | Puthur Infotech PVT LTD
46.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Installation of 25 mm GI conduit by making a hole through 100mm thick AAC Block Masonry, fixing the saddle at every 0.33 m along with complete mounting accessories as and where required | 2000.00 | Metre | 94.00 | 88.50 | 177000.00 | 65.00 | 130000.00 | 99.00 | 198000.00 | 100.00 | 200000.00 | 130000.00 | Puthur Infotech PVT LTD
47.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Installation of 32mm/50mm Casing & Capping for cable dropping for MCP | 300.00 | Metre | 56.00 | 47.20 | 14160.00 | 46.00 | 13800.00 | 49.00 | 14700.00 | 50.00 | 15000.00 | 13800.00 | Puthur Infotech PVT LTD
48.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Pulling of Fire cable through GI pipe/Casing&Capping | 2800.00 | Metre | 69.00 | 59.00 | 165200.00 | 46.00 | 128800.00 | 39.00 | 109200.00 | 50.00 | 140000.00 | 109200.00 | JAGGI ELECTRICALS
49.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Installation of Smoke detectors with base assemblies | 130.00 | Nos. | 1879.00 | 1534.00 | 199420.00 | 974.00 | 126620.00 | 529.00 | 68770.00 | 1500.00 | 195000.00 | 68770.00 | JAGGI ELECTRICALS
50.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Installation of Heat detectors with base assemblies | 10.00 | Nos. | 1879.00 | 1534.00 | 15340.00 | 974.00 | 9740.00 | 539.00 | 5390.00 | 1800.00 | 18000.00 | 5390.00 | JAGGI ELECTRICALS
51.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Installation of Manual Call Points with required accessories | 20.00 | Nos. | 1805.00 | 1534.00 | 30680.00 | 974.00 | 19480.00 | 499.00 | 9980.00 | 1800.00 | 36000.00 | 9980.00 | JAGGI ELECTRICALS
52.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Installation of Sounder along with required accessories | 1.00 | Nos. | 2731.00 | 2242.00 | 2242.00 | 974.00 | 974.00 | 549.00 | 549.00 | 2000.00 | 2000.00 | 549.00 | JAGGI ELECTRICALS
53.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Installation, Testing and Commissioning of the complete Fire alarm system | 1.00 | Set | 67727.00 | 56640.00 | 56640.00 | 9086.00 | 9086.00 | 49999.00 | 49999.00 | 50000.00 | 50000.00 | 9086.00 | Puthur Infotech PVT LTD
54.00 | Part-B - Control & Instrumentation Works: Part-B1: IP Based Fire Alarm System: Training to Min. 03 NPCIL officials for complete operation of system | 1.00 | Set | 38283.00 | 33040.00 | 33040.00 | 45430.00 | 45430.00 | 29999.00 | 29999.00 | 32000.00 | 32000.00 | 29999.00 | JAGGI ELECTRICALS
55.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of 100 pair Armoured Jelly filled Telephone cable as per specifications mentioned in Annexure-01 | 2500.00 | Metre | 632.00 | 566.40 | 1416000.00 | 786.00 | 1965000.00 | 599.00 | 1497500.00 | 600.00 | 1500000.00 | 1416000.00 | Ascent Networks Pvt Ltd
56.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Unarmoured 10 Pair Telephone Cable in wrapped in wooden drum of moisture resistant, anti-rodent material | 2000.00 | Metre | 53.00 | 47.20 | 94400.00 | 66.00 | 132000.00 | 59.00 | 118000.00 | 60.00 | 120000.00 | 94400.00 | Ascent Networks Pvt Ltd
57.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Unarmoured 02 Pair Telephone Cable wrapped in wooden drum of moisture resistant, anti-rodent material | 4000.00 | Metre | 12.00 | 10.62 | 42480.00 | 14.00 | 56000.00 | 9.00 | 36000.00 | 13.00 | 52000.00 | 36000.00 | JAGGI ELECTRICALS
58.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of 20 pair Telephone JB fully loaded with Back-mount frame and Krone modules as per specifications mentioned in Annexure-02 Item 01 | 20.00 | Nos. | 1802.00 | 1534.00 | 30680.00 | 1045.00 | 20900.00 | 1599.00 | 31980.00 | 1900.00 | 38000.00 | 20900.00 | Puthur Infotech PVT LTD
59.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of 100 pair Telephone JB fully loaded with Back-mount frame and Krone modules as per specifications mentioned in Annexure-02 Item 02 | 10.00 | Nos. | 4205.00 | 3540.00 | 35400.00 | 3953.00 | 39530.00 | 3829.00 | 38290.00 | 4300.00 | 43000.00 | 35400.00 | Ascent Networks Pvt Ltd
60.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Outdoor type canopy mounted 200 pair Telephone JB fully loaded with Back-mount frame and Krone modules as per specifications mentioned in Annexure-02 Item 03 | 5.00 | Nos. | 8329.00 | 6962.00 | 34810.00 | 7723.00 | 38615.00 | 7999.00 | 39995.00 | 8000.00 | 40000.00 | 34810.00 | Ascent Networks Pvt Ltd
61.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Outdoor type canopy mounted 400 pair Telephone JB fully loaded with Back-mount frame and Krone modules as per specifications mentioned in Annexure-02 Item 04 | 3.00 | Nos. | 14874.00 | 12508.00 | 37524.00 | 15628.00 | 46884.00 | 12999.00 | 38997.00 | 16000.00 | 48000.00 | 37524.00 | Ascent Networks Pvt Ltd
62.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Outdoor type canopy mounted 600 pair Telephone JB fully loaded with Back-mount frame and Krone modules as per specifications mentioned in Annexure-02 Item 05 | 3.00 | Nos. | 17253.00 | 14160.00 | 42480.00 | 24441.00 | 73323.00 | 15999.00 | 47997.00 | 18000.00 | 54000.00 | 42480.00 | Ascent Networks Pvt Ltd
63.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of TSF Kit (100 pair cables) as per specifications mentioned in Annexure-03 Item 01 | 30.00 | Nos. | 1576.00 | 1298.00 | 38940.00 | 1457.00 | 43710.00 | 1299.00 | 38970.00 | 1800.00 | 54000.00 | 38940.00 | Ascent Networks Pvt Ltd
64.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of TSF Kit (5/10/20 pair cables) as per specifications mentioned in Annexure-03 Item 02 | 30.00 | Nos. | 1012.00 | 826.00 | 24780.00 | 935.00 | 28050.00 | 929.00 | 27870.00 | 1000.00 | 30000.00 | 24780.00 | Ascent Networks Pvt Ltd
65.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Rust cleaner solution as per specifications mentioned in Annexure-03 Item 03 | 50.00 | Nos. | 595.00 | 495.60 | 24780.00 | 637.00 | 31850.00 | 499.00 | 24950.00 | 600.00 | 30000.00 | 24780.00 | Ascent Networks Pvt Ltd
66.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of 10 pair Krone modules as per specifications Annexure-03 Item 04 | 150.00 | Nos. | 238.00 | 200.60 | 30090.00 | 268.00 | 40200.00 | 199.00 | 29850.00 | 250.00 | 37500.00 | 29850.00 | JAGGI ELECTRICALS
67.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Digital display phone as per specifications mentioned in Annexure-04 Item 01 | 10.00 | Nos. | 29080.00 | 23600.00 | 236000.00 | 7139.00 | 71390.00 | 27559.00 | 275590.00 | 28000.00 | 280000.00 | 71390.00 | Puthur Infotech PVT LTD
68.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Analog display phone as per specifications mentioned in Annexure-04 Item 02 | 10.00 | Nos. | 1962.00 | 1652.00 | 16520.00 | 1207.00 | 12070.00 | 1829.00 | 18290.00 | 1500.00 | 15000.00 | 12070.00 | Puthur Infotech PVT LTD
69.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Cordless phone with Base unit as per specifications mentioned in Annexure-04 Item 03 | 13.00 | Nos. | 7688.00 | 6490.00 | 84370.00 | 6944.00 | 90272.00 | 6999.00 | 90987.00 | 7500.00 | 97500.00 | 84370.00 | Ascent Networks Pvt Ltd
70.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Fixed 4G Phones as per specifications mentioned in Annexure-04 Item 04 | 5.00 | Nos. | 5716.00 | 4720.00 | 23600.00 | 6750.00 | 33750.00 | 5599.00 | 27995.00 | 5500.00 | 27500.00 | 23600.00 | Ascent Networks Pvt Ltd
71.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Compact slim telephone with display for maintenance purpose as per specifications mentioned in Annexure-04 Item 05 | 5.00 | Nos. | 727.00 | 613.60 | 3068.00 | 933.00 | 4665.00 | 699.00 | 3495.00 | 800.00 | 4000.00 | 3068.00 | Ascent Networks Pvt Ltd
72.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of following items: 1. 32mm PVC Rigid Conduit of 2m length(4000 m) 2. GI Saddle for 32 mm conduit with 02 self threaded screws and plastic gripper (12000 Lot) 3. 32mm Elbow(1000 Nos.) 4. 32mm 2-way JB (1000 Nos.) 5. 32mm 3-way JB (1000 Nos.) 6. PVC Coupler suitable for 32mm Pipe(2500 Nos.) 7. Set of 250 ml liquid glue to fix and joined PVC pipe with Connector along with 02 brush to apply the glue(6 Nos.) | 1.00 | Set | 708387.00 | 578200.00 | 578200.00 | 493370.00 | 493370.00 | 629999.00 | 629999.00 | 600000.00 | 600000.00 | 493370.00 | Puthur Infotech PVT LTD
73.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of following items: 1. 25mm PVC Rigid Conduit of 2m length(7000 m) 2. GI Saddle for 32 mm conduit with 02 self threaded screws and plastic gripper (21000 Lot) 3. 25mm Elbow(1700 Nos.) 4. 25mm 2-way JB (1700 Nos.) 5. 25mm 3-way JB (1700 Nos.) 6. PVC Coupler suitable for 32mm Pipe(3500 Nos.) | 1.00 | Set | 760731.00 | 613600.00 | 613600.00 | 534776.00 | 534776.00 | 649999.00 | 649999.00 | 625000.00 | 625000.00 | 534776.00 | Puthur Infotech PVT LTD
74.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of RJ-11 Connectors(Pack of 100) | 50.00 | Set | 563.00 | 472.00 | 23600.00 | 637.00 | 31850.00 | 529.00 | 26450.00 | 530.00 | 26500.00 | 23600.00 | Ascent Networks Pvt Ltd
75.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Set of RJ-45 Keystone Jack, Gang box and Faceplate of white colour suitable for patching of Cat6 cable | 200.00 | Set | 288.00 | 236.00 | 47200.00 | 319.00 | 63800.00 | 259.00 | 51800.00 | 225.00 | 45000.00 | 45000.00 | Space Controls
76.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Set of RJ-11 and RJ-45 dual face plate with RJ-11 and RJ-45 keystone jack, Gang box of white color | 200.00 | Set | 518.00 | 436.60 | 87320.00 | 382.00 | 76400.00 | 489.00 | 97800.00 | 500.00 | 100000.00 | 76400.00 | Puthur Infotech PVT LTD
77.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of PVC Flexible pipe with GI layer of 20 mm Nominal diameter (Pack of 100m) suitable for outdoor application | 10.00 | Set | 4031.00 | 3422.00 | 34220.00 | 5098.00 | 50980.00 | 3999.00 | 39990.00 | 5600.00 | 56000.00 | 34220.00 | Ascent Networks Pvt Ltd
78.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of PVC Flexible pipe with GI layer of 25 mm Nominal diameter (Pack of 100m) suitable for outdoor application | 20.00 | Set | 4492.00 | 3717.00 | 74340.00 | 6372.00 | 127440.00 | 4099.00 | 81980.00 | 5900.00 | 118000.00 | 74340.00 | Ascent Networks Pvt Ltd
79.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of PVC Flexible pipe with GI layer of 32 mm Nominal diameter (Pack of 100m) suitable for outdoor application | 20.00 | Set | 5413.00 | 4602.00 | 92040.00 | 7646.00 | 152920.00 | 4499.00 | 89980.00 | 7000.00 | 140000.00 | 89980.00 | JAGGI ELECTRICALS
80.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of PVC Flexible pipe with GI layer of 50 mm Nominal diameter (Pack of 100m) suitable for outdoor application | 10.00 | Set | 9444.00 | 8024.00 | 80240.00 | 8921.00 | 89210.00 | 7999.00 | 79990.00 | 9500.00 | 95000.00 | 79990.00 | JAGGI ELECTRICALS
81.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of white colour cable ties of 200 mm x 4.8 mm (Pack of 100 Nos.) | 100.00 | Set | 92.00 | 77.88 | 7788.00 | 127.00 | 12700.00 | 79.00 | 7900.00 | 85.00 | 8500.00 | 7788.00 | Ascent Networks Pvt Ltd
82.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of white colour cable ties of 300 mm x 4.8 mm (Pack of 100 Nos.) | 100.00 | Set | 138.00 | 118.00 | 11800.00 | 191.00 | 19100.00 | 99.00 | 9900.00 | 125.00 | 12500.00 | 9900.00 | JAGGI ELECTRICALS
83.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of white color cable ties of 400 mm x 4.8 mm (Pack of 100 Nos.) | 100.00 | Set | 190.00 | 171.10 | 17110.00 | 223.00 | 22300.00 | 129.00 | 12900.00 | 180.00 | 18000.00 | 12900.00 | JAGGI ELECTRICALS
84.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Flexible Coil cord cable of 32 AWG suitable for RJ-11 connector of 2 meter length | 500.00 | Nos. | 51.00 | 43.66 | 21830.00 | 32.00 | 16000.00 | 39.00 | 19500.00 | 55.00 | 27500.00 | 16000.00 | Puthur Infotech PVT LTD
85.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Line Cord cable of 32 AWG suitable for RJ-11 Connector | 1000.00 | Metre | 29.00 | 24.78 | 24780.00 | 32.00 | 32000.00 | 29.00 | 29000.00 | 30.00 | 30000.00 | 24780.00 | Ascent Networks Pvt Ltd
86.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of 32 AWG Line Cord cable of 2 meter both side crimped with RJ-11 Connector | 500.00 | Nos. | 35.00 | 29.50 | 14750.00 | 35.00 | 17500.00 | 29.00 | 14500.00 | 40.00 | 20000.00 | 14500.00 | JAGGI ELECTRICALS
87.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of 32 AWG Line Cord cable of 5 meter both side crimped with RJ-11 Connector | 500.00 | Nos. | 63.00 | 53.10 | 26550.00 | 45.00 | 22500.00 | 49.00 | 24500.00 | 60.00 | 30000.00 | 22500.00 | Puthur Infotech PVT LTD
88.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of 0.5 sq.mm. PVC insulated twisted single pair telephone jumper wire(Color: Red-White or Blue White) | 2000.00 | Metre | 12.00 | 9.74 | 19480.00 | 15.00 | 30000.00 | 9.00 | 18000.00 | 14.00 | 28000.00 | 18000.00 | JAGGI ELECTRICALS
89.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of material and Preparation of Concrete base of 200x200x200 mm for Root markers. Root markers will be issued to contractor. | 100.00 | Set | 461.00 | 377.60 | 37760.00 | 382.00 | 38200.00 | 349.00 | 34900.00 | 500.00 | 50000.00 | 34900.00 | JAGGI ELECTRICALS
90.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of 19-inch Rack mounted back mount frames made of SS material and capacity to accommodate at least 15 Nos. of Krone modules per frame | 10.00 | Nos. | 2303.00 | 1888.00 | 18880.00 | 2549.00 | 25490.00 | 1899.00 | 18990.00 | 2200.00 | 22000.00 | 18880.00 | Ascent Networks Pvt Ltd
91.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of UY Connectors suitable for 0.5mm and 0.63 mm diameter Cable | 2000.00 | Nos. | 9.00 | 7.67 | 15340.00 | 7.00 | 14000.00 | 9.00 | 18000.00 | 10.00 | 20000.00 | 14000.00 | Puthur Infotech PVT LTD
92.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of 2 inch (50mm) Casing & Capping of White Color | 2000.00 | Metre | 74.00 | 62.54 | 125080.00 | 90.00 | 180000.00 | 69.00 | 138000.00 | 80.00 | 160000.00 | 125080.00 | Ascent Networks Pvt Ltd
93.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Supply of Laptop as per Specifications mentioned in Annexure-05 Item 01 | 2.00 | Nos. | 72944.00 | 59000.00 | 118000.00 | 80240.00 | 160480.00 | 69999.00 | 139998.00 | 75000.00 | 150000.00 | 118000.00 | Ascent Networks Pvt Ltd
94.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Installation of 25 mm/32 mm PVC conduit by making a hole through 200mm thick CC block masonary/100mm thick AAC Block Masonry, fixing the saddle at every 0.33 m along with complete mounting accessories as and where required | 5000.00 | Metre | 52.00 | 42.48 | 212400.00 | 59.00 | 295000.00 | 49.00 | 245000.00 | 60.00 | 300000.00 | 212400.00 | Ascent Networks Pvt Ltd
95.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Laying of 50 pair/100 pair Telephone cable in excavated trench | 500.00 | Metre | 52.00 | 42.48 | 21240.00 | 65.00 | 32500.00 | 49.00 | 24500.00 | 60.00 | 30000.00 | 21240.00 | Ascent Networks Pvt Ltd
96.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Pulling of 10 pair cable through 25 mm/32mm PVC Conduit | 1000.00 | Metre | 46.00 | 37.76 | 37760.00 | 52.00 | 52000.00 | 39.00 | 39000.00 | 50.00 | 50000.00 | 37760.00 | Ascent Networks Pvt Ltd
97.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Pulling of 2 pair/5 pair cables through 25 mm/32mm PVC Conduit | 2000.00 | Metre | 46.00 | 37.76 | 75520.00 | 33.00 | 66000.00 | 39.00 | 78000.00 | 30.00 | 60000.00 | 60000.00 | Space Controls
98.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Installation of 400 pair JB in wall, Tagging of incoming and outgoing cable and gland termination | 1.00 | Nos. | 2870.00 | 2360.00 | 2360.00 | 3894.00 | 3894.00 | 1999.00 | 1999.00 | 3250.00 | 3250.00 | 1999.00 | JAGGI ELECTRICALS
99.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Installation of 400 pair JB in Outdoor area by preparing the 04 Nos. of base of dimension 300x300x300(LxWxD) filled with concrete mixture, mounting weather resistant powder coated GI frame/Steel frame, mounting 400 pair JB on frame,Tagging of incoming and outgoing cable and gland termination | 1.00 | Nos. | 4018.00 | 3304.00 | 3304.00 | 3894.00 | 3894.00 | 2999.00 | 2999.00 | 4500.00 | 4500.00 | 2999.00 | JAGGI ELECTRICALS
100.00 | Part-B - Control & Instrumentation Works: Part-B2: Communication System: Installation of 600 pair JB in Outdoor area by preparing the 04 Nos. of base of dimension 400x400x400(LxWxD) filled with concrete mixture, mounting weather resistant powder coated GI frame/Steel frame, mounting 400 pair JB on frame, Tagging of incoming and outgoing cable and gland termination | 1.00 | Nos. | 5166.00 | 4366.00 | 4366.00 | 5192.00 | 5192.00 | 3999.00 | 3999.00 | 5500.00 | 5500.00 | 3999.00 | JAGGI ELECTRICALS
101.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Indoor Dome cameras and 256 GB compatible memory card along with wall/column mounted assemblies as per specifications mentioned in Annexure-01 Item-01 | 15.00 | Nos. | 7018.00 | 5900.00 | 88500.00 | 7762.00 | 116430.00 | 6529.00 | 97935.00 | 7000.00 | 105000.00 | 88500.00 | Ascent Networks Pvt Ltd
102.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Outdoor Bullet Cameras along with poll mounted assemblies with sun shield protection as per specifications mentioned in Annexure-01 Item-02 | 10.00 | Nos. | 17361.00 | 14750.00 | 147500.00 | 21222.00 | 212220.00 | 16999.00 | 169990.00 | 17000.00 | 170000.00 | 147500.00 | Ascent Networks Pvt Ltd
103.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 32 Channel Network Video Recorder as per specifications mentioned in Annexure-01 Item-03 | 1.00 | Nos. | 60840.00 | 49560.00 | 49560.00 | 79178.00 | 79178.00 | 58999.00 | 58999.00 | 72000.00 | 72000.00 | 49560.00 | Ascent Networks Pvt Ltd
104.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 8 TB HDD suitable for NVR as per specifications mentioned in Annexure-01 Item-04 | 4.00 | Nos. | 21760.00 | 18880.00 | 75520.00 | 21417.00 | 85668.00 | 19999.00 | 79996.00 | 25000.00 | 100000.00 | 75520.00 | Ascent Networks Pvt Ltd
105.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 6 TB HDD suitable for NVR as per specifications mentioned in Annexure-01 Item-05 | 6.00 | Nos. | 13511.00 | 11800.00 | 70800.00 | 14667.00 | 88002.00 | 12549.00 | 75294.00 | 13000.00 | 78000.00 | 70800.00 | Ascent Networks Pvt Ltd
106.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Nominal 48V SMPS as mentioned in Annexure-01 Item 06 | 10.00 | Nos. | 4565.00 | 3776.00 | 37760.00 | 4997.00 | 49970.00 | 4599.00 | 45990.00 | 4500.00 | 45000.00 | 37760.00 | Ascent Networks Pvt Ltd
107.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply & Installation of 55 inch Display Monitor along with required cables to connect Server as mentioned in Annexure-01 Item 07 | 1.00 | Nos. | 48196.00 | 41300.00 | 41300.00 | 43613.00 | 43613.00 | 46999.00 | 46999.00 | 35000.00 | 35000.00 | 35000.00 | Space Controls
108.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Indoor 24 port managed Indoor L3 Switch as per specifications mentioned in Annexure-02 Item-01 | 1.00 | Nos. | 230055.00 | 188800.00 | 188800.00 | 243894.00 | 243894.00 | 219999.00 | 219999.00 | 285000.00 | 285000.00 | 188800.00 | Ascent Networks Pvt Ltd
109.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 8 port managed L2 Indoor switch along with SFP modules as per specifications mentioned in Annexure-02 Item-02 | 5.00 | Nos. | 22765.00 | 18880.00 | 94400.00 | 27258.00 | 136290.00 | 19999.00 | 99995.00 | 27500.00 | 137500.00 | 94400.00 | Ascent Networks Pvt Ltd
110.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 16 port managed L2 Indoor switch as per specifications mentioned in Annexure-02 Item-03 | 2.00 | Nos. | 53399.00 | 44840.00 | 89680.00 | 59708.00 | 119416.00 | 49999.00 | 99998.00 | 60000.00 | 120000.00 | 89680.00 | Ascent Networks Pvt Ltd
111.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 08 port Outdoor type Industrial Switch as per specifications mentioned in Annexure-02 Item-04 | 3.00 | Nos. | 130165.00 | 108560.00 | 325680.00 | 175230.00 | 525690.00 | 124999.00 | 374997.00 | 150000.00 | 450000.00 | 325680.00 | Ascent Networks Pvt Ltd
112.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Indoor 6U Network rack as per specifications mentioned in Annexure-03 Item-01 | 4.00 | Nos. | 5286.00 | 4484.00 | 17936.00 | 5711.00 | 22844.00 | 4999.00 | 19996.00 | 5000.00 | 20000.00 | 17936.00 | Ascent Networks Pvt Ltd
113.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Indoor 9U Network rack as per specifications mentioned in Annexure-03 Item-02 | 3.00 | Nos. | 5526.00 | 4720.00 | 14160.00 | 5971.00 | 17913.00 | 4999.00 | 14997.00 | 5500.00 | 16500.00 | 14160.00 | Ascent Networks Pvt Ltd
114.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Indoor 12U Network rack as per specifications mentioned in Annexure-03 Item-03 | 3.00 | Nos. | 6728.00 | 5782.00 | 17346.00 | 7269.00 | 21807.00 | 5999.00 | 17997.00 | 7000.00 | 21000.00 | 17346.00 | Ascent Networks Pvt Ltd
115.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Indoor 42U Network rack as per specifications mentioned in Annexure-03 Item-04 | 1.00 | Nos. | 66073.00 | 55091.25 | 55091.25 | 52309.00 | 52309.00 | 59999.00 | 59999.00 | 75000.00 | 75000.00 | 52309.00 | Puthur Infotech PVT LTD
116.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Outdoor 12U Network rack as per specifications mentioned in Annexure-03 Item-05 | 5.00 | Nos. | 11653.00 | 9912.00 | 49560.00 | 15901.00 | 79505.00 | 10999.00 | 54995.00 | 10000.00 | 50000.00 | 49560.00 | Ascent Networks Pvt Ltd
117.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 90 CFM capacity Cooling fans suitable for Network rack and operates on 230V AC along with housing and mounting assembly | 50.00 | Nos. | 547.00 | 464.63 | 23231.50 | 519.00 | 25950.00 | 499.00 | 24950.00 | 550.00 | 27500.00 | 23231.50 | Ascent Networks Pvt Ltd
118.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 25 mm HDPE pipe ISI marked, conforming to Latest IS 4984 standard along with 01 coupler per every 10 meter | 2000.00 | Metre | 84.00 | 70.80 | 141600.00 | 91.00 | 182000.00 | 69.00 | 138000.00 | 50.00 | 100000.00 | 100000.00 | Space Controls
119.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of inflammable solution for joining the HDPE pipe using Couplers | 1.00 | Litre | 3352.00 | 2832.00 | 2832.00 | 2596.00 | 2596.00 | 2999.00 | 2999.00 | 3500.00 | 3500.00 | 2596.00 | Puthur Infotech PVT LTD
120.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 24 port fully loaded LIU as per specifications mentioned in Annexure-04 Item-01 | 10.00 | Nos. | 4447.00 | 3776.00 | 37760.00 | 9436.00 | 94360.00 | 3999.00 | 39990.00 | 5000.00 | 50000.00 | 37760.00 | Ascent Networks Pvt Ltd
121.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of UTP unarmored Cat6 cable in a form of 305m roll as per specifications mentioned in Annexure-04 Item-02 | 15.00 | Nos. | 7598.00 | 6490.00 | 97350.00 | 8762.00 | 131430.00 | 7999.00 | 119985.00 | 7000.00 | 105000.00 | 97350.00 | Ascent Networks Pvt Ltd
122.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of UTP armored Cat6 cable in a form of 305m roll as per specifications mentioned in Annexure-04 Item-03 | 10.00 | Nos. | 18605.00 | 15115.80 | 151158.00 | 23364.00 | 233640.00 | 17999.00 | 179990.00 | 18000.00 | 180000.00 | 151158.00 | Ascent Networks Pvt Ltd
123.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of RJ-45 connectors in a pack of 100 as per specifications mentioned in Annexure-04 Item-04 | 50.00 | Set | 1117.00 | 944.00 | 47200.00 | 649.00 | 32450.00 | 999.00 | 49950.00 | 1000.00 | 50000.00 | 32450.00 | Puthur Infotech PVT LTD
124.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Single mode LC-SC Patch cord as per specifications mentioned in Annexure-04 Item-05 | 20.00 | Nos. | 1106.00 | 944.00 | 18880.00 | 1428.00 | 28560.00 | 1029.00 | 20580.00 | 1000.00 | 20000.00 | 18880.00 | Ascent Networks Pvt Ltd
125.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Cat6 patch cord as per specifications mentioned in Annexure-04 Item-06 | 20.00 | Nos. | 140.00 | 118.00 | 2360.00 | 163.00 | 3260.00 | 129.00 | 2580.00 | 160.00 | 3200.00 | 2360.00 | Ascent Networks Pvt Ltd
126.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Single mode 1000 Base-LX transceivers as per specifications mentioned in Annexure-04 Item-07 | 15.00 | Nos. | 2179.00 | 1770.00 | 26550.00 | 2596.00 | 38940.00 | 1999.00 | 29985.00 | 2500.00 | 37500.00 | 26550.00 | Ascent Networks Pvt Ltd
127.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of IP 68 rated Female to Female Cat6 cable coupler as per specifications mentioned in Annexure-04 Item 08 | 50.00 | Nos. | 335.00 | 283.20 | 14160.00 | 1121.00 | 56050.00 | 329.00 | 16450.00 | 350.00 | 17500.00 | 14160.00 | Ascent Networks Pvt Ltd
128.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of 01 channel whetherproof type Outdoor PoE+ Extender as per specifications mentioned in Annexure-04 Item 09 | 50.00 | Nos. | 3576.00 | 3068.00 | 153400.00 | 5735.00 | 286750.00 | 3529.00 | 176450.00 | 3500.00 | 175000.00 | 153400.00 | Ascent Networks Pvt Ltd
129.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of fully loaded 19-inch rack mountable UTP patch panel as per specifications mentioned in Annexure-04 Item 10 | 2.00 | Nos. | 2347.00 | 2006.00 | 4012.00 | 2531.00 | 5062.00 | 2299.00 | 4598.00 | 2200.00 | 4400.00 | 4012.00 | Ascent Networks Pvt Ltd
130.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Root marker as per specifications mentioned in Annexure-04 Item 11 | 100.00 | Nos. | 447.00 | 371.70 | 37170.00 | 446.00 | 44600.00 | 349.00 | 34900.00 | 500.00 | 50000.00 | 34900.00 | JAGGI ELECTRICALS
131.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of VGA to HDMI 4K converter with min. 05 metre cable | 5.00 | Nos. | 2235.00 | 1888.00 | 9440.00 | 1083.00 | 5415.00 | 1999.00 | 9995.00 | 1800.00 | 9000.00 | 5415.00 | Puthur Infotech PVT LTD
132.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Silicon made strain protection cap for Cat6 cables | 500.00 | Nos. | 11.00 | 9.44 | 4720.00 | 32.00 | 16000.00 | 9.00 | 4500.00 | 10.00 | 5000.00 | 4500.00 | JAGGI ELECTRICALS
133.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Outdoor Bullet camera mounted hollow pole made of hot dipped GI material, 8 cm diameter, 0.3 cm thick , Length - 4m or higher | 5.00 | Nos. | 11174.00 | 9440.00 | 47200.00 | 11470.00 | 57350.00 | 10599.00 | 52995.00 | 13000.00 | 65000.00 | 47200.00 | Ascent Networks Pvt Ltd
134.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Digital Multimeter along with batteries and TL75 leads as per specifications mentioned in Annexure-04 Item 12 | 2.00 | Nos. | 1117.00 | 1180.00 | 2360.00 | 3823.00 | 7646.00 | 1029.00 | 2058.00 | 1000.00 | 2000.00 | 2000.00 | Space Controls
135.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Nylon Zip cable ties strip of white color(Pack of 100) | 10.00 | Set | 335.00 | 283.20 | 2832.00 | 510.00 | 5100.00 | 299.00 | 2990.00 | 300.00 | 3000.00 | 2832.00 | Ascent Networks Pvt Ltd
136.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Flexible PVC Cable sleeve marked with numeric of 0-9 and suitable for 2.6-4.2 sq.mm. cable of Yellow Color(Pack of 1000 for each number) | 3.00 | Set | 4470.00 | 3776.00 | 11328.00 | 1147.00 | 3441.00 | 3699.00 | 11097.00 | 4000.00 | 12000.00 | 3441.00 | Puthur Infotech PVT LTD
137.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Supply of Wire tracker cum Ethernet LAN tester suitable for RJ-45 and RJ-11 interface with LED light for dark environment. It shall consists of Emitter and receiver and it shall also be able to track electrical and speaker wire by connecting alleigator clip. Vendor shall provide 04 Nos. of additional batteries along with LAN tester and required accessories | 5.00 | Nos. | 3911.00 | 3186.00 | 15930.00 | 3568.00 | 17840.00 | 3529.00 | 17645.00 | 5000.00 | 25000.00 | 15930.00 | Ascent Networks Pvt Ltd
138.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Excavation and backfilling of any type of soil with dimension of 300 mm width and 500 mm depth as per direction of Engineer-In-Charge(EIC) | 4000.00 | Metre | 573.00 | 472.00 | 1888000.00 | 552.00 | 2208000.00 | 529.00 | 2116000.00 | 480.00 | 1920000.00 | 1888000.00 | Ascent Networks Pvt Ltd
139.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Laying of Cat6 cable through casing and capping/PVC pipe from Rack to Camera | 1000.00 | Metre | 48.00 | 41.30 | 41300.00 | 52.00 | 52000.00 | 29.00 | 29000.00 | 45.00 | 45000.00 | 29000.00 | JAGGI ELECTRICALS
140.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Laying of 25mm/32mm HDPE pipe through Excavated trench | 4800.00 | Metre | 48.00 | 41.30 | 198240.00 | 52.00 | 249600.00 | 29.00 | 139200.00 | 40.00 | 192000.00 | 139200.00 | JAGGI ELECTRICALS
141.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Laying of 12 core FO cable through 32 mm HDPE Pipe in excavated trench | 5600.00 | Metre | 54.00 | 44.84 | 251104.00 | 52.00 | 291200.00 | 29.00 | 162400.00 | 42.00 | 235200.00 | 162400.00 | JAGGI ELECTRICALS
142.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Laying of 3 Core 2.5 sq.mm. Electrical cable through 25/32mm HDPE pipe | 700.00 | Metre | 54.00 | 44.84 | 31388.00 | 52.00 | 36400.00 | 29.00 | 20300.00 | 40.00 | 28000.00 | 20300.00 | JAGGI ELECTRICALS
143.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Laying of Cat6 cable through 25mm/32mm HDPE pipe in excavated trench | 800.00 | Metre | 54.00 | 49.56 | 39648.00 | 52.00 | 41600.00 | 29.00 | 23200.00 | 40.00 | 32000.00 | 23200.00 | JAGGI ELECTRICALS
144.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Installation of Indoor Dome type Cameras | 12.00 | Nos. | 2080.00 | 1652.00 | 19824.00 | 1038.00 | 12456.00 | 1599.00 | 19188.00 | 2000.00 | 24000.00 | 12456.00 | Puthur Infotech PVT LTD
145.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Installation of Outdoor bullet camera pole by preparing the concrete base of depth 300mm. Length and Width of concrete base shall be as per pole base | 3.00 | Nos. | 6933.00 | 5664.00 | 16992.00 | 7788.00 | 23364.00 | 4999.00 | 14997.00 | 7500.00 | 22500.00 | 14997.00 | JAGGI ELECTRICALS
146.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Installation of Outdoor Bullet type Cameras on wall/column/pole | 3.00 | Nos. | 2080.00 | 1770.00 | 5310.00 | 1038.00 | 3114.00 | 1499.00 | 4497.00 | 2000.00 | 6000.00 | 3114.00 | Puthur Infotech PVT LTD
147.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Installation of 6U/9U/12U indoor network rack along with required Network Switch, LIU and related accessories | 3.00 | Nos. | 1926.00 | 1652.00 | 4956.00 | 1298.00 | 3894.00 | 1499.00 | 4497.00 | 1800.00 | 5400.00 | 3894.00 | Puthur Infotech PVT LTD
148.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Termination / Splicing of OFC cores with Pigtails | 48.00 | Nos. | 376.00 | 295.00 | 14160.00 | 422.00 | 20256.00 | 329.00 | 15792.00 | 400.00 | 19200.00 | 14160.00 | Ascent Networks Pvt Ltd
149.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Installation of 8 TB HDD | 4.00 | Nos. | 535.00 | 436.60 | 1746.40 | 260.00 | 1040.00 | 429.00 | 1716.00 | 400.00 | 1600.00 | 1040.00 | Puthur Infotech PVT LTD
150.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Installation of 6 TB HDD | 6.00 | Nos. | 535.00 | 436.60 | 2619.60 | 260.00 | 1560.00 | 419.00 | 2514.00 | 400.00 | 2400.00 | 1560.00 | Puthur Infotech PVT LTD
151.00 | Part-B - Control & Instrumentation Works: Part-B3: IP based CCTV Surveillance System: Installation,Testing,Commissioning of Complete CCTV system | 1.00 | Set | 40445.00 | 35400.00 | 35400.00 | 63437.00 | 63437.00 | 39999.00 | 39999.00 | 35000.00 | 35000.00 | 35000.00 | Space Controls
152.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Supply of Indoor Box type speakers along with complete set of wall mounting accessories as per technical specifications mentioned in Annexure-01 Item 01 | 30.00 | Nos. | 4648.00 | 4248.00 | 127440.00 | 1625.00 | 48750.00 | 4299.00 | 128970.00 | 4500.00 | 135000.00 | 48750.00 | Puthur Infotech PVT LTD
153.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Supply of Horn type outdoor speakers as per technical specifications mentioned in Annexure-01 Item 02 | 8.00 | Nos. | 13289.00 | 10856.00 | 86848.00 | 2378.00 | 19024.00 | 12999.00 | 103992.00 | 13000.00 | 104000.00 | 19024.00 | Puthur Infotech PVT LTD
154.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Supply of Outdoor speaker mount pole as per technical specifications mentioned in Annexure-01 Item 03 | 5.00 | Nos. | 14302.00 | 11800.00 | 59000.00 | 11470.00 | 57350.00 | 13229.00 | 66145.00 | 13500.00 | 67500.00 | 57350.00 | Puthur Infotech PVT LTD
155.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Supply of 2 Core 1.5 sq.mm. EPR insulated LHLS sheathed Cu conductor speaker cable for indoor and outdoor speaker connection | 3000.00 | Metre | 149.00 | 129.80 | 389400.00 | 93.00 | 279000.00 | 119.00 | 357000.00 | 145.00 | 435000.00 | 279000.00 | Puthur Infotech PVT LTD
156.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Supply of 4 way 6 terminal ABS Junction Box | 110.00 | Nos. | 691.00 | 590.00 | 64900.00 | 1274.00 | 140140.00 | 599.00 | 65890.00 | 750.00 | 82500.00 | 64900.00 | Ascent Networks Pvt Ltd
157.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Supply of Outdoor type IP 66 rated 05 pair JB | 5.00 | Nos. | 4577.00 | 3776.00 | 18880.00 | 1912.00 | 9560.00 | 4299.00 | 21495.00 | 5000.00 | 25000.00 | 9560.00 | Puthur Infotech PVT LTD
158.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Installation of 4 Way 6 Terminal ABS Box | 110.00 | Nos. | 596.00 | 495.60 | 54516.00 | 974.00 | 107140.00 | 569.00 | 62590.00 | 600.00 | 66000.00 | 54516.00 | Ascent Networks Pvt Ltd
159.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Installation of Indoor Speakers | 30.00 | Nos. | 2145.00 | 1770.00 | 53100.00 | 974.00 | 29220.00 | 1599.00 | 47970.00 | 1900.00 | 57000.00 | 29220.00 | Puthur Infotech PVT LTD
160.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Installation of Outdoor Horn speakers | 5.00 | Nos. | 3575.00 | 3068.00 | 15340.00 | 974.00 | 4870.00 | 2099.00 | 10495.00 | 3200.00 | 16000.00 | 4870.00 | Puthur Infotech PVT LTD
161.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Installation of speaker pole by making a concrete base of depth of 300mm of concerete material. Length and Width of base will be as per pole base. | 3.00 | Nos. | 8581.00 | 7316.00 | 21948.00 | 7788.00 | 23364.00 | 5999.00 | 17997.00 | 7500.00 | 22500.00 | 17997.00 | JAGGI ELECTRICALS
162.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Laying of speaker cable through 25 mm PVC pipe for internal building wiring | 2500.00 | Metre | 64.00 | 51.92 | 129800.00 | 52.00 | 130000.00 | 39.00 | 97500.00 | 55.00 | 137500.00 | 97500.00 | JAGGI ELECTRICALS
163.00 | Part-B - Control & Instrumentation Works: Part-B4: IP based Public Annuouncement System: Laying of speaker cable through 25mm/32 mm HDPE pipe in Excavated trench for Horn type speakers | 500.00 | Metre | 100.00 | 79.06 | 39530.00 | 52.00 | 26000.00 | 49.00 | 24500.00 | 90.00 | 45000.00 | 24500.00 | JAGGI ELECTRICALS
164.00 | Part-C - IT Works: Interactive Flat Panel as per specification in Annexure – 1 | 2.00 | nos | 284144.00 | 247800.00 | 495600.00 | 240130.00 | 480260.00 | 289999.00 | 579998.00 | 275000.00 | 550000.00 | 480260.00 | Puthur Infotech PVT LTD
165.00 | Part-C - IT Works: OPS for Interactive flat panel as per specification in Annexure - 2 | 2.00 | nos | 29830.00 | 25960.00 | 51920.00 | 38291.00 | 76582.00 | 29999.00 | 59998.00 | 32000.00 | 64000.00 | 51920.00 | Ascent Networks Pvt Ltd
166.00 | Part-C - IT Works: Heavy Duty Bracket to Mount Interactive Flat Panel for Item no. 1 | 2.00 | nos | 18943.00 | 15340.00 | 30680.00 | 3245.00 | 6490.00 | 15999.00 | 31998.00 | 18000.00 | 36000.00 | 6490.00 | Puthur Infotech PVT LTD
167.00 | Part-C - IT Works: VC Codec as processing Unit (Polycom) as per specification in Annexure - 3 | 1.00 | nos | 556655.00 | 481440.00 | 481440.00 | 583784.00 | 583784.00 | 549999.00 | 549999.00 | 535000.00 | 535000.00 | 481440.00 | Ascent Networks Pvt Ltd
168.00 | Part-C - IT Works: PTZ Camera(Polycom) as per specification in Annexure - 4 | 1.00 | nos | 191358.00 | 171100.00 | 171100.00 | 228272.00 | 228272.00 | 179999.00 | 179999.00 | 200000.00 | 200000.00 | 171100.00 | Ascent Networks Pvt Ltd
169.00 | Part-C - IT Works: Touch Pad for Control of VC(Polycom) as per specification in Annexure- 5 | 1.00 | nos | 111773.00 | 100300.00 | 100300.00 | 160528.00 | 160528.00 | 109999.00 | 109999.00 | 135000.00 | 135000.00 | 100300.00 | Ascent Networks Pvt Ltd
170.00 | Part-C - IT Works: Digital Audio Processor/ Digital Matrix Processor(DMP)as per specification in Annexure - 6 | 1.00 | nos | 229556.00 | 200600.00 | 200600.00 | 359152.00 | 359152.00 | 229999.00 | 229999.00 | 200000.00 | 200000.00 | 200000.00 | Space Controls
171.00 | Part-C - IT Works: Power Amplifier with DSP as per specification in Annexure - 7 | 1.00 | nos | 95451.00 | 78352.00 | 78352.00 | 116392.00 | 116392.00 | 89999.00 | 89999.00 | 100000.00 | 100000.00 | 78352.00 | Ascent Networks Pvt Ltd
172.00 | Part-C - IT Works: Speaker as per specification in Annexure - 8 | 8.00 | nos | 47922.00 | 40710.00 | 325680.00 | 66510.00 | 532080.00 | 44999.00 | 359992.00 | 50000.00 | 400000.00 | 325680.00 | Ascent Networks Pvt Ltd
173.00 | Part-C - IT Works: HDMI Matrix Switcher as per specification in Annexure - 9 | 1.00 | nos | 129564.00 | 108560.00 | 108560.00 | 146920.00 | 146920.00 | 129999.00 | 129999.00 | 100000.00 | 100000.00 | 100000.00 | Space Controls
174.00 | Part-C - IT Works: HDMI Extender Pair (Transmitter & Receiver) as per specification in Annexure - 10 | 2.00 | nos | 80995.00 | 70210.00 | 140420.00 | 126369.00 | 252738.00 | 77999.00 | 155998.00 | 88000.00 | 176000.00 | 140420.00 | Ascent Networks Pvt Ltd
175.00 | Part-C - IT Works: Controller/ Processor for Audio as per specification in Annexure - 11 | 1.00 | nos | 263927.00 | 233640.00 | 233640.00 | 382430.00 | 382430.00 | 249999.00 | 249999.00 | 250000.00 | 250000.00 | 233640.00 | Ascent Networks Pvt Ltd
176.00 | Part-C - IT Works: Mic delegate unit as per specification in Annexure - 12 | 30.00 | nos | 28093.00 | 24780.00 | 743400.00 | 41536.00 | 1246080.00 | 25999.00 | 779970.00 | 25000.00 | 750000.00 | 743400.00 | Ascent Networks Pvt Ltd
177.00 | Part-C - IT Works: Mic Chairman Unit as per specification in Annexure - 13 | 1.00 | nos | 41976.00 | 35400.00 | 35400.00 | 42921.00 | 42921.00 | 37999.00 | 37999.00 | 50000.00 | 50000.00 | 35400.00 | Ascent Networks Pvt Ltd
178.00 | Part-C - IT Works: Central Control Unit for Audio conferencing system as per specification in Annexure - 14 | 1.00 | nos | 191317.00 | 159300.00 | 159300.00 | 225569.00 | 225569.00 | 179999.00 | 179999.00 | 150000.00 | 150000.00 | 150000.00 | Space Controls
179.00 | Part-C - IT Works: Cables for Audio System - Extension wire/chords for Speakers & Mic as per specification in Annexure - 15 | 300.00 | set | 208.00 | 177.00 | 53100.00 | 156.00 | 46800.00 | 199.00 | 59700.00 | 250.00 | 75000.00 | 46800.00 | Puthur Infotech PVT LTD
180.00 | Part-C - IT Works: Omni directional Conferencing Microphone(Polycom) as per specification in Annexure - 16 | 3.00 | nos | 58402.00 | 49560.00 | 148680.00 | 90296.00 | 270888.00 | 49999.00 | 149997.00 | 50000.00 | 150000.00 | 148680.00 | Ascent Networks Pvt Ltd
181.00 | Part-C - IT Works: 04 no of Wireless (Handheld)Microphone with transmitter and a receiver as per specification in Annexure - 17 | 1.00 | set | 25173.00 | 21240.00 | 21240.00 | 31294.00 | 31294.00 | 19999.00 | 19999.00 | 20000.00 | 20000.00 | 19999.00 | JAGGI ELECTRICALS
182.00 | Part-C - IT Works: 02 no of Wireless Microphone with transmitter and a receiver as per specification in Annexure –18 | 2.00 | nos | 16111.00 | 13570.00 | 27140.00 | 40233.00 | 80466.00 | 15999.00 | 31998.00 | 16000.00 | 32000.00 | 27140.00 | Ascent Networks Pvt Ltd
183.00 | Part-C - IT Works: Installation, Commissioning & testing of Audio and Video Conferencing Solution | 1.00 | set | 143960.00 | 118000.00 | 118000.00 | 139240.00 | 139240.00 | 119999.00 | 119999.00 | 100000.00 | 100000.00 | 100000.00 | Space Controls
| Total in Figures |  |  |  |  | 30138930.65 |  | 33494572.00 |  | 29905552.00 |  | 30967635.00
Lowest Amount Quoted BY: JAGGI ELECTRICALS(29905552.00)

## BOQ Summary
BOQ Summary Details Tender Title: Internal Electrification and Establishment of Fire alarm system, CCTV surveillance System, Public announcement system, communication system and Audio and Video Conferencing solution at Construction Office Building of Kaiga 5 and 6. Tender ID: 2024_NPCIL_221781_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAGGI ELECTRICALS (BID ID -812761) | 29905552.00 | L1
| 2 | Ascent Networks Pvt Ltd (BID ID -812645) | 30138930.65 | L2
| 3 | Space Controls (BID ID -815828) | 30967635.00 | L3
| 4 | Puthur Infotech PVT LTD (BID ID -815243) | 33494572.00 | L4