## BoQ1
Government eProcurement System Created By: Ajit Kumar Created Date/Time: 13-Aug-2024 06:17 PM Tender Title: SERVICING AND TESTING OF AIR CIRCUIT BREAKERS (ACB) AND CALIBRATION OF MEASURING EQUIPMENT AT SURFACE INSTALLATIONS OF RAJAHMUNDRY ASSET Tender ID: 2024_ONGC_201988_1
Tender Inviting Authority: Electrical Surface Team, ONGC Rajahmundry Asset
Name of Work: Servicing & Testing Of Air Circuit Breakers (ACB) and Calibration of measuring equipment at Surface Installations of Rajahmundry Asset
Tender No: KY1AL24005
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY (GSTN-37BTWPC0647P1ZY) BID ID -727727 |  | HEMANTHA SAI CHARAN ELECTRICALS(GSTN-NA)--730714
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Air Circuit Breakers (ACB) for Servicing, Repairing & Testing
1.01 | ACB 800A 4P, ABB, Model: SACE E1N08, 170KVA GG | 1.00 | Nos |  | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 7000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | ACB 800A 4P, ABB, Model: SACE E1N08, ETP BACK FEED INSIDE MCC ROOM | 1.00 | Nos |  | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 7000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | ACB 800A, 4P, SCHNEIDER, Model: MVS08N, 380KVA GG | 1.00 | Nos |  | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 7000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | ACB 100A, 4P, SIEMENS, Model: 3WT8, ETP BACK FEED OUTSIDE ACB KIOSK | 1.00 | Nos |  | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 7000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | ACB 630A 4P, SCHNEIDER, GG INCOMER, ELECTRICAL MCC ROOM | 1.00 | Nos |  | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 7000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | ACB 630A 4P, SCHNEIDER, BUS COUPLER, ELECTRICAL MCC ROOM | 1.00 | Nos |  | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 7000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | ACB 630A 4P, SCHNEIDER, APSEB SUPPLY | 1.00 | Nos |  | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 7000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | ACB 800A 4P, ABB, SACE E1N08, GG WEST | 1.00 | Nos |  | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 7000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | ACB 800A 4P, ABB, SACE E1N08, GG WEST | 1.00 | Nos |  | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 7000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | VCB 800A, 3P, 98580 VG/18J TRANSFORMER YARD | 1.00 | Nos |  | 8000.00 | 8000.00 | 21000.00 | 21000.00 | 8000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | ACB 1600 A, 4P, C&S (Control & Switchgear), Model AH-16D-CS, 500 KVA GG Incomer to Plant load | 1.00 | Nos |  | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | ACB 1600 A, 4P, C&S (Control & Switchgear), Model AH-16D-CS, APSEB Incomer to Plant load | 1.00 | Nos |  | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | ACB 800A 4P, ABB, Model: SACE E1N08, To feed New ETP from Electrical Room | 1.00 | Nos |  | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | ACB 1000A, 4P, L&T, Model- CN-CS- 1000 C, 500 KVA GG Sync Panel | 1.00 | Nos |  | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | ACB 1000A, 4P, L&T, Model- CN-CS- 1000 C, 500 KVA GG Sync Panel | 1.00 | Nos |  | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.16 | ACB 1000A, 4P, L&T, Model- CN-CS- 1000 C, 500 KVA GG Sync Panel | 1.00 | Nos |  | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.17 | ACB 800 A, 4P, C&S (Control & Switchgear), Model AH-8D-CS, 500 KVA GG Incomer to Syn Panel | 1.00 | Nos |  | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.18 | ACB 800 A, 4P, C&S (Control & Switchgear), Model AH-8D-CS, 500 KVA GG Incomer to Syn Panel | 1.00 | Nos |  | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.19 | ACB 1000A, Merlin Gerin, Model NH 1000, Old ETP Mcc Room | 1.00 | Nos |  | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.20 | ACB 800 A, 4P, ABB, Model- SACE Emax E1, 170 KVA GG 1 | 1.00 | Nos |  | 8000.00 | 8000.00 | 8500.00 | 8500.00 | 8000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.21 | ACB 800 A, 4P, ABB, Model- SACE Emax E1, 170 KVA GG 2 | 1.00 | Nos |  | 8000.00 | 8000.00 | 8500.00 | 8500.00 | 8000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.22 | ACB 800 A, 4P, ABB, Model- SACE Emax E1, 170 KVA GG | 1.00 | Nos |  | 8000.00 | 8000.00 | 8500.00 | 8500.00 | 8000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.23 | ACB 800 A, 4P, ABB, Model- SACE Emax E1, 170 KVA GG | 1.00 | Nos |  | 8000.00 | 8000.00 | 8500.00 | 8500.00 | 8000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.24 | GE MPACT, 4Pole, Model: MPD312010, In= 1000A; Vi= 1000V Ve= 415V; Icu=Ics= 65kA, Icw= 65kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.25 | MERLIN GERIN ENERPACT, Model: NH1250, In= 1250A; Vi= 1000V, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.26 | L&T UPOWER OMEGA, 4Pole, Model: UW1-20N, S.No. HZ644678U In= 2000A; Vimp= 12kV, Cat:B, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec; 25kA,3sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.27 | L&T UPOWER OMEGA, 4Pole, Model: UW1-20N, S.No. HZ644677U In= 2000A; Vimp= 12kV , Cat:B, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec; 25kA,3sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.28 | L&T UPOWER OMEGA, 4Pole, Model: UW1-12N, S.No. KZ650300U In= 1250A; Vimp= 12kV, Cat:B, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec; 25kA 3sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.29 | L&T UPOWER OMEGA, 4Pole, Model: UW1-12N, S.No. KZ650302U In= 1250A; Vimp= 12kV , Cat:B, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec; 25kA,3sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.30 | L&T UPOWER OMEGA, 4Pole, Model: UW1-12N, S.No. KZ650301U In= 1250A; Vimp= 12kV, Cat:B, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec; 25kA,3sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.31 | L&T UPOWER OMEGA, 4Pole, Model: UW1-20N, S.No. HZ644675U In= 2000A; Vimp= 12kV, Cat:B, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec; 25kA,3sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.32 | L&T UPOWER OMEGA, 4Pole, Model: UW1-20N, S.No. HZ644676U, In= 2000A; Vimp= 12kV, Cat:B, Ve= 415V; Icu=Ics= 50kA,Icw= 50kA 1sec; 25kA,3sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.33 | ABB SACE EMAX E1, Model: SACE PPR/121/P, S.No. RA715X17A In= 1000A; Vimp= 12kV, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.34 | ABB SACE EMAX E1, Model: SACE PPR/121/P, S.No. RA74EX17A In= 1000A; Vimp= 12kV, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.35 | ABB SACE EMAX E1,Model: SACE PPR/121/P, S.No. RA73EX17A In= 1000A; Vimp= 12kV, Ve= 415V; Icu=Ics= 50kA, Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.36 | L&T UPOWER OMEGA, 4Pole Model: UW1-20N S.No. HZ644674U In= 2000A; Vimp= 12kV, Cat:B Ve= 415V; Icu=Ics= 50kA Icw= 50kA 1sec; 25kA,3sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.37 | MERLIN GERIN ENERPACT Model: NH1250 In= 1250A; Vmp=8kV, Cat:B Ve= 415V; Icu=Ics= 50kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.38 | GE MPACT, 4Pole Model: MPD31W20 In= 2000A; Vi= 1000V Ve= 415V; Icu=Ics= 65kA Icw= 65kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.39 | GE MPACT, 4Pole Model: MPD31W10 In= 1000A; Vi= 1000V Ve= 415V; Icu=Ics= 65kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 5800.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.40 | GE MPACT, 4Pole Model: MPD31W20 In= 2000A; Vi= 1000V Ve= 415V; Icu=Ics= 65kA Icw= 65kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.41 | GE MPACT, 4Pole Model: MPD31W10 In= 1000A; Vi= 1000V Ve= 415V; Icu=Ics= 65kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.42 | C&S, 3 Pole Model: AH-10D1CS In= 1000A; Vmp=8kV, Cat: B Ve= 415V; Icu=Ics= 50kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.43 | C&S, 3 Pole Model: AH-10D1CS In= 1000A; Vmp=8kV, Cat: B Ve= 415V; Icu=Ics= 50kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.44 | C&S, 3 Pole Model: AH-10D1CS In= 1000A; Vmp=8kV, Cat: B Ve= 415V; Icu=Ics= 50kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.45 | Schnieder Electric Enerpact Model: NH800 In= 630A; Vimp= 8kV, Ui=1000V, Cat:B Ve= 415V; Icu=Ics= 50kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.46 | Schnieder Electric Enerpact Model: NH800 In= 630A; Vimp= 8kV, Ui=1000V, Cat:B Ve= 415V; Icu=Ics= 50kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.47 | Schnieder Electric Enerpact Model: NH800 In= 630A; Vimp= 8kV, Ui=1000V, Cat:B Ve= 415V; Icu=Ics= 50kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.48 | GE MPACT, 4Pole Model: MPD31W20 In= 2000A; Vi= 1000V Ve= 415V; Icu=Ics= 65kA Icw= 65kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.49 | GE MPACT, 4Pole Model: MPD31W10 In= 1000A; Vi= 1000V Ve= 415V; Icu=Ics= 65kA Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
1.50 | C&S, 3 Pole, Model: AH-10D1CS, In= 1000A; Vmp=8kV, Cat: B Ve= 415V; Icu=Ics= 50kA,Icw= 50kA 1sec | 1.00 | Nos |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 5000.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.00 | Measuring Equipment for Calibrations
2.01 | Digital Multimeter, Make: Fluke, Model: 17B, S. No. 22190271 | 1.00 | Nos |  | 1500.00 | 1500.00 | 1800.00 | 1800.00 | 1500.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
2.02 | Digital Insulation Tester, Make: Fluke, Model: 1507, S. No. 21810218 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.03 | Digital Ground Tester, Make: Metravi, Model: 1507, S. No. 21810218 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.04 | Digital Motor Checker, Make: Metrai, Model: MC -380, S. No. R220010576 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.05 | Digital Lux Meter, Make: HTC, Model: MC -380, S. No. 2107380 | 1.00 | Nos |  | 7000.00 | 7000.00 | 1700.00 | 1700.00 | 1700.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.06 | Digital RCD Tester, Make: Metravi, Model: 1813, S. No. 230329717 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1700.00 | 1700.00 | 1700.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.07 | Analog Hand Operated Earth Tester, Make: Waco, S.No. 290296 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.08 | Digital Micro Ohm Meter, Make: Quadrant Measurement, Model: 53-C, S. No.076032016 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1900.00 | 1900.00 | 1900.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.09 | Digital AC/DC True RMS Clamp Meter, Make: Metravi, Model: MetraClamp-20, S No. 220501589 | 1.00 | Nos |  | 1500.00 | 1500.00 | 1600.00 | 1600.00 | 1500.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
2.10 | Analog EARTH TESTER, WACO, S.NO:288742 | 1.00 | Nos |  | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY, HEMANTHA SAI CHARAN ELECTRICALS
2.11 | Digital LUX METER, HTC, LX-101A, S.NO: 2107372 | 1.00 | Nos |  | 7000.00 | 7000.00 | 1600.00 | 1600.00 | 1600.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.12 | Digital Multimeter, Make: Fluke, Model: 17B, S. No. 22190298 | 1.00 | Nos |  | 1500.00 | 1500.00 | 1650.00 | 1650.00 | 1500.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
2.13 | Digital RCD Tester, Make: Metravi, Model: 1813, S. No. 221119450 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1650.00 | 1650.00 | 1650.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.14 | Digital Clamp meter, Make:Metravi Model: Metraclamp-20, S.NO 230302023 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1450.00 | 1450.00 | 1450.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.15 | Digital Insulation Tester, Make: Fluke, Model: 1507, S. No. 2180372 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1850.00 | 1850.00 | 1850.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.16 | Digital Clamp meter, Make: Fluke, Model: 376, S. No. | 1.00 | Nos |  | 2000.00 | 2000.00 | 1650.00 | 1650.00 | 1650.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.17 | Digital Multimeter, Make: Metravi, Model: Metraclamp, S. No. 23030201A | 1.00 | Nos |  | 2000.00 | 2000.00 | 1890.00 | 1890.00 | 1890.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.18 | Digital Ground Tester, Make: Metrai, Model: 1507, S. No. 21120047 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1950.00 | 1950.00 | 1950.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.19 | Digital Motor Checker, Make: Metrai, Model: MC -380, S. No. R220010534 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1950.00 | 1950.00 | 1950.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.20 | Analog Hand Operated Earth Tester, Make: Waco, S.No. CIE/ 222M | 1.00 | Nos |  | 2000.00 | 2000.00 | 1664.00 | 1664.00 | 1664.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.21 | Digital Lux Meter, Make: HTC, Model: MC -380, S. No. 2107390 | 1.00 | Nos |  | 7000.00 | 7000.00 | 1850.00 | 1850.00 | 1850.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.22 | Digital RCD Tester, Make: Metravi, Model: 1813, S. No. 221119421 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 1500.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.23 | Digital Ground Tester, Make: Metrai, Model: CET-03, S. No. 21120050 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1658.00 | 1658.00 | 1658.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.24 | Lux Meter, Make: HTC, Model: LX-101A, S. No. 2107385 | 1.00 | Nos |  | 7000.00 | 7000.00 | 1900.00 | 1900.00 | 1900.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.25 | Digital Motor Checker, Make: Metrai, Model: MC -380, S. No. R220010523 | 1.00 | Nos |  | 2500.00 | 2500.00 | 2100.00 | 2100.00 | 2100.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.26 | Digital AC/DC True RMS Clamp Meter, Make: Metravi, Model: MetraClamp-20, Sno. 230302018 | 1.00 | Nos |  | 2000.00 | 2000.00 | 2300.00 | 2300.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
2.27 | Digital RCD Tester, Make: Metravi, Model: 1813, S. No. 30329674 | 1.00 | Nos |  | 2000.00 | 2000.00 | 2100.00 | 2100.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
2.28 | Digital Clamp meter, Make: MECO, Model: 27-AUTO, S. No. 180411155 | 1.00 | Nos |  | 2000.00 | 2000.00 | 2300.00 | 2300.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
2.29 | Digital Insulation Tester, Make: MECO, Model: DIT99C, S.No. 18040223 | 1.00 | Nos |  | 2000.00 | 2000.00 | 2100.00 | 2100.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
2.30 | Digital Clamp meter, Make: MECO, Model: 27-AUTO | 1.00 | Nos |  | 2500.00 | 2500.00 | 2200.00 | 2200.00 | 2200.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.31 | Digital Insulation Tester, Make: MECO, Model: DIT99C, S.No. 18070856 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.32 | Analog Hand Operated Earth Tester, WACO, S.NO:288734 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1900.00 | 1900.00 | 1900.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.33 | Digital Clamp Meter, Make: Fluke, Model: 376, S.NO. 22090969 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1600.00 | 1600.00 | 1600.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.34 | Digital Multimeter, Make: Fluke, Model: 17B, S.NO. 22190300/22190279/22190296 | 3.00 | Nos |  | 2500.00 | 7500.00 | 1700.00 | 5100.00 | 5100.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.35 | Digital Insulation Tester, Make: Fluke, Model: 1507, S. No. 21810216 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1600.00 | 1600.00 | 1600.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.36 | Digital Ground Tester, Make: Metrai, Model: CET-03, S. No. 21110103 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1980.00 | 1980.00 | 1980.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.37 | Insulation resistance meggar , Fluke 1507, 21810373 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1850.00 | 1850.00 | 1850.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.38 | Multimeter voltage,Fluke(17B), 22190274 | 1.00 | Nos |  | 2000.00 | 2000.00 | 1650.00 | 1650.00 | 1650.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.39 | Multimeter voltage,Fluke 17B+, 38913547WS | 1.00 | Nos |  | 2500.00 | 2500.00 | 1640.00 | 1640.00 | 1640.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.40 | Clamp multimeter AC/DC, METRAVI(20), 220501592 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.41 | Multimeter voltage,Fluke 17B, 22190260 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1900.00 | 1900.00 | 1900.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.42 | Digital motor tester (R/L/C/I.R. METER) , METRAVI(ERT 1501),METRAVI(ERT 1501) | 1.00 | Nos |  | 3000.00 | 3000.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.43 | Earth resistance tester Analog, RK technologies, 9028646172 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.44 | LUX METER , LX-101A HTC , 2107389 | 1.00 | Nos |  | 7000.00 | 7000.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.45 | RCD TESTER, METRAVI 1813, 221119471 | 1.00 | Nos |  | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.46 | OIL TEST SET BDV TESTER, MOTWANE, Z02490c17 | 1.00 | Nos |  | 15000.00 | 15000.00 | 1800.00 | 1800.00 | 1800.00 | HEMANTHA SAI CHARAN ELECTRICALS
2.47 | PORTABLE WHEAT STONE BRIDGE, DCM2350, CAT NO 1682 | 1.00 | Nos |  | 12000.00 | 12000.00 | 1600.00 | 1600.00 | 1600.00 | HEMANTHA SAI CHARAN ELECTRICALS
3.00 | Sub-Total (in INR) | 1.00 | Nos |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted
4.00 | GST in INR (Applicable GST Rate in % to be entered by the bidder) | 1.00 | Nos |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted
| Total in Figures |  |  |  |  | 473500.00 |  | 448432.00
Lowest Amount Quoted BY: HEMANTHA SAI CHARAN ELECTRICALS(448432.00)

## BOQ Summary
BOQ Summary Details Tender Title: SERVICING AND TESTING OF AIR CIRCUIT BREAKERS (ACB) AND CALIBRATION OF MEASURING EQUIPMENT AT SURFACE INSTALLATIONS OF RAJAHMUNDRY ASSET Tender ID: 2024_ONGC_201988_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HEMANTHA SAI CHARAN ELECTRICALS | 448432.00 | L1
| 2 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 473500.00 | L2

## BoQDefects
Consolidated BoQ Defects Detail Tender Title: SERVICING AND TESTING OF AIR CIRCUIT BREAKERS (ACB) AND CALIBRATION OF MEASURING EQUIPMENT AT SURFACE INSTALLATIONS OF RAJAHMUNDRY ASSET Tender ID: 2024_ONGC_201988_1
Sl.No | Bidder Name | BoQ Defects
1 | HEMANTHA SAI CHARAN ELECTRICALS | BoQ1-DT Mismatch-Cell-M112,BoQ1-DT Mismatch-Cell-M113
2 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | BoQ1-DT Mismatch-Cell-M112,BoQ1-DT Mismatch-Cell-M113