## BoQ1
Government eProcurement System Created By: DEEPAK PHAGNA Created Date/Time: 13-Jan-2025 05:33 PM Tender Title: Supply, Installation, Testing and Commissioning (SITC) of CCTV System for GCS, Gomia of ONGC CBM Asset, Bokaro along With 5 Years Post Warranty comprehensive AMC(CAMC) Tender ID: 2024_ONGC_204468_1
Tender Inviting Authority:
Name of Work: Supply, Installation, Testing & Commissioning of CCTV System along with Video Analytics at GCS, Gomia on LSTK Basis along with post warranty 05 Years CAMC
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Transit Electronics Limited (GSTN-NA) BID ID -754065 |  | P .K. ENGINEERING AND CONSTRUCTION (GSTN-NA) BID ID -754201
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Cameras (Total 23 Nos.)
1.01 | Explosion Proof 5MP IP Network varifocal Bullet camera with Motorized zoom suitable and certified for hazardous zone 1 of OISD Standard and mounting accessories, power module & adapters | 8.00 | Nos |  | 195000.00 | 1560000.00 | 309910.80 | 2479286.40 | 1560000.00 | Transit Electronics Limited
1.02 | 5MP varifocal Bullet with Motorized zoom weather proof camera with mounting accessories | 14.00 | Nos |  | 49512.00 | 693168.00 | 51018.00 | 714252.00 | 693168.00 | Transit Electronics Limited
1.03 | 5MP Indoor Dome Camera with mounting accessories | 1.00 | Nos |  | 32680.00 | 32680.00 | 26618.40 | 26618.40 | 26618.40 | P .K. ENGINEERING AND CONSTRUCTION
2.00 | Poles (Along with necessary suitable foundation) for cameras & chemical Earthing
2.01 | 10 Meter height Pole (Galvanized pole with necessary accessories for mounting camera/junction box etc.) | 15.00 | Nos |  | 32900.00 | 493500.00 | 15000.00 | 225000.00 | 225000.00 | P .K. ENGINEERING AND CONSTRUCTION
2.02 | 05 Meter height Pole (Galvanized pole with necessary accessories for camera/junction box and floor/wall mounting of pole) | 3.00 | Nos |  | 23625.00 | 70875.00 | 12000.00 | 36000.00 | 36000.00 | P .K. ENGINEERING AND CONSTRUCTION
2.03 | 01 Meter height Pole (Galvanized pole) with necessary accessories for camera/junction box and floor/wall mounting of pole. | 3.00 | Nos |  | 3250.00 | 9750.00 | 3600.00 | 10800.00 | 9750.00 | Transit Electronics Limited
2.04 | Maintenance free chemical earthling (5mtr. copper hot dipped electrode to be used) | 15.00 | Nos |  | 15485.00 | 232275.00 | 18000.00 | 270000.00 | 232275.00 | Transit Electronics Limited
3.00 | Cables
3.01 | Armoured Single mode OS2 06 core optical Fiber. | 3000.00 | Mtr. |  | 80.00 | 240000.00 | 96.00 | 288000.00 | 240000.00 | Transit Electronics Limited
3.02 | CAT 6 cable | 200.00 | Mtr. |  | 26.00 | 5200.00 | 43.20 | 8640.00 | 5200.00 | Transit Electronics Limited
3.03 | CAT 6- Armoured for outdoor camera | 1525.00 | Mtr. |  | 82.00 | 125050.00 | 313.20 | 477630.00 | 125050.00 | Transit Electronics Limited
3.04 | CAT 6 Patchcord (3 Mtr) | 16.00 | Nos |  | 250.00 | 4000.00 | 338.40 | 5414.40 | 4000.00 | Transit Electronics Limited
3.05 | SM OS2 Fiber simplex Pig tails (1 Mtr.) | 32.00 | Nos |  | 156.00 | 4992.00 | 224.40 | 7180.80 | 4992.00 | Transit Electronics Limited
3.06 | SM OS2 Fiber duplex Patchcord (3 Mtr.) | 6.00 | Nos |  | 1550.00 | 9300.00 | 1338.00 | 8028.00 | 8028.00 | P .K. ENGINEERING AND CONSTRUCTION
3.07 | 2.5 sq mm single core copper wire for Body earthing of devices and poles | 1000.00 | Mtr. |  | 65.00 | 65000.00 | 180.00 | 180000.00 | 65000.00 | Transit Electronics Limited
3.08 | Power- Armoured FRLS (3x2.5sqmm) copper cable | 3000.00 | Mtr. |  | 132.00 | 396000.00 | 168.00 | 504000.00 | 396000.00 | Transit Electronics Limited
4.00 | Field/Outdoor equipment’s
4.01 | Ex proof enclose/ Junction Box along with accessories to wall mount/ceiling mount/pole mount and certified for use in Zone1 of OISD standard | 3.00 | Nos |  | 37050.00 | 111150.00 | 42000.00 | 126000.00 | 111150.00 | Transit Electronics Limited
4.02 | 8 port 10/100/1000 mbps + 2 simplex SFP IP 30 industrial grade POE network switch along with accessories | 9.00 | Nos |  | 42650.00 | 383850.00 | 140400.00 | 1263600.00 | 383850.00 | Transit Electronics Limited
4.03 | Weather proof enclose/ Junction Box along with accessories to wall mount/ceiling mount/pole mount | 6.00 | Nos |  | 5850.00 | 35100.00 | 19200.00 | 115200.00 | 35100.00 | Transit Electronics Limited
5.00 | CIVIL WORKS
5.01 | GI Pipe 25mm and angles for cable crossing | 100.00 | Mtr. |  | 269.00 | 26900.00 | 180.00 | 18000.00 | 18000.00 | P .K. ENGINEERING AND CONSTRUCTION
5.02 | Soft soil digging, trenching, refilling etc. | 100.00 | Sq Mtr. |  | 325.00 | 32500.00 | 360.00 | 36000.00 | 32500.00 | Transit Electronics Limited
5.03 | Road cutting/wall drilling etc. for pipe laying for cable crossing including cutting, refilling and cementing | 100.00 | Sq Mtr. |  | 715.00 | 71500.00 | 600.00 | 60000.00 | 60000.00 | P .K. ENGINEERING AND CONSTRUCTION
6.00 | Indoor equipment in Control Room/Security cabin
6.01 | 27 U rack with 600 x 800 mm, with PDU, Caster Wheel, FAN etc. | 1.00 | Nos |  | 26000.00 | 26000.00 | 30600.00 | 30600.00 | 26000.00 | Transit Electronics Limited
6.02 | Rack mounted VMS & VA server with accessories, modules for 32 cameras channels along with necessary licenses, accessories, modules and sufficient HDD capacity for 45 days camera recording | 1.00 | Nos |  | 1855465.00 | 1855465.00 | 2040000.00 | 2040000.00 | 1855465.00 | Transit Electronics Limited
6.03 | 32 inch 4k resolution wall mounted ruggedized smart display(24x7) for running VMS in the Security cabin for CCTV Monitoring along with accessories & adapters | 1.00 | Nos |  | 38100.00 | 38100.00 | 102000.00 | 102000.00 | 38100.00 | Transit Electronics Limited
6.04 | 55 inch 4k resolution wall mounted ruggedized smart display(24x7) for running VMSfor CCTV Monitoring along with accessories, HDMI Cable & adapters | 1.00 | Nos |  | 91500.00 | 91500.00 | 114000.00 | 114000.00 | 91500.00 | Transit Electronics Limited
6.05 | 6 KVA UPS with external batteries (20 mins backup) & along with accessories | 1.00 | Nos |  | 120935.00 | 120935.00 | 186000.00 | 186000.00 | 120935.00 | Transit Electronics Limited
6.06 | Fiber LIU (duplex 06 port ) along with accessories and fully loaded | 1.00 | Nos |  | 4500.00 | 4500.00 | 9685.20 | 9685.20 | 4500.00 | Transit Electronics Limited
6.07 | Rack mounted Indoor L2 switch 8 RJ45 Port, 4 duplex SFP Port, accessories & SFP/SFP+ modules supporting Gigabit / 10 Gigabit application. | 2.00 | Nos |  | 59550.00 | 119100.00 | 102000.00 | 204000.00 | 119100.00 | Transit Electronics Limited
6.08 | Workstation along with accessories, modules | 2.00 | Nos |  | 283080.00 | 566160.00 | 153600.00 | 307200.00 | 307200.00 | P .K. ENGINEERING AND CONSTRUCTION
7.00 | VIDEO ANALYTICS Software
7.01 | VIDEO ANALYTICS (Helmet and personnel safety jacket) for cameras at critical areas | 5.00 | Nos |  | 90000.00 | 450000.00 | 58800.00 | 294000.00 | 294000.00 | P .K. ENGINEERING AND CONSTRUCTION
7.02 | VIDEO ANALYTICS (Perimeter Intrusion Detection) for camera covering perimeter | 15.00 | Nos |  | 0.00 | 0.00 | 8700.00 | 130500.00 | 0.00 | Transit Electronics Limited
7.03 | VIDEO ANALYTICS (Fire, Smoke) for cameras | 10.00 | Nos |  | 36750.00 | 367500.00 | 29400.00 | 294000.00 | 294000.00 | P .K. ENGINEERING AND CONSTRUCTION
8.00 | Installation & Commissioning of entire Project
8.01 | Detail engineering, Installation & commissioning of CCTV system | 1.00 | AU |  | 2280900.00 | 2280900.00 | 480000.00 | 480000.00 | 480000.00 | P .K. ENGINEERING AND CONSTRUCTION
9.00 | Any item not covered above required to complete the Job | 1.00 | Lot |  | 0.00 | 0.00 | 100000.00 | 100000.00 | 0.00 | Transit Electronics Limited
10.00 | 5 years CAMC (Comprehensive Annual maintenance contract) after 1 Year warranty for CCTV systems installed in this project
10.01 | Post warranty Comprehensive AMC of 1st year | 1.00 | AU |  | 327197.00 | 327197.00 | 335000.00 | 335000.00 | 327197.00 | Transit Electronics Limited
10.02 | Post warranty Comprehensive AMC of 2nd year | 1.00 | AU |  | 327197.00 | 327197.00 | 335000.00 | 335000.00 | 327197.00 | Transit Electronics Limited
10.03 | Post warranty Comprehensive AMC of 3rd year | 1.00 | AU |  | 327197.00 | 327197.00 | 335000.00 | 335000.00 | 327197.00 | Transit Electronics Limited
10.04 | Post warranty Comprehensive AMC of 4th year | 1.00 | AU |  | 327197.00 | 327197.00 | 335000.00 | 335000.00 | 327197.00 | Transit Electronics Limited
10.05 | Post warranty Comprehensive AMC of 5th year | 1.00 | AU |  | 327197.00 | 327197.00 | 335000.00 | 335000.00 | 327197.00 | Transit Electronics Limited
| Total in Figures |  |  |  |  | 12158935.00 |  | 12826635.20
Lowest Amount Quoted BY: Transit Electronics Limited(12158935.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning (SITC) of CCTV System for GCS, Gomia of ONGC CBM Asset, Bokaro along With 5 Years Post Warranty comprehensive AMC(CAMC) Tender ID: 2024_ONGC_204468_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Transit Electronics Limited (BID ID -754065) | 12158935.00 | L1
| 2 | P .K. ENGINEERING AND CONSTRUCTION (BID ID -754201) | 12826635.20 | L2