## BoQ1
Government eProcurement System Created By: Mohd Umar Farooq Sofi Created Date/Time: 15-Apr-2025 12:51 PM Tender Title: SITC of PACKAGE AC AT LPG ONGC URAN PLANT Tender ID: 2024_ONGC_207325_1
Tender Inviting Authority: ERG ONGC Uran
Name of Work: Supply, installation, testing and commissioning of 3X16.5 TR water cooled package AC unit with all accessories at LPG-1 substation
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -749422 |  | suraj sales corporation (GSTN-NA) BID ID -748231
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling and shifting to scrap yard of Water cooled Ducted Package Unit of having 16.5TR capacity | 3.00 | Job | 100.00 | 40000.00 | 120000.00 | 13871.00 | 41613.00 | 41613.00 | suraj sales corporation
2.00 | Supply of NEW Water cooled Ducted Package Unit of having 16.5TR capacity | 3.00 | NO | 100.00 | 292000.00 | 876000.00 | 473871.00 | 1421613.00 | 876000.00 | VOLKS ENERGIE PVT LTD
3.00 | Installation, testing and commissioning of NEW Water cooled Ducted Package Unit of having 16.5TR capacity | 3.00 | Job | 10.00 | 140000.00 | 420000.00 | 13871.00 | 41613.00 | 41613.00 | suraj sales corporation
4.00 | Supply, Installation, testing and commissioning of Pipes
4.10 | MS C-Class Pipe complete with all fillings, flanges, elbows, supports and installed with welded construction and pressure tested for cooling tower pipes (Dia : 3 inch) | 140.00 | Rft |  | 720.00 | 100800.00 | 1850.00 | 259000.00 | 100800.00 | VOLKS ENERGIE PVT LTD
4.20 | MS C- class pipes for Condensing Line Inlet (Dia: 2 inch) | 18.00 | Rft |  | 320.00 | 5760.00 | 1640.00 | 29520.00 | 5760.00 | VOLKS ENERGIE PVT LTD
4.30 | MS C- class pipes for Condensing Line Outlet (Dia: 2 inch) | 18.00 | Rft |  | 320.00 | 5760.00 | 1640.00 | 29520.00 | 5760.00 | VOLKS ENERGIE PVT LTD
4.40 | PVC pipe for drain line (Dia : 1.5 inch) | 25.00 | Rft |  | 160.00 | 4000.00 | 50.00 | 1250.00 | 1250.00 | suraj sales corporation
4.50 | MS C- class pipes for Y-Strainer (Dia : 3 inch) | 1.00 | No. |  | 4000.00 | 4000.00 | 5371.00 | 5371.00 | 4000.00 | VOLKS ENERGIE PVT LTD
5.00 | Valves, measurement devices fittings etc.
5.10 | SITC of Butterfly Valve (Dia : 3 inch) | 5.00 | No. |  | 4000.00 | 20000.00 | 5371.00 | 26855.00 | 20000.00 | VOLKS ENERGIE PVT LTD
5.20 | SITC of Butterfly Valve (Dia : 2 inch | 6.00 | No. |  | 1120.00 | 6720.00 | 5371.00 | 32226.00 | 6720.00 | VOLKS ENERGIE PVT LTD
5.30 | SITC of Air purge Valve | 3.00 | No. |  | 800.00 | 2400.00 | 5371.00 | 16113.00 | 2400.00 | VOLKS ENERGIE PVT LTD
5.40 | SITC of Digital thermometer | 2.00 | No. |  | 1200.00 | 2400.00 | 5371.00 | 10742.00 | 2400.00 | VOLKS ENERGIE PVT LTD
5.50 | SITC of Dial type of pressure gauge | 8.00 | No. |  | 800.00 | 6400.00 | 5371.00 | 42968.00 | 6400.00 | VOLKS ENERGIE PVT LTD
5.60 | SITC of CANVASS Connection | 3.00 | No. |  | 1200.00 | 3600.00 | 5371.00 | 16113.00 | 3600.00 | VOLKS ENERGIE PVT LTD
6.00 | Electrical
6.10 | Supply & Installation of Cable from IDU to Electrical Panel | 60.00 | Rft |  | 200.00 | 12000.00 | 450.00 | 27000.00 | 12000.00 | VOLKS ENERGIE PVT LTD
6.20 | Supply & Installation of Electrical Panel | 1.00 | No. |  | 100000.00 | 100000.00 | 65000.00 | 65000.00 | 65000.00 | suraj sales corporation
6.30 | SITC of DOL starter as per described in Scope of work | 3.00 | No. |  | 20000.00 | 60000.00 | 12500.00 | 37500.00 | 37500.00 | suraj sales corporation
7.00 | MISCELLANEOUS ITEMS
7.10 | Modification in duct including insulation (nitrile and Acoustic lining) work | 1.00 | Lot |  | 50000.00 | 50000.00 | 23971.00 | 23971.00 | 23971.00 | suraj sales corporation
7.20 | Painting of Pipes and any civil work | 1.00 | Lot |  | 10000.00 | 10000.00 | 5371.00 | 5371.00 | 5371.00 | suraj sales corporation
8.00 | Temporary AC Charges for the work duration | 1.00 | Lot |  | 155000.00 | 155000.00 | 8500.00 | 8500.00 | 8500.00 | suraj sales corporation
| Total in Figures |  |  |  |  | 1964840.00 |  | 2141859.00
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(1964840.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of PACKAGE AC AT LPG ONGC URAN PLANT Tender ID: 2024_ONGC_207325_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD (BID ID -749422) | 1964840.00 | L1
| 2 | suraj sales corporation (BID ID -748231) | 2141859.00 | L2