## BoQ1
Government eProcurement System Created By: RANU SAHU Created Date/Time: 01-Nov-2024 12:45 PM Tender Title: Annual rate contract for repair and maintenance of window split ductable air conditioning units and other cooling appliances under drilling service, Assam Asset for a period of three years Tender ID: 2024_ONGC_208860_1
Tender Inviting Authority: Electrical Section, Drilling services, ONGC
Name of Work: ANNUAL RATE CONTRACT FOR REPAIR & MAINTENANCE OF WINDOW / SPLIT / DUCT-ABLE AIR CONDITIONING UNITS AND OTHER COOLING APPLIANCES UNDER DRILLING SERVICE, ASSAM ASSET FOR A PERIOD OF THREE YEARS(RD1RC24006)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sagar Traders (GSTN-18AALPH4922R1Z2) BID ID -753725 |  | DOLPHIN INC (GSTN-18AAKFD7729H1Z2) BID ID -755995 |  | ASHOKA ELECTRICALS (GSTN-NA) BID ID -755752 |  | M/s.M.M.Enterprise (GSTN-NA) BID ID -755919
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 1.5 TR WINDOW A.C. (214 nos.)
1.01 | Servicing of 1.5 TR window AC unit complete as per scope of work. | 1284.00 | No |  | 750.00 | 1136340.00 | 490.00 | 742408.80 | 1200.00 | 1818144.00 | 499.00 | 756044.88 | 742408.80 | DOLPHIN INC
1.02 | Supply & installation of capillary strainer assembly for 1.5TR window AC. | 15.00 | No |  | 350.00 | 6195.00 | 15.00 | 265.50 | 50.00 | 885.00 | 100.00 | 1770.00 | 265.50 | DOLPHIN INC
1.03 | Exchange of 1.5TR cut compressor with new compressor of makes Carrier/ Kirloskar/Sriram-Tecumseh/ Voltas/ Blue star /Copeland USA Fedder Lloyd including installation, commissioning and testing. | 3.00 | No |  | 1.00 | 3.54 | 1280.00 | 4531.20 | 3000.00 | 10620.00 | 2800.00 | 9912.00 | 3.54 | Sagar Traders
1.04 | Exchange of 1.5TR uncut compressor with new compressor of make Carrier/Kirloskar/Sriram-Tecumseh/ Voltas/ Blue star /Copeland USA Fedder Lloyd, including installation, commissioning and testing. | 10.00 | No |  | 7000.00 | 82600.00 | 1525.00 | 17995.00 | 2500.00 | 29500.00 | 3000.00 | 35400.00 | 17995.00 | DOLPHIN INC
1.05 | Exchange of 1.5 TR Rotary compressor carrier/ Kirloskar/ Sriram-Tecumseh / Voltas / Blue star / Copeland USA / Fedder Lloyd, including installation, commissioning and testing. | 3.00 | No |  | 7000.00 | 24780.00 | 1280.00 | 4531.20 | 2500.00 | 8850.00 | 3500.00 | 12390.00 | 4531.20 | DOLPHIN INC
1.06 | Supply and replacement of condenser coil of 1.5 TR AC. | 20.00 | No |  | 99.00 | 2336.40 | 15.00 | 354.00 | 700.00 | 16520.00 | 1000.00 | 23600.00 | 354.00 | DOLPHIN INC
1.07 | Gas charging of 1.5 TR AC by supplying gas R22 including leak test and flushing (Gas charging shall be done through drier only). | 110.00 | No |  | 2200.00 | 285560.00 | 1000.00 | 129800.00 | 1300.00 | 168740.00 | 620.00 | 80476.00 | 80476.00 | M/s.M.M.Enterprise
1.08 | Supply and Replacement of thermostat of makes Danfoss/BCH. | 80.00 | No |  | 119.00 | 11233.60 | 8.00 | 755.20 | 50.00 | 4720.00 | 390.00 | 36816.00 | 755.20 | DOLPHIN INC
1.09 | Supply and Replacement of air filter. (Type Plastic/ jute) | 25.00 | No |  | 39.00 | 1150.50 | 5.00 | 147.50 | 10.00 | 295.00 | 101.00 | 2979.50 | 147.50 | DOLPHIN INC
1.10 | Supply and Replacement of running Capacitor of make Vertex/Uptron / Usha | 220.00 | No |  | 120.00 | 31152.00 | 8.00 | 2076.80 | 200.00 | 51920.00 | 349.00 | 90600.40 | 2076.80 | DOLPHIN INC
1.11 | Supply and Replacement of starting Capacitor of make Vertex/ Uptron/ Usha | 20.00 | No |  | 120.00 | 2832.00 | 8.00 | 188.80 | 20.00 | 472.00 | 101.00 | 2383.60 | 188.80 | DOLPHIN INC
1.12 | Supply and Replacement of thermal over load relay(make Sriram/ Rautaon) | 20.00 | No |  | 19.00 | 448.40 | 8.00 | 188.80 | 20.00 | 472.00 | 101.00 | 2383.60 | 188.80 | DOLPHIN INC
1.13 | Rewinding of blower motor including installation, testing and commissioning | 40.00 | No |  | 200.00 | 9440.00 | 40.00 | 1888.00 | 250.00 | 11800.00 | 550.00 | 25960.00 | 1888.00 | DOLPHIN INC
1.14 | Supply ,installation, testing and commissioning of new blower motor for 1.5 TR AC(Make GE/ Universal/ CG) | 25.00 | No |  | 2190.00 | 64605.00 | 40.00 | 1180.00 | 300.00 | 8850.00 | 1100.00 | 32450.00 | 1180.00 | DOLPHIN INC
1.15 | Supply ,installation, testing and commissioning of starting relay.(make: Sriram/Rautaon) | 30.00 | No |  | 49.00 | 1734.60 | 8.00 | 283.20 | 20.00 | 708.00 | 101.00 | 3575.40 | 283.20 | DOLPHIN INC
1.16 | Supply & Replacement of front grill of 1.5 TR AC unit. | 15.00 | No |  | 19.00 | 336.30 | 12.00 | 212.40 | 20.00 | 354.00 | 101.00 | 1787.70 | 212.40 | DOLPHIN INC
1.17 | Supply and Replacement of outer cover of 1.5 TR window AC unit. | 15.00 | No |  | 9.50 | 168.15 | 12.00 | 212.40 | 40.00 | 708.00 | 101.00 | 1787.70 | 168.15 | Sagar Traders
1.18 | Supply ,installation, testing and commissioning of new cooling coil of 1.5 TR window AC unit | 15.00 | No |  | 99.00 | 1752.30 | 12.00 | 212.40 | 1000.00 | 17700.00 | 700.00 | 12390.00 | 212.40 | DOLPHIN INC
1.19 | Painting of complete AC unit (inner and outer surface) | 10.00 | No |  | 1.00 | 11.80 | 35.00 | 413.00 | 100.00 | 1180.00 | 101.00 | 1191.80 | 11.80 | Sagar Traders
1.20 | Installation of new/shifted window AC unit including supply and fixing of wooden/ metal frame, associated cement work, electrical control gears, wiring, and complete installation of AC unit. | 50.00 | No |  | 699.00 | 41241.00 | 240.00 | 14160.00 | 300.00 | 17700.00 | 190.00 | 11210.00 | 11210.00 | M/s.M.M.Enterprise
1.21 | Supply and installation of new blower fan for 1.5 TR window AC | 30.00 | No |  | 299.00 | 10584.60 | 8.00 | 283.20 | 50.00 | 1770.00 | 110.00 | 3894.00 | 283.20 | DOLPHIN INC
1.22 | Supply and installation of condenser fan for 1.5 TR window AC | 30.00 | No |  | 299.00 | 10584.60 | 8.00 | 283.20 | 50.00 | 1770.00 | 130.00 | 4602.00 | 283.20 | DOLPHIN INC
1.23 | Control unit with remote controller of 1.5 TR window AC | 40.00 | No |  | 499.00 | 23552.80 | 40.00 | 1888.00 | 200.00 | 9440.00 | 210.00 | 9912.00 | 1888.00 | DOLPHIN INC
1.24 | Supply & installation of new 1.5 ton (TR) compressor of makes Kirloskar/ Voltas/ Sriram-Tecumseh/ Carrier/ Feeders Lloyd/Blue Star after removing the existing compressor (the existing compressor shall be retained by ONGC) | 18.00 | No |  | 7000.00 | 148680.00 | 1280.00 | 27187.20 | 4000.00 | 84960.00 | 3300.00 | 70092.00 | 27187.20 | DOLPHIN INC
1.25 | Supply & installation of new 1.5 ton (TR) Rotary compressor of makes Kirloskar/ Voltas/Sriram-Tecumseh/ Carrier/ Feeders Lloyd/Blue Star after removing the existing compressor (the existing compressor shall be retained by ONGC) | 3.00 | No |  | 7000.00 | 24780.00 | 1280.00 | 4531.20 | 4000.00 | 14160.00 | 3310.00 | 11717.40 | 4531.20 | DOLPHIN INC
1.26 | Supply & installation of new 1.5 TR window AC front grill | 15.00 | No |  | 10.00 | 177.00 | 8.00 | 141.60 | 30.00 | 531.00 | 101.00 | 1787.70 | 141.60 | DOLPHIN INC
2.00 | 2.0 TR WINDOW AC (2 nos)
2.01 | Dismantling & re-installation of 1.5 / 2.0 TR window AC unit during rig movement. | 350.00 | AU |  | 299.00 | 123487.00 | 240.00 | 99120.00 | 400.00 | 165200.00 | 490.00 | 202370.00 | 99120.00 | DOLPHIN INC
3.00 | 1.5 TR SPLIT TYPE AC (162 nos.)
3.01 | Servicing of 1.5 TR split AC as per scope of work | 972.00 | No. |  | 750.00 | 860220.00 | 760.00 | 871689.60 | 1200.00 | 1376352.00 | 491.00 | 563157.36 | 563157.36 | M/s.M.M.Enterprise
3.02 | Installation of new/shifted Split AC unit including supply and fixing of following: foundation for condenser unit, associated cement work, electrical control gears, wiring(1.5T split AC) | 78.00 | No. |  | 490.00 | 45099.60 | 170.00 | 15646.80 | 800.00 | 73632.00 | 220.00 | 20248.80 | 15646.80 | DOLPHIN INC
3.03 | Painting of the air conditioner as and when required. (Requisition shall be issued by the EIC.) Painting of the metal parts of Air conditioner to be done after thoroughly cleaning the surfaces with emery paper. One coat of metal primer and finishing of matching shade of original colour to be applied. Paint must be of approved make only.(1.5T s/AC) | 6.00 | No. |  | 19.00 | 134.52 | 15.00 | 106.20 | 100.00 | 708.00 | 90.00 | 637.20 | 106.20 | DOLPHIN INC
3.04 | Exchange of 1.5 ton (TR.) compressor with new compressor of makes Kirloskar/ Voltas/Sriram-Tecumseh / Carrier/ Feeders Lloyd/Blue Star including installation of new compressor. | 6.00 | No. |  | 7000.00 | 49560.00 | 1280.00 | 9062.40 | 2500.00 | 17700.00 | 3600.00 | 25488.00 | 9062.40 | DOLPHIN INC
3.05 | Supply & replacements Thermistor / Thermostat Assembly. (1.5 TR split AC) | 12.00 | No. |  | 119.00 | 1685.04 | 15.00 | 212.40 | 30.00 | 424.80 | 101.00 | 1430.16 | 212.40 | DOLPHIN INC
3.06 | Supply & Replacement of Capillary and strainer. (1.5 TR split AC) | 12.00 | No. |  | 10.00 | 141.60 | 15.00 | 212.40 | 20.00 | 283.20 | 101.00 | 1430.16 | 141.60 | Sagar Traders
3.07 | Supply & Installation of starting capacitor of make Vertex / Uptron / Usha. (1.5 TR split AC) | 12.00 | No. |  | 120.00 | 1699.20 | 15.00 | 212.40 | 20.00 | 283.20 | 101.00 | 1430.16 | 212.40 | DOLPHIN INC
3.08 | Supply & Installation of running capacitor of make Vertex / Uptron / Usha.(1.5 TR split AC) | 100.00 | No. |  | 120.00 | 14160.00 | 15.00 | 1770.00 | 200.00 | 23600.00 | 360.00 | 42480.00 | 1770.00 | DOLPHIN INC
3.09 | Supply & installation of starting relay of Sriram / Rautaon make.(1.5 TR split AC) | 8.00 | No. |  | 19.00 | 179.36 | 8.00 | 75.52 | 40.00 | 377.60 | 101.00 | 953.44 | 75.52 | DOLPHIN INC
3.10 | Supply & Installation of new Air Filter. (1.5 TR split AC) | 8.00 | No. |  | 29.00 | 273.76 | 5.00 | 47.20 | 20.00 | 188.80 | 101.00 | 953.44 | 47.20 | DOLPHIN INC
3.11 | Repair of Control PCB for outdoor unit. (1.5 TR split AC) | 8.00 | No. |  | 99.00 | 934.56 | 15.00 | 141.60 | 1500.00 | 14160.00 | 799.00 | 7542.56 | 141.60 | DOLPHIN INC
3.12 | Supply and installation of thermal O/L relay. (1.5 TR split AC) | 8.00 | No. |  | 19.00 | 179.36 | 5.00 | 47.20 | 50.00 | 472.00 | 101.00 | 953.44 | 47.20 | DOLPHIN INC
3.13 | Supply and installation of Evaporator Fan Motor.(1.5 TR split AC) | 15.00 | No. |  | 1490.00 | 26373.00 | 15.00 | 265.50 | 500.00 | 8850.00 | 301.00 | 5327.70 | 265.50 | DOLPHIN INC
3.14 | Supply and installation of Evaporator Fan.(1.5 TR split AC) | 8.00 | No. |  | 19.00 | 179.36 | 10.00 | 94.40 | 100.00 | 944.00 | 101.00 | 953.44 | 94.40 | DOLPHIN INC
3.15 | Repair of Control PCB for indoor unit.(1.5 TR split AC) | 18.00 | No. |  | 89.00 | 1890.36 | 40.00 | 849.60 | 3000.00 | 63720.00 | 700.00 | 14868.00 | 849.60 | DOLPHIN INC
3.16 | Supply & Installation of new Remote controller Assembly. (1.5 TR split AC) | 30.00 | No. |  | 1190.00 | 42126.00 | 20.00 | 708.00 | 250.00 | 8850.00 | 400.00 | 14160.00 | 708.00 | DOLPHIN INC
3.17 | Supply & Installation of new Swing motor.(1.5 TR split AC) | 8.00 | No. |  | 9.00 | 84.96 | 5.00 | 47.20 | 50.00 | 472.00 | 201.00 | 1897.44 | 47.20 | DOLPHIN INC
3.18 | Supply & Installation of new condenser fan motor (Make GE/ Universal/CG).(1.5 TR split AC) | 10.00 | No. |  | 2490.00 | 29382.00 | 40.00 | 472.00 | 300.00 | 3540.00 | 900.00 | 10620.00 | 472.00 | DOLPHIN INC
3.19 | Supply & Installation of new Condenser fan. (1.5 TR split AC) | 8.00 | No. |  | 149.00 | 1406.56 | 10.00 | 94.40 | 200.00 | 1888.00 | 101.00 | 953.44 | 94.40 | DOLPHIN INC
3.20 | Supply & Installation of new Suction valve (1.5 TR split AC) | 8.00 | No. |  | 9.50 | 89.68 | 10.00 | 94.40 | 100.00 | 944.00 | 101.00 | 953.44 | 89.68 | Sagar Traders
3.21 | Supply & Installation of new Discharge valve (1.5 TR split AC) | 8.00 | No. |  | 9.50 | 89.68 | 10.00 | 94.40 | 100.00 | 944.00 | 101.00 | 953.44 | 89.68 | Sagar Traders
3.22 | Gas charging of 1.5 (TR) Split AC by supplying gas including leak test and flushing (Gas charging shall be done through drier only). | 150.00 | No. |  | 2200.00 | 389400.00 | 1000.00 | 177000.00 | 1600.00 | 283200.00 | 814.00 | 144078.00 | 144078.00 | M/s.M.M.Enterprise
3.23 | Supply & installation of new 1.5 ton (TR) compressor of makes Kirloskar/ Voltas/Sriram-Tecumseh/ Carrier/ Feeders Lloyd/Blue Star after removing the existing compressor (the existing compressor shall be retained by ONGC) | 25.00 | No. |  | 7000.00 | 206500.00 | 1250.00 | 36875.00 | 4000.00 | 118000.00 | 3500.00 | 103250.00 | 36875.00 | DOLPHIN INC
3.24 | Erection of foundation of condenser unit of 1.5TR Split AC involving civil work with necessary arrangement of foundation bolts etc. for installation of condenser unit. | 4.00 | No. |  | 7000.00 | 33040.00 | 20.00 | 94.40 | 200.00 | 944.00 | 101.00 | 476.72 | 94.40 | DOLPHIN INC
3.25 | Supply & installation of new 1.5 TR split AC outdoor condenser coil | 8.00 | No |  | 299.00 | 2822.56 | 20.00 | 188.80 | 800.00 | 7552.00 | 2300.00 | 21712.00 | 188.80 | DOLPHIN INC
3.26 | Supply & installation of new 1.5 TR split AC outdoor fan motor (the existing fan motor be retained by ONGC) | 8.00 | No |  | 1450.00 | 13688.00 | 10.00 | 94.40 | 700.00 | 6608.00 | 1400.00 | 13216.00 | 94.40 | DOLPHIN INC
3.27 | Supply & installation of new 1.5 TR split AC PCB Remote Controller | 8.00 | No |  | 1200.00 | 11328.00 | 20.00 | 188.80 | 3000.00 | 28320.00 | 1100.00 | 10384.00 | 188.80 | DOLPHIN INC
3.28 | Supply & installation of new 1.5 TR split AC Blower wheel | 8.00 | No |  | 99.00 | 934.56 | 10.00 | 94.40 | 100.00 | 944.00 | 103.00 | 972.32 | 94.40 | DOLPHIN INC
4.00 | 2.0 TR SPLIT TYPE AC (74 nos)
4.01 | Servicing of 2.0 TR split AC as per scope of work | 444.00 | No. |  | 780.00 | 408657.60 | 700.00 | 366744.00 | 1300.00 | 681096.00 | 490.00 | 256720.80 | 256720.80 | M/s.M.M.Enterprise
4.02 | New installation of Split AC unit including supply and fixing of following: foundation for condenser unit, associated cement work, electrical control gears, wiring (2 TR split AC). This item shall be applicable if model/capacity and make of Split AC is not matching with the existing one. | 6.00 | No. |  | 200.00 | 1416.00 | 200.00 | 1416.00 | 800.00 | 5664.00 | 500.00 | 3540.00 | 1416.00 | Sagar Traders, DOLPHIN INC
4.03 | Supply & replacements Thermistor / Thermostat Assembly (2 TR split AC) | 10.00 | No. |  | 119.00 | 1404.20 | 10.00 | 118.00 | 50.00 | 590.00 | 101.00 | 1191.80 | 118.00 | DOLPHIN INC
4.04 | Supply & Replacement of Capillary and strainer (2 TR split AC) | 6.00 | No. |  | 19.00 | 134.52 | 10.00 | 70.80 | 20.00 | 141.60 | 101.00 | 715.08 | 70.80 | DOLPHIN INC
4.05 | Supply & Installation of starting capacitor of make Vertex / Uptron / Usha (2 TR split AC) | 6.00 | No. |  | 120.00 | 849.60 | 10.00 | 70.80 | 20.00 | 141.60 | 101.00 | 715.08 | 70.80 | DOLPHIN INC
4.06 | Supply & Installation of running capacitor of make Vertex / Uptron / Usha (2 TR split AC) | 60.00 | No. |  | 120.00 | 8496.00 | 20.00 | 1416.00 | 200.00 | 14160.00 | 360.00 | 25488.00 | 1416.00 | DOLPHIN INC
4.07 | Supply & installation of starting relay of Sriram / Rautaon make (2 TR split AC) | 6.00 | No. |  | 19.00 | 134.52 | 20.00 | 141.60 | 20.00 | 141.60 | 101.00 | 715.08 | 134.52 | Sagar Traders
4.08 | Supply & Installation of new Air Filter (2 TR split AC) | 6.00 | No. |  | 29.00 | 205.32 | 10.00 | 70.80 | 20.00 | 141.60 | 101.00 | 715.08 | 70.80 | DOLPHIN INC
4.09 | Repair of Control PCB for outdoor unit (2 TR split AC) | 10.00 | No. |  | 200.00 | 2360.00 | 20.00 | 236.00 | 1600.00 | 18880.00 | 650.00 | 7670.00 | 236.00 | DOLPHIN INC
4.10 | Supply and installation of thermal O/L relay (2 TR split AC) | 6.00 | No. |  | 19.00 | 134.52 | 10.00 | 70.80 | 100.00 | 708.00 | 101.00 | 715.08 | 70.80 | DOLPHIN INC
4.11 | Supply and installation of Evaporator Fan Motor (2 TR split AC) | 11.00 | No. |  | 1500.00 | 19470.00 | 20.00 | 259.60 | 700.00 | 9086.00 | 800.00 | 10384.00 | 259.60 | DOLPHIN INC
4.12 | Supply and installation of Evaporator Fan (2 TR split AC) | 6.00 | No. |  | 100.00 | 708.00 | 20.00 | 141.60 | 100.00 | 708.00 | 200.00 | 1416.00 | 141.60 | DOLPHIN INC
4.13 | Repair of Control PCB for indoor unit (2 TR split AC) | 6.00 | No. |  | 200.00 | 1416.00 | 30.00 | 212.40 | 3000.00 | 21240.00 | 801.00 | 5671.08 | 212.40 | DOLPHIN INC
4.14 | Supply & Installation of new Remote controller Assembly (2 TR split AC) | 15.00 | No. |  | 1200.00 | 21240.00 | 30.00 | 531.00 | 250.00 | 4425.00 | 1300.00 | 23010.00 | 531.00 | DOLPHIN INC
4.15 | Supply & Installation of new Swing motor (2 TR split AC) | 6.00 | No. |  | 10.00 | 70.80 | 10.00 | 70.80 | 100.00 | 708.00 | 101.00 | 715.08 | 70.80 | Sagar Traders, DOLPHIN INC
4.16 | Supply & Installation of new condenser fan motor (Make GE/Universal/CG) (2 TR split AC) | 6.00 | No. |  | 2490.00 | 17629.20 | 40.00 | 283.20 | 700.00 | 4956.00 | 1100.00 | 7788.00 | 283.20 | DOLPHIN INC
4.17 | Supply & Installation of new Condenser fan (2 TR split AC) | 6.00 | No. |  | 299.00 | 2116.92 | 20.00 | 141.60 | 100.00 | 708.00 | 101.00 | 715.08 | 141.60 | DOLPHIN INC
4.18 | Supply & Installation of new Suction valve (2 TR split AC) | 6.00 | No. |  | 19.00 | 134.52 | 10.00 | 70.80 | 50.00 | 354.00 | 101.00 | 715.08 | 70.80 | DOLPHIN INC
4.19 | Supply & Installation of new Discharge valve (2 TR split AC) | 6.00 | No. |  | 19.00 | 134.52 | 10.00 | 70.80 | 50.00 | 354.00 | 101.00 | 715.08 | 70.80 | DOLPHIN INC
4.20 | Gas charging of 2 TR Split AC by supplying gas including leak test and flushing (Gas charging shall be done through drier only). | 100.00 | No. |  | 2300.00 | 271400.00 | 1015.00 | 119770.00 | 1650.00 | 194700.00 | 820.00 | 96760.00 | 96760.00 | M/s.M.M.Enterprise
4.21 | Painting of the air conditioner as and when required. (Requisition shall be issued by the EIC.) Painting of the metal parts of Air conditioner to be done after thoroughly cleaning the surfaces with emery paper. One coat of metal primer and finishing of matching shade of original colour to be applied. Paint must be of approved make only (2 TR split AC) | 6.00 | No. |  | 10.00 | 70.80 | 40.00 | 283.20 | 100.00 | 708.00 | 101.00 | 715.08 | 70.80 | Sagar Traders
4.22 | Exchange of 2 ton (TR) compressor with new compressor of makes Kirloskar/ Voltas/Sriram-Tecumseh/ Carrier/ Feeders Lloyd/Blue Star including installation of new compressor | 6.00 | No. |  | 7300.00 | 51684.00 | 2540.00 | 17983.20 | 3000.00 | 21240.00 | 4200.00 | 29736.00 | 17983.20 | DOLPHIN INC
4.23 | Supply & installation of new 2 ton (TR) compressor of makes Kirloskar/ Voltas/Sriram-Tecumseh/ Carrier/ Feeders Lloyd/Blue Star after removing the existing compressor (the existing compressor shall be retained by ONGC) | 12.00 | No. |  | 7300.00 | 103368.00 | 2540.00 | 35966.40 | 4500.00 | 63720.00 | 4400.00 | 62304.00 | 35966.40 | DOLPHIN INC
4.24 | Erection of foundation of condenser unit of 2TR Split AC involving civil work with necessary arrangement of foundation bolts etc. For installation of condenser unit. | 4.00 | No. |  | 99.00 | 467.28 | 40.00 | 188.80 | 100.00 | 472.00 | 101.00 | 476.72 | 188.80 | DOLPHIN INC
4.25 | Supply & installation of new 2.0 TR split AC outdoor condenser coil after removing the existing condenser coil (the existing condenser coil be retained by ONGC) | 6.00 | No |  | 99.00 | 700.92 | 40.00 | 283.20 | 600.00 | 4248.00 | 2100.00 | 14868.00 | 283.20 | DOLPHIN INC
4.26 | Supply & installation of new 2.0 TR split AC outdoor fan motor (the existing fan motor be retained by ONGC) | 6.00 | No |  | 2199.00 | 15568.92 | 40.00 | 283.20 | 700.00 | 4956.00 | 1400.00 | 9912.00 | 283.20 | DOLPHIN INC
4.27 | Supply & installation of new 2.0 TR split AC PCB Remote Controller | 6.00 | No |  | 1200.00 | 8496.00 | 20.00 | 141.60 | 3100.00 | 21948.00 | 1600.00 | 11328.00 | 141.60 | DOLPHIN INC
4.28 | Supply & installation of new 2.0 TR split AC Blower wheel | 6.00 | No |  | 99.00 | 700.92 | 10.00 | 70.80 | 100.00 | 708.00 | 101.00 | 715.08 | 70.80 | DOLPHIN INC
4.29 | Supply & installation of new 1.5 TR/ 2.0 TR split AC outdoor stand | 6.00 | No |  | 1.00 | 7.08 | 10.00 | 70.80 | 300.00 | 2124.00 | 101.00 | 715.08 | 7.08 | Sagar Traders
5.00 | 4 TR DUCTABLE SPLIT TYPE (SCADA) (24 nos)
5.01 | Servicing of 4.0 TR of Haier AC as per scope of work | 144.00 | No |  | 1700.00 | 288864.00 | 850.00 | 144432.00 | 2000.00 | 339840.00 | 490.00 | 83260.80 | 83260.80 | M/s.M.M.Enterprise
5.02 | Supply, installation, testing and commissioning of new Evaporator suitable for 4.0 TR duct-able AC. | 1.00 | No. |  | 499.00 | 588.82 | 20.00 | 23.60 | 800.00 | 944.00 | 699.00 | 824.82 | 23.60 | DOLPHIN INC
5.03 | Supply , installation , testing and commissioning of new Condenser suitable for 4.0 TR duct-able split AC. | 1.00 | No. |  | 4999.00 | 5898.82 | 20.00 | 23.60 | 3000.00 | 3540.00 | 650.00 | 767.00 | 23.60 | DOLPHIN INC
5.04 | Supply , installation , testing and commissioning of new Condenser fan suitable for 4.0 TR duct-able split AC. | 2.00 | No. |  | 499.00 | 1177.64 | 40.00 | 94.40 | 100.00 | 236.00 | 301.00 | 710.36 | 94.40 | DOLPHIN INC
5.05 | Supply , installation , testing and commissioning of new blower motor suitable for 4.0 TR duct-able AC. | 2.00 | No. |  | 3500.00 | 8260.00 | 50.00 | 118.00 | 700.00 | 1652.00 | 1550.00 | 3658.00 | 118.00 | DOLPHIN INC
5.06 | Exchange of defective blower motor with repaired motor having six months warranty (suitable for 4.0 TR). Installation, Testing, and Commissioning of the same. | 5.00 | No. |  | 499.00 | 2944.10 | 40.00 | 236.00 | 600.00 | 3540.00 | 1100.00 | 6490.00 | 236.00 | DOLPHIN INC
5.07 | Supply , installation , testing and commissioning of new fan capacitor suitable for 4.0 TR duct-able AC. | 4.00 | No. |  | 45.00 | 212.40 | 5.00 | 23.60 | 50.00 | 236.00 | 80.00 | 377.60 | 23.60 | DOLPHIN INC
5.08 | Supply, installation , testing and commissioning of new running capacitor suitable for 4.0 TR duct-able AC. | 15.00 | No. |  | 1.00 | 17.70 | 40.00 | 708.00 | 200.00 | 3540.00 | 350.00 | 6195.00 | 17.70 | Sagar Traders
5.09 | Supply , installation , testing and commissioning of new starting capacitor suitable for 4.0 TR duct-able AC. | 4.00 | No. |  | 1.00 | 4.72 | 10.00 | 47.20 | 20.00 | 94.40 | 30.00 | 141.60 | 4.72 | Sagar Traders
5.10 | Supply, installation, testing and commissioning of new Strainer filter with capillary suitable for 4.0 TR split AC. | 4.00 | No. |  | 49.00 | 231.28 | 10.00 | 47.20 | 50.00 | 236.00 | 30.00 | 141.60 | 47.20 | DOLPHIN INC
5.11 | Supply, installation, testing and commissioning of new expansion valve suitable 4.0 TR duct-able AC | 4.00 | No. |  | 600.00 | 2832.00 | 20.00 | 94.40 | 100.00 | 472.00 | 330.00 | 1557.60 | 94.40 | DOLPHIN INC
5.12 | Supply, installation, testing and commissioning of new Rotary Compressor suitable for 4.0 TR duct-able AC. | 5.00 | No. |  | 10500.00 | 61950.00 | 1270.00 | 7493.00 | 12000.00 | 70800.00 | 4990.00 | 29441.00 | 7493.00 | DOLPHIN INC
5.13 | Supply, installation, testing and commissioning of new cooling thermostat (digital) suitable 4.0 TR duct-able split AC | 4.00 | No |  | 450.00 | 2124.00 | 10.00 | 47.20 | 500.00 | 2360.00 | 201.00 | 948.72 | 47.20 | DOLPHIN INC
5.14 | Supply , Installation , Testing , and Commissioning of new Time delay relay, 3 minutes suitable for 4.0 TR duct-able AC. | 4.00 | No. |  | 3500.00 | 16520.00 | 10.00 | 47.20 | 300.00 | 1416.00 | 110.00 | 519.20 | 47.20 | DOLPHIN INC
5.15 | Supply, installation, testing and commissioning of new high pressure switch make Dan Foss suitable for 4.0 TR duct-able AC. | 4.00 | No. |  | 200.00 | 944.00 | 10.00 | 47.20 | 500.00 | 2360.00 | 300.00 | 1416.00 | 47.20 | DOLPHIN INC
5.16 | Supply, installation, testing and commissioning of new low pressure switch make Dan Foss suitable for 4.0 TR duct-able AC. | 4.00 | No. |  | 200.00 | 944.00 | 10.00 | 47.20 | 400.00 | 1888.00 | 300.00 | 1416.00 | 47.20 | DOLPHIN INC
5.17 | Supply , Installation , Testing , and Commissioning of new MCB, 63 A, Make : HAVELLS/ STANDARD/ L&T / SIEMENS suitable or 4.0 TR duct-able AC . | 4.00 | No. |  | 90.00 | 424.80 | 40.00 | 188.80 | 800.00 | 3776.00 | 170.00 | 802.40 | 188.80 | DOLPHIN INC
5.18 | Supply, Installation, Testing, and Commissioning of new Evaporator blower fan suitable or 4.0 TR duct-able AC. | 4.00 | No. |  | 500.00 | 2360.00 | 10.00 | 47.20 | 300.00 | 1416.00 | 260.00 | 1227.20 | 47.20 | DOLPHIN INC
5.19 | Supply, Installation, Testing, and Commissioning of new condenser blower fan suitable or 4.0 TR duct-able AC. | 4.00 | No. |  | 850.00 | 4012.00 | 10.00 | 47.20 | 300.00 | 1416.00 | 190.00 | 896.80 | 47.20 | DOLPHIN INC
5.20 | Supply, Installation, Testing, and Commissioning of new magnetic contactor for compressor Make L & T/Siemens/GE suitable or 4.0 TR duct-able AC. | 5.00 | No. |  | 850.00 | 5015.00 | 10.00 | 59.00 | 500.00 | 2950.00 | 400.00 | 2360.00 | 59.00 | DOLPHIN INC
5.21 | Supply, Installation, Testing, and Commissioning of new magnetic contactor for blower motor Make L & T/Siemens/GE suitable or 4.0 TR duct-able AC. | 4.00 | No. |  | 850.00 | 4012.00 | 10.00 | 47.20 | 500.00 | 2360.00 | 360.00 | 1699.20 | 47.20 | DOLPHIN INC
5.22 | Supply, Installation, Testing, and Commissioning of sheet metal work (GI) for 4.0 TR duct-able AC. | 4.00 | FT |  | 9.50 | 44.84 | 10.00 | 47.20 | 100.00 | 472.00 | 101.00 | 476.72 | 44.84 | Sagar Traders
5.23 | Supply , Installation , Testing , and Commissioning of new Multi core multi strand PVC insulated & PVC sheathed flexible copper cable of size 4 core x 2.5 sq. mm. | 4.00 | M |  | 150.00 | 708.00 | 10.00 | 47.20 | 150.00 | 708.00 | 120.00 | 566.40 | 47.20 | DOLPHIN INC
5.24 | Supply, Installation, Testing, and Commissioning of new Anti-vibration rubber mounting pads suitable for 4.0 TR duct-able AC. | 4.00 | No |  | 10.00 | 47.20 | 10.00 | 47.20 | 60.00 | 283.20 | 10.00 | 47.20 | 47.20 | Sagar Traders, M/s.M.M.Enterprise, DOLPHIN INC
5.25 | Supply, Installation, Testing, and Commissioning of new Air filter, suitable for 4.0 TR duct-able AC. | 4.00 | No. |  | 49.00 | 231.28 | 10.00 | 47.20 | 30.00 | 141.60 | 101.00 | 476.72 | 47.20 | DOLPHIN INC
5.26 | Supply , Fixing and Testing of PE Foam 6 mm suitable for 4.0 TR duct-able split AC | 4.00 | FT |  | 49.00 | 231.28 | 10.00 | 47.20 | 100.00 | 472.00 | 50.00 | 236.00 | 47.20 | DOLPHIN INC
5.27 | Supply, Installation, Testing, and Commissioning of new control knob 2way suitable for 4.0 TR duct-able AC. | 4.00 | No |  | 5.00 | 23.60 | 10.00 | 47.20 | 100.00 | 472.00 | 101.00 | 476.72 | 23.60 | Sagar Traders
5.28 | Supply, Installation, Testing, and Commissioning of new 32A HRC fuse link base & top make EE/L&T suitable for 4.0 TR duct-able AC. | 5.00 | No |  | 5.00 | 29.50 | 15.00 | 88.50 | 200.00 | 1180.00 | 101.00 | 595.90 | 29.50 | Sagar Traders
5.29 | Supply, Installation, Testing, and Commissioning of new 2A control HRC fuse link base & top make EE/L&T suitable for 4.0 TR duct-able AC. | 5.00 | No |  | 5.00 | 29.50 | 10.00 | 59.00 | 200.00 | 1180.00 | 101.00 | 595.90 | 29.50 | Sagar Traders
5.30 | Supply , Installation , Testing , and Commissioning of new suction line 5/8 inch, suitable for 4.0 TR duct-able AC. | 5.00 | M |  | 150.00 | 885.00 | 10.00 | 59.00 | 800.00 | 4720.00 | 101.00 | 595.90 | 59.00 | DOLPHIN INC
5.31 | Supply , Installation , Testing , and Commissioning of new Discharge line 3/8 inch, suitable for 4.0 TR duct-able AC. | 5.00 | M |  | 150.00 | 885.00 | 10.00 | 59.00 | 800.00 | 4720.00 | 101.00 | 595.90 | 59.00 | DOLPHIN INC
5.32 | Supply of new Copper brazing rod (14% silver) | 5.00 | No. |  | 60.00 | 354.00 | 10.00 | 59.00 | 100.00 | 590.00 | 60.00 | 354.00 | 59.00 | DOLPHIN INC
5.33 | Supply of new Refrigerant Gas R410a and gas charging (full charging for 4.0 ton Compressor) with proper pressure and quantity by using the same. | 24.00 | No. |  | 2550.00 | 72216.00 | 1350.00 | 38232.00 | 5000.00 | 141600.00 | 818.00 | 23165.76 | 23165.76 | M/s.M.M.Enterprise
5.34 | Painting of complete AC unit (inner and outer surface) | 3.00 | No. |  | 19.00 | 67.26 | 10.00 | 35.40 | 200.00 | 708.00 | 101.00 | 357.54 | 35.40 | DOLPHIN INC
5.35 | Repair of control PCB for outdoor unit (4 TR duct-able AC) | 7.00 | No. |  | 499.00 | 4121.74 | 10.00 | 82.60 | 3000.00 | 24780.00 | 600.00 | 4956.00 | 82.60 | DOLPHIN INC
5.36 | Repair of control PCB for indoor unit (4 TR duct-able AC) | 3.00 | No. |  | 499.00 | 1766.46 | 10.00 | 35.40 | 1700.00 | 6018.00 | 600.00 | 2124.00 | 35.40 | DOLPHIN INC
5.37 | Supply of new control PCB for outdoor unit (4 TR duct-able AC) | 3.00 | No. |  | 4500.00 | 15930.00 | 10.00 | 35.40 | 3100.00 | 10974.00 | 750.00 | 2655.00 | 35.40 | DOLPHIN INC
5.38 | Supply of new control PCB for indoor unit (4 TR duct-able AC) | 3.00 | No. |  | 4500.00 | 15930.00 | 10.00 | 35.40 | 1800.00 | 6372.00 | 850.00 | 3009.00 | 35.40 | DOLPHIN INC
6.00 | 4 TR FLOOR / TOWER TYPE SPLIT AC (7 nos)
6.01 | Servicing of 4 TR Floor (Tower) Type Split AC as per scope of work | 42.00 | No. |  | 1700.00 | 84252.00 | 850.00 | 42126.00 | 2000.00 | 99120.00 | 1300.00 | 64428.00 | 42126.00 | DOLPHIN INC
6.02 | New installation of Split AC unit including supply and fixing of following: foundation for condenser unit, associated cement work, electrical control gears, wiring (4 TR Floor (Tower) Type Split AC). This item shall be applicable if model/capacity and make of Floor (Tower) Type Split AC is not matching with the existing one. | 1.00 | No. |  | 200.00 | 236.00 | 400.00 | 472.00 | 900.00 | 1062.00 | 101.00 | 119.18 | 119.18 | M/s.M.M.Enterprise
6.03 | Supply, installation, testing and commissioning of new Evaporator suitable for 4 TR Floor (Tower) Type Split AC | 1.00 | No. |  | 49.00 | 57.82 | 40.00 | 47.20 | 800.00 | 944.00 | 101.00 | 119.18 | 47.20 | DOLPHIN INC
6.04 | Supply , installation , testing and commissioning of new Condenser suitable for 4 TR Floor (Tower) Type Split AC | 1.00 | No. |  | 49.00 | 57.82 | 40.00 | 47.20 | 800.00 | 944.00 | 1100.00 | 1298.00 | 47.20 | DOLPHIN INC
6.05 | Supply , installation , testing and commissioning of new Condenser fan suitable for 4 TR Floor (Tower) Type Split AC | 1.00 | No. |  | 49.00 | 57.82 | 40.00 | 47.20 | 900.00 | 1062.00 | 203.00 | 239.54 | 47.20 | DOLPHIN INC
6.06 | Supply , installation , testing and commissioning of new Condenser fan motor suitable for 4 TR Floor (Tower) Type Split AC. Bidder to indicate capacity of quoted fan motor. | 1.00 | No. |  | 2990.00 | 3528.20 | 40.00 | 47.20 | 900.00 | 1062.00 | 1320.00 | 1557.60 | 47.20 | DOLPHIN INC
6.07 | Supply & replacements Thermistor / Thermostat Assembly (4 TR Floor (Tower) Type Split AC) | 1.00 | No. |  | 1.00 | 1.18 | 10.00 | 11.80 | 100.00 | 118.00 | 101.00 | 119.18 | 1.18 | Sagar Traders
6.08 | Supply & Replacement of Capillary and strainer (4 TR Floor (Tower) Type Split AC) | 2.00 | No. |  | 1.00 | 2.36 | 20.00 | 47.20 | 200.00 | 472.00 | 101.00 | 238.36 | 2.36 | Sagar Traders
6.09 | Supply & Installation of starting capacitor of make Vertex / Uptron / Usha (4 TR Floor (Tower) Type Split AC) | 1.00 | No. |  | 1.00 | 1.18 | 10.00 | 11.80 | 200.00 | 236.00 | 101.00 | 119.18 | 1.18 | Sagar Traders
6.10 | Supply & Installation of running capacitor of make Vertex / Uptron / Usha (4 TR Floor (Tower) Type Split AC) | 1.00 | No. |  | 1.00 | 1.18 | 20.00 | 23.60 | 200.00 | 236.00 | 349.00 | 411.82 | 1.18 | Sagar Traders
6.11 | Supply & installation of starting relay of Sriram / Rautaon make (4 TR Floor (Tower) Type Split AC) | 1.00 | No. |  | 1.00 | 1.18 | 10.00 | 11.80 | 200.00 | 236.00 | 101.00 | 119.18 | 1.18 | Sagar Traders
6.12 | Supply & Installation of new Air Filter (4 TR Floor Tower Type Split AC) | 1.00 | No. |  | 1.00 | 1.18 | 10.00 | 11.80 | 20.00 | 23.60 | 101.00 | 119.18 | 1.18 | Sagar Traders
6.13 | Supply and installation of thermal O/L relay (4 TR Floor (Tower) Type Split AC) | 1.00 | No. |  | 1.00 | 1.18 | 10.00 | 11.80 | 200.00 | 236.00 | 101.00 | 119.18 | 1.18 | Sagar Traders
6.14 | Supply and installation of Evaporator Blower Motor (4 TR Floor (Tower) Type Split AC). Bidder to indicate capacity of quoted blower motor. | 1.00 | No. |  | 4560.00 | 5380.80 | 40.00 | 47.20 | 1000.00 | 1180.00 | 1420.00 | 1675.60 | 47.20 | DOLPHIN INC
6.15 | Supply and installation of Evaporator Blower (4 TR Floor (Tower)Type Split AC) | 1.00 | No. |  | 49.00 | 57.82 | 40.00 | 47.20 | 1000.00 | 1180.00 | 320.00 | 377.60 | 47.20 | DOLPHIN INC
6.16 | Repair of Control PCB for indoor unit (4 TR Floor (Tower)Type Split AC) | 1.00 | No. |  | 200.00 | 236.00 | 40.00 | 47.20 | 3000.00 | 3540.00 | 600.00 | 708.00 | 47.20 | DOLPHIN INC
6.17 | Supply & Installation of new Remote controller Assembly (4 TR Floor (Tower)Type Split AC) | 2.00 | No. |  | 4950.00 | 11682.00 | 20.00 | 47.20 | 300.00 | 708.00 | 1266.00 | 2987.76 | 47.20 | DOLPHIN INC
6.18 | Supply & Installation of new Swing motor (4 TR Floor (Tower) Type Split AC) | 1.00 | No. |  | 1.00 | 1.18 | 10.00 | 11.80 | 100.00 | 118.00 | 101.00 | 119.18 | 1.18 | Sagar Traders
6.19 | Supply & Installation of new Suction valve (4 TR Floor (Tower) Type Split AC) | 1.00 | No. |  | 1.00 | 1.18 | 10.00 | 11.80 | 100.00 | 118.00 | 101.00 | 119.18 | 1.18 | Sagar Traders
6.20 | Supply & Installation of new Discharge valve (4 TR Floor (Tower)Type Split AC) | 1.00 | No. |  | 1.00 | 1.18 | 10.00 | 11.80 | 100.00 | 118.00 | 101.00 | 119.18 | 1.18 | Sagar Traders
6.21 | Gas charging of 4 TR Floor (Tower) Type Split AC by supplying gas including leak test and flushing (Gas charging shall be done through drier only). | 1.00 | No. |  | 3500.00 | 4130.00 | 2400.00 | 2832.00 | 5000.00 | 5900.00 | 1100.00 | 1298.00 | 1298.00 | M/s.M.M.Enterprise
6.22 | Supply, Installation, Testing, and Commissioning of new Air filter, suitable for 4 TR Floor (Tower) Type Split AC. | 1.00 | No. |  | 400.00 | 472.00 | 10.00 | 11.80 | 20.00 | 23.60 | 101.00 | 119.18 | 11.80 | DOLPHIN INC
6.23 | Supply , Installation , Testing , and Commissioning of new suction line 5/8 inch, suitable for 4 TR Floor (Tower) Type Split AC | 1.00 | M |  | 1.00 | 1.18 | 10.00 | 11.80 | 400.00 | 472.00 | 200.00 | 236.00 | 1.18 | Sagar Traders
6.24 | Supply , Installation , Testing , and Commissioning of new Discharge line 3/8 inch, suitable for 4 TR Floor (Tower) Type Split AC | 1.00 | M |  | 1.00 | 1.18 | 10.00 | 11.80 | 400.00 | 472.00 | 200.00 | 236.00 | 1.18 | Sagar Traders
6.25 | Supply of new Refrigerant Gas R22 and gas charging (full charging of compressor of 4 TR Floor (Tower) Type Split AC) with proper pressure and quantity by using the same. (Approx. Qty 2.0 Kg) | 2.00 | No. |  | 2500.00 | 5900.00 | 1100.00 | 2596.00 | 5000.00 | 11800.00 | 999.00 | 2357.64 | 2357.64 | M/s.M.M.Enterprise
6.26 | Painting of the air conditioner as and when required. (Requisition shall be issued by the EIC.) Painting of the metal parts of Air conditioner to be done after thoroughly cleaning the surfaces with emery paper. One coat of metal primer and finishing of matching shade of original colour to be applied. Paint must be of approved make only (4 TR Floor (Tower) Type Split AC) | 1.00 | No. |  | 19.00 | 22.42 | 10.00 | 11.80 | 200.00 | 236.00 | 101.00 | 119.18 | 11.80 | DOLPHIN INC
6.27 | Exchange of 4 ton (TR) compressor with new compressor of makes Kirloskar/ Voltas/Sriram-Tecumseh/ Carrier/ Feeders Lloyd/Blue Star including installation of new compressor | 2.00 | No. |  | 15500.00 | 36580.00 | 3390.00 | 8000.40 | 6000.00 | 14160.00 | 4500.00 | 10620.00 | 8000.40 | DOLPHIN INC
6.28 | Supply & installation of new 4 ton (TR) compressor of makes Kirloskar/ Voltas/Sriram-Tecumseh/ Carrier/ Feeders Lloyd/Blue Star after removing the existing compressor (the existing compressor shall be retained by ONGC) | 1.00 | No. |  | 15500.00 | 18290.00 | 3390.00 | 4000.20 | 5500.00 | 6490.00 | 4500.00 | 5310.00 | 4000.20 | DOLPHIN INC
6.29 | Erection of foundation of condenser unit of 4 TR Floor (Tower) Type Split AC involving civil work with necessary arrangement of foundation bolts etc. For installation of condenser unit. | 1.00 | No. |  | 800.00 | 944.00 | 10.00 | 11.80 | 1000.00 | 1180.00 | 101.00 | 119.18 | 11.80 | DOLPHIN INC
7.00 | REFRIGERATORS & DEEP FREEZERS (1nos)
7.01 | Maintenance/ Servicing of Refrigerator, including any type of repair/replacement of spares required, except cost of replacement of compressor & fan motor and charging of refrigerant R134-a. | 6.00 | No. |  | 100.00 | 708.00 | 200.00 | 1416.00 | 2000.00 | 14160.00 | 300.00 | 2124.00 | 708.00 | Sagar Traders
7.02 | Compressor Replacement of Refrigerator (315 LT) of same specification.(Make: LG/ Kirloskar/ Videocon/ Emerson Copeland ) | 1.00 | No. |  | 500.00 | 590.00 | 10.00 | 11.80 | 2000.00 | 2360.00 | 1200.00 | 1416.00 | 11.80 | DOLPHIN INC
7.03 | Fan motor Replacement of Refrigerator (315 LT) of same specification for cooling unit.(Make: GE/ CG/ Kirloskar) | 1.00 | No. |  | 60.00 | 70.80 | 10.00 | 11.80 | 100.00 | 118.00 | 500.00 | 590.00 | 11.80 | DOLPHIN INC
7.04 | Charging of Refrigerant (R134-a) for 315LT Refrigerator with leak test. | 1.00 | No. |  | 800.00 | 944.00 | 10.00 | 11.80 | 1500.00 | 1770.00 | 400.00 | 472.00 | 11.80 | DOLPHIN INC
7.05 | Supply of new Refrigerant Gas R32 | 50.00 | KG |  | 900.00 | 53100.00 | 418.00 | 24662.00 | 1500.00 | 88500.00 | 150.00 | 8850.00 | 8850.00 | M/s.M.M.Enterprise
7.06 | Supply of new Refrigerant Gas R410a | 25.00 | KG |  | 950.00 | 28025.00 | 509.00 | 15015.50 | 1500.00 | 44250.00 | 150.00 | 4425.00 | 4425.00 | M/s.M.M.Enterprise
| Total in Figures |  |  |  |  | 5496720.25 |  | 3013636.22 |  | 6525966.40 |  | 3337351.52
Lowest Amount Quoted BY: DOLPHIN INC(3013636.22)

## BOQ Summary
BOQ Summary Details Tender Title: Annual rate contract for repair and maintenance of window split ductable air conditioning units and other cooling appliances under drilling service, Assam Asset for a period of three years Tender ID: 2024_ONGC_208860_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DOLPHIN INC (BID ID -755995) | 3013636.22 | L1
| 2 | M/s.M.M.Enterprise (BID ID -755919) | 3337351.52 | L2
| 3 | Sagar Traders (BID ID -753725) | 5496720.25 | L3
| 4 | ASHOKA ELECTRICALS (BID ID -755752) | 6525966.40 | L4