## BoQ1
Government eProcurement System Created By: Anirudhwa Das Created Date/Time: 03-Mar-2025 12:43 PM Tender Title: Revamping of existing power panels Power cables and PDBs installed in kitchen at Neelam Platform including Installation of new Kitchen Equipment in Galley by removing the old equipment including testing and commissioning. Tender ID: 2024_ONGC_210455_1
Tender Inviting Authority: < Enter Tender Inviting Authority Officer Details >
Name of Work: < Enter Name of the Work >
Contract No: < Enter the Contract No >
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | POPULAR ELECTRIC (GSTN-NA) BID ID -760266 |  | MARINE ELECTRICALS & REFRIGERATION ENGINEERING WORKS LLP (GSTN-NA) BID ID -764093 |  | AARKAY INSTRUMENTS PRIVATE LTD. (GSTN-NA) BID ID -764840 |  | sara enterprises (GSTN-NA) BID ID -761387 |  | Denki Engineering Co. Pvt. Ltd. (GSTN-NA) BID ID -760776
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Providing and erecting weather proof, dust and vermin proof, floor mounted front operated indoor type cubical panel board with necessary IP-42 and above protection and CPRI approved factory as per IEC 61439 as per approval from EIC made from 14 SWG thick CRC M.S. sheets for internal partition with necessary accessories, supporting angles/flat channel including cutting, bending drilling, welding riveting with internal partitions & cable alley as per requirement & instruction of EIC with errection of below switchgears, busbars, suitable size of interconnecting PVC copper wire/ copper aluminum strips, rubber grommets, rib, Bakelite control fuses, earth bus and earth bolts, foundation flange, bolt base plates, sufficient nos. of hinged doors, handles with locking arrangement and rubber gasket, heavy duty end terminal connection, danger notice board, earthing strip complete and the panel should be painted with epoxy power coating consisting of following:- Incomer - MCCB, 4P, 300 Amp, 50 KA - 01 No. Outgoing – MCCB, 3P, 160 Amp - 06 Nos. MCB 2P with ELCB or RCCB 63A – 18 Nos Dimensions: Height=183 cms, width= 100 cms and depth= 30 cms (Tolerance +10%)
1.01 | Cost of supply | 1.00 | Nos | item1 | 900000.00 | 1008000.00 | 472500.00 | 529200.00 | 726648.00 | 813845.76 | 1239154.00 | 1387852.48 | 450000.00 | 504000.00 | 450000.00 | Denki Engineering Co. Pvt. Ltd. | 504000.00 | Denki Engineering Co. Pvt. Ltd.
1.02 | Cost of Installation, testing & commissioning | 1.00 | Nos | item2 | 35000.00 | 39200.00 | 367500.00 | 411600.00 | 135494.35 | 151753.67 | 218674.00 | 244914.88 | 350000.00 | 392000.00 | 35000.00 | POPULAR ELECTRIC | 39200.00 | POPULAR ELECTRIC
2.00 | Providing and erecting weather proof, dust and vermin proof, floor mounted front operated indoor type cubical panel board with necessary IP-42 and above protection and CPRI approved factory as per IEC 61439 as per approval from EIC made from 14 SWG thick CRC M.S sheets for internal partition with necessary accessories, supporting angles/flat channels including cutting, bending drilling, welding riveting with internal partitions & cable alley as per requirement & instruction of EICwith errection of below switchgears, busbars, suitable size of interconnecting PVC copper wire/copper aluminum strips, rubber grommets, rib, Bakelite control fuses, earth bus and earth bolts, foundation flange, bolt base plates, sufficient nos of hinged doors, handles with locking arrangement and rubber gasket, heavy duty end terminal connection, danger notice board, earthing strip complete and the panel should be painted with epoxy power coating consisting of following:- Incomer - MCCB,4P, 225 Amp – 01 No Outgoing MCCB, 4P, 100 Amp,25 KA – 02 Nos MCCB, 4P, 80 Amp, 25 KA- 02 Nos MCB, 3P with ELCB or RCCB, 63 Amp- 6 Nos MCB, 3P with ELCB or RCCB, 50 Amp- 3 Nos MCB, 4P with ELCB or RCCB, 40 Amp- 4 Nos MCB, 3P with ELCB or RCCB, 32 Amp- 4 Nos MCB, 2P with ELCB or RCCB, 32 Amp- 2 Nos MCB, 2P with ELCB or RCCB, 20 Amp- 2 Nos Dimensions: Height=210 cms, width= 100 cms and depth= 30 cms (Tolerance +10%)
2.01 | Cost of supply | 1.00 | Nos | item3 | 850000.00 | 952000.00 | 334750.00 | 374920.00 | 515648.00 | 577525.76 | 1136581.00 | 1272970.72 | 325000.00 | 364000.00 | 325000.00 | Denki Engineering Co. Pvt. Ltd. | 364000.00 | Denki Engineering Co. Pvt. Ltd.
2.02 | Cost of Installation, testing & commissioning | 1.00 | Nos | item4 | 35000.00 | 39200.00 | 221450.00 | 248024.00 | 110859.00 | 124162.08 | 200573.00 | 224641.76 | 215000.00 | 240800.00 | 35000.00 | POPULAR ELECTRIC | 39200.00 | POPULAR ELECTRIC
3.00 | Supply and laying of 4C x 10 sq. mm, multistrand Copper conductor for 1.1 KV, FRLS, XLPE insulated, armoured cable on wall with necessary clamps or in floor below tiles and termination with gland, lugs and shrouds at both ends
3.01 | Cost of supply | 200.00 | Mtrs | item5 | 300000.00 | 300180.00 | 315000.00 | 352800.00 | 195800.00 | 195917.48 | 170400.00 | 190848.00 | 300000.00 | 336000.00 | 170400.00 | sara enterprises | 190848.00 | sara enterprises
3.02 | Cost of Installation, testing & commissioning | 200.00 | Mtrs | item6 | 15000.00 | 15009.00 | 189000.00 | 211680.00 | 22600.00 | 22613.56 | 30000.00 | 33600.00 | 180000.00 | 201600.00 | 15000.00 | POPULAR ELECTRIC | 15009.00 | POPULAR ELECTRIC
4.00 | Supply and laying of 4C x 6 sq. mm, multistrand Copper conductor for 1.1 KV, FRLS, XLPE insulated, armoured cable on wall with necessary clamps or in floor below tiles and termination with gland, lugs and shrouds at both ends
4.01 | Cost of supply | 250.00 | Mtrs | item7 | 225000.00 | 225108.00 | 236250.00 | 264600.00 | 135250.00 | 135314.92 | 140250.00 | 157080.00 | 225000.00 | 252000.00 | 135250.00 | AARKAY INSTRUMENTS PRIVATE LTD. | 135314.92 | AARKAY INSTRUMENTS PRIVATE LTD.
4.02 | Cost of Installation, testing & commissioning | 250.00 | Mtrs | item8 | 18750.00 | 18759.00 | 162500.00 | 182000.00 | 28250.00 | 28263.56 | 24750.00 | 27720.00 | 150000.00 | 168000.00 | 18750.00 | POPULAR ELECTRIC | 18759.00 | POPULAR ELECTRIC
5.00 | Providing and laying 70 mm inner dia approved make ISI marked rigid PVC pipe having 6 kg/cm2 (Class-3) to be erected below tiles on floor as directed for laying of cable
5.01 | Cost of supply | 100.00 | Mtrs | item9 | 25000.00 | 25030.00 | 29500.00 | 33040.00 | 251800.00 | 252102.16 | 67800.00 | 75936.00 | 28000.00 | 31360.00 | 25000.00 | POPULAR ELECTRIC | 25030.00 | POPULAR ELECTRIC
5.02 | Cost of Installation, testing & commissioning | 100.00 | Mtrs | item10 | 5000.00 | 5006.00 | 63000.00 | 70560.00 | 33900.00 | 33940.68 | 12000.00 | 13440.00 | 60000.00 | 67200.00 | 5000.00 | POPULAR ELECTRIC | 5006.00 | POPULAR ELECTRIC
6.00 | Covering of cables laid in pipe at floor with tiles and the tiles has to be laid in the entire Galley for uniformity look of area 10 Mtr X 15 Mtr.
6.01 | Cost of supply | 150.00 | SqMtr | item11 | 180000.00 | 180144.00 | 110250.00 | 123480.00 | 252300.00 | 252501.84 | 868950.00 | 973224.00 | 105000.00 | 117600.00 | 105000.00 | Denki Engineering Co. Pvt. Ltd. | 117600.00 | Denki Engineering Co. Pvt. Ltd.
6.02 | Cost of Installation, testing & commissioning | 150.00 | SqMtr | item12 | 30000.00 | 30024.00 | 346500.00 | 388080.00 | 508530.00 | 508936.82 | 153300.00 | 171696.00 | 330000.00 | 369600.00 | 30000.00 | POPULAR ELECTRIC | 30024.00 | POPULAR ELECTRIC
7.00 | Supply,termination of 4 way Junction boxes as approved by EIC
7.01 | Cost of supply | 15.00 | Nos | item13 | 16500.00 | 16632.00 | 149625.00 | 167580.00 | 58605.00 | 59073.84 | 107610.00 | 120523.20 | 142500.00 | 159600.00 | 16500.00 | POPULAR ELECTRIC | 16632.00 | POPULAR ELECTRIC
7.02 | Cost of Installation, testing & commissioning | 15.00 | Nos | item14 | 1125.00 | 1134.00 | 47250.00 | 52920.00 | 16950.00 | 17085.60 | 18990.00 | 21268.80 | 45000.00 | 50400.00 | 1125.00 | POPULAR ELECTRIC | 1134.00 | POPULAR ELECTRIC
8.00 | Supply, laying, termination of Ground MCT as approved by EIC.
8.01 | Cost of supply | 15.00 | Nos | item15 | 22500.00 | 22680.00 | 441000.00 | 446292.00 | 161700.00 | 162993.60 | 503295.00 | 563690.00 | 420000.00 | 470400.00 | 22500.00 | POPULAR ELECTRIC | 22680.00 | POPULAR ELECTRIC
8.02 | Cost of Installation, testing & commissioning | 15.00 | Nos | item16 | 3000.00 | 3024.00 | 31500.00 | 35280.00 | 84754.50 | 85432.54 | 88815.00 | 99472.80 | 30000.00 | 33600.00 | 3000.00 | POPULAR ELECTRIC | 3024.00 | POPULAR ELECTRIC
9.00 | Supply, laying, termination of Industrial Power socket with switch as approved by EIC
9.01 | Cost of supply | 15.00 | Nos | item17 | 82500.00 | 83160.00 | 149625.00 | 167580.00 | 126990.00 | 128005.92 | 315225.00 | 353052.00 | 142500.00 | 159600.00 | 82500.00 | POPULAR ELECTRIC | 83160.00 | POPULAR ELECTRIC
9.02 | Cost of Installation, testing & commissioning | 15.00 | Nos | item18 | 2250.00 | 2268.00 | 47250.00 | 52920.00 | 20343.00 | 20505.74 | 55620.00 | 62294.40 | 45000.00 | 50400.00 | 2250.00 | POPULAR ELECTRIC | 2268.00 | POPULAR ELECTRIC
10.00 | Installation of following new Kitchen Equipment in Galley by removing the old equipment’s including testing and commissioning:- a) Induction Fry, Smooth Top, 15KW:- 01 No. b) 2 Hot Plate(Zone) Induction Cooking Top, 8 KW :- 02 Nos. c) 4 Hot Plate(Zone) Induction Cooking Top, 16 KW :- 03 Nos. d) Induction Fry top, 16 KW :- 01 No. e) Deep Fryer, 20 KW :- 01 No. f) 3 Deck Oven :- 01 No. g) Microwave Over, 35 L :- 03 Nos. h) Planetary Mixer 60 L, 1.5 KW :- 01 No. i) Industrial wet grinder with coconut scrapper:- 01 No. j) Induction Frying pan:- 05 Nos. k) Induction cooking pot :- 10 Nos. l) Industrial juicer :- 01 No. m) Cooking spatula stainless steel :- 02 Nos. n) Cooking spatula for Induction surface:- 02 Nos. o) Industrial Mixer Grinder, 3L :- 01 No. p) Induction Heating, water immersing food Serving Counter With 10 Container:- 01 No. q) Drinking water Heater :- 01 No. r) Chapati puffer :- 02 Nos.
10.01 | Cost of Installation, testing & commissioning | 1.00 | Job | item19 | 45000.00 | 50400.00 | 1365000.00 | 1528800.00 | 369417.10 | 413747.15 | 194700.00 | 218064.00 | 1300000.00 | 1456000.00 | 45000.00 | POPULAR ELECTRIC | 50400.00 | POPULAR ELECTRIC
11.00 | Miscellaneous Consumable and Accessories.
11.01 | Cost of supply | 1.00 | Lot | item20 | 50000.00 | 56000.00 | 73500.00 | 82320.00 | 261116.00 | 292449.92 | 458872.00 | 513936.64 | 70000.00 | 78400.00 | 50000.00 | POPULAR ELECTRIC | 56000.00 | POPULAR ELECTRIC
11.02 | Cost of Installation, testing & commissioning | 1.00 | Lot | item21 | 350000.00 | 392000.00 | 73500.00 | 82320.00 | 119787.00 | 134161.44 | 80978.00 | 90695.36 | 70000.00 | 78400.00 | 70000.00 | Denki Engineering Co. Pvt. Ltd. | 78400.00 | Denki Engineering Co. Pvt. Ltd.
| Total in Figures |  |  |  | 3191625.00 | 3464958.00 | 5226450.00 | 5805996.00 | 4136741.95 | 4410334.04 | 6086537.00 | 6816921.04 | 4983000.00 | 5580960.00

## BOQ Summary
BOQ Summary Details Tender Title: Revamping of existing power panels Power cables and PDBs installed in kitchen at Neelam Platform including Installation of new Kitchen Equipment in Galley by removing the old equipment including testing and commissioning. Tender ID: 2024_ONGC_210455_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | POPULAR ELECTRIC (BID ID -760266) | 3464958.00 | L1
| 2 | AARKAY INSTRUMENTS PRIVATE LTD. (BID ID -764840) | 4410334.04 | L2
| 3 | Denki Engineering Co. Pvt. Ltd. (BID ID -760776) | 5580960.00 | L3
| 4 | MARINE ELECTRICALS & REFRIGERATION ENGINEERING WORKS LLP (BID ID -764093) | 5805996.00 | L4
| 5 | sara enterprises (BID ID -761387) | 6816921.04 | L5