## BoQ1
Government eProcurement System Created By: LAXMAN CHOURSIYA Created Date/Time: 11-Feb-2025 01:07 PM Tender Title: SITC of BAttery Bank at IC Complex Tender ID: 2024_ONGC_211423_2
Tender Inviting Authority: I/C MMP Cell, ATSM Group, MH Asset, ONGC Mumbai
Name of Work: Supply, Installation, Commissioning and Replacement of NI-CD Battery Banks for TG-1 and BC-1B battery banks installed at IC complex of MH Asset
Contract No: YY14C24002
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ALLIANCE CORPORATION (GSTN-NA) BID ID -773335 |  | AARKAY INSTRUMENTS PRIVATE LTD. (GSTN-NA) BID ID -773638
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Material Cost
1.01 | Supply of Battery Bank for ICP Platform TG-1, 24VDC, 392 AH, 40 Nos. of Cell as per Scope of Work. | 1.00 | No. |  | 795000.00 | 795000.00 | 717551.00 | 717551.00 | 717551.00 | AARKAY INSTRUMENTS PRIVATE LTD.
1.02 | Supply of Battery Bank for ICP Platform BC-1B, 24VDC, 800 AH, 60 Nos. of Cell as per Scope of Work. | 1.00 | No. |  | 1855000.00 | 1855000.00 | 2089804.00 | 2089804.00 | 1855000.00 | ALLIANCE CORPORATION
1.03 | Cost of materials required for installation, testing and commissioning of Battery Bank for Sl. No. 1 to 2 as per scope of work | 1.00 | AU |  | 100000.00 | 100000.00 | 49459.00 | 49459.00 | 49459.00 | AARKAY INSTRUMENTS PRIVATE LTD.
1.04 | Packing & Forwarding | 1.00 | AU |  | 50000.00 | 50000.00 | 22040.00 | 22040.00 | 22040.00 | AARKAY INSTRUMENTS PRIVATE LTD.
1.05 | Insurance charges | 1.00 | AU |  | 25000.00 | 25000.00 | 22040.00 | 22040.00 | 22040.00 | AARKAY INSTRUMENTS PRIVATE LTD.
2.00 | Services (Dismantling, Installation, commissioning & testing):
2.01 | Disconnection and dismantling of existing Battery Bank at ICP Platform TG-1, 24VDC, 392 AH, 40 Nos. as per SOW | 1.00 | No. |  | 60000.00 | 60000.00 | 58555.00 | 58555.00 | 58555.00 | AARKAY INSTRUMENTS PRIVATE LTD.
2.02 | Disconnection and dismantling of existing Battery Bank at ICP Platform BC-1B, 24VDC, 800 AH, 60 Nos. as per SOW | 1.00 | No. |  | 100000.00 | 100000.00 | 146388.00 | 146388.00 | 100000.00 | ALLIANCE CORPORATION
2.03 | Installation, Testing & commissioning of Battery Bank at ICP Platform TG-1, 24VDC, 392 AH, 40 Nos. as per SOW | 1.00 | No. |  | 75000.00 | 75000.00 | 204943.00 | 204943.00 | 75000.00 | ALLIANCE CORPORATION
2.04 | Installation, Testing & commissioning of Battery Bank at ICP Platform BC-1B, 24VDC, 800 AH, 60 Nos. as per SOW | 1.00 | No. |  | 120000.00 | 120000.00 | 288593.00 | 288593.00 | 120000.00 | ALLIANCE CORPORATION
3.00 | Buy Back value of Battery Bank
3.01 | Buy back of existing Battery Bank at ICP Platform TG-1, 24VDC, 392 AH, 40 Nos. as per scope of work | 1.00 | No. |  | 20000.00 | 20000.00 | 25536.00 | 25536.00 | 20000.00 | ALLIANCE CORPORATION
3.02 | Buy back of existing Battery Bank at ICP Platform BC-1B, 24VDC, 800 AH, 60 Nos. as per scope of work | 1.00 | No. |  | 50000.00 | 50000.00 | 78797.00 | 78797.00 | 50000.00 | ALLIANCE CORPORATION
| Total in Figures |  |  |  |  | 3250000.00 |  | 3703706.00
Lowest Amount Quoted BY: ALLIANCE CORPORATION(3250000.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of BAttery Bank at IC Complex Tender ID: 2024_ONGC_211423_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ALLIANCE CORPORATION (BID ID -773335) | 3250000.00 | L1
| 2 | AARKAY INSTRUMENTS PRIVATE LTD. (BID ID -773638) | 3703706.00 | L2