## BoQ1
Government eProcurement System Created By: Vuppala Sai Kiran Created Date/Time: 16-Apr-2025 09:09 PM Tender Title: AMC Services for Fire Extinguishers at ONGC Base Complex Dowleswaram Workshop andDispensary of RJY Asset Tender ID: 2024_ONGC_215689_1
Tender Inviting Authority: ONGC, Rajahmundry
Name of Work: Annual Maintenance Contract (AMC) Services for Fire Extinguishers at ONGC Base Complex, Dowleswaram Workshop & Dispensary of RJY Asset
Notes to Price Format: 1. The Bidder should quote strictly as per this Format. 2. Any other Govt. levies / statutory levies which will not be borne by bidders must be indicated clearly failing which ONGC will not be liable for payment of any such charges and any ambiguous terms shall not be considered. 3. Any Errors of Mathematical Operations / Calculations shall be corrected by ONGC and the result shall be binding on the Bidder. The Unit Price shall be used as a base for all Calculations. 4. Above quantity in price format is indicative, the actual quantity may be more or less during the duration of the contract, however the quoted rate shall remain firm during the total duration of the contract in total price submitted in tender. 5. The Payment shall be made for the actual number of job covered under the Contract carried out during the quarter as per quoted rates. 6.Bidders are advised to carefully go through the scope of work, special conditions of contract and all other provisions of the tender document and quote their rates accordingly. 7.The contract can't be split and shall be awarded to one contractor. 8.The above mentioned rates are inclusive of all taxes, duties, levies, transportation charges and all other expenses required for providing the services against the contract and no amount other than the above shall be admissible. 9. Bidder to ascertain the applicable GST rates and quote for the line items.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Carbonic Industries (GSTN-24AAYPV6687L1ZC) BID ID -785833 |  | AKSHAR FIRE AND SAFETY (GSTN-24ABSPB4076C1ZW) BID ID -785945 |  | Mercury Fire Protection LLP (GSTN-NA) BID ID -786351 |  | Solasmar Marine services Private Limited (GSTN-NA) BID ID -792912
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | DCP Cartridge Operated Fire Extinguisher (up to 9 Kg Capacity)[As per Scope of Work at 2 (a )]
1.01 | Inspection, Maintenance, Servicing and Refilling | 600.00 | Nos | 1.25 | 150.00 | 106200.00 | 980.00 | 693840.00 | 450.00 | 318600.00 | 660.00 | 467280.00 | 106200.00 | Carbonic Industries
1.02 | Ultrasonic Thickness Measurement, Hydrostatic Testing and Refilling | 70.00 | Nos | 0.00 | 255.00 | 21063.00 | 440.00 | 36344.00 | 450.00 | 37170.00 | 120.00 | 9912.00 | 9912.00 | Solasmar Marine services Private Limited
1.03 | Painting and Labelling | 120.00 | Nos | 100.00 | 250.00 | 35400.00 | 660.00 | 93456.00 | 195.00 | 27612.00 | 144.00 | 20390.40 | 20390.40 | Solasmar Marine services Private Limited
1.04 | Supply and replacement of Cap Assembly | 120.00 | Nos | 53.00 | 850.00 | 120360.00 | 1300.00 | 184080.00 | 1000.00 | 141600.00 | 989.00 | 140042.40 | 120360.00 | Carbonic Industries
1.05 | Supply and replacement of Discharge Hose | 120.00 | Nos | 10.00 | 125.00 | 17700.00 | 200.00 | 28320.00 | 105.00 | 14868.00 | 120.00 | 16992.00 | 14868.00 | Mercury Fire Protection LLP
1.06 | Supply and replacement of Siphon Tube (Thick Tube) | 120.00 | Nos | 11.00 | 35.00 | 4956.00 | 200.00 | 28320.00 | 60.00 | 8496.00 | 111.00 | 15717.60 | 4956.00 | Carbonic Industries
1.07 | Supply and replacement of Dip Tube (Thin Tube) | 120.00 | Nos | 1.25 | 60.00 | 8496.00 | 200.00 | 28320.00 | 90.00 | 12744.00 | 88.00 | 12460.80 | 8496.00 | Carbonic Industries
1.08 | Supply and replacement of Safety Pin | 120.00 | Nos | 0.00 | 12.50 | 1770.00 | 27.50 | 3894.00 | 10.00 | 1416.00 | 32.00 | 4531.20 | 1416.00 | Mercury Fire Protection LLP
1.09 | Supply and replacement of Cap Washer (O Ring) | 120.00 | Nos | 100.00 | 15.00 | 2124.00 | 22.00 | 3115.20 | 12.00 | 1699.20 | 35.00 | 4956.00 | 1699.20 | Mercury Fire Protection LLP
1.10 | Supply and replacement of Operating Stickers | 120.00 | Nos | 1.25 | 20.00 | 2832.00 | 38.50 | 5451.60 | 25.00 | 3540.00 | 76.00 | 10761.60 | 2832.00 | Carbonic Industries
2.00 | Stored Pressure DCP Fire Extinguisher ( up tp 9 Kg Capacity) [As per Scope of Work at 2 (b)]
2.01 | Inspection, Maintenance and Servicing | 2520.00 | Nos | 10.00 | 95.00 | 282492.00 | 680.00 | 2022048.00 | 450.00 | 1338120.00 | 666.00 | 1980417.60 | 282492.00 | Carbonic Industries
2.02 | Ultrasonic Thickness Measurement and Hydrostatic Testing | 240.00 | Nos | 22.00 | 255.00 | 72216.00 | 440.00 | 124608.00 | 450.00 | 127440.00 | 120.00 | 33984.00 | 33984.00 | Solasmar Marine services Private Limited
2.03 | Refilling and Pressurization | 504.00 | Nos | 10.00 | 250.00 | 148680.00 | 385.00 | 228967.20 | 350.00 | 208152.00 | 120.00 | 71366.40 | 71366.40 | Solasmar Marine services Private Limited
2.04 | Painting and Labelling | 300.00 | Nos | 11.00 | 250.00 | 88500.00 | 660.00 | 233640.00 | 100.00 | 35400.00 | 144.00 | 50976.00 | 35400.00 | Mercury Fire Protection LLP
2.05 | Supply and replacement of Cap Assembly | 300.00 | Nos | 1.25 | 325.00 | 115050.00 | 1300.00 | 460200.00 | 1000.00 | 354000.00 | 820.00 | 290280.00 | 115050.00 | Carbonic Industries
2.06 | Supply and replacement of Discharge Hose | 300.00 | Nos | 0.00 | 125.00 | 44250.00 | 200.00 | 70800.00 | 105.00 | 37170.00 | 120.00 | 42480.00 | 37170.00 | Mercury Fire Protection LLP
2.07 | Supply and replacement of Belt for housing Discharge Hose nozzle | 300.00 | Nos | 100.00 | 45.00 | 15930.00 | 200.00 | 70800.00 | 20.00 | 7080.00 | 120.00 | 42480.00 | 7080.00 | Mercury Fire Protection LLP
2.08 | Supply and replacement of Pressure Gauge | 300.00 | Nos | 1.25 | 125.00 | 44250.00 | 300.00 | 106200.00 | 100.00 | 35400.00 | 120.00 | 42480.00 | 35400.00 | Mercury Fire Protection LLP
2.09 | Supply and replacement of Operating Stickers | 300.00 | Nos | 10.00 | 20.00 | 7080.00 | 38.50 | 13629.00 | 25.00 | 8850.00 | 76.00 | 26904.00 | 7080.00 | Carbonic Industries
2.10 | Supply and replacement of Safety Pin | 300.00 | Nos | 11.00 | 12.50 | 4425.00 | 27.50 | 9735.00 | 10.00 | 3540.00 | 32.00 | 11328.00 | 3540.00 | Mercury Fire Protection LLP
3.00 | CO2 Fire Extinguisher ( 2 Kg Capacity)[As per Scope of Work at 2 (c)]
3.01 | Inspection, Maintenance and Servicing | 120.00 | Nos | 10.00 | 125.00 | 17700.00 | 680.00 | 96288.00 | 450.00 | 63720.00 | 450.00 | 63720.00 | 17700.00 | Carbonic Industries
3.02 | Ultrasonic Thickness Measurement and Hydrostatic Testing | 10.00 | Nos | 22.00 | 650.00 | 7670.00 | 550.00 | 6490.00 | 450.00 | 5310.00 | 120.00 | 1416.00 | 1416.00 | Solasmar Marine services Private Limited
3.03 | Painting and Labelling | 24.00 | Nos | 10.00 | 250.00 | 7080.00 | 660.00 | 18691.20 | 195.00 | 5522.40 | 120.00 | 3398.40 | 3398.40 | Solasmar Marine services Private Limited
3.04 | Supply and replacement of Wheel Valve | 24.00 | Nos | 11.00 | 65.00 | 1840.80 | 50.00 | 1416.00 | 45.00 | 1274.40 | 499.00 | 14131.68 | 1274.40 | Mercury Fire Protection LLP
3.05 | Supply and replacement of Handle | 24.00 | Nos | 1.25 | 75.00 | 2124.00 | 100.00 | 2832.00 | 60.00 | 1699.20 | 120.00 | 3398.40 | 1699.20 | Mercury Fire Protection LLP
3.06 | Supply and replacement of Discharge Hose/tube | 24.00 | Nos | 0.00 | 65.00 | 1840.80 | 350.00 | 9912.00 | 105.00 | 2973.60 | 440.00 | 12460.80 | 1840.80 | Carbonic Industries
3.07 | Supply and replacement of Discharge Horn | 24.00 | Nos | 100.00 | 65.00 | 1840.80 | 100.00 | 2832.00 | 30.00 | 849.60 | 154.00 | 4361.28 | 849.60 | Mercury Fire Protection LLP
3.08 | Supply and replacement of Safety Pin and Holder | 24.00 | Nos | 1.25 | 16.00 | 453.12 | 27.50 | 778.80 | 18.00 | 509.76 | 32.00 | 906.24 | 453.12 | Carbonic Industries
3.09 | Supply and replacement of Trolley Wheel (Pair) | 24.00 | Nos | 1.25 | 550.00 | 15576.00 | 900.00 | 25488.00 | 195.00 | 5522.40 | 2200.00 | 62304.00 | 5522.40 | Mercury Fire Protection LLP
3.10 | Supply and Replacement of Valve Assembly (Wheel Type) | 24.00 | Nos | 0.00 | 650.00 | 18408.00 | 1600.00 | 45312.00 | 800.00 | 22656.00 | 890.00 | 25204.80 | 18408.00 | Carbonic Industries
3.11 | Supply and replacement of Operating Stickers | 24.00 | Nos | 100.00 | 20.00 | 566.40 | 38.50 | 1090.32 | 25.00 | 708.00 | 76.00 | 2152.32 | 566.40 | Carbonic Industries
3.12 | Supply and replacement of Pin and Washer for Trolley Wheel (Pair) | 24.00 | Nos | 1.25 | 80.00 | 2265.60 | 200.00 | 5664.00 | 25.00 | 708.00 | 110.00 | 3115.20 | 708.00 | Mercury Fire Protection LLP
4.00 | CO2 Fire Extinguisher ( 4.5 Kg Capacity)[As per Scope of Work at 2 (c)]
4.01 | Inspection, Maintenance and Servicing | 540.00 | Nos | 10.00 | 125.00 | 79650.00 | 680.00 | 433296.00 | 450.00 | 286740.00 | 500.00 | 318600.00 | 79650.00 | Carbonic Industries
4.02 | Ultrasonic Thickness Measurement and Hydrostatic Testing | 150.00 | Nos | 22.00 | 750.00 | 132750.00 | 660.00 | 116820.00 | 450.00 | 79650.00 | 150.00 | 26550.00 | 26550.00 | Solasmar Marine services Private Limited
4.03 | Painting and Labelling | 84.00 | Nos | 10.00 | 250.00 | 24780.00 | 400.00 | 39648.00 | 195.00 | 19328.40 | 220.00 | 21806.40 | 19328.40 | Mercury Fire Protection LLP
4.04 | Supply and replacement of Wheel Valve | 84.00 | Nos | 11.00 | 65.00 | 6442.80 | 50.00 | 4956.00 | 800.00 | 79296.00 | 510.00 | 50551.20 | 4956.00 | AKSHAR FIRE AND SAFETY
4.05 | Supply and replacement of Handle | 84.00 | Nos | 1.25 | 75.00 | 7434.00 | 100.00 | 9912.00 | 60.00 | 5947.20 | 120.00 | 11894.40 | 5947.20 | Mercury Fire Protection LLP
4.06 | Supply and replacement of Discharge Hose/tube | 84.00 | Nos | 0.00 | 275.00 | 27258.00 | 450.00 | 44604.00 | 225.00 | 22302.00 | 590.00 | 58480.80 | 22302.00 | Mercury Fire Protection LLP
4.07 | Supply and replacement of Discharge Horn | 84.00 | Nos | 100.00 | 85.00 | 8425.20 | 150.00 | 14868.00 | 65.00 | 6442.80 | 222.00 | 22004.64 | 6442.80 | Mercury Fire Protection LLP
4.08 | Supply and replacement of Safety Pin and Holder | 84.00 | Nos | 1.25 | 16.00 | 1585.92 | 27.50 | 2725.80 | 18.00 | 1784.16 | 56.00 | 5550.72 | 1585.92 | Carbonic Industries
4.09 | Supply and Replacement of Valve Assembly (Wheel Type) | 84.00 | Nos | 1.25 | 650.00 | 64428.00 | 900.00 | 89208.00 | 800.00 | 79296.00 | 999.00 | 99020.88 | 64428.00 | Carbonic Industries
4.10 | Supply and replacement of Operating Stickers | 84.00 | Nos | 1.25 | 20.00 | 1982.40 | 38.50 | 3816.12 | 25.00 | 2478.00 | 76.00 | 7533.12 | 1982.40 | Carbonic Industries
4.11 | Supply and replacement of Pin and Washer for Trolley Wheel (Pair) | 84.00 | Nos | 1.25 | 80.00 | 7929.60 | 22.00 | 2180.64 | 25.00 | 2478.00 | 110.00 | 10903.20 | 2180.64 | AKSHAR FIRE AND SAFETY
5.00 | CO2 Fire Extinguisher ( 6.5 Kg Capacity)[As per Scope of Work at 2 (c)]
5.01 | Inspection, Maintenance and Servicing | 1020.00 | Nos | 10.00 | 125.00 | 150450.00 | 680.00 | 818448.00 | 450.00 | 541620.00 | 550.00 | 661980.00 | 150450.00 | Carbonic Industries
5.02 | Ultrasonic Thickness Measurement and Hydrostatic Testing | 300.00 | Nos | 22.00 | 950.00 | 336300.00 | 660.00 | 233640.00 | 450.00 | 159300.00 | 120.00 | 42480.00 | 42480.00 | Solasmar Marine services Private Limited
5.03 | Painting and Labelling | 156.00 | Nos | 10.00 | 300.00 | 55224.00 | 400.00 | 73632.00 | 195.00 | 35895.60 | 188.00 | 34607.04 | 34607.04 | Solasmar Marine services Private Limited
5.04 | Supply and replacement of Wheel Valve | 156.00 | Nos | 11.00 | 65.00 | 11965.20 | 50.00 | 9204.00 | 625.00 | 115050.00 | 660.00 | 121492.80 | 9204.00 | AKSHAR FIRE AND SAFETY
5.05 | Supply and replacement of Handle | 156.00 | Nos | 1.25 | 350.00 | 64428.00 | 100.00 | 18408.00 | 300.00 | 55224.00 | 120.00 | 22089.60 | 18408.00 | AKSHAR FIRE AND SAFETY
5.06 | Supply and replacement of Discharge Hose/tube | 156.00 | Nos | 0.00 | 350.00 | 64428.00 | 350.00 | 64428.00 | 375.00 | 69030.00 | 620.00 | 114129.60 | 64428.00 | Carbonic Industries, AKSHAR FIRE AND SAFETY
5.07 | Supply and replacement of Discharge Horn | 156.00 | Nos | 100.00 | 85.00 | 15646.80 | 100.00 | 18408.00 | 56.00 | 10308.48 | 300.00 | 55224.00 | 10308.48 | Mercury Fire Protection LLP
5.08 | Supply and replacement of Safety Pin and Holder | 156.00 | Nos | 1.25 | 16.00 | 2945.28 | 27.50 | 5062.20 | 18.00 | 3313.44 | 76.00 | 13990.08 | 2945.28 | Carbonic Industries
5.09 | Supply and replacement of Trolley Wheel (Pair) | 156.00 | Nos | 1.25 | 650.00 | 119652.00 | 1300.00 | 239304.00 | 195.00 | 35895.60 | 2350.00 | 432588.00 | 35895.60 | Mercury Fire Protection LLP
5.10 | Supply and Replacement of Valve Assembly (Wheel Type) | 156.00 | Nos | 0.00 | 650.00 | 119652.00 | 900.00 | 165672.00 | 800.00 | 147264.00 | 700.00 | 128856.00 | 119652.00 | Carbonic Industries
5.11 | Supply and replacement of Operating Stickers | 156.00 | Nos | 100.00 | 20.00 | 3681.60 | 38.50 | 7087.08 | 35.00 | 6442.80 | 76.00 | 13990.08 | 3681.60 | Carbonic Industries
5.12 | Supply and replacement of Pin and Washer for Trolley Wheel (Pair) | 156.00 | Nos | 1.25 | 80.00 | 14726.40 | 22.00 | 4049.76 | 25.00 | 4602.00 | 110.00 | 20248.80 | 4049.76 | AKSHAR FIRE AND SAFETY
6.00 | CO2 Fire Extinguisher ( 22.5 Kg Capacity)[As per Scope of Work at 2 (c)]
6.01 | Inspection, Maintenance and Servicing | 24.00 | Nos | 10.00 | 200.00 | 5664.00 | 680.00 | 19257.60 | 350.00 | 9912.00 | 880.00 | 24921.60 | 5664.00 | Carbonic Industries
6.02 | Ultrasonic Thickness Measurement and Hydrostatic Testing | 2.00 | Nos | 22.00 | 1550.00 | 3658.00 | 1012.00 | 2388.32 | 450.00 | 1062.00 | 150.00 | 354.00 | 354.00 | Solasmar Marine services Private Limited
6.03 | Painting and Labelling | 12.00 | Nos | 10.00 | 550.00 | 7788.00 | 900.00 | 12744.00 | 250.00 | 3540.00 | 300.00 | 4248.00 | 3540.00 | Mercury Fire Protection LLP
6.04 | Supply and replacement of Wheel Valve | 12.00 | Nos | 11.00 | 65.00 | 920.40 | 100.00 | 1416.00 | 800.00 | 11328.00 | 880.00 | 12460.80 | 920.40 | Carbonic Industries
6.05 | Supply and replacement of Handle | 12.00 | Nos | 1.25 | 750.00 | 10620.00 | 250.00 | 3540.00 | 1920.00 | 27187.20 | 200.00 | 2832.00 | 2832.00 | Solasmar Marine services Private Limited
6.06 | Supply and replacement of Discharge Hose/tube | 12.00 | Nos | 0.00 | 850.00 | 12036.00 | 1500.00 | 21240.00 | 1275.00 | 18054.00 | 1500.00 | 21240.00 | 12036.00 | Carbonic Industries
6.07 | Supply and replacement of Discharge Horn | 12.00 | Nos | 100.00 | 150.00 | 2124.00 | 350.00 | 4956.00 | 17.00 | 240.72 | 440.00 | 6230.40 | 240.72 | Mercury Fire Protection LLP
6.08 | Supply and replacement of Safety Pin and Holder | 12.00 | Nos | 1.25 | 16.00 | 226.56 | 27.50 | 389.40 | 80.00 | 1132.80 | 76.00 | 1076.16 | 226.56 | Carbonic Industries
6.09 | Supply and replacement of Trolley Wheel (Pair) | 12.00 | Nos | 1.25 | 1450.00 | 20532.00 | 2700.00 | 38232.00 | 624.00 | 8835.84 | 3700.00 | 52392.00 | 8835.84 | Mercury Fire Protection LLP
6.10 | Supply and Replacement of Valve Assembly (Wheel Type) | 12.00 | Nos | 0.00 | 650.00 | 9204.00 | 900.00 | 12744.00 | 800.00 | 11328.00 | 1580.00 | 22372.80 | 9204.00 | Carbonic Industries
6.11 | Supply and replacement of Operating Stickers | 12.00 | Nos | 100.00 | 25.00 | 354.00 | 60.00 | 849.60 | 35.00 | 495.60 | 120.00 | 1699.20 | 354.00 | Carbonic Industries
6.12 | Supply and replacement of Pin and Washer for Trolley Wheel (Pair) | 12.00 | Nos | 1.25 | 80.00 | 1132.80 | 33.00 | 467.28 | 18.00 | 254.88 | 165.00 | 2336.40 | 254.88 | Mercury Fire Protection LLP
7.00 | CO2 Cartridges/Cylinders [As per Scope of Work at 2 (d)]
7.01 | Servicing/Reconditioning/HPT/ Repair & Refilling of CO2 Cartridge of 200 Gms | 600.00 | Nos | 10.00 | 325.00 | 230100.00 | 550.00 | 389400.00 | 350.00 | 247800.00 | 550.00 | 389400.00 | 230100.00 | Carbonic Industries
7.02 | Servicing/Reconditioning/HPT/ Repair & Refilling of CO2 Cartridge/Cylinder of 1000 Gms (1 Kg) | 90.00 | Nos | 22.00 | 950.00 | 100890.00 | 2700.00 | 286740.00 | 1200.00 | 127440.00 | 1800.00 | 191160.00 | 100890.00 | Carbonic Industries
7.03 | Replacement of Nuts of CO2 Cartridges | 150.00 | Nos | 10.00 | 85.00 | 15045.00 | 500.00 | 88500.00 | 195.00 | 34515.00 | 120.00 | 21240.00 | 15045.00 | Carbonic Industries
7.04 | Servicing/Reconditioning/HPT/ Repair & Refilling of CO2 Cylinder of 22.5Kg capacity | 10.00 | Nos | 11.00 | 1550.00 | 18290.00 | 2700.00 | 31860.00 | 6500.00 | 76700.00 | 4400.00 | 51920.00 | 18290.00 | Carbonic Industries
7.05 | Painting and Labelling of CO2 Cylinder of 22.5Kg capacity | 10.00 | Nos | 1.00 | 550.00 | 6490.00 | 1600.00 | 18880.00 | 250.00 | 2950.00 | 400.00 | 4720.00 | 2950.00 | Mercury Fire Protection LLP
8.00 | Fire alarm panel/detectors/manual call point ( 01 nos. Ravel make, Fire alram panel model no. RE-2554 conventional type, repeater panel model no. RE- 008RP & 01 nos. Honeywell make, notifier by Honeywell addressable)
8.01 | Inspection, Maintenance and Servicing | 24.00 | Nos | 10.00 | 27750.00 | 785880.00 | 500.00 | 14160.00 | 15000.00 | 424800.00 | 76200.00 | 2157984.00 | 14160.00 | AKSHAR FIRE AND SAFETY
8.02 | Supply and replacement of dectectors | 20.00 | Nos | 22.00 | 3750.00 | 88500.00 | 900.00 | 21240.00 | 8000.00 | 188800.00 | 6999.00 | 165176.40 | 21240.00 | AKSHAR FIRE AND SAFETY
8.03 | Supply and replacement of audio visual alarm | 10.00 | Nos | 10.00 | 3850.00 | 45430.00 | 1900.00 | 22420.00 | 25000.00 | 295000.00 | 35210.00 | 415478.00 | 22420.00 | AKSHAR FIRE AND SAFETY
8.04 | Supply and replacement of manual call point | 20.00 | Nos | 11.00 | 3750.00 | 88500.00 | 1900.00 | 44840.00 | 10000.00 | 236000.00 | 1800.00 | 42480.00 | 42480.00 | Solasmar Marine services Private Limited
| Total in Figures |  |  |  |  | 3996289.48 |  | 8118204.12 |  | 6331415.08 |  | 9378602.24
Lowest Amount Quoted BY: Carbonic Industries(3996289.48)

## BOQ Summary
BOQ Summary Details Tender Title: AMC Services for Fire Extinguishers at ONGC Base Complex Dowleswaram Workshop andDispensary of RJY Asset Tender ID: 2024_ONGC_215689_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Carbonic Industries (BID ID -785833) | 3996289.48 | L1
| 2 | Mercury Fire Protection LLP (BID ID -786351) | 6331415.08 | L2
| 3 | AKSHAR FIRE AND SAFETY (BID ID -785945) | 8118204.12 | L3
| 4 | Solasmar Marine services Private Limited (BID ID -792912) | 9378602.24 | L4