## BoQ1
Government eProcurement System Created By: Vanapalli Nageswara Rao Created Date/Time: 07-Apr-2025 11:48 AM Tender Title: Service Rate Contract for repair and overhaul of Major Electrical Machines Tender ID: 2024_ONGC_219952_1
Tender Inviting Authority: Maintenance Services, ONGC, Rajahmundry Asset
Name of Work: Service Rate Contract for repair and overhaul of Major Electrical machines pertaining to the Drilling Rigs-Rajahmundry Asset for three years
Tender No: KT5NC24001
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ramakrishna Electrical Winding works (GSTN-NA) BID ID -802029 |  | MAHALAKSHMI ELECTRICAL WORKS (GSTN-NA) BID ID -798298
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 2.1 DC MOTORS(MAKE: BHEL & GE, TYPE: SHUNT & SERIES)
1.01 | Overhauling of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 16.00 | AU | 0.00 | 775000.00 | 14632000.00 | 52000.00 | 981760.00 | 981760.00 | MAHALAKSHMI ELECTRICAL WORKS
1.02 | Rewinding of armature of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 1.00 | AU | 0.00 | 2800000.00 | 3304000.00 | 340000.00 | 401200.00 | 401200.00 | MAHALAKSHMI ELECTRICAL WORKS
1.03 | Rewinding of Main pole per pole of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 8.00 | AU | 0.00 | 1650000.00 | 15576000.00 | 52000.00 | 490880.00 | 490880.00 | MAHALAKSHMI ELECTRICAL WORKS
1.04 | Rewinding of Interpole per pole using a new winding strip / conductors and fresh insulation tape / material of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 4.00 | AU | 0.00 | 800000.00 | 3776000.00 | 42000.00 | 198240.00 | 198240.00 | MAHALAKSHMI ELECTRICAL WORKS
1.05 | Re-insulation of Main pole per pole of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 8.00 | AU | 0.00 | 700000.00 | 6608000.00 | 35000.00 | 330400.00 | 330400.00 | MAHALAKSHMI ELECTRICAL WORKS
1.06 | Re-insulation of inter pole per pole of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 8.00 | AU | 0.00 | 600000.00 | 5664000.00 | 30000.00 | 283200.00 | 283200.00 | MAHALAKSHMI ELECTRICAL WORKS
1.07 | Commutator Polishing, Grinding, Shining and Mica under cutting etc. of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 8.00 | AU | 0.00 | 50000.00 | 472000.00 | 12000.00 | 113280.00 | 113280.00 | MAHALAKSHMI ELECTRICAL WORKS
1.08 | Complete replacement of commutator of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 3.00 | AU | 0.00 | 4500000.00 | 15930000.00 | 90000.00 | 318600.00 | 318600.00 | MAHALAKSHMI ELECTRICAL WORKS
1.09 | replacement of Carbon brush for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm of grade EG-14D - Assam Carbon make / ELCA carbon make of suitable grade | 48.00 | AU | 0.00 | 7000.00 | 396480.00 | 2100.00 | 118944.00 | 118944.00 | MAHALAKSHMI ELECTRICAL WORKS
1.10 | replacement of Carbon brush holder for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 48.00 | AU | 0.00 | 80000.00 | 4531200.00 | 18000.00 | 1019520.00 | 1019520.00 | MAHALAKSHMI ELECTRICAL WORKS
1.11 | Supply & fitment of Bearings for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm, DE side bearing No: NU330 EM1.C3 | 6.00 | NO | 0.00 | 120000.00 | 849600.00 | 76000.00 | 538080.00 | 538080.00 | MAHALAKSHMI ELECTRICAL WORKS
1.12 | Supply & fitment of Bearings for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm, NDE side bearing No: NJ320 EM1.C3 | 6.00 | NO | 0.00 | 140000.00 | 991200.00 | 24500.00 | 173460.00 | 173460.00 | MAHALAKSHMI ELECTRICAL WORKS
1.13 | Providing of terminal block for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 6.00 | AU | 0.00 | 150000.00 | 1062000.00 | 16000.00 | 113280.00 | 113280.00 | MAHALAKSHMI ELECTRICAL WORKS
1.14 | Providing of connector set for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 6.00 | AU | 0.00 | 50000.00 | 354000.00 | 2100.00 | 14868.00 | 14868.00 | MAHALAKSHMI ELECTRICAL WORKS
1.15 | Supply & fitment of Space heater for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm,Space heater rating 230 V AC , 250 W | 8.00 | AU | 0.00 | 50000.00 | 472000.00 | 2800.00 | 26432.00 | 26432.00 | MAHALAKSHMI ELECTRICAL WORKS
1.16 | Fabrication & fitment of bearing covers for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm, for DE side ( for bearing NU330 ) | 6.00 | AU | 0.00 | 600000.00 | 4248000.00 | 8200.00 | 58056.00 | 58056.00 | MAHALAKSHMI ELECTRICAL WORKS
1.17 | Fabrication & fitment of bearing covers for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm, for NDE side ( for bearing NJ320) | 6.00 | AU | 0.00 | 450000.00 | 3186000.00 | 7600.00 | 53808.00 | 53808.00 | MAHALAKSHMI ELECTRICAL WORKS
1.18 | Fabrication & fitment of bearing collars for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm, for DE side ( for bearing NU330 ) | 3.00 | AU | 0.00 | 75000.00 | 265500.00 | 6500.00 | 23010.00 | 23010.00 | MAHALAKSHMI ELECTRICAL WORKS
1.19 | Fabrication & fitment of bearing collars for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm, for NDE side ( for bearing NJ320 ) | 3.00 | AU | 0.00 | 75000.00 | 265500.00 | 6500.00 | 23010.00 | 23010.00 | MAHALAKSHMI ELECTRICAL WORKS
1.20 | Rotor shaft reconditioning for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 1.00 | AU | 0.00 | 400000.00 | 472000.00 | 24000.00 | 28320.00 | 28320.00 | MAHALAKSHMI ELECTRICAL WORKS
1.21 | Providing new coupling hub for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 5.00 | AU | 0.00 | 400000.00 | 2360000.00 | 39000.00 | 230100.00 | 230100.00 | MAHALAKSHMI ELECTRICAL WORKS
1.22 | Dynamic Balancing of rotor for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 2.00 | AU | 0.00 | 40000.00 | 94400.00 | 200.00 | 472.00 | 472.00 | MAHALAKSHMI ELECTRICAL WORKS
1.23 | Man day rates for 8 hours duty at site | 12.00 | AU | 0.00 | 25000.00 | 354000.00 | 1500.00 | 21240.00 | 21240.00 | MAHALAKSHMI ELECTRICAL WORKS
1.24 | Reconditioning of DE side bearing housing of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 4.00 | AU | 0.00 | 150000.00 | 708000.00 | 17000.00 | 80240.00 | 80240.00 | MAHALAKSHMI ELECTRICAL WORKS
1.25 | Reconditioning of NDE side bearing housing of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 4.00 | AU | 0.00 | 150000.00 | 708000.00 | 15000.00 | 70800.00 | 70800.00 | MAHALAKSHMI ELECTRICAL WORKS
1.26 | Providing of terminal box for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 1.00 | AU | 0.00 | 50000.00 | 59000.00 | 18000.00 | 21240.00 | 21240.00 | MAHALAKSHMI ELECTRICAL WORKS
1.27 | Reconditioning of coupling hub of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 1.00 | AU | 0.00 | 150000.00 | 177000.00 | 10000.00 | 11800.00 | 11800.00 | MAHALAKSHMI ELECTRICAL WORKS
1.28 | Replacement of rotor shaft of BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 1.00 | AU | 0.00 | 940000.00 | 1109200.00 | 150000.00 | 177000.00 | 177000.00 | MAHALAKSHMI ELECTRICAL WORKS
1.29 | making new lead (inter pole cable of 300 sq. mm) to BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm, by taking suitable length of cable making of coil lugs, from pure copper plate, pressing/crimping to lead, brazing of lugs to leads with L&T make 1805 Silver Brazing Electrodes, drilling suitable hole to lugs, re-insulating of leads with poly glass mica (PGMP) 2 layers, Terlin insulation 1 layer. cost including material and labour.(per lead) | 3.00 | AU | 0.00 | 80000.00 | 283200.00 | 18000.00 | 63720.00 | 63720.00 | MAHALAKSHMI ELECTRICAL WORKS
1.30 | Replacement of Main Pole Connection leads with lugs for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. (per lead) | 3.00 | AU | 0.00 | 75000.00 | 265500.00 | 3200.00 | 11328.00 | 11328.00 | MAHALAKSHMI ELECTRICAL WORKS
1.31 | Replacement of Main Pole Connections (coil to coil jumpers) with lugs for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. (per jumper) | 3.00 | AU | 0.00 | 75000.00 | 265500.00 | 5000.00 | 17700.00 | 17700.00 | MAHALAKSHMI ELECTRICAL WORKS
1.32 | Replacement of Inter Pole Connections (coil to coil jumpers) for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. (per jumper) | 3.00 | AU | 0.00 | 75000.00 | 265500.00 | 5700.00 | 20178.00 | 20178.00 | MAHALAKSHMI ELECTRICAL WORKS
1.33 | Replacement/Providing of Inspection Cover for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. (per cover) | 3.00 | AU | 0.00 | 40000.00 | 141600.00 | 1200.00 | 4248.00 | 4248.00 | MAHALAKSHMI ELECTRICAL WORKS
1.34 | Replacement/Providing of Ventilation Cover for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. (per cover) | 3.00 | AU | 0.00 | 90000.00 | 318600.00 | 3500.00 | 12390.00 | 12390.00 | MAHALAKSHMI ELECTRICAL WORKS
1.35 | Replacement/Providing of Air purging Hose Pipe set for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 3.00 | AU | 0.00 | 25000.00 | 88500.00 | 2400.00 | 8496.00 | 8496.00 | MAHALAKSHMI ELECTRICAL WORKS
1.36 | Replacement of NDE side bearing lock nut with new one made out of EN-24 material by machining and providing threading as per original shape and dimensions for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm. | 1.00 | NO | 0.00 | 75000.00 | 88500.00 | 12000.00 | 14160.00 | 14160.00 | MAHALAKSHMI ELECTRICAL WORKS
1.37 | Reconditioning of Rotor Shaft at NDE side bearing lock nut seating portion by under cutting the portion, fixing of sleeve made of EN-19 material by machining and shrink fitting to shaft, welding and locking sleeve, then providing of threading and fine finishing of edges and polishing for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 1.00 | NO | 0.00 | 35000.00 | 41300.00 | 18000.00 | 21240.00 | 21240.00 | MAHALAKSHMI ELECTRICAL WORKS
1.38 | Repair of Air Vent Covers by replacement of Mesh. | 1.00 | NO | 0.00 | 15000.00 | 17700.00 | 800.00 | 944.00 | 944.00 | MAHALAKSHMI ELECTRICAL WORKS
1.39 | Providing of holding Handles for Terminal Box top cover by welding. (1 set contains 2 Nos.). | 1.00 | Set | 0.00 | 8000.00 | 9440.00 | 1000.00 | 1180.00 | 1180.00 | MAHALAKSHMI ELECTRICAL WORKS
1.40 | Providing of Coupling Lock plate for BHEL make DC Motor type 4903 BX/CX-LH and GE make DC Motor type 5GE752-RCA/GE752RB2 rating 900 HP/1000/1130 HP & 1050/1040 rpm | 1.00 | NO | 0.00 | 10000.00 | 11800.00 | 2100.00 | 2478.00 | 2478.00 | MAHALAKSHMI ELECTRICAL WORKS
2.00 | 2.2 ALTERNATORS
2.01 | Overhauling of KATO Make alternator type OA-6301-AY, 1500 RPM, BHEL Make alternator type OA-6301-AZ, 1500 RPM and BHEL Make alternator type OA-7002-AZ, 1000 RPM, 1430 KVA , 3ph, 50 Hz, 600 V | 10.00 | AU | 0.00 | 600000.00 | 7080000.00 | 62000.00 | 731600.00 | 731600.00 | MAHALAKSHMI ELECTRICAL WORKS
2.02 | Rewinding of Excitor armature of BHEL make alternator type- OA-7002-AZ 1430 KVA, 3 ph , 50hz, 600 V , 1000 rpm | 1.00 | AU | 0.00 | 450000.00 | 531000.00 | 18000.00 | 21240.00 | 21240.00 | MAHALAKSHMI ELECTRICAL WORKS
2.03 | Rewinding of Excitor field of BHEL make alternator type- OA-7002-AZ 1430KVA, 3 ph , 50hz, 600 V , 1000 rpm | 1.00 | AU | 0.00 | 400000.00 | 472000.00 | 18000.00 | 21240.00 | 21240.00 | MAHALAKSHMI ELECTRICAL WORKS
2.04 | Rewinding of Stator of BHEL make alternator type-OA-7002-AZ, 1430 KVA, 3 ph , 50hz, 600 V , 1000 rpm/ a) Total winding | 1.00 | AU | 0.00 | 1250000.00 | 1475000.00 | 280000.00 | 330400.00 | 330400.00 | MAHALAKSHMI ELECTRICAL WORKS
2.05 | Rewinding of Rotor of BHEL make alternator type-OA-7002-AZ 1430 KVA, 3 ph , 50hz, 600 V , 1000 rpm a) Per pole | 1.00 | AU | 0.00 | 250000.00 | 295000.00 | 72000.00 | 84960.00 | 84960.00 | MAHALAKSHMI ELECTRICAL WORKS
2.06 | Bearing replacement per bearing (Labour only) of of KATO Make alternator type OA-6301-AY, 1500 RPM, BHEL Make alternator type OA-6301-AZ, 1500 RPM and BHEL Make alternator type OA-7002-AZ, 1000 RPM, 1430 KVA , 3ph, 50 Hz, 600 V | 8.00 | AU | 0.00 | 20000.00 | 188800.00 | 8000.00 | 75520.00 | 75520.00 | MAHALAKSHMI ELECTRICAL WORKS
2.07 | Supply & fitment of Bearing NU326 EM1.C3 for BHEL Make alternator type OA-6301-AZ, 1500 RPM and BHEL Make alternator type OA-7002-AZ, 1000 RPM, 1430 KVA , 3ph, 50 Hz, 600 V (DE side) | 2.00 | NO | 0.00 | 120000.00 | 283200.00 | 50000.00 | 118000.00 | 118000.00 | MAHALAKSHMI ELECTRICAL WORKS
2.08 | Supply & fitment of Bearing 6326 M.C3 for BHEL Make alternator type OA-6301-AZ, 1500 RPM and BHEL Make alternator type OA-7002-AZ, 1000 RPM, 1430 KVA , 3ph, 50 Hz, 600 V (NDE side) | 2.00 | NO | 0.00 | 150000.00 | 354000.00 | 85000.00 | 200600.00 | 200600.00 | MAHALAKSHMI ELECTRICAL WORKS
2.09 | Supply & fixing of space heaters for 1430 KVA BHEL/ KATO Alternator. Space heater rating 230V, 500 watt | 3.00 | NO | 0.00 | 10000.00 | 35400.00 | 4200.00 | 14868.00 | 14868.00 | MAHALAKSHMI ELECTRICAL WORKS
2.10 | Providing of connector set for 1430 KVA BHEL/ KATO Alternator | 2.00 | AU | 0.00 | 10000.00 | 23600.00 | 2000.00 | 4720.00 | 4720.00 | MAHALAKSHMI ELECTRICAL WORKS
2.11 | Replacement of wedges for 1430 KVA KATO/ BHEL Alternator | 2.00 | AU | 0.00 | 150000.00 | 354000.00 | 1500.00 | 3540.00 | 3540.00 | MAHALAKSHMI ELECTRICAL WORKS
2.12 | Shaft metal build up & reconditioning of bearing seating on 1430 KVA BHEL Alternator on DE side ( for bearing NU326 ) | 1.00 | AU | 0.00 | 150000.00 | 177000.00 | 28000.00 | 33040.00 | 33040.00 | MAHALAKSHMI ELECTRICAL WORKS
2.13 | Shaft metal build up & reconditioning of bearing seating on 1430 KVA BHEL Alternator on NDE side ( for bearing 6326) | 1.00 | AU | 0.00 | 150000.00 | 177000.00 | 28000.00 | 33040.00 | 33040.00 | MAHALAKSHMI ELECTRICAL WORKS
2.14 | Rotor Re – insulation per pole for 1430 KVA KATO Alternator | 4.00 | AU | 0.00 | 150000.00 | 708000.00 | 2000.00 | 9440.00 | 9440.00 | MAHALAKSHMI ELECTRICAL WORKS
2.15 | Rotor Re – insulation per pole for 1430 KVA BHEL Alternator | 12.00 | AU | 0.00 | 150000.00 | 2124000.00 | 2000.00 | 28320.00 | 28320.00 | MAHALAKSHMI ELECTRICAL WORKS
2.16 | Providing of bearing Inner cover on DE side for 1430 KVA KATO Alternator | 1.00 | AU | 0.00 | 60000.00 | 70800.00 | 9000.00 | 10620.00 | 10620.00 | MAHALAKSHMI ELECTRICAL WORKS
2.17 | Providing of bearing Outer cover on DE side for 1430 KVA KATO Alternator | 1.00 | AU | 0.00 | 60000.00 | 70800.00 | 9000.00 | 10620.00 | 10620.00 | MAHALAKSHMI ELECTRICAL WORKS
2.18 | Providing of bearing Outer cover on NDE side for 1430 KVA KATO Alternator | 1.00 | AU | 0.00 | 60000.00 | 70800.00 | 9000.00 | 10620.00 | 10620.00 | MAHALAKSHMI ELECTRICAL WORKS
2.19 | Providing of bearing collor on DE/NDE side for 1430 KVA BHEL Alternator | 1.00 | AU | 0.00 | 60000.00 | 70800.00 | 9000.00 | 10620.00 | 10620.00 | MAHALAKSHMI ELECTRICAL WORKS
2.20 | Providing of bearing Inner cover on DE/NDE side for 1430 KVA BHEL Alternator | 1.00 | AU | 0.00 | 60000.00 | 70800.00 | 9000.00 | 10620.00 | 10620.00 | MAHALAKSHMI ELECTRICAL WORKS
2.21 | Providing of bearing Outer cover on DE/NDE side for 1430 KVA BHEL Alternator | 1.00 | AU | 0.00 | 60000.00 | 70800.00 | 9000.00 | 10620.00 | 10620.00 | MAHALAKSHMI ELECTRICAL WORKS
2.22 | Dynamic balancing of rotor of 1430 KVA Alternator of KATO/BHEL make | 1.00 | AU | 0.00 | 40000.00 | 47200.00 | 500.00 | 590.00 | 590.00 | MAHALAKSHMI ELECTRICAL WORKS
2.23 | Reconditioning of DE/NDE side bearing housing of 1430 KVA KATO/BHEL make Alternator | 1.00 | AU | 0.00 | 120000.00 | 141600.00 | 25000.00 | 29500.00 | 29500.00 | MAHALAKSHMI ELECTRICAL WORKS
2.24 | Replacement of rotor shaft of 1430 KVA KATO/BHEL make Alternator | 1.00 | AU | 0.00 | 900000.00 | 1062000.00 | 175000.00 | 206500.00 | 206500.00 | MAHALAKSHMI ELECTRICAL WORKS
2.25 | Replacement of NDE bearing housing frame of 1430 KVA KATO/ BHEL make Alternator | 1.00 | AU | 0.00 | 400000.00 | 472000.00 | 25000.00 | 29500.00 | 29500.00 | MAHALAKSHMI ELECTRICAL WORKS
2.26 | providing of main field connection fibre ring of 1430 KVA KATO/BHEL make Alternator | 1.00 | AU | 0.00 | 120000.00 | 141600.00 | 32000.00 | 37760.00 | 37760.00 | MAHALAKSHMI ELECTRICAL WORKS
2.27 | Stator core complete restacking of 1430 KVA KATO/BHEL make Alternator | 1.00 | AU | 0.00 | 250000.00 | 295000.00 | 20000.00 | 23600.00 | 23600.00 | MAHALAKSHMI ELECTRICAL WORKS
2.28 | Replacement of main field coil Clamps (main rotor) of 1430 KVA KATO/BHEL make Alternator | 1.00 | AU | 0.00 | 75000.00 | 88500.00 | 1700.00 | 2006.00 | 2006.00 | MAHALAKSHMI ELECTRICAL WORKS
2.29 | Replacement/Providing of Coupling Hub for 1430 KVA Alternator of KATO make | 1.00 | AU | 0.00 | 350000.00 | 413000.00 | 50000.00 | 59000.00 | 59000.00 | MAHALAKSHMI ELECTRICAL WORKS
2.30 | Replacement/Providing of Coupling Hub for 1430 KVA Alternator of BHEL make | 1.00 | AU | 0.00 | 350000.00 | 413000.00 | 60000.00 | 70800.00 | 70800.00 | MAHALAKSHMI ELECTRICAL WORKS
2.31 | Providing of holding Handles for Terminal Box top cover by welding. (1 set contains 2 Nos.). | 1.00 | Set | 0.00 | 20000.00 | 23600.00 | 1200.00 | 1416.00 | 1416.00 | MAHALAKSHMI ELECTRICAL WORKS
2.32 | Replacement of Hylum Clamp sets for Terminal Block. (1 set contains 3 Nos.) | 1.00 | Set | 0.00 | 75000.00 | 88500.00 | 3200.00 | 3776.00 | 3776.00 | MAHALAKSHMI ELECTRICAL WORKS
2.33 | Replacement of fan lock Check Nut. | 1.00 | NO | 0.00 | 10000.00 | 11800.00 | 2200.00 | 2596.00 | 2596.00 | MAHALAKSHMI ELECTRICAL WORKS
2.34 | Providing of rotating rectifier unit locking Plate. | 1.00 | NO | 0.00 | 5000.00 | 5900.00 | 800.00 | 944.00 | 944.00 | MAHALAKSHMI ELECTRICAL WORKS
2.35 | Providing of Diode. (150 LMR 80 A) | 12.00 | NO | 0.00 | 25000.00 | 354000.00 | 4000.00 | 56640.00 | 56640.00 | MAHALAKSHMI ELECTRICAL WORKS
2.36 | Repair of exciter assembly Doom by welding and reconditioning of doom and providing new mesh. | 2.00 | NO | 0.00 | 20000.00 | 47200.00 | 5500.00 | 12980.00 | 12980.00 | MAHALAKSHMI ELECTRICAL WORKS
2.37 | Repair of DE side end cover Mesh. | 1.00 | NO | 0.00 | 15000.00 | 17700.00 | 1500.00 | 1770.00 | 1770.00 | MAHALAKSHMI ELECTRICAL WORKS
2.38 | Replacement of DE side end cover Mesh. | 1.00 | NO | 0.00 | 20000.00 | 23600.00 | 3500.00 | 4130.00 | 4130.00 | MAHALAKSHMI ELECTRICAL WORKS
2.39 | Replacement of exciter assembly Doom with new one. | 1.00 | NO | 0.00 | 60000.00 | 70800.00 | 25000.00 | 29500.00 | 29500.00 | MAHALAKSHMI ELECTRICAL WORKS
3.00 | 2.3 EDDY CURRENT BRAKE
3.01 | Overhauling (includes removal and fitment of coupling hub) of Model 6032 ECB | 2.00 | AU | 0.00 | 350000.00 | 826000.00 | 110000.00 | 259600.00 | 259600.00 | MAHALAKSHMI ELECTRICAL WORKS
3.02 | Skinning / turning of drum of Model 6032 ECB | 2.00 | AU | 0.00 | 80000.00 | 188800.00 | 45000.00 | 106200.00 | 106200.00 | MAHALAKSHMI ELECTRICAL WORKS
3.03 | Bearing replacement per bearing (Labour only) of 6032/ 7040 model ECB | 6.00 | AU | 0.00 | 50000.00 | 354000.00 | 8000.00 | 56640.00 | 56640.00 | MAHALAKSHMI ELECTRICAL WORKS
3.04 | Removal and fitment of coupling hub (Labour only) of 6032/ 7040 model ECB | 3.00 | AU | 0.00 | 60000.00 | 212400.00 | 5000.00 | 17700.00 | 17700.00 | MAHALAKSHMI ELECTRICAL WORKS
3.05 | Metal buildup per mm thickness of model 6032 (Length will be as per the model) | 2.00 | AU | 0.00 | 500000.00 | 1180000.00 | 180000.00 | 424800.00 | 424800.00 | MAHALAKSHMI ELECTRICAL WORKS
3.06 | REWINDING OF ECB Magnet Assembly 6032 model:Magnet assembly has two coils. • Removing of winding by mounting of Magnet Assembly on Vertical lathe, under cutting the circumference of the Magnet Assembly. • Making of suitable angular support (zig) to remove coils without damaging/bending of core. • Procuring new copper conductor made out of 99.9% pure electrolytic copper, insulated with enamel, mica & double layer of Fiber glass. • Making of suitable former and wounding of coil with actual shape and dimensions and binding the same with Poly glass mica insulation tapes, preheating, varnishing etc. • Insulating the inside core with a layer of liquid insulations, then Providing of Packing and inserting the coils. • Welding and closing the coils, then again mounting on lathe to undercut any excess portions, checking trueness etc. • Conducting necessary tests like leakage, IR & resistance. | 1.00 | AU | 0.00 | 850000.00 | 1003000.00 | 180000.00 | 212400.00 | 212400.00 | MAHALAKSHMI ELECTRICAL WORKS
3.07 | Replacement of DE side Oil seal of 6032, DE & NDE side Oil seal of 7040 model ECB as per original dimensions by making suitable die including cost of die, material and labour. | 1.00 | AU | 0.00 | 50000.00 | 59000.00 | 8500.00 | 10030.00 | 10030.00 | MAHALAKSHMI ELECTRICAL WORKS
3.08 | Replacement of NDE side Oil seal of 6032 model ECB as per original dimensions by making suitable die including cost of die, material and labour. | 1.00 | AU | 0.00 | 50000.00 | 59000.00 | 8500.00 | 10030.00 | 10030.00 | MAHALAKSHMI ELECTRICAL WORKS
3.09 | Reconditioning of DE side Bearing Housing of 6032/ 7040 model ECB by cleaning and removing of housing from brake coil by mounting hydraulic jack and re-fixing after reconditioning. | 1.00 | AU | 0.00 | 80000.00 | 94400.00 | 35000.00 | 41300.00 | 41300.00 | MAHALAKSHMI ELECTRICAL WORKS
3.10 | Reconditioning of NDE side Bearing Housing of 6032/ 7040 model ECB by cleaning and removing of housing from brake coil by mounting hydraulic jack and re-fixing after reconditioning.. | 1.00 | AU | 0.00 | 80000.00 | 94400.00 | 35000.00 | 41300.00 | 41300.00 | MAHALAKSHMI ELECTRICAL WORKS
3.11 | Reconditioning of Rotor Shaft at DE side of 6032/ 7040 model ECB bearing seating portion. | 1.00 | AU | 0.00 | 120000.00 | 141600.00 | 35000.00 | 41300.00 | 41300.00 | MAHALAKSHMI ELECTRICAL WORKS
3.12 | Reconditioning of Rotor Shaft at NDE side of 6032/ 7040 model ECB bearing seating portion. | 1.00 | AU | 0.00 | 120000.00 | 141600.00 | 35000.00 | 41300.00 | 41300.00 | MAHALAKSHMI ELECTRICAL WORKS
3.13 | Replacement of Terminal Block of 6032/ 7040 model ECB | 1.00 | AU | 0.00 | 50000.00 | 59000.00 | 3000.00 | 3540.00 | 3540.00 | MAHALAKSHMI ELECTRICAL WORKS
| Total in Figures |  |  |  |  | 113255220.00 |  | 9712698.00
Lowest Amount Quoted BY: MAHALAKSHMI ELECTRICAL WORKS(9712698.00)

## BOQ Summary
BOQ Summary Details Tender Title: Service Rate Contract for repair and overhaul of Major Electrical Machines Tender ID: 2024_ONGC_219952_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MAHALAKSHMI ELECTRICAL WORKS (BID ID -798298) | 9712698.00 | L1
| 2 | Ramakrishna Electrical Winding works (BID ID -802029) | 113255220.00 | L2