## BoQ1
Government eProcurement System Created By: KUMAR RIJENDRA Created Date/Time: 30-Jan-2025 01:22 PM Tender Title: Reconfiguration of existing terminal building B M Airport Ranchi. SH - Internal electrification work. Tender ID: 2025_AAI_222799_1
Tender Inviting Authority: SM (E-E), AAI, B.M.airport, Ranchi
Name of Work:Reconfiguration of existing terminal building B M Airport Ranchi. SH:- Internal electrification work.
Contract No: 2025_AAI_222799_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -809875 |  | M/S AMAR ENTERPRISES (GSTN-20AAMFA2722R1ZE) BID ID -812092 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -812304
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point fan point exhaust fan point call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 70.00 | Point | 980.00 | 1625.00 | 113750.00 | 400.00 | 28000.00 | 1250.00 | 87500.00 | 28000.00 | M/S AMAR ENTERPRISES
2.00 | Wiring for group controlled (looped) light point fan point exhaust fan point call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed sleel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 310.00 | Job | 869.00 | 750.00 | 232500.00 | 600.00 | 186000.00 | 950.00 | 294500.00 | 186000.00 | M/S AMAR ENTERPRISES
3.00 | Wiring for light power plug wlth 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith '1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 520.00 | Metre | 298.00 | 350.00 | 182000.00 | 200.00 | 104000.00 | 360.00 | 187200.00 | 104000.00 | M/S AMAR ENTERPRISES
4.00 | Wiring for circuiu submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
4.01 | 2 X 1.5 sq. mm +1 X 1.5 sq. mm earth wire | 200.00 | Metre | 66.00 | 282.00 | 56400.00 | 20.00 | 4000.00 | 275.00 | 55000.00 | 4000.00 | M/S AMAR ENTERPRISES
4.02 | 2 X 2.5 sq. mm +1 X 2.5 sq. mm earth wire | 500.00 | Metre | 96.00 | 307.00 | 153500.00 | 40.00 | 20000.00 | 315.00 | 157500.00 | 20000.00 | M/S AMAR ENTERPRISES
4.03 | 2 X 4 sq. mm +1 X 4 sq. mm earth wire | 500.00 | Metre | 121.00 | 350.00 | 175000.00 | 80.00 | 40000.00 | 360.00 | 180000.00 | 40000.00 | M/S AMAR ENTERPRISES
4.04 | 2 X 6 sq. mm +1 X 6 sq. mm earth wire | 100.00 | Metre | 182.00 | 438.00 | 43800.00 | 100.00 | 10000.00 | 490.00 | 49000.00 | 10000.00 | M/S AMAR ENTERPRISES
4.05 | 4 X 6 + 2X 6 sq. mm earth wire | 100.00 | Metre | 222.00 | 675.00 | 67500.00 | 200.00 | 20000.00 | 750.00 | 75000.00 | 20000.00 | M/S AMAR ENTERPRISES
4.06 | 4 X 10 + 2X 6 sq. mm earlh wire | 100.00 | Metre | 298.00 | 782.00 | 78200.00 | 250.00 | 25000.00 | 985.00 | 98500.00 | 25000.00 | M/S AMAR ENTERPRISES
4.07 | 4 X 16 + 2X 6 sq. mm earth wire | 50.00 | Metre | 414.00 | 1125.00 | 56250.00 | 300.00 | 15000.00 | 1350.00 | 67500.00 | 15000.00 | M/S AMAR ENTERPRISES
5.00 | Supplying and llxing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.
5.01 | 20 mm | 100.00 | Metre | 40.00 | 82.00 | 8200.00 | 30.00 | 3000.00 | 95.00 | 9500.00 | 3000.00 | M/S AMAR ENTERPRISES
5.02 | 25 mm | 100.00 | Metre | 76.00 | 94.00 | 9400.00 | 55.00 | 5500.00 | 115.00 | 11500.00 | 5500.00 | M/S AMAR ENTERPRISES
5.03 | 32 mm | 50.00 | Metre | 96.00 | 119.00 | 5950.00 | 70.00 | 3500.00 | 145.00 | 7250.00 | 3500.00 | M/S AMAR ENTERPRISES
6.00 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc as required.
6.01 | 100 mm X 100 mm X 60 mm deep | 20.00 | Each | 48.00 | 400.00 | 8000.00 | 35.00 | 700.00 | 175.00 | 3500.00 | 700.00 | M/S AMAR ENTERPRISES
6.02 | 150 mm X 150 mm X 60 mm deep | 20.00 | Each | 66.00 | 438.00 | 8760.00 | 50.00 | 1000.00 | 280.00 | 5600.00 | 1000.00 | M/S AMAR ENTERPRISES
6.03 | 200 mm X 250 mm X 60 mm deep | 20.00 | Each | 86.00 | 563.00 | 11260.00 | 70.00 | 1400.00 | 400.00 | 8000.00 | 1400.00 | M/S AMAR ENTERPRISES
7.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 10.00 | Each | 212.00 | 407.00 | 4070.00 | 185.00 | 1850.00 | 450.00 | 4500.00 | 1850.00 | M/S AMAR ENTERPRISES
8.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providlng and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 20.00 | Each | 313.00 | 625.00 | 12500.00 | 250.00 | 5000.00 | 400.00 | 8000.00 | 5000.00 | M/S AMAR ENTERPRISES
9.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 3 pin 5/6 A modular socket outlet and 2 nos. 5/6 A modular switch, connections etc. as required. (For light plugs to be used in non residential buildings). | 20.00 | Each | 419.00 | 907.00 | 18140.00 | 200.00 | 4000.00 | 575.00 | 11500.00 | 4000.00 | M/S AMAR ENTERPRISES
10.00 | Supplying and fixing suilable slze Gl box with modular plate and cover in front on surface or in recess, including providing and tixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 20.00 | Each | 525.00 | 844.00 | 16880.00 | 400.00 | 8000.00 | 495.00 | 9900.00 | 8000.00 | M/S AMAR ENTERPRISES
11.00 | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath in the existing surface/ recessed steel/ PVC conduit as required. | 300.00 | Meter | 81.00 | 63.00 | 18900.00 | 60.00 | 18000.00 | 50.00 | 15000.00 | 15000.00 | Awasthi Electric Works
12.00 | Supplying and drawing 4 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | 300.00 | Meter | 121.00 | 75.00 | 22500.00 | 100.00 | 30000.00 | 45.00 | 13500.00 | 13500.00 | Awasthi Electric Works
13.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, armored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.
13.01 | 10 Pair | 100.00 | Meter | 323.00 | 163.00 | 16300.00 | 150.00 | 15000.00 | 170.00 | 17000.00 | 15000.00 | M/S AMAR ENTERPRISES
13.02 | 20 Pair | 50.00 | Meter | 419.00 | 263.00 | 13150.00 | 200.00 | 10000.00 | 235.00 | 11750.00 | 10000.00 | M/S AMAR ENTERPRISES
14.00 | Supply installation and testing and commissioning of follwing size of Telephone distribution board in a M.S. box with hinged cover/ door complete with krone type tag block with double jumpering facility mounted on a bakelite sheet etc. including terminations of cable as required.
14.01 | 20 Pair telephone distribution board | 1.00 | Each | 808.00 | 625.00 | 625.00 | 400.00 | 400.00 | 1000.00 | 1000.00 | 400.00 | M/S AMAR ENTERPRISES
14.02 | 30 Pair telephone distribution board | 1.00 | Each | 1111.00 | 2500.00 | 2500.00 | 700.00 | 700.00 | 1200.00 | 1200.00 | 700.00 | M/S AMAR ENTERPRISES
14.03 | 50 Pair telephone distribution board | 1.00 | Each | 1414.00 | 3125.00 | 3125.00 | 1000.00 | 1000.00 | 1850.00 | 1850.00 | 1000.00 | M/S AMAR ENTERPRISES
14.04 | 100 Pair telephone distribution board | 1.00 | Each | 2121.00 | 4375.00 | 4375.00 | 1800.00 | 1800.00 | 3550.00 | 3550.00 | 1800.00 | M/S AMAR ENTERPRISES
15.00 | Supplying and drawing of 1 Run of cable of UTP 4 pair CAT6E LAN Unarmoured Cable in the existing surface/ recessed steeli PVC conduit as required | 200.00 | Meter | 121.00 | 75.00 | 15000.00 | 90.00 | 18000.00 | 60.00 | 12000.00 | 12000.00 | Awasthi Electric Works
16.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
16.01 | 5/6 A switch | 20.00 | Each | 76.00 | 88.00 | 1760.00 | 40.00 | 800.00 | 80.00 | 1600.00 | 800.00 | M/S AMAR ENTERPRISES
16.02 | 15/16 A switch | 20.00 | Each | 121.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 2000.00 | M/S AMAR ENTERPRISES
16.03 | 3 pin 5/6 A socket outlet | 20.00 | Each | 91.00 | 182.00 | 3640.00 | 80.00 | 1600.00 | 110.00 | 2200.00 | 1600.00 | M/S AMAR ENTERPRISES
16.04 | 6 pin 15/16 A socket outlet | 20.00 | Each | 66.00 | 288.00 | 5760.00 | 100.00 | 2000.00 | 185.00 | 3700.00 | 2000.00 | M/S AMAR ENTERPRISES
16.05 | Telephone socket outlet | 5.00 | Each | 35.00 | 275.00 | 1375.00 | 35.00 | 175.00 | 140.00 | 700.00 | 175.00 | M/S AMAR ENTERPRISES
16.06 | TV antenna socket outlet | 5.00 | Each | 25.00 | 200.00 | 1000.00 | 20.00 | 100.00 | 150.00 | 750.00 | 100.00 | M/S AMAR ENTERPRISES
16.07 | Data outlet one module for Data Points (RJ-45) | 5.00 | Each | 45.00 | 313.00 | 1565.00 | 40.00 | 200.00 | 485.00 | 2425.00 | 200.00 | M/S AMAR ENTERPRISES
17.00 | Supplying and Iixing following size/ modules, Gl box alongwith modular base & cover plate for modular switches in recess etc as required.
17.01 | 1 or 2 Module (75mm X 75mm) | 10.00 | Each | 61.00 | 238.00 | 2380.00 | 50.00 | 500.00 | 130.00 | 1300.00 | 500.00 | M/S AMAR ENTERPRISES
17.02 | 3 Module (100mmX75mm) | 10.00 | Each | 86.00 | 313.00 | 3130.00 | 70.00 | 700.00 | 145.00 | 1450.00 | 700.00 | M/S AMAR ENTERPRISES
17.03 | 4 Module (1 25mmX75mm) | 10.00 | Each | 111.00 | 388.00 | 3880.00 | 90.00 | 900.00 | 170.00 | 1700.00 | 900.00 | M/S AMAR ENTERPRISES
18.00 | Supply and fixing modular blanking plate on the exisling modular plate/ switch box excluding modular plate etc. as required. | 50.00 | Nos. | 20.00 | 25.00 | 1250.00 | 700.00 | 35000.00 | 40.00 | 2000.00 | 1250.00 | Yash Energy Pvt. Ltd
19.00 | Supply and fixing of pop up box (floor mounted) on floor including connection & all accessories elc. complete as required.
19.01 | 3 Module ( 6 amps ) | 10.00 | Each | 859.00 | 1875.00 | 18750.00 | 700.00 | 7000.00 | 5200.00 | 52000.00 | 7000.00 | M/S AMAR ENTERPRISES
19.02 | 4 Module ( 6/16 amps) | 5.00 | Each | 929.00 | 2938.00 | 14690.00 | 750.00 | 3750.00 | 6200.00 | 31000.00 | 3750.00 | M/S AMAR ENTERPRISES
20.00 | Supply and fixing of SMC cable junction box with cover (lP 42) suitable for termination upto 3 x 4 sqmm copper cable including terminal connector of suilable raiing along with end termination for cable (one incoming + one / two outgoings) etc. complele as per site requirement. (for truss lighting) | 5.00 | Nos. | 318.00 | 188.00 | 940.00 | 250.00 | 1250.00 | 2500.00 | 12500.00 | 940.00 | Yash Energy Pvt. Ltd
21.00 | Supply and fixing of following size of under floor Gl raceways for distributing cabling in screed floor installalions particularly suitable for application requiring EIMC screening. Raceway should be made up of Pre galvanized sheet with thickness of 1.6mm consistof body and cover. lt should have average of 120GSM zinc coating. Raceway should be openable from top. Cover fitted on to the body with self forming screw and can be opened easily if required. Raceway should be supplied with required accessories such as fixing brackets and coupling plates as required. Raceway should be confirmed with the standard EN 5008 including all accessories complete as required.
21.01 | 300 mm wide x 38 mm deep raceway (3 compartment) | 10.00 | Meter | 2879.00 | 3094.00 | 30940.00 | 2000.00 | 20000.00 | 1350.00 | 13500.00 | 13500.00 | Awasthi Electric Works
21.02 | 225 mm wide x 38 mm deep raceway (2 compartment) | 10.00 | Meter | 1737.00 | 2500.00 | 25000.00 | 1000.00 | 10000.00 | 950.00 | 9500.00 | 9500.00 | Awasthi Electric Works
21.03 | 150 mm wide x 38 mm deep raceway (2 compartment) | 5.00 | Meter | 1525.00 | 1938.00 | 9690.00 | 1300.00 | 6500.00 | 750.00 | 3750.00 | 3750.00 | Awasthi Electric Works
21.04 | 100 mm wide x 38 mm deep raceway (1 compa(ment) | 5.00 | Meter | 1217.00 | 1375.00 | 6875.00 | 1000.00 | 5000.00 | 530.00 | 2650.00 | 2650.00 | Awasthi Electric Works
21.05 | 50 mm wide x 38 mm deep raceway (1 compartment) | 3.00 | Meter | 889.00 | 1000.00 | 3000.00 | 700.00 | 2100.00 | 415.00 | 1245.00 | 1245.00 | Awasthi Electric Works
22.00 | Supply and fixing of following size of Height adjustable under floor crossover Junction box with flyover for Raceways for direct access to cables at the intersection of Raceways supplied completely with base and cover plate(lid). Junction box should be made of Pre galvanized sheet consist of body and cover. Height of the junction box should be adjustable from minimum 60mm. Junction box should be supplied with the metal cover for protecting the junction box during constructions at site. lt should be confirmed with the standard EN 50085-2-2s including all accessories complele as required.
22.01 | 300 x 300 x 50 mm | 5.00 | Each | 2172.00 | 3563.00 | 17815.00 | 1800.00 | 9000.00 | 1050.00 | 5250.00 | 5250.00 | Awasthi Electric Works
22.02 | 225 x 225 x 50 mm | 5.00 | Each | 1798.00 | 2688.00 | 13440.00 | 1200.00 | 6000.00 | 900.00 | 4500.00 | 4500.00 | Awasthi Electric Works
22.03 | 150 x 150 x 50 mm | 5.00 | Each | 1667.00 | 2013.00 | 10065.00 | 1000.00 | 5000.00 | 650.00 | 3250.00 | 3250.00 | Awasthi Electric Works
23.00 | Supplying and fixing following way, single pole and neutral, sheet steel, McB distribution boad, 24O V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator)
23.01 | 6 way, Double door | 5.00 | Each | 1222.00 | 2250.00 | 11250.00 | 800.00 | 4000.00 | 2700.00 | 13500.00 | 4000.00 | M/S AMAR ENTERPRISES
23.02 | 8 way, Double door | 5.00 | Each | 1313.00 | 2500.00 | 12500.00 | 1000.00 | 5000.00 | 2900.00 | 14500.00 | 5000.00 | M/S AMAR ENTERPRISES
23.03 | 12 way, Double door | 5.00 | Each | 1465.00 | 2750.00 | 13750.00 | 1200.00 | 6000.00 | 3450.00 | 17250.00 | 6000.00 | M/S AMAR ENTERPRISES
24.00 | Supplying and fixing following way, horizontal type three pole and neulral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without IVCB/RCCB/ lsolator)
24.01 | 4 way (4 + 12), Double door | 5.00 | Each | 1818.00 | 3688.00 | 18440.00 | 1500.00 | 7500.00 | 3000.00 | 15000.00 | 7500.00 | M/S AMAR ENTERPRISES
24.02 | 6 way (4 + 18), Double door | 5.00 | Each | 1939.00 | 4188.00 | 20940.00 | 1800.00 | 9000.00 | 3300.00 | 16500.00 | 9000.00 | M/S AMAR ENTERPRISES
24.03 | 8 way (4 + 24), Double door | 5.00 | Each | 2252.00 | 5000.00 | 25000.00 | 2000.00 | 10000.00 | 5000.00 | 25000.00 | 10000.00 | M/S AMAR ENTERPRISES
25.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, ea(h bar, din bar for mounting MCBS (but without MCBS and incomer) as required. (Note:Verlical type MCB TPDB is normally used where 3 phase outlets are required.) 8 way (4 + 24), Double door | 2.00 | Each | 4293.00 | 8469.00 | 16938.00 | 3500.00 | 7000.00 | 9850.00 | 19700.00 | 7000.00 | M/S AMAR ENTERPRISES
26.00 | Supplying and ,lxing Cable End Box (Loose wire box) suitable for following single pole and neutral, sheet steel, MCB distribution boatd, 240 V, on surface/ recess, complete with testing and commissioning etc, as required.
26.01 | For 6 way, Double door SPN MCB DB | 5.00 | Each | 899.00 | 875.00 | 4375.00 | 700.00 | 3500.00 | 600.00 | 3000.00 | 3000.00 | Awasthi Electric Works
26.02 | For 8 way, Double door SPN MCB DB | 5.00 | Each | 1111.00 | 1125.00 | 5625.00 | 800.00 | 4000.00 | 700.00 | 3500.00 | 3500.00 | Awasthi Electric Works
26.03 | For 14 way, Double door SPN MCB DB | 5.00 | Each | 1328.00 | 1500.00 | 7500.00 | 1100.00 | 5500.00 | 1000.00 | 5000.00 | 5000.00 | Awasthi Electric Works
27.00 | Supplying and llxing Cable End Box (Loose wire boxxlP 43) suitable for foltowing triple pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with testing and commissioning etc. as required.
27.01 | For 4 way, Double door TPN MCB DB | 5.00 | Each | 1333.00 | 1125.00 | 5625.00 | 1100.00 | 5500.00 | 750.00 | 3750.00 | 3750.00 | Awasthi Electric Works
27.02 | For 6 way, Double door TPN MC8 DB | 5.00 | Each | 1429.00 | 1375.00 | 6875.00 | 1100.00 | 5500.00 | 1000.00 | 5000.00 | 5000.00 | Awasthi Electric Works
27.03 | For 8 way, Double door TPN MCB DB | 5.00 | Each | 152.00 | 1750.00 | 8750.00 | 900.00 | 4500.00 | 1300.00 | 6500.00 | 4500.00 | M/S AMAR ENTERPRISES
28.00 | Supplying and fixing Cable End Box (Loose wire box) suitable for triple pole and neutral, sheet steel, Vertical MCB distribution board, 415 V, on surface/ recess, complete with iesting and commissioning etc. as required. | 4.00 | Each | 1510.00 | 2000.00 | 8000.00 | 1200.00 | 4800.00 | 800.00 | 3200.00 | 3200.00 | Awasthi Electric Works
29.00 | Supplying and lixing Single pole 5 amps to 32 amps rating, 240 volts 1O KA, "C" curve, miniature circuit breaker suitable for inductive load in the existing MCB DB complete. with connections, testing and commissioning etc. as required. | 500.00 | Each | 253.00 | 232.00 | 116000.00 | 100.00 | 50000.00 | 180.00 | 90000.00 | 50000.00 | M/S AMAR ENTERPRISES
30.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 50.00 | Each | 25.00 | 25.00 | 1250.00 | 20.00 | 1000.00 | 20.00 | 1000.00 | 1000.00 | M/S AMAR ENTERPRISES, Awasthi Electric Works
31.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
31.01 | 40 A | 10.00 | Each | 556.00 | 1250.00 | 12500.00 | 400.00 | 4000.00 | 800.00 | 8000.00 | 4000.00 | M/S AMAR ENTERPRISES
31.02 | 63 A | 10.00 | Each | 758.00 | 1775.00 | 17750.00 | 600.00 | 6000.00 | 900.00 | 9000.00 | 6000.00 | M/S AMAR ENTERPRISES
32.00 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. 1OO A, 25 KA,FPMCCB | 2.00 | Each | 2803.00 | 5250.00 | 10500.00 | 2000.00 | 4000.00 | 6500.00 | 13000.00 | 4000.00 | M/S AMAR ENTERPRISES
33.00 | Supplying and tlxing following rating, double pole / four pole, 24O I 415 volts, RCBO having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required.
33.01 | 25 amps DP 2 module | 5.00 | Each | 455.00 | 2219.00 | 11095.00 | 400.00 | 2000.00 | 2600.00 | 13000.00 | 2000.00 | M/S AMAR ENTERPRISES
33.02 | 40 amps DP 2 module | 5.00 | Each | 626.00 | 2500.00 | 12500.00 | 500.00 | 2500.00 | 2800.00 | 14000.00 | 2500.00 | M/S AMAR ENTERPRISES
33.03 | 40 amps FP 4 module | 2.00 | Each | 899.00 | 2938.00 | 5876.00 | 800.00 | 1600.00 | 3300.00 | 6600.00 | 1600.00 | M/S AMAR ENTERPRISES
33.04 | 63 amps FP 4 module | 2.00 | Each | 1222.00 | 3375.00 | 6750.00 | 1000.00 | 2000.00 | 3950.00 | 7900.00 | 2000.00 | M/S AMAR ENTERPRISES
34.00 | Supply, installation, testing and commissioning of 100 amps 4 pole [4CCB (lcs=lcu= 25 KA) with built in Thermal magenetic based release with MS enclosure of approved make, paint and design complete as required. | 1.00 | Nos. | 3232.00 | 6032.00 | 6032.00 | 2800.00 | 2800.00 | 9000.00 | 9000.00 | 2800.00 | M/S AMAR ENTERPRISES
35.00 | Supply, installation, testing and commissioning of 40 amps 4 pole MCB in MS enclosure of approved make, paint and design complete as required. | 1.00 | Nos. | 2237.00 | 2782.00 | 2782.00 | 2000.00 | 2000.00 | 2200.00 | 2200.00 | 2000.00 | M/S AMAR ENTERPRISES
36.00 | Supply of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CMM/W) minimum 6.00, Air delivery minimum 210 CMM, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 10.00 | Each | 2879.00 | 2313.00 | 23130.00 | 2000.00 | 20000.00 | 2150.00 | 21500.00 | 20000.00 | M/S AMAR ENTERPRISES
37.00 | Supply of 450mm dia sweep wall fan Oscillating type complete with built in String type speed regulator and mounting anangement. (Similar to Havells make - SWING HS or equivalent) | 10.00 | Each | 2374.00 | 2375.00 | 23750.00 | 1600.00 | 16000.00 | 3100.00 | 31000.00 | 16000.00 | M/S AMAR ENTERPRISES
38.00 | Providing and fixing G.l. tape 20 mm X 3 mm thick on parapet or on surface of wall for lightning conductor complete as required. (For horizontal run) | 200.00 | Meter | 182.00 | 200.00 | 40000.00 | 100.00 | 20000.00 | 150.00 | 30000.00 | 20000.00 | M/S AMAR ENTERPRISES
39.00 | Providing and fixing G.l. tape 20 mm X 3 mm thick on parapet oron surface of wall for lightning conductor complete as required. (For vertical run) | 100.00 | Meter | 242.00 | 150.00 | 15000.00 | 200.00 | 20000.00 | 185.00 | 18500.00 | 15000.00 | Yash Energy Pvt. Ltd
40.00 | Providing, fixing and testing joint made of 20 mm X 3 mm Gl strip, 125 mm tong, with 4 nos. of Gl nuts & bolts, chuck nuts and spring washers etc. complete as required. | 2.00 | Each | 899.00 | 750.00 | 1500.00 | 500.00 | 1000.00 | 350.00 | 700.00 | 700.00 | Awasthi Electric Works
41.00 | Supply, fixing, testing and commissioning of Lightning counter indicating date and time of last record ln-addition to this cursor is provided to see previous history of surges etc complete as required. | 2.00 | Each | 2545.00 | 27500.00 | 55000.00 | 2000.00 | 4000.00 | 25500.00 | 51000.00 | 4000.00 | M/S AMAR ENTERPRISES
42.00 | Providing and laying G.l. tape 32 mm X 6 mm from earth electrode directly in ground as required. | 100.00 | Meter | 515.00 | 344.00 | 34400.00 | 350.00 | 35000.00 | 225.00 | 22500.00 | 22500.00 | Awasthi Electric Works
43.00 | Earthing with G.l. earth plate 600 mm X 600 mm X 6 mm thick including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 6.00 | Set | 5878.00 | 11875.00 | 71250.00 | 4000.00 | 24000.00 | 9500.00 | 57000.00 | 24000.00 | M/S AMAR ENTERPRISES
44.00 | Providing and fixing 25 mm X 5 mm G.l. strip in 40 mm dia G.l. pipe trom earth electrode including connection with G.l. nut, bolt, spring, washer excavation and refilling etc. as required. | 30.00 | Meter | 813.00 | 532.00 | 15960.00 | 350.00 | 10500.00 | 650.00 | 19500.00 | 10500.00 | M/S AMAR ENTERPRISES
45.00 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for conneCtions etc. as required. | 200.00 | Meter | 212.00 | 219.00 | 43800.00 | 150.00 | 30000.00 | 200.00 | 40000.00 | 30000.00 | M/S AMAR ENTERPRISES
46.00 | Supplying and laying 25 mm X 5 mm G.l strip at 0.50 metrebelow ground as slrip earth electrode, including connection/ terminating with G.l. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.l. nut bolt & spring washer spaced at 50mm) | 50.00 | Meter | 227.00 | 294.00 | 14700.00 | 100.00 | 5000.00 | 150.00 | 7500.00 | 5000.00 | M/S AMAR ENTERPRISES
47.00 | Supply of following sizes of Aluminium/Copper Power Cables,multi stranded conductor, XLPE lnsulaled, cores laid up, PVC tape / Extruded lnner sheathed , Un. Armour or Armour, 1100V grade as per lS 7098(Part 1) 1988.
47.01 | 4 CORE 16 sq.mm. CU Armoured XLPE cable | 250.00 | Meter | 424.00 | 94.00 | 23500.00 | 400.00 | 100000.00 | 900.00 | 225000.00 | 23500.00 | Yash Energy Pvt. Ltd
47.02 | 4 CORE 10 sq.mm. CU Armoured XLPE cable | 250.00 | Meter | 556.00 | 163.00 | 40750.00 | 500.00 | 125000.00 | 600.00 | 150000.00 | 40750.00 | Yash Energy Pvt. Ltd
47.03 | 3.5 CORE 150 sq.mm. Al Armoured XLPE cable | 600.00 | Meter | 899.00 | 875.00 | 525000.00 | 800.00 | 480000.00 | 800.00 | 480000.00 | 480000.00 | M/S AMAR ENTERPRISES, Awasthi Electric Works
48.00 | Laying and fixing of one number PVc insulated and PVc sheathed / XLPE power cable of 1.1 kV grade of following size on cable tray as required.
48.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 50.00 | Meter | 51.00 | 57.00 | 2850.00 | 40.00 | 2000.00 | 55.00 | 2750.00 | 2000.00 | M/S AMAR ENTERPRISES
48.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | Meter | 61.00 | 69.00 | 3450.00 | 40.00 | 2000.00 | 130.00 | 6500.00 | 2000.00 | M/S AMAR ENTERPRISES
48.03 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 400.00 | Meter | 91.00 | 94.00 | 37600.00 | 75.00 | 30000.00 | 180.00 | 72000.00 | 30000.00 | M/S AMAR ENTERPRISES
49.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
49.01 | Upto 35 sq. mm | 50.00 | Meter | 35.00 | 50.00 | 2500.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 1500.00 | M/S AMAR ENTERPRISES, Awasthi Electric Works
49.02 | Above 35 sq. mm and upto 95 sq. mm | 50.00 | Meter | 45.00 | 63.00 | 3150.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 2000.00 | M/S AMAR ENTERPRISES
49.03 | Above 95 sq. mm and upto 185 sq. mm | 50.00 | Meter | 61.00 | 88.00 | 4400.00 | 35.00 | 1750.00 | 80.00 | 4000.00 | 1750.00 | M/S AMAR ENTERPRISES
50.00 | Laying and flxing of one number PVC insualted and PVC sheathed / XLPE aluminium/ copper conductor cable of 1.1 kV grade of size not exceeding 35 sq.mm on surface as required. | 50.00 | Meter | 86.00 | 50.00 | 2500.00 | 60.00 | 3000.00 | 125.00 | 6250.00 | 2500.00 | Yash Energy Pvt. Ltd
51.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following sizes in the masonary open d uct as req uired.
51.01 | Upto 35 sq. mm | 50.00 | Meter | 25.00 | 44.00 | 2200.00 | 20.00 | 1000.00 | 25.00 | 1250.00 | 1000.00 | M/S AMAR ENTERPRISES
51.02 | Above 35 sq. mm and upto 95 sq. mm | 50.00 | Meter | 35.00 | 57.00 | 2850.00 | 20.00 | 1000.00 | 40.00 | 2000.00 | 1000.00 | M/S AMAR ENTERPRISES
51.03 | Above 95 sq. mm and upto 185 sq. mm | 50.00 | Meter | 40.00 | 75.00 | 3750.00 | 20.00 | 1000.00 | 60.00 | 3000.00 | 1000.00 | M/S AMAR ENTERPRISES
52.00 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required.
52.01 | 4C X 16 sq. mm | 6.00 | Each | 808.00 | 875.00 | 5250.00 | 500.00 | 3000.00 | 300.00 | 1800.00 | 1800.00 | Awasthi Electric Works
52.02 | 4C X 10 sq. mm | 6.00 | Each | 960.00 | 750.00 | 4500.00 | 500.00 | 3000.00 | 250.00 | 1500.00 | 1500.00 | Awasthi Electric Works
53.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
53.01 | 3.5 X 150 sq. mm (50mm) | 8.00 | Each | 1263.00 | 2000.00 | 16000.00 | 700.00 | 5600.00 | 650.00 | 5200.00 | 5200.00 | Awasthi Electric Works
54.00 | Supply of LED Bulkhead luminaire, Vandal resistant Polycarbonate diffuser witn lP 65, IK08 dust tight and water Jet proof for clean operation, lumen maintainence of 70% al the end of 50000 burning hours, operating range 150 - z70v,50Hz AC supply voltages and system lumen output not less than 950 lm, luminaire efficiency of luminaire not less than g5 lmry, THD<10% & Surge protection >2.5kV, CCT 5700K - 6500K. LED shall have reverse polarity, open and short circuit protection. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacturer. | 10.00 | Each | 1333.00 | 688.00 | 6880.00 | 600.00 | 6000.00 | 850.00 | 8500.00 | 6000.00 | M/S AMAR ENTERPRISES
55.00 | Supply of recessed type LED downlighter with powder coated die-cast aluminium housing and LEDs of approved make pasted on diecast housing and high efficiency PmmA diffuser .Specially designed flat opal diffuser fixed to housing with engg. Plastic front cover, Driver installed on cast aluminium housing or externally and prewired upto the terminal block. lt has a system lumen output not less than 1800 lumens with luminaire efficacy of not less than 100lmM and lumen maintainence ot 70% at the end of 50000 burning hours with constant current driver output, operating range 150V - 270Y, 50Hz AC supply, CCT of S70OK - 6SOOK with PF>0.95 and THD must be <10% & surge proctection of > 2.5kv. The luminaire is lP 20 protected. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacture. LED shall have reverse polarity, open and short circuit protection. | 20.00 | Each | 1131.00 | 813.00 | 16260.00 | 600.00 | 12000.00 | 900.00 | 18000.00 | 12000.00 | M/S AMAR ENTERPRISES
56.00 | Supply of recessed 2'X2' LED luminaire made of CRCA steel sheet housing comprising of LED’s with secondary optics with individual LED for better light distribution of preffered make with Constant current output driver, It has a system level lumen of =>2960 lumens with luminaire efficacy of not less than 110 lm/W. constant current output driver, operating range 140 – 270V AC supply, voltages, CCT of 5700K - 6500K with PF>0.95 and THD must be <10% & surge proctection of > 2.5kv. lumen maintainence of 70% at the end of 50000 burning hours. The luminaire is IP 20 protected. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source. LED shall have reverse polarity, open and short circuit protection | 600.00 | Each | 3283.00 | 1750.00 | 1050000.00 | 2000.00 | 1200000.00 | 1050.00 | 630000.00 | 630000.00 | Awasthi Electric Works
57.00 | Supply of suspended Type LED Highbay symmetric Beam Luminaire with housing made of die-cast aluminium of system wattage 45 W. The luminaire shall comprise of LEDs of preffered makes complete with Constant current output driver and accessories with High Power driver installed on housing or externally and prewired upto the terminal block, PF≥0.95, THD<10% & Internal 5 KV & External 10 KV surge protection, rated life of L-70@ 50,000 hours having lumen output not less than 4950 Lumens with luminaire efficacy of not less than 110 Lumens / watt with CRI Min 70, operating range 140V – 270V, 50Hz AC supply, CCT: 5700K to 6500K and suitable for outdoor applications.The Luminarie shall be with toughened glass cover and dedicated optics to provide precise light distribution of symmetric beam angle with specially designed thermal management with heat sinks. The luminaire shall be ≥IP65 & IK08 protected.LM 79 report to be submitted for luminaire from NABL accredited lab and LM 80 for LED source issued by LED manufacture. | 40.00 | Each | 4899.00 | 3125.00 | 125000.00 | 4700.00 | 188000.00 | 2300.00 | 92000.00 | 92000.00 | Awasthi Electric Works
58.00 | Supply of LED aviation light with Die-cast aluminum housing with Red polycarbonate dome for better illumination, lntegral driver, lPi65, Features and Benefits Protection against short-circuit. Protection against surge. Wide operating input voltage range 100 - 270VAC, lumen maintainence of 70% at the end of 50000 burning hours. | 2.00 | Each | 3535.00 | 3375.00 | 6750.00 | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 5000.00 | Awasthi Electric Works
59.00 | Supply,installation testing & commissioning of Flexible LED stirp light of 4.8W/M (IP-20) CCT 3000K with double tape on backsade suitable for Mounting in cove with all accessones as required. (in roll of 5 meter). | 10.00 | Roll | 1061.00 | 1063.00 | 10630.00 | 1200.00 | 12000.00 | 450.00 | 4500.00 | 4500.00 | Awasthi Electric Works
60.00 | Supply of LED street lght fitting having system lumen output not Less than 5400 lumen and system efficacy of not less than 120 lumens per watt and lumen maintainence of 70% at the end of 50000 burning hours, Power Factor>o.gs & fHD<10%, CRI>70, CCT : 4000K - 3000K, made of high pressure die cast Aluminium/ standard alloy housing with separate optics and control gear compartment, toughened glass protector, permanenfly sealed and a removable control gear plate, mounting spigot suitable for horizontal mounting (O 32 - 42mm) with tilt flexibality upto (+)C) '15 degrees, operating range 150 - 270V AC suppty voltages, surge protection>1oKV with minjmum lP:65 protection. LtV 79 repo( to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacture. LED shall have reverse polarity, open and short circuit protection. | 20.00 | Nos. | 3990.00 | 1750.00 | 35000.00 | 3000.00 | 60000.00 | 1900.00 | 38000.00 | 35000.00 | Yash Energy Pvt. Ltd
61.00 | Supply of LED decorative post top luminaire consisting of a high-pressure dia cast aluminium housing suitable for vertical mounting on 75 mm outer dia pole having system lumen output not less than 2800 lumens and system efflcacy of not less than 100 lumens per watt and lumen maintainence of 70% at the end of 50000 buming hours, power Factor 0.95 & THD<10%, CRI>70, CCT : 4000K - 3000K, operating range 150 - 270V AC suppty vottages, surge protection> 101(V with minimum lPi65 Protection. LM 79 repo( to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacture. LED shall have reverse polarity, open and short circuit protection. | 5.00 | Nos. | 3990.00 | 3375.00 | 16875.00 | 4000.00 | 20000.00 | 3300.00 | 16500.00 | 16500.00 | Awasthi Electric Works
62.00 | Supply of LED Bollard having lumen not less than 1100 lumens with luminaire efficacy of not less than 110 lumens per watt, lumen maintainence ol 70% at the end of 50000 burning hours with constant cunent driver output, Power Factor >0.95 & THD <10%, CRI>70,neutral white light and made of Gl pipe bottom housing the control gear speen Aluminium dome shaped type cover with cylindrical dome shaped top cover, overall lenght of bollard to be minium of 600 mm, operating range 230V - 270V, 50Hz Ac supply, inbuilt driver with surge protection >'l0KV. The luminaire shall be minimum lP:65 protected. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LEO manufacture LED shall have reverse polarity, open and short circuit protection. | 20.00 | Nos. | 4262.00 | 2875.00 | 57500.00 | 3000.00 | 60000.00 | 1950.00 | 39000.00 | 39000.00 | Awasthi Electric Works
63.00 | Supply of LED bush / Spike light having lumen ouhut not less than 1000 lumens with luminaire efficacy of not less than than 100 lumens per watt, lumen maintainence of 70% at the end of 50000 burning hours with constant current driver output, Power Factor >0.95 & THD <10%, CRI>70,, CCT 3000 K - 5000 K, with diecast Aluminium housing, adjustable mounting breaket with spike, constant current LED driver, operating range 150V- 270V, 50Hz AC supply, with surge protection >1OKV. The luminaire shall be minimum lP:65 protected. LN4 79 report to be submined for luminaire from NABL accrediated lab and LM E0 for LED source issued by LED manufacture. LED shall have reverse polarity. open and short circuit protection. | 20.00 | Nos. | 5010.00 | 1688.00 | 33760.00 | 3500.00 | 70000.00 | 1400.00 | 28000.00 | 28000.00 | Awasthi Electric Works
64.00 | Supply of decorative Conical tapered pole with arms, 4mtrs in height made out of Gl, primered and painted PU factory finish having a bottom dia of '116mm and top dia of 75mm with sheet thickness of min 3.5mm. The pole will be with base ptate & flush door at the bottom will be provided with proper strengthening to the cutout of the door opening. A junction / looping box with heavy duty 3 phase connector into the pole. | 20.00 | Nos. | 6313.00 | 18750.00 | 375000.00 | 5000.00 | 100000.00 | 7800.00 | 156000.00 | 100000.00 | M/S AMAR ENTERPRISES
65.00 | lnstallation, testing and commissioning of pre-wired, LED fitting with driver/ LED light fitting of all types on surface, complete with all accessories. direc y on ceiling/ wall surface, including conneclions with 1.5 sq. mm FRLS pVC insulated, copper conductor, single core cable and earthing etc. as required. | 50.00 | Each | 222.00 | 750.00 | 37500.00 | 150.00 | 7500.00 | 50.00 | 2500.00 | 2500.00 | Awasthi Electric Works
66.00 | lnstallation, testing and commissioning of pre-wired LED light fitting with driver of all types, complete with all accessories etc. on false ceiling including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and hanging with suitable suspender and earthjng etc. as required. | 50.00 | Each | 253.00 | 938.00 | 46900.00 | 150.00 | 7500.00 | 80.00 | 4000.00 | 4000.00 | Awasthi Electric Works
67.00 | lnstallation, testing and commissioning of LED Bollard light fitting with driver complete with all accessories. including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 20.00 | Nos. | 354.00 | 5000.00 | 100000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 3000.00 | M/S AMAR ENTERPRISES, Awasthi Electric Works
68.00 | lnstallation, testing and commissioning of LED Spike light fitting with driver complete with all accessories. including connections with l.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 20.00 | Nos. | 424.00 | 938.00 | 18760.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 2000.00 | Awasthi Electric Works
69.00 | installation of 4mtrs high M.S. PU painted street light pole with all accessories and supply & making foundation of reinforced cement concrete 1:3:6 (1 cement :3 coarse sand :6 graded stone aggregate 40mm nominal size) including excavation and refilling, including positioning of template & foundations bolts (supplied with pole to match with pole base plate) complete as required and as specified. | 20.00 | Nos. | 1869.00 | 4375.00 | 87500.00 | 1500.00 | 30000.00 | 2000.00 | 40000.00 | 30000.00 | M/S AMAR ENTERPRISES
70.00 | lnstallation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 10.00 | Each | 303.00 | 313.00 | 3130.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 1000.00 | Awasthi Electric Works
71.00 | Installation of exhaust fan upto 450 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc as required. | 10.00 | Each | 313.00 | 375.00 | 3750.00 | 150.00 | 1500.00 | 500.00 | 5000.00 | 1500.00 | M/S AMAR ENTERPRISES
72.00 | Numbering of ceiling fan/ exhaust fan/ fluorescenU LED light fittings etc as required. | 100.00 | Each | 20.00 | 125.00 | 12500.00 | 10.00 | 1000.00 | 10.00 | 1000.00 | 1000.00 | M/S AMAR ENTERPRISES, Awasthi Electric Works
73.00 | Supply, lnstallation, Testing and Commissioning of LT Panel, cubicle type, made out of 14 SWG CRCA sheet steel, totally enclosed, lP-42, protection free standing, floor mounting, dust and vermin proof, indoor, compartmentalized, powder coated painting suitable for operation on 3 Phase and neutral, 415V, 50 Hz AC supply system with bus bars extensible on both sides, interconnections with suitable size of copper leads/ solid aluminium strips. (Panel shall conform to IEC 60439 & of Form-3b construction). lncomer- I & ll 2 Nos. MCCB, 250 Amps, 4 Pole, 35 kA with adjustable setting, thermal magnetic release with O/C, S/C & E/F protection as per specitication and with followingaccessories. Each lncomer shall have one set of the following items: 1 No. Digital MFM meter and 3 nos. CTs of ratio 200/5A , Class 0.5 accuracy and 10 VA burden. digital multifunction meter suitable lo measure voltage, Ampere, Frequency, Power Factor, KVA, KW and KVAR, KVAh, KWh and KVARh with RS-485 Port 1 Set of ON/ OFF/ TRIP lndicating LED Lamps with 2 Amp MCB. 1 Set of phase indicating LED lamps with 2 amp back up MCB. Buscoupler 1 No. MCCB,250 Amps,4 Pole,35 kA with adjustable setting, thermal magnetic release with O/C, S/C & E/F protection with 1 Set of ON/ OFF lndicating LED Lamps with 2 Amo MCB. Busbars 4P aluminium bus bars of 320 A capacity with heat shrinkable coloured sleeves i/c SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 35 KA for 1 sec. Outgoing 4 Nos. MCCB, 100 Amps, 4 Pole, 25 kA with adjustable setting, thermal magnetic. elease with O/C & S/C protection 8 Nos. MCCB, 63 Amps, 4 Pole, 25 kA with adjustable setting, thermal magnetic release with O/C & S/C protection 2 Nos. MCCB, 40 Amps, 4 Pole,25 kA with adjustable setting, thermal magnetic release with O/C & S/C protection 2 Sets Surge protection device Type 2 ( Class C), including all necessary accessories. The SPD shall complience with IEC 61643-11. All outgoing MCCB shall have 1 Set of ON/ OFF lndicating LED Lamps with 2 Amp MCB. | 1.00 | Job | 656500.00 | 500000.00 | 500000.00 | 310000.00 | 310000.00 | 490000.00 | 490000.00 | 310000.00 | M/S AMAR ENTERPRISES
74.00 | SITC of hand drier ( metal body) suitable for operation on single phase etc as required. | 2.00 | Each | 2677.00 | 11250.00 | 22500.00 | 8000.00 | 16000.00 | 15000.00 | 30000.00 | 16000.00 | M/S AMAR ENTERPRISES
75.00 | Sitc of 6-8 ltr instant type gyser suitable for operation on 230v,50 Hz single phase etc as required. | 2.00 | Each | 3202.00 | 8750.00 | 17500.00 | 8000.00 | 16000.00 | 3900.00 | 7800.00 | 7800.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 5510518.00 |  | 3941475.00 |  | 4779120.00
Lowest Amount Quoted BY: M/S AMAR ENTERPRISES(3941475.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of existing terminal building B M Airport Ranchi. SH - Internal electrification work. Tender ID: 2025_AAI_222799_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S AMAR ENTERPRISES (BID ID -812092) | 3941475.00 | L1
| 2 | Awasthi Electric Works (BID ID -812304) | 4779120.00 | L2
| 3 | Yash Energy Pvt. Ltd (BID ID -809875) | 5510518.00 | L3