## BoQ1
Government eProcurement System Created By: Rajesh Wani Created Date/Time: 14-Feb-2025 11:42 AM Tender Title: Replacement of false ceiling tiles in Terminal Building, provision of new false ceiling system in ATS Complex, glass panelling, stainless steel and allied works at Aurangabad Airport Tender ID: 2025_AAI_222838_1
Tender Inviting Authority: Asst. General Manager (Engg-Civil) Airports Authority of India, Aurangabad Airport
Name of Work: Replacement of false ceiling tiles in Terminal Building, provision of new false ceiling system in ATS Complex, glass panelling, stainless steel and allied works at Aurangabad Airport
Contract No: 2025_AAI_222838_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SWAGATAMA ENTERPRISES (GSTN-NA) BID ID -812970 |  | M/s. Haresh Patel (GSTN-NA) BID ID -813169
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material within 200 metres lead of Airport premises as directed by Engineer-incharge. | 370.00 | sqm | 100.00 | 100.00 | 37000.00 | 500.00 | 185000.00 | 37000.00 | SWAGATAMA ENTERPRISES
2.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/ making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete including scaffolding charges for all heights as per specifications, drawings and as directed by Engineer-in-charge.a) GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | 575.00 | sqm | 100.00 | 1900.00 | 1092500.00 | 2910.00 | 1673250.00 | 1092500.00 | SWAGATAMA ENTERPRISES
3.00 | Replacement of existing GI metal clip-in false ceiling tile with plain beveled edge tiles of approved make, shade and size 600 mm x 600 mm, 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), factory painted after bending; and backed with a black Glass fiber acoustical fleece, in true horizontal level, including providing aluminium frame sections wherever required & scaffolding charges for all heights as per specifications & drawings, all complete as per the directions of Engineer-in-charge. | 500.00 | sqm | 100.00 | 1900.00 | 950000.00 | 2610.00 | 1305000.00 | 950000.00 | SWAGATAMA ENTERPRISES
4.00 | Replacement of existing GI metal clip-in false ceiling tile with beveled edge perforated global white colour tiles of size 600x600 and 0.5 mm thick with 25 mm height over existing metal ceiling framework system, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), factory painted after bending and perforation; and backed with a black Glass fiber acoustical fleece, in true horizontal level, including providing aluminium frame sections wherever required and scaffolding charges for all heights as per specifications & drawings, all complete as per the directions of Engineer-in-charge. | 3950.00 | sqm | 100.00 | 1900.00 | 7505000.00 | 2700.00 | 10665000.00 | 7505000.00 | SWAGATAMA ENTERPRISES
5.00 | Supply and installation of 6mm thick extra clear toughened glass of approved make (Saint Gobain /Asahi/Seisecam, or equivalent), featuring HTL lamination for enhanced protection, strength, and UV resistance. This glass will be fixed over plywood surface (paid separately).The glass will incorporate a 4K high-clarity printed as per the approved design, offering sharp, vibrant, and long-lasting visuals that enhance the aesthetic appeal of the partition. All glass edges will be CNC edge polished, providing smooth, flat, and precise edges for enhanced safety and a refined visual finish, contributing to both structural integrity and aesthetic quality. The glass will be securely installed using Wacker/Dow or any approved equivalent neutral silicone adhesive, ensuring a durable, flexible, and weather-resistant bond capable of handling structural movement. The rate quoted shall include cost of 6mm thick extra clear toughned glass, printing approved design, transportation, scaffolding and fixing charges at all heights and all locations inside terminal building or other locations in airport premises etc complete to the satisfaction of Engineer in Charge. | 670.00 | sqm | 100.00 | 7300.00 | 4891000.00 | 2235.00 | 1497450.00 | 1497450.00 | M/s. Haresh Patel
6.00 | Providing and fixing stainless steel work (Grade 304) made of Hollow tubes, channels, plates, angles etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-Charge. | 2120.00 | kg | 100.00 | 500.00 | 1060000.00 | 640.00 | 1356800.00 | 1060000.00 | SWAGATAMA ENTERPRISES
7.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion - Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 2020.00 | kg | 100.00 | 650.00 | 1313000.00 | 505.00 | 1020100.00 | 1020100.00 | M/s. Haresh Patel
8.00 | Providing & fixing commercial plywood of approved brand complying with IS standards to be fixed at any location with all necessary fixing accessories, painting of edges with primer complete as per the directions of Engineer-in-charge. a) 12 mm thick plywood | 670.00 | sqm | 100.00 | 1010.00 | 676700.00 | 1635.00 | 1095450.00 | 676700.00 | SWAGATAMA ENTERPRISES
9.00 | Cutting stone slab flooring /granite/marble/tile work to required shape laid in cement mortar and finishing the cut edges including stacking of serviceable material and disposal of unserviceable material within 200 metres lead of Airport premises. | 200.00 | sqm | 100.00 | 180.00 | 36000.00 | 400.00 | 80000.00 | 36000.00 | SWAGATAMA ENTERPRISES
10.00 | Providing and laying tactile tile (for vision impaired persons as per standards) of size 300x300x9.8mm having water absorption less than 0.5% and conforming to IS:15622 of approved make in all colours and shades in for all types of floors such as tile/granite flooring, footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | 200.00 | sqm | 100.00 | 1299.00 | 259800.00 | 985.00 | 197000.00 | 197000.00 | M/s. Haresh Patel
11.00 | Providing and fixing aluminium composite panel (of interior grade) cladding in metalic sheet of approved colour, texture and shade made out of 3 mm thick aluminium composite panel material consisting of 2.5 mm thick FR grade mineral core sandwiched between two Aluminium skin / sheets each of 0.25 mm thickness. The aluminium composite panel cladding sheet shall be coil coated, with fluoropolymer resin coating of approved colour and shade on one face and polymer (Service) coating on other face as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. including cost of all material & labour component all complete , as per the directions of Engineer-in-Charge. For the purpose of payment, only the actual area on the external face of the component with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places.(Note: Base frame work for ACP cladding is payable under the relevant structural steel/ aluminium items) | 340.00 | sqm | 100.00 | 4000.00 | 1360000.00 | 2720.00 | 924800.00 | 924800.00 | M/s. Haresh Patel
| Total in Figures |  |  |  |  | 19181000.00 |  | 19999850.00
Lowest Amount Quoted BY: SWAGATAMA ENTERPRISES(19181000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of false ceiling tiles in Terminal Building, provision of new false ceiling system in ATS Complex, glass panelling, stainless steel and allied works at Aurangabad Airport Tender ID: 2025_AAI_222838_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SWAGATAMA ENTERPRISES (BID ID -812970) | 19181000.00 | L1
| 2 | M/s. Haresh Patel (BID ID -813169) | 19999850.00 | L2