## BoQ1
Government eProcurement System Created By: Amit Kumar Layek Created Date/Time: 25-Mar-2025 06:47 PM Tender Title: SITC of 30m Illuminated national flag mast (at city side) and 16m High Mast (in GSE area) including allied works at M.B.B. Airport, Agartala. Tender ID: 2025_AAI_223108_1
Tender Inviting Authority: AGM (E-E)
Name of Work: SITC of 30m Illuminated national flag mast (at city side) and 16m High Mast (in GSE area) including allied works at M.B.B. Airport, Agartala.
Tender ID No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | candela engineering corporation (GSTN-32AAIFC0435H1ZY) BID ID -814311 |  | ENGINEERING SOLUTIONS (GSTN-NA) BID ID -814415 |  | A. K. ENTERPRISE (GSTN-NA) BID ID -814512 |  | M/s HI TECH ELECTRICALS (GSTN-NA) BID ID -814430 |  | SUNSHINE POWER LINES (GSTN-NA) BID ID -814473 |  | RAJESH DEY (GSTN-NA) BID ID -813904
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Illuminated National Flag Mast( City side) Design and Supply of 30M High Flagmast. Mast shaft shall be in Three telescopic sections, hot dip galvanised and suitable for wind velocity as per IS 875 i.e. (Amended up to date) including lighting Arrester. Mast shall be suitable for Indian Tri Color Flag Size 30Ft X 20Ft. System for Raising Lowering of Flag along with twin dome light. It shall have double drum winch, 2 nos. 6mm dia Galvanised wire rope and integral power tool for the raising and lowering of Flag with twin dome light. Supply of dome for flag mast but without canopy. Supply of avaition system with 5C x 2.5sqmm Cu armoured cable. Painting of 30M Flag Mast PU painting of Highmast shaft with a coating of etch primer, primer and PU paint (Factory Painted). | 1.00 | No. | 1361167.20 | 775000.00 | 775000.00 | 920000.00 | 920000.00 | 486000.00 | 486000.00 | 795000.00 | 795000.00 | 380000.00 | 380000.00 | 571000.00 | 571000.00 | 380000.00 | SUNSHINE POWER LINES
2.00 | Supply of hot dipped galvanized foundation bolts manufactured from special steel alongwith nuts, washers, anchor plates and templates as per design requirment of OEM confirming to latest updated IS/BIS (FOR 30M FLAG MAST). | 1.00 | Set | 23373.00 | 18000.00 | 18000.00 | 15840.00 | 15840.00 | 15000.00 | 15000.00 | 36500.00 | 36500.00 | 40000.00 | 40000.00 | 27300.00 | 27300.00 | 15000.00 | A. K. ENTERPRISE
3.00 | Design & Supply of 5M high hotdip galvanised octagonal pole suitable to mount 1no. LED 500W flood light fittings at top with suitable mounting arrangement over existing foundation. | 2.00 | No. | 18450.00 | 14000.00 | 28000.00 | 10680.00 | 21360.00 | 14500.00 | 29000.00 | 18500.00 | 37000.00 | 38000.00 | 76000.00 | 11500.00 | 23000.00 | 21360.00 | ENGINEERING SOLUTIONS
4.00 | Supply of foundation bolts manufactured from special steel alongwith nuts, washers anchor plates and templates as per design requirment of OEM confirming to latest updated IS/BIS etc. (FOR 5M POLE). | 2.00 | Set | 1207.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 3500.00 | 7000.00 | 5500.00 | 11000.00 | 3000.00 | 6000.00 | 2200.00 | 4400.00 | 2400.00 | ENGINEERING SOLUTIONS
5.00 | Supply of non- integral LED flood light luminaries type 350W alongwith suitbale arrangement & supports for mounting luminary with driver, IP66 complaint for flag equivalent to (BAJAJ CAT NO. AMPL F 600L WH NB-A3 TG SD). | 4.00 | No. | 27980.00 | 20000.00 | 80000.00 | 23040.00 | 92160.00 | 19500.00 | 78000.00 | 21350.00 | 85400.00 | 25000.00 | 100000.00 | 22500.00 | 90000.00 | 78000.00 | A. K. ENTERPRISE
6.00 | Supply of national flag of size 30Ft X 20Ft in 100 percentage knitted Polyester (140gsm), with reinforced super-strong nylon webbing on all 3 sides & rope/toggle sleeve. | 4.00 | No. | 34000.00 | 22000.00 | 88000.00 | 18000.00 | 72000.00 | 40000.00 | 160000.00 | 26500.00 | 106000.00 | 130253.00 | 521012.00 | 28500.00 | 114000.00 | 72000.00 | ENGINEERING SOLUTIONS
7.00 | Supply of suitable size dust & vermin proof out door type, IP-54, floor mounted Mast Feeder Pillar Panel on cement contrete/ MS channel foundation, fabricated with 14 SWG CRCA sheet and suitable size MS angle complete with detachable gland plate and front hinged door locking arrangment duly powder coated of approved shade as per manufacturer drawings/ SLD, required MCB/ Contracters/ Auto manual switch/ MCB LED indicater lamp/ Suitable capacity Busbar as requir rating, accessories including connection, inter connection, wiring with minimum 2.5 sqmm flexible copper wire & provision for earth connection etc. complete as required. Panel shall have 2KVA UPS suitable to work on 200v- 230v,50Hz input and 230v, 50Hz out put along with SMF VRLA batteries to provide 30 minutes back up time and as per technical specification, preferred list of make etc as required. UPS and battery shall be accomodated in the control panel with proper air ventilation including provision of housing for item no.13 i.e. Surge Protection Device. i) 63A, 35KA FP MCCB incomer-02 nos., On load changeover FP, 63A-01 no. ii) Control system for Raising/ Lowering of Flag-01 no. with one additional wired remote control for Raising/ Lowering of Flag. iii) 45A TP contactors operated through 24 hrs. timer switch for automatic switching of luminaries along with Auto/ Manual selctor switch- 01 no. iv) 16A, 10KA, DP MCB- 04 nos. & 10A, 10KA, SP MCB-06 nos. to feed the luminaries & aviation light. v) LED type indicating lamps with toggle switches. vi) Suitable capacity overload relay & single pjase preventer. | 1.00 | No. | 185000.00 | 275000.00 | 275000.00 | 110000.00 | 110000.00 | 135000.00 | 135000.00 | 135000.00 | 135000.00 | 78000.00 | 78000.00 | 98000.00 | 98000.00 | 78000.00 | SUNSHINE POWER LINES
8.00 | Design & Construction of shallow foundation with M25 grade concrete for the 30 m flagmast considering the safe soil bearing capacity 10T/sqmtr at 2 metre depth at site or as per SBC required as per soil investigation /test report which ever is higher side with all materials and labour as per IS code/ specifications ammended up to date at required depth as per soil investigatio etc. i/c Excavtion,Steel,RCC,Shuttering,Back filling complete to the satisfaction of Engineer-in-Charge. | 1.00 | No. | 291526.00 | 120000.00 | 120000.00 | 117600.00 | 117600.00 | 240000.00 | 240000.00 | 110000.00 | 110000.00 | 48000.00 | 48000.00 | 215000.00 | 215000.00 | 48000.00 | SUNSHINE POWER LINES
9.00 | Erection of the flagmast with the help of suitable tools and plants, wiring of luminaires with all wiring materials. | 1.00 | No. | 86100.00 | 50000.00 | 50000.00 | 54000.00 | 54000.00 | 45000.00 | 45000.00 | 45000.00 | 45000.00 | 52000.00 | 52000.00 | 115000.00 | 115000.00 | 45000.00 | M/s HI TECH ELECTRICALS, A. K. ENTERPRISE
10.00 | Installation, testing, commissioning of the mast feeder pillar (Item no. 7). | 1.00 | No. | 24600.00 | 5000.00 | 5000.00 | 4800.00 | 4800.00 | 12000.00 | 12000.00 | 20000.00 | 20000.00 | 43000.00 | 43000.00 | 8900.00 | 8900.00 | 4800.00 | ENGINEERING SOLUTIONS
11.00 | Erection of metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including exavation and refilling etc. as required. Above 4.5 meter and upto 6.5 meter. | 2.00 | No. | 4571.00 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 8500.00 | 17000.00 | 5999.00 | 11998.00 | 12000.00 | 24000.00 | 6500.00 | 13000.00 | 8000.00 | candela engineering corporation
12.00 | ITC of Non-integral LED upto 500W, Flood light fittings with mounting arrangement as required on 5 mtr. Height octagonal pole including wiring with 3Cx2.5 sqmm. Flexible PVC insulated copper conductor cable from the fixture to control box through the pole. | 2.00 | No. | 9840.00 | 345.00 | 690.00 | 600.00 | 1200.00 | 14500.00 | 29000.00 | 29500.00 | 59000.00 | 28000.00 | 56000.00 | 43500.00 | 87000.00 | 690.00 | candela engineering corporation
13.00 | Supply & Installation of Surge Protection Device Type 1/Class B with IP 65 Thermoplastic Enclosure Tested as per IEC 61643 Part 11:2011 in the main panel with following specification: Nominal voltage -230V 50/60Hz and MCOV ≥ 255 V | 1.00 | No. | 18450.00 | 18000.00 | 18000.00 | 10800.00 | 10800.00 | 22500.00 | 22500.00 | 2500.00 | 2500.00 | 39000.00 | 39000.00 | 13500.00 | 13500.00 | 2500.00 | M/s HI TECH ELECTRICALS
14.00 | Supplying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 20.00 | Mtr. | 205.00 | 300.00 | 6000.00 | 180.00 | 3600.00 | 460.00 | 9200.00 | 195.00 | 3900.00 | 300.00 | 6000.00 | 1450.00 | 29000.00 | 3600.00 | ENGINEERING SOLUTIONS
14.01 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 50.00 | Mtr. | 101.00 | 100.00 | 5000.00 | 90.00 | 4500.00 | 240.00 | 12000.00 | 135.00 | 6750.00 | 290.00 | 14500.00 | 750.00 | 37500.00 | 4500.00 | ENGINEERING SOLUTIONS
15.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavtion and refilling the trench but excluding sand cushioning and protective covering, complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 20.00 | Mtr. | 143.00 | 150.00 | 3000.00 | 228.00 | 4560.00 | 195.00 | 3900.00 | 105.00 | 2100.00 | 300.00 | 6000.00 | 250.00 | 5000.00 | 2100.00 | M/s HI TECH ELECTRICALS
15.01 | 63 mm dia (OD-120 mm & ID-51 mm nominal) | 50.00 | Mtr. | 143.00 | 160.00 | 8000.00 | 228.00 | 11400.00 | 185.00 | 9250.00 | 85.00 | 4250.00 | 290.00 | 14500.00 | 250.00 | 12500.00 | 4250.00 | M/s HI TECH ELECTRICALS
16.00 | Providing and laying of flame finished Granite stone flooring in required design and patterns in a linear and curvilinear portions of the building all complete as per the architectural drawing with 18 mm thick stone slab over 20 mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand ) laid and jointed with cement slurry and pointing with the white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer incharge. Flame finished granite stone slab Jet black, Cherry Red, Elite Brown, Cat Eye or Equivalent | 3.00 | Sqm. | 2708.00 | 4000.00 | 12000.00 | 5400.00 | 16200.00 | 460.00 | 1380.00 | 3999.00 | 11997.00 | 6900.00 | 20700.00 | 9500.00 | 28500.00 | 1380.00 | A. K. ENTERPRISE
17.00 | Dismantling Tile work in floor laid in cement mortar including stacking material within the 50 meters lead. For thickness of tiles 10 mm to 25 mm | 3.00 | Sqm. | 56.00 | 50.00 | 150.00 | 1800.00 | 5400.00 | 1650.00 | 4950.00 | 3999.00 | 11997.00 | 700.00 | 2100.00 | 150.00 | 450.00 | 150.00 | candela engineering corporation
18.00 | High Mast Items Design, Supply, Installation, Testing and Commissioning of high mast system, height 16 M with its accesories. Mast shaft shall be in two sections, hot dip galvanised and suitable for wind velocity as per IS-875 ammended up to date. It shall also include accessories for high mast including head frame, steel wire rope 6 mm dia (SS) with raising and lowering system, luminaries carriage suitable to install required nos. of LED Light fixtures with its accissories in Asymmetrical arrangement, double drum winch, trailing cable, connector, junction box, lightning finial/Arrestor etc. The mast shall have an integral power tool motor, manual handle installed inside the base compartment for its operation. | 1.00 | Job | 382500.00 | 445000.00 | 445000.00 | 237600.00 | 237600.00 | 290000.00 | 290000.00 | 485000.00 | 485000.00 | 362092.00 | 362092.00 | 345500.00 | 345500.00 | 237600.00 | ENGINEERING SOLUTIONS
19.00 | Providing and fixing of hot dipped galvanised foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template (as per design requirements of OEM standard confirming to latest IS/BIS/). | 1.00 | Job | 27000.00 | 16000.00 | 16000.00 | 9360.00 | 9360.00 | 8500.00 | 8500.00 | 9999.00 | 9999.00 | 27000.00 | 27000.00 | 22000.00 | 22000.00 | 8500.00 | A. K. ENTERPRISE
20.00 | Design and Construction of shallow foundation with M20 grade concrete for the 16mtr highmast considering the safe soil bearing capacity at site as 10 T/sqMeter at 2.0 metre depth or as per SBC required as per soil investigation/test report whichever is highjer side. Job also includes all materials and labour as per latest IS code, soil investigation/testing, Excavation of soft soil, Steel, RCC, Shuttering, Back filling, complete to satisfaction of Engineer Incharge. | 1.00 | Job | 175000.00 | 100000.00 | 100000.00 | 90000.00 | 90000.00 | 145000.00 | 145000.00 | 75000.00 | 75000.00 | 43000.00 | 43000.00 | 210000.00 | 210000.00 | 43000.00 | SUNSHINE POWER LINES
21.00 | Supply of 350 W LED Flood Light luminaire with IP 66 protected, die-cast aluminium housing with heat resistant diffuser and MS powder coated bracket suitable to operate on 240 V, 50 Hz AC complete as required suitable for Apron High Mast. | 15.00 | Each | 18290.00 | 17900.00 | 268500.00 | 11760.00 | 176400.00 | 19500.00 | 292500.00 | 21500.00 | 322500.00 | 18000.00 | 270000.00 | 22500.00 | 337500.00 | 176400.00 | ENGINEERING SOLUTIONS
22.00 | Installation, testing and commissioning (ITC item no.s 4) of 350 W LED Flood Light luminaire including wiring connection complete in all respect in feeder pillar and mast junction box MCB in base compartment and thereafter to each luminaire. | 15.00 | Each | 980.00 | 450.00 | 6750.00 | 360.00 | 5400.00 | 1000.00 | 15000.00 | 1999.00 | 29985.00 | 7000.00 | 105000.00 | 1500.00 | 22500.00 | 5400.00 | ENGINEERING SOLUTIONS
23.00 | Supply of single dome LED type aviation obstruction light luminair with lamp, fixtures, mounting clamp, nut bolt etc. complete as required. (Make-as per AAI preffered make list) | 2.00 | Each | 5000.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 5500.00 | 11000.00 | 4500.00 | 9000.00 | 7000.00 | 14000.00 | 5800.00 | 11600.00 | 7000.00 | candela engineering corporation
24.00 | Installation, testing and commissioning of single dome LED type aviation obstruction light luminair with lamp, fixtures, mounting clamp, nut bolt etc. complete as required including wiring connection complete in all respect at feeder pillar and mast junction box MCB in base compartment and thereafter to luminaire. | 1.00 | Each | 450.00 | 350.00 | 350.00 | 2400.00 | 2400.00 | 500.00 | 500.00 | 2500.00 | 2500.00 | 15000.00 | 15000.00 | 1100.00 | 1100.00 | 350.00 | candela engineering corporation
25.00 | Supply, installation, testing and commissioning dust and vermin proof outdoor type pedestal mounted distribution feeder piller (of size approx 1000x1000x300 mm) on cement concrete foundation generally confirming to IS-5039-1983 as amended upto date and to withstand rough usage and weather, fabricated with 2mm thick CRCA sheet with hinged double door having locking arrangement. The panel shall be powder coated painting, supply and fixing of following switchgears, interconnections, earthing etc. complete as required and as per enclosed particular specifications and single line diagrams. (a) Incoming - 01 No. 40 Amp, 4 Pole, MCCB having variable current settings (Ics-100 percent Icu, 18 KA), spreader links and extendable ON OFF rotary handle. CTs of ratio 50-5 Amps-1 Set of 3 Nos. 5 VA, Class 5.0, 25 A, AC-3,230 V Power Contactor, 4P, 2NO-2NC, Programmable Time Switch 24 Hour (SST - 15 min) for obstruction light. (b) Bus-Bars - 4-Pole Aluminium Bus bar of 100 A rating, coloured sleeves, required intervals complete for cross section, size supports and their spacing etc as per specification. (c) Outgoings - 32 A, 4 Pole C curve MCB-04 Nos. (d) 6-32 A, DP C curve MCB-02 Nos. Suitable capacity DOL starter for operating power Tool | 1.00 | Set | 156000.00 | 75000.00 | 75000.00 | 31200.00 | 31200.00 | 56000.00 | 56000.00 | 90000.00 | 90000.00 | 25000.00 | 25000.00 | 93500.00 | 93500.00 | 25000.00 | SUNSHINE POWER LINES
26.00 | Supply of following sizes of multi core XLPE insulated PVC sheathed, Copper conductor flexible electric cable of 1.1 KV grade confirming to IS 7098 (Part 1) 1988 with upto date amended. (a) 4 X 6 sq.mm | 50.00 | Mtr. | 599.00 | 415.00 | 20750.00 | 420.00 | 21000.00 | 145.00 | 7250.00 | 375.00 | 18750.00 | 900.00 | 45000.00 | 480.00 | 24000.00 | 7250.00 | A. K. ENTERPRISE
27.00 | Supply of following sizes of multicore XLPE insulated PVC sheathed, copper conductor armoured control cable of 650V/1100 V grade confirming to 7098 PART-I with upto date amended. (a) 4 core 1.5 sq.mm | 25.00 | Mtr. | 231.00 | 160.00 | 4000.00 | 91.00 | 2275.00 | 145.00 | 3625.00 | 305.00 | 7625.00 | 245.00 | 6125.00 | 225.00 | 5625.00 | 2275.00 | ENGINEERING SOLUTIONS
28.00 | Supply of following sizes of multicore XLPE insulated PVC sheathed, copper conductor armoured power cable of 650V/1100 V grade confirming to IS 7098 PART-I with upto date amended. (a) 4 core 2.5 sq.mm | 50.00 | Mtr. | 344.00 | 220.00 | 11000.00 | 144.00 | 7200.00 | 260.00 | 13000.00 | 355.00 | 17750.00 | 600.00 | 30000.00 | 310.00 | 15500.00 | 7200.00 | ENGINEERING SOLUTIONS
29.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1-3-6 or richer mix (i/c equivalent design mix) | 20.00 | Cum | 3500.00 | 150.00 | 3000.00 | 2400.00 | 48000.00 | 400.00 | 8000.00 | 3450.00 | 69000.00 | 7000.00 | 140000.00 | 4100.00 | 82000.00 | 3000.00 | candela engineering corporation
30.00 | Providing and fixing 6 SWG dia GI wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/pre laid metal pipe, submain wiring/ cable as required. | 80.00 | Mtr. | 37.00 | 20.00 | 1600.00 | 26.00 | 2080.00 | 60.00 | 4800.00 | 35.00 | 2800.00 | 250.00 | 20000.00 | 25.00 | 2000.00 | 1600.00 | candela engineering corporation
31.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 4.00 | Set | 6701.00 | 6200.00 | 24800.00 | 14440.00 | 57760.00 | 16500.00 | 66000.00 | 7100.00 | 28400.00 | 8000.00 | 32000.00 | 8500.00 | 34000.00 | 24800.00 | candela engineering corporation
32.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess or prelaid metal pipe for connections etc. as required. | 90.00 | Mtr. | 310.00 | 150.00 | 13500.00 | 174.00 | 15660.00 | 210.00 | 18900.00 | 120.00 | 10800.00 | 600.00 | 54000.00 | 180.00 | 16200.00 | 10800.00 | M/s HI TECH ELECTRICALS
33.00 | Supplying and laying of following sizes of medium class G.I. pipe in surface/ground etc.complete as required. (a) 40 mm dia | 50.00 | Mtr. | 675.00 | 400.00 | 20000.00 | 450.00 | 22500.00 | 380.00 | 19000.00 | 180.00 | 9000.00 | 900.00 | 45000.00 | 580.00 | 29000.00 | 9000.00 | M/s HI TECH ELECTRICALS
34.00 | Providing and laying in postion cement concrete of specified grade excluding the cost of centering and shutering all work up to the plinth area. 1:2:4 (1 cement , 2 coarse sand (Zone -III) derived from natural resources, 4 graded stone, aggregate 40 mm nominal size derived from natural resources). | 10.00 | Cum | 6310.00 | 5000.00 | 50000.00 | 7200.00 | 72000.00 | 8500.00 | 85000.00 | 2999.00 | 29990.00 | 9500.00 | 95000.00 | 11200.00 | 112000.00 | 29990.00 | M/s HI TECH ELECTRICALS
35.00 | Common Items Supply of following sizes of 1.1kv grade multicore Aluminium conductor XLPE insulated PVC sheathed armoured cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications. 4 core, 35 Sqmm, Aluminium cable. | 245.00 | Mtr. | 523.00 | 200.00 | 49000.00 | 198.00 | 48510.00 | 350.00 | 85750.00 | 435.00 | 106575.00 | 450.00 | 110250.00 | 380.00 | 93100.00 | 48510.00 | ENGINEERING SOLUTIONS
35.01 | 4 core, 16 Sqmm, Aluminium cable. | 50.00 | Mtr. | 324.00 | 140.00 | 7000.00 | 150.00 | 7500.00 | 300.00 | 15000.00 | 295.00 | 14750.00 | 350.00 | 17500.00 | 290.00 | 14500.00 | 7000.00 | candela engineering corporation
36.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 4 X 35 sq. mm (32 mm) | 6.00 | Set | 331.00 | 200.00 | 1200.00 | 540.00 | 3240.00 | 250.00 | 1500.00 | 350.00 | 2100.00 | 2350.00 | 14100.00 | 280.00 | 1680.00 | 1200.00 | candela engineering corporation
36.02 | 4 X 16 sq. mm (25 mm) | 8.00 | Set | 277.00 | 200.00 | 1600.00 | 419.00 | 3352.00 | 250.00 | 2000.00 | 285.00 | 2280.00 | 1850.00 | 14800.00 | 210.00 | 1680.00 | 1600.00 | candela engineering corporation
37.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/ METAL pipe etc. as required. (a) Upto 35 sq. mm. | 420.00 | Mtr. | 31.00 | 15.00 | 6300.00 | 54.00 | 22680.00 | 110.00 | 46200.00 | 35.00 | 14700.00 | 290.00 | 121800.00 | 280.00 | 117600.00 | 6300.00 | candela engineering corporation
38.00 | Earthing with G.l. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 4.00 | Set | 7500.00 | 5000.00 | 20000.00 | 22680.00 | 90720.00 | 7000.00 | 28000.00 | 6500.00 | 26000.00 | 2450.00 | 9800.00 | 11300.00 | 45200.00 | 9800.00 | SUNSHINE POWER LINES
39.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 40.00 | Mtr. | 647.00 | 180.00 | 7200.00 | 174.00 | 6960.00 | 650.00 | 26000.00 | 120.00 | 4800.00 | 1150.00 | 46000.00 | 180.00 | 7200.00 | 4800.00 | M/s HI TECH ELECTRICALS
| Total in Figures |  |  |  |  | 2662390.00 |  | 2475617.00 |  | 2564705.00 |  | 2884696.00 |  | 3189279.00 |  | 3138035.00
Lowest Amount Quoted BY: ENGINEERING SOLUTIONS(2475617.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of 30m Illuminated national flag mast (at city side) and 16m High Mast (in GSE area) including allied works at M.B.B. Airport, Agartala. Tender ID: 2025_AAI_223108_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ENGINEERING SOLUTIONS (BID ID -814415) | 2475617.00 | L1
| 2 | A. K. ENTERPRISE (BID ID -814512) | 2564705.00 | L2
| 3 | candela engineering corporation (BID ID -814311) | 2662390.00 | L3
| 4 | M/s HI TECH ELECTRICALS (BID ID -814430) | 2884696.00 | L4
| 5 | RAJESH DEY (BID ID -813904) | 3138035.00 | L5
| 6 | SUNSHINE POWER LINES (BID ID -814473) | 3189279.00 | L6