## BoQ1
Government eProcurement System Created By: Sujit Kumar Modak Created Date/Time: 11-Apr-2025 01:38 PM Tender Title: Supply, Installation, Testing and Commissioning of fully automatic Machine room less (MRL) passenger glass elevator at NSCBI Airport, Kolkata. Tender ID: 2025_AAI_223502_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Supply, Installation, Testing and Commissioning of fully automatic Machine room less (MRL) passenger glass elevator at NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED (GSTN-21AAMCA9709P1Z5) BID ID -817903 |  | OMEGA ELEVATORS (GSTN-24ADFPD4986L1Z9) BID ID -829324
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing & commissioning of Machine Room Less electric traction type Lifts of 1564 KG Capacity, 2 Stops, 2 openings and entrance at front side on all the serving floors, automatic centre opening Glass door, car enclosure provided with Glass panel on sides and travel height of 10 mtrs(approx). and type suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/sec, electromagnetic brake system, simplex mode operations, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI's EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman's switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, light fixtures, ventilation fan, etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Devie (MRD) in the event of power failure etc., as required. The traction motor of machine room less Lift shall be of gearless type and placed inside the Lift hoist way. Elevators shall be BMS compatible. | 1.00 | Each |  | 4000000.00 | 4000000.00 | 3780000.00 | 3780000.00 | 3780000.00 | OMEGA ELEVATORS
2.00 | All Inclusive Comprehensive Maintenance Contract for above elevator installed in Terminal-2 at NSCBI Airport, Kolkata comprising of periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency services as and when required on 24 hrs. basis including all necessary spares and consumables to keep the equipments in perfect working condition etc. as required and as per direction of EIC.
2.01 | AICMC for Elevator for 1st year after DLP period of 02 years. | 1.00 | Year |  | 205200.00 | 205200.00 | 193914.00 | 193914.00 | 193914.00 | OMEGA ELEVATORS
2.02 | AICMC for Elevator for 2nd year after DLP period of 02 years. | 1.00 | Year |  | 217600.00 | 217600.00 | 205632.00 | 205632.00 | 205632.00 | OMEGA ELEVATORS
2.03 | AICMC for Elevator for 3rd year after DLP period of 02 years. | 1.00 | Year |  | 230800.00 | 230800.00 | 218106.00 | 218106.00 | 218106.00 | OMEGA ELEVATORS
2.04 | AICMC for Elevator for 4th year after DLP period of 02 years. | 1.00 | Year |  | 244400.00 | 244400.00 | 230958.00 | 230958.00 | 230958.00 | OMEGA ELEVATORS
2.05 | AICMC for Elevator for 5th year after DLP period of 02 years. | 1.00 | Year |  | 259200.00 | 259200.00 | 244944.00 | 244944.00 | 244944.00 | OMEGA ELEVATORS
| Total in Figures |  |  |  |  | 5157200.00 |  | 4873554.00
Lowest Amount Quoted BY: OMEGA ELEVATORS(4873554.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning of fully automatic Machine room less (MRL) passenger glass elevator at NSCBI Airport, Kolkata. Tender ID: 2025_AAI_223502_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | OMEGA ELEVATORS (BID ID -829324) | 4873554.00 | L1
| 2 | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED (BID ID -817903) | 5157200.00 | L2