## BoQ1
Government eProcurement System Created By: Benu Madhab Nayak Created Date/Time: 03-Mar-2025 05:18 PM Tender Title: DSITC of 06 Passenger Lift including AICMC for 05 years at MSSR Station Berhampur. Tender ID: 2025_AAI_223607_1
Tender Inviting Authority: Sr. Manager (Engg-Elect.)
Name of Work: DSITC of 06 Passenger Lift including AICMC for 05 years at MSSR Station Berhampur.
Contract No: Tender ID: 2025_AAI_223607_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED (GSTN-21AAMCA9709P1Z5) BID ID -811407 |  | ORBIS ELEVATOR CO LTD (GSTN-NA) BID ID -808142
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing and Commissioning of following capacity Machine room less electric traction type Elevator suitable for following travel height, 5 stops & 5 openings [Ground floor, First floor,2nd floor , 3rd floor and 5th floor] and entrance at front side on all the serving floors, automatic centre opening stainless steel hairline finish door, car enclosure provided with stainless steel hairline finish panel on sides and with travel height of 15.5 Meters ( approx) and suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable voltage and variable frequency type traction control, Speed of 1.00 Mtr/sec, electromagnetic brake system, simplex mode operations, operating panel with Braille Luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for suitalbe height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, suitable protocol for BMS connentivity, light fixtures, ventilation fan, etc Complete with all accessories including Automatic Rescue Device(ARD) and Manual Rescue Device (MRD) in the event of power failure etc., and confirming to tender requirment. Capacity: 6 passenger (minimum capacity 408 Kgs), Floors: 06 Floor(G+05 & Each Floor height:3.1 mtr approx.), Travel height : 15.5 Mtrs(Approx) Stops & opening: 05 (Stops & Opening) | 1.00 | Job | 1462428.00 | 1300000.00 | 1300000.00 | 1374000.00 | 1374000.00 | 1300000.00 | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED
2.00 | All Inclusive Comprehensive Maintenance Contract(AICMC) of 06 passenger Machine Room Less Lift for BOQ Item Number 1 which include routine, monthly visit, preventive & break down maintenance including repair and replacement of all worn out items i/c batteries & mechanical damage parts with minimum downtime and warranty & guaranty of repaired and replaced items after completion of 01year defect liability period as per specifications given & as per direction of EIC.
2.01 | First Year - 6.35% of SITC cost of Lift at BOQ Item No 1 (After completion DLP of 01-Year) | 1.00 | Job | 92864.18 | 82550.00 | 82550.00 | 87249.00 | 87249.00 | 82550.00 | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED
2.02 | Second Year - 8.45% on cumulative enhancement of 1st year cost shall be applicable for 2nd year. | 1.00 | Job | 100711.20 | 89525.48 | 89525.48 | 94621.54 | 94621.54 | 89525.48 | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED
2.03 | Third Year - 8.45% on cumulative enhancement of 2nd year cost shall be applicable for 3rd year. | 1.00 | Job | 109221.30 | 97090.38 | 97090.38 | 102617.06 | 102617.06 | 97090.38 | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED
2.04 | Fourth Year - 8.45% on cumulative enhancement of 3rd year cost shall be applicable for 4th year. | 1.00 | Job | 118450.50 | 105294.52 | 105294.52 | 111288.20 | 111288.20 | 105294.52 | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED
2.05 | Fifth Year - 8.45% on cumulative enhancement of 4th year cost shall be applicable for 5th year. | 1.00 | Job | 128459.57 | 114191.91 | 114191.91 | 120692.05 | 120692.05 | 114191.91 | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED
| Total in Figures |  |  |  |  | 1788652.29 |  | 1890467.85
Lowest Amount Quoted BY: ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED(1788652.29)

## BOQ Summary
BOQ Summary Details Tender Title: DSITC of 06 Passenger Lift including AICMC for 05 years at MSSR Station Berhampur. Tender ID: 2025_AAI_223607_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASCENSOR LIFTS AND AUTOMATION PRIVATE LIMITED (BID ID -811407) | 1788652.29 | L1
| 2 | ORBIS ELEVATOR CO LTD (BID ID -808142) | 1890467.85 | L2