## BoQ1
Government eProcurement System Created By: Ashwani Kumar Created Date/Time: 25-Feb-2025 03:41 PM Tender Title: Construction of additional AAI office and airlines office at Darbhanga Airport Tender ID: 2025_AAI_223937_1
Tender Inviting Authority: <SM (Engg.-Civil), Darbhanga Airport, Darbhanga>
Name of Work: <Construction of additional AAI office and airlines office at Darbhanga Airport.>
Contract No: <2025_AAI_223937_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S M L BROTHER (GSTN-02ABWPM6184GIZA) BID ID -815779 |  | M/S VIKASH KUMAR (GSTN-NA) BID ID -810976 |  | M/S. SALASAR A2Z BROKING & INVESTMENT (GSTN-NA) BID ID -815575
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Engineering Consultancy Services for “Construction of additional AAI office and airlines office at Darbhanga Airport. “Scope of work includes: - Consultancy charges for preparing detailed structural drawings and design as per Indian Standards for RCC framed structures of G+1 building and other related structures with necessary tests including associated water supply/ drainage/ sewerage system, Roofing work, complete with all relevant calculation sheet and design. The structural drawings and designs shall have to be vetted from NIT/IIT. Payment of necessary statutory charges to the said institute. All completion of work as per direction and satisfaction of E-I-C. | 1.00 | Job | 1.25 | 250000.00 | 250000.00 | 300000.00 | 300000.00 | 60000.00 | 60000.00 | 60000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 195.00 | Cum. | 0.00 | 120.00 | 23400.00 | 140.00 | 27300.00 | 140.00 | 27300.00 | 23400.00 | M/S M L BROTHER
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. Ordinary rock. | 20.00 | Cum | 100.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 400.00 | 8000.00 | 4000.00 | M/S VIKASH KUMAR, M/S M L BROTHER
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 23.00 | Cum | 53.00 | 5000.00 | 115000.00 | 6500.00 | 149500.00 | 7200.00 | 165600.00 | 115000.00 | M/S M L BROTHER
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 21.00 | Cum | 10.00 | 4500.00 | 94500.00 | 5500.00 | 115500.00 | 6200.00 | 130200.00 | 94500.00 | M/S M L BROTHER
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 135.00 | Sqm | 11.00 | 300.00 | 40500.00 | 200.00 | 27000.00 | 300.00 | 40500.00 | 27000.00 | M/S VIKASH KUMAR
7.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 55.00 | Cum | 10.00 | 6500.00 | 357500.00 | 7500.00 | 412500.00 | 7600.00 | 418000.00 | 357500.00 | M/S M L BROTHER
8.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 138.00 | Cum | 22.00 | 10000.00 | 1380000.00 | 7900.00 | 1090200.00 | 8700.00 | 1200600.00 | 1090200.00 | M/S VIKASH KUMAR
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 485.00 | Sqm | 0.00 | 350.00 | 169750.00 | 250.00 | 121250.00 | 600.00 | 291000.00 | 121250.00 | M/S VIKASH KUMAR
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 462.00 | Sqm | 1.25 | 350.00 | 161700.00 | 400.00 | 184800.00 | 535.00 | 247170.00 | 161700.00 | M/S M L BROTHER
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts. | 196.00 | Sqm | 0.00 | 350.00 | 68600.00 | 400.00 | 78400.00 | 800.00 | 156800.00 | 68600.00 | M/S M L BROTHER
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6124.00 | Kg | 100.00 | 95.00 | 581780.00 | 74.00 | 453176.00 | 90.00 | 551160.00 | 453176.00 | M/S VIKASH KUMAR
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 18589.00 | Kg | 53.00 | 97.00 | 1803133.00 | 74.00 | 1375586.00 | 90.00 | 1673010.00 | 1375586.00 | M/S VIKASH KUMAR
14.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 15.00 | Cum | 10.00 | 8500.00 | 127500.00 | 6000.00 | 90000.00 | 6900.00 | 103500.00 | 90000.00 | M/S VIKASH KUMAR
15.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 10 average compressive strength in super structure above plinth level up to floor V level in : Cement mortar 1:6 (1 cement : 6 Coarse sand) | 113.00 | Cum | 11.00 | 7000.00 | 791000.00 | 6400.00 | 723200.00 | 7150.00 | 807950.00 | 723200.00 | M/S VIKASH KUMAR
16.00 | Half brick masonry with non modular fly ash bricks of class designation 10, conformingio IS :12894, in super structure above plinth and upto floor V level. Cement mortar 1 : 4 (1 cement : 4 coarse sand) | 320.00 | Sqm | 10.00 | 700.00 | 224000.00 | 900.00 | 288000.00 | 900.00 | 288000.00 | 224000.00 | M/S M L BROTHER
17.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 65.00 | Cum | 22.00 | 1200.00 | 78000.00 | 1200.00 | 78000.00 | 1800.00 | 117000.00 | 78000.00 | M/S VIKASH KUMAR, M/S M L BROTHER
18.00 | Filling available excavated earth (excluding rock) in trenches, plinth,sides of foundations etc. in layers not exceeding 20cm in depth,consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 48.00 | Cum | 0.00 | 120.00 | 5760.00 | 150.00 | 7200.00 | 190.00 | 9120.00 | 5760.00 | M/S M L BROTHER
19.00 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75 mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 73.00 | Sqm | 1.25 | 500.00 | 36500.00 | 550.00 | 40150.00 | 650.00 | 47450.00 | 36500.00 | M/S M L BROTHER
20.00 | Providing and fixing 0.50 mm thick GI chicken mesh of hexagonal aperture of 15 mm size, at the junction of Concrete and Brick Masonary before plaster work as per direction of Engineer-in-charge. | 181.00 | Sqm | 0.00 | 550.00 | 99550.00 | 200.00 | 36200.00 | 350.00 | 63350.00 | 36200.00 | M/S VIKASH KUMAR
21.00 | 12 mm cement plaster: 1:6 (1 cement : 6 fine sand) | 408.00 | Sqm | 100.00 | 200.00 | 81600.00 | 235.00 | 95880.00 | 320.00 | 130560.00 | 81600.00 | M/S M L BROTHER
22.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 782.00 | Sqm | 53.00 | 250.00 | 195500.00 | 245.00 | 191590.00 | 300.00 | 234600.00 | 191590.00 | M/S VIKASH KUMAR
23.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 614.00 | Sqm | 10.00 | 200.00 | 122800.00 | 210.00 | 128940.00 | 250.00 | 153500.00 | 122800.00 | M/S M L BROTHER
24.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1022.00 | Sqm | 11.00 | 70.00 | 71540.00 | 100.00 | 102200.00 | 150.00 | 153300.00 | 71540.00 | M/S M L BROTHER
25.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 liter/10 sqm) | 691.00 | Sqm | 10.00 | 100.00 | 69100.00 | 115.00 | 79465.00 | 150.00 | 103650.00 | 69100.00 | M/S M L BROTHER
26.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 1022.00 | Sqm | 22.00 | 100.00 | 102200.00 | 99.00 | 101178.00 | 180.00 | 183960.00 | 101178.00 | M/S VIKASH KUMAR
27.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 6.00 | Sqm | 0.00 | 100.00 | 600.00 | 115.00 | 690.00 | 200.00 | 1200.00 | 600.00 | M/S M L BROTHER
28.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | 1.50 | Cum | 1.25 | 115000.00 | 172500.00 | 125000.00 | 187500.00 | 150000.00 | 225000.00 | 172500.00 | M/S M L BROTHER
29.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Float glass panes: 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). | 2.00 | Sqm | 0.00 | 5590.00 | 11180.00 | 2000.00 | 4000.00 | 2400.00 | 4800.00 | 4000.00 | M/S VIKASH KUMAR
30.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 37.80 | Sqm | 100.00 | 3500.00 | 132300.00 | 2200.00 | 83160.00 | 2000.00 | 75600.00 | 75600.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
31.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 37.80 | Sqm | 53.00 | 300.00 | 11340.00 | 200.00 | 7560.00 | 400.00 | 15120.00 | 7560.00 | M/S VIKASH KUMAR
32.00 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): Rectangular or square | 37.80 | Sqm | 10.00 | 200.00 | 7560.00 | 150.00 | 5670.00 | 180.00 | 6804.00 | 5670.00 | M/S VIKASH KUMAR
33.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 18.00 | Each | 11.00 | 500.00 | 9000.00 | 290.00 | 5220.00 | 400.00 | 7200.00 | 5220.00 | M/S VIKASH KUMAR
34.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 18.00 | Each | 10.00 | 1200.00 | 21600.00 | 800.00 | 14400.00 | 880.00 | 15840.00 | 14400.00 | M/S VIKASH KUMAR
35.00 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 18.00 | Each | 22.00 | 1000.00 | 18000.00 | 600.00 | 10800.00 | 900.00 | 16200.00 | 10800.00 | M/S VIKASH KUMAR
36.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 125 mm | 36.00 | Each | 0.00 | 300.00 | 10800.00 | 175.00 | 6300.00 | 200.00 | 7200.00 | 6300.00 | M/S VIKASH KUMAR
37.00 | Providing and fixing bright finished brass butt hinges with necessary screws etc. complete : 25x70x4 mm (ordinary type) | 72.00 | Each | 1.25 | 300.00 | 21600.00 | 100.00 | 7200.00 | 175.00 | 12600.00 | 7200.00 | M/S VIKASH KUMAR
38.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 18.00 | Each | 0.00 | 200.00 | 3600.00 | 95.00 | 1710.00 | 120.00 | 2160.00 | 1710.00 | M/S VIKASH KUMAR
39.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls .15 mm nominal dia Pipes | 71.00 | Mtr. | 100.00 | 250.00 | 17750.00 | 300.00 | 21300.00 | 450.00 | 31950.00 | 17750.00 | M/S M L BROTHER
40.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls .20 mm nominal dia Pipes | 50.00 | Mtr. | 53.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 500.00 | 25000.00 | 15000.00 | M/S M L BROTHER
41.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls .25 mm nominal dia Pipes | 22.00 | Mtr. | 10.00 | 300.00 | 6600.00 | 350.00 | 7700.00 | 600.00 | 13200.00 | 6600.00 | M/S M L BROTHER
42.00 | Providing and fixing C.P. brass angle valve of Jaquar make- Model No- CON-053KN/ Kohler 11568IN-7-CP/ or of approved equivalent quality with all necessary fittings etc complete as per satisfaction & direction of Engineer- Incharge. | 20.00 | Each | 11.00 | 1200.00 | 24000.00 | 600.00 | 12000.00 | 700.00 | 14000.00 | 12000.00 | M/S VIKASH KUMAR
43.00 | Providing & fixing C.P. hand spray with lever control (health faucet) (Jaquar cat. no. ALD- 573/ Kohler Cat No. K-12927IN-CP or approved equivalent), flexible hose 1 m-1.2m long connection with C.P. holder for hand spray complete with all necessary fittings etc complete as per satisfaction & direction of Engineer- Incharge. | 4.00 | Each | 10.00 | 1500.00 | 6000.00 | 1300.00 | 5200.00 | 1250.00 | 5000.00 | 5000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
44.00 | Providing and fixing 32mm dia Bottle Trap (Jaquar cat.no.ALD-769L300X190 / Kohler cat no. K-7314IN-CP or approved equivalent) and other ancillary fittings, cutting and making good the walls wherever required complete as per satisfaction & directions of Engineer-Incharge. | 8.00 | Each | 22.00 | 1500.00 | 12000.00 | 1600.00 | 12800.00 | 1600.00 | 12800.00 | 12000.00 | M/S M L BROTHER
45.00 | Providing & fixing Stainless Steel floor push nahani trap of size 150 mm x 150 mm at floor level i.c proper finishing of joint in flooring etc complete as per direction of Engineer-Incharge. | 8.00 | Each | 0.00 | 2000.00 | 16000.00 | 200.00 | 1600.00 | 900.00 | 7200.00 | 1600.00 | M/S VIKASH KUMAR
46.00 | Providing and fixing white vitreous china battery based infrared sensor operated urinal of approx. size 610 x 390 x 370 mm having pre & post flushing with water (250 ml & 500 ml consumption), having water inlet from back side, including fixing to wall with suitable brackets all as per manufacturers specification and direction of Engineer-in-charge. | 4.00 | Each | 1.25 | 16500.00 | 66000.00 | 6000.00 | 24000.00 | 7800.00 | 31200.00 | 24000.00 | M/S VIKASH KUMAR
47.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 4.00 | Each | 0.00 | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 6400.00 | 25600.00 | 20000.00 | M/S VIKASH KUMAR
48.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 8.00 | Each | 100.00 | 3000.00 | 24000.00 | 2000.00 | 16000.00 | 2200.00 | 17600.00 | 16000.00 | M/S VIKASH KUMAR
49.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length : 15 mm nominal bore | 20.00 | Each | 53.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 95.00 | 1900.00 | 1900.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
50.00 | Providing and fixing mirror of superior glass make saint Gobain/ Modiguard or equivalent with bevelled edge, thickness 5mm fitted with 50mm SS studs with screws and cap etc all complete as per satisfaction of Engineer-in-charge | 5.40 | SQM | 10.00 | 4000.00 | 21600.00 | 1600.00 | 8640.00 | 2000.00 | 10800.00 | 8640.00 | M/S VIKASH KUMAR
51.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 8.00 | Each | 11.00 | 1000.00 | 8000.00 | 600.00 | 4800.00 | 500.00 | 4000.00 | 4000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
52.00 | Providing & fixing push type liquid soap dispenser ROCA Model No- RA816391001/ Jaquar Model No- CAN-1137N/ Kohler K-10712D-CP or approved equivalent including all fittings and accessories required as per satisfaction & direction of Engineer- Incharge. | 4.00 | Each | 10.00 | 1900.00 | 7600.00 | 2900.00 | 11600.00 | 3500.00 | 14000.00 | 7600.00 | M/S M L BROTHER
53.00 | Providing and fixing Toilet Paper Holder Kohler Model No 5632IN-CP/ Jaquar Model No AHS-1553/ ROCA RA816070159 or approved equivalent including all fittings and accessories required as per satisfaction & direction of Engineer- Incharge. | 4.00 | Each | 22.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 1000.00 | 4000.00 | 4000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT, M/S M L BROTHER
54.00 | Providing & fixing of modular toilet cubicles (Make- Merino/ Greenlam/ Stylam or approved equivalent) consisting of high pressure 12mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters. The cubicle shall have dimensions of 1500mm depth x 900mm width x 2100mm height (or as required as per site condition) with a door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 100mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) U Channel, SS "F" Channel (only corner unit), SS door stopper channel, SS Top Rail, SS coat hook, SS Privacy Thumb turn c/w Occupancy Indicator, SS door knob, SS Spring loaded butt hinges with cover, SS Adjustable foot- 316 Grade, Rubber lining for door stopper, screws & Wall plungs, etc. Complete as per direction & satisfaction of Engineer-Incharge. | 43.00 | Sqm | 0.00 | 1500.00 | 64500.00 | 7500.00 | 322500.00 | 4000.00 | 172000.00 | 64500.00 | M/S M L BROTHER
55.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.110 mm diameter | 58.00 | Mtr | 1.25 | 300.00 | 17400.00 | 270.00 | 15660.00 | 360.00 | 20880.00 | 15660.00 | M/S VIKASH KUMAR
56.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single pushfit Coupler 110 mm | 10.00 | Each | 0.00 | 400.00 | 4000.00 | 95.00 | 950.00 | 120.00 | 1200.00 | 950.00 | M/S VIKASH KUMAR
57.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door 110x110x110 mm | 10.00 | Each | 100.00 | 400.00 | 4000.00 | 200.00 | 2000.00 | 210.00 | 2100.00 | 2000.00 | M/S VIKASH KUMAR
58.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 10.00 | Each | 53.00 | 300.00 | 3000.00 | 110.00 | 1100.00 | 150.00 | 1500.00 | 1100.00 | M/S VIKASH KUMAR
59.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 10.00 | Each | 10.00 | 300.00 | 3000.00 | 95.00 | 950.00 | 120.00 | 1200.00 | 950.00 | M/S VIKASH KUMAR
60.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 40.00 | Each | 11.00 | 100.00 | 4000.00 | 100.00 | 4000.00 | 350.00 | 14000.00 | 4000.00 | M/S VIKASH KUMAR, M/S M L BROTHER
61.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 8.00 | Each | 10.00 | 200.00 | 1600.00 | 40.00 | 320.00 | 50.00 | 400.00 | 320.00 | M/S VIKASH KUMAR
62.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying :(a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 61.00 | Sqm | 22.00 | 600.00 | 36600.00 | 500.00 | 30500.00 | 600.00 | 36600.00 | 30500.00 | M/S VIKASH KUMAR
63.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs.(c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge.(d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge :22.7.1 With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 257.00 | Sqm | 0.00 | 750.00 | 192750.00 | 900.00 | 231300.00 | 400.00 | 102800.00 | 102800.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
64.00 | Providing & Fixing Glass urinal partition (Make- Merino/ Greenlam/ Stylam or approved equivalent) consisting of high pressure 12mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards. The Glass urinal partition shall have dimensions of 500mm width x 1200mm height (or as required as per site condition) Using SS Right Angle Brackets, Screws & Wall plungs, etc. complete as per the directions & Satisfaction of Engineer in charge. | 4.00 | Each | 1.25 | 2500.00 | 10000.00 | 600.00 | 2400.00 | 680.00 | 2720.00 | 2400.00 | M/S VIKASH KUMAR
65.00 | Providing and fixing rectangular high density polyethylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately. | 4000.00 | Litre | 0.00 | 9.00 | 36000.00 | 9.00 | 36000.00 | 11.00 | 44000.00 | 36000.00 | M/S VIKASH KUMAR, M/S M L BROTHER
66.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 32 mm nominal bore. | 2.00 | Each | 100.00 | 1300.00 | 2600.00 | 600.00 | 1200.00 | 675.00 | 1350.00 | 1200.00 | M/S VIKASH KUMAR
67.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work 32 mm dia nominal bore | 17.00 | Mtr | 53.00 | 500.00 | 8500.00 | 450.00 | 7650.00 | 525.00 | 8925.00 | 7650.00 | M/S VIKASH KUMAR
68.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc.etc. Internal work - Exposed on wall 32 mm dia nominal bore | 30.00 | Mtr | 10.00 | 600.00 | 18000.00 | 450.00 | 13500.00 | 650.00 | 19500.00 | 13500.00 | M/S VIKASH KUMAR
69.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 4.00 | Each | 11.00 | 500.00 | 2000.00 | 200.00 | 800.00 | 280.00 | 1120.00 | 800.00 | M/S VIKASH KUMAR
70.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent | 37.00 | Sqm | 10.00 | 4000.00 | 148000.00 | 3000.00 | 111000.00 | 4000.00 | 148000.00 | 111000.00 | M/S VIKASH KUMAR
71.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 376.00 | Sqm | 22.00 | 1000.00 | 376000.00 | 1050.00 | 394800.00 | 400.00 | 150400.00 | 150400.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
72.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete .Size of Tile 600x600 mm | 29.00 | Sqm | 0.00 | 1000.00 | 29000.00 | 1100.00 | 31900.00 | 1550.00 | 44950.00 | 29000.00 | M/S M L BROTHER
73.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 132.00 | Sqm | 1.25 | 1000.00 | 132000.00 | 950.00 | 125400.00 | 950.00 | 125400.00 | 125400.00 | M/S VIKASH KUMAR, M/S. SALASAR A2Z BROKING & INVESTMENT
74.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 400.00 | Kg | 0.00 | 550.00 | 220000.00 | 400.00 | 160000.00 | 400.00 | 160000.00 | 160000.00 | M/S VIKASH KUMAR, M/S. SALASAR A2Z BROKING & INVESTMENT
75.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion .For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 250.00 | Kg | 100.00 | 550.00 | 137500.00 | 450.00 | 112500.00 | 400.00 | 100000.00 | 100000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
76.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 54.00 | Sqm | 53.00 | 1000.00 | 54000.00 | 1100.00 | 59400.00 | 600.00 | 32400.00 | 32400.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
77.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P.brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 75.00 | Kg | 10.00 | 150.00 | 11250.00 | 500.00 | 37500.00 | 600.00 | 45000.00 | 11250.00 | M/S M L BROTHER
78.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on interlocking metal powder coated T-Grid of hot dipped galvanised iron section of 0.40 mm thick on Silhouette profile,rotary stiched double webbed white with 6mm reveal profile (white/black),comprising of main-T runners of size 15x42mm of length 3000 mm, cross - T of size 15x42 mm of length 1200 mm and secondary intermediate crossT of size 15x42 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 22x19x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick integral densified micro edge light weight calcium silicate false ceiling tiles | 218.00 | SQM | 11.00 | 1500.00 | 327000.00 | 1625.00 | 354250.00 | 1450.00 | 316100.00 | 316100.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
79.00 | Providing and laying cement concrete in retaining walls, return walls,walls (any thickness) including attached pilasters, columns, piers,abutments, pillars, posts, struts, buttresses, string or lacing courses,parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering,shuttering and finishing: 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.00 | Cum | 10.00 | 7000.00 | 14000.00 | 9000.00 | 18000.00 | 10000.00 | 20000.00 | 14000.00 | M/S M L BROTHER
80.00 | Supply of five star inverter based split type air conditioners with heating facility & minimum cooling capacity of 24000 BTU per hours, with minimum 4 ISEER, compressors, copper condenser operating on refrigrant R-32 wall mounting suitable for operation on 230V, 50 hz. Single phase, A.C supply complete with filter, drain & refrigerant pipe with insulation & electrical connection with wire complete as reqd. (Note : cost of drain (UPVC),regrigerant piping with insulation and electrical cable upto 10 feet length is included with this item) | 7.00 | Each | 22.00 | 85000.00 | 595000.00 | 59000.00 | 413000.00 | 32000.00 | 224000.00 | 224000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
81.00 | Supply of five star inverter based split type air conditioners with heating facility & minimum cooling capacity of 18000 BTU per hours, with minimum 4 ISEER, compressors, copper condenser operating on refrigrant R-32 wall mounting suitable for operation on 230V, 50 hz. Single phase, A.C supply complete with filter, drain & refrigerant pipe with insulation & electrical connection with wire complete as reqd. (Note : cost of drain (UPVC),regrigerant piping with insulation and electrical cable upto 10 feet length is included with this item) | 1.00 | Each | 0.00 | 75000.00 | 75000.00 | 56000.00 | 56000.00 | 28000.00 | 28000.00 | 28000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
82.00 | Installation, testing and commissoning of for 1.5 TR split type air conditioner i/c Copper piping work, providing stand for outdoor unit , compelete with wall cutting, hole cutting,plastering etc. as reqd. | 1.00 | Each | 1.25 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 5500.00 | 5500.00 | 2000.00 | M/S M L BROTHER
83.00 | Installation, testing and commissoning of for 2 TR split type air conditioner i/c Copper piping work, providing stand for outdoor unit , compelete with wall cutting, hole cutting,plastering etc. as reqd. | 7.00 | Each | 0.00 | 1500.00 | 10500.00 | 3000.00 | 21000.00 | 3500.00 | 24500.00 | 10500.00 | M/S M L BROTHER
84.00 | Supply and Fixing of extra copper piping and cable for 1.5 - 2 TR Split AC including chipping and minor civil work complete with all accessories as required | 40.00 | Meter | 100.00 | 300.00 | 12000.00 | 800.00 | 32000.00 | 1100.00 | 44000.00 | 12000.00 | M/S M L BROTHER
85.00 | Drain Pipe (UPVC) Supply, installation, testing and commissioning of Drain piping made of UPVC pipe as per IS complete with fittings, supports etc. as per specifications 25 mm dia . | 80.00 | Meter | 53.00 | 100.00 | 8000.00 | 200.00 | 16000.00 | 380.00 | 30400.00 | 8000.00 | M/S M L BROTHER
86.00 | Supply and fixing of 25 Amp,MCB protected socket box (PVC) suitable for upto 2 TR AC | 12.00 | Each | 10.00 | 1900.00 | 22800.00 | 1800.00 | 21600.00 | 2000.00 | 24000.00 | 21600.00 | M/S VIKASH KUMAR
87.00 | TPN double door MCB DB: Supplying and fixing following way, three pole and neutral, sheet steel, double door MCB Distribution Board (per phase isolation type), 415 volts, on surface/recess, complete with copper busbar, neutral busbar, earth bar, din bar, detachable gland plate, interconnections, blanking plates, phosphatized and powder painted including earthing etc. as required. (But without MCB/ RCCB/isolator). 8 way (8+24), Double Door, Horizontal type. | 2.00 | Job | 11.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 10000.00 | M/S VIKASH KUMAR
88.00 | S/F 63A, 10kA, 4P MCB: Supplying and fixing of 63A, Four pole, 415V, 'C' Series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Nos | 10.00 | 6000.00 | 12000.00 | 4500.00 | 9000.00 | 4000.00 | 8000.00 | 8000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
89.00 | S/F 63A, 300 mA, 10kA, 4P RCCB: Supplying and fixing of 63A, 4P, 230V, 'C' Series, RCCB with 300 mA leakage current in the existing RCCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Nos | 22.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 4900.00 | 9800.00 | 7000.00 | M/S VIKASH KUMAR
90.00 | S/F 6-32A, 10kA, SP MCB Supplying and fixing 6 amps-32 amps rating, Single Pole, 240 volts, 'C' series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 50.00 | Nos | 0.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 400.00 | 20000.00 | 12500.00 | M/S VIKASH KUMAR, M/S M L BROTHER
91.00 | SPN double door MCB DB: Supplying and fixing following way, three pole and neutral, sheet steel, double door MCB Distribution Board (per phase isolation type), 415 volts, on surface/recess, complete with copper busbar, neutral busbar, earth bar, din bar, detachable gland plate, interconnections, blanking plates, phosphatized and powder painted including earthing etc. as required. (But without MCB/ RCCB/isolator). 6 way (6+2), Double Door, Horizontal type. | 5.00 | Job | 1.25 | 5000.00 | 25000.00 | 2000.00 | 10000.00 | 3800.00 | 19000.00 | 10000.00 | M/S VIKASH KUMAR
92.00 | S/F 32A, 10kA, DP MCB Supplying and fixing 32 amps rating, Single Pole, 240 volts, 'C' series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 5.00 | Nos | 0.00 | 350.00 | 1750.00 | 600.00 | 3000.00 | 1200.00 | 6000.00 | 1750.00 | M/S M L BROTHER
93.00 | S/F 6-32A, 10kA, SP MCB Supplying and fixing 6 amps-32 amps rating, Single Pole, 240 volts, 'C' series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 30.00 | Nos | 100.00 | 350.00 | 10500.00 | 250.00 | 7500.00 | 400.00 | 12000.00 | 7500.00 | M/S VIKASH KUMAR
94.00 | Wiring for circuit/ submain wiring alongwith earth wire with the follwing sizes of FRLS PVC insulated copper conductor, single core cable in surface/recessed steel conduit as required. Size 2x2.5 sq.mm + 1x2.5 sq. mm earth wire | 500.00 | Meter | 53.00 | 90.00 | 45000.00 | 250.00 | 125000.00 | 480.00 | 240000.00 | 45000.00 | M/S M L BROTHER
95.00 | Wiring for circuit/ submain wiring alongwith earth wire with the follwing sizes of FRLS PVC insulated copper conductor, single core cable in surface/recessed steel conduit as required. Size 2x4 sq.mm + 1x4 sq. mm earth wire | 200.00 | Meter | 10.00 | 120.00 | 24000.00 | 350.00 | 70000.00 | 480.00 | 96000.00 | 24000.00 | M/S M L BROTHER
96.00 | Supply of 36 Watt (not more than 110% of the rated capacity) indoor recessed mounted 2 x 2 flat diffused panel LED light fixture with minimum system lumens efficacy > / = 100 lumens per watt, minimum lifetime of 50000 burning hours, IP-20 protected, internal surge protection 2.5 kv, Aluminium diacast housing with i/c all accessories like LED electronic driver suitable for operation on single phase, 230 V, 50 Hz, AC supply complete etc as required as per enclosed technical specification. | 60.00 | Each | 11.00 | 3000.00 | 180000.00 | 2500.00 | 150000.00 | 6200.00 | 372000.00 | 150000.00 | M/S VIKASH KUMAR
97.00 | Installation, testing and commissioning of pre-wired, recess mounted fluorescent fitting / compact fluorescent fitting/LED fitting/aries etc of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, stranded, copper conductor, single core cable with flexible conduits and coupler and earthing etc. as required | 60.00 | Each | 10.00 | 100.00 | 6000.00 | 250.00 | 15000.00 | 420.00 | 25200.00 | 6000.00 | M/S M L BROTHER
98.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, withmodular switch, modular plate, suitable GI box and earthing thepoint with 1.5sq.mmFRLS PVC insulated copper conductorsingle core cable etc. as required. (Group-C). | 50.00 | Point | 22.00 | 550.00 | 27500.00 | 1100.00 | 55000.00 | 1680.00 | 84000.00 | 27500.00 | M/S M L BROTHER
99.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required (Group-C). | 20.00 | Point | 0.00 | 450.00 | 9000.00 | 1000.00 | 20000.00 | 1550.00 | 31000.00 | 9000.00 | M/S M L BROTHER
100.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. a) 5/6 A switch | 80.00 | Each | 1.25 | 100.00 | 8000.00 | 60.00 | 4800.00 | 1000.00 | 80000.00 | 4800.00 | M/S VIKASH KUMAR
101.00 | b) 15/16 A switch | 25.00 | Each | 0.00 | 120.00 | 3000.00 | 150.00 | 3750.00 | 110.00 | 2750.00 | 2750.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
102.00 | c) 3 pin 5/6 A socket outlet | 80.00 | Each | 100.00 | 120.00 | 9600.00 | 150.00 | 12000.00 | 220.00 | 17600.00 | 9600.00 | M/S M L BROTHER
103.00 | d) 6 pin 15/16 A socket outlet | 25.00 | Each | 53.00 | 150.00 | 3750.00 | 210.00 | 5250.00 | 220.00 | 5500.00 | 3750.00 | M/S M L BROTHER
104.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. a) 3 Module (100mmX75mm) | 25.00 | Each | 10.00 | 100.00 | 2500.00 | 200.00 | 5000.00 | 320.00 | 8000.00 | 2500.00 | M/S M L BROTHER
105.00 | b) 6 Module (200mmX75mm | 40.00 | Each | 11.00 | 100.00 | 4000.00 | 310.00 | 12400.00 | 800.00 | 32000.00 | 4000.00 | M/S M L BROTHER
106.00 | Supply of 4 core Copper Armoured Power Cable size 35 sq mm, PVC Sheathed XLPE insulated cable. | 150.00 | Meter | 10.00 | 1000.00 | 150000.00 | 3100.00 | 465000.00 | 4800.00 | 720000.00 | 150000.00 | M/S M L BROTHER
107.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 70 sqmm | 2.00 | Set | 22.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 800.00 | 1600.00 | 1000.00 | M/S VIKASH KUMAR, M/S M L BROTHER
108.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required. | 150.00 | Meter | 0.00 | 100.00 | 15000.00 | 30.00 | 4500.00 | 30.00 | 4500.00 | 4500.00 | M/S VIKASH KUMAR, M/S. SALASAR A2Z BROKING & INVESTMENT
109.00 | Supplying and installing double wall corrugated piples (DWC) of HDPE (IS 14930 Part-II marked ) for cable laid underground with necessary connecting sockets/couplings, tees belwo road/ ground surface, including excavation, back fillg with excavated material with ramming and and making the surface good. size 63 mm couside dia | 150.00 | Meter | 1.25 | 350.00 | 52500.00 | 125.00 | 18750.00 | 130.00 | 19500.00 | 18750.00 | M/S VIKASH KUMAR
110.00 | SITC of Metal body exhaust fan , sweep size 300mm ,wall mount corded electric , suitable for operating volatage 230 V AC | 6.00 | Each | 0.00 | 5000.00 | 30000.00 | 2100.00 | 12600.00 | 4800.00 | 28800.00 | 12600.00 | M/S VIKASH KUMAR
111.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Each | 100.00 | 8000.00 | 16000.00 | 5100.00 | 10200.00 | 9000.00 | 18000.00 | 10200.00 | M/S VIKASH KUMAR
112.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 40.00 | Meter | 53.00 | 1000.00 | 40000.00 | 400.00 | 16000.00 | 520.00 | 20800.00 | 16000.00 | M/S VIKASH KUMAR
113.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 40.00 | Meter | 10.00 | 500.00 | 20000.00 | 140.00 | 5600.00 | 200.00 | 8000.00 | 5600.00 | M/S VIKASH KUMAR
114.00 | D LINK SWITCH 24 PORT | 1.00 | Each | 11.00 | 1000.00 | 1000.00 | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 1000.00 | M/S M L BROTHER
115.00 | SUPPLY OF CAT 6 CABLE UTP CABLE | 1220.00 | Each | 10.00 | 50.00 | 61000.00 | 35.00 | 42700.00 | 40.00 | 48800.00 | 42700.00 | M/S VIKASH KUMAR
116.00 | SUPPLY OF CAT6 PATCH CORD -3MTR | 15.00 | Each | 22.00 | 1000.00 | 15000.00 | 185.00 | 2775.00 | 350.00 | 5250.00 | 2775.00 | M/S VIKASH KUMAR
117.00 | SUPPLY OF CAT6 PATCH CORD-5MTR | 10.00 | Each | 0.00 | 1500.00 | 15000.00 | 345.00 | 3450.00 | 350.00 | 3500.00 | 3450.00 | M/S VIKASH KUMAR
118.00 | SUPPLY OF CAT6 PATCH CORD-1MTR PATCH CORD | 20.00 | Each | 1.25 | 2000.00 | 40000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 3000.00 | M/S VIKASH KUMAR, M/S. SALASAR A2Z BROKING & INVESTMENT
119.00 | Supply , Installation , Testing & Commissioning Cat6 24Port UTP Patch panel fully loaded | 1.00 | Each | 0.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 9800.00 | 9800.00 | 5000.00 | M/S VIKASH KUMAR
120.00 | Supply , Installation , Testing & Commissioning 9U network Rack with all Accessories | 1.00 | Each | 100.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 7600.00 | 7600.00 | 5000.00 | M/S VIKASH KUMAR
121.00 | Supply of RJ-45 Connector | 100.00 | Each | 53.00 | 50.00 | 5000.00 | 4.00 | 400.00 | 4.00 | 400.00 | 400.00 | M/S VIKASH KUMAR, M/S. SALASAR A2Z BROKING & INVESTMENT
122.00 | Supply of 6 Core 5M OFC Cable | 100.00 | Each | 10.00 | 200.00 | 20000.00 | 22.00 | 2200.00 | 25.00 | 2500.00 | 2200.00 | M/S VIKASH KUMAR
123.00 | Supply , Installation , Testing & Commission LIU 12Port LCDuplex | 1.00 | Each | 11.00 | 5154.00 | 5154.00 | 4000.00 | 4000.00 | 7600.00 | 7600.00 | 4000.00 | M/S VIKASH KUMAR
124.00 | Supply , Installation , Testing & Commission LC-LC OFF Patch cord | 8.00 | Each | 10.00 | 500.00 | 4000.00 | 250.00 | 2000.00 | 400.00 | 3200.00 | 2000.00 | M/S VIKASH KUMAR
125.00 | Supply ,Installation , Testing & Commission I/O Complete (Telephone and Lan ) | 40.00 | Each | 22.00 | 200.00 | 8000.00 | 375.00 | 15000.00 | 360.00 | 14400.00 | 8000.00 | M/S M L BROTHER
126.00 | Supply of PVC Pipe 25mm | 200.00 | Each | 0.00 | 200.00 | 40000.00 | 68.00 | 13600.00 | 35.00 | 7000.00 | 7000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
127.00 | Supply of Cable Casing | 200.00 | Each | 1.25 | 200.00 | 40000.00 | 70.00 | 14000.00 | 55.00 | 11000.00 | 11000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
128.00 | Supply of PVC Flexible | 50.00 | Each | 0.00 | 200.00 | 10000.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 1500.00 | M/S VIKASH KUMAR
129.00 | D LINK SWITCH 5PORT GIGABIT | 5.00 | Each | 100.00 | 300.00 | 1500.00 | 1200.00 | 6000.00 | 1520.00 | 7600.00 | 1500.00 | M/S M L BROTHER
130.00 | Laying Of Cable UTP or OFC through Conduit / wall / Casing / Trench / Cable Tray etc | 1220.00 | Each | 53.00 | 50.00 | 61000.00 | 20.00 | 24400.00 | 35.00 | 42700.00 | 24400.00 | M/S VIKASH KUMAR
131.00 | Laying of Conduit or casing or PVC flexible | 450.00 | Each | 10.00 | 50.00 | 22500.00 | 30.00 | 13500.00 | 40.00 | 18000.00 | 13500.00 | M/S VIKASH KUMAR
132.00 | Crimping of RJ45 | 100.00 | Each | 11.00 | 50.00 | 5000.00 | 60.00 | 6000.00 | 4.00 | 400.00 | 400.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
133.00 | Supply , Installation , Testing & Commissioning Push Button Telephone Set-Non CLI | 5.00 | Each | 10.00 | 100.00 | 500.00 | 600.00 | 3000.00 | 700.00 | 3500.00 | 500.00 | M/S M L BROTHER
134.00 | Supply , Installation , Testing & Commissioning Push Button Telephone Set-CLI | 5.00 | Each | 22.00 | 200.00 | 1000.00 | 1000.00 | 5000.00 | 1400.00 | 7000.00 | 1000.00 | M/S M L BROTHER
135.00 | Supply , Installation , Testing & Commissioning Crone Box 20 pair | 2.00 | Each | 0.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 1450.00 | 2900.00 | 1000.00 | M/S M L BROTHER
136.00 | Supply , Installation , Configuration , testing &Commissioning EPBX getway (16 port) | 2.00 | Each | 1.25 | 2000.00 | 4000.00 | 18000.00 | 36000.00 | 34000.00 | 68000.00 | 4000.00 | M/S M L BROTHER
137.00 | Supply , Laying , Testing & Commission telephone wire | 300.00 | Each | 0.00 | 100.00 | 30000.00 | 30.00 | 9000.00 | 40.00 | 12000.00 | 9000.00 | M/S VIKASH KUMAR
138.00 | Supply , Installation , Testing & Commissioning RJ-11 Connector | 50.00 | Each | 100.00 | 200.00 | 10000.00 | 40.00 | 2000.00 | 5.00 | 250.00 | 250.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
| Total in Figures |  |  |  |  | 11465797.00 |  | 10750920.00 |  | 12166649.00
Lowest Amount Quoted BY: M/S VIKASH KUMAR(10750920.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of additional AAI office and airlines office at Darbhanga Airport Tender ID: 2025_AAI_223937_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S VIKASH KUMAR (BID ID -810976) | 10750920.00 | L1
| 2 | M/S M L BROTHER (BID ID -815779) | 11465797.00 | L2
| 3 | M/S. SALASAR A2Z BROKING & INVESTMENT (BID ID -815575) | 12166649.00 | L3