## BoQ1
Government eProcurement System Created By: Ajay Sahu Created Date/Time: 27-Feb-2025 03:57 PM Tender Title: Vertical Extension of existing CISF Barrack and associated work to accommodate proposed increased strength of CISF at Jabalpur Airport Tender ID: 2025_AAI_224368_1
Tender Inviting Authority: AGM (E-C), Airports Authority of India, Jabalpur Airport, Jabalpur
Name of Work : Vertical Extension of existing CISF Barrack and associated work to accommodate proposed increased strength of CISF at Jabalpur Airport, Jabalpur.
Tender ID - 2025_AAI_224368_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Cupid Enterprises (GSTN-23AAIFC2788B1ZP) BID ID -818402 |  | satnam singh khanuja (GSTN-NA) BID ID -820494
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. All kinds of soil | 151.00 | Cum | 0.00 | 160.00 | 24160.00 | 170.00 | 25670.00 | 24160.00 | Cupid Enterprises
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 16.10 | Cum | 0.00 | 210.00 | 3381.00 | 220.00 | 3542.00 | 3381.00 | Cupid Enterprises
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas within AAI Premises (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and filling avaliable earth obtained for subgrade, embankment, depressions as instructed and in layers not exceeding 20 cm (loose) in depth (or any thickness as approved by the Engineer-in-Charge in case vibratory roller / soil compactor is used) including breaking clods, watering, consolidating each layer with power road roller 8 -10 tonnes weight or vibratory roller / soil compactor of adequate capacity under optimum moisture content condition to give at least 95% of the maximum laboratory dry density (modified Proctor density) as per IS : 2720 (part VIII) complete including leveling, fine dressing to the required grade, camber and slope complete as per MORTH specifications and as directed by the Engineer-in-Charge with all leads and lifts. (The item includes cost of excavation, carriage of avaliable earth upto work site for all leads and lifts and compaction . Payment shall be made for compacted quantity only | 96.53 | Cum | 0.00 | 210.00 | 20271.30 | 220.00 | 21236.60 | 20271.30 | Cupid Enterprises
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 56.12 | Sqm | 0.00 | 310.00 | 17397.20 | 330.00 | 18519.60 | 17397.20 | Cupid Enterprises
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 1743.42 | Sqm | 0.00 | 410.00 | 714802.20 | 440.00 | 767104.80 | 714802.20 | Cupid Enterprises
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Lintels, beams, plinth beams, girders, bressumers and cantilevers | 751.59 | Sqm | 0.00 | 350.00 | 263056.50 | 380.00 | 285604.20 | 263056.50 | Cupid Enterprises
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 546.70 | Sqm | 0.00 | 360.00 | 196812.00 | 380.00 | 207746.00 | 196812.00 | Cupid Enterprises
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Stairs, (excluding landings) except spiral-staircases | 21.09 | Sqm | 0.00 | 380.00 | 8014.20 | 380.00 | 8014.20 | 8014.20 | Cupid Enterprises, satnam singh khanuja
9.00 | Edges of slabs and breaks in floors and walls: Under 20 cm wide | 594.69 | Rmtr | 0.00 | 180.00 | 107044.20 | 180.00 | 107044.20 | 107044.20 | Cupid Enterprises, satnam singh khanuja
10.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 18.52 | Cum | 0.00 | 2500.00 | 46300.00 | 2500.00 | 46300.00 | 46300.00 | Cupid Enterprises, satnam singh khanuja
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 35.22 | Cum | 0.00 | 6200.00 | 218364.00 | 6200.00 | 218364.00 | 218364.00 | Cupid Enterprises, satnam singh khanuja
12.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately). All works above plinth level upto floor V level | 366.51 | Cum | 0.00 | 8500.00 | 3115335.00 | 8500.00 | 3115335.00 | 3115335.00 | Cupid Enterprises, satnam singh khanuja
13.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 183.26 | quintal | 0.00 | 750.00 | 137445.00 | 750.00 | 137445.00 | 137445.00 | Cupid Enterprises, satnam singh khanuja
14.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.: Thermo-Mechanically Treated bars of grade Fe-500D or more | 47646.30 | Kg | 0.00 | 140.00 | 6670482.00 | 140.00 | 6670482.00 | 6670482.00 | Cupid Enterprises, satnam singh khanuja
15.00 | Brick work with local available size bricks of class designation 3.5 in superstructure above plinth level upto floor V level in all shapes and sizes in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 224.81 | Cum | 0.00 | 6800.00 | 1528708.00 | 6800.00 | 1528708.00 | 1528708.00 | Cupid Enterprises, satnam singh khanuja
16.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 1390.00 | Sqm | 0.00 | 800.00 | 1112000.00 | 800.00 | 1112000.00 | 1112000.00 | Cupid Enterprises, satnam singh khanuja
17.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).: Sal Wood | 6.78 | Cum | 0.00 | 150000.00 | 1017000.00 | 150000.00 | 1017000.00 | 1017000.00 | Cupid Enterprises, satnam singh khanuja
18.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 97.02 | Sqm | 0.00 | 2000.00 | 194040.00 | 2000.00 | 194040.00 | 194040.00 | Cupid Enterprises, satnam singh khanuja
19.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 25 mm thick (for cupboard) including ISI marked nickle plated bright finished M.S. Piano Hinges with necessary screws | 201.60 | Sqm | 0.00 | 1800.00 | 362880.00 | 1800.00 | 362880.00 | 362880.00 | Cupid Enterprises, satnam singh khanuja
20.00 | Providing and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows, fixing with butt hinges of required size with necessary screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer-in-charge. (Note:- Butt hinges and necessary screws shall be paid separately): Second class teak wood: 30 mm thick shutters | 162.00 | Sqm | 0.00 | 3000.00 | 486000.00 | 3000.00 | 486000.00 | 486000.00 | Cupid Enterprises, satnam singh khanuja
21.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Float glass pane: 4 mm thick glass pane (weight not less than 10kg/sqm) | 81.00 | Sqm | 0.00 | 2000.00 | 162000.00 | 2000.00 | 162000.00 | 162000.00 | Cupid Enterprises, satnam singh khanuja
22.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.: Fixed to openings /wooden frames with rawl plugs screws etc. | 2425.00 | Kg | 0.00 | 170.00 | 412250.00 | 170.00 | 412250.00 | 412250.00 | Cupid Enterprises, satnam singh khanuja
23.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete.: With 2nd class teak wood beading 62X19 mm | 168.75 | Sqm | 0.00 | 900.00 | 151875.00 | 900.00 | 151875.00 | 151875.00 | Cupid Enterprises, satnam singh khanuja
24.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 16.00 | Each | 0.00 | 850.00 | 13600.00 | 850.00 | 13600.00 | 13600.00 | Cupid Enterprises, satnam singh khanuja
25.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 252.00 | Each | 0.00 | 280.00 | 70560.00 | 280.00 | 70560.00 | 70560.00 | Cupid Enterprises, satnam singh khanuja
26.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :: 200x10 mm | 308.00 | Each | 0.00 | 110.00 | 33880.00 | 110.00 | 33880.00 | 33880.00 | Cupid Enterprises, satnam singh khanuja
27.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 432.00 | Each | 0.00 | 75.00 | 32400.00 | 75.00 | 32400.00 | 32400.00 | Cupid Enterprises, satnam singh khanuja
28.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.: Twin rubber stopper | 18.00 | Each | 0.00 | 98.00 | 1764.00 | 98.00 | 1764.00 | 1764.00 | Cupid Enterprises, satnam singh khanuja
29.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 251.20 | Kg | 0.00 | 95.00 | 23864.00 | 95.00 | 23864.00 | 23864.00 | Cupid Enterprises, satnam singh khanuja
30.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.: Hot finished welded type tubes | 1331.80 | Kg | 0.00 | 150.00 | 199770.00 | 150.00 | 199770.00 | 199770.00 | Cupid Enterprises, satnam singh khanuja
31.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.: In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 308.00 | Each | 0.00 | 120.00 | 36960.00 | 120.00 | 36960.00 | 36960.00 | Cupid Enterprises, satnam singh khanuja
32.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 320.00 | Sqm | 0.00 | 1200.00 | 384000.00 | 1200.00 | 384000.00 | 384000.00 | Cupid Enterprises, satnam singh khanuja
33.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 1227.14 | Sqm | 0.00 | 1700.00 | 2086138.00 | 1700.00 | 2086138.00 | 2086138.00 | Cupid Enterprises, satnam singh khanuja
34.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 92.15 | Sqm | 0.00 | 1500.00 | 138225.00 | 1500.00 | 138225.00 | 138225.00 | Cupid Enterprises, satnam singh khanuja
35.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), including pointing the joints with white cement and matching pigments etc., complete. | 102.38 | Sqm | 0.00 | 1400.00 | 143332.00 | 1400.00 | 143332.00 | 143332.00 | Cupid Enterprises, satnam singh khanuja
36.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 2331.00 | Sqm | 0.00 | 420.00 | 979020.00 | 420.00 | 979020.00 | 979020.00 | Cupid Enterprises, satnam singh khanuja
37.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand | 1410.00 | Sqm | 0.00 | 330.00 | 465300.00 | 330.00 | 465300.00 | 465300.00 | Cupid Enterprises, satnam singh khanuja
38.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 3741.00 | Sqm | 0.00 | 280.00 | 1047480.00 | 280.00 | 1047480.00 | 1047480.00 | Cupid Enterprises, satnam singh khanuja
39.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.: Two coats | 1410.00 | Sqm | 0.00 | 230.00 | 324300.00 | 230.00 | 324300.00 | 324300.00 | Cupid Enterprises, satnam singh khanuja
40.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile organic compound ) content less than 50 grams/litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour: Two coats | 2011.00 | Sqm | 0.00 | 280.00 | 563080.00 | 280.00 | 563080.00 | 563080.00 | Cupid Enterprises, satnam singh khanuja
41.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 1242.00 | Sqm | 0.00 | 280.00 | 347760.00 | 280.00 | 347760.00 | 347760.00 | Cupid Enterprises, satnam singh khanuja
42.00 | 6 mm plaster on cement concrete or reinforced cement concrete work with white cement based polymer modified self curing mortar of approved make as per the direction of Engineer-In-Charge. | 1873.00 | Sqm | 0.00 | 250.00 | 468250.00 | 250.00 | 468250.00 | 468250.00 | Cupid Enterprises, satnam singh khanuja
43.00 | Providing and fixing bright finished brass hard drawn hooks and eyes : 250 mm | 180.00 | Each | 0.00 | 120.00 | 21600.00 | 120.00 | 21600.00 | 21600.00 | Cupid Enterprises, satnam singh khanuja
44.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 30.65 | Cum | 0.00 | 5500.00 | 168575.00 | 6000.00 | 183900.00 | 168575.00 | Cupid Enterprises
45.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of M sand, compacting and proper embedding/laying of inter locking paver blocks into the M sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with M sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 160.00 | Sqm | 0.00 | 580.00 | 92800.00 | 600.00 | 96000.00 | 92800.00 | Cupid Enterprises
46.00 | Fixing available precoated galvanised iron profile sheets by using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 378.00 | Sqm | 0.00 | 75.00 | 28350.00 | 80.00 | 30240.00 | 28350.00 | Cupid Enterprises
47.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 8.00 | Each | 0.00 | 3200.00 | 25600.00 | 3500.00 | 28000.00 | 25600.00 | Cupid Enterprises
48.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 4.00 | Each | 0.00 | 4200.00 | 16800.00 | 4500.00 | 18000.00 | 16800.00 | Cupid Enterprises
49.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively | 10.00 | Each | 0.00 | 1300.00 | 13000.00 | 1500.00 | 15000.00 | 13000.00 | Cupid Enterprises
50.00 | Providing and fixing wash basin with CI brackets,15mm brass pillar taps,32mm CP brass waste of standard pattern, including painting of fittings and brackets,cutting and making good the walls wherever required.: White vitreous china wash basin size 630 mm x 450 mm with single 15mm CP brass pillar tap. | 6.00 | Each | 0.00 | 1500.00 | 9000.00 | 1600.00 | 9600.00 | 9000.00 | Cupid Enterprises
51.00 | Providing and fixing P.V.C waste pipe for sink or wash basin including P.V.C waste fitting complete: Flexible pipe: 40 mm dia | 14.00 | Each | 0.00 | 60.00 | 840.00 | 70.00 | 980.00 | 840.00 | Cupid Enterprises
52.00 | Providing and fixing 600x450mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 6.00 | Each | 0.00 | 1000.00 | 6000.00 | 1200.00 | 7200.00 | 6000.00 | Cupid Enterprises
53.00 | providing & fixing PTMT towel rail complete with brackets fixed to wooden cleats with C.P. brass screws with concealed fittings arrangement of approved quality and colour.: 450 mm long towel rail with total length of 495 mm. 78 mm wide and effective height of 88 mm, weighting not less than 170 gms. | 10.00 | Each | 0.00 | 450.00 | 4500.00 | 500.00 | 5000.00 | 4500.00 | Cupid Enterprises
54.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 150 mm diameter | 10.00 | Each | 0.00 | 170.00 | 1700.00 | 189.00 | 1890.00 | 1700.00 | Cupid Enterprises
55.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 12.00 | Each | 0.00 | 340.00 | 4080.00 | 350.00 | 4200.00 | 4080.00 | Cupid Enterprises
56.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 10.00 | Each | 0.00 | 550.00 | 5500.00 | 590.00 | 5900.00 | 5500.00 | Cupid Enterprises
57.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 20 mm nominal outer dia pipes. | 50.00 | Metre | 0.00 | 240.00 | 12000.00 | 250.00 | 12500.00 | 12000.00 | Cupid Enterprises
58.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 32 mm nominal outer dia pipes. | 80.00 | Metre | 0.00 | 330.00 | 26400.00 | 350.00 | 28000.00 | 26400.00 | Cupid Enterprises
59.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 40 mm nominal outer dia pipes. | 100.00 | Metre | 0.00 | 420.00 | 42000.00 | 450.00 | 45000.00 | 42000.00 | Cupid Enterprises
60.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 20 mm nominal outer dia pipes | 100.00 | Metre | 0.00 | 330.00 | 33000.00 | 350.00 | 35000.00 | 33000.00 | Cupid Enterprises
61.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 32 mm nominal outer dia pipes. | 50.00 | Metre | 0.00 | 420.00 | 21000.00 | 450.00 | 22500.00 | 21000.00 | Cupid Enterprises
62.00 | Providing and fixing brass stop cock of approved quality complete.: 15 mm nominal bore | 28.00 | Each | 0.00 | 230.00 | 6440.00 | 250.00 | 7000.00 | 6440.00 | Cupid Enterprises
63.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 32 mm nominal bore. | 10.00 | Each | 0.00 | 580.00 | 5800.00 | 600.00 | 6000.00 | 5800.00 | Cupid Enterprises
64.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 40 mm nominal bore. | 10.00 | Each | 0.00 | 650.00 | 6500.00 | 700.00 | 7000.00 | 6500.00 | Cupid Enterprises
65.00 | Providing and placing on terrace (at all floor levels) Polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement amd making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 25000.00 | Litre | 0.00 | 9.00 | 225000.00 | 9.00 | 225000.00 | 225000.00 | Cupid Enterprises, satnam singh khanuja
66.00 | Providing and fixing unplasticised P.V.C connection pipe with PTMT Nuts coller and bush of approved quality and colour.: 15mm nominal bore with 45cm length | 18.00 | Each | 0.00 | 110.00 | 1980.00 | 120.00 | 2160.00 | 1980.00 | Cupid Enterprises
67.00 | Providing & fixing on wall face unplasticised -Rigid PVC rain water pipes conforming to IS ; 13592 Type A included jointing with seal ring conforning to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm diameter | 78.00 | Metre | 0.00 | 330.00 | 25740.00 | 350.00 | 27300.00 | 25740.00 | Cupid Enterprises
68.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: Coupler-110mm diameter | 15.00 | Each | 0.00 | 120.00 | 1800.00 | 150.00 | 2250.00 | 1800.00 | Cupid Enterprises
69.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm bend | 15.00 | Each | 0.00 | 100.00 | 1500.00 | 125.00 | 1875.00 | 1500.00 | Cupid Enterprises
70.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm Shoe | 15.00 | Each | 0.00 | 100.00 | 1500.00 | 120.00 | 1800.00 | 1500.00 | Cupid Enterprises
71.00 | Providing & fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed with .M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4(1cement : 4 coarse sand) and making good the wall etc. complete.: 110mm dia | 90.00 | Each | 0.00 | 290.00 | 26100.00 | 300.00 | 27000.00 | 26100.00 | Cupid Enterprises
72.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15cm diameter and weighting not less than 440 grams. | 12.00 | Each | 0.00 | 50.00 | 600.00 | 50.00 | 600.00 | 600.00 | Cupid Enterprises, satnam singh khanuja
73.00 | Providing and fixing soil, waste and vent pipes: 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 80.00 | Metre | 0.00 | 950.00 | 76000.00 | 1000.00 | 80000.00 | 76000.00 | Cupid Enterprises
74.00 | Providing and fixing soil, waste and vent pipes: 75 mm Diameter Sand cast iron S&S pipe as per IS: 1729 | 80.00 | Metre | 0.00 | 880.00 | 70400.00 | 900.00 | 72000.00 | 70400.00 | Cupid Enterprises
75.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. :For 100 mm dia pipe | 30.00 | Each | 0.00 | 290.00 | 8700.00 | 300.00 | 9000.00 | 8700.00 | Cupid Enterprises
76.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100 mm dia Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 490.00 | 9800.00 | 500.00 | 10000.00 | 9800.00 | Cupid Enterprises
77.00 | Providing and fixing plain bend of required degree.:100 mm dia Sand cast iron S&S as per IS - 1729 | 30.00 | Each | 0.00 | 390.00 | 11700.00 | 400.00 | 12000.00 | 11700.00 | Cupid Enterprises
78.00 | Providing and fixing heel rest sanitary bend: 100 mm dia Sand cast iron S&S as per IS - 1729 | 15.00 | Each | 0.00 | 460.00 | 6900.00 | 500.00 | 7500.00 | 6900.00 | Cupid Enterprises
79.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : 100x100x100x100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 880.00 | 17600.00 | 900.00 | 18000.00 | 17600.00 | Cupid Enterprises
80.00 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100x100x100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 550.00 | 11000.00 | 600.00 | 12000.00 | 11000.00 | Cupid Enterprises
81.00 | Providing and fixing terminal guard : 100 mm Sand cast iron S&S as per IS - 1729 | 15.00 | Each | 0.00 | 320.00 | 4800.00 | 340.00 | 5100.00 | 4800.00 | Cupid Enterprises
82.00 | Providing and fixing collar : 100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 350.00 | 7000.00 | 400.00 | 8000.00 | 7000.00 | Cupid Enterprises
83.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm | 120.00 | Each | 0.00 | 450.00 | 54000.00 | 500.00 | 60000.00 | 54000.00 | Cupid Enterprises
84.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 1729 | 36.00 | Each | 0.00 | 1300.00 | 46800.00 | 1400.00 | 50400.00 | 46800.00 | Cupid Enterprises
85.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 20.00 | Metre | 0.00 | 750.00 | 15000.00 | 800.00 | 16000.00 | 15000.00 | Cupid Enterprises
86.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required.(Group C) | 196.00 | Point | 0.00 | 1300.00 | 254800.00 | 1400.00 | 274400.00 | 254800.00 | Cupid Enterprises
87.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. (Group C) | 74.00 | Point | 0.00 | 750.00 | 55500.00 | 800.00 | 59200.00 | 55500.00 | Cupid Enterprises
88.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface /recessed steel conduit, 2 way modular switch, modular plate,suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required | 4.00 | Point | 0.00 | 1300.00 | 5200.00 | 1400.00 | 5600.00 | 5200.00 | Cupid Enterprises
89.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 706.00 | Mtr | 0.00 | 330.00 | 232980.00 | 350.00 | 247100.00 | 232980.00 | Cupid Enterprises
90.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire) | 569.00 | Mtr | 0.00 | 290.00 | 165010.00 | 300.00 | 170700.00 | 165010.00 | Cupid Enterprises
91.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (5/6 amps switch) | 22.00 | Each | 0.00 | 80.00 | 1760.00 | 80.00 | 1760.00 | 1760.00 | Cupid Enterprises, satnam singh khanuja
92.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (3 pin 5/6 amp socket outlet) | 22.00 | Each | 0.00 | 90.00 | 1980.00 | 95.00 | 2090.00 | 1980.00 | Cupid Enterprises
93.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (15/16 amp switch) | 107.00 | Each | 0.00 | 100.00 | 10700.00 | 105.00 | 11235.00 | 10700.00 | Cupid Enterprises
94.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (6 pin 15/16 amp socket outlet) | 107.00 | Each | 0.00 | 180.00 | 19260.00 | 200.00 | 21400.00 | 19260.00 | Cupid Enterprises
95.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. (3 Module) | 107.00 | Each | 0.00 | 250.00 | 26750.00 | 300.00 | 32100.00 | 26750.00 | Cupid Enterprises
96.00 | Supply of LED street light of maximum rated capacity of 70 watt with minimum lumen output 7700 lumens made of pressor die cast aluminum housing with polycarbonate modular secondary lens optics including all accessories like electronic gear / driver with LED as light source suitable to operate on 140-270 V, 50 Hz AC supply complete as per technical specification etc. as required. | 40.00 | Each | 0.00 | 4500.00 | 180000.00 | 5000.00 | 200000.00 | 180000.00 | Cupid Enterprises
97.00 | Supply of 20 watt Engineering plastic batten with white acrylic cover sleek design and high efficiency for wall and surface suitable for 140-270 V, 50 Hz AC supply complete as per technical specification etc. as required. | 168.00 | Each | 0.00 | 550.00 | 92400.00 | 600.00 | 100800.00 | 92400.00 | Cupid Enterprises
98.00 | Supplying and fixing of 32 mm dia X Approx 60 cm long G.I. pipe (medium class) bracket for mounting of LED street light fitting on wall / pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts bolts and washer, painting the flat iron with primer and finish paint etc. as required. | 40.00 | Each | 0.00 | 550.00 | 22000.00 | 600.00 | 24000.00 | 22000.00 | Cupid Enterprises
99.00 | Installation, testing and commissioning of pre-wired, LED Recess, Surface Mounted etc of above fixtures with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on existing in False ceiling / wall / surface/ cieling as including connection as per site requirement | 208.00 | Each | 0.00 | 170.00 | 35360.00 | 180.00 | 37440.00 | 35360.00 | Cupid Enterprises
100.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way (4 + 18), Double door | 6.00 | Each | 0.00 | 3000.00 | 18000.00 | 3500.00 | 21000.00 | 18000.00 | Cupid Enterprises
101.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 12), Double door | 4.00 | Each | 0.00 | 3000.00 | 12000.00 | 3500.00 | 14000.00 | 12000.00 | Cupid Enterprises
102.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. (i) 40 Amp | 6.00 | Each | 0.00 | 2500.00 | 15000.00 | 2800.00 | 16800.00 | 15000.00 | Cupid Enterprises
103.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. (i) 25 Amp | 4.00 | Each | 0.00 | 2500.00 | 10000.00 | 2800.00 | 11200.00 | 10000.00 | Cupid Enterprises
104.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (i) Single pole , 6 amps to 32 amps | 116.00 | Each | 0.00 | 270.00 | 31320.00 | 280.00 | 32480.00 | 31320.00 | Cupid Enterprises
105.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 40.00 | Each | 0.00 | 25.00 | 1000.00 | 25.00 | 1000.00 | 1000.00 | Cupid Enterprises, satnam singh khanuja
106.00 | Supply of 300 mm Sweep 1400RPM heavy duty exhaust fan suitable for operation on single phase 230 Volt +/-10 Volt, 50 Hz, Single Phase, AC Power supply including lauvers complete as required | 6.00 | Each | 0.00 | 2500.00 | 15000.00 | 2800.00 | 16800.00 | 15000.00 | Cupid Enterprises
107.00 | Supply of 1200 mm sweep, 5 star BEE rated, energy saving ceiling fans without remote (with BLDC motor) suitable for 230 V, 50 Hz power supply with 30 cm down rod and other accessories, canopies but without regulator etc as required. | 98.00 | Each | 0.00 | 2500.00 | 245000.00 | 2800.00 | 274400.00 | 245000.00 | Cupid Enterprises
108.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5sq. m FRLS PVC insulated, copper conductor, single core cable etc. as required. | 98.00 | Each | 0.00 | 200.00 | 19600.00 | 250.00 | 24500.00 | 19600.00 | Cupid Enterprises
109.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 98.00 | Each | 0.00 | 400.00 | 39200.00 | 450.00 | 44100.00 | 39200.00 | Cupid Enterprises
110.00 | Installation of exhaust fan upto 450 mm in the existing opening, including, making the hole to suit the size of fan, making good the damage, connection, testing, commissioning etc. as required. | 6.00 | Each | 0.00 | 350.00 | 2100.00 | 400.00 | 2400.00 | 2100.00 | Cupid Enterprises
111.00 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 6.00 | Each | 0.00 | 180.00 | 1080.00 | 200.00 | 1200.00 | 1080.00 | Cupid Enterprises
112.00 | Numbering of ceiling fan/ exhaust fan/ Light fittings as required. | 312.00 | Each | 0.00 | 85.00 | 26520.00 | 90.00 | 28080.00 | 26520.00 | Cupid Enterprises
113.00 | Supply of following size 1.1 KV grade XLPE /PVC insulated, PVC sheathed, armoured Aluminium conductor conforming to is 7098(part 1) amended upto date. (i)4 X 10 Sq.mm | 500.00 | Mtr | 0.00 | 160.00 | 80000.00 | 180.00 | 90000.00 | 80000.00 | Cupid Enterprises
114.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required Upto 35 sq. mm (clamped with 1mm thick saddle) | 500.00 | Mtr | 0.00 | 90.00 | 45000.00 | 100.00 | 50000.00 | 45000.00 | Cupid Enterprises
115.00 | Providing & fixing of 6 SWG GI wire on surface or in the recess for loop earth. | 308.00 | Mtr | 0.00 | 95.00 | 29260.00 | 100.00 | 30800.00 | 29260.00 | Cupid Enterprises
116.00 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of XLPE/PVC installed PVC sheathed aluminum conductor electric cable of 1.1 kv grade as required. 4C x 10 sq.mm. | 18.00 | Set | 0.00 | 150.00 | 2700.00 | 200.00 | 3600.00 | 2700.00 | Cupid Enterprises
117.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 2.00 | Each | 0.00 | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 7000.00 | Cupid Enterprises
118.00 | Supply of 4C x 6 sq.mm size, multi stranded copper conductor, XLPE insulated PVC Inner sheathed unarrmoured flexible cable 650/1100 V grade cable as specified in particular specification and as required. | 200.00 | Mtr | 0.00 | 700.00 | 140000.00 | 750.00 | 150000.00 | 140000.00 | Cupid Enterprises
119.00 | Supply, Installation, Testing & Commissioning of fully stainless steel storage type water cooler of capacity 60/80 Ltr (60 Ltr/Hr. cooling capacity & 80 Ltr storage capacity). Suitable for single phase 230V +/- 10%, 50Hz AC supply as per OEM specification with inlet hose connection, inlet float valve, 2 nos. outlet faucet, drain pan with piping up to floor trap, suitable MS angle stand etc complete in all respect as required. | 4.00 | Each | 0.00 | 35000.00 | 140000.00 | 38000.00 | 152000.00 | 140000.00 | Cupid Enterprises
120.00 | Supply, Installation, Testing & Commissioning of 100 LPH capacity compact wall mounted type packaged Reverse Osmosis (RO) system (reduction in TDS 90% +/- 5%), required nos. of membranes, filter, auto level sensor, and other accessories including hardware materials, required for installation, inter connection piping among existing water line, RO system and storage type water cooler for the said RO system including suitable stand for mounting RO unit. The RO system should automatically switch ON/OFF as per water level sensor in water cooler. | 4.00 | Each | 0.00 | 50000.00 | 200000.00 | 60000.00 | 240000.00 | 200000.00 | Cupid Enterprises
121.00 | Supply of Air Cooler (Duct Type) with following specifications as given below: Fan Size: 17 Inch & Above. Fan Speed: 1400 rpm / 3 speed. Water Tank Capacity: 100 Litres & Above. Cooling Media: ASPEN. Cooling Area: 500 Sqft & Above. Cooling Pads : On 4 Sides. | 30.00 | Each | 0.00 | 15000.00 | 450000.00 | 20000.00 | 600000.00 | 450000.00 | Cupid Enterprises
122.00 | Supply, installation, testing & commissioning of 25L, 2000W, 230V, 5 star rating vertical storage water heater (Minimum 2 years warranty) complete with all accessories as required. | 4.00 | Each | 0.00 | 7000.00 | 28000.00 | 7500.00 | 30000.00 | 28000.00 | Cupid Enterprises
123.00 | Supply of 7.5 HP/10 stage, 2900 RPM submersible pump-motor set suitable for discharge of minimum 290 LPM to 110 LPM against static Head 61 Mtr to 150 Mtr with suitable motor suitable for operation on 415 volt, 50 Hz A/C supply. Pumps and motors must be connected with alignment shafts etc. complete as required . (Make : Model UPFN80/10 of KSB or its equivalent to approved make list). | 1.00 | Each | 0.00 | 35000.00 | 35000.00 | 38000.00 | 38000.00 | 35000.00 | Cupid Enterprises
124.00 | Supply and fixing of Fully automatic DOL starter on surface suitable up to 7.5 HP submersible pump with relay ( relay range 13A-20 A) with all accessories etc. ( Make-BCH) or equivalent to approved make.​ | 1.00 | Each | 0.00 | 6000.00 | 6000.00 | 7000.00 | 7000.00 | 6000.00 | Cupid Enterprises
125.00 | Supply of 3C X 2.5 sq.mm XLPE insulated PVC Sheathed, armoured Copper conductor cable of 650 V/ 1.1KV grade confirming to IS:7098 part-I with up to date amendments etc. as required. | 500.00 | Mtr | 0.00 | 199.00 | 99500.00 | 250.00 | 125000.00 | 99500.00 | Cupid Enterprises
126.00 | Supply & fixing of outdoor PVC loop in loop out box i/c connector, thimble, PVC gland suitable for 3C X 2.5 sq.mm armoured Copper cable complete as required. | 40.00 | Each | 0.00 | 600.00 | 24000.00 | 650.00 | 26000.00 | 24000.00 | Cupid Enterprises
| Total in Figures |  |  |  |  | 28330685.60 |  | 28883523.60
Lowest Amount Quoted BY: Cupid Enterprises(28330685.60)

## BOQ Summary
BOQ Summary Details Tender Title: Vertical Extension of existing CISF Barrack and associated work to accommodate proposed increased strength of CISF at Jabalpur Airport Tender ID: 2025_AAI_224368_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Cupid Enterprises (BID ID -818402) | 28330685.60 | L1
| 2 | satnam singh khanuja (BID ID -820494) | 28883523.60 | L2