## BoQ1
Government eProcurement System Created By: Ranjith B Created Date/Time: 05-Mar-2025 12:24 PM Tender Title: Additional Miscellaneous Works at Vijayawada Airport SH- Construction of Pre-Cast Boundary wall and Property wall Tender ID: 2025_AAI_224506_1
Tender Inviting Authority: Sr. Manager (Engg-Civil), Airports Authority of India, Vijayawada Airport, Vijayawada – 521102, Phone No. Telephone:+91 9495397310
Name of Work: Additional Miscellaneous Works at Vijayawada Airport. SH: Construction of Pre-Cast Boundary wall and Property wall
Tender id : 2025 _ AAI _224506_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | K CONSTRUCTIONS (GSTN-36AAQFK9685B1ZS) BID ID -818786 |  | Garg Associates (GSTN-07AEJPG9976Q1ZE) BID ID -818794 |  | SRINIVASA EDIFICE PRIVATE LIMITED (GSTN-37AACCS8310C1ZO) BID ID -818890 |  | BANAMALI ROUT (GSTN-21ABPPB1496H1ZT) BID ID -819144 |  | KRANS PROJECTS PVT LTD (GSTN-NA) BID ID -818426 |  | SKS PROJECTS (GSTN-NA) BID ID -818587 |  | CIPEL INFRA (GSTN-NA) BID ID -818398 |  | Pavee Construction (GSTN-NA) BID ID -819160
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | 4600.00 | Sqm | 1.25 | 10.00 | 46000.00 | 15.00 | 69000.00 | 18.00 | 82800.00 | 9.00 | 41400.00 | 16.00 | 73600.00 | 15.00 | 69000.00 | 21.00 | 96600.00 | 20.00 | 92000.00 | 41400.00 | BANAMALI ROUT
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. (a) All kinds of soil | 3910.00 | Cum | 0.00 | 250.00 | 977500.00 | 110.00 | 430100.00 | 125.00 | 488750.00 | 180.00 | 703800.00 | 229.00 | 895390.00 | 222.00 | 868020.00 | 210.00 | 821100.00 | 150.00 | 586500.00 | 430100.00 | Garg Associates
3.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. (a) All kinds of soil | 980.00 | Cum | 100.00 | 100.00 | 98000.00 | 50.00 | 49000.00 | 100.00 | 98000.00 | 45.00 | 44100.00 | 112.00 | 109760.00 | 107.00 | 104860.00 | 104.00 | 101920.00 | 50.00 | 49000.00 | 44100.00 | BANAMALI ROUT
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 3140.00 | Cum | 53.00 | 90.00 | 282600.00 | 100.00 | 314000.00 | 100.00 | 314000.00 | 54.00 | 169560.00 | 173.00 | 543220.00 | 166.00 | 521240.00 | 104.00 | 326560.00 | 80.00 | 251200.00 | 169560.00 | BANAMALI ROUT
5.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 7.00 | Cum | 10.00 | 2500.00 | 17500.00 | 2400.00 | 16800.00 | 2124.00 | 14868.00 | 1800.00 | 12600.00 | 1872.00 | 13104.00 | 1800.00 | 12600.00 | 1560.00 | 10920.00 | 1950.00 | 13650.00 | 10920.00 | CIPEL INFRA
6.00 | Extra for levelling & neatly dressing of disposed soil completely as directed by Engineer-in-charge | 770.00 | Cum | 11.00 | 100.00 | 77000.00 | 60.00 | 46200.00 | 94.00 | 72380.00 | 45.00 | 34650.00 | 82.00 | 63140.00 | 79.00 | 60830.00 | 52.00 | 40040.00 | 50.00 | 38500.00 | 34650.00 | BANAMALI ROUT
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : (a) 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 20.00 | Cum | 12.00 | 5000.00 | 100000.00 | 7850.00 | 157000.00 | 5000.00 | 100000.00 | 5580.00 | 111600.00 | 6946.00 | 138920.00 | 6676.00 | 133520.00 | 5616.00 | 112320.00 | 6500.00 | 130000.00 | 100000.00 | K CONSTRUCTIONS, SRINIVASA EDIFICE PRIVATE LIMITED
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : (a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 215.00 | Cum | 13.00 | 4000.00 | 860000.00 | 5400.00 | 1161000.00 | 4000.00 | 860000.00 | 4230.00 | 909450.00 | 6006.00 | 1291290.00 | 5772.00 | 1240980.00 | 5200.00 | 1118000.00 | 4500.00 | 967500.00 | 860000.00 | K CONSTRUCTIONS, SRINIVASA EDIFICE PRIVATE LIMITED
9.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. (a) All works upto plinth level : Concrete of M25 grade with minimum cement content of 330 kg /cum | 50.00 | Cum | 14.00 | 6000.00 | 300000.00 | 7200.00 | 360000.00 | 6000.00 | 300000.00 | 6030.00 | 301500.00 | 8380.00 | 419000.00 | 8055.00 | 402750.00 | 7280.00 | 364000.00 | 7000.00 | 350000.00 | 300000.00 | K CONSTRUCTIONS, SRINIVASA EDIFICE PRIVATE LIMITED
10.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. (a) All works above plinth level upto floor V level : Concrete of M25 grade with minimum cement content of 330 kg /cum | 15.00 | Cum | 15.00 | 6500.00 | 97500.00 | 7750.00 | 116250.00 | 6500.00 | 97500.00 | 6300.00 | 94500.00 | 8693.00 | 130395.00 | 8356.00 | 125340.00 | 9568.00 | 143520.00 | 8000.00 | 120000.00 | 94500.00 | BANAMALI ROUT
11.00 | Fabrication and manufacturing of solid precast concrete element with provisions of shear keys, connecting loops, dowel tubes and proper lifting accessories for walls, beams, slabs, stairs, column etc, of various thickness, shape and size of different concrete grades manufactured in controlled factory environment with approved methodology including moulds (Pallet system, Tilts form, table moulds, battery moulds, vertical moulds, beam moulds, column moulds, staircase moulds, Facade mould, etc.), mixing, transporting and placing of concrete, vibrating, curing, finishing, making necessary cutout/holes of required sizes for services, yard handling & stacking all complete as per IS 11447:1985 and as per approved shop drawings and design mix as per the direction of Engineer-in-Charge (Cost of reinforcement, Mechanical, Electrical and Plumbing inserts will be paid separately). (a) Concrete grade M-35 (Cement content 370 kgs) | 835.00 | Cum | 16.00 | 14000.00 | 11690000.00 | 8000.00 | 6680000.00 | 15500.00 | 12942500.00 | 18900.00 | 15781500.00 | 18451.00 | 15406585.00 | 12000.00 | 10020000.00 | 11440.00 | 9552400.00 | 14100.00 | 11773500.00 | 6680000.00 | Garg Associates
12.00 | (b) Extra for using M-40 (Cement content 400 kg) instead of M-35 | 835.00 | Cum | 17.00 | 1000.00 | 835000.00 | 125.00 | 104375.00 | 200.00 | 167000.00 | 270.00 | 225450.00 | 217.00 | 181195.00 | 208.00 | 173680.00 | 280.00 | 233800.00 | 220.00 | 183700.00 | 104375.00 | Garg Associates
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (a) Foundations, footings, bases of columns, etc. for mass concrete | 525.00 | Sqm | 18.00 | 425.00 | 223125.00 | 420.00 | 220500.00 | 350.00 | 183750.00 | 270.00 | 141750.00 | 346.00 | 181650.00 | 332.00 | 174300.00 | 780.00 | 409500.00 | 500.00 | 262500.00 | 141750.00 | BANAMALI ROUT
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : (a) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 75.00 | Sqm | 19.00 | 500.00 | 37500.00 | 420.00 | 31500.00 | 600.00 | 45000.00 | 540.00 | 40500.00 | 649.00 | 48675.00 | 623.00 | 46725.00 | 988.00 | 74100.00 | 500.00 | 37500.00 | 31500.00 | Garg Associates
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : (a) Columns, Pillars, Piers, Abutments, Posts and Struts | 125.00 | Sqm | 20.00 | 400.00 | 50000.00 | 420.00 | 52500.00 | 700.00 | 87500.00 | 450.00 | 56250.00 | 848.00 | 106000.00 | 814.00 | 101750.00 | 988.00 | 123500.00 | 450.00 | 56250.00 | 50000.00 | K CONSTRUCTIONS
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : (a) Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 10.00 | Sqm | 21.00 | 550.00 | 5500.00 | 420.00 | 4200.00 | 843.00 | 8430.00 | 630.00 | 6300.00 | 743.00 | 7430.00 | 714.00 | 7140.00 | 936.00 | 9360.00 | 500.00 | 5000.00 | 4200.00 | Garg Associates
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : (a) Suspended floors, roofs, landings, balconies and access platform. | 60.00 | Sqm | 22.00 | 450.00 | 27000.00 | 420.00 | 25200.00 | 800.00 | 48000.00 | 450.00 | 27000.00 | 817.00 | 49020.00 | 786.00 | 47160.00 | 1560.00 | 93600.00 | 650.00 | 39000.00 | 25200.00 | Garg Associates
18.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. (a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 53000.00 | Kg | 23.00 | 86.00 | 4558000.00 | 83.00 | 4399000.00 | 70.00 | 3710000.00 | 78.30 | 4149900.00 | 95.00 | 5035000.00 | 91.00 | 4823000.00 | 99.00 | 5247000.00 | 70.00 | 3710000.00 | 3710000.00 | SRINIVASA EDIFICE PRIVATE LIMITED, Pavee Construction
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. (a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 3280.00 | Kg | 24.00 | 88.00 | 288640.00 | 84.00 | 275520.00 | 70.00 | 229600.00 | 81.00 | 265680.00 | 95.00 | 311600.00 | 91.00 | 298480.00 | 115.00 | 377200.00 | 70.00 | 229600.00 | 229600.00 | SRINIVASA EDIFICE PRIVATE LIMITED, Pavee Construction
20.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 3540.00 | Kg | 25.00 | 105.00 | 371700.00 | 110.00 | 389400.00 | 134.00 | 474360.00 | 108.00 | 382320.00 | 118.00 | 417720.00 | 113.00 | 400020.00 | 188.00 | 665520.00 | 105.00 | 371700.00 | 371700.00 | K CONSTRUCTIONS, Pavee Construction
21.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. (a) Hot finished welded type tubes | 13800.00 | Kg | 26.00 | 110.00 | 1518000.00 | 125.00 | 1725000.00 | 150.00 | 2070000.00 | 117.00 | 1614600.00 | 171.00 | 2359800.00 | 140.00 | 1932000.00 | 166.00 | 2290800.00 | 110.00 | 1518000.00 | 1518000.00 | K CONSTRUCTIONS, Pavee Construction
22.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. (a) In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 1775.00 | Kg | 27.00 | 105.00 | 186375.00 | 150.00 | 266250.00 | 100.00 | 177500.00 | 108.00 | 191700.00 | 109.00 | 193475.00 | 105.00 | 186375.00 | 188.00 | 333700.00 | 110.00 | 195250.00 | 177500.00 | SRINIVASA EDIFICE PRIVATE LIMITED
23.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. (a) M.S.Tube | 955.00 | Kg | 28.00 | 105.00 | 100275.00 | 150.00 | 143250.00 | 150.00 | 143250.00 | 108.00 | 103140.00 | 174.00 | 166170.00 | 166.00 | 158530.00 | 166.00 | 158530.00 | 120.00 | 114600.00 | 100275.00 | K CONSTRUCTIONS
24.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 385.00 | Kg | 29.00 | 120.00 | 46200.00 | 300.00 | 115500.00 | 98.00 | 37730.00 | 108.00 | 41580.00 | 86.00 | 33110.00 | 82.00 | 31570.00 | 156.00 | 60060.00 | 150.00 | 57750.00 | 31570.00 | SKS PROJECTS
25.00 | Providing and fixing ornamental M.S grill work of required pattern with M.S flats, pipes, square or round bars etc. including priming coat with approved steel primer all complete. | 6200.00 | Kg | 30.00 | 110.00 | 682000.00 | 135.00 | 837000.00 | 175.00 | 1085000.00 | 108.00 | 669600.00 | 210.00 | 1302000.00 | 100.00 | 620000.00 | 156.00 | 967200.00 | 100.00 | 620000.00 | 620000.00 | SKS PROJECTS, Pavee Construction
26.00 | Erection & Installation of Precast/Prestressed Concrete elements in correct & final position with proper line level and plumb at site making all arrangements (i.e cranes, push-pull jacks & all another T & P for lifting Placing & Alignment of elements, within erection tolerance as per IS 15916 as per approved shop drawings and all complete as per the direction of Engineer-in-Charge but excluding the cost of sim pads, non shrink grout and steel works i.e hangers. All work up to fifth floor. a) Solid concrete wall elements/columns/footings. | 835.00 | Cum | 31.00 | 2500.00 | 2087500.00 | 900.00 | 751500.00 | 2000.00 | 1670000.00 | 3600.00 | 3006000.00 | 2398.00 | 2002330.00 | 2305.00 | 1924675.00 | 2704.00 | 2257840.00 | 1500.00 | 1252500.00 | 751500.00 | Garg Associates
27.00 | Providing & Grouting of dowel tubes / Shear keys / Joints of precast members with M-60 grade cementitious grout (Non Shrink) of approved make by suitable means ( Free flowing /pump),curing etc. Complete as per directions of Engineer-in-charge. (The payment shall be made on the basis of actual weight of approved grout injected.) a) Stirrer mixed cementitious grout (non shrink) of approved make in dowel tubes / Shear keys / Joints of precast members. | 9530.00 | Kg | 32.00 | 69.00 | 657570.00 | 60.00 | 571800.00 | 60.00 | 571800.00 | 63.00 | 600390.00 | 75.00 | 714750.00 | 72.00 | 686160.00 | 41.00 | 390730.00 | 80.00 | 762400.00 | 390730.00 | CIPEL INFRA
28.00 | Transportation of Precast Elements by flat bed Trailor (Double / Triple axle 40ft Length with proper accessories like A frame etc) from factory, including the cost of loading, unloading & stacking at site with the help of required capacity cranes, of all leads and lifts. | 2090.00 | MT | 33.00 | 450.00 | 940500.00 | 625.00 | 1306250.00 | 400.00 | 836000.00 | 360.00 | 752400.00 | 344.00 | 718960.00 | 600.00 | 1254000.00 | 832.00 | 1738880.00 | 500.00 | 1045000.00 | 718960.00 | KRANS PROJECTS PVT LTD
29.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in foundation and plinth in: (a)Cement mortar 1:6 (1 cement : 6 coarse sand) | 80.00 | Cum | 34.00 | 5500.00 | 440000.00 | 8450.00 | 676000.00 | 6000.00 | 480000.00 | 6660.00 | 532800.00 | 6288.00 | 503040.00 | 6044.00 | 483520.00 | 9360.00 | 748800.00 | 6000.00 | 480000.00 | 440000.00 | K CONSTRUCTIONS
30.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in superstructure above plinth level up to floor V level in all shapes and sizes in : (a)Cement mortar 1:6 (1 cement : 6 coarse sand) | 30.00 | Cum | 35.00 | 6000.00 | 180000.00 | 8750.00 | 262500.00 | 7000.00 | 210000.00 | 6930.00 | 207900.00 | 8028.00 | 240840.00 | 7717.00 | 231510.00 | 10400.00 | 312000.00 | 6000.00 | 180000.00 | 180000.00 | K CONSTRUCTIONS, Pavee Construction
31.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. (a) Cement mortar 1:4 (1 cement :4 coarse sand) | 6.00 | Sqm | 36.00 | 1100.00 | 6600.00 | 10000.00 | 60000.00 | 900.00 | 5400.00 | 1530.00 | 9180.00 | 991.00 | 5946.00 | 953.00 | 5718.00 | 9880.00 | 59280.00 | 6500.00 | 39000.00 | 5400.00 | SRINIVASA EDIFICE PRIVATE LIMITED
32.00 | 12mm Cement Plaster of mix : 1:4 (1Cement : 4 fine sand) | 410.00 | Sqm | 37.00 | 350.00 | 143500.00 | 500.00 | 205000.00 | 348.00 | 142680.00 | 270.00 | 110700.00 | 306.00 | 125460.00 | 494.00 | 202540.00 | 676.00 | 277160.00 | 250.00 | 102500.00 | 102500.00 | Pavee Construction
33.00 | 15mm Cement Plaster on the rough side of single or half brick wall of mix: 1:4 (1Cement : 4 fine sand) | 215.00 | Sqm | 38.00 | 400.00 | 86000.00 | 450.00 | 96750.00 | 400.00 | 86000.00 | 306.00 | 65790.00 | 352.00 | 75680.00 | 339.00 | 72885.00 | 884.00 | 190060.00 | 300.00 | 64500.00 | 64500.00 | Pavee Construction
34.00 | 6mm Cement Plaster of mix : 1:3 (1Cement : 3 fine sand) | 140.00 | Sqm | 39.00 | 300.00 | 42000.00 | 450.00 | 63000.00 | 301.00 | 42140.00 | 270.00 | 37800.00 | 265.00 | 37100.00 | 254.00 | 35560.00 | 600.00 | 84000.00 | 250.00 | 35000.00 | 35000.00 | Pavee Construction
35.00 | (a) Finishing walls with 100% Premium acrylic emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives. (a) New work (Two or more coats applied @ 1.43 litre/ 10 sqm. Over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm. | 7120.00 | Sqm | 40.00 | 80.00 | 569600.00 | 125.00 | 890000.00 | 110.00 | 783200.00 | 108.00 | 768960.00 | 160.00 | 1139200.00 | 116.00 | 825920.00 | 270.00 | 1922400.00 | 150.00 | 1068000.00 | 569600.00 | K CONSTRUCTIONS
36.00 | Finishing walls with textured exterior paint of required shade : New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including priming coat of exterior primer applied @ 2.20kg/10 sqm | 210.00 | Sqm | 41.00 | 100.00 | 21000.00 | 125.00 | 26250.00 | 224.00 | 47040.00 | 108.00 | 22680.00 | 197.00 | 41370.00 | 190.00 | 39900.00 | 396.00 | 83160.00 | 500.00 | 105000.00 | 21000.00 | K CONSTRUCTIONS
37.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : (a) Two or more coats on new work | 930.00 | Sqm | 42.00 | 100.00 | 93000.00 | 125.00 | 116250.00 | 156.00 | 145080.00 | 108.00 | 100440.00 | 137.00 | 127410.00 | 132.00 | 122760.00 | 312.00 | 290160.00 | 100.00 | 93000.00 | 93000.00 | K CONSTRUCTIONS, Pavee Construction
38.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 485.00 | metre | 43.00 | 425.00 | 206125.00 | 675.00 | 327375.00 | 350.00 | 169750.00 | 585.00 | 283725.00 | 331.00 | 160535.00 | 600.00 | 291000.00 | 2600.00 | 1261000.00 | 350.00 | 169750.00 | 160535.00 | KRANS PROJECTS PVT LTD
39.00 | Providing and laying gang saw cut 18 mm thick, mirror polished pre moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20mm thick base of cement mortar 1:4 (1cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge. (a) With granite stone of area less than 0.50 sqm. | 155.00 | Sqm | 44.00 | 2900.00 | 449500.00 | 3400.00 | 527000.00 | 3800.00 | 589000.00 | 4050.00 | 627750.00 | 4184.00 | 648520.00 | 4022.00 | 623410.00 | 4680.00 | 725400.00 | 4000.00 | 620000.00 | 449500.00 | K CONSTRUCTIONS
40.00 | Providing and fixing unplasticised Rigid PVC 110mm dia PVC pipe of 4 Kg/Sq.cm pressure for weep holes in Retaining Walls/Walls etc., as directed by Engineer-in-charge | 210.00 | metre | 45.00 | 300.00 | 63000.00 | 485.00 | 101850.00 | 300.00 | 63000.00 | 360.00 | 75600.00 | 333.00 | 69930.00 | 100.00 | 21000.00 | 312.00 | 65520.00 | 350.00 | 73500.00 | 21000.00 | SKS PROJECTS
41.00 | Providing AAI logo with 12mm thick cement based polymer modified self curing mortar plaster and finishing as per the direction of Engineer-in-charge. AAI Logo Size 0.45x0.60 = 0.27 Sqm/Each | 45.00 | Each | 46.00 | 600.00 | 27000.00 | 620.00 | 27900.00 | 528.00 | 23760.00 | 1080.00 | 48600.00 | 1763.00 | 79335.00 | 1000.00 | 45000.00 | 832.00 | 37440.00 | 50.00 | 2250.00 | 2250.00 | Pavee Construction
42.00 | Lettering with Synthetic Enamel paint of approved brand and manufacture per letter. | 32440.00 | per letter per cm height | 47.00 | 2.00 | 64880.00 | 3.00 | 97320.00 | 5.00 | 162200.00 | 9.00 | 291960.00 | 5.00 | 162200.00 | 5.00 | 162200.00 | 10.00 | 324400.00 | 5.00 | 162200.00 | 64880.00 | K CONSTRUCTIONS
43.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer?in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 345.00 | Sqm | 48.00 | 700.00 | 241500.00 | 925.00 | 319125.00 | 600.00 | 207000.00 | 990.00 | 341550.00 | 651.00 | 224595.00 | 626.00 | 215970.00 | 728.00 | 251160.00 | 800.00 | 276000.00 | 207000.00 | SRINIVASA EDIFICE PRIVATE LIMITED
44.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : (a) Ridges plain (500 - 600mm) | 60.00 | metre | 49.00 | 500.00 | 30000.00 | 725.00 | 43500.00 | 533.00 | 31980.00 | 900.00 | 54000.00 | 469.00 | 28140.00 | 451.00 | 27060.00 | 520.00 | 31200.00 | 800.00 | 48000.00 | 27060.00 | SKS PROJECTS
45.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : (a) Gutter (600 mm over all girth) | 95.00 | metre | 50.00 | 500.00 | 47500.00 | 725.00 | 68875.00 | 1314.00 | 124830.00 | 1080.00 | 102600.00 | 1158.00 | 110010.00 | 1113.00 | 105735.00 | 520.00 | 49400.00 | 800.00 | 76000.00 | 47500.00 | K CONSTRUCTIONS
46.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required. (a) W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each | 51.00 | 5000.00 | 5000.00 | 9700.00 | 9700.00 | 6516.00 | 6516.00 | 6300.00 | 6300.00 | 5744.00 | 5744.00 | 5522.00 | 5522.00 | 3120.00 | 3120.00 | 10000.00 | 10000.00 | 3120.00 | CIPEL INFRA
47.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:- (a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 1.00 | Each | 52.00 | 6000.00 | 6000.00 | 6100.00 | 6100.00 | 3961.00 | 3961.00 | 4500.00 | 4500.00 | 2029.00 | 2029.00 | 1950.00 | 1950.00 | 2080.00 | 2080.00 | 3000.00 | 3000.00 | 1950.00 | SKS PROJECTS
48.00 | Providing and fixing PTMT soap Dish Holder having length of 138mm, breadth 102mm, height of 75mm with concealed fitting arrangements, weighing not less than 106 gms. | 1.00 | Each | 53.00 | 1500.00 | 1500.00 | 750.00 | 750.00 | 112.00 | 112.00 | 450.00 | 450.00 | 98.00 | 98.00 | 94.00 | 94.00 | 520.00 | 520.00 | 250.00 | 250.00 | 94.00 | SKS PROJECTS
49.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 1.00 | Each | 54.00 | 1500.00 | 1500.00 | 750.00 | 750.00 | 169.00 | 169.00 | 630.00 | 630.00 | 148.00 | 148.00 | 142.00 | 142.00 | 520.00 | 520.00 | 250.00 | 250.00 | 142.00 | SKS PROJECTS
50.00 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including pointing the joints with white cement and matching pigments etc., complete | 3.00 | Sqm | 55.00 | 1500.00 | 4500.00 | 1825.00 | 5475.00 | 1440.00 | 4320.00 | 1080.00 | 3240.00 | 1269.00 | 3807.00 | 1220.00 | 3660.00 | 1196.00 | 3588.00 | 1800.00 | 5400.00 | 3240.00 | BANAMALI ROUT
51.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. (a) Double charge vitrified tile polished finish of size : Size of Tile 600 x 600 mm | 46.00 | Sqm | 56.00 | 1100.00 | 50600.00 | 1250.00 | 57500.00 | 1454.00 | 66884.00 | 1440.00 | 66240.00 | 1282.00 | 58972.00 | 1232.00 | 56672.00 | 1560.00 | 71760.00 | 2000.00 | 92000.00 | 50600.00 | K CONSTRUCTIONS
52.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 17.00 | Sqm | 57.00 | 1100.00 | 18700.00 | 1700.00 | 28900.00 | 1268.00 | 21556.00 | 810.00 | 13770.00 | 1118.00 | 19006.00 | 1075.00 | 18275.00 | 1092.00 | 18564.00 | 2000.00 | 34000.00 | 13770.00 | BANAMALI ROUT
53.00 | Providing and fixing C.P. brass angle valve for basin mixer/wash basin/Cistern and geyser points of approved quality conforming to IS:8931. (a) 15mm nominal bore | 3.00 | Each | 58.00 | 1000.00 | 3000.00 | 950.00 | 2850.00 | 575.00 | 1725.00 | 630.00 | 1890.00 | 506.00 | 1518.00 | 486.00 | 1458.00 | 624.00 | 1872.00 | 800.00 | 2400.00 | 1458.00 | SKS PROJECTS
54.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : (a) 15 mm nominal bore | 1.00 | Each | 59.00 | 1000.00 | 1000.00 | 950.00 | 950.00 | 507.00 | 507.00 | 630.00 | 630.00 | 447.00 | 447.00 | 430.00 | 430.00 | 364.00 | 364.00 | 1000.00 | 1000.00 | 364.00 | CIPEL INFRA
55.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Litre | 60.00 | 9.00 | 18000.00 | 20.00 | 40000.00 | 11.00 | 22000.00 | 9.00 | 18000.00 | 10.00 | 20000.00 | 9.00 | 18000.00 | 7.80 | 15600.00 | 10.00 | 20000.00 | 15600.00 | CIPEL INFRA
56.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : (a) 25 mm nominal bore | 1.00 | Each | 61.00 | 2000.00 | 2000.00 | 1200.00 | 1200.00 | 623.00 | 623.00 | 1800.00 | 1800.00 | 549.00 | 549.00 | 527.00 | 527.00 | 1144.00 | 1144.00 | 500.00 | 500.00 | 500.00 | Pavee Construction
57.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : (a) 40 mm nominal bore | 3.00 | Each | 62.00 | 3000.00 | 9000.00 | 1700.00 | 5100.00 | 827.00 | 2481.00 | 2250.00 | 6750.00 | 728.00 | 2184.00 | 700.00 | 2100.00 | 1352.00 | 4056.00 | 900.00 | 2700.00 | 2100.00 | SKS PROJECTS
58.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. (a) Concealed work, including cutting chases and making good the walls etc. (i) 15 mm nominal dia Pipes | 10.00 | metre | 63.00 | 200.00 | 2000.00 | 375.00 | 3750.00 | 498.00 | 4980.00 | 306.00 | 3060.00 | 439.00 | 4390.00 | 422.00 | 4220.00 | 114.00 | 1140.00 | 350.00 | 3500.00 | 1140.00 | CIPEL INFRA
59.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. (a) Concealed work, including cutting chases and making good the walls etc. (i) 20 mm nominal dia Pipes | 10.00 | metre | 64.00 | 300.00 | 3000.00 | 450.00 | 4500.00 | 538.00 | 5380.00 | 450.00 | 4500.00 | 474.00 | 4740.00 | 456.00 | 4560.00 | 136.00 | 1360.00 | 500.00 | 5000.00 | 1360.00 | CIPEL INFRA
60.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. (a) Exposed on wall (i) 20 mm nominal dia Pipes | 10.00 | metre | 65.00 | 200.00 | 2000.00 | 375.00 | 3750.00 | 335.00 | 3350.00 | 360.00 | 3600.00 | 295.00 | 2950.00 | 284.00 | 2840.00 | 156.00 | 1560.00 | 450.00 | 4500.00 | 1560.00 | CIPEL INFRA
61.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. (a) Exposed on wall (i) 40 mm nominal dia Pipes | 30.00 | metre | 66.00 | 300.00 | 9000.00 | 500.00 | 15000.00 | 703.00 | 21090.00 | 405.00 | 12150.00 | 620.00 | 18600.00 | 596.00 | 17880.00 | 426.00 | 12780.00 | 850.00 | 25500.00 | 9000.00 | K CONSTRUCTIONS
62.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. (a) Exposed on wall (i) 40 mm dia nominal bore | 300.00 | metre | 67.00 | 300.00 | 90000.00 | 600.00 | 180000.00 | 600.00 | 180000.00 | 450.00 | 135000.00 | 716.00 | 214800.00 | 688.00 | 206400.00 | 468.00 | 140400.00 | 750.00 | 225000.00 | 90000.00 | K CONSTRUCTIONS
63.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. (a) External Work - 40 mm dia nominal bore | 150.00 | metre | 68.00 | 300.00 | 45000.00 | 600.00 | 90000.00 | 618.00 | 92700.00 | 405.00 | 60750.00 | 544.00 | 81600.00 | 535.00 | 80250.00 | 458.00 | 68700.00 | 700.00 | 105000.00 | 45000.00 | K CONSTRUCTIONS
64.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : (a) 40 mm nominal bore | 5.00 | Each | 69.00 | 400.00 | 2000.00 | 1450.00 | 7250.00 | 632.00 | 3160.00 | 450.00 | 2250.00 | 557.00 | 2785.00 | 535.00 | 2675.00 | 52.00 | 260.00 | 500.00 | 2500.00 | 260.00 | CIPEL INFRA
65.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : (a) Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : (i) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each | 70.00 | 10000.00 | 20000.00 | 13250.00 | 26500.00 | 12771.00 | 25542.00 | 18000.00 | 36000.00 | 11259.00 | 22518.00 | 10824.00 | 21648.00 | 6760.00 | 13520.00 | 10000.00 | 20000.00 | 13520.00 | CIPEL INFRA
66.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. (a) Flexible pipe : 32 mm dia | 1.00 | Each | 71.00 | 200.00 | 200.00 | 375.00 | 375.00 | 120.00 | 120.00 | 144.00 | 144.00 | 105.00 | 105.00 | 102.00 | 102.00 | 156.00 | 156.00 | 150.00 | 150.00 | 102.00 | SKS PROJECTS
67.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | Each | 72.00 | 1900.00 | 1900.00 | 725.00 | 725.00 | 1608.00 | 1608.00 | 1440.00 | 1440.00 | 1418.00 | 1418.00 | 1362.00 | 1362.00 | 1248.00 | 1248.00 | 1500.00 | 1500.00 | 725.00 | Garg Associates
68.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 1.00 | Each | 73.00 | 2000.00 | 2000.00 | 725.00 | 725.00 | 1035.00 | 1035.00 | 1260.00 | 1260.00 | 912.00 | 912.00 | 877.00 | 877.00 | 1040.00 | 1040.00 | 1500.00 | 1500.00 | 725.00 | Garg Associates
69.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 4.00 | Sqm | 74.00 | 1100.00 | 4400.00 | 475.00 | 1900.00 | 618.00 | 2472.00 | 450.00 | 1800.00 | 544.00 | 2176.00 | 522.00 | 2088.00 | 676.00 | 2704.00 | 750.00 | 3000.00 | 1800.00 | BANAMALI ROUT
70.00 | Grading roof for water proofing treatment with : (a) Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 4.00 | Cum | 75.00 | 5000.00 | 20000.00 | 725.00 | 2900.00 | 8043.00 | 32172.00 | 7200.00 | 28800.00 | 7090.00 | 28360.00 | 6815.00 | 27260.00 | 5408.00 | 21632.00 | 9500.00 | 38000.00 | 2900.00 | Garg Associates
71.00 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 55.00 | Sqm | 76.00 | 650.00 | 35750.00 | 1200.00 | 66000.00 | 564.00 | 31020.00 | 450.00 | 24750.00 | 496.00 | 27280.00 | 477.00 | 26235.00 | 1040.00 | 57200.00 | 950.00 | 52250.00 | 24750.00 | BANAMALI ROUT
72.00 | Providing and fixing PTMT grating of approved quality and colour. (a) Circular type : 100 mm nominal dia | 1.00 | Each | 77.00 | 1000.00 | 1000.00 | 8500.00 | 8500.00 | 38.00 | 38.00 | 126.00 | 126.00 | 333.00 | 333.00 | 32.00 | 32.00 | 83.00 | 83.00 | 200.00 | 200.00 | 32.00 | SKS PROJECTS
73.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : (a) 200x10 mm | 16.00 | Each | 78.00 | 200.00 | 3200.00 | 300.00 | 4800.00 | 100.00 | 1600.00 | 360.00 | 5760.00 | 88.00 | 1408.00 | 85.00 | 1360.00 | 208.00 | 3328.00 | 100.00 | 1600.00 | 1360.00 | SKS PROJECTS
74.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. (a) Single rubber stopper | 2.00 | Each | 79.00 | 200.00 | 400.00 | 420.00 | 840.00 | 40.00 | 80.00 | 450.00 | 900.00 | 35.00 | 70.00 | 34.00 | 68.00 | 312.00 | 624.00 | 100.00 | 200.00 | 68.00 | SKS PROJECTS
75.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: (a) 125 mm | 4.00 | Each | 80.00 | 200.00 | 800.00 | 420.00 | 1680.00 | 232.00 | 928.00 | 540.00 | 2160.00 | 204.00 | 816.00 | 196.00 | 784.00 | 520.00 | 2080.00 | 100.00 | 400.00 | 400.00 | Pavee Construction
76.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : (a) 250x16 mm | 12.00 | Each | 81.00 | 300.00 | 3600.00 | 525.00 | 6300.00 | 261.00 | 3132.00 | 540.00 | 6480.00 | 230.00 | 2760.00 | 221.00 | 2652.00 | 156.00 | 1872.00 | 250.00 | 3000.00 | 1872.00 | CIPEL INFRA
77.00 | Providing and fixing PTMT Waste Coupling for wash basin and sink, of approved quality and colour. (a) Waste coupling 31 mm dia of 79 mm length and 62mm breadth weighing not less than 45 gms | 1.00 | Each | 82.00 | 500.00 | 500.00 | 375.00 | 375.00 | 116.00 | 116.00 | 225.00 | 225.00 | 102.00 | 102.00 | 97.00 | 97.00 | 104.00 | 104.00 | 350.00 | 350.00 | 97.00 | SKS PROJECTS
78.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : (a) 45 cm length : 15 mm nominal bore | 2.00 | Each | 83.00 | 500.00 | 1000.00 | 300.00 | 600.00 | 98.00 | 196.00 | 126.00 | 252.00 | 86.00 | 172.00 | 83.00 | 166.00 | 104.00 | 208.00 | 150.00 | 300.00 | 166.00 | SKS PROJECTS
79.00 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : (a) 20 mm dia | 5.00 | metre | 84.00 | 250.00 | 1250.00 | 75.00 | 375.00 | 394.00 | 1970.00 | 360.00 | 1800.00 | 347.00 | 1735.00 | 333.00 | 1665.00 | 104.00 | 520.00 | 600.00 | 3000.00 | 375.00 | Garg Associates
80.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC content (Volatile Organic Compound) content (a) With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre. | 170.00 | Sqm | 85.00 | 80.00 | 13600.00 | 475.00 | 80750.00 | 186.00 | 31620.00 | 90.00 | 15300.00 | 62.00 | 10540.00 | 62.00 | 10540.00 | 83.00 | 14110.00 | 100.00 | 17000.00 | 10540.00 | KRANS PROJECTS PVT LTD, SKS PROJECTS
81.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound) content less than 50 grams/Litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. (a) Two Coats | 170.00 | Sqm | 86.00 | 80.00 | 13600.00 | 250.00 | 42500.00 | 138.00 | 23460.00 | 180.00 | 30600.00 | 126.00 | 21420.00 | 121.00 | 20570.00 | 208.00 | 35360.00 | 150.00 | 25500.00 | 13600.00 | K CONSTRUCTIONS
82.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 85.00 | Sqm | 87.00 | 80.00 | 6800.00 | 375.00 | 31875.00 | 157.00 | 13345.00 | 180.00 | 15300.00 | 138.00 | 11730.00 | 132.00 | 11220.00 | 156.00 | 13260.00 | 150.00 | 12750.00 | 6800.00 | K CONSTRUCTIONS
83.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water/waste pipe pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. (a) 75 mm diameter | 10.00 | metre | 88.00 | 400.00 | 4000.00 | 375.00 | 3750.00 | 249.00 | 2490.00 | 333.00 | 3330.00 | 219.00 | 2190.00 | 211.00 | 2110.00 | 260.00 | 2600.00 | 350.00 | 3500.00 | 2110.00 | SKS PROJECTS
84.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes/soil waste pipe conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. (a) 110 mm diameter | 45.00 | metre | 89.00 | 400.00 | 18000.00 | 450.00 | 20250.00 | 378.00 | 17010.00 | 360.00 | 16200.00 | 333.00 | 14985.00 | 320.00 | 14400.00 | 374.00 | 16830.00 | 450.00 | 20250.00 | 14400.00 | SKS PROJECTS
85.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. (i) Coupler (a) 110 mm | 7.00 | Each | 90.00 | 300.00 | 2100.00 | 250.00 | 1750.00 | 137.00 | 959.00 | 90.00 | 630.00 | 120.00 | 840.00 | 115.00 | 805.00 | 83.00 | 581.00 | 150.00 | 1050.00 | 581.00 | CIPEL INFRA
86.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. (i) Single tee with door (a) 110x110x110 mm | 1.00 | Each | 91.00 | 350.00 | 350.00 | 375.00 | 375.00 | 235.00 | 235.00 | 360.00 | 360.00 | 206.00 | 206.00 | 198.00 | 198.00 | 145.00 | 145.00 | 250.00 | 250.00 | 145.00 | CIPEL INFRA
87.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. (i) Bend 87.5 Degree (a) 75mm bend | 5.00 | Each | 92.00 | 300.00 | 1500.00 | 375.00 | 1875.00 | 106.00 | 530.00 | 162.00 | 810.00 | 93.00 | 465.00 | 90.00 | 450.00 | 62.00 | 310.00 | 200.00 | 1000.00 | 310.00 | CIPEL INFRA
88.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. (i) Bend 87.5 Degree (a) 110mm bend | 11.00 | Each | 93.00 | 400.00 | 4400.00 | 375.00 | 4125.00 | 151.00 | 1661.00 | 180.00 | 1980.00 | 133.00 | 1463.00 | 127.00 | 1397.00 | 99.00 | 1089.00 | 250.00 | 2750.00 | 1089.00 | CIPEL INFRA
89.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. (a) Shoe (Plain) - 110 mm Shoe | 7.00 | Each | 94.00 | 400.00 | 2800.00 | 375.00 | 2625.00 | 132.00 | 924.00 | 180.00 | 1260.00 | 116.00 | 812.00 | 112.00 | 784.00 | 728.00 | 5096.00 | 350.00 | 2450.00 | 784.00 | SKS PROJECTS
90.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. (a) 110mm | 22.00 | Each | 95.00 | 500.00 | 11000.00 | 125.00 | 2750.00 | 372.00 | 8184.00 | 225.00 | 4950.00 | 327.00 | 7194.00 | 314.00 | 6908.00 | 21.00 | 462.00 | 100.00 | 2200.00 | 462.00 | CIPEL INFRA
91.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams | 1.00 | Each | 96.00 | 500.00 | 500.00 | 375.00 | 375.00 | 55.00 | 55.00 | 180.00 | 180.00 | 48.00 | 48.00 | 47.00 | 47.00 | 125.00 | 125.00 | 450.00 | 450.00 | 47.00 | SKS PROJECTS
92.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler( whereever required) extruded profiles having minimum wall thickness of 1.70mm for series R1 and R2 profiles and 2.10mm for series R3 and R4 profiles confirming to EN:12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD specification, uPVC extruded glazing beads, interlocks and inline sash adaptor(where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion(if required) shall be mitred cut and fsion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of approved size and quality, all complete as per approved drawing confirming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Enginner-in-charge. Wire mesh/Glazing of plain/toughened/laminated/double glass unit with/without high performance coatings as per design requirements and confirming to IS:3548 & IS: 16231 shall be paid seperately. (a) Casement window double panels with fixed mullion with SS304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles. (i) Using R2 series with frame (39mm and above) x (39mm and above) & sash (39mm and above) x 60mm & above) & mullion (39mm & above) x (60mm & above). (Height upto 1.2 metre) | 3.00 | Sqm | 97.00 | 5500.00 | 16500.00 | 3675.00 | 11025.00 | 13079.00 | 39237.00 | 7020.00 | 21060.00 | 12739.00 | 38217.00 | 6826.00 | 20478.00 | 9880.00 | 29640.00 | 10000.00 | 30000.00 | 11025.00 | Garg Associates
93.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler( whereever required) extruded profiles having minimum wall thickness of 1.70mm for series R1 and R2 profiles and 2.10mm for series R3 and R4 profiles confirming to EN:12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD specification, uPVC extruded glazing beads, interlocks and inline sash adaptor(where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion(if required) shall be mitred cut and fsion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of approved size and quality, all complete as per approved drawing confirming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Enginner-in-charge. Wire mesh/Glazing of plain/toughened/laminated/double glass unit with/without high performance coatings as per design requirements and confirming to IS:3548 & IS: 16231 shall be paid seperately. (a) Fixed window / ventilator without mullion / transom. (i) Using R1 series with frame (33mm & above) x (35mm & above). (Height up to 0.90 meter) | 1.00 | Sqm | 98.00 | 6500.00 | 6500.00 | 3400.00 | 3400.00 | 8248.00 | 8248.00 | 7200.00 | 7200.00 | 7271.00 | 7271.00 | 6988.00 | 6988.00 | 9360.00 | 9360.00 | 15000.00 | 15000.00 | 3400.00 | Garg Associates
94.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler( whereever required) extruded profiles having minimum wall thickness of 1.70mm for series R1 and R2 profiles and 2.10mm for series R3 and R4 profiles confirming to EN:12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD specification, uPVC extruded glazing beads, interlocks and inline sash adaptor(where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion(if required) shall be mitred cut and fsion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of approved size and quality, all complete as per approved drawing confirming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Enginner-in-charge. Wire mesh/Glazing of plain/toughened/laminated/double glass unit with/without high performance coatings as per design requirements and confirming to IS:3548 & IS: 16231 shall be paid seperately. (a) Casement door single panel with zinc alloy (zamac) 3D hinges, multi-point locking system with cylinder, zinc alloy (zamak) powder coated handles on both sides.. (i) Using Using R3 series with frame (55mm & above) x (50mm & above) & sash (55mm & above) x (85mm & above) (Height up to 2.50 meter) | 6.00 | Sqm | 99.00 | 6500.00 | 39000.00 | 3675.00 | 22050.00 | 12497.00 | 74982.00 | 7200.00 | 43200.00 | 11017.00 | 66102.00 | 10590.00 | 63540.00 | 13520.00 | 81120.00 | 18000.00 | 108000.00 | 22050.00 | Garg Associates
95.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler( whereever required) extruded profiles having minimum wall thickness of 1.70mm for series R1 and R2 profiles and 2.10mm for series R3 and R4 profiles confirming to EN:12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD specification, uPVC extruded glazing beads, interlocks and inline sash adaptor(where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion(if required) shall be mitred cut and fsion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of approved size and quality, all complete as per approved drawing confirming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Enginner-in-charge. Wire mesh/Glazing of plain/toughened/laminated/double glass unit with/without high performance coatings as per design requirements and confirming to IS:3548 & IS: 16231 shall be paid seperately. (a) Three track three panels sliding window with two glazed & one wire mesh panels with Aluminium channel for roller track, wool pile, nylon rollers with SS304 body. (i) Using R2 series with frame (70mm & above) x (40mm & above) & both glazed and fly screen sash (25mm & above) x (50mm & above) with zinc alloy (zamak) powder coated touch locks with hook. (Height up to 1.2 meter) | 25.00 | Sqm | 100.00 | 5000.00 | 125000.00 | 3675.00 | 91875.00 | 10000.00 | 250000.00 | 7200.00 | 180000.00 | 9692.00 | 242300.00 | 9317.00 | 232925.00 | 12480.00 | 312000.00 | 15000.00 | 375000.00 | 91875.00 | Garg Associates
96.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : (a) Float glass panes : 4 mm thick glass pane (weight not less than 10kg/sqm). | 5.00 | Sqm | 101.00 | 3500.00 | 17500.00 | 1250.00 | 6250.00 | 2242.00 | 11210.00 | 900.00 | 4500.00 | 1976.00 | 9880.00 | 1900.00 | 9500.00 | 9880.00 | 49400.00 | 1000.00 | 5000.00 | 4500.00 | BANAMALI ROUT
97.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : (a) Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading | 9.00 | Sqm | 102.00 | 500.00 | 4500.00 | 1850.00 | 16650.00 | 1801.00 | 16209.00 | 2700.00 | 24300.00 | 1587.00 | 14283.00 | 1525.00 | 13725.00 | 9880.00 | 88920.00 | 4000.00 | 36000.00 | 4500.00 | K CONSTRUCTIONS
98.00 | Providing and fixing 12 mm thick panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. (a) Marine plywood conforming to IS: 710 | 3.00 | Sqm | 103.00 | 1800.00 | 5400.00 | 3000.00 | 9000.00 | 2487.00 | 7461.00 | 1440.00 | 4320.00 | 2192.00 | 6576.00 | 2106.00 | 6318.00 | 125.00 | 375.00 | 4500.00 | 13500.00 | 375.00 | CIPEL INFRA
99.00 | Filling the gap in between aluminium frame/uPVC frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. (a) Upto 5mm depth and 5 mm width | 175.00 | metre | 104.00 | 50.00 | 8750.00 | 250.00 | 43750.00 | 97.00 | 16975.00 | 90.00 | 15750.00 | 85.00 | 14875.00 | 82.00 | 14350.00 | 15.00 | 2625.00 | 150.00 | 26250.00 | 2625.00 | CIPEL INFRA
100.00 | Providing and fixing plain multipurpose cement board(Hight pressure steam cured) with suitable screws for cement particle board in ceiling etc. complete (frame work to be paid seperatately). (a) 6 mm thick Cement bonded wood particle board as per IS:14276 | 415.00 | Sqm | 105.00 | 900.00 | 373500.00 | 1225.00 | 508375.00 | 750.00 | 311250.00 | 810.00 | 336150.00 | 785.00 | 325775.00 | 755.00 | 313325.00 | 83.00 | 34445.00 | 750.00 | 311250.00 | 34445.00 | CIPEL INFRA
101.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: (a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 5.00 | Sqm | 106.00 | 1800.00 | 9000.00 | 3050.00 | 15250.00 | 2173.00 | 10865.00 | 3600.00 | 18000.00 | 2793.00 | 13965.00 | 2684.00 | 13420.00 | 1040.00 | 5200.00 | 3000.00 | 15000.00 | 5200.00 | CIPEL INFRA
102.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. (a) 1.0 mm thick | 9.00 | Sqm | 107.00 | 800.00 | 7200.00 | 1200.00 | 10800.00 | 898.00 | 8082.00 | 810.00 | 7290.00 | 791.00 | 7119.00 | 760.00 | 6840.00 | 676.00 | 6084.00 | 1000.00 | 9000.00 | 6084.00 | CIPEL INFRA
103.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 5.00 | Sqm | 108.00 | 500.00 | 2500.00 | 375.00 | 1875.00 | 463.00 | 2315.00 | 900.00 | 4500.00 | 408.00 | 2040.00 | 392.00 | 1960.00 | 260.00 | 1300.00 | 4500.00 | 22500.00 | 1300.00 | CIPEL INFRA
104.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. (a) GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 45.00 | Sqm | 109.00 | 1500.00 | 67500.00 | 4725.00 | 212625.00 | 2069.00 | 93105.00 | 1440.00 | 64800.00 | 1824.00 | 82080.00 | 1753.00 | 78885.00 | 1560.00 | 70200.00 | 1800.00 | 81000.00 | 64800.00 | BANAMALI ROUT
105.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : (a) 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 15.00 | Sqm | 110.00 | 800.00 | 12000.00 | 3000.00 | 45000.00 | 1356.00 | 20340.00 | 1440.00 | 21600.00 | 1195.00 | 17925.00 | 1150.00 | 17250.00 | 780.00 | 11700.00 | 1500.00 | 22500.00 | 11700.00 | CIPEL INFRA
106.00 | Providing and fixing M.S. Tubular frames for doors, windows, ventilators and cupboard with rectangular/ L-Type sections, made of 1.60 mm thick M.S. Sheet, joints mitred, welded and grinded finish, with profiles of required size, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. (a) Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 55.00 | Kg | 111.00 | 120.00 | 6600.00 | 150.00 | 8250.00 | 196.00 | 10780.00 | 126.00 | 6930.00 | 172.00 | 9460.00 | 165.00 | 9075.00 | 1666.00 | 91630.00 | 150.00 | 8250.00 | 6600.00 | K CONSTRUCTIONS
107.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/clerestory windows & desertory other Frames/Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. (a) Frame size 45 x 70 mm | 5.00 | metre | 112.00 | 1000.00 | 5000.00 | 2450.00 | 12250.00 | 706.00 | 3530.00 | 1080.00 | 5400.00 | 622.00 | 3110.00 | 598.00 | 2990.00 | 2288.00 | 11440.00 | 1500.00 | 7500.00 | 2990.00 | SKS PROJECTS
108.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) (a) 30 mm thick | 2.00 | Sqm | 113.00 | 2500.00 | 5000.00 | 4250.00 | 8500.00 | 4347.00 | 8694.00 | 6300.00 | 12600.00 | 3832.00 | 7664.00 | 3684.00 | 7368.00 | 4680.00 | 9360.00 | 8000.00 | 16000.00 | 5000.00 | K CONSTRUCTIONS
109.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 2.00 | Each | 114.00 | 1500.00 | 3000.00 | 2450.00 | 4900.00 | 984.00 | 1968.00 | 2700.00 | 5400.00 | 867.00 | 1734.00 | 833.00 | 1666.00 | 1560.00 | 3120.00 | 1500.00 | 3000.00 | 1666.00 | SKS PROJECTS
110.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). (a) Dark shade pigment using ordinary cement | 34.00 | Sqm | 115.00 | 800.00 | 27200.00 | 1450.00 | 49300.00 | 1120.00 | 38080.00 | 720.00 | 24480.00 | 987.00 | 33558.00 | 949.00 | 32266.00 | 936.00 | 31824.00 | 950.00 | 32300.00 | 24480.00 | BANAMALI ROUT
111.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: (a) 100x100 mm size P type - With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each | 116.00 | 500.00 | 1000.00 | 7500.00 | 15000.00 | 2708.00 | 5416.00 | 1800.00 | 3600.00 | 2387.00 | 4774.00 | 2295.00 | 4590.00 | 12480.00 | 24960.00 | 500.00 | 1000.00 | 1000.00 | K CONSTRUCTIONS, Pavee Construction
112.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : (a) 20 mm nominal bore | 1.00 | Each | 117.00 | 1000.00 | 1000.00 | 1250.00 | 1250.00 | 463.00 | 463.00 | 1080.00 | 1080.00 | 408.00 | 408.00 | 392.00 | 392.00 | 832.00 | 832.00 | 500.00 | 500.00 | 392.00 | SKS PROJECTS
113.00 | Constructing soak pit 1.20x1.20x1.20 m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design | 1.00 | Each | 118.00 | 3000.00 | 3000.00 | 36500.00 | 36500.00 | 2891.00 | 2891.00 | 36000.00 | 36000.00 | 2548.00 | 2548.00 | 2450.00 | 2450.00 | 20800.00 | 20800.00 | 50000.00 | 50000.00 | 2450.00 | SKS PROJECTS
114.00 | Preparation and submission of detailed structural design, providing analysis, design details for the precast boundary wall, including preparation of working drawing, typical cross section details at required chainages, vetting of structural design and drawings from any Govt. Engineering College/NIT/IIT, etc., as per the direction of Engineer in Charge. | 1.00 | Job | 119.00 | 89000.00 | 89000.00 | 141490.00 | 141490.00 | 200000.00 | 200000.00 | 270000.00 | 270000.00 | 88162.00 | 88162.00 | 100000.00 | 100000.00 | 300000.00 | 300000.00 | 200000.00 | 200000.00 | 88162.00 | KRANS PROJECTS PVT LTD
115.00 | Preparation and submission of detailed structural design,structural analysis, detailed and layout working drawing for Watch Tower (length up to 3.5m, width up to 3.5 & height up to 10m) with structural steel members, Gate House of RCC structure (Length up to 10m, width up to 6m & single story building of height up to 4m) & Canopy infront of gate house (Length up to 15m & width up to 10m & and Height up to 10m) with Structural Steel members, including vetting of structural design and drawings from any Govt. Engineering College/NIT/IIT, etc., as per the direction of Engineer in Charge. | 1.00 | Job | 120.00 | 65000.00 | 65000.00 | 125000.00 | 125000.00 | 100000.00 | 100000.00 | 450000.00 | 450000.00 | 88162.00 | 88162.00 | 150000.00 | 150000.00 | 10000.00 | 10000.00 | 150000.00 | 150000.00 | 10000.00 | CIPEL INFRA
116.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | 303.00 | Cum | 121.00 | 800.00 | 242400.00 | 725.00 | 219675.00 | 1000.00 | 303000.00 | 180.00 | 54540.00 | 1816.00 | 550248.00 | 4000.00 | 1212000.00 | 572.00 | 173316.00 | 1500.00 | 454500.00 | 54540.00 | BANAMALI ROUT
117.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | Cum | 122.00 | 1500.00 | 7500.00 | 950.00 | 4750.00 | 3000.00 | 15000.00 | 450.00 | 2250.00 | 3131.00 | 15655.00 | 3009.00 | 15045.00 | 1248.00 | 6240.00 | 3500.00 | 17500.00 | 2250.00 | BANAMALI ROUT
118.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 308.00 | Cum | 123.00 | 200.00 | 61600.00 | 225.00 | 69300.00 | 200.00 | 61600.00 | 90.00 | 27720.00 | 233.00 | 71764.00 | 224.00 | 68992.00 | 520.00 | 160160.00 | 450.00 | 138600.00 | 27720.00 | BANAMALI ROUT
| Total in Figures |  |  |  |  | 31532790.00 |  | 27000000.00 |  | 32494495.00 |  | 36362232.00 |  | 39024680.00 |  | 32926211.00 |  | 36922966.00 |  | 31333550.00
Lowest Amount Quoted BY: Garg Associates(27000000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Additional Miscellaneous Works at Vijayawada Airport SH- Construction of Pre-Cast Boundary wall and Property wall Tender ID: 2025_AAI_224506_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Garg Associates (BID ID -818794) | 27000000.00 | L1
| 2 | Pavee Construction (BID ID -819160) | 31333550.00 | L2
| 3 | K CONSTRUCTIONS (BID ID -818786) | 31532790.00 | L3
| 4 | SRINIVASA EDIFICE PRIVATE LIMITED (BID ID -818890) | 32494495.00 | L4
| 5 | SKS PROJECTS (BID ID -818587) | 32926211.00 | L5
| 6 | BANAMALI ROUT (BID ID -819144) | 36362232.00 | L6
| 7 | CIPEL INFRA (BID ID -818398) | 36922966.00 | L7
| 8 | KRANS PROJECTS PVT LTD (BID ID -818426) | 39024680.00 | L8