## BoQ1
Government eProcurement System Created By: Sateesh Kr Kanaujiya Created Date/Time: 18-Feb-2025 01:27 PM Tender Title: Reconfiguration of Existing Terminal building at Aurangabad Airport SH Provision of Building signages work Tender ID: 2025_AAI_224573_1
Tender Inviting Authority: Senior Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad- 431007.
Name of Work: Reconfiguration of Existing Terminal building at Aurangabad Airport. SH: Provision of Building signages work.
Contract No: 2025_AAI_224573_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mirage Advertising World (GSTN-07ABKPN4676Q1ZP) BID ID -817440 |  | GARIMA SALES CORPORATION (GSTN-NA) BID ID -817622
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Ceiling Hung Directional Sign : Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge. Sign face : Sign face - Graphics - Plotter cut Blockout vinyl Pantone Black 6C, vinyl for text Pantone Yellow C or Cyan 311C as per graphics, pasted over 8mm thick White translucent 040 acrylic. Graphics - Plotter cut blockout vinyl (Pantone Black 6C), translucent coloured vinyl for text, colours as per graphic – (Pantone Yellow C, Pantone 311c) and pasted over milky white 040 acrylic, diffuser film on inside face of acrylic. Sign frame - 50mm wide aluminium extrusion with inbuilt frame to recieve the sign face. The panel should be made easily openable for maintainance. Sign Structure - Framewrok of aluminium 25mmx 25mm hollow squrae sections. Suspender - Stainless steel 25x25mm Hollow sections mounted on slabs/beams/walls (assuming typical length of 1 meter or more in some cases). All hardware used for fixing of sign shall be Stainless steel. Lighting : All internal illumination shall be using LED strip edge Lights of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the signage to the incoming cable. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing for the Ceiling Hung Directional Sign. (Refer design drawing 2.1aS, 2.1aG of Technical Specifications for more detail) Single message - Size - 2100mm x 255mm | 8.00 | Job |  | 17500.00 | 140000.00 | 24300.00 | 194400.00 | 140000.00 | Mirage Advertising World
1.02 | Double message - Size - 2100mm x 515mm | 4.00 | Job |  | 24000.00 | 96000.00 | 36000.00 | 144000.00 | 96000.00 | Mirage Advertising World
1.03 | Tripple message - Size - 2100mm X 775mm | 6.00 | Job |  | 43750.00 | 262500.00 | 45000.00 | 270000.00 | 262500.00 | Mirage Advertising World
2.01 | Wall Mounted Directional Sign Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge Sign Structure - Providing and fixing sign frame 50mm wide Powder coated, colour RAL 9006 aluminium extrusion with inbuilt frame to receive the sign face. Sign Face: Graphics - Plotter cut Blockout vinyl Pantone Black 6C, vinyl for text Pantone Yellow C or Cyan 311C as per graphics, pasted over 8mm thick White translucent 040 acrylic. The sign face shall be fixed to sign frame with VHB tape in one side and Hook & Loop tape from the other side so as the panel be easily openable for maintenance. Graphics - Plotter cut blockout vinyl (Pantone Black 6C), translucent coloured vinyl for text, colours as per graphic – (Pantone Yellow C, Pantone 311c) and pasted over milky white 040 acrylic, diffuser film on inside face of acrylic. Lighting: All internal illumination shall be using LED strip edge Lights of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the signage to incoming cable. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing. (Refer design drawing 2.1c-S, 2.1c-G of Technical Specifications for more detail) Single Message - Size 2100 mm X 255 mm | 5.00 | Job |  | 17500.00 | 87500.00 | 21600.00 | 108000.00 | 87500.00 | Mirage Advertising World
2.02 | Double Message - Size - 2100 mm X 515 mm | 4.00 | Job |  | 24000.00 | 96000.00 | 36000.00 | 144000.00 | 96000.00 | Mirage Advertising World
2.03 | Tripple Message - Size - 2100 mm X 775 MM | 2.00 | Job |  | 43750.00 | 87500.00 | 45000.00 | 90000.00 | 87500.00 | Mirage Advertising World
3.01 | Wall Mounted Facility Announcer Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge Sign Face: Graphics - Plotter cut Blockout vinyl Pantone Black 6C, vinyl for text Pantone Yellow C or Cyan 311C as per graphics, pasted over 8mm thick White translucent 040 acrylic. as per graphics and of specified make duly approved by the Engineer-in- Charge. Sign Frame: 50mm wide aluminium extrusion with inbuilt frame to recieve the sign face. The panel should be made easily openable for maintainance. The sign face shall be fixed to sign frame with VHB tape in one side and Hook & Loop tape from the other side so as the panel be easily openable for maintenance. Lighting: All internal illumination shall be using LED strip edge Lights of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the signage to incoming cable. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing for the Wall Mounted Facility Announcer. (Refer design drawing 2.2a-S, 2.2a-G of Technical Specifications for more detail) Size : 900 X 450 MM | 7.00 | Job |  | 9000.00 | 63000.00 | 11700.00 | 81900.00 | 63000.00 | Mirage Advertising World
3.02 | Size : 750 X 450 MM | 5.00 | Job |  | 9000.00 | 45000.00 | 9900.00 | 49500.00 | 45000.00 | Mirage Advertising World
4.00 | Wall Projected Facility Announcer Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge. Sign Face: Graphics - Plotter cut Blockout vinyl Pantone Black 6C, vinyl for text Pantone Yellow C or Cyan 311C as per graphics, pasted over 8mm thick White translucent 040 acrylic. as per graphics and of specified make duly approved by the Engineer-in- Charge. Sign Frame: 50mm wide aluminium extrusion with inbuilt frame to recieve the sign face. The panel should be made easily openable for maintainance. The sign face shall be fixed to sign frame with VHB tape in one side and Hook & Loop tape from the other side so as the panel be easily openable for maintenance. Lighting: All internal illumination shall be using LED strip edge Lights of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the signage to incoming cable. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing for the Wall Projected Facility Announcer. Size : 900 X 450 MM (Refer design drawing 2.2b-S, 2.2b-G of Technical Specifications for more detail) | 2.00 | Job |  | 9000.00 | 18000.00 | 14400.00 | 28800.00 | 18000.00 | Mirage Advertising World
5.00 | Boarding Gates - Wall Projected Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge Sign Face: Graphics - Plotter cut Blockout vinyl Pantone Black 6C, vinyl for text Pantone Yellow C or Cyan 311C as per graphics, pasted over 8mm thick White translucent 040 acrylic. as per graphics and of specified make duly approved by the Engineer-in- Charge. Sign Frame: 50mm wide aluminium extrusion with inbuilt frame to recieve the sign face. The panel should be made easily openable for maintainance. The sign face shall be fixed to sign frame with VHB tape in one side and Hook & Loop tape from the other side so as the panel be easily openable for maintenance. Lighting: All internal illumination shall be using LED strip edge Lights of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing for the Boarding Gates - Wall Projected. Size : 1000 X 900 MM (Refer design drawing 2.2g2-S, 2.2g2-G of Technical Specifications for more detail) | 7.00 | Job |  | 21000.00 | 147000.00 | 27000.00 | 189000.00 | 147000.00 | Mirage Advertising World
6.00 | Belt No. Sign Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge. Type -1 - (Hanged through pole from top slab ceiling) Sign Face – Entire Sign face all 4 sides, to be made of 8 mm thk acrylic , with the letters/pictogram to match Pantone Black 6C and the rest of the vinyl to match Yellow Pantone Yellow C. To be mounted onto framework using appropriate fixing ties/bolts.Complete box excluding bottom side is lighted with internal LED lighting. Acrylic fabrication shall have transparent structural supports for obstruction free lighting. Box to be directly mounted on the sign structure. Bottom panel – Bottom MS Panel PU Painted in colour to match Vinyl Black of 95%(Pantone Black 6C). Suspender - Stainless steel Hollow section mounted on slabs/beams/walls. Lighting: All internal illumination shall be using LED strip Lights from of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification. Cost to include all internal connections and Wiring, terminating and connecting the signage to incoming cable. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing. Sign Structure:All structural members in SS square post 75 x 75 x 2.5 mm (assuming typical length of 1.7 meter), brush finished. Should be fixed through the exisitng ceiling concrte slab. All hardware used for fixing of sign shall be Stainless steel Post including SS base Plate and Gussets in 6mm thick SS Plate as per drawing with holes to fix it on holding down bolts anchored in concrete slab.Cost to include all activities for fixing the sign in an internal location for the conveyor Belt No. sign direction.. Size : 600x600x600 mm (Refer design drawing 2.2h-S, 2.2h-G of Technical Specifications for more detail) | 4.00 | Job |  | 26000.00 | 104000.00 | 36000.00 | 144000.00 | 104000.00 | Mirage Advertising World
7.00 | Lift Directory Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge. Sign Face : Sign Face: Graphics - Plotter cut Blockout vinyl Pantone Black 6C, vinyl for text Pantone Yellow C or Cyan 311C as per graphics, pasted over 8mm thick 040 acrylic.as per graphics and of specified make duly approved by the Engineer-in- Charge. Sign Frame: Providing and fixing sign frame 50mm wide Powder coated, colour RAL 9006 aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with VHB tape in one side and Hook & Loop tape from the other side so as the panel be easily openable for maintenance. Lighting: All internal illumination shall be using LED strip edge Lights of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site for the Lift Directory. Size : 800 X 460 (Refer design drawing 2.3b-S, 2.3b-G of Technical Specifications for more detail) | 6.00 | Job |  | 10000.00 | 60000.00 | 11700.00 | 70200.00 | 60000.00 | Mirage Advertising World
8.00 | Utility sign - Washroom/Drinking Water/Baby Care Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge. Sign Face: Sign Face:Graphics - Plotter cut Blockout vinyl Pantone Black 6C, vinyl for text Pantone Yellow C or Cyan 311C as per graphics, pasted over 8mmthk acrylic. Lighting : All internal illumination shall be using Power LED Lights with electronic controllers, having even spread and overlaps to avoid banding and dark spots duly approved by the Engineer-in- Charge. Sign Frame: Providing and fixing sign frame 50mm wide Powder coated, colour RAL 9006 aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with VHB tape in one side and Hook & Loop tape from the other side so as the panel be easily openable for maintenance. Secret fixing methods should be used to fix parts together. Lighting: All internal illumination shall be using LED strip edge Lights of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the signae to incoming cable. Wall Mounted - Size : 450 X 450 MM (Refer design drawing 2.4a-S, 2.4a-G, Type 2 of Technical Specifications for more detail) | 12.00 | Job |  | 6000.00 | 72000.00 | 9900.00 | 118800.00 | 72000.00 | Mirage Advertising World
9.00 | Lift No. Sign Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge. Sign Face: Sign face shall be made in 8mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Block out vinyl. The Plotter cut block out vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics and of specified make duly approved by the Engineer-in- Charge. Sign Frame: Providing and fixing sign frame 25 mm wide Powder coated, colour RAL 9006 aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with VHB tape in one side and Hook & Loop tape from the other side so as the panel be easily openable for maintenance. Lighting: All internal illumination shall be using LED strip edge Lights of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the sigange to incoming cable. Wall Mounted - Size 400 X 400 mm (Refer design drawing 2.4c-S, 2.4c-G of Technical Specifications for more detail) | 8.00 | Job |  | 6000.00 | 48000.00 | 9900.00 | 79200.00 | 48000.00 | Mirage Advertising World
10.00 | Emergency Signs - Photoluminiscent Providing and fixing all Photoluminescent signs in the dedicated fire escape passages of the airports as per locations given in sign schedules, made of inkjet printing using artworks provided and with photoluminescent material as per technical specifications. Inkjet printing shall be done on self-adhesive vinyl and pasted on 2mm thick powder coated white (RAL 9016) aluminium plate and fixed at location using screws. as per specification and using provided artwork including all operations from procuring the correct materials and made to sizes as specified and approved by the Engineer-in- charge. including all installation activities like marking, alignment and fixing with screws into the wall/cladding/ face to the satisfaction of the Engineer-in- Charge Signage Sheet for the Emergency Signs - Photoluminescent. Size - (Different Size as per the requiremet) (Refer design drawing 2.6b-G of Technical Specifications for more detail) | 50.00 | Sqft |  | 400.00 | 20000.00 | 1710.00 | 85500.00 | 20000.00 | Mirage Advertising World
11.00 | Emergency Direction Signs Illuminated Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge. 1. Sign Frame - 1.5mm CRCA MS powdercoated white. 2. Sign Face - Laminated acrylic 6mm thick with graphics in white and green transluscent vinyl on the inside face of the glass. 3. Illumination : All Internal illumination using LED lamps connected to a UPS with a min 1.5hr backup. Cost to include all internal connections and Wiring, terminating and connecting the signage to incoming cable. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing. 4. Sign Fixing - Suspenders and projecting pipes shall be stainless steel to match other similar hardware 35mm dia or Wall mounted as per the instructions of EIC. Dimensions : (675 x 255)mm or (900x225)mm as per site requirement (Refer design drawing 2.6a-G (2.6a-1 and 2.6a-2) of Technical Specifications for more detail) (Requirement of Design 2.6a -1 and 2.6a - 2 will be decided by the EIC) | 15.00 | Job |  | 9000.00 | 135000.00 | 5400.00 | 81000.00 | 81000.00 | GARIMA SALES CORPORATION
| Total in Figures |  |  |  |  | 1481500.00 |  | 1878300.00
Lowest Amount Quoted BY: Mirage Advertising World(1481500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Existing Terminal building at Aurangabad Airport SH Provision of Building signages work Tender ID: 2025_AAI_224573_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mirage Advertising World (BID ID -817440) | 1481500.00 | L1
| 2 | GARIMA SALES CORPORATION (BID ID -817622) | 1878300.00 | L2