## BoQ1
Government eProcurement System Created By: Manoj Kumar Sahoo Created Date/Time: 04-Apr-2025 04:27 PM Tender Title: SITC of 20 Nos RADAR and Accessories at various Airports, SH-SITC of 1 No. Elevator at MSSR Building of Visakhapatnam Airport Tender ID: 2025_AAI_225191_1
Tender Inviting Authority: AGM Engg.(Elect.),Airports Authority of India,Visakhapatnam Airport.
Name of Work:SITC of 20 Nos RADAR & accessories at Various Airports.SH:SITC of 01 No Elevator at MSSR Building at Visakhapatnam Airport.
Contract No: 2025_AAI_22591_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd (GSTN-33AAACJ0838Q1ZD) BID ID -824973 |  | Techno Industries Private Limited (GSTN-NA) BID ID -823898
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH I : Dismantling of old elevator and SITC of New Elevator Dismantling of Existing G+7, 6 Passenger Elevator(408 KG, Make: Johnson ) and handover to the AAI, including organizing safety protocols, such as barricades, warning signs, protective gear for workers. Removing of rails,doors,wiring,sensors,motor,drive system, counter weights and other structural elements all necessary arrangements complete as required. | 1.00 | Job | 0.00 | 60000.00 | 60000.00 | 360000.00 | 360000.00 | 60000.00 | Johnson Lifts Pvt Ltd
2.00 | SITC of Machine Room Less (MRL) Electric traction type Lift of 8 Passenger, 544 Kgs capacity suitable for operation on 415 Volts (+/- 5%), 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/ sec, electro magnetic brake system, simplex mode operating panel with luminous buttons with brails marking, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car at all floors with UP/ DOWN direction, Concealed decorative LED light fixtures, ventilation fan (Axial pressure fan), SS tubular Hand Rail (03 side), etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Device (MRD) in the event of power failure etc., as per enclosed technical specifications and special conditions as required. The traction motor of machine room less lifts shall be of gearless type and placed inside the lift hoist way. The Lift shall be with following details 08 Stops, 08 Openings (Ground+7 floors) and entrance at front side on all the serving floors, automatic centre opening stainless steel hairline finish door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 30 mtrs (Approx). | 1.00 | Job | 0.00 | 1855000.00 | 1855000.00 | 2790000.00 | 2790000.00 | 1855000.00 | Johnson Lifts Pvt Ltd
3.00 | Providing and laying in position cement concrete of specified grade.1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 8.00 | Cum | 0.00 | 0.00 | 0.00 | 15300.00 | 122400.00 | 0.00 | Johnson Lifts Pvt Ltd
4.00 | Cement Plastering (In fine Sand) with 20mm Cement Plaster of mix in 1:4 (1 Cement: 4 fine sand) for covering of holes as per site condition etc., complete as required. | 50.00 | Sqm | 0.00 | 0.00 | 0.00 | 2430.00 | 121500.00 | 0.00 | Johnson Lifts Pvt Ltd
5.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 50.00 | Cum | 0.00 | 0.00 | 0.00 | 540.00 | 27000.00 | 0.00 | Johnson Lifts Pvt Ltd
6.00 | Providing of Scaffolding for dismantling of existing lift and white wash in lift shaft area until completion of two concern works including all necessary arrangements complete as required. | 300.00 | Sqm | 0.00 | 0.00 | 0.00 | 750.00 | 225000.00 | 0.00 | Johnson Lifts Pvt Ltd
7.00 | Wall painting with white cement less than 50 grams per litre of appproved brand and maufacture, including applying two coats whatever required to achieve even shade and colour at lift shaft area. | 300.00 | Sqm | 0.00 | 0.00 | 0.00 | 600.00 | 180000.00 | 0.00 | Johnson Lifts Pvt Ltd
8.00 | Demoilishing cement concrete manually by mechanical means including disposal of material within 50 metres lead as per direction of Engineer-in-charge. Nominal concrete 1:3:6 or richer mix (Including equivalent design mix) | 2.00 | Cum | 0.00 | 0.00 | 0.00 | 3600.00 | 7200.00 | 0.00 | Johnson Lifts Pvt Ltd
9.00 | SH II: AICMC of Elevator: All Inclusive comprehensive Maintenance contract for lift installed as per of Sl No 2 i/c carrying out monthly servicing and complete preventive maintenance of all components as per OEM standards i/c attending all breakdown repairs within 24 hours complete as per instructions of Engineer-in-Charge as required (after 1 year of DLP). |  |  | 0.00
9.01 | 1st year | 1.00 | EA | 0.00 | 121230.00 | 121230.00 | 182335.00 | 182335.00 | 121230.00 | Johnson Lifts Pvt Ltd
9.02 | 2nd year | 1.00 | EA | 0.00 | 127746.00 | 127746.00 | 192136.00 | 192136.00 | 127746.00 | Johnson Lifts Pvt Ltd
9.03 | 3rd year | 1.00 | EA | 0.00 | 134265.00 | 134265.00 | 201940.00 | 201940.00 | 134265.00 | Johnson Lifts Pvt Ltd
9.04 | 4th year | 1.00 | EA | 0.00 | 140782.00 | 140782.00 | 211742.00 | 211742.00 | 140782.00 | Johnson Lifts Pvt Ltd
9.05 | 5th year | 1.00 | EA | 0.00 | 147951.00 | 147951.00 | 222525.00 | 222525.00 | 147951.00 | Johnson Lifts Pvt Ltd
| Total in Figures |  |  |  |  | 2586974.00 |  | 4843778.00
Lowest Amount Quoted BY: Johnson Lifts Pvt Ltd(2586974.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of 20 Nos RADAR and Accessories at various Airports, SH-SITC of 1 No. Elevator at MSSR Building of Visakhapatnam Airport Tender ID: 2025_AAI_225191_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Johnson Lifts Pvt Ltd (BID ID -824973) | 2586974.00 | L1
| 2 | Techno Industries Private Limited (BID ID -823898) | 4843778.00 | L2