## BoQ1
Government eProcurement System Created By: SINDHU L S Created Date/Time: 26-Mar-2025 04:14 PM Tender Title: Provision of Perimeter Lighting at Puducherry Airport. SH Phase II Tender ID: 2025_AAI_225991_1
Tender Inviting Authority: ASST GENERAL MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI - 600016
Name of Work: Provision of Perimeter Lighting at Puducherry Airport. SH: Phase-II
Contract No: 2025_AAI_225991_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | C P MONCHESTER ELECTRICALS (GSTN-33AJOPP7842E1ZY) BID ID -826611 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -827808 |  | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -828020 |  | vk sam engineering (GSTN-33AMZPS4037L1ZA) BID ID -828061 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -828067 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -828220 |  | Schnell Energy Equipments Pvt Ltd (GSTN-NA) BID ID -827952 |  | Shiva Enterprises (GSTN-NA) BID ID -828175
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : SUPPLY OF CABLES
1.01 | Supply of following size of XLPE insulated PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS-7098 Part-I amended upto date etc. complete as required (Make : AAI List of Preferred makes).
1.02 | a) 3.5 core x 300 Sq.mm | 1200.00 | Mtr |  | 1290.00 | 1548000.00 | 1432.00 | 1718400.00 | 1500.00 | 1800000.00 | 1355.00 | 1626000.00 | 2050.00 | 2460000.00 | 1390.00 | 1668000.00 | 1571.00 | 1885200.00 | 1355.00 | 1626000.00 | 1548000.00 | C P MONCHESTER ELECTRICALS
1.03 | b) 3.5 core x 95 Sq.mm | 900.00 | Mtr |  | 550.00 | 495000.00 | 513.00 | 461700.00 | 500.00 | 450000.00 | 466.00 | 419400.00 | 750.00 | 675000.00 | 530.00 | 477000.00 | 531.00 | 477900.00 | 465.00 | 418500.00 | 418500.00 | Shiva Enterprises
1.04 | c) 4 core x 16 Sq.mm | 1500.00 | Mtr |  | 174.00 | 261000.00 | 135.00 | 202500.00 | 150.00 | 225000.00 | 138.00 | 207000.00 | 165.00 | 247500.00 | 140.00 | 210000.00 | 150.00 | 225000.00 | 140.00 | 210000.00 | 202500.00 | surbhi association
2.00 | SH-II : SUPPLY OF LED FLOOD LIGHT FIXTURE
2.01 | Supply of LED Flood Light Luminaire withminimum 3300 lumens, minimum efficacy of 110 lumen/Watt, Minimum CCT 5700K and having 5 years warranty from OEM and made of pressure diecast aluminium housing body, front glass, IP 66 suitable for operation at 230 V +/- 10%, Single phase AC supply and as per technical specification etc., complete as required (Make : AAI List of Preferred makes). | 90.00 | EACH |  | 2100.00 | 189000.00 | 1800.00 | 162000.00 | 5000.00 | 450000.00 | 1425.00 | 128250.00 | 2000.00 | 180000.00 | 1600.00 | 144000.00 | 1324.00 | 119160.00 | 2800.00 | 252000.00 | 119160.00 | Schnell Energy Equipments Pvt Ltd
3.00 | SH-III : SUPPLY OF HDPE PIPE OF VARIOUS SIZES
3.01 | Supplying of following OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like socket, bend etc., confirming to IS 4984 complete with fitting and cutting, jointing etc., complete as required (Make : AAI List of Preferred makes).
3.02 | a) 125 mm | 1200.00 | Mtr |  | 345.00 | 414000.00 | 400.00 | 480000.00 | 300.00 | 360000.00 | 417.00 | 500400.00 | 450.00 | 540000.00 | 580.00 | 696000.00 | 427.00 | 512400.00 | 280.00 | 336000.00 | 336000.00 | Shiva Enterprises
3.03 | b) 75 mm | 900.00 | Mtr |  | 157.00 | 141300.00 | 175.00 | 157500.00 | 200.00 | 180000.00 | 164.00 | 147600.00 | 175.00 | 157500.00 | 215.00 | 193500.00 | 165.00 | 148500.00 | 220.00 | 198000.00 | 141300.00 | C P MONCHESTER ELECTRICALS
3.04 | c) 50 mm | 1500.00 | Mtr |  | 120.00 | 180000.00 | 110.00 | 165000.00 | 125.00 | 187500.00 | 84.00 | 126000.00 | 90.00 | 135000.00 | 110.00 | 165000.00 | 80.00 | 120000.00 | 135.00 | 202500.00 | 120000.00 | Schnell Energy Equipments Pvt Ltd
4.00 | SH-IV : SITC OF FEEDER PILLARS
4.01 | Supply, Installation, Testing and Commissioning of MV Switch Board Outdoor Type Main Feeder Pillar made out of 3mm thick CRCA Sheet Steel for outer Shell (width not less than 450 mm) and 2mm thick CRCA Sheet for inner partition, dust tight, vermin proof, totally enclosed, cubicle type, floor mounting, free standing suitable for operation at 433 V, 3 Phase, 4 Wire, 50 Hz AC System complete with all accessories, interconnection, connection, earthing, painting, provided with bottom base channel and locking arrangements including excavation for foundation, providing foundation, suitable RCC pedestal up to 900 mm (450 mm BGL and 450 mm AGL), fixing of panel etc. complete as required and comprising of the following:
4.02 | Two Nos of 250 A, 50 KA, 4P MCCB with Microprocessor Based Releases (L&T MTX 2.0 / Equivalent) for OC/SC/EF Protection and ROM as INCOMER with resin cast C.T. operated Digital Meter (EM 6400 of Conzerve/Equivalent), ON/OFF/TRIP Indication Lamps, Phase Indication Lamps alongwith one No. 250 A, 50KA, 4P MCCB with ROM as Buscoupler, Mechanical castle Interlock (3 Lock, 2 Key) etc. complete as required.
4.03 | One No. of 250 A, 50 KA, 4P MCCB with Microprocessor Based Releases (L&T MTX 2.0 / Equivalent) for OC/SC/EF Protection and ROM as Outgoing with resin cast C.T. operated Digital Meter (EM 6400 of Conzerve/Equivalent), ON/OFF/TRIP Indication Lamps.
4.04 | 3 Nos. of 100 A, 36 KA, 4P MCCB with TM Releases for OC/SC Protection and ROM as Outgoings, with ON/OFF/TRIP Indication Lamps etc., as required.
4.05 | Three Nos of 63 A, 36 KA, 4P MCCB with TM Releases for OC/SC Protection and ROM as Outgoings each having 4P Contactor of 40 Amps rating and 24 Hours Digital Timer for Automatic Control of Perimeter Lighting, ON/OFF/TRIP Indication Lamps etc., as required.
4.06 | One Set of 400 Amps Al. Bus Bars with at Par Neutral Bus Bars as required.
4.07 | All accessories such as fuses, auxillary contactors, auxillary switches, etc. as required.
4.08 | (a) to (e) above - 1 Job | 1.00 | JOB |  | 444000.00 | 444000.00 | 650000.00 | 650000.00 | 600000.00 | 600000.00 | 370000.00 | 370000.00 | 185085.00 | 185085.00 | 545000.00 | 545000.00 | 134586.00 | 134586.00 | 315000.00 | 315000.00 | 134586.00 | Schnell Energy Equipments Pvt Ltd
5.00 | SH-V : SITC WORKS FOR POLES
5.01 | Fabrication and SITC of tubular swaged pole consisting of one section with 5.4 mm thick & 140 mm outer dia MS pole for 1 Mtr length with door and lock provision, providing and fixing 1 No. 5-32 Amps 'C' Series DP MCB and 63A 4 way connector inside the door, 16mm thick base plate of dimension 250mm x 250mm, 4 Nos of 12mm dia 500 mm long GI foundation bolts and nuts, Bottom Section welded with Top section of tubular swaged pole of 4.85 mm thick & 88.9 mm outer dia for length upto 1.5 Mtr (Total Length of second section Pole shall be restricted to the Height of Concertina coil on boundary wall) with MS channel of suitable size for mounting LED fixture, and painted with one coat of zinc chromate primer and two coats of polyurethane paint of approved colour complete including providing RCC Pole Foundation with 1:2:4 CC of Size 30cm X 30cm X 100cm (D) (80cm BGL and 20cm AGL) Or (as per OEM Specification whichever is better), excavation, positioning template and foundation bolts. providing and fixing 2 Nos of PE 63 PN 6 40mm OD HDPE Pipe of required lengh in foundation for loop in loop out cable refilling levelling surface pole numbering etc as required. | 90.00 | JOB |  | 11100.00 | 999000.00 | 8000.00 | 720000.00 | 12000.00 | 1080000.00 | 11683.00 | 1051470.00 | 1250.00 | 112500.00 | 8500.00 | 765000.00 | 17134.00 | 1542060.00 | 14500.00 | 1305000.00 | 112500.00 | Aditya Techno Products Private Limited
6.00 | SH-VI : ITC WORKS
6.01 | Supply and laying of 150 mm dia 'B' Class GI Pipe in concrete/bitumen for cable crossing/laying by cutting the bitumen/concrete of suitable size for laying the pipe, threading, cutting, jointing of pipe & filling the gaps with bitumen mix/concrete and making good the surface matching with original finish etc. as required and as per the instruction of Engineer-in-charge. | 100.00 | Mtr |  | 1920.00 | 192000.00 | 2000.00 | 200000.00 | 1800.00 | 180000.00 | 2345.00 | 234500.00 | 1425.00 | 142500.00 | 1600.00 | 160000.00 | 2287.00 | 228700.00 | 2300.00 | 230000.00 | 142500.00 | Aditya Techno Products Private Limited
7.00 | Laying of following size HDPE pipe with all accessories complete with fitting, cutting, jointing etc., direct in ground at a depth of 0.75m and width of 0.35m below the ground level i/c excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required.
7.01 | a) 125 mm OD HDPE Pipe | 1700.00 | Mtr |  | 90.00 | 153000.00 | 90.00 | 153000.00 | 100.00 | 170000.00 | 171.00 | 290700.00 | 55.00 | 93500.00 | 280.00 | 476000.00 | 107.00 | 181900.00 | 115.00 | 195500.00 | 93500.00 | Aditya Techno Products Private Limited
7.02 | b) 75 mm OD HDPE Pipe | 900.00 | Mtr |  | 90.00 | 81000.00 | 90.00 | 81000.00 | 100.00 | 90000.00 | 171.00 | 153900.00 | 55.00 | 49500.00 | 280.00 | 252000.00 | 67.00 | 60300.00 | 115.00 | 103500.00 | 49500.00 | Aditya Techno Products Private Limited
7.03 | c) 50 mm OD HDPE Pipe | 1500.00 | Mtr |  | 81.00 | 121500.00 | 80.00 | 120000.00 | 100.00 | 150000.00 | 171.00 | 256500.00 | 55.00 | 82500.00 | 240.00 | 360000.00 | 40.00 | 60000.00 | 90.00 | 135000.00 | 60000.00 | Schnell Energy Equipments Pvt Ltd
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC / HUME / METAL/HDPE pipe as required:
8.01 | a) 3.5 core x 300 sq.mm | 1700.00 | Mtr |  | 75.00 | 127500.00 | 50.00 | 85000.00 | 100.00 | 170000.00 | 76.00 | 129200.00 | 65.00 | 110500.00 | 140.00 | 238000.00 | 161.00 | 273700.00 | 100.00 | 170000.00 | 85000.00 | surbhi association
8.02 | b) 3.5 core x 95 Sq.mm | 900.00 | Mtr |  | 30.00 | 27000.00 | 40.00 | 36000.00 | 50.00 | 45000.00 | 57.00 | 51300.00 | 30.00 | 27000.00 | 60.00 | 54000.00 | 114.00 | 102600.00 | 45.00 | 40500.00 | 27000.00 | C P MONCHESTER ELECTRICALS, Aditya Techno Products Private Limited
8.03 | c) 4 core x 16 sq.mm | 1800.00 | Mtr |  | 21.00 | 37800.00 | 30.00 | 54000.00 | 50.00 | 90000.00 | 38.00 | 68400.00 | 15.00 | 27000.00 | 40.00 | 72000.00 | 40.00 | 72000.00 | 35.00 | 63000.00 | 27000.00 | Aditya Techno Products Private Limited
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc., as required.
9.01 | a) 3.5 core x 300 sq.mm | 50.00 | Mtr |  | 650.00 | 32500.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 456.00 | 22800.00 | 110.00 | 5500.00 | 525.00 | 26250.00 | 161.00 | 8050.00 | 200.00 | 10000.00 | 5500.00 | Aditya Techno Products Private Limited
9.02 | b) 3.5 core x 95 Sq.mm | 50.00 | Mtr |  | 650.00 | 32500.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 442.00 | 22100.00 | 55.00 | 2750.00 | 450.00 | 22500.00 | 134.00 | 6700.00 | 160.00 | 8000.00 | 2750.00 | Aditya Techno Products Private Limited
10.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
10.01 | a) 3.5 core x 300 Sq.mm | 2.00 | EACH |  | 14000.00 | 28000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 5225.00 | 10450.00 | 750.00 | 1500.00 | 7000.00 | 14000.00 | 4710.00 | 9420.00 | 5000.00 | 10000.00 | 1500.00 | Aditya Techno Products Private Limited
11.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required:
11.01 | a) 3.5 core x 300 Sq.mm | 2.00 | SET |  | 3600.00 | 7200.00 | 1200.00 | 2400.00 | 1500.00 | 3000.00 | 1710.00 | 3420.00 | 452.00 | 904.00 | 1500.00 | 3000.00 | 672.00 | 1344.00 | 1380.00 | 2760.00 | 904.00 | Aditya Techno Products Private Limited
11.02 | b) 3.5 core x 95 Sq.mm | 2.00 | SET |  | 2640.00 | 5280.00 | 800.00 | 1600.00 | 1000.00 | 2000.00 | 1425.00 | 2850.00 | 225.00 | 450.00 | 550.00 | 1100.00 | 376.00 | 752.00 | 575.00 | 1150.00 | 450.00 | Aditya Techno Products Private Limited
12.00 | Supplying and making end termination with aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required:
12.01 | a) 4 core x 16 Sq.mm | 96.00 | SET |  | 480.00 | 46080.00 | 300.00 | 28800.00 | 500.00 | 48000.00 | 143.00 | 13728.00 | 95.00 | 9120.00 | 100.00 | 9600.00 | 134.00 | 12864.00 | 460.00 | 44160.00 | 9120.00 | Aditya Techno Products Private Limited
13.00 | Installation, testing and commissioning of pre-wired, LED Flood Light/Street Light fitting complete with all accessories etc, directly on existing pole of following height including supply and drawing 3 runs of 1.5 sq. mm FRLS PVC insulated, copper conductor, wire from MCB to fittings and earthing etc., as required. a) For 2.5 meter pole | 90.00 | Mtr |  | 120.00 | 10800.00 | 200.00 | 18000.00 | 500.00 | 45000.00 | 352.00 | 31680.00 | 125.00 | 11250.00 | 250.00 | 22500.00 | 250.00 | 22500.00 | 285.00 | 25650.00 | 10800.00 | C P MONCHESTER ELECTRICALS
14.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal / coke and salt as required. | 2.00 | JOB |  | 9300.00 | 18600.00 | 8500.00 | 17000.00 | 7500.00 | 15000.00 | 4560.00 | 9120.00 | 2250.00 | 4500.00 | 10000.00 | 20000.00 | 6783.00 | 13566.00 | 7000.00 | 14000.00 | 4500.00 | Aditya Techno Products Private Limited
15.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required | 20.00 | Mtr |  | 453.00 | 9060.00 | 550.00 | 11000.00 | 500.00 | 10000.00 | 489.00 | 9780.00 | 225.00 | 4500.00 | 600.00 | 12000.00 | 430.00 | 8600.00 | 450.00 | 9000.00 | 4500.00 | Aditya Techno Products Private Limited
16.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 10.00 | Mtr |  | 300.00 | 3000.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 233.00 | 2330.00 | 75.00 | 750.00 | 160.00 | 1600.00 | 99.00 | 990.00 | 200.00 | 2000.00 | 750.00 | Aditya Techno Products Private Limited
17.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted/welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 10.00 | Sets |  | 1064.00 | 10640.00 | 500.00 | 5000.00 | 750.00 | 7500.00 | 428.00 | 4280.00 | 125.00 | 1250.00 | 500.00 | 5000.00 | 740.00 | 7400.00 | 100.00 | 1000.00 | 1000.00 | Shiva Enterprises
18.00 | Providing and fixng 6 SWG GI wire on surface or in recess for loop earthing alongwith the existing surface/recessed conduit/submain wiring/cable as required. | 1800.00 | Mtrs |  | 21.00 | 37800.00 | 20.00 | 36000.00 | 35.00 | 63000.00 | 29.00 | 52200.00 | 10.00 | 18000.00 | 28.00 | 50400.00 | 16.00 | 28800.00 | 25.00 | 45000.00 | 18000.00 | Aditya Techno Products Private Limited
19.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock | 10.00 | CUM |  | 2100.00 | 21000.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 950.00 | 9500.00 | 900.00 | 9000.00 | 2000.00 | 20000.00 | 2119.00 | 21190.00 | 3300.00 | 33000.00 | 5000.00 | Balaji Engineering
20.00 | Supply and replacement of 400A, 50KA, 4P MCCB, Microprocessor Release in the existing panel and providing 40X10 Buslinks, 3 nos of 400/5A resin cast CTs and multifunctioning meter including testing and commissioning etc. complete as required. | 2.00 | Nos |  | 47100.00 | 94200.00 | 57500.00 | 115000.00 | 75000.00 | 150000.00 | 51775.00 | 103550.00 | 15000.00 | 30000.00 | 35500.00 | 71000.00 | 68908.00 | 137816.00 | 40000.00 | 80000.00 | 30000.00 | Aditya Techno Products Private Limited
21.00 | Supply and replacement of 250A, 36KA, 4P MCCB, Microprocessor Release in the existing panel and providing 25X10 Buslinks, 3 nos of 250/5A resin cast CTs and multifunctioning meter including testing and commissioning etc. complete as required. | 2.00 | Nos |  | 41700.00 | 83400.00 | 46000.00 | 92000.00 | 50000.00 | 100000.00 | 44017.00 | 88034.00 | 11000.00 | 22000.00 | 30500.00 | 61000.00 | 56680.00 | 113360.00 | 36000.00 | 72000.00 | 22000.00 | Aditya Techno Products Private Limited
22.00 | Supply and replacement of 315A, 36KA, 4P MCCB, Microprocessor Release in the existing panel and providing 400X10 Buslinks, 3 nos of 315/5A resin cast CTs and multifunctioning meter including testing and commissioning etc. complete as required. | 2.00 | Nos |  | 41700.00 | 83400.00 | 52000.00 | 104000.00 | 70000.00 | 140000.00 | 48735.00 | 97470.00 | 12500.00 | 25000.00 | 36500.00 | 73000.00 | 63760.00 | 127520.00 | 38000.00 | 76000.00 | 25000.00 | Aditya Techno Products Private Limited
| Total in Figures |  |  |  |  | 5934560.00 |  | 5924900.00 |  | 6863500.00 |  | 6243912.00 |  | 5371559.00 |  | 6888450.00 |  | 6664878.00 |  | 6234220.00
Lowest Amount Quoted BY: Aditya Techno Products Private Limited(5371559.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Perimeter Lighting at Puducherry Airport. SH Phase II Tender ID: 2025_AAI_225991_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Aditya Techno Products Private Limited (BID ID -828067) | 5371559.00 | L1
| 2 | surbhi association (BID ID -827808) | 5924900.00 | L2
| 3 | C P MONCHESTER ELECTRICALS (BID ID -826611) | 5934560.00 | L3
| 4 | Shiva Enterprises (BID ID -828175) | 6234220.00 | L4
| 5 | vk sam engineering (BID ID -828061) | 6243912.00 | L5
| 6 | Schnell Energy Equipments Pvt Ltd (BID ID -827952) | 6664878.00 | L6
| 7 | Balaji Engineering (BID ID -828020) | 6863500.00 | L7
| 8 | Awasthi Electric Works (BID ID -828220) | 6888450.00 | L8