## BoQ1
Government eProcurement System Created By: Saubhik Pan Created Date/Time: 02-Apr-2025 11:39 AM Tender Title: Wall to Wall Grading at Dibrugarh Airport. SH Execution of Electrical Works related to Wall to Wall Grading at Dibrugarh Airport Tender ID: 2025_AAI_226404_1
Tender Inviting Authority:
Name of Work: Wall to Wall Grading at Dibrugarh Airport S.H : Execution of Electrical Works related to Wall to Wall Grading at Dibrugarh Airport
Contract No: 2025_AAI_226404_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SAHA COMMERCIAL CONSTRUCTION (GSTN-19AASFS6288A1ZN) BID ID -823668 |  | ECS ENGINEERING PVT LTD (GSTN-09AABCE5944P1Z1) BID ID -825138 |  | M/s Lalowari Electricals (GSTN-18AAUPL4407G1ZG) BID ID -825576 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -825904 |  | M/s SOM Engineering Works (GSTN-NA) BID ID -825836
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size of XLPE insulated & PVC sheathed, armoured, aluminium conductor under ground cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments complete as required. (Make: As per AAI list of approved makes)
1.01 | 3.5C X 185 sqmm | 1500.00 | Mtr | 1.00 | 840.00 | 1260000.00 | 972.00 | 1458000.00 | 800.00 | 1200000.00 | 880.00 | 1320000.00 | 874.00 | 1311000.00 | 1200000.00 | M/s Lalowari Electricals
1.02 | 3.5C X 120 sqmm | 1000.00 | Mtr | 1.00 | 555.00 | 555000.00 | 665.00 | 665000.00 | 550.00 | 550000.00 | 600.00 | 600000.00 | 589.00 | 589000.00 | 550000.00 | M/s Lalowari Electricals
1.03 | 3.5C X 50 sqmm | 1000.00 | Mtr | 1.00 | 260.00 | 260000.00 | 295.00 | 295000.00 | 260.00 | 260000.00 | 270.00 | 270000.00 | 266.00 | 266000.00 | 260000.00 | SAHA COMMERCIAL CONSTRUCTION, M/s Lalowari Electricals
1.04 | 4 C X 16 sqmm | 1000.00 | Mtr | 1.00 | 120.00 | 120000.00 | 142.00 | 142000.00 | 150.00 | 150000.00 | 140.00 | 140000.00 | 102.00 | 102000.00 | 102000.00 | M/s SOM Engineering Works
2.00 | Supply of 110 mm dia HDPE pipe, lSI marked along with all accessories like socket, couplers etc. conforming to IS 4984-1995, PN4 grade, PE63 etc. | 2000.00 | Mtr | 1.00 | 360.00 | 720000.00 | 342.00 | 684000.00 | 270.00 | 540000.00 | 385.00 | 770000.00 | 180.00 | 360000.00 | 360000.00 | M/s SOM Engineering Works
3.00 | Supply of 63 mm dia HDPE pipe, lSI marked along with all accessories like socket, couplers etc. conforming to IS 4984-1995, PN4 grade, PE63 etc. | 1900.00 | Mtr | 1.00 | 110.00 | 209000.00 | 115.00 | 218500.00 | 110.00 | 209000.00 | 120.00 | 228000.00 | 110.00 | 209000.00 | 209000.00 | SAHA COMMERCIAL CONSTRUCTION, M/s Lalowari Electricals, M/s SOM Engineering Works
4.00 | Laying of HDPE/ DWC pipe of up to 63 mm dia size complete with fitting and cutting, jointing etc.direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. | 1900.00 | Mtr | 1.00 | 132.10 | 250990.00 | 195.00 | 370500.00 | 110.00 | 209000.00 | 210.00 | 399000.00 | 70.00 | 133000.00 | 133000.00 | M/s SOM Engineering Works
5.00 | Laying of HDPE/ DWC of pipe above 63mm and upto(including) 110mm dia size complete with fitting and cutting, jointing or including butt joint welding wherever required etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. | 2000.00 | Mtr | 1.00 | 190.00 | 380000.00 | 247.00 | 494000.00 | 100.00 | 200000.00 | 210.00 | 420000.00 | 100.00 | 200000.00 | 200000.00 | M/s Lalowari Electricals, M/s SOM Engineering Works
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC-HDPE pipe as required
6.01 | Upto 35 sqmm | 1200.00 | Mtr | 1.00 | 35.00 | 42000.00 | 47.00 | 56400.00 | 40.00 | 48000.00 | 40.00 | 48000.00 | 70.00 | 84000.00 | 42000.00 | SAHA COMMERCIAL CONSTRUCTION
6.02 | Above 35 sq. mm and upto 95 sq. mm | 700.00 | Mtr | 1.00 | 55.00 | 38500.00 | 58.00 | 40600.00 | 60.00 | 42000.00 | 60.00 | 42000.00 | 80.00 | 56000.00 | 38500.00 | SAHA COMMERCIAL CONSTRUCTION
6.03 | Above 95 sq. mm and upto 185 sq. mm | 2000.00 | Mtr | 1.00 | 95.00 | 190000.00 | 70.00 | 140000.00 | 70.00 | 140000.00 | 80.00 | 160000.00 | 120.00 | 240000.00 | 140000.00 | ECS ENGINEERING PVT LTD, M/s Lalowari Electricals
6.04 | 185 sq. mm and upto 400 sq. mm | 200.00 | Mtr | 1.00 | 140.00 | 28000.00 | 82.00 | 16400.00 | 130.00 | 26000.00 | 135.00 | 27000.00 | 120.00 | 24000.00 | 16400.00 | ECS ENGINEERING PVT LTD
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KVgrade of size in the existing masonry open duct as required
7.01 | Upto 35 sqmm | 100.00 | mtr | 1.00 | 35.00 | 3500.00 | 47.00 | 4700.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 70.00 | 7000.00 | 3000.00 | M/s Lalowari Electricals, Awasthi Electric Works
7.02 | Above 35 sq. mm and upto 95 sq. mm | 100.00 | Mtr | 1.00 | 45.00 | 4500.00 | 58.00 | 5800.00 | 30.00 | 3000.00 | 45.00 | 4500.00 | 80.00 | 8000.00 | 3000.00 | M/s Lalowari Electricals
7.03 | Above 95 sq.mm and upto 185 sqmm | 50.00 | Mtr | 1.00 | 65.00 | 3250.00 | 70.00 | 3500.00 | 50.00 | 2500.00 | 65.00 | 3250.00 | 120.00 | 6000.00 | 2500.00 | M/s Lalowari Electricals
8.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV/5kV grade of following size on cable tray/surface as required ?
8.01 | upto 35 sqmm | 250.00 | Mtr | 1.00 | 35.00 | 8750.00 | 47.00 | 11750.00 | 50.00 | 12500.00 | 50.00 | 12500.00 | 70.00 | 17500.00 | 8750.00 | SAHA COMMERCIAL CONSTRUCTION
8.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | Mtr | 1.00 | 45.00 | 2250.00 | 58.00 | 2900.00 | 100.00 | 5000.00 | 130.00 | 6500.00 | 110.00 | 5500.00 | 2250.00 | SAHA COMMERCIAL CONSTRUCTION
8.03 | Above 95 sq.mm and upto 185 sqmm | 50.00 | Mtr | 1.00 | 65.00 | 3250.00 | 70.00 | 3500.00 | 100.00 | 5000.00 | 155.00 | 7750.00 | 120.00 | 6000.00 | 3250.00 | SAHA COMMERCIAL CONSTRUCTION
8.04 | Above 185 sq.mm and upto 400 sqmm | 50.00 | Mtr | 1.00 | 95.00 | 4750.00 | 82.00 | 4100.00 | 200.00 | 10000.00 | 230.00 | 11500.00 | 120.00 | 6000.00 | 4100.00 | ECS ENGINEERING PVT LTD
9.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
9.01 | 3.5 C X 50 sqmm | 2.00 | Each | 1.00 | 3450.00 | 6900.00 | 2117.00 | 4234.00 | 2300.00 | 4600.00 | 3150.00 | 6300.00 | 1989.00 | 3978.00 | 3978.00 | M/s SOM Engineering Works
9.02 | 3.5 C X 70 sqmm | 2.00 | Each | 1.00 | 3950.00 | 7900.00 | 2823.00 | 5646.00 | 3200.00 | 6400.00 | 3650.00 | 7300.00 | 2706.00 | 5412.00 | 5412.00 | M/s SOM Engineering Works
9.03 | 3.5 C X 95 sqmm | 4.00 | Each | 1.00 | 4250.00 | 17000.00 | 3058.00 | 12232.00 | 3200.00 | 12800.00 | 3850.00 | 15400.00 | 2770.00 | 11080.00 | 11080.00 | M/s SOM Engineering Works
9.04 | 3.5 C X 120 sqmm | 4.00 | Each | 1.00 | 5250.00 | 21000.00 | 3411.00 | 13644.00 | 4500.00 | 18000.00 | 4100.00 | 16400.00 | 3813.00 | 15252.00 | 13644.00 | ECS ENGINEERING PVT LTD
9.05 | 3.5 C X 185 sqmm | 6.00 | Each | 1.00 | 5750.00 | 34500.00 | 3882.00 | 23292.00 | 4500.00 | 27000.00 | 4200.00 | 25200.00 | 3942.00 | 23652.00 | 23292.00 | ECS ENGINEERING PVT LTD
9.06 | 3.5 C X 240 sqmm | 4.00 | Each | 1.00 | 6250.00 | 25000.00 | 4823.00 | 19292.00 | 4500.00 | 18000.00 | 4850.00 | 19400.00 | 4130.00 | 16520.00 | 16520.00 | M/s SOM Engineering Works
9.07 | 3.5 C X 300 sqmm | 3.00 | Each | 1.00 | 7200.00 | 21600.00 | 5058.00 | 15174.00 | 5500.00 | 16500.00 | 5150.00 | 15450.00 | 4780.00 | 14340.00 | 14340.00 | M/s SOM Engineering Works
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
10.01 | 3.5C x 50 sq.mm (35mm) | 10.00 | Set | 1.00 | 450.00 | 4500.00 | 747.00 | 7470.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 995.00 | 9950.00 | 3000.00 | M/s Lalowari Electricals
10.02 | 3.5 x 70 sq. mm (38mm) | 10.00 | Set | 1.00 | 550.00 | 5500.00 | 794.00 | 7940.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 1280.00 | 12800.00 | 4000.00 | M/s Lalowari Electricals, Awasthi Electric Works
10.03 | 3.5 C X 95 sq.mm (45 mm) | 10.00 | Set | 1.00 | 650.00 | 6500.00 | 842.00 | 8420.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 1416.00 | 14160.00 | 5000.00 | M/s Lalowari Electricals
10.04 | 3.5 x 120 sq.mm (45mm) | 6.00 | Set | 1.00 | 750.00 | 4500.00 | 1135.00 | 6810.00 | 500.00 | 3000.00 | 650.00 | 3900.00 | 1421.00 | 8526.00 | 3000.00 | M/s Lalowari Electricals
10.05 | 3.5 C x 185 sq. mm (57 mm) | 10.00 | Set | 1.00 | 850.00 | 8500.00 | 1723.00 | 17230.00 | 600.00 | 6000.00 | 850.00 | 8500.00 | 2320.00 | 23200.00 | 6000.00 | M/s Lalowari Electricals
10.06 | 3.5 x 240 sq.mm (62 mm) | 8.00 | Set | 1.00 | 950.00 | 7600.00 | 2176.00 | 17408.00 | 800.00 | 6400.00 | 950.00 | 7600.00 | 2851.00 | 22808.00 | 6400.00 | M/s Lalowari Electricals
10.07 | 3.5 x 300 sq.mm (70 mm) | 8.00 | Set | 1.00 | 1150.00 | 9200.00 | 2352.00 | 18816.00 | 900.00 | 7200.00 | 1400.00 | 11200.00 | 3591.00 | 28728.00 | 7200.00 | M/s Lalowari Electricals
10.08 | 4 x 10 sq. mm (25mm) | 50.00 | Set | 1.00 | 250.00 | 12500.00 | 482.00 | 24100.00 | 200.00 | 10000.00 | 250.00 | 12500.00 | 140.00 | 7000.00 | 7000.00 | M/s SOM Engineering Works
10.09 | 4 C X 16 sqmm | 50.00 | Set | 1.00 | 275.00 | 13750.00 | 565.00 | 28250.00 | 200.00 | 10000.00 | 250.00 | 12500.00 | 367.00 | 18350.00 | 10000.00 | M/s Lalowari Electricals
10.10 | 4 C X 25 sqmm ( 28 mm) | 50.00 | Set | 1.00 | 350.00 | 17500.00 | 612.00 | 30600.00 | 200.00 | 10000.00 | 300.00 | 15000.00 | 597.00 | 29850.00 | 10000.00 | M/s Lalowari Electricals
11.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 meter in width, and lift upto 1.5 meter, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 meter. | 3.00 | Cum | 1.00 | 1500.00 | 4500.00 | 4705.00 | 14115.00 | 900.00 | 2700.00 | 2000.00 | 6000.00 | 1000.00 | 3000.00 | 2700.00 | M/s Lalowari Electricals
12.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 20.00 | Set | 1.00 | 4000.00 | 80000.00 | 8823.00 | 176460.00 | 3500.00 | 70000.00 | 9000.00 | 180000.00 | 8000.00 | 160000.00 | 70000.00 | M/s Lalowari Electricals
13.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing CI Collar of height 300mm, 330mm dia made of 10mm thick cast Iron moulding all round , (installtion of collar/enclosure with cement concrete around collar) including 10mm thick MS cover plate fixing on collar with SS bolts, side entry hole on collar for earth strip/wire entry arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 30.00 | Set | 1.00 | 5000.00 | 150000.00 | 13176.00 | 395280.00 | 5000.00 | 150000.00 | 11000.00 | 330000.00 | 25000.00 | 750000.00 | 150000.00 | SAHA COMMERCIAL CONSTRUCTION, M/s Lalowari Electricals
14.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 100.00 | Mtr | 1.00 | 140.00 | 14000.00 | 135.00 | 13500.00 | 150.00 | 15000.00 | 225.00 | 22500.00 | 50.00 | 5000.00 | 5000.00 | M/s SOM Engineering Works
15.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/submain wiring/ cable as required | 500.00 | mtr | 1.00 | 65.00 | 32500.00 | 51.00 | 25500.00 | 20.00 | 10000.00 | 40.00 | 20000.00 | 91.00 | 45500.00 | 10000.00 | M/s Lalowari Electricals
16.00 | Providing and laying in position cement concrete of specified grade 1:2:4(1 Cement:2Coarse sand :4 graded stone aggregate 20mm nominal size) at all levels for damaged portion of wall/road/paver block portion etc., complete as required. | 15.00 | Cumtr | 1.00 | 7500.00 | 112500.00 | 10000.00 | 150000.00 | 3500.00 | 52500.00 | 8000.00 | 120000.00 | 4500.00 | 67500.00 | 52500.00 | M/s Lalowari Electricals
17.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 M sand) , with RCC top slab 1:2:4 mix (1 cement : 2 M sand : 4 graded stone aggregate 20 mm nominal size ), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 M sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3M sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : | 15.00 | Each | 1.00 | 15500.00 | 232500.00 | 22352.00 | 335280.00 | 8500.00 | 127500.00 | 13000.00 | 195000.00 | 4000.00 | 60000.00 | 60000.00 | M/s SOM Engineering Works
18.00 | Supply and Fixing of Cable termination box of minimum size of 160 x 200 x 98 mm, including terminals for connecting LT cables including 6A SP MCB, fixing of box on wall/pole with suitable clamps etc., as required equivalent to hensel KM 9255 | 100.00 | Each | 1.00 | 2550.00 | 255000.00 | 3117.00 | 311700.00 | 1500.00 | 150000.00 | 4200.00 | 420000.00 | 799.60 | 79960.00 | 79960.00 | M/s SOM Engineering Works
19.00 | Supply and Laying of PVC insulated, PVC sheathed round flexible cable of size 3C X 2.5 sqmm cable, from junction box to light points including necessary connection, suitable glanding etc., as required. | 400.00 | Mtr | 1.00 | 125.00 | 50000.00 | 130.00 | 52000.00 | 190.00 | 76000.00 | 180.00 | 72000.00 | 425.00 | 170000.00 | 50000.00 | SAHA COMMERCIAL CONSTRUCTION
20.00 | Supply and fixing of CI collar compatible with existing installed CI box, round type, metal complainer of outside size 330mm dia, height 75-150 mm made of 10mm thick cast Iron moulding all round, except the top and bottom side shall have 6 hole (without tapping) in line with tapped holes (6 nos) of existing transformer housing box top surface, The collar should have clear opening of 220 mm at the top & bottom surface, installing the collar on existing CI box by providing suitable cement concreate along with providing necessary M10 bolts, washer etc., 1 no. gasket etc. complete as required. | 35.00 | Each | 1.00 | 1250.00 | 43750.00 | 4705.00 | 164675.00 | 1800.00 | 63000.00 | 4500.00 | 157500.00 | 10000.00 | 350000.00 | 43750.00 | SAHA COMMERCIAL CONSTRUCTION
| Total in Figures |  |  |  |  | 5282440.00 |  | 6515718.00 |  | 4499600.00 |  | 6186150.00 |  | 5586566.00
Lowest Amount Quoted BY: M/s Lalowari Electricals(4499600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Wall to Wall Grading at Dibrugarh Airport. SH Execution of Electrical Works related to Wall to Wall Grading at Dibrugarh Airport Tender ID: 2025_AAI_226404_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Lalowari Electricals (BID ID -825576) | 4499600.00 | L1
| 2 | SAHA COMMERCIAL CONSTRUCTION (BID ID -823668) | 5282440.00 | L2
| 3 | M/s SOM Engineering Works (BID ID -825836) | 5586566.00 | L3
| 4 | Awasthi Electric Works (BID ID -825904) | 6186150.00 | L4
| 5 | ECS ENGINEERING PVT LTD (BID ID -825138) | 6515718.00 | L5