## BoQ1
Government eProcurement System Created By: Mansing Mane Created Date/Time: 05-May-2025 12:45 PM Tender Title: Replacement of ACs at CNS and NAV-AIDS Installations at D.B.A.I Airport, Nagpur. Tender ID: 2025_AAI_227011_1
Tender Inviting Authority: Dy. Gen. Manager (Engg-Elect), AAI, Nagpur
Name of Work :- Replacement of ACs at CNS & NAV-AIDS Installations at D.B.A.I Airport, Nagpur.
Contract No: Ref:- AAI/NGP/E-E/2024-25/09/AC/NIT-02 Date: 17.02.2025 (Tender ID: 2025_AAI_227011_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -825742 |  | Industrial Traders (GSTN-09ACJPC1773F1ZQ) BID ID -825802 |  | M K ENTERPRISES (GSTN-27AMDPK7085L1ZJ) BID ID -826444
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Inverter type, 3 star rated, 2.0 TR split air conditioner having rotary / scroll / swing type compressor, rated cooling capacity not less than 6350 watts, 100% copper condenser, stabilizer free operation, refrigerant type R-32, cordless remote control, 5 years warranty on PCB & compressor, operate in ambient temperature of range 18 - 52 Deg. C suitable for operation on 230 V, 50 Hz, 1-Ph AC power supply etc. complete as required. (Make / Model : Daikin / FTKL71U OR Blue-Star / IA524DLU OR similar) | 2.00 | Each | 56106.00 | 60000.00 | 120000.00 | 47200.00 | 94400.00 | 41000.00 | 82000.00 | 82000.00 | M K ENTERPRISES
2.00 | Supply of 3.0 TR mega split air conditioner having reciprocating / rotary / scroll type compressor, rated cooling capacity not less than 10540 watts, 100% copper condenser, cordless remote control, refrigerant type R-32, suitable for operation on 415 V, 50 Hz, 3-Ph AC power supply, suitable for operation in ambient temperature of range 18 - 50 Deg.C etc. complete as required. (Make / Model : Blue-Star / IM336AANU1 or Similar) | 21.00 | Each | 112211.00 | 91000.00 | 1911000.00 | 75520.00 | 1585920.00 | 66000.00 | 1386000.00 | 1386000.00 | M K ENTERPRISES
3.00 | Installation, testing & commissioning of inverter type 2.0 TR split air conditioner by fixing indoor unit on wall/ceiling/structure and outdoor unit on floor/wall/stand including providing & fixing suitable size duly painted / powder coated M.S. / G.I. equal angle base frame (ODU Stand), fixing suction/discharge refrigerant copper piping along with elastomeric nitrile rubber insulation (Up to 3 metres or as per OEM standard), control cabling (Up to 3 metres or as per OEM standard) from indoor to outdoor unit, with suitable size of clamp as per site requirement, fasteners, first charging of refrigerant gas i/c minor civil works and all accessories etc. complete as required. | 2.00 | Job | 5050.00 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 2500.00 | 5000.00 | 3000.00 | jaydeep agency corporation
4.00 | Installation, testing & commissioning of 3.0 TR mega split air conditioner by fixing indoor unit on wall/ceiling/structure and outdoor unit on floor/wall/stand, suitable size duly painted / powder coated M.S. / G.I. equal angle base frame (ODU Stand), fasteners, first charging of refrigerant gas i/c minor civil works and all accessories etc. complete as required. | 21.00 | Job | 6565.00 | 2500.00 | 52500.00 | 2400.00 | 50400.00 | 4000.00 | 84000.00 | 50400.00 | Industrial Traders
5.00 | Supply & fixing (Over and above 3 Mtrs included in Item No: 1) of suction/discharge refrigerant copper pipe for 2.0 TR split AC insulated with elastomeric nitrile rubber between indoor and outdoor units with suitable size of clamp as per site requirement and as per technical specifications etc. complete as required. | 10.00 | Mtr. | 714.00 | 870.00 | 8700.00 | 840.00 | 8400.00 | 650.00 | 6500.00 | 6500.00 | M K ENTERPRISES
6.00 | Supply & fixing of suction/discharge refrigerant copper pipe for 3.0 TR mega split / tower split AC insulated with elastomeric nitrile rubber between indoor and outdoor units with suitable size of clamp as per site requirement and as per technical specifications etc. complete as required. | 150.00 | Mtr. | 867.00 | 985.00 | 147750.00 | 840.00 | 126000.00 | 900.00 | 135000.00 | 126000.00 | Industrial Traders
7.00 | Providing and fixing 25 mm dia. UPVC drain pipe including cutting, jointing with approved solvent cement compound etc. complete as required and as per the instruction of EIC. | 80.00 | Mtr. | 153.00 | 85.00 | 6800.00 | 120.00 | 9600.00 | 120.00 | 9600.00 | 6800.00 | jaydeep agency corporation
8.00 | Dismantling of existing split air conditioners of 1.0/ 1.5 / 2.0 TR capacity including refrigerant pipe, cable & shifting the complete unit to the AAI store etc. complete as required. | 2.00 | Job | 1010.00 | 225.00 | 450.00 | 300.00 | 600.00 | 893.00 | 1786.00 | 450.00 | jaydeep agency corporation
9.00 | Dismantling of existing tower / mega split air conditioners of 2.5 / 3.0 / 3.5 TR capacity including refrigerant pipe, cable & shifting the complete unit to the AAI store etc. complete as required. | 21.00 | Job | 2020.00 | 1100.00 | 23100.00 | 300.00 | 6300.00 | 900.00 | 18900.00 | 6300.00 | Industrial Traders
10.00 | Re-Installation, testing & commissioning of 1.0 / 1.5 / 2.0 TR split air conditioner by fixing indoor unit on wall / ceiling / structure and outdoor unit on floor / wall / stand after cleaning, dehydration, leak testing and gas charging with suitable refrigerant gas etc. complete as required. | 2.00 | Job | 4040.00 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 4500.00 | 9000.00 | 3000.00 | jaydeep agency corporation
11.00 | Re-Installation, testing & commissioning of 3.0 / 3.5 TR mega / tower split air conditioner by fixing indoor unit on wall / ceiling / floor and outdoor unit on floor / wall / stand after cleaning, dehydration, leak testing and gas charging with suitable refrigerant gas etc. complete as required. | 2.00 | Job | 5555.00 | 2800.00 | 5600.00 | 2400.00 | 4800.00 | 5000.00 | 10000.00 | 4800.00 | Industrial Traders
12.00 | Supply & fixing of flexible PVC insulated multicore FR PVC sheathed, multi stranded copper conductor cable suitable for voltage grade up to 1100 volt confirming to IS-694:2010 as per list of approved makes.
12.10 | 4 core X 2.5 Sq.mm. | 20.00 | Mtr. | 237.00 | 150.00 | 3000.00 | 240.00 | 4800.00 | 150.00 | 3000.00 | 3000.00 | jaydeep agency corporation, M K ENTERPRISES
12.20 | 5 core X 4 Sq.mm. | 200.00 | Mtr. | 354.00 | 321.00 | 64200.00 | 348.00 | 69600.00 | 200.00 | 40000.00 | 40000.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 2349100.00 |  | 1968020.00 |  | 1790786.00
Lowest Amount Quoted BY: M K ENTERPRISES(1790786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of ACs at CNS and NAV-AIDS Installations at D.B.A.I Airport, Nagpur. Tender ID: 2025_AAI_227011_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES (BID ID -826444) | 1790786.00 | L1
| 2 | Industrial Traders (BID ID -825802) | 1968020.00 | L2
| 3 | jaydeep agency corporation (BID ID -825742) | 2349100.00 | L3