## BoQ1
Government eProcurement System Created By: Amit Avachar Created Date/Time: 18-Mar-2025 12:04 PM Tender Title: Misc civil repair works to dilapidated quarters at NAC Mumbai during 2024 25 Tender ID: 2025_AAI_227210_1
Tender Inviting Authority: AGM(E-C)
Name of Work: Misc civil repair works to dilapidated quarters at NAC, Mumbai during 2024-25
Contract No: 022-20884523
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CONVERGE CONSTRUCTION (GSTN-27CVPPK7045H2Z3) BID ID -828794 |  | Om Sai Associates (GSTN-27AABFO9751D1Z7) BID ID -828800 |  | M I CONSTRUCTIONS (GSTN-27AAQFM9668LIZ5) BID ID -828870 |  | Majisa Corporation (GSTN-27AMIPC2921Q1ZT) BID ID -828936 |  | Raviraj Enterprises (GSTN-NA) BID ID -829026 |  | M/s Jaina Enterprise (GSTN-NA) BID ID -828405 |  | KRUPA MANAGEMENT (GSTN-NA) BID ID -829039
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in foundation and plinth in: Cement mortar 1:4 (1 cement: 4 coarse sand) | 10.00 | cum | 1.25 | 4000.00 | 40000.00 | 6500.00 | 65000.00 | 6500.00 | 65000.00 | 1500.00 | 15000.00 | 4800.00 | 48000.00 | 5008.00 | 50080.00 | 1900.00 | 19000.00 | 15000.00 | Majisa Corporation
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering All work up to plinth level: 1:2:4 (1 cement: 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 15.00 | cum | 0.00 | 4000.00 | 60000.00 | 5800.00 | 87000.00 | 6500.00 | 97500.00 | 1500.00 | 22500.00 | 4500.00 | 67500.00 | 5755.00 | 86325.00 | 5000.00 | 75000.00 | 22500.00 | Majisa Corporation
3.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sils, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement: 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red: Area of slab upto 0.50 sqm | 30.00 | sqm | 100.00 | 1400.00 | 42000.00 | 2000.00 | 60000.00 | 2200.00 | 66000.00 | 3500.00 | 105000.00 | 1800.00 | 54000.00 | 3500.00 | 105000.00 | 3500.00 | 105000.00 | 42000.00 | CONVERGE CONSTRUCTION
4.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 50.00 | metre | 53.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 75.00 | 3750.00 | 100.00 | 5000.00 | 120.00 | 6000.00 | 206.04 | 10302.00 | 510.95 | 25547.50 | 3750.00 | M I CONSTRUCTIONS
5.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc, complete. Electric resistance or induction butt welded tubes | 500.00 | kg | 10.00 | 100.00 | 50000.00 | 100.00 | 50000.00 | 100.00 | 50000.00 | 85.00 | 42500.00 | 75.00 | 37500.00 | 134.10 | 67050.00 | 160.00 | 80000.00 | 37500.00 | Raviraj Enterprises
6.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 3500.00 | sqm | 11.00 | 20.00 | 70000.00 | 10.00 | 35000.00 | 10.00 | 35000.00 | 2.00 | 7000.00 | 15.00 | 52500.00 | 17.30 | 60550.00 | 10.00 | 35000.00 | 7000.00 | Majisa Corporation
7.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1500.00 | sqm | 10.00 | 100.00 | 150000.00 | 60.00 | 90000.00 | 70.00 | 105000.00 | 35.00 | 52500.00 | 110.00 | 165000.00 | 97.60 | 146400.00 | 99.00 | 148500.00 | 52500.00 | Majisa Corporation
8.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 500.00 | sqm | 22.00 | 150.00 | 75000.00 | 75.00 | 37500.00 | 70.00 | 35000.00 | 120.00 | 60000.00 | 95.00 | 47500.00 | 107.60 | 53800.00 | 200.00 | 100000.00 | 35000.00 | M I CONSTRUCTIONS
9.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2500.00 | kg | 0.00 | 87.00 | 217500.00 | 85.00 | 212500.00 | 85.00 | 212500.00 | 75.00 | 187500.00 | 70.00 | 175000.00 | 80.90 | 202250.00 | 105.00 | 262500.00 | 175000.00 | Raviraj Enterprises
10.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: One or more coats on old work | 1000.00 | sqm | 1.00 | 85.00 | 85000.00 | 45.00 | 45000.00 | 50.00 | 50000.00 | 80.00 | 80000.00 | 85.00 | 85000.00 | 70.92 | 70920.00 | 95.00 | 95000.00 | 45000.00 | Om Sai Associates
11.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 1500.00 | Sqm | 0.00 | 90.00 | 135000.00 | 60.00 | 90000.00 | 50.00 | 75000.00 | 125.00 | 187500.00 | 120.00 | 180000.00 | 121.20 | 181800.00 | 195.00 | 292500.00 | 75000.00 | M I CONSTRUCTIONS
12.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour Two Coat | 3500.00 | Sqm | 100.00 | 120.00 | 420000.00 | 70.00 | 245000.00 | 70.00 | 245000.00 | 90.00 | 315000.00 | 65.00 | 227500.00 | 105.00 | 367500.00 | 95.00 | 332500.00 | 227500.00 | Raviraj Enterprises
13.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 1500.00 | sqm | 53.00 | 35.00 | 52500.00 | 25.00 | 37500.00 | 25.00 | 37500.00 | 12.00 | 18000.00 | 20.00 | 30000.00 | 37.10 | 55650.00 | 25.00 | 37500.00 | 18000.00 | Majisa Corporation
14.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | 5.00 | cum | 10.00 | 800.00 | 4000.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 2450.20 | 12251.00 | 500.00 | 2500.00 | 2500.00 | Om Sai Associates, M I CONSTRUCTIONS, KRUPA MANAGEMENT
15.00 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer-in-charge. | 10.00 | sqm | 11.00 | 120.00 | 1200.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 251.00 | 2510.00 | 510.00 | 5100.00 | 791.20 | 7912.00 | 600.00 | 6000.00 | 500.00 | M I CONSTRUCTIONS
16.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. 50 mm average thickness in 3 layers. | 250.00 | sqm | 10.00 | 200.00 | 50000.00 | 375.00 | 93750.00 | 400.00 | 100000.00 | 74.00 | 18500.00 | 300.00 | 75000.00 | 810.12 | 202530.00 | 950.00 | 237500.00 | 18500.00 | Majisa Corporation
17.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 500.00 | cum | 22.00 | 150.00 | 75000.00 | 200.00 | 100000.00 | 250.00 | 125000.00 | 50.00 | 25000.00 | 95.00 | 47500.00 | 182.08 | 91040.00 | 150.00 | 75000.00 | 25000.00 | Majisa Corporation
18.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix: 1:4 (1 cement: 4 fine sand) | 250.00 | sqm | 0.00 | 350.00 | 87500.00 | 200.00 | 50000.00 | 200.00 | 50000.00 | 150.00 | 37500.00 | 200.00 | 50000.00 | 275.26 | 68815.00 | 250.00 | 62500.00 | 37500.00 | Majisa Corporation
19.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). Kiln seasoned and chemically treated hollock wood | 1.00 | cum | 0.00 | 2000.00 | 2000.00 | 60000.00 | 60000.00 | 55000.00 | 55000.00 | 55008.00 | 55008.00 | 35000.00 | 35000.00 | 57530.00 | 57530.00 | 75000.00 | 75000.00 | 2000.00 | CONVERGE CONSTRUCTION
20.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 5.00 | cum | 100.00 | 4500.00 | 22500.00 | 7500.00 | 37500.00 | 7500.00 | 37500.00 | 4500.00 | 22500.00 | 4000.00 | 20000.00 | 7820.12 | 39100.60 | 10500.00 | 52500.00 | 20000.00 | Raviraj Enterprises
21.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. A) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 500.00 | kg | 53.00 | 60.00 | 30000.00 | 60.00 | 30000.00 | 65.00 | 32500.00 | 65.00 | 32500.00 | 75.00 | 37500.00 | 74.12 | 37060.00 | 96.00 | 48000.00 | 30000.00 | CONVERGE CONSTRUCTION, Om Sai Associates
22.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Edges of slabs and breaks in floors and walls under 20 cm wide | 50.00 | sqm | 10.00 | 300.00 | 15000.00 | 150.00 | 7500.00 | 250.00 | 12500.00 | 95.00 | 4750.00 | 90.00 | 4500.00 | 143.30 | 7165.00 | 966.00 | 48300.00 | 4500.00 | Raviraj Enterprises
23.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 250.00 | kg | 11.00 | 400.00 | 100000.00 | 400.00 | 100000.00 | 400.00 | 100000.00 | 300.00 | 75000.00 | 350.00 | 87500.00 | 366.12 | 91530.00 | 499.00 | 124750.00 | 75000.00 | Majisa Corporation
24.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 1500.00 | kg | 10.00 | 450.00 | 675000.00 | 390.00 | 585000.00 | 380.00 | 570000.00 | 298.00 | 447000.00 | 280.00 | 420000.00 | 306.15 | 459225.00 | 510.00 | 765000.00 | 420000.00 | Raviraj Enterprises
25.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 500.00 | sqm | 22.00 | 400.00 | 200000.00 | 600.00 | 300000.00 | 650.00 | 325000.00 | 750.00 | 375000.00 | 650.00 | 325000.00 | 938.10 | 469050.00 | 950.00 | 475000.00 | 200000.00 | CONVERGE CONSTRUCTION
26.00 | Filling the gap in between aluminium/steel/ms frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod/mortar/aluminium/or by any means of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 1000.00 | metre | 0.00 | 80.00 | 80000.00 | 25.00 | 25000.00 | 30.00 | 30000.00 | 35.00 | 35000.00 | 20.00 | 20000.00 | 66.12 | 66120.00 | 50.00 | 50000.00 | 20000.00 | Raviraj Enterprises
27.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-inchargePowder coated minimum thickness 50 micron aluminium | 250.00 | each | 1.00 | 60.00 | 15000.00 | 75.00 | 18750.00 | 75.00 | 18750.00 | 100.00 | 25000.00 | 35.00 | 8750.00 | 75.15 | 18787.50 | 95.00 | 23750.00 | 8750.00 | Raviraj Enterprises
28.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 5.00 | cum | 0.00 | 800.00 | 4000.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 950.00 | 4750.00 | 1150.00 | 5750.00 | 1679.69 | 8398.45 | 1500.00 | 7500.00 | 2500.00 | Om Sai Associates, M I CONSTRUCTIONS
29.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red. Area of slab over 0.50 sqm | 10.00 | sqm | 100.00 | 1800.00 | 18000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 3501.00 | 35010.00 | 2460.00 | 24600.00 | 3544.60 | 35446.00 | 5000.00 | 50000.00 | 18000.00 | CONVERGE CONSTRUCTION
30.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 250.00 | each | 53.00 | 150.00 | 37500.00 | 50.00 | 12500.00 | 50.00 | 12500.00 | 60.00 | 15000.00 | 55.00 | 13750.00 | 41.12 | 10280.00 | 47.00 | 11750.00 | 10280.00 | M/s Jaina Enterprise
31.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges (heavy weight) with stainless steel screws etc. complete : 125x64x2.50 mm | 500.00 | each | 10.00 | 100.00 | 50000.00 | 60.00 | 30000.00 | 60.00 | 30000.00 | 100.00 | 50000.00 | 65.00 | 32500.00 | 89.12 | 44560.00 | 50.00 | 25000.00 | 25000.00 | KRUPA MANAGEMENT
32.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 250.00 | each | 11.00 | 150.00 | 37500.00 | 50.00 | 12500.00 | 50.00 | 12500.00 | 80.00 | 20000.00 | 80.00 | 20000.00 | 55.26 | 13815.00 | 40.00 | 10000.00 | 10000.00 | KRUPA MANAGEMENT
33.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead: Of area 3 sq. metres and below | 100.00 | each | 10.00 | 350.00 | 35000.00 | 100.00 | 10000.00 | 200.00 | 20000.00 | 150.00 | 15000.00 | 175.00 | 17500.00 | 251.20 | 25120.00 | 250.00 | 25000.00 | 10000.00 | Om Sai Associates
34.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sgm including pointing the joints with white cement and matching pigment etc., complete. | 500.00 | sqm | 22.00 | 200.00 | 100000.00 | 750.00 | 375000.00 | 750.00 | 375000.00 | 800.00 | 400000.00 | 450.00 | 225000.00 | 850.00 | 425000.00 | 600.00 | 300000.00 | 100000.00 | CONVERGE CONSTRUCTION
35.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to 1S: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 2500.00 | sqm | 0.00 | 600.00 | 1500000.00 | 750.00 | 1875000.00 | 720.00 | 1800000.00 | 600.00 | 1500000.00 | 550.00 | 1375000.00 | 780.00 | 1950000.00 | 446.00 | 1115000.00 | 1115000.00 | KRUPA MANAGEMENT
36.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. size of tile 600 x600mm | 100.00 | sqm | 0.00 | 800.00 | 80000.00 | 900.00 | 90000.00 | 850.00 | 85000.00 | 1050.00 | 105000.00 | 700.00 | 70000.00 | 1070.61 | 107061.00 | 950.00 | 95000.00 | 70000.00 | Raviraj Enterprises
37.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 1000.00 | sqm | 100.00 | 70.00 | 70000.00 | 25.00 | 25000.00 | 25.00 | 25000.00 | 55.00 | 55000.00 | 38.00 | 38000.00 | 50.14 | 50140.00 | 20.00 | 20000.00 | 20000.00 | KRUPA MANAGEMENT
38.00 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge 50 mm average thickness | 750.00 | sqm | 53.00 | 100.00 | 75000.00 | 25.00 | 18750.00 | 50.00 | 37500.00 | 10.00 | 7500.00 | 170.00 | 127500.00 | 176.36 | 132270.00 | 150.00 | 112500.00 | 7500.00 | Majisa Corporation
39.00 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. Bars upto 12 mm diameter | 25.00 | metre | 10.00 | 10.00 | 250.00 | 10.00 | 250.00 | 5.00 | 125.00 | 5.00 | 125.00 | 5.50 | 137.50 | 5.25 | 131.25 | 8.25 | 206.25 | 125.00 | M I CONSTRUCTIONS, Majisa Corporation
40.00 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 100.00 | Sqm | 11.00 | 220.00 | 22000.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 185.00 | 18500.00 | 196.14 | 19614.00 | 285.20 | 28520.00 | 10000.00 | Om Sai Associates, M I CONSTRUCTIONS
41.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). 12 mm average thickness. | 1500.00 | Sqm | 10.00 | 100.00 | 150000.00 | 250.00 | 375000.00 | 230.00 | 345000.00 | 65.00 | 97500.00 | 180.00 | 270000.00 | 211.15 | 316725.00 | 300.00 | 450000.00 | 97500.00 | Majisa Corporation
42.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). 25 mm average thickness. | 250.00 | Sqm | 22.00 | 100.00 | 25000.00 | 300.00 | 75000.00 | 300.00 | 75000.00 | 100.00 | 25000.00 | 395.00 | 98750.00 | 405.01 | 101252.50 | 520.00 | 130000.00 | 25000.00 | CONVERGE CONSTRUCTION, Majisa Corporation
43.00 | Providing and fixing 1.5 mm thick PVC flooring sheet of approved quality and colour shade as approved by Engineering In Charge complete including fixing, pasting by Approved glue, cutting, removal of wraps, etc. | 1100.00 | Sqm | 0.00 | 300.00 | 330000.00 | 325.00 | 357500.00 | 450.00 | 495000.00 | 150.00 | 165000.00 | 530.00 | 583000.00 | 415.05 | 456555.00 | 150.00 | 165000.00 | 165000.00 | Majisa Corporation, KRUPA MANAGEMENT
| Total in Figures |  |  |  |  | 5295950.00 |  | 5759500.00 |  | 5881625.00 |  | 4770153.00 |  | 5238837.50 |  | 6782111.30 |  | 6199323.75
Lowest Amount Quoted BY: Majisa Corporation(4770153.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc civil repair works to dilapidated quarters at NAC Mumbai during 2024 25 Tender ID: 2025_AAI_227210_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Majisa Corporation (BID ID -828936) | 4770153.00 | L1
| 2 | Raviraj Enterprises (BID ID -829026) | 5238837.50 | L2
| 3 | CONVERGE CONSTRUCTION (BID ID -828794) | 5295950.00 | L3
| 4 | Om Sai Associates (BID ID -828800) | 5759500.00 | L4
| 5 | M I CONSTRUCTIONS (BID ID -828870) | 5881625.00 | L5
| 6 | KRUPA MANAGEMENT (BID ID -829039) | 6199323.75 | L6
| 7 | M/s Jaina Enterprise (BID ID -828405) | 6782111.30 | L7