## BoQ1
Government eProcurement System Created By: Amit Avachar Created Date/Time: 02-Apr-2025 05:55 PM Tender Title: Provision of Temporary Badminton court at New Airport Colony Mumbai Tender ID: 2025_AAI_228205_1
Tender Inviting Authority: AGM(E-C)
Name of Work: Provision of Temporary Badminton court at New Airport Colony, Mumbai
Contract No: AAI/NAC/Badminton/24-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CONVERGE CONSTRUCTION (GSTN-27CVPPK7045H2Z3) BID ID -829232 |  | Majisa Corporation (GSTN-27AMIPC2921Q1ZT) BID ID -835439 |  | Om Sai Associates (GSTN-27AABFO9751D1Z7) BID ID -835538 |  | M I CONSTRUCTIONS (GSTN-27AAQFM9668LIZ5) BID ID -835910 |  | Silhouette Infraprojects (GSTN-NA) BID ID -835693 |  | Raviraj Enterprises (GSTN-NA) BID ID -835945
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil. | 136.37 | cum | 1.25 | 100.00 | 13637.00 | 100.00 | 13637.00 | 100.00 | 13637.00 | 50.00 | 6818.50 | 169.00 | 23046.53 | 200.00 | 27274.00 | 6818.50 | M I CONSTRUCTIONS
2.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement: 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : a) Cement mortar 1:6 (1 cement: 6 coarse sand) | 34.20 | cum | 0.00 | 1500.00 | 51300.00 | 3648.89 | 124792.04 | 2000.00 | 68400.00 | 1200.00 | 41040.00 | 500.00 | 17100.00 | 2500.00 | 85500.00 | 17100.00 | Silhouette Infraprojects
3.00 | Providing and laying in position cement concrete of specified grade. excluding the cost of centering and shuttering All work up to plinth level: 1:4:8 (1 Cement: 4 coarse sand (zone-III) derived from natural sources: 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 73.80 | cum | 100.00 | 3300.00 | 243540.00 | 4000.00 | 295200.00 | 4800.00 | 354240.00 | 3800.00 | 280440.00 | 3250.00 | 239850.00 | 2500.00 | 184500.00 | 184500.00 | Raviraj Enterprises
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for a) Foundations, footings, bases of columns, etc. for mass concrete | 80.64 | sqm | 53.00 | 200.00 | 16128.00 | 300.00 | 24192.00 | 150.00 | 12096.00 | 200.00 | 16128.00 | 100.00 | 8064.00 | 185.00 | 14918.40 | 8064.00 | Silhouette Infraprojects
5.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level a) Concrete of M30 grade with minimum cement content of 350 kg /cum | 115.42 | cum | 10.00 | 4900.00 | 565558.00 | 6800.00 | 784856.00 | 7200.00 | 831024.00 | 6000.00 | 692520.00 | 5000.00 | 577100.00 | 5500.00 | 634810.00 | 565558.00 | CONVERGE CONSTRUCTION
6.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1695.57 | kg | 11.00 | 87.00 | 147514.59 | 85.00 | 144123.45 | 78.00 | 132254.46 | 75.00 | 127167.75 | 80.00 | 135645.60 | 70.00 | 118689.90 | 118689.90 | Raviraj Enterprises
7.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc, complete. a) Electric resistance or induction butt welded tubes | 17511.94 | kg | 10.00 | 91.00 | 1593586.54 | 97.00 | 1698658.18 | 82.00 | 1435979.08 | 105.00 | 1838753.70 | 95.00 | 1663634.30 | 85.00 | 1488514.90 | 1435979.08 | Om Sai Associates
8.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness. with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns, Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 1074.50 | sqm | 22.00 | 367.00 | 394341.50 | 510.00 | 547995.00 | 460.00 | 494270.00 | 550.00 | 590975.00 | 480.00 | 515760.00 | 410.00 | 440545.00 | 394341.50 | CONVERGE CONSTRUCTION
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class. designation 3.5 in foundation and plinth in: Cement mortar 1:4 (1 cement: 4 coarse sand) | 29.44 | cum | 0.00 | 4999.00 | 147170.56 | 3500.00 | 103040.00 | 6000.00 | 176640.00 | 1200.00 | 35328.00 | 4790.00 | 141017.60 | 4000.00 | 117760.00 | 35328.00 | M I CONSTRUCTIONS
10.00 | 15 mm cement plaster on rough side of single or half brick wall of mix:: 1:4 (1 cement: 4 coarse sand) | 357.35 | sqm | 1.00 | 249.00 | 88980.15 | 210.00 | 75043.50 | 150.00 | 53602.50 | 200.00 | 71470.00 | 232.00 | 82905.20 | 150.00 | 53602.50 | 53602.50 | Om Sai Associates, Raviraj Enterprises
11.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes conforming to IS:15801 UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, including trenching, refilling & testing of joints complete as per direction of Engineer-in-Charge. External work PN-10 Pipe, 63 mm OD (SDR-11) | 10.00 | meter | 0.00 | 599.00 | 5990.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 225.00 | 2250.00 | 2250.00 | Raviraj Enterprises
12.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS: 15801 UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, including trenching, refilling & testing of joints complete as per direction of Engineer-in-Charge. External work PN-10 Pipe, 110 mm OD (SDR-11) | 40.00 | meter | 100.00 | 550.00 | 22000.00 | 550.00 | 22000.00 | 900.00 | 36000.00 | 400.00 | 16000.00 | 1000.00 | 40000.00 | 600.00 | 24000.00 | 16000.00 | M I CONSTRUCTIONS
13.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement: 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 (1 cement: 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement: 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design: 18.35.1 With common burnt clay F.P.S. (non modular) bricks of class designation 3.5 | 2.00 | each | 53.00 | 9000.00 | 18000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 2000.00 | 4000.00 | 17000.00 | 34000.00 | 10000.00 | 20000.00 | 4000.00 | M I CONSTRUCTIONS
14.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. a) On steel work | 515.56 | Sqm | 10.00 | 110.00 | 56711.60 | 150.00 | 77334.00 | 140.00 | 72178.40 | 125.00 | 64445.00 | 75.00 | 38667.00 | 135.00 | 69600.60 | 38667.00 | Silhouette Infraprojects
15.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | 393.75 | Sqm | 11.00 | 110.00 | 43312.50 | 150.00 | 59062.50 | 150.00 | 59062.50 | 135.00 | 53156.25 | 75.00 | 29531.25 | 50.00 | 19687.50 | 19687.50 | Raviraj Enterprises
16.00 | Providing and Fixing wooden sub-base floor complete i/c loading, unloading, transportation, assembly, finishes, etc. as per instruction of Engineering In Charge having the following layers and specifications: 1) Layer - 1: Providing and Laying of 150 GSM plastic sheet over prepared concrete surface to prevent moisture to enter system. 2) Layer - 2: Providing and fixing EPDM Rubber Button with min. rubber layer thickness 3mm and having plan dimension not less than 70mmx50mm and having 4 large uniform studds of height not less than 13mm with Dia 20mm and 4 small uniform studds of height of not less than 10mm with Dia 10mm, fixed below the runner using pins / nails at a distance of 10cm c/c. 3) Layer - 3: Providing and fixing treated pine wood runners (Wood to be treated anti-termite treatment and moisture resistance) of dimension not less than 70mm x 45mm in required length joint with adhesive and metal clips / nails. Runners to be placed at a C/C distance of not less than 23 cm. (Note: Testing of wood will be carried out to ascertain type of wood, moisture content and other parameters) 4) Layer - 4: Providing and fixing teak wood of grade A in flooring having min. thickness of 20mm, min. width of 50mm, fixed over runners using SS screws from sides at the distance not more than 25cm, fixed in one another with grooves with male part not less than 5mm. The final surface to be finished with machine sanding and polished with water based PU polish. The markings over the polished surface, if required, to be marked with Epoxy paint as required. (Note: Testing of wood will be carried out to ascertain type of wood, moisture content and other parameters) The supplier / manufacturer / assempler will give a warranty of min. 5 years on the guarantee bond for the above system against damages due to termite, moisture absorption, defects in wood used, defects due to workmanship, sinking of the system and failure of the system. | 393.75 | sqm | 10.00 | 2600.00 | 1023750.00 | 3100.00 | 1220625.00 | 3000.00 | 1181250.00 | 2800.00 | 1102500.00 | 3100.00 | 1220625.00 | 6500.00 | 2559375.00 | 1023750.00 | CONVERGE CONSTRUCTION
17.00 | Providing and Fixing 4.5 mm thick PVC vinyl flooring for badminton court over sub-base of wooden floor in required colors i/c installation by welding core, fixing the flooring with appropriate adhesive, painting court for markings, transportion, loading and unloading complete as per instruction of Engineering In Charge. | 393.75 | sqm | 22.00 | 1000.00 | 393750.00 | 1200.00 | 472500.00 | 1500.00 | 590625.00 | 1200.00 | 472500.00 | 850.00 | 334687.50 | 1800.00 | 708750.00 | 334687.50 | Silhouette Infraprojects
18.00 | Providing and fixing Roof mounted ventilators having specifications as 1) throat / neck diameter 600mm; 2) natural wind driven ventilator; 3) manufactured from standard Aluminium alloys with bearing holder assembly made up of Glass Filled Nylon integrated with Aluminium tube; 4) 2 Nos. ball bearing not exposed to exhaust air flow; 5) MS Plated shaft and having 42 Nos. of vanes; 6) mill finished; 7) manufactured in three-part construction; 8)The rotating head with Aluminium variable angle throat to be mounted on an Aluminium ring and to be able to counter the roof slope range 0–180 to enable vertical-to-ground installation of the head; 9) ventilator assembly has to be mounted on a customized FRP base making the ventilator assembly weather-tight complete installation, assembly base, application of weather proof sealant, accessories, etc. as per instruction of Engineering In Charge. | 6.00 | each | 0.00 | 3100.00 | 18600.00 | 7500.00 | 45000.00 | 9500.00 | 57000.00 | 8200.00 | 49200.00 | 5000.00 | 30000.00 | 5300.00 | 31800.00 | 18600.00 | CONVERGE CONSTRUCTION
19.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed PVC conduit, with modular switch, modular plate, suitable PVC box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 18.00 | Point | 0.00 | 1000.00 | 18000.00 | 1400.00 | 25200.00 | 900.00 | 16200.00 | 1200.00 | 21600.00 | 1011.00 | 18198.00 | 900.00 | 16200.00 | 16200.00 | Om Sai Associates, Raviraj Enterprises
20.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 15.00 | Point | 100.00 | 700.00 | 10500.00 | 750.00 | 11250.00 | 900.00 | 13500.00 | 850.00 | 12750.00 | 598.00 | 8970.00 | 1000.00 | 15000.00 | 8970.00 | Silhouette Infraprojects
21.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (a)(2 X 2.5 sq. mm +1 X 2.5 sq. mm earth wire) | 250.00 | Meter | 53.00 | 180.00 | 45000.00 | 150.00 | 37500.00 | 150.00 | 37500.00 | 250.00 | 62500.00 | 300.00 | 75000.00 | 180.00 | 45000.00 | 37500.00 | Majisa Corporation, Om Sai Associates
22.00 | Supplying and fixing suitable size PVC box with modular plate and cover in front on surface or in recess , including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 8.00 | Each | 10.00 | 700.00 | 5600.00 | 600.00 | 4800.00 | 500.00 | 4000.00 | 650.00 | 5200.00 | 500.00 | 4000.00 | 570.00 | 4560.00 | 4000.00 | Om Sai Associates, Silhouette Infraprojects
23.00 | Supplying and fixing suitable size PVC box with modular plate and cover in front on surface or in recess , including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 5.00 | Each | 11.00 | 600.00 | 3000.00 | 525.00 | 2625.00 | 400.00 | 2000.00 | 575.00 | 2875.00 | 395.00 | 1975.00 | 485.00 | 2425.00 | 1975.00 | Silhouette Infraprojects
24.00 | Supplying and fixing brass batten/angle holder (ring type) including connection etc as required. | 5.00 | Each | 10.00 | 240.00 | 1200.00 | 125.00 | 625.00 | 70.00 | 350.00 | 210.00 | 1050.00 | 120.00 | 600.00 | 80.00 | 400.00 | 350.00 | Om Sai Associates
25.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 140.00 | Metre | 22.00 | 200.00 | 28000.00 | 280.00 | 39200.00 | 275.00 | 38500.00 | 330.00 | 46200.00 | 190.00 | 26600.00 | 310.00 | 43400.00 | 26600.00 | Silhouette Infraprojects
26.00 | Supply of Flood light LED fitting with minimum output of 16500 lumens and minimum 110 Lumens/Watt,for 230V Single Phase AC supply, 50Hz, PF>0.95, CRI>70, CCT - 5700K, Life of fitting not less than 50000 hrs complete as required. Luminaire should have high pressure die cast Alminium/standard alloy housing with surge protection system > 4KV. Luminaire should have proper thermal management. Min IP protection should be IP65. It shall meet as per technical specification enclosed with tender complete in all respect as required as per direction and satisfication of Engineer-Incharge. | 14.00 | Each | 0.00 | 2500.00 | 35000.00 | 450.00 | 6300.00 | 4600.00 | 64400.00 | 4000.00 | 56000.00 | 2997.00 | 41958.00 | 6000.00 | 84000.00 | 6300.00 | Majisa Corporation
27.00 | Fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way SPN DB, Double door (12 way SPN DB, Double door to be provided by AAI) | 2.00 | Each | 1.00 | 400.00 | 800.00 | 400.00 | 800.00 | 1800.00 | 3600.00 | 400.00 | 800.00 | 282.00 | 564.00 | 800.00 | 1600.00 | 564.00 | Silhouette Infraprojects
28.00 | Fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.(Single pole MCB 6-32 Amp) (Single pole MCBs 6-32 Amp to be provided by AAI) | 12.00 | Each | 0.00 | 77.00 | 924.00 | 75.00 | 900.00 | 60.00 | 720.00 | 75.00 | 900.00 | 52.50 | 630.00 | 5300.00 | 63600.00 | 630.00 | Silhouette Infraprojects
29.00 | Fixing following rating, 4 Pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc as required. 63 A (4 Pole, 415 V, isolator 63 Amp to be provided by AAI) | 2.00 | Each | 100.00 | 151.00 | 302.00 | 100.00 | 200.00 | 160.00 | 320.00 | 150.00 | 300.00 | 104.50 | 209.00 | 180.00 | 360.00 | 200.00 | Majisa Corporation
30.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II etc complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 300.00 | Metre | 53.00 | 40.00 | 12000.00 | 65.00 | 19500.00 | 75.00 | 22500.00 | 55.00 | 16500.00 | 100.00 | 30000.00 | 105.00 | 31500.00 | 12000.00 | CONVERGE CONSTRUCTION
31.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 300.00 | Metre | 10.00 | 60.00 | 18000.00 | 120.00 | 36000.00 | 250.00 | 75000.00 | 130.00 | 39000.00 | 50.00 | 15000.00 | 250.00 | 75000.00 | 15000.00 | Silhouette Infraprojects
32.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 x 50 Sqmm (35 mm) | 4.00 | Set | 11.00 | 400.00 | 1600.00 | 415.00 | 1660.00 | 350.00 | 1400.00 | 400.00 | 1600.00 | 400.00 | 1600.00 | 350.00 | 1400.00 | 1400.00 | Om Sai Associates, Raviraj Enterprises
33.00 | Supply of XLPE/PVC insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1988 with upto date amendments etc as required for the following sizes.(Make : As per approved list.) 3.5 C x 50 Sqmm | 110.00 | Metre | 10.00 | 250.00 | 27500.00 | 250.00 | 27500.00 | 400.00 | 44000.00 | 500.00 | 55000.00 | 390.00 | 42900.00 | 405.00 | 44550.00 | 27500.00 | CONVERGE CONSTRUCTION, Majisa Corporation
34.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/Metal/HDPE/PVC pipe as required. a) Upto 35 sq. mm. | 150.00 | Metre | 22.00 | 35.00 | 5250.00 | 35.00 | 5250.00 | 32.00 | 4800.00 | 35.00 | 5250.00 | 25.00 | 3750.00 | 41.00 | 6150.00 | 3750.00 | Silhouette Infraprojects
35.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/Metal/HDPE/PVC pipe as required. b) Above 35 sq. mm and upto 95 sq. mm | 150.00 | Metre | 0.00 | 55.00 | 8250.00 | 60.00 | 9000.00 | 60.00 | 9000.00 | 55.00 | 8250.00 | 25.00 | 3750.00 | 80.00 | 12000.00 | 3750.00 | Silhouette Infraprojects
36.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. With charcoal/coke and salt as required. | 1.00 | Set | 0.00 | 6000.00 | 6000.00 | 6251.27 | 6251.27 | 15000.00 | 15000.00 | 6000.00 | 6000.00 | 5500.00 | 5500.00 | 12000.00 | 12000.00 | 5500.00 | Silhouette Infraprojects
37.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 300.00 | Meter | 100.00 | 30.00 | 9000.00 | 35.00 | 10500.00 | 32.00 | 9600.00 | 35.00 | 10500.00 | 25.50 | 7650.00 | 40.00 | 12000.00 | 7650.00 | Silhouette Infraprojects
38.00 | Installation, testing and commissioning of pre-wired, Flood Light LED Fitting with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on existing in False ceiling / wall / surface including connection etc complete as per site requirement. | 12.00 | Each | 53.00 | 200.00 | 2400.00 | 230.00 | 2760.00 | 400.00 | 4800.00 | 200.00 | 2400.00 | 151.00 | 1812.00 | 540.00 | 6480.00 | 1812.00 | Silhouette Infraprojects
39.00 | Supply of 230 v , 50 Hz industrial heavy duty exhaust fan having 230 mm sweep and speed not less than1400 rev/minute indculing Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 4.00 | Each | 10.00 | 1800.00 | 7200.00 | 1830.00 | 7320.00 | 1800.00 | 7200.00 | 1700.00 | 6800.00 | 88.50 | 354.00 | 2430.00 | 9720.00 | 354.00 | Silhouette Infraprojects
40.00 | Supplying and Installation of plastic body exhaust fan (i/c louvers/ shutters) of 150 mm sweep, 1300 rpm, operating on 230 V AC, 50 Hz power supply, in the existing opening using suitable size SS double nut & bolt with spring washer & plain washer, including making good the damage, connection, testing, commissioning etc. as required. | 2.00 | Each | 11.00 | 1500.00 | 3000.00 | 1650.00 | 3300.00 | 1500.00 | 3000.00 | 1550.00 | 3100.00 | 1055.50 | 2111.00 | 1650.00 | 3300.00 | 2111.00 | Silhouette Infraprojects
| Total in Figures |  |  |  |  | 5092396.44 |  | 5999999.94 |  | 5979648.94 |  | 5831017.20 |  | 5428764.98 |  | 7092222.80
Lowest Amount Quoted BY: CONVERGE CONSTRUCTION(5092396.44)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Temporary Badminton court at New Airport Colony Mumbai Tender ID: 2025_AAI_228205_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CONVERGE CONSTRUCTION (BID ID -829232) | 5092396.44 | L1
| 2 | Silhouette Infraprojects (BID ID -835693) | 5428764.98 | L2
| 3 | M I CONSTRUCTIONS (BID ID -835910) | 5831017.20 | L3
| 4 | Om Sai Associates (BID ID -835538) | 5979648.94 | L4
| 5 | Majisa Corporation (BID ID -835439) | 5999999.94 | L5
| 6 | Raviraj Enterprises (BID ID -835945) | 7092222.80 | L6