## BoQ1
Government eProcurement System Created By: VIKAS SHRIVASTAVA Created Date/Time: 08-Apr-2025 01:00 PM Tender Title: Construction of Airlines Offices, RCC Drain, Pre - Cast boundary wall and other miscellaneous civil works at Raja Bhoj Airport, Bhopal. Tender ID: 2025_AAI_228276_1
Tender Inviting Authority: Sr. Mgr. (Engg. - Civil), Raja Bhoj Airport, Bhopal
Name of Work: Construction of Airlines Offices, RCC Drain, Pre – Cast boundary wall and other miscellaneous civil works at Raja Bhoj Airport, Bhopal.
Contract No: AAI/BHO/ENGG-C/MISCWORKS/24 - 25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | varsma engineers group (GSTN-23AAEFV7885Q1Z7) BID ID -832413 |  | Rajpati Construction (GSTN-23AAPFR1193J1ZX) BID ID -832453 |  | Cupid Enterprises (GSTN-23AAIFC2788B1ZP) BID ID -832650 |  | MHD POWER PVT LTD (GSTN-NA) BID ID -831343 |  | Shreenath Infra projects pvt ltd (GSTN-NA) BID ID -832406 |  | J S KANAKAM AND COMPANY (GSTN-NA) BID ID -832411
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth For lead upto 5 Km and lift upto 1.5 m, within Airport premises as directed by Engineer-incharge. All kinds of soil | 53.00 | cum | 1.25 | 333.00 | 17649.00 | 101.00 | 5353.00 | 110.00 | 5830.00 | 500.00 | 26500.00 | 145.00 | 7685.00 | 150.00 | 7950.00 | 5353.00 | Rajpati Construction
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth For lead upto 5 Km and lift upto 1.5 m, within Airport premises as directed by Engineer-incharge. Ordinary rock | 26.00 | cum | 0.00 | 222.00 | 5772.00 | 105.00 | 2730.00 | 90.00 | 2340.00 | 800.00 | 20800.00 | 195.00 | 5070.00 | 400.00 | 10400.00 | 2340.00 | Cupid Enterprises
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 920.00 | cum | 100.00 | 133.20 | 122544.00 | 99.00 | 91080.00 | 110.00 | 101200.00 | 300.00 | 276000.00 | 125.00 | 115000.00 | 125.00 | 115000.00 | 91080.00 | Rajpati Construction
4.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock | 391.00 | cum | 53.00 | 188.70 | 73781.70 | 107.00 | 41837.00 | 200.00 | 78200.00 | 800.00 | 312800.00 | 185.00 | 72335.00 | 225.00 | 87975.00 | 41837.00 | Rajpati Construction
5.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Hard rock | 19.00 | cum | 10.00 | 1110.00 | 21090.00 | 190.00 | 3610.00 | 250.00 | 4750.00 | 1000.00 | 19000.00 | 650.00 | 12350.00 | 700.00 | 13300.00 | 3610.00 | Rajpati Construction
6.00 | Filling available excavated earth (excluding rock) in trenches, plinth,sides of foundations etc. in layers not exceeding 20cm in depth,consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 682.00 | cum | 11.00 | 133.20 | 90842.40 | 64.00 | 43648.00 | 50.00 | 34100.00 | 250.00 | 170500.00 | 90.00 | 61380.00 | 100.00 | 68200.00 | 34100.00 | Cupid Enterprises
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 30.00 | cum | 1.25 | 6438.00 | 193140.00 | 5175.00 | 155250.00 | 5800.00 | 174000.00 | 5500.00 | 165000.00 | 6325.00 | 189750.00 | 4900.00 | 147000.00 | 147000.00 | J S KANAKAM AND COMPANY
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | cum | 0.00 | 5838.60 | 29193.00 | 4650.00 | 23250.00 | 4800.00 | 24000.00 | 5000.00 | 25000.00 | 5775.00 | 28875.00 | 4600.00 | 23000.00 | 23000.00 | J S KANAKAM AND COMPANY
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 74.00 | cum | 100.00 | 4706.40 | 348273.60 | 4300.00 | 318200.00 | 4000.00 | 296000.00 | 4500.00 | 333000.00 | 4850.00 | 358900.00 | 3000.00 | 222000.00 | 222000.00 | J S KANAKAM AND COMPANY
10.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns | 850.00 | sqm | 53.00 | 133.20 | 113220.00 | 150.00 | 127500.00 | 150.00 | 127500.00 | 250.00 | 212500.00 | 245.00 | 208250.00 | 250.00 | 212500.00 | 113220.00 | varsma engineers group
11.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc. | 1600.00 | sqm | 10.00 | 133.20 | 213120.00 | 260.00 | 416000.00 | 180.00 | 288000.00 | 325.00 | 520000.00 | 375.00 | 600000.00 | 360.00 | 576000.00 | 213120.00 | varsma engineers group
12.00 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20mm nominal size derived from natural sources). | 70.00 | sqm | 11.00 | 283.05 | 19813.50 | 265.00 | 18550.00 | 205.00 | 14350.00 | 4500.00 | 315000.00 | 400.00 | 28000.00 | 290.00 | 20300.00 | 14350.00 | Cupid Enterprises
13.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 260.00 | cum | 10.00 | 6438.00 | 1673880.00 | 4900.00 | 1274000.00 | 5400.00 | 1404000.00 | 5000.00 | 1300000.00 | 6235.00 | 1621100.00 | 5000.00 | 1300000.00 | 1274000.00 | Rajpati Construction
14.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 120.00 | cum | 22.00 | 6549.00 | 785880.00 | 5135.00 | 616200.00 | 5800.00 | 696000.00 | 5000.00 | 600000.00 | 6625.00 | 795000.00 | 5000.00 | 600000.00 | 600000.00 | MHD POWER PVT LTD, J S KANAKAM AND COMPANY
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 59.00 | sqm | 1.25 | 133.20 | 7858.80 | 160.00 | 9440.00 | 152.00 | 8968.00 | 215.00 | 12685.00 | 260.00 | 15340.00 | 250.00 | 14750.00 | 7858.80 | varsma engineers group
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 950.00 | sqm | 0.00 | 155.40 | 147630.00 | 380.00 | 361000.00 | 450.00 | 427500.00 | 525.00 | 498750.00 | 530.00 | 503500.00 | 380.00 | 361000.00 | 147630.00 | varsma engineers group
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 139.00 | sqm | 100.00 | 144.30 | 20057.70 | 380.00 | 52820.00 | 250.00 | 34750.00 | 535.00 | 74365.00 | 450.00 | 62550.00 | 400.00 | 55600.00 | 20057.70 | varsma engineers group
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 144.00 | sqm | 53.00 | 166.50 | 23976.00 | 379.00 | 54576.00 | 200.00 | 28800.00 | 550.00 | 79200.00 | 475.00 | 68400.00 | 400.00 | 57600.00 | 23976.00 | varsma engineers group
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for Edges of slabs and breaks in floors and walls Under 20 cm wide | 51.00 | metre | 10.00 | 133.20 | 6793.20 | 445.00 | 22695.00 | 60.00 | 3060.00 | 500.00 | 25500.00 | 125.00 | 6375.00 | 150.00 | 7650.00 | 3060.00 | Cupid Enterprises
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 35678.00 | kg | 11.00 | 83.25 | 2970193.50 | 78.00 | 2782884.00 | 61.00 | 2176358.00 | 65.00 | 2319070.00 | 80.00 | 2854240.00 | 75.00 | 2675850.00 | 2176358.00 | Cupid Enterprises
21.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete above plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more | 7366.00 | kg | 1.25 | 83.25 | 613219.50 | 79.00 | 581914.00 | 61.00 | 449326.00 | 70.00 | 515620.00 | 81.00 | 596646.00 | 75.00 | 552450.00 | 449326.00 | Cupid Enterprises
22.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 40.00 | cum | 0.00 | 5938.50 | 237540.00 | 5600.00 | 224000.00 | 5700.00 | 228000.00 | 5500.00 | 220000.00 | 7000.00 | 280000.00 | 5790.00 | 231600.00 | 220000.00 | MHD POWER PVT LTD
23.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 80.00 | cum | 100.00 | 6105.00 | 488400.00 | 6070.00 | 485600.00 | 6000.00 | 480000.00 | 6000.00 | 480000.00 | 7000.00 | 560000.00 | 5790.00 | 463200.00 | 463200.00 | J S KANAKAM AND COMPANY
24.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein | 75.00 | quintal | 53.00 | 688.20 | 51615.00 | 590.00 | 44250.00 | 500.00 | 37500.00 | 1000.00 | 75000.00 | 600.00 | 45000.00 | 600.00 | 45000.00 | 37500.00 | Cupid Enterprises
25.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 5.00 | cum | 10.00 | 5106.00 | 25530.00 | 5200.00 | 26000.00 | 5000.00 | 25000.00 | 6500.00 | 32500.00 | 5775.00 | 28875.00 | 6500.00 | 32500.00 | 25000.00 | Cupid Enterprises
26.00 | Brick work with common burnt clay modular / flyash bricks of class designation 3.5 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | 20.00 | cum | 11.00 | 5106.00 | 102120.00 | 5300.00 | 106000.00 | 4800.00 | 96000.00 | 4000.00 | 80000.00 | 5850.00 | 117000.00 | 5500.00 | 110000.00 | 80000.00 | MHD POWER PVT LTD
27.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 9.00 | cum | 10.00 | 6105.00 | 54945.00 | 5475.00 | 49275.00 | 6000.00 | 54000.00 | 6000.00 | 54000.00 | 6250.00 | 56250.00 | 6500.00 | 58500.00 | 49275.00 | Rajpati Construction
28.00 | Half brick masonry with common burnt clay modular / flyash bricks of class designation 3.5 in foundations and plinth in : cement mortar 1:4 (1 cement : 4 coarse sand) | 10.00 | sqm | 22.00 | 888.00 | 8880.00 | 625.00 | 6250.00 | 400.00 | 4000.00 | 4800.00 | 48000.00 | 770.00 | 7700.00 | 700.00 | 7000.00 | 4000.00 | Cupid Enterprises
29.00 | Half brick masonry with common burnt clay modular / flyash bricks of class designation 3.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 15.00 | sqm | 1.25 | 999.00 | 14985.00 | 725.00 | 10875.00 | 700.00 | 10500.00 | 6500.00 | 97500.00 | 900.00 | 13500.00 | 750.00 | 11250.00 | 10500.00 | Cupid Enterprises
30.00 | Brick work with clay modular / flyash brick of class designation 3.5 in superstructure above plinth level up to floor five level in :Cement mortar 1:4 (1 cement : 4 coarse sand) | 30.00 | cum | 0.00 | 6105.00 | 183150.00 | 5200.00 | 156000.00 | 5800.00 | 174000.00 | 6500.00 | 195000.00 | 6575.00 | 197250.00 | 5700.00 | 171000.00 | 156000.00 | Rajpati Construction
31.00 | Coursed rubble masonry (second sort) with hard stone in foundation & plinth with : Cement mortar 1:6 (1 cement : 6 coarse sand) | 30.00 | cum | 100.00 | 5550.00 | 166500.00 | 5900.00 | 177000.00 | 4800.00 | 144000.00 | 4500.00 | 135000.00 | 6000.00 | 180000.00 | 6700.00 | 201000.00 | 135000.00 | MHD POWER PVT LTD
32.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 25.00 | sqm | 53.00 | 3441.00 | 86025.00 | 2370.00 | 59250.00 | 3300.00 | 82500.00 | 3000.00 | 75000.00 | 2900.00 | 72500.00 | 3600.00 | 90000.00 | 59250.00 | Rajpati Construction
33.00 | Providing and fixing 75 Cm high, 50 Cm deep and 18 mm thick stone slab table rubbed, edges rounded and polished, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved shade | 2.00 | sqm | 10.00 | 3441.00 | 6882.00 | 2450.00 | 4900.00 | 3200.00 | 6400.00 | 280.00 | 560.00 | 3150.00 | 6300.00 | 3000.00 | 6000.00 | 560.00 | MHD POWER PVT LTD
34.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 80.00 | sqm | 11.00 | 721.50 | 57720.00 | 835.00 | 66800.00 | 900.00 | 72000.00 | 750.00 | 60000.00 | 900.00 | 72000.00 | 900.00 | 72000.00 | 57720.00 | varsma engineers group
35.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 32.00 | sqm | 1.25 | 2775.00 | 88800.00 | 1800.00 | 57600.00 | 2200.00 | 70400.00 | 2000.00 | 64000.00 | 2950.00 | 94400.00 | 2500.00 | 80000.00 | 57600.00 | Rajpati Construction
36.00 | Providing and fixing bright finished brass 100 mm mortice latch with one dead bolt and a pair of lever handles of approved quality with necessary screws etc. complete. | 13.00 | each | 0.00 | 555.00 | 7215.00 | 1350.00 | 17550.00 | 400.00 | 5200.00 | 2500.00 | 32500.00 | 750.00 | 9750.00 | 2500.00 | 32500.00 | 5200.00 | Cupid Enterprises
37.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 18.00 | each | 100.00 | 222.00 | 3996.00 | 275.00 | 4950.00 | 150.00 | 2700.00 | 210.00 | 3780.00 | 225.00 | 4050.00 | 400.00 | 7200.00 | 2700.00 | Cupid Enterprises
38.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 18.00 | each | 53.00 | 94.35 | 1698.30 | 150.00 | 2700.00 | 75.00 | 1350.00 | 200.00 | 3600.00 | 100.00 | 1800.00 | 200.00 | 3600.00 | 1350.00 | Cupid Enterprises
39.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 5.00 | each | 10.00 | 56.61 | 283.05 | 80.00 | 400.00 | 50.00 | 250.00 | 100.00 | 500.00 | 70.00 | 350.00 | 150.00 | 750.00 | 250.00 | Cupid Enterprises
40.00 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with awall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineer- in-Charge. | 10.00 | meter | 11.00 | 388.50 | 3885.00 | 530.00 | 5300.00 | 250.00 | 2500.00 | 325.00 | 3250.00 | 450.00 | 4500.00 | 375.00 | 3750.00 | 2500.00 | Cupid Enterprises
41.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC 'C' channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer's specification & drawing. 30 mm thick plain PVC door shutters | 5.00 | sqm | 10.00 | 2442.00 | 12210.00 | 2350.00 | 11750.00 | 2000.00 | 10000.00 | 2500.00 | 12500.00 | 4000.00 | 20000.00 | 2900.00 | 14500.00 | 10000.00 | Cupid Enterprises
42.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 3250.00 | kg | 22.00 | 111.00 | 360750.00 | 99.00 | 321750.00 | 90.00 | 292500.00 | 100.00 | 325000.00 | 102.00 | 331500.00 | 110.00 | 357500.00 | 292500.00 | Cupid Enterprises
43.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile B Fixing with carbon steel galvanised dash fastener of required dia and size (to be paid for separately) | 60.00 | meter | 1.25 | 432.90 | 25974.00 | 425.00 | 25500.00 | 300.00 | 18000.00 | 325.00 | 19500.00 | 475.00 | 28500.00 | 500.00 | 30000.00 | 18000.00 | Cupid Enterprises
44.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 5250.00 | kg | 0.00 | 111.00 | 582750.00 | 104.00 | 546000.00 | 100.00 | 525000.00 | 100.00 | 525000.00 | 113.00 | 593250.00 | 134.00 | 703500.00 | 525000.00 | MHD POWER PVT LTD, Cupid Enterprises
45.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 135.00 | kg | 100.00 | 88.80 | 11988.00 | 122.00 | 16470.00 | 72.00 | 9720.00 | 100.00 | 13500.00 | 145.00 | 19575.00 | 150.00 | 20250.00 | 9720.00 | Cupid Enterprises
46.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 1100.00 | kg | 53.00 | 105.45 | 115995.00 | 105.00 | 115500.00 | 110.00 | 121000.00 | 120.00 | 132000.00 | 103.00 | 113300.00 | 134.00 | 147400.00 | 113300.00 | Shreenath Infra projects pvt ltd
47.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 29.00 | sqm | 10.00 | 666.00 | 19314.00 | 1100.00 | 31900.00 | 1500.00 | 43500.00 | 1500.00 | 43500.00 | 1475.00 | 42775.00 | 1200.00 | 34800.00 | 19314.00 | varsma engineers group
48.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 5.00 | sqm | 11.00 | 1110.00 | 5550.00 | 1200.00 | 6000.00 | 1300.00 | 6500.00 | 1400.00 | 7000.00 | 1550.00 | 7750.00 | 1500.00 | 7500.00 | 5550.00 | varsma engineers group
49.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 25.00 | sqm | 1.25 | 777.00 | 19425.00 | 845.00 | 21125.00 | 500.00 | 12500.00 | 890.00 | 22250.00 | 900.00 | 22500.00 | 900.00 | 22500.00 | 12500.00 | Cupid Enterprises
50.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 110.00 | sqm | 0.00 | 999.00 | 109890.00 | 845.00 | 92950.00 | 1000.00 | 110000.00 | 725.00 | 79750.00 | 1275.00 | 140250.00 | 1100.00 | 121000.00 | 79750.00 | MHD POWER PVT LTD
51.00 | Providing and laying brick tiles over mumty roofs, grouted with cement mortar 1:3 (1 cement : 3 fine sand) mixed with 2% of integral water proofing compound by weight of cement, over 12 mm layer of cement mortar 1:3 (1 cement : 3 fine sand) and finished neat: With common burnt clay F.P.S. (non modular) brick tiles of class designation 10 | 45.00 | sqm | 100.00 | 444.00 | 19980.00 | 995.00 | 44775.00 | 300.00 | 13500.00 | 650.00 | 29250.00 | 495.00 | 22275.00 | 600.00 | 27000.00 | 13500.00 | Cupid Enterprises
52.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 50.00 | meter | 53.00 | 194.25 | 9712.50 | 150.00 | 7500.00 | 120.00 | 6000.00 | 100.00 | 5000.00 | 170.00 | 8500.00 | 170.00 | 8500.00 | 5000.00 | MHD POWER PVT LTD
53.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 50.00 | meter | 10.00 | 292.93 | 14646.50 | 250.00 | 12500.00 | 130.00 | 6500.00 | 155.00 | 7750.00 | 225.00 | 11250.00 | 250.00 | 12500.00 | 6500.00 | Cupid Enterprises
54.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 75 mm Dia | 10.00 | each | 11.00 | 70.71 | 707.10 | 100.00 | 1000.00 | 50.00 | 500.00 | 55.00 | 550.00 | 75.00 | 750.00 | 100.00 | 1000.00 | 500.00 | Cupid Enterprises
55.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 110 mm Dia | 10.00 | each | 10.00 | 105.67 | 1056.70 | 120.00 | 1200.00 | 50.00 | 500.00 | 85.00 | 850.00 | 100.00 | 1000.00 | 150.00 | 1500.00 | 500.00 | Cupid Enterprises
56.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single Pushfit Coupler 75 mm Dia | 10.00 | each | 22.00 | 72.26 | 722.60 | 100.00 | 1000.00 | 50.00 | 500.00 | 60.00 | 600.00 | 90.00 | 900.00 | 100.00 | 1000.00 | 500.00 | Cupid Enterprises
57.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single Pushfit Coupler 110 mm Dia | 10.00 | each | 1.25 | 98.68 | 986.80 | 120.00 | 1200.00 | 50.00 | 500.00 | 90.00 | 900.00 | 100.00 | 1000.00 | 150.00 | 1500.00 | 500.00 | Cupid Enterprises
58.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 75x75x75 mm | 10.00 | each | 0.00 | 127.43 | 1274.30 | 180.00 | 1800.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 150.00 | 1500.00 | 150.00 | 1500.00 | 1000.00 | MHD POWER PVT LTD, Cupid Enterprises
59.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 110x110x110 mm | 10.00 | each | 100.00 | 181.82 | 1818.20 | 200.00 | 2000.00 | 150.00 | 1500.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 210.00 | 2100.00 | 1500.00 | MHD POWER PVT LTD, Cupid Enterprises
60.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door 75x75x75 mm | 10.00 | each | 53.00 | 111.89 | 1118.90 | 180.00 | 1800.00 | 75.00 | 750.00 | 125.00 | 1250.00 | 120.00 | 1200.00 | 170.00 | 1700.00 | 750.00 | Cupid Enterprises
61.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door 110x110x110 mm | 10.00 | each | 10.00 | 171.72 | 1717.20 | 200.00 | 2000.00 | 100.00 | 1000.00 | 140.00 | 1400.00 | 180.00 | 1800.00 | 300.00 | 3000.00 | 1000.00 | Cupid Enterprises
62.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. 75mm Bend 87.5° | 10.00 | each | 11.00 | 81.59 | 815.90 | 100.00 | 1000.00 | 50.00 | 500.00 | 65.00 | 650.00 | 90.00 | 900.00 | 100.00 | 1000.00 | 500.00 | Cupid Enterprises
63.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. 110mm Bend 87.5° | 10.00 | each | 1.25 | 116.55 | 1165.50 | 120.00 | 1200.00 | 100.00 | 1000.00 | 120.00 | 1200.00 | 130.00 | 1300.00 | 175.00 | 1750.00 | 1000.00 | Cupid Enterprises
64.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. 75mm Shoe (Plain) | 10.00 | each | 0.00 | 72.26 | 722.60 | 120.00 | 1200.00 | 50.00 | 500.00 | 55.00 | 550.00 | 75.00 | 750.00 | 100.00 | 1000.00 | 500.00 | Cupid Enterprises
65.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. 110mm Shoe (Plain) | 10.00 | each | 100.00 | 101.79 | 1017.90 | 140.00 | 1400.00 | 75.00 | 750.00 | 95.00 | 950.00 | 115.00 | 1150.00 | 150.00 | 1500.00 | 750.00 | Cupid Enterprises
66.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 485.00 | sqm | 53.00 | 555.00 | 269175.00 | 576.00 | 279360.00 | 450.00 | 218250.00 | 350.00 | 169750.00 | 570.00 | 276450.00 | 600.00 | 291000.00 | 169750.00 | MHD POWER PVT LTD
67.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 Fine sand) | 396.00 | sqm | 10.00 | 277.50 | 109890.00 | 195.00 | 77220.00 | 200.00 | 79200.00 | 200.00 | 79200.00 | 210.00 | 83160.00 | 250.00 | 99000.00 | 77220.00 | Rajpati Construction
68.00 | 15 mm cement plaster of mix : 1:6 (1 cement: 6 Fine sand) | 396.00 | sqm | 11.00 | 277.50 | 109890.00 | 220.00 | 87120.00 | 250.00 | 99000.00 | 235.00 | 93060.00 | 250.00 | 99000.00 | 250.00 | 99000.00 | 87120.00 | Rajpati Construction
69.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 75.00 | sqm | 10.00 | 244.20 | 18315.00 | 195.00 | 14625.00 | 150.00 | 11250.00 | 180.00 | 13500.00 | 200.00 | 15000.00 | 250.00 | 18750.00 | 11250.00 | Cupid Enterprises
70.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 867.00 | sqm | 22.00 | 133.20 | 115484.40 | 78.00 | 67626.00 | 100.00 | 86700.00 | 75.00 | 65025.00 | 155.00 | 134385.00 | 100.00 | 86700.00 | 65025.00 | MHD POWER PVT LTD
71.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.9 Ltr/10 sqm) | 1596.00 | sqm | 1.25 | 99.90 | 159440.40 | 75.00 | 119700.00 | 75.00 | 119700.00 | 50.00 | 79800.00 | 103.00 | 164388.00 | 100.00 | 159600.00 | 79800.00 | MHD POWER PVT LTD
72.00 | Finishing walls with ready mixed Premium acrylic emulsion paint (Company Depot Tinted) having VOC less than 50gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade with silicon additives. New work (Two of more coats applied @ 1.43 litre/ 10sqm over and including priming coat of exterior primer applied @ 0.90 litre/10sqm. | 116.00 | sqm | 0.00 | 138.75 | 16095.00 | 99.00 | 11484.00 | 75.00 | 8700.00 | 70.00 | 8120.00 | 110.00 | 12760.00 | 160.00 | 18560.00 | 8120.00 | MHD POWER PVT LTD
73.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 715.00 | sqm | 100.00 | 105.45 | 75396.75 | 75.00 | 53625.00 | 60.00 | 42900.00 | 70.00 | 50050.00 | 118.00 | 84370.00 | 80.00 | 57200.00 | 42900.00 | Cupid Enterprises
74.00 | Wall painting with acrylic emulsion paint, having VOC(Volatile Organic Compound) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two Coat | 280.00 | sqm | 53.00 | 105.45 | 29526.00 | 79.00 | 22120.00 | 70.00 | 19600.00 | 72.00 | 20160.00 | 115.00 | 32200.00 | 125.00 | 35000.00 | 19600.00 | Cupid Enterprises
75.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | 1160.00 | sqm | 10.00 | 177.60 | 206016.00 | 270.00 | 313200.00 | 90.00 | 104400.00 | 625.00 | 725000.00 | 62.00 | 71920.00 | 145.00 | 168200.00 | 71920.00 | Shreenath Infra projects pvt ltd
76.00 | Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber,finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints (10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in-charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). Note:- Cement content considered in M-30 is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/ recoverable separately. Cement concrete manufactured in automatic batching plant (RMC plant) i/c transportation to site in transit mixer | 100.00 | cum | 11.00 | 5971.80 | 597180.00 | 6075.00 | 607500.00 | 6100.00 | 610000.00 | 250.00 | 25000.00 | 6875.00 | 687500.00 | 6000.00 | 600000.00 | 25000.00 | MHD POWER PVT LTD
77.00 | Providing and fixing pre-moulded joint filler in expansion joints of RCC roads / CC pavements after making the joints dust free with high pressure air jet cleaners, all complete as per direction of the Engineer-in-Charge. (Pre-moulded joint fillers shall be made of bitumen hot sealing compound impregnated fibre board having impregnation more than 35%, conforming to IS:1838 for fibre board and IS: 1834 for hot sealing bitumen compound grade A.) | 100.00 | per cm depth per cm width per metre length | 1.25 | 4.22 | 422.00 | 120.00 | 12000.00 | 2.00 | 200.00 | 4500.00 | 450000.00 | 11.00 | 1100.00 | 5.00 | 500.00 | 200.00 | Cupid Enterprises
78.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4 m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 250.00 | meter | 0.00 | 388.50 | 97125.00 | 285.00 | 71250.00 | 180.00 | 45000.00 | 200.00 | 50000.00 | 300.00 | 75000.00 | 450.00 | 112500.00 | 45000.00 | Cupid Enterprises
79.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 100.00 | sqm | 100.00 | 499.50 | 49950.00 | 560.00 | 56000.00 | 500.00 | 50000.00 | 450.00 | 45000.00 | 810.00 | 81000.00 | 650.00 | 65000.00 | 45000.00 | MHD POWER PVT LTD
80.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. Made of G.I. wire of dia 4 mm | 460.00 | sqm | 53.00 | 444.00 | 204240.00 | 635.00 | 292100.00 | 600.00 | 276000.00 | 200.00 | 92000.00 | 750.00 | 345000.00 | 650.00 | 299000.00 | 92000.00 | MHD POWER PVT LTD
81.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-30 | 135.00 | cum | 10.00 | 2164.50 | 292207.50 | 1425.00 | 192375.00 | 1200.00 | 162000.00 | 2000.00 | 270000.00 | 1550.00 | 209250.00 | 1200.00 | 162000.00 | 162000.00 | J S KANAKAM AND COMPANY, Cupid Enterprises
82.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 110.00 | cum | 11.00 | 2264.40 | 249084.00 | 1098.00 | 120780.00 | 1200.00 | 132000.00 | 2000.00 | 220000.00 | 1710.00 | 188100.00 | 1200.00 | 132000.00 | 120780.00 | Rajpati Construction
83.00 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarse and fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per specifications, cement content not to be less than 150 Kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid with a mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc. complete as per direction of Engineerin- charge. | 105.00 | cum | 10.00 | 3330.00 | 349650.00 | 2750.00 | 288750.00 | 3000.00 | 315000.00 | 3000.00 | 315000.00 | 4500.00 | 472500.00 | 3150.00 | 330750.00 | 288750.00 | Rajpati Construction
84.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2.00 | each | 22.00 | 5239.20 | 10478.40 | 2850.00 | 5700.00 | 2500.00 | 5000.00 | 2700.00 | 5400.00 | 4500.00 | 9000.00 | 4500.00 | 9000.00 | 5000.00 | Cupid Enterprises
85.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 3.00 | each | 1.25 | 5061.60 | 15184.80 | 4350.00 | 13050.00 | 4500.00 | 13500.00 | 5000.00 | 15000.00 | 5500.00 | 16500.00 | 5000.00 | 15000.00 | 13050.00 | Rajpati Construction
86.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal | 4.00 | each | 0.00 | 9324.00 | 37296.00 | 4350.00 | 17400.00 | 7000.00 | 28000.00 | 7000.00 | 28000.00 | 9500.00 | 38000.00 | 8000.00 | 32000.00 | 17400.00 | Rajpati Construction
87.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 550x400 mm with a pair of 15 mm C.P. brass pillar taps | 4.00 | each | 100.00 | 1787.10 | 7148.40 | 3150.00 | 12600.00 | 1500.00 | 6000.00 | 1800.00 | 7200.00 | 1500.00 | 6000.00 | 3000.00 | 12000.00 | 6000.00 | Shreenath Infra projects pvt ltd, Cupid Enterprises
88.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 225 mm | 1.00 | each | 53.00 | 5772.00 | 5772.00 | 7300.00 | 7300.00 | 3500.00 | 3500.00 | 4300.00 | 4300.00 | 6000.00 | 6000.00 | 12000.00 | 12000.00 | 3500.00 | Cupid Enterprises
89.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 8.00 | each | 10.00 | 799.20 | 6393.60 | 400.00 | 3200.00 | 500.00 | 4000.00 | 650.00 | 5200.00 | 700.00 | 5600.00 | 3000.00 | 24000.00 | 3200.00 | Rajpati Construction
90.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 40 mm dia | 8.00 | each | 11.00 | 88.80 | 710.40 | 50.00 | 400.00 | 60.00 | 480.00 | 75.00 | 600.00 | 125.00 | 1000.00 | 200.00 | 1600.00 | 400.00 | Rajpati Construction
91.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 4.00 | each | 1.25 | 1248.75 | 4995.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 800.00 | 3200.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 3200.00 | MHD POWER PVT LTD
92.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 4.00 | each | 0.00 | 129.87 | 519.48 | 300.00 | 1200.00 | 80.00 | 320.00 | 125.00 | 500.00 | 150.00 | 600.00 | 600.00 | 2400.00 | 320.00 | Cupid Enterprises
93.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 50.00 | meter | 100.00 | 222.00 | 11100.00 | 295.00 | 14750.00 | 200.00 | 10000.00 | 350.00 | 17500.00 | 250.00 | 12500.00 | 300.00 | 15000.00 | 10000.00 | Cupid Enterprises
94.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 50.00 | rm | 53.00 | 255.30 | 12765.00 | 335.00 | 16750.00 | 200.00 | 10000.00 | 425.00 | 21250.00 | 350.00 | 17500.00 | 350.00 | 17500.00 | 10000.00 | Cupid Enterprises
95.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 50 mm nominal dia Pipes | 50.00 | rm | 10.00 | 727.05 | 36352.50 | 415.00 | 20750.00 | 300.00 | 15000.00 | 725.00 | 36250.00 | 810.00 | 40500.00 | 1085.00 | 54250.00 | 15000.00 | Cupid Enterprises
96.00 | Providing and fixing brass stop cock of approved quality : 15 mm nominal bore | 2.00 | each | 11.00 | 274.17 | 548.34 | 395.00 | 790.00 | 200.00 | 400.00 | 350.00 | 700.00 | 275.00 | 550.00 | 800.00 | 1600.00 | 400.00 | Cupid Enterprises
97.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length 15 mm nominal bore | 20.00 | each | 10.00 | 74.37 | 1487.40 | 68.00 | 1360.00 | 50.00 | 1000.00 | 500.00 | 10000.00 | 80.00 | 1600.00 | 200.00 | 4000.00 | 1000.00 | Cupid Enterprises
98.00 | Providing and fixing rectangular high density polyethylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately. | 1000.00 | ltr | 22.00 | 8.33 | 8330.00 | 7.10 | 7100.00 | 8.00 | 8000.00 | 12.00 | 12000.00 | 7.50 | 7500.00 | 10.00 | 10000.00 | 7100.00 | Rajpati Construction
99.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 5.00 | each | 1.25 | 388.50 | 1942.50 | 500.00 | 2500.00 | 300.00 | 1500.00 | 400.00 | 2000.00 | 365.00 | 1825.00 | 900.00 | 4500.00 | 1500.00 | Cupid Enterprises
100.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 5.00 | each | 0.00 | 610.50 | 3052.50 | 600.00 | 3000.00 | 400.00 | 2000.00 | 450.00 | 2250.00 | 690.00 | 3450.00 | 1000.00 | 5000.00 | 2000.00 | Cupid Enterprises
101.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 5.00 | each | 100.00 | 444.00 | 2220.00 | 575.00 | 2875.00 | 350.00 | 1750.00 | 400.00 | 2000.00 | 500.00 | 2500.00 | 800.00 | 4000.00 | 1750.00 | Cupid Enterprises
102.00 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 5.00 | each | 53.00 | 56.61 | 283.05 | 575.00 | 2875.00 | 30.00 | 150.00 | 500.00 | 2500.00 | 60.00 | 300.00 | 150.00 | 750.00 | 150.00 | Cupid Enterprises
103.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common Stone Dust (non modular) bricks of class designation3.5 | 1.00 | each | 10.00 | 9867.90 | 9867.90 | 15850.00 | 15850.00 | 8000.00 | 8000.00 | 20000.00 | 20000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 8000.00 | Cupid Enterprises
104.00 | Constructing soak pit 1.20x1.20x1.20 m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | 1.00 | each | 11.00 | 2253.30 | 2253.30 | 16800.00 | 16800.00 | 1500.00 | 1500.00 | 25000.00 | 25000.00 | 2800.00 | 2800.00 | 2500.00 | 2500.00 | 1500.00 | Cupid Enterprises
105.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 115.00 | kg | 1.25 | 388.50 | 44677.50 | 390.00 | 44850.00 | 300.00 | 34500.00 | 350.00 | 40250.00 | 450.00 | 51750.00 | 600.00 | 69000.00 | 34500.00 | Cupid Enterprises
106.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 200.00 | kg | 0.00 | 499.50 | 99900.00 | 390.00 | 78000.00 | 300.00 | 60000.00 | 400.00 | 80000.00 | 500.00 | 100000.00 | 600.00 | 120000.00 | 60000.00 | Cupid Enterprises
107.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 38.00 | sqm | 100.00 | 1165.50 | 44289.00 | 799.00 | 30362.00 | 1000.00 | 38000.00 | 950.00 | 36100.00 | 1195.00 | 45410.00 | 900.00 | 34200.00 | 30362.00 | Rajpati Construction
108.00 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 245.00 | sqm | 53.00 | 432.90 | 106060.50 | 545.00 | 133525.00 | 320.00 | 78400.00 | 550.00 | 134750.00 | 400.00 | 98000.00 | 490.00 | 120050.00 | 78400.00 | Cupid Enterprises
109.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns as per CPWD Specification 2019, to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mmthick (galvanized @ 120 grams per sqm including both sides)comprising of main-T runners of size 24x38 mm of length 3000 mm,cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to formgrid module of size 600 x 600 mm, suspended from ceiling usinggalvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 12x50 mm long dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 76x25x25x1.6 mm fixed with grid and Z cleat of size 25x37x25x1.6mm thick with precut hole on both 25mm flange to pierce into 12x50mm or even bigger size dash fastener if require, fixed with Glavanised iron perimeter wall angle or size 24x24x0.40 mm of length 3000 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450mm center to center and 40 mm long dry wall S.S screws. The workshall be carried out as per specifications, drawing and as per directionsof the Engineer-in- Charge. With 15 mm thick Tegular edged light weight calcium sliciate false ceiling tiles | 110.00 | sqm | 10.00 | 1054.50 | 115995.00 | 1598.00 | 175780.00 | 1800.00 | 198000.00 | 2000.00 | 220000.00 | 1550.00 | 170500.00 | 1950.00 | 214500.00 | 115995.00 | varsma engineers group
110.00 | Manufacturing, Transportation and Fixing at site Precast RCC Boundary wall unit (minimum M-30 grade concrete) of height 8 feet above average ground in required length, fixed at site with centre to centre spacing between pillars maximum 2.10 meter or as per site condition, Excavation, Aligning and Fixing in position with specified cement concrete in foundation all complete as per direction and satisfaction of engineer-in-charge. The precast Boundary wall unit consist of RCC pillars of dimension 150mm x 150mm of length 10.5 feet (i/c 2 feet below ground) having reinforcement of minimum 7 nos wire of 4mm dia with required groove and precast RCC slabs of minimum thickness 50 mm having reinforcement of minimum 4 nos wire of 4mm dia in 1 feet high panel and having sufficient length and width to fit between column unit grooves.(cement concrete for fixing shall be paid in relevent item) | 530.00 | sqm | 11.00 | 1665.00 | 882450.00 | 1395.00 | 739350.00 | 700.00 | 371000.00 | 1000.00 | 530000.00 | 1285.00 | 681050.00 | 1300.00 | 689000.00 | 371000.00 | Cupid Enterprises
111.00 | Providing and laying transparant (1st quality) polythene sheet (separation membrane) 400 microns thick on the base course with overlaps of not less than 100mm both way all complete as per directions of Engineer-in-charge. Only plan area shall be measured for payment. | 1050.00 | sqm | 10.00 | 7.77 | 8158.50 | 55.00 | 57750.00 | 60.00 | 63000.00 | 200.00 | 210000.00 | 327.00 | 343350.00 | 69.00 | 72450.00 | 8158.50 | varsma engineers group
112.00 | Providing and laying in position for expansion joint, 25mm thick pre cut Synthetic joint filler board of approved make (HD 100 or equivelant of density 100 kg / cum +/- 10%) conforming to IS:1838 (part 3)-2011, 45 mm from top (to be removed at the time of filling of Silicon sealent), complete as per particular specifications and directions of Engineer-in-charge. (Note: Nothing extra shall be paid for the filler board from top upto the bottom of polyethylene backing rod.). (Note: Mode of measurement shall be length of joint multiplied by depth of filler board including precut portion.) | 4.00 | sqm | 22.00 | 777.00 | 3108.00 | 338.00 | 1352.00 | 200.00 | 800.00 | 700.00 | 2800.00 | 250.00 | 1000.00 | 400.00 | 1600.00 | 800.00 | Cupid Enterprises
113.00 | Providing and fixing of GI profile sheet Trim of size 55 mm X 55 mm in C shape of sheet thickness 2 mm thick fixed with self drilling / taping Screw all complete as per the direction of Engineer-in-charge. | 110.00 | meter | 0.00 | 777.00 | 85470.00 | 135.00 | 14850.00 | 300.00 | 33000.00 | 500.00 | 55000.00 | 136.00 | 14960.00 | 500.00 | 55000.00 | 14850.00 | Rajpati Construction
114.00 | Supplying and filling moorum / Good earth obtained from approved quarry Up to plinth in building area as instructed and in layers not exceeding 20 cm (loose) in depth (or any thickness as approved by the Engineer-in-Charge) including breaking clods, watering, consolidating each layer complete including leveling, fine dressing to the required grade, camber and slope complete as directed by the Engineer-in-Charge with all leads and lifts. (The item includes cost of work, payment of necessary royalty, carriage of moorum / suitable earth upto work site for all leads and lifts involved from all sources acquired or arranged by the contractor. Payment shall be made for compacted quantity only.) | 15.00 | cum | 22.00 | 777.00 | 11655.00 | 870.00 | 13050.00 | 345.00 | 5175.00 | 400.00 | 6000.00 | 525.00 | 7875.00 | 700.00 | 10500.00 | 5175.00 | Cupid Enterprises
115.00 | Providing and fixing G.I Wire mesh in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With Galvanised wire mesh of average width of aperture 1.4 mm and nominal dia of wire 0.63 mm) | 11.00 | sqm | 0.00 | 777.00 | 8547.00 | 330.00 | 3630.00 | 295.00 | 3245.00 | 300.00 | 3300.00 | 241.00 | 2651.00 | 500.00 | 5500.00 | 2651.00 | Shreenath Infra projects pvt ltd
| Total in Figures |  |  |  |  | 14947504.07 |  | 13927341.00 |  | 12448172.00 |  | 15024595.00 |  | 16077000.00 |  | 14652535.00
Lowest Amount Quoted BY: Cupid Enterprises(12448172.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Airlines Offices, RCC Drain, Pre - Cast boundary wall and other miscellaneous civil works at Raja Bhoj Airport, Bhopal. Tender ID: 2025_AAI_228276_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Cupid Enterprises (BID ID -832650) | 12448172.00 | L1
| 2 | Rajpati Construction (BID ID -832453) | 13927341.00 | L2
| 3 | J S KANAKAM AND COMPANY (BID ID -832411) | 14652535.00 | L3
| 4 | varsma engineers group (BID ID -832413) | 14947504.07 | L4
| 5 | MHD POWER PVT LTD (BID ID -831343) | 15024595.00 | L5
| 6 | Shreenath Infra projects pvt ltd (BID ID -832406) | 16077000.00 | L6