## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 21-May-2025 04:53 PM Tender Title: Construction of Additional 2Nos CFT Parking at Madurai Airport. SH Electrical Works Tender ID: 2025_AAI_228289_1
Tender Inviting Authority: Airports Authority of India, Madurai Airport, Madurai -625 022.
Name of Work: Construction of Additional 2Nos. CFT Parking at Madurai Airport. SH: Electrical Works.
Contract No: 2025_AAI_228289_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Akshaya Associates (GSTN-33AAMFA0496N1Z4) BID ID -845296 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -845824
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of XLPE insulated PVC sheathed, Armoured Aluminium conductor power cable of 1.1 KV grade of following size etc as per IS 7098 part I 1988 with uptodate amendments etc complete as required. 4C X 16 Sq.mm | 465.00 | Mtr | 0.00 | 200.00 | 93000.00 | 300.00 | 139500.00 | 93000.00 | Akshaya Associates
2.00 | Supply of XLPE insulated PVC sheathed, Armoured Aluminium conductor power cable of 1.1 KV grade of following size etc as per IS 7098 part I 1988 with uptodate amendments etc complete as required. 4C X 10 Sq.mm | 160.00 | Mtr | 0.00 | 193.00 | 30880.00 | 250.00 | 40000.00 | 30880.00 | Akshaya Associates
3.00 | Supply of 7mtr GI OCTAGONAL continuously tapered (Bottom and Top dia of the pole not less than 130mm & 70mm respectively) Street Light Pole including Single Arm bracket upto 750 mm and 1000mm length and 40 mm dia suitable for Wind Velocity as per IS 875, fabricated out of 3mm thick High Tensile Steel Sheet /Plate in single section with rigid flange plate (200x200x12mm Thick min.) welded with the base of pole for fixing on foundation bolts for installation on a precast foundation including supply of 4 Nos. of foundation bolt (M16x450mm) and providing weather proof and vandal resistant door flush with the exterior surface containing a terminal plate of 5mm thick backalite sheet with stud type connector, for connecting 1 LED light fittings and SP MCB 6A, provision for earthing etc., complete as reqired. | 2.00 | Each | 0.00 | 27500.00 | 55000.00 | 14500.00 | 29000.00 | 29000.00 | surbhi association
4.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) a) 4 way (4 + 12), Double door Each | 1.00 | Each | 0.00 | 4500.00 | 4500.00 | 8500.00 | 8500.00 | 4500.00 | Akshaya Associates
5.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “B” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Single pole | 4.00 | Each | 0.00 | 250.00 | 1000.00 | 200.00 | 800.00 | 800.00 | surbhi association
6.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Single pole | 8.00 | Each | 0.00 | 250.00 | 2000.00 | 200.00 | 1600.00 | 1600.00 | surbhi association
7.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Four Pole 32 Amps, 10 KA, C curve | 1.00 | Each | 0.00 | 1800.00 | 1800.00 | 2500.00 | 2500.00 | 1800.00 | Akshaya Associates
8.00 | Supply and Fixing of surface mounted SMC Box with size (240 X 130 X 95mm) with suitable accessories including supply & fixing of 6A SP, 10KA, C series MCB etc. Complete as required. | 5.00 | Each | 0.00 | 1800.00 | 9000.00 | 2000.00 | 10000.00 | 9000.00 | Akshaya Associates
9.00 | Supply of 200W LED flood light fittings with system lumen 22000lm. The luminaire efficiency shall be >110 lm/watt. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintenance. CRI > 70, housing should be CRCA Sheet of thickness of ≥0.5 mm thick. The diffuser shall be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor ≥0.95 of the input voltage tolerance shall be 140-270 volt AC etc. complete as required as per technical specifications. | 5.00 | Nos | 0.00 | 8950.00 | 44750.00 | 8000.00 | 40000.00 | 40000.00 | surbhi association
10.00 | Supply of 80W LED flood light fittings with system lumen 8800lm or higher. The luminaire efficiency shall be >110 lm/watt. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintenance. CRI > 70, housing should be CRCA Sheet of thickness of ≥0.5 mm thick. The diffuser shall be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor ≥0.95 of the input voltage tolerance shall be 140-270 volt AC etc. complete as required as per technical specifications. | 8.00 | Nos | 0.00 | 6500.00 | 52000.00 | 6000.00 | 48000.00 | 48000.00 | surbhi association
11.00 | Supply of 90W LED street light fittings with system lumen 9900lm or higher. The luminaire efficiency shall be >110 lm/watt. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintenance. CRI > 70, housing should be CRCA Sheet of thickness of ≥0.5 mm thick. The diffuser shall be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor ≥0.95 of the input voltage tolerance shall be 140-270 volt AC etc. complete as required as per technical specifications. | 3.00 | Nos | 0.00 | 8500.00 | 25500.00 | 4000.00 | 12000.00 | 12000.00 | surbhi association
12.00 | Supply of 50 mm dia medium class GI pipe.(as per the list of approved makes) | 15.00 | Mtr | 0.00 | 550.00 | 8250.00 | 750.00 | 11250.00 | 8250.00 | Akshaya Associates
13.00 | Supply and fixing metal box of 180mmx100mmx60mm.deep (nominal size)on surface or in recess with suitable size phenolic laminated sheet cover in the front including providing and fixing 3pin 15/6 amps socket outlet and 15/6 amps tumbler/piano type switch, connections, painting etc. as required (For power plugs). | 4.00 | Each | 0.00 | 750.00 | 3000.00 | 450.00 | 1800.00 | 1800.00 | surbhi association
14.00 | Laying of DWC HDPE pipe/ GI Pipe direct in ground with depth 0.75 mtr below ground level in all type of soil/hard rock/gravel/bitumen road including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required. | 625.00 | Mtr | 0.00 | 185.00 | 115625.00 | 150.00 | 93750.00 | 93750.00 | surbhi association
15.00 | Laying of one number PVC insulated and PVC sheathed XLPE power cable of 1.1 KV grade of size upto 35Sqmm in the existing RCC/ HUME/METAL/GI/HDPE/DWC pipe etc. complete as required. | 625.00 | Mtr | 0.00 | 35.00 | 21875.00 | 25.00 | 15625.00 | 15625.00 | surbhi association
16.00 | Laying of One number PVC insulated and PVC sheathed XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 sq.mm | 20.00 | Mtr | 0.00 | 25.00 | 500.00 | 25.00 | 500.00 | 500.00 | Akshaya Associates, surbhi association
17.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size on wall surface as required. Upto 35 sq.mm ( clamped with 1mm thick saddle) | 20.00 | Mtr | 0.00 | 50.00 | 1000.00 | 25.00 | 500.00 | 500.00 | surbhi association
18.00 | Installation, Testing & Commissioning of 7 Mtr/8 Mtr.high G.I.Octogonal street light pole & single arm bracket with all accessories in M20 grade RCC foundation having nominal size 600mmx600mmx1700mm (or as per OEM standard which ever is better)in all type of soil/Hard rock / gravel including providing and fixing of template & 4 nos of 24mm X 750mm 'J' bolts ,nuts, washers etc. The job also includes providing and fixing of DWC HDPE pipe of size 50 mm dia (2 pieces of min. 0.75 m length) in the foundation for loop-in-loop-out of the cable , including fixing of LED luminaries providing 3C X 1.5 sq.mm flexible cable, cable termination, numbering the poles, excavation and refilling etc. complete as required. | 3.00 | Job | 0.00 | 8500.00 | 25500.00 | 4500.00 | 13500.00 | 13500.00 | surbhi association
19.00 | ITC of LED luminaire fittings in the mounting assembly including accessories, providing suitable wiring, including wire termination etc. complete as required as per site requirement. | 13.00 | Nos | 0.00 | 250.00 | 3250.00 | 300.00 | 3900.00 | 3250.00 | Akshaya Associates
20.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4C X 16 sq.mm | 4.00 | Job | 0.00 | 350.00 | 1400.00 | 250.00 | 1000.00 | 1000.00 | surbhi association
21.00 | Laying of 50 mm dia GI pipe below 0.75 mtr, Across road including cutting bituminous road and re-filling with concrete/ bitumin as per direction of engineering -in-charge and making it to original finish etc complete as required. | 15.00 | Mtr | 0.00 | 250.00 | 3750.00 | 200.00 | 3000.00 | 3000.00 | surbhi association
22.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. a) 2x2.5sq.mm+ 1x2.5 sq.mm earth wire | 80.00 | Mtr | 0.00 | 350.00 | 28000.00 | 350.00 | 28000.00 | 28000.00 | Akshaya Associates, surbhi association
23.00 | Wiring for light point/fan point/exhaust fan point/call bell point with 1.5sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size M.S. box and earthing the point with 1.5sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 4.00 | Point | 0.00 | 1950.00 | 7800.00 | 1750.00 | 7000.00 | 7000.00 | surbhi association
24.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 5.00 | Point | 0.00 | 1150.00 | 5750.00 | 1000.00 | 5000.00 | 5000.00 | surbhi association
25.00 | Wiring for light/power plug with 2 x 4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 1 No. 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 150.00 | Mtr | 0.00 | 425.00 | 63750.00 | 500.00 | 75000.00 | 63750.00 | Akshaya Associates
26.00 | Earthing with copper earth plate 600mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. (but without charcoal/coke and Salt) as required. | 2.00 | Set | 0.00 | 17500.00 | 35000.00 | 22000.00 | 44000.00 | 35000.00 | Akshaya Associates
27.00 | Extra for using charcoal and salt for copper plate earth electrode as required. | 2.00 | Set | 0.00 | 2500.00 | 5000.00 | 3000.00 | 6000.00 | 5000.00 | Akshaya Associates
28.00 | Providing and fixing 25 mm X 5 mm copper strip in 40mm dia G.I pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation & refilling etc. as required. (at 0.5mtr below ground) | 50.00 | Mtr | 0.00 | 1700.00 | 85000.00 | 2000.00 | 100000.00 | 85000.00 | Akshaya Associates
29.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc.as required. | 10.00 | Mtr | 0.00 | 1350.00 | 13500.00 | 1500.00 | 15000.00 | 13500.00 | Akshaya Associates
30.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 2.00 | Job | 0.00 | 12000.00 | 24000.00 | 12000.00 | 24000.00 | 24000.00 | Akshaya Associates, surbhi association
31.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 625.00 | Mtr | 0.00 | 35.00 | 21875.00 | 35.00 | 21875.00 | 21875.00 | Akshaya Associates, surbhi association
32.00 | Dismantling of existing 8Mtr street light pole along with accessories etc complete as required as per the direction of EIC | 1.00 | Each | 0.00 | 1500.00 | 1500.00 | 4000.00 | 4000.00 | 1500.00 | Akshaya Associates
33.00 | Providing and laying earth connections from earth electrode with 6 SWG dia G.I. wire in 15 mm dia G.I. pipe from earth electrode including connection with GI thimble excavation & refilling as required.( at 0.5mtr below ground) | 36.00 | Mtr | 0.00 | 250.00 | 9000.00 | 350.00 | 12600.00 | 9000.00 | Akshaya Associates
34.00 | Constructing masonry Chamber 200x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design bricks of class designation 7.5 | 1.00 | Job | 0.00 | 30000.00 | 30000.00 | 15000.00 | 15000.00 | 15000.00 | surbhi association
35.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design bricks of class designation 7.5 | 1.00 | Job | 0.00 | 28500.00 | 28500.00 | 15000.00 | 15000.00 | 15000.00 | surbhi association
| Total in Figures |  |  |  |  | 862255.00 |  | 849200.00
Lowest Amount Quoted BY: surbhi association(849200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Additional 2Nos CFT Parking at Madurai Airport. SH Electrical Works Tender ID: 2025_AAI_228289_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association (BID ID -845824) | 849200.00 | L1
| 2 | Akshaya Associates (BID ID -845296) | 862255.00 | L2