## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 21-Apr-2025 12:28 PM Tender Title: Renovation of Toilet of NITB at S.V. Airport, Raipur. SH Electrical Work. Tender ID: 2025_AAI_228304_1
Tender Inviting Authority: Asst. Gen. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Renovation of Toilet of NITB at S.V. Airport, Raipur. SH: Electrical Work.
Contract No: 2025_AAI_228304_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SAURABH ENTERPRISES (GSTN-NA) BID ID -838744 |  | JAI ENTERPRISES (GSTN-NA) BID ID -833354
[5 empty] | Rate | Amount | Rate | Amount | H1 Amount | H1 Vendor
1.00 | Electrical Wiring SH -I
2.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group c | 93.00 | Each | 1475.94 | 1500.00 | 139500.00 | 1530.00 | 142290.00 | 142290.00 | JAI ENTERPRISES
3.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group c | 128.00 | Each | 886.38 | 1000.00 | 128000.00 | 1010.00 | 129280.00 | 129280.00 | JAI ENTERPRISES
4.00 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. Group c | 50.00 | Each | 724.20 | 800.00 | 40000.00 | 800.00 | 40000.00 | 40000.00 | JAI ENTERPRISES, SAURABH ENTERPRISES
5.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 1725.00 | Meter | 298.86 | 350.00 | 603750.00 | 355.00 | 612375.00 | 612375.00 | JAI ENTERPRISES
6.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 5 pin 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. (a) 4 Module | 11.00 | Each | 474.30 | 500.00 | 5500.00 | 500.00 | 5500.00 | 5500.00 | JAI ENTERPRISES, SAURABH ENTERPRISES
7.00 | Supplying and fixing suitable size GI Modular box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 modular socket outlet and 5/6 A modular switch, connections etc. as required | 36.00 | Each | 386.58 | 400.00 | 14400.00 | 410.00 | 14760.00 | 14760.00 | JAI ENTERPRISES
8.00 | Supply of Light Fitting -SH-II
9.00 | Supply of 12W LED cylindrical COB light with matte black body Premium surface COB range with metallic finish reflectors deep recessed light source for low glare Focused 360 Degree beam angle as per technical specification of LED Lights of tender. ( Make Hybec or Equivalent Make of AAI preferred list ). | 715.00 | Each | 1240.00 | 1500.00 | 1072500.00 | 1510.00 | 1079650.00 | 1079650.00 | JAI ENTERPRISES
10.00 | Supply of Strip Light Profile for under mounting, Colour/finish-Profile: Silver coloured, Anodized Diffuser: Milky, End cap Installation-for screw fixing with mounting clip, Routing width-18mm, Routing depth-9.5 mm, Installation reference-The surface/ recess on the aluminum profile that is to be bonded must be cleaned before bonding to the LED strip lights. It must be completely clean, grease-free and dust-free etc. completed as required( Make Hybec or Equivalent Make of AAI preferred list ) | 546.00 | Meter | 587.00 | 650.00 | 354900.00 | 655.00 | 357630.00 | 357630.00 | JAI ENTERPRISES
11.00 | Supply of Strip Light Profile for under mounting, Colour/finish-Profile: Silver coloured, Anodized Diffuser: Milky, End Cap Installation-For screw fixing with mounting clip, Routing width-80mm, Routing depth-65 mm, Installation reference-The surface/ recess on the aluminum profile that is to be bonded must be cleaned before bonding to the LED strip lights. It must be completely clean, grease-free and dust-free etc. completed as requird.( Make Hafele or Equivalent Make of AAI preferred list) | 106.00 | Meter | 587.00 | 650.00 | 68900.00 | 655.00 | 69430.00 | 69430.00 | JAI ENTERPRISES
12.00 | Supply of LED Strip 24W ( 240LED /Mtr.) PCB-10mm with Strip to Strip, strip to driver connector and extension lead including suitable led driver operating voltage 230v AC-24V DC etc.complete as required.( Make Hafele or or Equivalent Make of AAI preferred list ) | 834.00 | Meter | 4496.00 | 4600.00 | 3836400.00 | 4600.00 | 3836400.00 | 3836400.00 | JAI ENTERPRISES, SAURABH ENTERPRISES
13.00 | Supply of Light Fitting -SH-III
14.00 | SITC of 2mtr X 0 .7 Mtr size Full length Mirror for wall mounted front LED lighted across all four boarder ( Length and Breadth ) mirror full length etc. complete as required. | 11.00 | Each | 11712.66 | 12000.00 | 132000.00 | 12050.00 | 132550.00 | 132550.00 | JAI ENTERPRISES
15.00 | SITC of Coin based Sanitary Napkin Vending Machine and Sanitary Napkin Incinerator Touch-free Sensor triggered dispensing technology Wall mounted Surface/ Recess ,LED display ,Tamper proof lock (with a key), Elegant design to fit in a bathroom / lobby Automatic Sanitary Pad Vending Machine 25 Capacity Horizontal Manufacturers etc. completed as required. ( Make:- Purec Hygiene or Equivalent as approved by E-I-C) | 11.00 | Each | 6392.34 | 6463.18 | 71094.98 | 6500.00 | 71500.00 | 71500.00 | JAI ENTERPRISES
16.00 | SITC of Sanitary napkin incinerator/ disposel machine wall mountable and Capacity per cycle 15-20 pads per cycle per day 200 pad cycle time 45min-1hr. Made of automatic operated (Housing miled steel powder coated) extternal housing CRCA steel of 1.2mm thickness housing Internal insulated type thermal ceramic sheet with glass wool of 5 mm thickness dimensions external W270mm X D 25mm X H 600mm power saver auto cut off input voltage 220V LED display etc.completed as required. ( Make:- HLL Lifr care or Equivalent as approved by E-I-C) | 11.00 | Each | 15338.76 | 15500.00 | 170500.00 | 15700.00 | 172700.00 | 172700.00 | JAI ENTERPRISES
17.00 | Supply and Fixing of matt finish, 304 grade stainless steel automatic, touch free infrared type wall mounting hand dryer suitable for 230V, 50Hz 1PH supply as required. | 25.00 | Each | 7875.42 | 8000.00 | 200000.00 | 9000.00 | 225000.00 | 225000.00 | JAI ENTERPRISES
18.00 | Installation, testing and commissioning of pre-wired, trip Light Profile for under mounting, Colour/finish-Profile: Silver coloured, Anodized Diffuser: Milky all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 652.00 | Meter | 950.64 | 946.00 | 616792.00 | 950.00 | 619400.00 | 619400.00 | JAI ENTERPRISES
19.00 | Installation, testing and commissioning of cylindrical COB light with matte black body Premium surface COB range with metallic finish all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 715.00 | Each | 205.02 | 25.00 | 17875.00 | 25.00 | 17875.00 | 17875.00 | JAI ENTERPRISES, SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 7472111.98 |  | 7526340.00
Highest Amount Quoted BY: JAI ENTERPRISES(7526340.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilet of NITB at S.V. Airport, Raipur. SH Electrical Work. Tender ID: 2025_AAI_228304_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAI ENTERPRISES (BID ID -833354) | 7526340.00 | H1
| 2 | SAURABH ENTERPRISES (BID ID -838744) | 7472111.98 | H2