## BoQ1
Government eProcurement System Created By: Deepesh Kumar Joshi Created Date/Time: 16-Oct-2025 03:57 PM Tender Title: DSITC AND AICMC INCLUDING OPERATIONS OF ARRIVAL AND NON-INLINE DEPARTURE BHS AT DHOLERA AIRPORT Tender ID: 2025_AAI_228490_1
Tender Inviting Authority: Dholera International Airport Company Limited
Name of Work: Development of New Greenfield Airport at Dholera, Ahmedabad (Gujarat). Phase-1. SH: Design, Supply, Installation, Testing, Commissioning and All Inclusive comprehensive maintenance including operation of Arrival and non-inline Departure Baggage Handling System for New Integrated Passenger Terminal Building at Dholera Airport.
Contract No: 2025_AAI_228490_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BEUMER INDIA PRIVATE LIMITED (GSTN-06AAACE0593R1Z9) BID ID -899785 |  | Fox Solutions Private Limited (GSTN-NA) BID ID -899789 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -899326
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I SITC OF PASSENGER BAGGAGE HANDLING SYSTEM Supply of Departure & Arrival Conveyor System Design, Manufacturing and Supply of Following equipment's / Components of Departure & Arrival conveyor system as per the technical specifications and conveyor layout drawings, Including supply of required length of power and control cables from control panel to various drive units, including all items/accessories and steel structure as per site requirement complete in all respect for successful commissioning of following system:
1.01 | Check-in conveyor system in two sections comprising of Weighing & Labelling and Dispatch conveyor of minimum length 1200 mm with minimum useful width of 650 mm between side walls along with drive unit for each conveyor section with display range 0- 200 Kg with accuracy of + 0.05% and two displays (Each for Passenger and Airlines staff) including load sensor and toppling devices etc. One set comprises of 01 no. weighing & labelling conveyor, 01 no. dispatch conveyor and 02 nos. weighing display | 32.00 | Set |  | 597366.00 | 19115712.00 | 342526.50 | 10960848.00 | 258000.00 | 8256000.00 | 8256000.00 | DElite System Engineering (India) Pvt. Ltd.
1.02 | Take away/Collector conveyor with inner useful belt width of minimum 1000 mm between side walls along with drive unit for collecting baggage from dispatch conveyor side walls. | 70.00 | Mtrs. |  | 106973.00 | 7488110.00 | 47289.60 | 3310272.00 | 51600.00 | 3612000.00 | 3310272.00 | Fox Solutions Private Limited
1.03 | Transport Conveyor (Straight/declined/inclined/induction/T-Junction conveyor etc.) along with drive unit for each section to match with x-ray machine level with inner useful belt with minimum width of 1000 mm between side walls. | 178.00 | Mtrs. |  | 61127.00 | 10880606.00 | 42350.40 | 7538371.20 | 37200.00 | 6621600.00 | 6621600.00 | DElite System Engineering (India) Pvt. Ltd.
1.04 | Queuing/metering Conveyors of minimum 1500 mm length and minimum nominal width of 1000 mm between side walls along with drive units. | 14.00 | Nos. |  | 129895.00 | 1818530.00 | 157500.00 | 2205000.00 | 186000.00 | 2604000.00 | 1818530.00 | BEUMER INDIA PRIVATE LIMITED
1.05 | Supply of 90° Power Curve with inner useful belt width of minimum 1000 mm between side walls along with drive unit including motors, complete in all respect as per Technical Specifications. | 1.00 | Nos. |  | 456723.00 | 456723.00 | 384408.59 | 384408.59 | 780000.00 | 780000.00 | 384408.59 | Fox Solutions Private Limited
1.06 | Draught Curtains in the openings wherever the conveyor pass through the walls, consisting of flexible overlapping slats of black belt strips as per site requirement. | 5.00 | Nos. |  | 44505.00 | 222525.00 | 7895.25 | 39476.25 | 7800.00 | 39000.00 | 39000.00 | DElite System Engineering (India) Pvt. Ltd.
1.07 | Motorized Security Shutter as per site requirement in the wall opening (wall between passenger and non-passenger area) including limit switches, wiring and integration with control panel etc. for arrival and departure respectively. | 2.00 | Nos. |  | 206195.00 | 412390.00 | 80181.90 | 160363.80 | 58800.00 | 117600.00 | 117600.00 | DElite System Engineering (India) Pvt. Ltd.
1.08 | Motorized Fire Shutter of fire rating minimum 2 hours as per site requirement in the wall / ceiling opening including limit switches, wiring and integration with control panel etc. | 3.00 | Nos. |  | 123717.00 | 371151.00 | 202500.00 | 607500.00 | 420000.00 | 1260000.00 | 371151.00 | BEUMER INDIA PRIVATE LIMITED
1.09 | Gravity Roller Table constructed from heavy duty mild steel box section formed from 50 mm diameter heavy-duty rollers at an appropriate pitch to suit the intended duty made out of utility grade stainless steel including supports etc. as per technical specifications of the contract. | 3.00 | Nos. |  | 267571.00 | 802713.00 | 50400.00 | 151200.00 | 105600.00 | 316800.00 | 151200.00 | Fox Solutions Private Limited
1.10 | Heavy duty race track slat type inclined arrival baggage re-claim carousels of 52 mtrs length with minimum useful width 1000 mm between side walls, having black colour slats made of antistatic, flame retardant moulded rubber/PVC/ABS material of minimum 5 mm thickness, slope angle as given in technical specification and drawing, speed of 24- 30 meters /min. | 3.00 | Nos. |  | 7176554.00 | 21529662.00 | 3487500.00 | 10462500.00 | 3432000.00 | 10296000.00 | 10296000.00 | DElite System Engineering (India) Pvt. Ltd.
1.11 | CONTROL PANEL For Departure BHS Design, fabrication, manufacturing & supply of sheet steel clad (14 SWG) dust and vermin proof, wall / floor mounted PLC based Control Panel with locking arrangement suitable for operation on 415 volts, 3 phase, 50Hz AC supply, digital voltmeter & ammeter with selector switches, LED phase indication lamps, ON/OFF Timer (0-180 sec) and buzzer, suitable rating 4P MCCB incomer, Busbar, TP MPCB, control MCB, ELCB, power contactors, emergency stop switch, control and power wiring, earthing, single phase protection, over voltage protection, phase reversal protection, earth leakage protection, under voltage protection, provision for integration with Building Management System (BMS) etc. along with suitable capacity UPS for control panel complete as required. | 1.00 | Nos. |  | 5073269.00 | 5073269.00 | 2722500.00 | 2722500.00 | 4950000.00 | 4950000.00 | 2722500.00 | Fox Solutions Private Limited
1.12 | CONTROL PANEL: ARRIVAL Design, fabrication, manufacturing & supply of sheet steel clad (14 SWG) dust and vermin proof, wall / floor mounted PLC based Control Panel with locking arrangement suitable for operation (for 1 no arrival conveyor belts) on 415 volts, 3 phase, 50Hz AC supply, digital voltmeter & ammeter with selector switches, LED phase indication lamps, ON / OFF Timer (0-180 sec) and buzzer, suitable rating 4P MCCB incomer, Busbar, TP MPCB, control MCB, ELCB, power contactors, emergency stop switch, control and power wiring, soft starter mechanism, earthing single phase protection, phase reversal protection, under voltage protection, Provision for integration with Building Management System (BMS) etc. with suitable capacity UPS for control panel complete as required. | 3.00 | Nos. |  | 3140595.00 | 9421785.00 | 762300.00 | 2286900.00 | 372000.00 | 1116000.00 | 1116000.00 | DElite System Engineering (India) Pvt. Ltd.
1.13 | Ball Table constructed from heavy duty mild steel box section, with SS balls securely attached to the table of nominal dimension 1500 mm X 1500 mm | 1.00 | Nos. |  | 257500.00 | 257500.00 | 101250.00 | 101250.00 | 78000.00 | 78000.00 | 78000.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | INSTALLATION, TESTING & COMMISSIONING (ITC) OF BAGGAGE CONVEYOR SYSTEM Installation, Testing and Commissioning (ITC) of following items for Departure & Arrival Conveyor System including minor civil works such as grouting of structures and making good the same including ITC of control panel along with necessary outgoing cables/wire, earthing for drive unit motor, limit switches, Emergency stop push buttons, indications, annunciation, IT network and control cables, power cabling etc. complete as required and as per Technical specifications.
2.01 | Check-in conveyor system in two sections comprising of Weighing+Labelling and Dispatch conveyor | 32.00 | Set |  | 21908.00 | 701056.00 | 17144.55 | 548625.60 | 20000.00 | 640000.00 | 548625.60 | Fox Solutions Private Limited
2.02 | Take away/collector conveyor | 70.00 | Mtrs. |  | 3195.00 | 223650.00 | 6594.30 | 461601.00 | 5000.00 | 350000.00 | 223650.00 | BEUMER INDIA PRIVATE LIMITED
2.03 | Transport Conveyor (Straight/declined/inclined/induction/T-Junction conveyor etc.) | 178.00 | Mtrs. |  | 1826.00 | 325028.00 | 4950.00 | 881100.00 | 5000.00 | 890000.00 | 325028.00 | BEUMER INDIA PRIVATE LIMITED
2.04 | Queuing/metering Conveyors | 14.00 | Nos. |  | 3880.00 | 54320.00 | 4500.00 | 63000.00 | 10000.00 | 140000.00 | 54320.00 | BEUMER INDIA PRIVATE LIMITED
2.05 | 90° Power Curve | 1.00 | Nos. |  | 13513.00 | 13513.00 | 7248.96 | 7248.96 | 10000.00 | 10000.00 | 7248.96 | Fox Solutions Private Limited
2.06 | Draught curtains | 5.00 | Nos. |  | 1633.00 | 8165.00 | 928.35 | 4641.75 | 2500.00 | 12500.00 | 4641.75 | Fox Solutions Private Limited
2.07 | Motorized Security Shutter | 2.00 | Nos. |  | 7562.00 | 15124.00 | 4572.00 | 9144.00 | 15000.00 | 30000.00 | 9144.00 | Fox Solutions Private Limited
2.08 | Motorized Fire Shutter | 3.00 | Nos. |  | 4538.00 | 13614.00 | 15750.00 | 47250.00 | 25000.00 | 75000.00 | 13614.00 | BEUMER INDIA PRIVATE LIMITED
2.09 | Gravity Roller Table | 3.00 | Nos. |  | 9813.00 | 29439.00 | 1600.20 | 4800.60 | 2500.00 | 7500.00 | 4800.60 | Fox Solutions Private Limited
2.10 | Heavy duty race track slat type inclined arrival baggage claim carousels of 52. mtrs length. | 3.00 | Nos. |  | 260170.00 | 780510.00 | 94952.70 | 284858.10 | 300000.00 | 900000.00 | 284858.10 | Fox Solutions Private Limited
2.11 | CONTROL PANEL For Departure BHS Installation, testing & commissioning of sheet steel clad (14 SWG) dust and vermin proof, wall / floor mounted PLC based Control Panel with locking arrangement suitable for operation on 415 volts, 3 phase, 50Hz AC supply, digital voltmeter & ammeter with selector switches, LED phase indication lamps, ON/OFF Timer (0-180 sec) and buzzer, suitable rating 4P MCCB incomer, Busbar, TP MPCB, control MCB, ELCB, power contactors, emergency stop switch, control and power wiring, earthing, single phase protection, over voltage protection, phase reversal protection, earth leakage protection, under voltage protection, provision for integration with Building Management System (BMS) etc. along with suitable capacity UPS for control panel complete as required. | 1.00 | Nos. |  | 182937.00 | 182937.00 | 365742.00 | 365742.00 | 700000.00 | 700000.00 | 182937.00 | BEUMER INDIA PRIVATE LIMITED
2.12 | CONTROL PANEL: ARRIVAL Installation, testing & commissioning of sheet steel clad (14 SWG) dust and vermin proof, wall / floor mounted PLC based Control Panel with locking arrangement suitable for operation (for 1 no arrival conveyor belts) on 415 volts, 3 phase, 50Hz AC supply, digital voltmeter & ammeter with selector switches, LED phase indication lamps, ON / OFF Timer (0-180 sec) and buzzer, suitable rating 4P MCCB incomer, Busbar, TP MPCB, control MCB, ELCB, power contactors, emergency stop switch, control and power wiring, soft starter mechanism, earthing single phase protection, phase reversal protection, under voltage protection, Provision for integration with Building Management System (BMS) etc. with suitable capacity UPS for control panel complete as required. | 3.00 | Nos. |  | 113247.00 | 339741.00 | 763629.33 | 2290887.99 | 200000.00 | 600000.00 | 339741.00 | BEUMER INDIA PRIVATE LIMITED
2.13 | Ball Table | 1.00 | Nos. |  | 2533.00 | 2533.00 | 2025.00 | 2025.00 | 2500.00 | 2500.00 | 2025.00 | Fox Solutions Private Limited
3.00 | SH:II Annual Operation & Routine Maintenance Contract OPERATION: Operation & Routine Maintenance of Baggage Handling system (Departure + Arrival) as per Special Conditions of Contract, complete in all respect by deployment of required manpower. Engineer - 1 Nos. Technician cum Operator ( Skilled) - 4 Nos. Unskilled -2nos.​
3.01 | Year 1 (during DLP) | 1.00 | Job |  | 1906883.00 | 1749374.46 | 1767030.21 | 1621073.51 | 3052067.39 | 2799966.62 | 1621073.51 | Fox Solutions Private Limited
3.02 | Year 2 (during DLP) | 1.00 | Job |  | 1906883.00 | 1605023.42 | 1767030.21 | 1487309.33 | 3052067.39 | 2568925.12 | 1487309.33 | Fox Solutions Private Limited
3.03 | Year 3 | 1.00 | Job |  | 1906883.00 | 1472495.05 | 1767030.21 | 1364500.73 | 3052067.39 | 2356806.44 | 1364500.73 | Fox Solutions Private Limited
3.04 | Year 4 | 1.00 | Job |  | 1906883.00 | 1350835.92 | 1767030.21 | 1251764.20 | 3052067.39 | 2162084.54 | 1251764.20 | Fox Solutions Private Limited
3.05 | Year 5 | 1.00 | Job |  | 1906883.00 | 1239283.26 | 1767030.21 | 1148392.93 | 3052067.39 | 1983538.60 | 1148392.93 | Fox Solutions Private Limited
3.06 | Year 6 | 1.00 | Job |  | 1906883.00 | 1137074.33 | 1767030.21 | 1053680.11 | 3052067.39 | 1819947.78 | 1053680.11 | Fox Solutions Private Limited
3.07 | Year 7 | 1.00 | Job |  | 1906883.00 | 1043065.00 | 1767030.21 | 966565.52 | 3052067.39 | 1669480.86 | 966565.52 | Fox Solutions Private Limited
3.08 | Year 8 | 1.00 | Job |  | 1906883.00 | 957064.58 | 1767030.21 | 886872.46 | 3052067.39 | 1531832.62 | 886872.46 | Fox Solutions Private Limited
3.09 | Year 9 | 1.00 | Job |  | 1906883.00 | 878310.31 | 1767030.21 | 813894.11 | 3052067.39 | 1405782.24 | 813894.11 | Fox Solutions Private Limited
3.10 | Year 10 | 1.00 | Job |  | 1906883.00 | 805467.38 | 1767030.21 | 746393.56 | 3052067.39 | 1289193.27 | 746393.56 | Fox Solutions Private Limited
3.11 | Year 11 | 1.00 | Job |  | 1906883.00 | 738917.16 | 1767030.21 | 684724.21 | 3052067.39 | 1182676.11 | 684724.21 | Fox Solutions Private Limited
3.12 | Year 12 | 1.00 | Job |  | 1906883.00 | 677896.91 | 1767030.21 | 628179.24 | 3052067.39 | 1085009.96 | 628179.24 | Fox Solutions Private Limited
3.13 | Year 13 | 1.00 | Job |  | 1906883.00 | 622025.23 | 1767030.21 | 576405.25 | 3052067.39 | 995584.38 | 576405.25 | Fox Solutions Private Limited
3.14 | Year 14 | 1.00 | Job |  | 1906883.00 | 570539.39 | 1767030.21 | 528695.44 | 3052067.39 | 913178.56 | 528695.44 | Fox Solutions Private Limited
3.15 | Year 15 | 1.00 | Job |  | 1906883.00 | 523439.38 | 1767030.21 | 485049.79 | 3052067.39 | 837792.50 | 485049.79 | Fox Solutions Private Limited
4.00 | SH:III Annual Comprehensive Maintenance Contract All Inclusive Comprehensive Maintenance Contract (AICMC): All inclusive comprehensive maintenance contract of Baggage Handling system of Departure & Arrival (excluding X-Ray machines) as per Special Conditions of Contract/ scope of work, to keep the system uninterrupted & in good working condition, complete in all respect as required at site. (Note: 1st Year & 2nd Year are covered under DLP)
4.01 | Year 3 | 1.00 | Job |  | 1573171.00 | 1214802.65 | 2062623.19 | 1592757.63 | 1332135.00 | 1028674.65 | 1028674.65 | DElite System Engineering (India) Pvt. Ltd.
4.02 | Year 4 | 1.00 | Job |  | 1666346.00 | 1180439.51 | 2014057.40 | 1426758.26 | 1412063.10 | 1000305.50 | 1000305.50 | DElite System Engineering (India) Pvt. Ltd.
4.03 | Year 5 | 1.00 | Job |  | 1893437.00 | 1230544.71 | 1969338.90 | 1279873.35 | 1496786.89 | 972761.80 | 972761.80 | DElite System Engineering (India) Pvt. Ltd.
4.04 | Year 6 | 1.00 | Job |  | 2098697.00 | 1251453.02 | 1928755.45 | 1150116.87 | 1586594.10 | 946086.06 | 946086.06 | DElite System Engineering (India) Pvt. Ltd.
4.05 | Year 7 | 1.00 | Job |  | 2354870.00 | 1288113.89 | 1892616.35 | 1035261.14 | 1681789.75 | 919938.99 | 919938.99 | DElite System Engineering (India) Pvt. Ltd.
4.06 | Year 8 | 1.00 | Job |  | 2587509.00 | 1298670.77 | 1486254.06 | 745950.91 | 1782697.13 | 894735.69 | 745950.91 | Fox Solutions Private Limited
4.07 | Year 9 | 1.00 | Job |  | 2875953.00 | 1324663.95 | 1060025.86 | 488247.91 | 1889658.96 | 870376.92 | 488247.91 | Fox Solutions Private Limited
4.08 | Year 10 | 1.00 | Job |  | 3139527.00 | 1326136.20 | 639315.79 | 270046.99 | 2003038.50 | 846083.46 | 270046.99 | Fox Solutions Private Limited
4.09 | Year 11 | 1.00 | Job |  | 3463390.00 | 1342063.63 | 624536.62 | 242007.94 | 2123220.80 | 822748.06 | 242007.94 | Fox Solutions Private Limited
4.10 | Year 12 | 1.00 | Job |  | 3764749.00 | 1338368.27 | 616131.95 | 219034.91 | 2250614.05 | 800093.29 | 219034.91 | Fox Solutions Private Limited
4.11 | Year 13 | 1.00 | Job |  | 4128919.00 | 1346853.38 | 614578.62 | 200475.55 | 2385650.90 | 778199.32 | 200475.55 | Fox Solutions Private Limited
4.12 | Year 14 | 1.00 | Job |  | 4473281.00 | 1338405.68 | 620389.11 | 185620.42 | 2528789.95 | 756613.95 | 185620.42 | Fox Solutions Private Limited
4.13 | Year 15 | 1.00 | Job |  | 4883338.00 | 1340476.28 | 634114.21 | 174064.35 | 2680517.35 | 735802.01 | 174064.35 | Fox Solutions Private Limited
| Total in Figures |  |  |  |  | 112732109.72 |  | 69155231.46 |  | 80378719.30
Lowest Amount Quoted BY: Fox Solutions Private Limited(69155231.46)

## BOQ Summary
BOQ Summary Details Tender Title: DSITC AND AICMC INCLUDING OPERATIONS OF ARRIVAL AND NON-INLINE DEPARTURE BHS AT DHOLERA AIRPORT Tender ID: 2025_AAI_228490_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Fox Solutions Private Limited (BID ID -899789) | 69155231.46 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. (BID ID -899326) | 80378719.30 | L2
| 3 | BEUMER INDIA PRIVATE LIMITED (BID ID -899785) | 112732109.72 | L3