## BoQ1
Government eProcurement System Created By: Jithi S Hari Created Date/Time: 02-May-2025 03:25 PM Tender Title: Construction of Sub Station and Ancillary Works for New ASR Collocated MSSR at Chennai Airport. Tender ID: 2025_AAI_228529_1
Tender Inviting Authority: AGM (Engg-Civil),Operational Office Complex, RHQ-SR, Chennai 600 016.
Name of Work: “Construction of Sub Station and Ancillary Works for New ASR Collcated MSSR at Chennai Airport''.
Contract No: 2024_AAI_ 228529_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | K.MURUGESAN (GSTN-33AAGPM1286N2ZE) BID ID -835409 |  | Saraswathi Engineering Construction (P) Ltd. (GSTN-33AAHCS4653D1ZJ) BID ID -835679 |  | CREATORS ENGINEERS AND INTERIORS PVT LTD (GSTN-33AACCC4738J1ZP) BID ID -837989 |  | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED (GSTN-33AAOCS0324A1ZY) BID ID -838003 |  | ANITECH INFRAA (GSTN-NA) BID ID -836041 |  | ATR INFRAPROJECTS PVT LTD (GSTN-NA) BID ID -837645 |  | M/S. NAVEEN CONSTRUCTIONS (GSTN-NA) BID ID -835457 |  | M/s Sri Aneka Properties Private Limited (GSTN-NA) BID ID -828583
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carriage of earth By Mechanical Transport including loading, unloading and stacking for lead upto 1 km complete as per directions of Engineer-in-Charge. | 550.00 | Cum |  | 250.00 | 137500.00 | 180.00 | 99000.00 | 220.00 | 121000.00 | 150.00 | 82500.00 | 150.00 | 82500.00 | 141.06 | 77580.26 | 200.00 | 110000.00 | 187.00 | 102850.00 | 77580.26 | ATR INFRAPROJECTS PVT LTD
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-incharge. - All kinds of soil | 2180.00 | Cum |  | 260.00 | 566800.00 | 180.00 | 392400.00 | 175.00 | 381500.00 | 150.00 | 327000.00 | 220.00 | 479600.00 | 101.56 | 221399.96 | 235.00 | 512300.00 | 224.00 | 488320.00 | 221399.96 | ATR INFRAPROJECTS PVT LTD
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. -All kinds of soil. | 640.00 | Cum |  | 350.00 | 224000.00 | 180.00 | 115200.00 | 265.00 | 169600.00 | 150.00 | 96000.00 | 220.00 | 140800.00 | 135.41 | 86664.21 | 235.00 | 150400.00 | 262.00 | 167680.00 | 86664.21 | ATR INFRAPROJECTS PVT LTD
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and complete for all lift. | 1190.00 | Cum |  | 30.00 | 35700.00 | 180.00 | 214200.00 | 166.00 | 197540.00 | 150.00 | 178500.00 | 120.00 | 142800.00 | 73.35 | 87284.85 | 130.00 | 154700.00 | 187.00 | 222530.00 | 35700.00 | K.MURUGESAN
5.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | 50.00 | Sqm |  | 350.00 | 17500.00 | 144.00 | 7200.00 | 283.00 | 14150.00 | 300.00 | 15000.00 | 120.00 | 6000.00 | 470.18 | 23509.17 | 100.00 | 5000.00 | 68.00 | 3400.00 | 3400.00 | M/s Sri Aneka Properties Private Limited
6.00 | Supplying and filling in plinth with M sand under floors, including watering, ramming, consolidating and dressing complete. | 195.00 | Cum |  | 3000.00 | 585000.00 | 2250.00 | 438750.00 | 2650.00 | 516750.00 | 2500.00 | 487500.00 | 2400.00 | 468000.00 | 648.85 | 126526.36 | 2900.00 | 565500.00 | 2661.00 | 518895.00 | 126526.36 | ATR INFRAPROJECTS PVT LTD
7.00 | Excavating trenches by mechanical/manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil. Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 20.00 | Metre |  | 200.00 | 4000.00 | 360.00 | 7200.00 | 400.00 | 8000.00 | 500.00 | 10000.00 | 471.00 | 9420.00 | 423.17 | 8463.30 | 250.00 | 5000.00 | 16.98 | 339.60 | 339.60 | M/s Sri Aneka Properties Private Limited
8.00 | Excavating trenches by mechanical/manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil. Pipes, cables etc. exceeding 300 mm dia. but not exceeding 600 mm dia | 20.00 | Metre |  | 200.00 | 4000.00 | 630.00 | 12600.00 | 580.00 | 11600.00 | 500.00 | 10000.00 | 736.00 | 14720.00 | 423.17 | 8463.30 | 275.00 | 5500.00 | 34.00 | 680.00 | 680.00 | M/s Sri Aneka Properties Private Limited
9.00 | Boring, providing and installation bored cast-in-situ reinforced cement concrete piles of garde M-30 of specified diameter and length below pile cap, to carry a safe working load not less than specified, excluding the cost of steel reinforcement but including the cost of boring with bentonite solution and temporary casing of appropriate length for setting out and removal of same and the length of the pile to be embedded in the pile cap etc. by Crawler mounted, telescopic boom hydraulic pilling Rig all complete, including removal of excavated earth with all its lifts and leads (length of pile for payment shall be measured up to bottom of pile cap). a) 600 mm dia piles Note: : Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.. All works upto plinth level. Concrete of M30 grade with minimum cement content of 350 kg /cum | 1345.00 | Metre |  | 5000.00 | 6725000.00 | 3240.00 | 4357800.00 | 4000.00 | 5380000.00 | 4050.00 | 5447250.00 | 2800.00 | 3766000.00 | 3611.01 | 4856806.57 | 3500.00 | 4707500.00 | 2420.00 | 3254900.00 | 3254900.00 | M/s Sri Aneka Properties Private Limited
10.00 | Vertical load testing of piles in accordance with IS 2911 (Part IV) including installation of loading platform by Kentledge/Anchor piles method and preparation of pile head or construction of test cap and dismantling of test cap after test etc. complete as per specification & the direction of Engineer in-charge. Note: 1. Initial and Routine Load Test shall not be carried out by Dynamic method of testing. Note: 2. Testing agency shall submit the design of loading platform for the approval of Engineer-in-charge. a) Single pile above 50 tonne and upto 100 tonne Safe capacity Initial test (Test Load 2.5 times the Safe capacity) | 1.00 | Per Test |  | 300000.00 | 300000.00 | 360000.00 | 360000.00 | 85000.00 | 85000.00 | 200000.00 | 200000.00 | 180000.00 | 180000.00 | 310321.05 | 310321.05 | 202000.00 | 202000.00 | 300000.00 | 300000.00 | 85000.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
11.00 | Vertical load testing of piles in accordance with IS 2911 (Part IV) including installation of loading platform by Kentledge/Anchor piles method and preparation of pile head or construction of test cap and dismantling of test cap after test etc. complete as per specification & the direction of Engineer in-charge. Single pile upto 50 tonne Safe capacity Routine test (Test Load 1.5 times the Safe capacity) | 2.00 | Per Test |  | 200000.00 | 400000.00 | 180000.00 | 360000.00 | 35500.00 | 71000.00 | 150000.00 | 300000.00 | 140000.00 | 280000.00 | 84633.01 | 169266.03 | 135000.00 | 270000.00 | 150000.00 | 300000.00 | 71000.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 91.00 | Cum |  | 6800.00 | 618800.00 | 6660.00 | 606060.00 | 6025.00 | 548275.00 | 5300.00 | 482300.00 | 7000.00 | 637000.00 | 6085.68 | 553796.69 | 6800.00 | 618800.00 | 5471.00 | 497861.00 | 482300.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
13.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III): 6 graded stone aggregate 40 mm nominal size derived from natural sources). | 225.00 | Cum |  | 7000.00 | 1575000.00 | 6300.00 | 1417500.00 | 6520.00 | 1467000.00 | 5000.00 | 1125000.00 | 7000.00 | 1575000.00 | 3385.32 | 761697.13 | 6300.00 | 1417500.00 | 4834.00 | 1087650.00 | 761697.13 | ATR INFRAPROJECTS PVT LTD
14.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 cement : 4 coarse sand: 8 graded stone aggregate 40 mm nominal size). | 117.00 | Cum |  | 6500.00 | 760500.00 | 6210.00 | 726570.00 | 5800.00 | 678600.00 | 4800.00 | 561600.00 | 6900.00 | 807300.00 | 3159.63 | 369677.01 | 6200.00 | 725400.00 | 4234.00 | 495378.00 | 369677.01 | ATR INFRAPROJECTS PVT LTD
15.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters,buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, beams, slabs posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 12.00 | Cum |  | 8200.00 | 98400.00 | 8100.00 | 97200.00 | 8500.00 | 102000.00 | 7800.00 | 93600.00 | 7500.00 | 90000.00 | 6693.91 | 80326.89 | 7500.00 | 90000.00 | 5959.00 | 71508.00 | 71508.00 | M/s Sri Aneka Properties Private Limited
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundation footing bases of coloumn, etc for mass concrete. | 745.00 | Sqm |  | 700.00 | 521500.00 | 540.00 | 402300.00 | 400.00 | 298000.00 | 400.00 | 298000.00 | 625.00 | 465625.00 | 253.90 | 189154.79 | 550.00 | 409750.00 | 388.00 | 289060.00 | 189154.79 | ATR INFRAPROJECTS PVT LTD
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 1400.00 | Sqm |  | 700.00 | 980000.00 | 720.00 | 1008000.00 | 760.00 | 1064000.00 | 570.00 | 798000.00 | 625.00 | 875000.00 | 287.75 | 402853.15 | 600.00 | 840000.00 | 536.00 | 750400.00 | 402853.15 | ATR INFRAPROJECTS PVT LTD
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landing, balconies and access platform. | 1560.00 | Sqm |  | 700.00 | 1092000.00 | 720.00 | 1123200.00 | 850.00 | 1326000.00 | 570.00 | 889200.00 | 625.00 | 975000.00 | 287.75 | 448893.51 | 600.00 | 936000.00 | 502.00 | 783120.00 | 448893.51 | ATR INFRAPROJECTS PVT LTD
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintles, beams, plinth beams girders, bressumers and cantilevers. | 1880.00 | Sqm |  | 700.00 | 1316000.00 | 720.00 | 1353600.00 | 715.00 | 1344200.00 | 570.00 | 1071600.00 | 625.00 | 1175000.00 | 287.75 | 540974.23 | 600.00 | 1128000.00 | 502.00 | 943760.00 | 540974.23 | ATR INFRAPROJECTS PVT LTD
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for Coloumns, pliiars piers, abutments, posts and struts. | 875.00 | Sqm |  | 700.00 | 612500.00 | 720.00 | 630000.00 | 850.00 | 743750.00 | 570.00 | 498750.00 | 625.00 | 546875.00 | 287.75 | 251783.22 | 600.00 | 525000.00 | 525.00 | 459375.00 | 251783.22 | ATR INFRAPROJECTS PVT LTD
21.00 | Centering and shuttering including strutting, propping etc. and removal of form for Stairs (excluding landings) except spiral - staircases. | 35.00 | Sqm |  | 800.00 | 28000.00 | 720.00 | 25200.00 | 940.00 | 32900.00 | 570.00 | 19950.00 | 625.00 | 21875.00 | 287.75 | 10071.33 | 600.00 | 21000.00 | 570.00 | 19950.00 | 10071.33 | ATR INFRAPROJECTS PVT LTD
22.00 | Weather shed, Chajjas, corbels etc., including edges | 30.00 | Sqm |  | 800.00 | 24000.00 | 990.00 | 29700.00 | 940.00 | 28200.00 | 570.00 | 17100.00 | 625.00 | 18750.00 | 287.75 | 8632.57 | 650.00 | 19500.00 | 570.00 | 17100.00 | 8632.57 | ATR INFRAPROJECTS PVT LTD
23.00 | Edges of slabs and breaks in floors and walls Under 20 cm wide | 220.00 | Metre |  | 800.00 | 176000.00 | 180.00 | 39600.00 | 310.00 | 68200.00 | 200.00 | 44000.00 | 625.00 | 137500.00 | 1438.76 | 316527.47 | 250.00 | 55000.00 | 86.00 | 18920.00 | 18920.00 | M/s Sri Aneka Properties Private Limited
24.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc. including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured) (a) Suspended floors, roofs, landing, beams and balconies (Plan area to be measured). | 2210.00 | Sqm |  | 50.00 | 110500.00 | 270.00 | 596700.00 | 310.00 | 685100.00 | 350.00 | 773500.00 | 220.00 | 486200.00 | 124.13 | 274323.81 | 200.00 | 442000.00 | 388.00 | 857480.00 | 110500.00 | K.MURUGESAN
25.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 133540.00 | Kg |  | 82.00 | 10950280.00 | 78.30 | 10456182.00 | 89.50 | 11951830.00 | 79.00 | 10549660.00 | 93.00 | 12419220.00 | 76.73 | 10247049.38 | 85.00 | 11350900.00 | 73.50 | 9815190.00 | 9815190.00 | M/s Sri Aneka Properties Private Limited
26.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 80850.00 | Kg |  | 82.00 | 6629700.00 | 78.30 | 6330555.00 | 89.50 | 7236075.00 | 79.00 | 6387150.00 | 93.00 | 7519050.00 | 75.61 | 6112704.07 | 85.00 | 6872250.00 | 74.50 | 6023325.00 | 6023325.00 | M/s Sri Aneka Properties Private Limited
27.00 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C projections. | 110.00 | Metre |  | 500.00 | 55000.00 | 90.00 | 9900.00 | 85.00 | 9350.00 | 300.00 | 33000.00 | 100.00 | 11000.00 | 282.11 | 31032.11 | 100.00 | 11000.00 | 121.00 | 13310.00 | 9350.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
28.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level. Concrete of M30 grade with minimum cement content of 350 kg/cum | 535.00 | Cum |  | 8500.00 | 4547500.00 | 8100.00 | 4333500.00 | 8500.00 | 4547500.00 | 7200.00 | 3852000.00 | 7800.00 | 4173000.00 | 6695.04 | 3581844.06 | 7200.00 | 3852000.00 | 6200.00 | 3317000.00 | 3317000.00 | M/s Sri Aneka Properties Private Limited
29.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level. Concrete of M30 grade with minimum cement content of 350 kg /cum | 450.00 | Cum |  | 8500.00 | 3825000.00 | 8100.00 | 3645000.00 | 9040.00 | 4068000.00 | 7350.00 | 3307500.00 | 7800.00 | 3510000.00 | 7033.57 | 3165105.46 | 7300.00 | 3285000.00 | 6250.00 | 2812500.00 | 2812500.00 | M/s Sri Aneka Properties Private Limited
30.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | 24.00 | Cum |  | 9000.00 | 216000.00 | 8100.00 | 194400.00 | 7600.00 | 182400.00 | 8800.00 | 211200.00 | 7200.00 | 172800.00 | 3611.01 | 86664.21 | 7200.00 | 172800.00 | 6409.00 | 153816.00 | 86664.21 | ATR INFRAPROJECTS PVT LTD
31.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:6 (1 cement : 6 coarse sand) | 170.00 | Cum |  | 9000.00 | 1530000.00 | 8280.00 | 1407600.00 | 8500.00 | 1445000.00 | 8000.00 | 1360000.00 | 7200.00 | 1224000.00 | 3723.85 | 633054.95 | 7400.00 | 1258000.00 | 6483.00 | 1102110.00 | 633054.95 | ATR INFRAPROJECTS PVT LTD
32.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in superstructure above plinth level up to floor V level. a) Cement mortar 1:4 (1 cement :4 coarse sand) | 30.00 | Sqm |  | 1200.00 | 36000.00 | 1080.00 | 32400.00 | 1750.00 | 52500.00 | 1100.00 | 33000.00 | 1100.00 | 33000.00 | 394.95 | 11848.62 | 1075.00 | 32250.00 | 970.00 | 29100.00 | 11848.62 | ATR INFRAPROJECTS PVT LTD
33.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings/wooden frames with rawl plugs screws etc. | 100.00 | Kg |  | 150.00 | 15000.00 | 144.00 | 14400.00 | 220.00 | 22000.00 | 125.00 | 12500.00 | 135.00 | 13500.00 | 83.50 | 8350.46 | 140.00 | 14000.00 | 103.00 | 10300.00 | 8350.46 | ATR INFRAPROJECTS PVT LTD
34.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete a) 250x10 mm | 6.00 | Each |  | 200.00 | 1200.00 | 180.00 | 1080.00 | 220.00 | 1320.00 | 120.00 | 720.00 | 300.00 | 1800.00 | 124.13 | 744.77 | 175.00 | 1050.00 | 265.00 | 1590.00 | 720.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
35.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete -150x10 mm | 6.00 | Each |  | 200.00 | 1200.00 | 162.00 | 972.00 | 355.00 | 2130.00 | 85.00 | 510.00 | 200.00 | 1200.00 | 124.13 | 744.77 | 125.00 | 750.00 | 222.00 | 1332.00 | 510.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
36.00 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete : -125 mm | 6.00 | Each |  | 100.00 | 600.00 | 162.00 | 972.00 | 130.00 | 780.00 | 65.00 | 390.00 | 500.00 | 3000.00 | 124.13 | 744.77 | 75.00 | 450.00 | 137.00 | 822.00 | 390.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
37.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 3.00 | Each |  | 100.00 | 300.00 | 90.00 | 270.00 | 220.00 | 660.00 | 75.00 | 225.00 | 200.00 | 600.00 | 152.34 | 457.02 | 100.00 | 300.00 | 191.00 | 573.00 | 225.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
38.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised(anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete 250x16 mm | 3.00 | Each |  | 300.00 | 900.00 | 360.00 | 1080.00 | 310.00 | 930.00 | 250.00 | 750.00 | 500.00 | 1500.00 | 152.34 | 457.02 | 250.00 | 750.00 | 265.00 | 795.00 | 457.02 | ATR INFRAPROJECTS PVT LTD
39.00 | Providing and fixing Fiber Glass Reinforced plastic (FRP) Door Frames of cross-section 90 mm x 45 mm having single rebate of 32 mm x 15 mm to receive shutter of 30 mm thickness. The laminate shall be moulded with fire resistant grade unsaturated polyester resin and chopped mat. Door frame laminate shall be 2 mm thick and shall be filled with suitable wooden block in all the three legs. The frame shall be covered with fiber glass from all sides. M.S.stay shall be provided at the bottom to steady the frame. | 18.00 | Metre |  | 1000.00 | 18000.00 | 630.00 | 11340.00 | 490.00 | 8820.00 | 570.00 | 10260.00 | 2000.00 | 36000.00 | 417.94 | 7522.93 | 350.00 | 6300.00 | 1167.00 | 21006.00 | 6300.00 | M/S. NAVEEN CONSTRUCTIONS
40.00 | Providing and fixing to existing door frames. 30 mm thick Fiberglass Reinforced Plastic (F.R.P) flush door shutter in different plain and wood finish made with fire retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate all around, with suitable wooden blocks inside at required places for fixing of fittings and polyurethane foam (PUF)/Polystyrene foam to be used as filler material throughout the hollow panel, casted monolithically with testing parameters of F.R.P. laminate conforming to table -3 of IS: 14856, complete as per direction of Engineer-in-charge. | 5.00 | Sqm |  | 3000.00 | 15000.00 | 7200.00 | 36000.00 | 4000.00 | 20000.00 | 4500.00 | 22500.00 | 4500.00 | 22500.00 | 2238.97 | 11194.84 | 2000.00 | 10000.00 | 3540.00 | 17700.00 | 10000.00 | M/S. NAVEEN CONSTRUCTIONS
41.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 – part 1 and M.S. top cover of required thickness for rolling shutters. 80x1.20 mm M.S. laths with 1.20 mm thick top cover. | 65.00 | Sqm |  | 6000.00 | 390000.00 | 4500.00 | 292500.00 | 4000.00 | 260000.00 | 3000.00 | 195000.00 | 5500.00 | 357500.00 | 3159.63 | 205376.11 | 4300.00 | 279500.00 | 2695.00 | 175175.00 | 175175.00 | M/s Sri Aneka Properties Private Limited
42.00 | Providing and fixing ball bearing for rolling shutters. | 4.00 | Each |  | 2500.00 | 10000.00 | 720.00 | 2880.00 | 850.00 | 3400.00 | 480.00 | 1920.00 | 4000.00 | 16000.00 | 282.11 | 1128.44 | 1500.00 | 6000.00 | 318.00 | 1272.00 | 1128.44 | ATR INFRAPROJECTS PVT LTD
43.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 10.00 sqm and upto 20.00 sqm in the area. | 65.00 | Sqm |  | 2000.00 | 130000.00 | 1440.00 | 93600.00 | 2200.00 | 143000.00 | 1280.00 | 83200.00 | 1500.00 | 97500.00 | 287.75 | 18703.90 | 300.00 | 19500.00 | 1085.00 | 70525.00 | 18703.90 | ATR INFRAPROJECTS PVT LTD
44.00 | Extra for providing grilled rolling shutters manufactured out of 8 mm dia M.S. bar instead of laths as per design approved by Engineer-in-charge, (area of grill to be measured). | 4.00 | Sqm |  | 2000.00 | 8000.00 | 936.00 | 3744.00 | 3100.00 | 12400.00 | 760.00 | 3040.00 | 5000.00 | 20000.00 | 513.44 | 2053.76 | 1500.00 | 6000.00 | 650.00 | 2600.00 | 2053.76 | ATR INFRAPROJECTS PVT LTD
45.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 50.00 | Kg |  | 130.00 | 6500.00 | 144.00 | 7200.00 | 220.00 | 11000.00 | 150.00 | 7500.00 | 135.00 | 6750.00 | 102.69 | 5134.40 | 140.00 | 7000.00 | 103.00 | 5150.00 | 5134.40 | ATR INFRAPROJECTS PVT LTD
46.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and smiliar works | 150.00 | Kg |  | 130.00 | 19500.00 | 144.00 | 21600.00 | 220.00 | 33000.00 | 135.00 | 20250.00 | 135.00 | 20250.00 | 102.69 | 15403.21 | 135.00 | 20250.00 | 125.00 | 18750.00 | 15403.21 | ATR INFRAPROJECTS PVT LTD
47.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 280.00 | Kg |  | 140.00 | 39200.00 | 153.00 | 42840.00 | 220.00 | 61600.00 | 135.00 | 37800.00 | 135.00 | 37800.00 | 111.72 | 31280.36 | 140.00 | 39200.00 | 135.00 | 37800.00 | 31280.36 | ATR INFRAPROJECTS PVT LTD
48.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, .hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 600.00 | Sqm |  | 600.00 | 360000.00 | 810.00 | 486000.00 | 670.00 | 402000.00 | 780.00 | 468000.00 | 650.00 | 390000.00 | 331.12 | 198674.98 | 575.00 | 345000.00 | 731.00 | 438600.00 | 198674.98 | ATR INFRAPROJECTS PVT LTD
49.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 70.00 | Sqm |  | 1200.00 | 84000.00 | 1170.00 | 81900.00 | 1300.00 | 91000.00 | 950.00 | 66500.00 | 1000.00 | 70000.00 | 1068.89 | 74822.63 | 1050.00 | 73500.00 | 990.00 | 69300.00 | 66500.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
50.00 | Providing and laying Ceramic mat /antiskid floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand) jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 75.00 | Sqm |  | 1200.00 | 90000.00 | 1080.00 | 81000.00 | 1525.00 | 114375.00 | 950.00 | 71250.00 | 1000.00 | 75000.00 | 1068.89 | 80167.10 | 1000.00 | 75000.00 | 1155.00 | 86625.00 | 71250.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
51.00 | Providing and fixing 1st quality ceramic antiskid floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps,floor and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 15.00 | Sqm |  | 1200.00 | 18000.00 | 1170.00 | 17550.00 | 1750.00 | 26250.00 | 950.00 | 14250.00 | 1000.00 | 15000.00 | 1068.89 | 16033.42 | 1000.00 | 15000.00 | 1177.00 | 17655.00 | 14250.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
52.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase | 102.00 | Metre |  | 200.00 | 20400.00 | 360.00 | 36720.00 | 580.00 | 59160.00 | 300.00 | 30600.00 | 200.00 | 20400.00 | 287.75 | 29350.73 | 225.00 | 22950.00 | 124.00 | 12648.00 | 12648.00 | M/s Sri Aneka Properties Private Limited
53.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1mx1mx400micron, finished with 12mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 12.00 | Each |  | 200.00 | 2400.00 | 450.00 | 5400.00 | 580.00 | 6960.00 | 300.00 | 3600.00 | 2500.00 | 30000.00 | 197.48 | 2369.72 | 1000.00 | 12000.00 | 109.00 | 1308.00 | 1308.00 | M/s Sri Aneka Properties Private Limited
54.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes. a) 110 mm diameter | 110.00 | Metre |  | 400.00 | 44000.00 | 450.00 | 49500.00 | 850.00 | 93500.00 | 350.00 | 38500.00 | 883.00 | 97130.00 | 620.64 | 68270.63 | 450.00 | 49500.00 | 446.00 | 49060.00 | 38500.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
55.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Bend 87.5 degree 110 mm bend | 12.00 | Each |  | 200.00 | 2400.00 | 360.00 | 4320.00 | 850.00 | 10200.00 | 150.00 | 1800.00 | 293.00 | 3516.00 | 107.20 | 1286.42 | 275.00 | 3300.00 | 179.00 | 2148.00 | 1286.42 | ATR INFRAPROJECTS PVT LTD
56.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 12.00 | Each |  | 200.00 | 2400.00 | 360.00 | 4320.00 | 940.00 | 11280.00 | 130.00 | 1560.00 | 356.00 | 4272.00 | 107.20 | 1286.42 | 225.00 | 2700.00 | 226.00 | 2712.00 | 1286.42 | ATR INFRAPROJECTS PVT LTD
57.00 | Providing and fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement 4 coarse sand) and making good the wall etc., complete. 110 mm | 72.00 | Each |  | 100.00 | 7200.00 | 360.00 | 25920.00 | 310.00 | 22320.00 | 350.00 | 25200.00 | 25.00 | 1800.00 | 141.06 | 10155.96 | 50.00 | 3600.00 | 94.00 | 6768.00 | 1800.00 | ANITECH INFRAA
58.00 | 12 mm cement plaster of mix: 1:6 (1 cement : 6 fine sand) | 610.00 | Sqm |  | 359.00 | 218990.00 | 333.00 | 203130.00 | 400.00 | 244000.00 | 240.00 | 146400.00 | 320.00 | 195200.00 | 462.66 | 282222.89 | 350.00 | 213500.00 | 339.00 | 206790.00 | 146400.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
59.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix 1:6 (1 cement : 6 fine sand) | 610.00 | Sqm |  | 370.00 | 225700.00 | 396.00 | 241560.00 | 400.00 | 244000.00 | 250.00 | 152500.00 | 400.00 | 244000.00 | 507.80 | 309756.83 | 350.00 | 213500.00 | 399.00 | 243390.00 | 152500.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
60.00 | 6 mm cement plaster of mix: 1:3 (1 cement : 3 fine sand) | 2460.00 | Sqm |  | 330.00 | 811800.00 | 306.00 | 752760.00 | 310.00 | 762600.00 | 225.00 | 553500.00 | 300.00 | 738000.00 | 214.40 | 527432.94 | 350.00 | 861000.00 | 327.00 | 804420.00 | 527432.94 | ATR INFRAPROJECTS PVT LTD
61.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 1630.00 | Sqm |  | 80.00 | 130400.00 | 225.00 | 366750.00 | 175.00 | 285250.00 | 180.00 | 293400.00 | 110.00 | 179300.00 | 101.56 | 165542.18 | 120.00 | 195600.00 | 133.00 | 216790.00 | 130400.00 | K.MURUGESAN
62.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.9 lit /10 sqm) | 2155.00 | Sqm |  | 120.00 | 258600.00 | 333.00 | 717615.00 | 220.00 | 474100.00 | 150.00 | 323250.00 | 120.00 | 258600.00 | 112.84 | 243178.86 | 145.00 | 312475.00 | 157.00 | 338335.00 | 243178.86 | ATR INFRAPROJECTS PVT LTD
63.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 240.00 | Sqm |  | 120.00 | 28800.00 | 270.00 | 64800.00 | 285.00 | 68400.00 | 200.00 | 48000.00 | 135.00 | 32400.00 | 135.41 | 32499.08 | 125.00 | 30000.00 | 145.00 | 34800.00 | 28800.00 | K.MURUGESAN
64.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. a)With material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-30 | 530.00 | Cum |  | 3000.00 | 1590000.00 | 2700.00 | 1431000.00 | 2335.00 | 1237550.00 | 2500.00 | 1325000.00 | 2400.00 | 1272000.00 | 2087.61 | 1106435.60 | 3000.00 | 1590000.00 | 2503.00 | 1326590.00 | 1106435.60 | ATR INFRAPROJECTS PVT LTD
65.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 150.00 | Cum |  | 2800.00 | 420000.00 | 3060.00 | 459000.00 | 2650.00 | 397500.00 | 2500.00 | 375000.00 | 2500.00 | 375000.00 | 2200.46 | 330068.75 | 3200.00 | 480000.00 | 2384.00 | 357600.00 | 330068.75 | ATR INFRAPROJECTS PVT LTD
66.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength,thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50 mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge 80 mm thick C.C. paver block of M-35 grade with approved colour design and pattern. | 1500.00 | Sqm |  | 1000.00 | 1500000.00 | 1080.00 | 1620000.00 | 1030.00 | 1545000.00 | 900.00 | 1350000.00 | 1000.00 | 1500000.00 | 547.29 | 820940.24 | 1050.00 | 1575000.00 | 884.00 | 1326000.00 | 820940.24 | ATR INFRAPROJECTS PVT LTD
67.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5 mm), including making drainage opening wherever required complete etc. as per direction of Engineer?in-charge (length of finished kerb edging shall be measured to calculate volume for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 50.00 | Cum |  | 12000.00 | 600000.00 | 11700.00 | 585000.00 | 10300.00 | 515000.00 | 10000.00 | 500000.00 | 12000.00 | 600000.00 | 7109.17 | 355458.66 | 14000.00 | 700000.00 | 7042.00 | 352100.00 | 352100.00 | M/s Sri Aneka Properties Private Limited
68.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : a) White Vitreous china Orissa pattern W.C. pan of size 580x440mm with integral type foot rests. | 1.00 | Each |  | 5000.00 | 5000.00 | 6300.00 | 6300.00 | 4000.00 | 4000.00 | 7000.00 | 7000.00 | 6000.00 | 6000.00 | 4288.07 | 4288.07 | 3800.00 | 3800.00 | 4602.00 | 4602.00 | 3800.00 | M/S. NAVEEN CONSTRUCTIONS
69.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked black solid plastic seat and lid | 1.00 | Each |  | 6500.00 | 6500.00 | 6300.00 | 6300.00 | 5800.00 | 5800.00 | 7000.00 | 7000.00 | 4500.00 | 4500.00 | 5190.82 | 5190.82 | 4000.00 | 4000.00 | 11189.00 | 11189.00 | 4000.00 | M/S. NAVEEN CONSTRUCTIONS
70.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 2.00 | Each |  | 4500.00 | 9000.00 | 4500.00 | 9000.00 | 5800.00 | 11600.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 5642.20 | 11284.40 | 5000.00 | 10000.00 | 7459.00 | 14918.00 | 4000.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
71.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps,32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : White Vitreous China Flat back wash basin size 550x400 mm with single 15 mm C.P. brass pillar tap. | 2.00 | Each |  | 4500.00 | 9000.00 | 8100.00 | 16200.00 | 5800.00 | 11600.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 7899.08 | 15798.16 | 4000.00 | 8000.00 | 3589.00 | 7178.00 | 4000.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
72.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal dia Pipes | 20.00 | Metre |  | 350.00 | 7000.00 | 450.00 | 9000.00 | 310.00 | 6200.00 | 400.00 | 8000.00 | 308.00 | 6160.00 | 265.18 | 5303.67 | 350.00 | 7000.00 | 291.00 | 5820.00 | 5303.67 | ATR INFRAPROJECTS PVT LTD
73.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 40 mm nominal dia Pipes | 10.00 | Metre |  | 450.00 | 4500.00 | 810.00 | 8100.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 542.00 | 5420.00 | 349.82 | 3498.16 | 450.00 | 4500.00 | 432.00 | 4320.00 | 3498.16 | ATR INFRAPROJECTS PVT LTD
74.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal dia Pipes | 20.00 | Metre |  | 330.00 | 6600.00 | 360.00 | 7200.00 | 355.00 | 7100.00 | 350.00 | 7000.00 | 192.00 | 3840.00 | 265.18 | 5303.67 | 300.00 | 6000.00 | 231.00 | 4620.00 | 3840.00 | ANITECH INFRAA
75.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 10.00 | Metre |  | 320.00 | 3200.00 | 450.00 | 4500.00 | 310.00 | 3100.00 | 500.00 | 5000.00 | 115.00 | 1150.00 | 236.97 | 2369.72 | 275.00 | 2750.00 | 194.00 | 1940.00 | 1150.00 | ANITECH INFRAA
76.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 30.00 | Metre |  | 450.00 | 13500.00 | 504.00 | 15120.00 | 355.00 | 10650.00 | 500.00 | 15000.00 | 192.00 | 5760.00 | 265.18 | 7955.50 | 300.00 | 9000.00 | 298.00 | 8940.00 | 5760.00 | ANITECH INFRAA
77.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 40 mm nominal dia Pipes | 25.00 | Metre |  | 550.00 | 13750.00 | 720.00 | 18000.00 | 400.00 | 10000.00 | 550.00 | 13750.00 | 542.00 | 13550.00 | 349.82 | 8745.41 | 450.00 | 11250.00 | 533.00 | 13325.00 | 8745.41 | ATR INFRAPROJECTS PVT LTD
78.00 | Providing and fixing uplasticised PVC connection pipe with brass unions 45 cm length. 15 mm nominal bore | 8.00 | Each |  | 120.00 | 960.00 | 180.00 | 1440.00 | 265.00 | 2120.00 | 95.00 | 760.00 | 400.00 | 3200.00 | 1167.94 | 9343.48 | 150.00 | 1200.00 | 243.00 | 1944.00 | 760.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
79.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Per Litre |  | 15.00 | 30000.00 | 12.60 | 25200.00 | 22.00 | 44000.00 | 11.00 | 22000.00 | 15.00 | 30000.00 | 11.85 | 23697.24 | 11.00 | 22000.00 | 10.00 | 20000.00 | 20000.00 | M/s Sri Aneka Properties Private Limited
80.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 (a) 15 mm nominal bore. | 3.00 | Each |  | 800.00 | 2400.00 | 945.00 | 2835.00 | 175.00 | 525.00 | 500.00 | 1500.00 | 1500.00 | 4500.00 | 1861.93 | 5585.78 | 700.00 | 2100.00 | 1776.00 | 5328.00 | 525.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
81.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 (a) 15mm nominal bore | 10.00 | Each |  | 800.00 | 8000.00 | 855.00 | 8550.00 | 850.00 | 8500.00 | 550.00 | 5500.00 | 1500.00 | 15000.00 | 479.59 | 4795.87 | 750.00 | 7500.00 | 1082.00 | 10820.00 | 4795.87 | ATR INFRAPROJECTS PVT LTD
82.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 15.00 | Metre |  | 1000.00 | 15000.00 | 1980.00 | 29700.00 | 1750.00 | 26250.00 | 1000.00 | 15000.00 | 2000.00 | 30000.00 | 592.43 | 8886.47 | 1000.00 | 15000.00 | 1036.00 | 15540.00 | 8886.47 | ATR INFRAPROJECTS PVT LTD
83.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 450 mm dia. R.C.C. pipe | 15.00 | Metre |  | 4000.00 | 60000.00 | 2790.00 | 41850.00 | 3100.00 | 46500.00 | 1600.00 | 24000.00 | 2200.00 | 33000.00 | 552.94 | 8294.04 | 2000.00 | 30000.00 | 1479.00 | 22185.00 | 8294.04 | ATR INFRAPROJECTS PVT LTD
84.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 5.00 | Each |  | 8000.00 | 40000.00 | 22500.00 | 112500.00 | 17500.00 | 87500.00 | 12500.00 | 62500.00 | 5000.00 | 25000.00 | 9422.48 | 47112.38 | 10000.00 | 50000.00 | 10030.00 | 50150.00 | 25000.00 | ANITECH INFRAA
85.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 2.00 | Each |  | 800.00 | 1600.00 | 4500.00 | 9000.00 | 2200.00 | 4400.00 | 2700.00 | 5400.00 | 2500.00 | 5000.00 | 2482.57 | 4965.14 | 3000.00 | 6000.00 | 2211.00 | 4422.00 | 1600.00 | K.MURUGESAN
86.00 | Extra for depth for manhole Size 90x80 cm. With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 2.00 | Metre |  | 5000.00 | 10000.00 | 9450.00 | 18900.00 | 4000.00 | 8000.00 | 8800.00 | 17600.00 | 10000.00 | 20000.00 | 1416.19 | 2832.38 | 10000.00 | 20000.00 | 8022.00 | 16044.00 | 2832.38 | ATR INFRAPROJECTS PVT LTD
87.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357mm | 2.00 | Each |  | 1200.00 | 2400.00 | 3240.00 | 6480.00 | 2650.00 | 5300.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 552.94 | 1105.87 | 1500.00 | 3000.00 | 6085.00 | 12170.00 | 1105.87 | ATR INFRAPROJECTS PVT LTD
88.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour.450 mm long towel rail with total length of 495 mm, 78 mm wide and effective height of 88 mm, weighing not less than 170 gms | 1.00 | Each |  | 800.00 | 800.00 | 810.00 | 810.00 | 1300.00 | 1300.00 | 650.00 | 650.00 | 1500.00 | 1500.00 | 851.97 | 851.97 | 250.00 | 250.00 | 1382.00 | 1382.00 | 250.00 | M/S. NAVEEN CONSTRUCTIONS
89.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion. Powder coated aluminium (minimum thickness of powder coating 50 micron) | 160.00 | Kg |  | 550.00 | 88000.00 | 630.00 | 100800.00 | 535.00 | 85600.00 | 530.00 | 84800.00 | 700.00 | 112000.00 | 349.82 | 55970.63 | 600.00 | 96000.00 | 613.00 | 98080.00 | 55970.63 | ATR INFRAPROJECTS PVT LTD
90.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron) | 210.00 | Kg |  | 600.00 | 126000.00 | 666.00 | 139860.00 | 580.00 | 121800.00 | 550.00 | 115500.00 | 700.00 | 147000.00 | 349.82 | 73461.46 | 600.00 | 126000.00 | 613.00 | 128730.00 | 73461.46 | ATR INFRAPROJECTS PVT LTD
91.00 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides. | 20.00 | Sqm |  | 900.00 | 18000.00 | 1350.00 | 27000.00 | 1300.00 | 26000.00 | 1100.00 | 22000.00 | 500.00 | 10000.00 | 668.06 | 13361.18 | 1600.00 | 32000.00 | 1545.00 | 30900.00 | 10000.00 | ANITECH INFRAA
92.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 26.00 | Sqm |  | 1000.00 | 26000.00 | 1530.00 | 39780.00 | 4000.00 | 104000.00 | 1500.00 | 39000.00 | 2000.00 | 52000.00 | 107.20 | 2787.25 | 950.00 | 24700.00 | 863.00 | 22438.00 | 2787.25 | ATR INFRAPROJECTS PVT LTD
93.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 3.00 | Each |  | 2000.00 | 6000.00 | 1620.00 | 4860.00 | 2200.00 | 6600.00 | 1100.00 | 3300.00 | 5000.00 | 15000.00 | 5360.09 | 16080.27 | 2500.00 | 7500.00 | 1363.00 | 4089.00 | 3300.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
94.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/sqm. of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly. the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. c) After two days of proper curing applying a second coat of cement slurry using 2.75kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120mm and minimum thickness at khurra as 65 mm. | 610.00 | Sqm |  | 1800.00 | 1098000.00 | 1350.00 | 823500.00 | 1300.00 | 793000.00 | 1200.00 | 732000.00 | 850.00 | 518500.00 | 840.69 | 512819.64 | 2700.00 | 1647000.00 | 690.00 | 420900.00 | 420900.00 | M/s Sri Aneka Properties Private Limited
95.00 | Soling with RR boulders and 40 mm aggregate to increase the bearing capacity of muddy soil with stone dust 15% of value as per direction of Engineer in Charge | 60.00 | Cum |  | 3500.00 | 210000.00 | 2250.00 | 135000.00 | 4000.00 | 240000.00 | 5800.00 | 348000.00 | 5500.00 | 330000.00 | 1354.13 | 81247.69 | 2600.00 | 156000.00 | 2182.00 | 130920.00 | 81247.69 | ATR INFRAPROJECTS PVT LTD
96.00 | Providing and fixing 6 mm thick MS Sheet liner in pile foundations upto a depth of 6.0 meters as per the soil conditions at pile positions. | 51005.00 | Kg |  | 80.00 | 4080400.00 | 80.10 | 4085500.50 | 85.00 | 4335425.00 | 75.00 | 3825375.00 | 75.00 | 3825375.00 | 65.45 | 3338253.32 | 101.00 | 5151505.00 | 95.00 | 4845475.00 | 3338253.32 | ATR INFRAPROJECTS PVT LTD
97.00 | Consolidation of sub grade with power road roller of 8 to 12 tonne capacity depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead upto 50 metres | 2250.00 | Sqm |  | 20.00 | 45000.00 | 135.00 | 303750.00 | 85.00 | 191250.00 | 180.00 | 405000.00 | 20.00 | 45000.00 | 16.93 | 38084.86 | 43.00 | 96750.00 | 198.00 | 445500.00 | 38084.86 | ATR INFRAPROJECTS PVT LTD
98.00 | Excavation for earth work and transporting in all kinds of soils, with hydraulic excavator and other suitable machinery of required capacity including transporting of material, loading and unloading with all lifts and leads with in airport area upto 1 km lead including construction of embankment to the required alignments slopes and the compacted thickness of each layer shall not be more than 250mm with Road roller / soil compactor including breaking clods, watering,rolling tall complete as per the direction of engineer-in-charge. | 530.00 | Cum |  | 350.00 | 185500.00 | 270.00 | 143100.00 | 210.00 | 111300.00 | 300.00 | 159000.00 | 220.00 | 116600.00 | 141.06 | 74759.16 | 225.00 | 119250.00 | 359.00 | 190270.00 | 74759.16 | ATR INFRAPROJECTS PVT LTD
99.00 | Providing and laying SWR PVC (Working pressure 6kg/sqcm) pipes conforming to IS : 4985 including jointing and laying in proper slope etc. complete as per the direction of Engineer in charge. 150mm dia | 10.00 | Metre |  | 1000.00 | 10000.00 | 1440.00 | 14400.00 | 850.00 | 8500.00 | 1050.00 | 10500.00 | 1000.00 | 10000.00 | 733.49 | 7334.86 | 600.00 | 6000.00 | 298.00 | 2980.00 | 2980.00 | M/s Sri Aneka Properties Private Limited
100.00 | Providing and laying SWR PVC (Working pressure 6kg/sqcm) pipes conforming to IS : 4985 including jointing and laying in proper slope etc. complete as per the direction of Engineer in charge. 110mm dia | 20.00 | Metre |  | 450.00 | 9000.00 | 810.00 | 16200.00 | 760.00 | 15200.00 | 610.00 | 12200.00 | 900.00 | 18000.00 | 665.78 | 13315.59 | 400.00 | 8000.00 | 251.00 | 5020.00 | 5020.00 | M/s Sri Aneka Properties Private Limited
101.00 | Providing and laying SWR PVC (Working pressure 6kg/sqcm) pipes conforming to IS : 4985 including jointing and laying in proper slope etc. complete as per the direction of Engineer in charge. 75mm dia | 20.00 | Metre |  | 250.00 | 5000.00 | 630.00 | 12600.00 | 670.00 | 13400.00 | 450.00 | 9000.00 | 500.00 | 10000.00 | 615.00 | 12300.00 | 275.00 | 5500.00 | 214.00 | 4280.00 | 4280.00 | M/s Sri Aneka Properties Private Limited
102.00 | Providing and laying PVC (Working pressure 6kg/sqcm) pipes conforming to IS : 4985 including jointing and laying in proper slope etc. complete as per the direction of Engineer in charge. Single Socketed pipe - 40mm dia | 20.00 | Metre |  | 100.00 | 2000.00 | 225.00 | 4500.00 | 580.00 | 11600.00 | 150.00 | 3000.00 | 266.00 | 5320.00 | 575.50 | 11510.09 | 155.00 | 3100.00 | 197.00 | 3940.00 | 2000.00 | K.MURUGESAN
103.00 | Providing and fixing Health Faucet with 1 Meter Long Easy Flex Tube in Chrome Finish of approved quality complete etc. as per the direction of EIC. (a)15mm dia nominal bore | 2.00 | Each |  | 600.00 | 1200.00 | 1350.00 | 2700.00 | 1300.00 | 2600.00 | 1200.00 | 2400.00 | 1500.00 | 3000.00 | 1241.28 | 2482.57 | 750.00 | 1500.00 | 1529.00 | 3058.00 | 1200.00 | K.MURUGESAN
104.00 | Providing and fixing PVC floor trap of make Finolex or equivalent including embedding in the floors in concrete 1:3:6 (1 cement: 3 coarse sand: 6 stone aggregate size 20mm size) including conveying the materials to all floors including cutting concrete or masonary wherever required and restoring the damaged portion to the original condition complete as directed by EIC. (a) 110mm dia. | 5.00 | Each |  | 250.00 | 1250.00 | 450.00 | 2250.00 | 570.00 | 2850.00 | 900.00 | 4500.00 | 750.00 | 3750.00 | 186.19 | 930.96 | 350.00 | 1750.00 | 1556.00 | 7780.00 | 930.96 | ATR INFRAPROJECTS PVT LTD
105.00 | Providing and fixing C PVC ball valve all complete-40 mm | 2.00 | Each |  | 1200.00 | 2400.00 | 1440.00 | 2880.00 | 1300.00 | 2600.00 | 950.00 | 1900.00 | 799.00 | 1598.00 | 733.49 | 1466.97 | 1000.00 | 2000.00 | 727.00 | 1454.00 | 1454.00 | M/s Sri Aneka Properties Private Limited
106.00 | Providing and fixing C PVC ball valve all complete-25 mm | 2.00 | Each |  | 1500.00 | 3000.00 | 540.00 | 1080.00 | 1660.00 | 3320.00 | 490.00 | 980.00 | 601.00 | 1202.00 | 620.64 | 1241.28 | 750.00 | 1500.00 | 550.00 | 1100.00 | 980.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
107.00 | Providing and fixing C PVC ball valve all complete-20 mm | 2.00 | Each |  | 800.00 | 1600.00 | 360.00 | 720.00 | 1570.00 | 3140.00 | 320.00 | 640.00 | 521.00 | 1042.00 | 507.80 | 1015.60 | 600.00 | 1200.00 | 430.00 | 860.00 | 640.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
108.00 | Preparation and submission of detailed architectural and structural design of proposed Power House (Stilt + First Floor) Plan, Elevation, cross section, service drawings and Structural design drawing for RCC structure etc. all complete. Rate of items including following stages. 1. Preparation of Preliminary drawings, working out the quantity of RCC & Reinforcement based on soil investigation report etc. for the building to be submitted for approval of Engineer-in-charge. 2. After finalization of preliminary drawings. Submission of vetted " Good for construction" drawings in six sets & soft copy . 3. Structural analysis for design of Building including pile foundation, pile cap and other reinforcement detailing etc. with relevant IS codes with UpToDate corrections. 4.All drawings & designs along with design report vetted by NIT/IIT /Govt. Engg collage to be submitted in 6 sets along with soft copy 5.Consultant to be appointed with prior approval of Engineer-in-Charge i.e. registered architect with council of architecture, registered structural Engineer/Chartered Engineer . Visit of consultant during each stage & as and when desired by EIC at the time of execution of work shall be arranged. (No extra charges will be paid for site visits by the consultant from AAI) | 1.00 | Job |  | 250000.00 | 250000.00 | 180000.00 | 180000.00 | 310000.00 | 310000.00 | 500000.00 | 500000.00 | 300000.00 | 300000.00 | 112844.02 | 112844.02 | 345000.00 | 345000.00 | 350000.00 | 350000.00 | 112844.02 | ATR INFRAPROJECTS PVT LTD
109.00 | Wiring for light point/fan point / exhaust fan point/ call bell point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular type switch, modular plate suitable size GI box and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required Group C | 52.00 | Point |  | 2000.00 | 104000.00 | 2250.00 | 117000.00 | 1620.00 | 84240.00 | 1500.00 | 78000.00 | 1500.00 | 78000.00 | 823.76 | 42835.59 | 1182.00 | 61464.00 | 1686.00 | 87672.00 | 42835.59 | ATR INFRAPROJECTS PVT LTD
110.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc as required. | 2.00 | Point |  | 2000.00 | 4000.00 | 2520.00 | 5040.00 | 1980.00 | 3960.00 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 891.47 | 1782.94 | 1320.00 | 2640.00 | 1697.00 | 3394.00 | 1782.94 | ATR INFRAPROJECTS PVT LTD
111.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 30.00 | Point |  | 2000.00 | 60000.00 | 2160.00 | 64800.00 | 1980.00 | 59400.00 | 1500.00 | 45000.00 | 1675.00 | 50250.00 | 479.59 | 14387.61 | 820.00 | 24600.00 | 1707.00 | 51210.00 | 14387.61 | ATR INFRAPROJECTS PVT LTD
112.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 200.00 | Metre |  | 250.00 | 50000.00 | 315.00 | 63000.00 | 414.00 | 82800.00 | 175.00 | 35000.00 | 150.00 | 30000.00 | 265.18 | 53036.69 | 210.00 | 42000.00 | 302.00 | 60400.00 | 30000.00 | ANITECH INFRAA
113.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 200.00 | Metre |  | 600.00 | 120000.00 | 414.00 | 82800.00 | 474.00 | 94800.00 | 180.00 | 36000.00 | 265.00 | 53000.00 | 338.53 | 67706.41 | 250.00 | 50000.00 | 341.00 | 68200.00 | 36000.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
114.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | Metre |  | 600.00 | 60000.00 | 495.00 | 49500.00 | 522.00 | 52200.00 | 225.00 | 22500.00 | 447.00 | 44700.00 | 394.95 | 39495.41 | 320.00 | 32000.00 | 396.00 | 39600.00 | 22500.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
115.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 4 X 2.5 sq. mm + 2 X 2.5 sq.mm earth wire | 200.00 | Metre |  | 600.00 | 120000.00 | 585.00 | 117000.00 | 672.00 | 134400.00 | 320.00 | 64000.00 | 600.00 | 120000.00 | 428.81 | 85761.45 | 473.00 | 94600.00 | 518.00 | 103600.00 | 64000.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
116.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 100.00 | Metre |  | 690.00 | 69000.00 | 783.00 | 78300.00 | 750.00 | 75000.00 | 400.00 | 40000.00 | 1000.00 | 100000.00 | 575.50 | 57550.45 | 730.00 | 73000.00 | 626.00 | 62600.00 | 40000.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
117.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | 10.00 | Each |  | 600.00 | 6000.00 | 189.00 | 1890.00 | 114.00 | 1140.00 | 200.00 | 2000.00 | 46.00 | 460.00 | 242.61 | 2426.15 | 91.00 | 910.00 | 48.00 | 480.00 | 460.00 | ANITECH INFRAA
118.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 3 pin 5/6 A socket outlet | 10.00 | Each |  | 400.00 | 4000.00 | 207.00 | 2070.00 | 276.00 | 2760.00 | 250.00 | 2500.00 | 120.00 | 1200.00 | 321.61 | 3216.05 | 145.00 | 1450.00 | 63.00 | 630.00 | 630.00 | M/s Sri Aneka Properties Private Limited
119.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required Telephone socket outlet | 2.00 | Each |  | 200.00 | 400.00 | 198.00 | 396.00 | 300.00 | 600.00 | 225.00 | 450.00 | 200.00 | 400.00 | 361.10 | 722.20 | 180.00 | 360.00 | 100.00 | 200.00 | 200.00 | M/s Sri Aneka Properties Private Limited
120.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required TV antenna socket outlet | 2.00 | Each |  | 3500.00 | 7000.00 | 180.00 | 360.00 | 300.00 | 600.00 | 200.00 | 400.00 | 200.00 | 400.00 | 349.82 | 699.63 | 136.00 | 272.00 | 87.00 | 174.00 | 174.00 | M/s Sri Aneka Properties Private Limited
121.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required Data outlet one module for Data Points (RJ-45) | 2.00 | Each |  | 700.00 | 1400.00 | 153.00 | 306.00 | 198.00 | 396.00 | 200.00 | 400.00 | 100.00 | 200.00 | 581.15 | 1162.29 | 275.00 | 550.00 | 410.00 | 820.00 | 200.00 | ANITECH INFRAA
122.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 20.00 | Each |  | 300.00 | 6000.00 | 288.00 | 5760.00 | 948.00 | 18960.00 | 500.00 | 10000.00 | 158.00 | 3160.00 | 936.61 | 18732.11 | 364.00 | 7280.00 | 441.00 | 8820.00 | 3160.00 | ANITECH INFRAA
123.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required | 11.00 | Each |  | 200.00 | 2200.00 | 495.00 | 5445.00 | 1140.00 | 12540.00 | 600.00 | 6600.00 | 214.00 | 2354.00 | 1241.28 | 13654.13 | 636.00 | 6996.00 | 542.00 | 5962.00 | 2200.00 | K.MURUGESAN
124.00 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 12.00 | Each |  | 200.00 | 2400.00 | 117.00 | 1404.00 | 216.00 | 2592.00 | 300.00 | 3600.00 | 125.00 | 1500.00 | 208.76 | 2505.14 | 45.00 | 540.00 | 80.00 | 960.00 | 540.00 | M/S. NAVEEN CONSTRUCTIONS
125.00 | Supplying and fixing modular blanking plate on the existing modular plate and switch box excluding modular plate as required | 15.00 | Each |  | 300.00 | 4500.00 | 144.00 | 2160.00 | 78.00 | 1170.00 | 350.00 | 5250.00 | 300.00 | 4500.00 | 124.13 | 1861.93 | 23.00 | 345.00 | 101.00 | 1515.00 | 345.00 | M/S. NAVEEN CONSTRUCTIONS
126.00 | Supplying and fixing following way, IP43, vertical type three pole and neutral, sheet steel, MCB distribution board, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted suitable for operation on 415V, 50Hz, three phase AC supply inline with technical specifications given in special conditions of contract including earthing etc. complete as required. 8 way (8 + 24), Double door - Vertical Type | 3.00 | Each |  | 3000.00 | 9000.00 | 14670.00 | 44010.00 | 18000.00 | 54000.00 | 8000.00 | 24000.00 | 10000.00 | 30000.00 | 18167.89 | 54503.66 | 10910.00 | 32730.00 | 6292.00 | 18876.00 | 9000.00 | K.MURUGESAN
127.00 | Supplying and fixing Cable End Box (Loose wire box)(IP 43) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with testing and commissioning etc. as required. For 8 way, Double door TPN MCBDB | 3.00 | Each |  | 15000.00 | 45000.00 | 1350.00 | 4050.00 | 5400.00 | 16200.00 | 3000.00 | 9000.00 | 9000.00 | 27000.00 | 7616.97 | 22850.91 | 7273.00 | 21819.00 | 9405.00 | 28215.00 | 4050.00 | Saraswathi Engineering Construction (P) Ltd.
128.00 | Supplying and fixing of following rating, four pole, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. 125 A, Four pole | 3.00 | Each |  | 3000.00 | 9000.00 | 2520.00 | 7560.00 | 6720.00 | 20160.00 | 1500.00 | 4500.00 | 15000.00 | 45000.00 | 5123.12 | 15369.36 | 1820.00 | 5460.00 | 13112.00 | 39336.00 | 4500.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
129.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 72.00 | Each |  | 200.00 | 14400.00 | 297.00 | 21384.00 | 336.00 | 24192.00 | 400.00 | 28800.00 | 600.00 | 43200.00 | 310.32 | 22343.12 | 273.00 | 19656.00 | 236.00 | 16992.00 | 14400.00 | K.MURUGESAN
130.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required - 4 Pair | 100.00 | Metre |  | 150.00 | 15000.00 | 135.00 | 13500.00 | 54.00 | 5400.00 | 100.00 | 10000.00 | 40.00 | 4000.00 | 189.58 | 18957.80 | 23.00 | 2300.00 | 50.00 | 5000.00 | 2300.00 | M/S. NAVEEN CONSTRUCTIONS
131.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 20 mm | 100.00 | Metre |  | 200.00 | 20000.00 | 135.00 | 13500.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 200.00 | 20000.00 | 523.60 | 52359.62 | 114.00 | 11400.00 | 206.00 | 20600.00 | 10000.00 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
132.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required 25 mm | 100.00 | Metre |  | 250.00 | 25000.00 | 162.00 | 16200.00 | 168.00 | 16800.00 | 200.00 | 20000.00 | 250.00 | 25000.00 | 750.41 | 75041.27 | 159.00 | 15900.00 | 236.00 | 23600.00 | 15900.00 | M/S. NAVEEN CONSTRUCTIONS
133.00 | Supply of LED industrial batten surface /suspended slim LED integral light luminaries made of Powder coated aluminium extrusion housing and Special opal diffuser for uniform light output, having luminaire efficacy of not less than 100 lm/W and minimum Lumen Output of 4000 Lumen suitable to operate 150 – 270V AC supply, LED Colour Temperature from 5700K - 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications as required. | 100.00 | Each |  | 1000.00 | 100000.00 | 1647.00 | 164700.00 | 3420.00 | 342000.00 | 1000.00 | 100000.00 | 2000.00 | 200000.00 | 2990.37 | 299036.65 | 1800.00 | 180000.00 | 6723.00 | 672300.00 | 100000.00 | K.MURUGESAN, SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED
134.00 | Supply of LED street light luminaries having minimum lumen output of 4950 lumens, system efficay note less than 110 lumen/watt, control driver with minimum 4kV surge suppressor, made up of pressure die cast housing with toughened glass/Polycarbonate diffuser, suitable for operation on 230V, 50Hz, single phase AC supply inline with technical specifications given in special conditions of contract with 5 years warranty etc. complete as required. | 15.00 | Each |  | 1300.00 | 19500.00 | 6435.00 | 96525.00 | 11400.00 | 171000.00 | 7500.00 | 112500.00 | 7500.00 | 112500.00 | 9021.88 | 135328.19 | 2190.00 | 32850.00 | 4316.00 | 64740.00 | 19500.00 | K.MURUGESAN
135.00 | Supply of LED Aviation Obstruction light in cast aluminium housing with polycarbonate enclosure etc., as required of Bajaj make Cat No BGAV 302 LED or equivalent models of Insta Power/Crompton/Philips | 4.00 | Each |  | 1000.00 | 4000.00 | 9000.00 | 36000.00 | 7440.00 | 29760.00 | 5000.00 | 20000.00 | 15000.00 | 60000.00 | 9185.50 | 36742.01 | 5450.00 | 21800.00 | 4837.00 | 19348.00 | 4000.00 | K.MURUGESAN
136.00 | Supply of LED type bulkhead luminaire with Cool white colour temperature having minimum lumen output of 1100, System Efficiency of LED Light Fitting not less than 110 lumen/watt, PF equal to 0.95 or more, minimum IP 65 protection with housing material made of High Pressure Die Cast Aluminium /Standard Alloy suitable for Outdoor Application with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, complete as required and meeting the techno commercial specifications as required. | 10.00 | Each |  | 3500.00 | 35000.00 | 981.00 | 9810.00 | 780.00 | 7800.00 | 1500.00 | 15000.00 | 2500.00 | 25000.00 | 1991.70 | 19916.97 | 1275.00 | 12750.00 | 1922.00 | 19220.00 | 7800.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
137.00 | Supply of 1200mm sweep, BLDC BEE 5 star rated ceiling fan suitable for 230 Volt 50 Hz AC Supply, with minimum 350 RPM and minimum Air delivery of 220 CMM with 30 cm down rod and other accessories, canopies, with out regulator etc. complete as required | 20.00 | Each |  | 4200.00 | 84000.00 | 3096.00 | 61920.00 | 8640.00 | 172800.00 | 3500.00 | 70000.00 | 3560.00 | 71200.00 | 4417.84 | 88356.87 | 3600.00 | 72000.00 | 2487.00 | 49740.00 | 49740.00 | M/s Sri Aneka Properties Private Limited
138.00 | Supply of 300mm sweep, metallic exhaust fan along with steel louver of minimum 1400 RPM, suitable for 230 Volt 50 Hz AC supply including all acessories etc. as required. | 4.00 | Each |  | 2500.00 | 10000.00 | 2925.00 | 11700.00 | 6240.00 | 24960.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 5800.18 | 23200.73 | 2945.00 | 11780.00 | 4469.00 | 17876.00 | 10000.00 | K.MURUGESAN, ANITECH INFRAA
139.00 | Supply of 450mm sweep, metallic exhaust fan along with steel louver of minimum 1400 rpm, suitable for 230 volt 50 HZ Supply including all acessories etc., as required. | 15.00 | Each |  | 4300.00 | 64500.00 | 4950.00 | 74250.00 | 7200.00 | 108000.00 | 3500.00 | 52500.00 | 3000.00 | 45000.00 | 8564.86 | 128472.92 | 4180.00 | 62700.00 | 4990.00 | 74850.00 | 45000.00 | ANITECH INFRAA
140.00 | Supply of 600mm sweep, metallic Air circulator of wall mounted type with minimum 1440 RPM and minimum Air delivery of 250 CMM and having minimum noise level 60-65 db suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 5.00 | Each |  | 2200.00 | 11000.00 | 13680.00 | 68400.00 | 7500.00 | 37500.00 | 3000.00 | 15000.00 | 15000.00 | 75000.00 | 11160.27 | 55801.37 | 7270.00 | 36350.00 | 8325.00 | 41625.00 | 11000.00 | K.MURUGESAN
141.00 | Installation, testing and commissioning of light fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 94.00 | Each |  | 150.00 | 14100.00 | 189.00 | 17766.00 | 360.00 | 33840.00 | 300.00 | 28200.00 | 150.00 | 14100.00 | 457.02 | 42959.72 | 136.00 | 12784.00 | 190.00 | 17860.00 | 12784.00 | M/S. NAVEEN CONSTRUCTIONS
142.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 16.00 | Each |  | 600.00 | 9600.00 | 387.00 | 6192.00 | 7440.00 | 119040.00 | 1000.00 | 16000.00 | 50.00 | 800.00 | 1579.82 | 25277.06 | 455.00 | 7280.00 | 341.00 | 5456.00 | 800.00 | ANITECH INFRAA
143.00 | Supplying and Fixing of 32mm dia x 2.00 mtrs long GI pipe (medium class) bracket for mounting of LED street light fitting on pole including bending the pipe in required shape, 2nos. 40mm x 3mm flat iron clamps with nuts and bolts and washer, painting the flat with primer and finish paint etc as required. | 12.00 | Each |  | 600.00 | 7200.00 | 567.00 | 6804.00 | 1140.00 | 13680.00 | 7500.00 | 90000.00 | 1500.00 | 18000.00 | 8040.14 | 96481.64 | 1364.00 | 16368.00 | 1815.00 | 21780.00 | 6804.00 | Saraswathi Engineering Construction (P) Ltd.
144.00 | Installation, testing and commissioning of ceiling fan, including wiring the downrods of length (upto 60 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc., complete as required. | 16.00 | Each |  | 150.00 | 2400.00 | 255.00 | 4080.00 | 420.00 | 6720.00 | 350.00 | 5600.00 | 300.00 | 4800.00 | 4163.94 | 66623.11 | 455.00 | 7280.00 | 197.00 | 3152.00 | 2400.00 | K.MURUGESAN
145.00 | Installation of exhaust fan along with louver upto 450mm sweep in the existing opening, including making good the damage, connection, testing, commissioning with 1.5 sqmm flexible FRLS cable etc., as required. | 14.00 | Each |  | 150.00 | 2100.00 | 243.00 | 3402.00 | 540.00 | 7560.00 | 350.00 | 4900.00 | 500.00 | 7000.00 | 451.38 | 6319.27 | 455.00 | 6370.00 | 416.00 | 5824.00 | 2100.00 | K.MURUGESAN
146.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc., complete as required. | 4.00 | Job |  | 600.00 | 2400.00 | 1440.00 | 5760.00 | 5400.00 | 21600.00 | 7500.00 | 30000.00 | 1500.00 | 6000.00 | 2933.94 | 11735.78 | 22500.00 | 90000.00 | 479.00 | 1916.00 | 1916.00 | M/s Sri Aneka Properties Private Limited
147.00 | Providing and fixing GI tape 20 mm X 3 mm thick on parapet or surface of wall with GI saddle, PVC fastener etc. for lightning conductor as complete as required. (For horizontal run) | 150.00 | Metre |  | 300.00 | 45000.00 | 315.00 | 47250.00 | 324.00 | 48600.00 | 1000.00 | 150000.00 | 564.00 | 84600.00 | 253.90 | 38084.86 | 225.00 | 33750.00 | 116.00 | 17400.00 | 17400.00 | M/s Sri Aneka Properties Private Limited
148.00 | Providing and fixing GI tape 20 mm X 3 mm thick on parapet or surface of wall with GI saddle, PVC fastener etc. for lightning conductor as complete as required. (For vertical run) | 70.00 | Metre |  | 100.00 | 7000.00 | 387.00 | 27090.00 | 324.00 | 22680.00 | 800.00 | 56000.00 | 254.00 | 17780.00 | 253.90 | 17772.93 | 295.00 | 20650.00 | 182.00 | 12740.00 | 7000.00 | K.MURUGESAN
149.00 | Earthing with GI pipe 4.5 mtr long, 40 mm dia including accessories and providing masonary enclosure with cover plate having locking arrangment and watering pipe etc with charcoal or coke and salt as required. | 4.00 | Set |  | 8000.00 | 32000.00 | 9000.00 | 36000.00 | 9000.00 | 36000.00 | 7500.00 | 30000.00 | 12500.00 | 50000.00 | 2426.15 | 9704.59 | 9100.00 | 36400.00 | 6343.00 | 25372.00 | 9704.59 | ATR INFRAPROJECTS PVT LTD
150.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 50.00 | Metre |  | 300.00 | 15000.00 | 288.00 | 14400.00 | 384.00 | 19200.00 | 1000.00 | 50000.00 | 564.00 | 28200.00 | 321.61 | 16080.27 | 132.00 | 6600.00 | 265.00 | 13250.00 | 6600.00 | M/S. NAVEEN CONSTRUCTIONS
151.00 | Providing and fixing 6 SWG dia GI wire on surface or in recess for loop earthing along with existing surface/cables/conduits/wiring etc as required. | 50.00 | Metre |  | 30.00 | 1500.00 | 261.00 | 13050.00 | 48.00 | 2400.00 | 1000.00 | 50000.00 | 254.00 | 12700.00 | 293.39 | 14669.72 | 91.00 | 4550.00 | 117.00 | 5850.00 | 1500.00 | K.MURUGESAN
152.00 | Supply of 3 kW high-grade magnesium oxide insulated copper element Instant Electric Water Geyser of minimum 3 litres storage capacity made of inner tank of high-grade 304 Stainless Steel and Rust-proof high-quality polymer constituents outer body with all standard accessories such as pressure release valve, ISI marked thermostat, disc type snap action safety device and anti-siphon protection etc., as required. | 2.00 | Each |  | 5000.00 | 10000.00 | 5580.00 | 11160.00 | 5400.00 | 10800.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 3385.32 | 6770.64 | 3636.00 | 7272.00 | 5972.00 | 11944.00 | 6770.64 | ATR INFRAPROJECTS PVT LTD
153.00 | Supply, installation, testing & commissioning of 900VA (min) Inverter with sin wave output, MOSFET/IGBT based PWM technology,single phase input (160V-230V), and single phase output (230 V ± 5%,50 ± 1 Hz ), including provision of short circuit protection and display of electrical parameters along with 01No. 12V, 180AH lead acid tubular battery confirming to IS:13369, battery terminals, connecting leads and trolley enclosure made out of CRCA sheet along with as per specifications complete as required. | 1.00 | Job |  | 100000.00 | 100000.00 | 36000.00 | 36000.00 | 30000.00 | 30000.00 | 30000.00 | 30000.00 | 75000.00 | 75000.00 | 45701.83 | 45701.83 | 28700.00 | 28700.00 | 39068.00 | 39068.00 | 28700.00 | M/S. NAVEEN CONSTRUCTIONS
154.00 | Numbering/Labelling of ceiling fan/ exhaust fan/ LED fittings/street light poles/water coolers/DB's/FADS etc., as required. | 116.00 | Each |  | 20.00 | 2320.00 | 117.00 | 13572.00 | 120.00 | 13920.00 | 500.00 | 58000.00 | 100.00 | 11600.00 | 366.74 | 42542.20 | 182.00 | 21112.00 | 67.00 | 7772.00 | 2320.00 | K.MURUGESAN
155.00 | Supply, Installation, Testing & Commissioning of 15Ltr (min) water flow Reverse Osmosis (RO) online water filter cum purifier with min five stage purification of pre-filter, anti-scale, pre-carbon filter, sediment filter, RO membrance, UV etc., including 8ltr (min) RO water storage capacity tank with suitable stand with 10 inch external Pre-filter, suitable for operation on 230 volts +/- 10%, 50 Hz single phase AC supply complete with all accessories as required (Eureka Forbes, Kent or Equivalent) | 2.00 | Job |  | 30000.00 | 60000.00 | 14580.00 | 29160.00 | 26500.00 | 53000.00 | 25000.00 | 50000.00 | 225000.00 | 450000.00 | 13541.28 | 27082.56 | 9100.00 | 18200.00 | 23931.00 | 47862.00 | 18200.00 | M/S. NAVEEN CONSTRUCTIONS
| Total in Figures |  |  |  |  | 59587150.00 |  | 56504131.50 |  | 60835305.00 |  | 53795190.00 |  | 57042724.00 |  | 45501649.92 |  | 57246148.00 |  | 49956948.60
Lowest Amount Quoted BY: ATR INFRAPROJECTS PVT LTD(45501649.92)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Sub Station and Ancillary Works for New ASR Collocated MSSR at Chennai Airport. Tender ID: 2025_AAI_228529_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ATR INFRAPROJECTS PVT LTD (BID ID -837645) | 45501649.92 | L1
| 2 | M/s Sri Aneka Properties Private Limited (BID ID -828583) | 49956948.60 | L2
| 3 | SRI RAMANA BUILDING CONSTRUCTIONS PRIVATE LIMITTED (BID ID -838003) | 53795190.00 | L3
| 4 | Saraswathi Engineering Construction (P) Ltd. (BID ID -835679) | 56504131.50 | L4
| 5 | ANITECH INFRAA (BID ID -836041) | 57042724.00 | L5
| 6 | M/S. NAVEEN CONSTRUCTIONS (BID ID -835457) | 57246148.00 | L6
| 7 | K.MURUGESAN (BID ID -835409) | 59587150.00 | L7
| 8 | CREATORS ENGINEERS AND INTERIORS PVT LTD (BID ID -837989) | 60835305.00 | L8