## BoQ1
Government eProcurement System Created By: Semreichui Duidang Created Date/Time: 28-Jul-2025 05:01 PM Tender Title: Provision of Gas Suppression System for CNS Installation at Imphal International Airport Tender ID: 2025_AAI_228733_1
Tender Inviting Authority: Sr. Manager (Engg.-Elect.), AAI, Imphal International Airport.
Name of Work:
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | advent electric technologies pvt. ltd. (GSTN-07AAJCA2055K1ZN) BID ID -870974 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -874795 |  | Jyoti Enterprises (GSTN-07AELPA6221L1ZK) BID ID -875226 |  | Kalpataru Industries (GSTN-NA) BID ID -870490
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: DSITC
1.01 | Item No. 1: Design, supply, installation, testing and commissioning of Total Flooding Automatic Gas Suppression System consisting of Cylinder PESO Approved, complete with UL/VDS/PESO Approved valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure, a pressure gauge with a safety burst disc, electronic control head / Solenoid, pressure operated control head, flexible hose, strap, NRV, Pressure Switch and a safety cap, required nos. of Nozzles (UL/VDS listed), Piping, Manifold, Gas Release panel, Fire Alarm System etc. complete as required. (Gas Quantity would be as per the volume given below and as per the UL/VDS certification) CLEAN AGENT (FK-5-1- 12) / Inset Gas with Zero Ozone Depletion Potential (ODP), has appearance/Colourless gas and odour less. Note: The cylinder, Volume of Gas, Nos. of Nozzles, piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer (OEM) shall be submitted prior to starting of the works. Gas Suppression System for following rooms and given approximate volume.
1.02 | Item No. 1.01: AUTOMATION TECH SERVER (Capacity-120 Ltr / Qty-1) | 1.00 | Job | 0.00 | 524095.40 | 524095.40 | 391780.00 | 391780.00 | 341000.00 | 341000.00 | 677485.00 | 677485.00 | 341000.00 | Jyoti Enterprises
1.03 | Item No. 1.02: ATC TOWER ROOM (Capacity-140 Ltr / Qty-1) | 1.00 | Job | 0.00 | 652993.00 | 652993.00 | 461970.00 | 461970.00 | 407000.00 | 407000.00 | 777922.00 | 777922.00 | 407000.00 | Jyoti Enterprises
1.04 | Item No. 1.03: EPABX ROOM (Capacity-80 Ltr / Qty-1) | 1.00 | Job | 0.00 | 407997.00 | 407997.00 | 333300.00 | 333300.00 | 297000.00 | 297000.00 | 494119.00 | 494119.00 | 297000.00 | Jyoti Enterprises
1.05 | Item No. 1.04: UPS & BATTERY ROOM - PA AND SERVER (Capacity-80 Ltr / Qty-1) | 1.00 | Job | 0.00 | 442096.30 | 442096.30 | 352170.00 | 352170.00 | 297000.00 | 297000.00 | 552617.00 | 552617.00 | 297000.00 | Jyoti Enterprises
1.06 | Item No. 1.05: DVOR PANEL ROOM (Capacity-80 Ltr / Qty-1) | 1.00 | Job | 0.00 | 358398.00 | 358398.00 | 307800.00 | 307800.00 | 297000.00 | 297000.00 | 422393.00 | 422393.00 | 297000.00 | Jyoti Enterprises
1.07 | Item No. 1.06: DVOR EQP ROOM (Capacity-80 Ltr / Qty-1) | 1.00 | Job | 0.00 | 417296.80 | 417296.80 | 338640.00 | 338640.00 | 297000.00 | 297000.00 | 485618.00 | 485618.00 | 297000.00 | Jyoti Enterprises
1.08 | Item No. 1.07: DVOR UPS BATTERY ROOM (Capacity-34 Ltr / Qty-1) | 1.00 | Job | 0.00 | 270998.80 | 270998.80 | 247340.00 | 247340.00 | 264000.00 | 264000.00 | 410894.00 | 410894.00 | 247340.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.09 | Item No. 1.08: GLIDE PATH PANEL ROOM (Capacity-34 Ltr / Qty-1) | 1.00 | Job | 0.00 | 286498.50 | 286498.50 | 259960.00 | 259960.00 | 264000.00 | 264000.00 | 404893.00 | 404893.00 | 259960.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.10 | Item No. 1.09: GLIDE PATH EQP ROOM (Capacity-34 Ltr / Qty-1) | 1.00 | Job | 0.00 | 317497.90 | 317497.90 | 275400.00 | 275400.00 | 264000.00 | 264000.00 | 424893.00 | 424893.00 | 264000.00 | Jyoti Enterprises
1.11 | Item No. 1.10: LOCALIZER PANEL ROOM (Capacity-34 Ltr / Qty-1) | 1.00 | Job | 0.00 | 286498.50 | 286498.50 | 260110.00 | 260110.00 | 264000.00 | 264000.00 | 404893.00 | 404893.00 | 260110.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.12 | Item No. 1.11: LOCALIZER EQP ROOM (Capacity-34 Ltr / Qty-1) | 1.00 | Job | 0.00 | 292698.40 | 292698.40 | 262870.00 | 262870.00 | 264000.00 | 264000.00 | 409893.00 | 409893.00 | 262870.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.00 | Item No. 2: Design, supply, installation, testing and commissioning of heat detection tube, automatic Gas suppression system consisting of 2 Kg peso approved cylinder (Only) with ILP valve assembly and arrangement of pressure switch connection for monitoring cylinder pressure, red colour and ID is 4 mm and OD is 6 mm of heat sensing tube, flexible hose, pressure gauge and filled with 2 Kg of UL Listed FK-5-1-12 agent, cylinder mounting brackets with Manual Actuator for operating the ILP system which is fitted on the end of the tube, end of line adaptor, end of line plug, T-connection, Audio Visual master control unit with hooter cum flasher panel single zone shall have integration relay for fire and fault for 3rd party integrations for monitoring purpose complete as required for the following size of IT Equipment Panel with Single Nozzle. Note: Cylinder and Master control Unit install near by the IT Rack. Power point is in the scope.
2.01 | Item No. 2.01: 0.75 m x 0.95 m x 2 m (Length x Breadth x Height) - ( Total Capacity for cylinder-782 Ltr / Qty-30). | 30.00 | No | 0.00 | 32000.00 | 960000.00 | 68000.00 | 2040000.00 | 242000.00 | 7260000.00 | 104585.00 | 3137550.00 | 960000.00 | advent electric technologies pvt. ltd.
3.00 | SH-II: AMC
3.01 | Item No. 3: Annual maintenance contract of gas based suppression system by providing quarterly inspection, checking, repair, maintenance and replacement of unserviceable components, i/c cleaning of detection systems, verify control panel functionality, check cylinder pressures, and perform a dry system test and all other associated maintenance job as per maintenance schedule and recommendation of OEM to keep the system under serviceable condition including attending any numbers of breakdown as and when required.
3.02 | First year after DLP | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 499570.00 | 499570.00 | 450000.00 | 450000.00 | 430159.00 | 430159.00 | 100000.00 | advent electric technologies pvt. ltd.
3.03 | Second year after DLP | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 524550.00 | 524550.00 | 550000.00 | 550000.00 | 455969.00 | 455969.00 | 100000.00 | advent electric technologies pvt. ltd.
3.04 | Third year after DLP | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 550780.00 | 550780.00 | 590000.00 | 590000.00 | 483327.00 | 483327.00 | 100000.00 | advent electric technologies pvt. ltd.
3.05 | Fourth year after DLP | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 578310.00 | 578310.00 | 625000.00 | 625000.00 | 512327.00 | 512327.00 | 100000.00 | advent electric technologies pvt. ltd.
3.06 | Fifth year after DLP | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 607230.00 | 607230.00 | 650000.00 | 650000.00 | 543067.00 | 543067.00 | 100000.00 | advent electric technologies pvt. ltd.
| Total in Figures |  |  |  |  | 5717068.60 |  | 8291780.00 |  | 13381000.00 |  | 11028019.00
Lowest Amount Quoted BY: advent electric technologies pvt. ltd.(5717068.60)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Gas Suppression System for CNS Installation at Imphal International Airport Tender ID: 2025_AAI_228733_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | advent electric technologies pvt. ltd. (BID ID -870974) | 5717068.60 | L1
| 2 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -874795) | 8291780.00 | L2
| 3 | Kalpataru Industries (BID ID -870490) | 11028019.00 | L3
| 4 | Jyoti Enterprises (BID ID -875226) | 13381000.00 | L4