## BoQ1
Government eProcurement System Created By: Shridhar Gupta Created Date/Time: 02-Apr-2025 12:00 PM Tender Title: Construction of New Terminal Building and Other Allied structures Phase I and II at Patna Airport SH Provision of Apron High Mast and Flood Lights Tender ID: 2025_AAI_228821_1
Tender Inviting Authority:
Name of Work:Construction of New Terminal Building & Other Allied structures (Phase I &II) at Patna Airport SH: Provision of Apron High Mast and Flood Lights.
Contract No: 2025_AAI_228821_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Kripa Electronics india pvt ltd (GSTN-27AACCK9472B1ZI) BID ID -830177 |  | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -830485 |  | M/s CGPL ELECTROMECH PVT LTD (GSTN-07AAGCC8228F1ZO) BID ID -831953 |  | SHREE GOURI ELECTRIC ENTERPRISE (GSTN-19ADDPB4683J1ZE) BID ID -832007 |  | M/S AMAR ENTERPRISES (GSTN-20AAMFA2722R1ZE) BID ID -832093 |  | SAHA COMMERCIAL CONSTRUCTION (GSTN-19AASFS6288A1ZN) BID ID -832166 |  | elektron (GSTN-09AAFFE6230P1Z2) BID ID -832259 |  | candela engineering corporation (GSTN-32AAIFC0435H1ZY) BID ID -832271 |  | Messers Rajesh Gawde (GSTN-23AFHPG7133A1Z4) BID ID -832299 |  | Instapower Ltd (GSTN-05AAACI9712L1ZG) BID ID -832308 |  | RANJIT SALES CORPORATION (GSTN-NA) BID ID -832225 |  | VL SERVICES (GSTN-NA) BID ID -831011 |  | M/S Jagdish Singh Enterprises (GSTN-NA) BID ID -832217 |  | M/S GAURAV ELECTRICAL WORKS (GSTN-NA) BID ID -832304 |  | ENGINEERING SOLUTIONS (GSTN-NA) BID ID -831501 |  | Variant Infratech Private Limited (GSTN-NA) BID ID -832252
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design Supply, Fabrication, Installation, Testing and Commissioning of 25 (Twenty Five) metre height hot dip galvanised high mast shaft in two or three sectioned,hot dip galvanised, suitable for wind velocity as per IS 875 part-3 along with its all accessories : viz head frame, suitable SS wire rope, double or tripple drum winch,Galvanised lantern carriage arrangement to install minimum 12 Nos. flood Light luminaries Asymmetrical arrangenment with required cable coonection from panel to mast top & fitting cable connection with counter weight (12 Nos.1x350W LED Flood Light luminaries), lightning finial, integral power tool motor installed inside the base compartment for its operation, trailing cable with suitable size,connector,manual handle,junction box, foundation bolts along with nuts, washers, anchor plates and templates etc. as reqiured for a minimum average lux level of 20 lux as per ICAO standards. | 5.00 | Job |  | 362300.00 | 1811500.00 | 865000.00 | 4325000.00 | 495000.00 | 2475000.00 | 395000.00 | 1975000.00 | 485000.00 | 2425000.00 | 475000.00 | 2375000.00 | 560280.00 | 2801400.00 | 523000.00 | 2615000.00 | 331250.00 | 1656250.00 | 620000.00 | 3100000.00 | 500000.00 | 2500000.00 | 825000.00 | 4125000.00 | 545876.80 | 2729384.00 | 450000.00 | 2250000.00 | 365000.00 | 1825000.00 | 264264.00 | 1321320.00 | 1321320.00 | Variant Infratech Private Limited
2.00 | Design Supply, Fabrication, Installation, Testing and Commissioning of 15 (fifteen) metre height hot dip galvanised high mast shaft in two or three sectioned,hot dip galvanised, suitable for wind velocity as per IS 875 part-3 along with its all accessories : viz head frame, suitable SS wire rope, double or tripple drum winch,Galvanised lantern carriage arrangement to install minimum 12 Nos. flood Light luminaries Asymmetrical arrangenment with required cable coonection from panel to mast top & fitting cable connection with counter weight (12 Nos.1x350W LED Flood Light luminaries), lightning finial, integral power tool motor installed inside the base compartment for its operation, trailing cable with suitable size,connector,manual handle,junction box, foundation bolts along with nuts, washers, anchor plates and templates etc. as reqiured for a minimum average lux level of 20 lux as per ICAO standards. | 1.00 | Job |  | 224000.00 | 224000.00 | 838000.00 | 838000.00 | 365700.00 | 365700.00 | 325000.00 | 325000.00 | 299750.00 | 299750.00 | 345000.00 | 345000.00 | 418880.00 | 418880.00 | 368000.00 | 368000.00 | 268750.00 | 268750.00 | 510000.00 | 510000.00 | 300000.00 | 300000.00 | 515000.00 | 515000.00 | 397490.60 | 397490.60 | 350022.00 | 350022.00 | 265000.00 | 265000.00 | 145985.00 | 145985.00 | 145985.00 | Variant Infratech Private Limited
3.00 | Design Supply, Fabrication, Installation, Testing and Commissioning of 12 (Tweleve) metre height hot dip galvanised high mast shaft in two or three sectioned,hot dip galvanised, suitable for wind velocity as per IS 875 part-3 along with its all accessories : viz head frame, suitable SS wire rope, double or tripple drum winch,Galvanised lantern carriage arrangement to install minimum 12 Nos. flood Light luminaries Asymmetrical arrangenment with required cable coonection from panel to mast top & fitting cable connection with counter weight (12 Nos.1x350W LED Flood Light luminaries), lightning finial, integral power tool motor installed inside the base compartment for its operation, trailing cable with suitable size,connector,manual handle,junction box, foundation bolts along with nuts, washers, anchor plates and templates etc. as reqiured for a minimum average lux level of 20 lux as per ICAO standards. | 1.00 | Job |  | 133800.00 | 133800.00 | 787000.00 | 787000.00 | 215700.00 | 215700.00 | 200000.00 | 200000.00 | 247750.00 | 247750.00 | 250000.00 | 250000.00 | 309680.00 | 309680.00 | 232500.00 | 232500.00 | 200000.00 | 200000.00 | 450000.00 | 450000.00 | 200000.00 | 200000.00 | 335000.00 | 335000.00 | 262600.80 | 262600.80 | 300000.00 | 300000.00 | 210000.00 | 210000.00 | 125840.00 | 125840.00 | 125840.00 | Variant Infratech Private Limited
4.00 | Design and casting of suitable shallow foundation with M-20 concrete for the high mast mentioned in item no.-1 considering the safe soil bearing capacity at site as 10T/Sq.Mtr at min. 2 metres depth and as per soil bearing capacity, works also included hard/soft soil exacavation & disposal for foundation including erection, testing and commissioning of 25/15/12 mtrs high mast system etc. as required and as per specification mentioned in TS & as per direction of EIC. | 7.00 | Job |  | 218000.00 | 1526000.00 | 54000.00 | 378000.00 | 85000.00 | 595000.00 | 49000.00 | 343000.00 | 100000.00 | 700000.00 | 90000.00 | 630000.00 | 119000.00 | 833000.00 | 200000.00 | 1400000.00 | 85000.00 | 595000.00 | 75000.00 | 525000.00 | 100000.00 | 700000.00 | 115000.00 | 805000.00 | 255000.00 | 1785000.00 | 70000.00 | 490000.00 | 168000.00 | 1176000.00 | 181500.00 | 1270500.00 | 343000.00 | SHREE GOURI ELECTRIC ENTERPRISE
5.00 | Supply,Installation,Testing and Commissioning of following type LED Flood light luminaire which should have system efficacy not less than 110lm/W, should have Narrow beam & sw beam with individual optic lens, IP66 protection, IK08 should have system surge protection upto 20 KV,single piece integral high pressure dicast aluminium housing, complete with electronic power driver, all its accessories,colour temperature should not more than 5700K , suitable to works on 230V+ 10% ,50 Hz AC power suppl etc complete as required following flood light fixtures on the lantern carrier of high mast etc. as required.
5.10 | 350 W LED Flood light Wide Beam | 12.00 | Each |  | 13050.00 | 156600.00 | 19500.00 | 234000.00 | 17500.00 | 210000.00 | 13000.00 | 156000.00 | 25000.00 | 300000.00 | 11900.00 | 142800.00 | 12390.00 | 148680.00 | 13100.00 | 157200.00 | 12500.00 | 150000.00 | 11500.00 | 138000.00 | 15900.00 | 190800.00 | 14000.00 | 168000.00 | 25840.00 | 310080.00 | 22000.00 | 264000.00 | 14400.00 | 172800.00 | 10285.00 | 123420.00 | 123420.00 | Variant Infratech Private Limited
5.20 | 350 W LED Flood light Narrow Beam | 28.00 | Each |  | 15120.00 | 423360.00 | 20500.00 | 574000.00 | 18500.00 | 518000.00 | 13000.00 | 364000.00 | 25000.00 | 700000.00 | 11900.00 | 333200.00 | 12110.00 | 339080.00 | 15200.00 | 425600.00 | 13500.00 | 378000.00 | 15500.00 | 434000.00 | 17900.00 | 501200.00 | 14500.00 | 406000.00 | 22270.00 | 623560.00 | 22000.00 | 616000.00 | 18900.00 | 529200.00 | 10285.00 | 287980.00 | 287980.00 | Variant Infratech Private Limited
6.00 | Supply,Installation,Testing and Commissioning of LED Type low intensity aviation obstruction light suitable for 220 V , 50 HZ AC supply and as per ICAO standard etc. complete as required. As per list of approved make or equivalent. | 7.00 | Each |  | 6795.00 | 47565.00 | 2900.00 | 20300.00 | 5500.00 | 38500.00 | 3250.00 | 22750.00 | 3500.00 | 24500.00 | 7000.00 | 49000.00 | 6030.00 | 42210.00 | 6300.00 | 44100.00 | 6250.00 | 43750.00 | 10000.00 | 70000.00 | 5000.00 | 35000.00 | 4500.00 | 31500.00 | 3247.00 | 22729.00 | 5000.00 | 35000.00 | 5400.00 | 37800.00 | 5324.00 | 37268.00 | 20300.00 | jaydeep agency corporation
7.00 | Provision of GI pipe earthing for High mast with 2.5M long 40mm dia GI pipe including connection to High mast earth terminal with 25x3mm GI flats with all materials and labour. (2nos per mast required). | 14.00 | Job |  | 15240.00 | 213360.00 | 4200.00 | 58800.00 | 5500.00 | 77000.00 | 5000.00 | 70000.00 | 10000.00 | 140000.00 | 4750.00 | 66500.00 | 14740.00 | 206360.00 | 12600.00 | 176400.00 | 11875.00 | 166250.00 | 6835.00 | 95690.00 | 5000.00 | 70000.00 | 12500.00 | 175000.00 | 9350.00 | 130900.00 | 10000.00 | 140000.00 | 7600.00 | 106400.00 | 4500.00 | 63000.00 | 58800.00 | jaydeep agency corporation
8.00 | Design,Supply,Installation,Testing and Commissioning of outdoor type distribution feeder pillar box with 63 A TPN MCB as incommer,totally enclosed,free standing, vermin dust proof,Water proof,front operated, double door made of 2 mm thick ,rubber gasket,powder coating painting with provision for incoming cable connection 35 Sqmm and out going 16 & 2.5 Sqmm terminals for the power tool motor etc. complete as required provisions for earthing, support for switchgears & busbars with suitable angle iron frame base, floor mounting, Al. bus bar,suitable for operation on 3 Phase and 4 wire, 415V, 50 Hz AC supply system including control wiring, necessary connections etc and supply & mountings of following items. The provision shall be made for High Masts to be operated from ATC Tower by Remote operation with remote control cable as and when requirement. The panel shall have the following accessories etc as required. (a) (0-40) A TPN MCB with breaking Capacity of 10 KA -02 No. (b )Suitable TPN Bus bars of Aluminum alloy-1 Set (c )Power Contactor(32A,3P,3Ph,415V,50 Hz) with necessary timer,relay,MCB as required for automatic switching of luminaries,-1 Set. (d )Power Contactor(9A,2P,1Ph,230 V,50Hz) with necessary timer,relay,MCB as required for automatic switching of aviation light, -1Set. (e)RYB Indicating Lamp ( LED Type) - 1 set (f) Rotary switch for auto & manual syastem-1 set (g) Push Button for motor opeartion-1 Set (h) Ammeter with selector switch and suitable C/T etc. -01 set (i) Voltmeter with selector switch - 01 set (j) 16 &2.5 Sqmm terminals/connectors for out going etc - 01 set | 7.00 | Job |  | 115000.00 | 805000.00 | 48000.00 | 336000.00 | 25000.00 | 175000.00 | 50000.00 | 350000.00 | 100000.00 | 700000.00 | 80000.00 | 560000.00 | 77000.00 | 539000.00 | 56900.00 | 398300.00 | 113750.00 | 796250.00 | 74150.00 | 519050.00 | 100000.00 | 700000.00 | 45000.00 | 315000.00 | 34640.00 | 242480.00 | 100000.00 | 700000.00 | 57600.00 | 403200.00 | 32500.00 | 227500.00 | 175000.00 | M/s CGPL ELECTROMECH PVT LTD
9.00 | Dismentalling of existing 16 mtr High mast ( Make- Bajaj) in good condition from the operational area i/c carraging & brought out at designated location near new ATC tower within the AAI permises as decided by AAI & as per direction of EIC.. | 1.00 | Job |  | 46000.00 | 46000.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 10000.00 | 10000.00 | 50000.00 | 50000.00 | 35005.00 | 35005.00 | 28000.00 | 28000.00 | 25000.00 | 25000.00 | 21250.00 | 21250.00 | 40000.00 | 40000.00 | 1000.00 | 1000.00 | 165000.00 | 165000.00 | 255000.00 | 255000.00 | 100000.00 | 100000.00 | 78000.00 | 78000.00 | 60500.00 | 60500.00 | 1000.00 | RANJIT SALES CORPORATION
10.00 | Supply of following sizes XLPE insulated & PVC sheathed,1.1 KV grade, Cu /Al conductor, armoured power cable confirming to IS: 7098, Part-1/1988 with upto date amendments.
10.10 | (a) 3.5 x 120 Sq.mm. Aluminium conductor | 500.00 | Metre |  | 655.00 | 327500.00 | 999.00 | 499500.00 | 750.00 | 375000.00 | 975.00 | 487500.00 | 700.00 | 350000.00 | 670.00 | 335000.00 | 627.00 | 313500.00 | 910.00 | 455000.00 | 640.00 | 320000.00 | 775.00 | 387500.00 | 1280.00 | 640000.00 | 1150.00 | 575000.00 | 1445.00 | 722500.00 | 800.00 | 400000.00 | 650.00 | 325000.00 | 650.00 | 325000.00 | 313500.00 | elektron
10.20 | (b) 3.5 x 35 Sq.mm. Aluminium conductor | 2000.00 | Metre |  | 235.00 | 470000.00 | 404.00 | 808000.00 | 290.00 | 580000.00 | 547.00 | 1094000.00 | 350.00 | 700000.00 | 234.00 | 468000.00 | 225.00 | 450000.00 | 400.00 | 800000.00 | 220.00 | 440000.00 | 250.00 | 500000.00 | 200.00 | 400000.00 | 625.00 | 1250000.00 | 595.00 | 1190000.00 | 500.00 | 1000000.00 | 260.00 | 520000.00 | 188.00 | 376000.00 | 376000.00 | Variant Infratech Private Limited
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable/RC Cable of 1.1 KV grade upto size above 95 Sq.mm & upto 185 sqmm in the existing masonry open duct as required. | 500.00 | Metre |  | 600.00 | 300000.00 | 35.00 | 17500.00 | 65.00 | 32500.00 | 20.00 | 10000.00 | 150.00 | 75000.00 | 75.00 | 37500.00 | 165.00 | 82500.00 | 127.00 | 63500.00 | 50.00 | 25000.00 | 91.00 | 45500.00 | 100.00 | 50000.00 | 85.00 | 42500.00 | 144.50 | 72250.00 | 400.00 | 200000.00 | 252.00 | 126000.00 | 242.00 | 121000.00 | 10000.00 | SHREE GOURI ELECTRIC ENTERPRISE
12.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable/RC Cable of 1.1 KV grade upto size 35 Sq.mm in the existing masonry open duct as required. | 200.00 | Metre |  | 450.00 | 90000.00 | 35.00 | 7000.00 | 45.00 | 9000.00 | 20.00 | 4000.00 | 150.00 | 30000.00 | 35.00 | 7000.00 | 88.00 | 17600.00 | 106.00 | 21200.00 | 40.00 | 8000.00 | 36.00 | 7200.00 | 100.00 | 20000.00 | 65.00 | 13000.00 | 119.00 | 23800.00 | 300.00 | 60000.00 | 60.00 | 12000.00 | 160.00 | 32000.00 | 4000.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable/RC Cable 1.1KV grade of upto size 35 Sq.mm. in the existing RCC/HUME/STONE WARE/Metal /HDPE pipe as reqd. | 1800.00 | Metre |  | 400.00 | 720000.00 | 45.00 | 81000.00 | 35.00 | 63000.00 | 20.00 | 36000.00 | 150.00 | 270000.00 | 50.00 | 90000.00 | 88.00 | 158400.00 | 106.00 | 190800.00 | 25.00 | 45000.00 | 36.00 | 64800.00 | 100.00 | 180000.00 | 65.00 | 117000.00 | 145.00 | 261000.00 | 500.00 | 900000.00 | 66.00 | 118800.00 | 160.00 | 288000.00 | 36000.00 | SHREE GOURI ELECTRIC ENTERPRISE
14.00 | Supplying and making end termination with brass compression gland and aluminium/copper lugs for following size of PVC insuated and PVC sheathed/XLPE power cable of 1.1KV grade as reqd.
14.10 | (a) 3.5 x 120 Sq.mm. Al Cable | 2.00 | EACH |  | 1600.00 | 3200.00 | 595.00 | 1190.00 | 550.00 | 1100.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 950.00 | 1900.00 | 4400.00 | 8800.00 | 1050.00 | 2100.00 | 1190.00 | 2380.00 | 1078.00 | 2156.00 | 500.00 | 1000.00 | 3250.00 | 6500.00 | 25398.00 | 50796.00 | 1000.00 | 2000.00 | 740.00 | 1480.00 | 1250.00 | 2500.00 | 1000.00 | RANJIT SALES CORPORATION
14.20 | (b) 3.5 x 35 Sq.mm. Al Cable | 14.00 | EACH |  | 850.00 | 11900.00 | 225.00 | 3150.00 | 350.00 | 4900.00 | 500.00 | 7000.00 | 1000.00 | 14000.00 | 350.00 | 4900.00 | 1650.00 | 23100.00 | 560.00 | 7840.00 | 688.00 | 9632.00 | 657.00 | 9198.00 | 5000.00 | 70000.00 | 1250.00 | 17500.00 | 18700.00 | 261800.00 | 400.00 | 5600.00 | 520.00 | 7280.00 | 1250.00 | 17500.00 | 3150.00 | jaydeep agency corporation
15.00 | Excavation of hard rock for existing concrete platform/cable trench up to width of 1.5 mtr & lift upto 1.5 mtr including getting out and disposal of excavated soil as directed by EIC. | 10.00 | CUM |  | 10700.00 | 107000.00 | 550.00 | 5500.00 | 1450.00 | 14500.00 | 500.00 | 5000.00 | 7000.00 | 70000.00 | 2475.00 | 24750.00 | 2350.00 | 23500.00 | 3500.00 | 35000.00 | 1250.00 | 12500.00 | 3900.00 | 39000.00 | 10000.00 | 100000.00 | 225.00 | 2250.00 | 595.00 | 5950.00 | 15000.00 | 150000.00 | 5500.00 | 55000.00 | 10285.00 | 102850.00 | 2250.00 | VL SERVICES
| Total in Figures |  |  |  |  | 7416785.00 |  | 8988940.00 |  | 5769900.00 |  | 5461250.00 |  | 7100000.00 |  | 5755555.00 |  | 6743690.00 |  | 7417540.00 |  | 5138012.00 |  | 6937094.00 |  | 6659000.00 |  | 9064250.00 |  | 9347320.40 |  | 7962622.00 |  | 5968960.00 |  | 4928163.00
Lowest Amount Quoted BY: Variant Infratech Private Limited(4928163.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Terminal Building and Other Allied structures Phase I and II at Patna Airport SH Provision of Apron High Mast and Flood Lights Tender ID: 2025_AAI_228821_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Variant Infratech Private Limited (BID ID -832252) | 4928163.00 | L1
| 2 | Messers Rajesh Gawde (BID ID -832299) | 5138012.00 | L2
| 3 | SHREE GOURI ELECTRIC ENTERPRISE (BID ID -832007) | 5461250.00 | L3
| 4 | SAHA COMMERCIAL CONSTRUCTION (BID ID -832166) | 5755555.00 | L4
| 5 | M/s CGPL ELECTROMECH PVT LTD (BID ID -831953) | 5769900.00 | L5
| 6 | ENGINEERING SOLUTIONS (BID ID -831501) | 5968960.00 | L6
| 7 | RANJIT SALES CORPORATION (BID ID -832225) | 6659000.00 | L7
| 8 | elektron (BID ID -832259) | 6743690.00 | L8
| 9 | Instapower Ltd (BID ID -832308) | 6937094.00 | L9
| 10 | M/S AMAR ENTERPRISES (BID ID -832093) | 7100000.00 | L10
| 11 | Kripa Electronics india pvt ltd (BID ID -830177) | 7416785.00 | L11
| 12 | candela engineering corporation (BID ID -832271) | 7417540.00 | L12
| 13 | M/S GAURAV ELECTRICAL WORKS (BID ID -832304) | 7962622.00 | L13
| 14 | jaydeep agency corporation (BID ID -830485) | 8988940.00 | L14
| 15 | VL SERVICES (BID ID -831011) | 9064250.00 | L15
| 16 | M/S Jagdish Singh Enterprises (BID ID -832217) | 9347320.40 | L16