## BoQ1
Government eProcurement System Created By: Manas Ranjan Mishra Created Date/Time: 17-Apr-2025 12:11 PM Tender Title: Special repair to Residential Quarters and IMD evicted quarters at B.P.I Airport, Bhubaneswar Tender ID: 2025_AAI_228915_1
Tender Inviting Authority: Sr. Manager Engg.(C), B.P.I. Airport, Bhubaneswar
Name of Work: Special repair to residential quarters and IMD evicted quarters at B.P.I. Airport, Bhubaneswar..
Contract No: 2025_AAI_228915_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S DAROGA SINGH CONSTRUCTION COMPANY (GSTN-20AALFD6255D1ZT) BID ID -835057 |  | MD RIYAJUDDIN (GSTN-NA) BID ID -834672 |  | RUTVIKA INSPECTION AND TESTING SERVICES PVT LTD (GSTN-NA) BID ID -834001 |  | PRASANTA KUMAR BEURIA (GSTN-NA) BID ID -834499 |  | AMRIT RANJAN NAYAK (GSTN-NA) BID ID -834944
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: All kinds of soil | 650.00 | Sqm |  | 100.00 | 65000.00 | 47.00 | 30550.00 | 130.00 | 84500.00 | 90.00 | 58500.00 | 80.00 | 52000.00 | 30550.00 | MD RIYAJUDDIN
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-incharge.All kinds of soil | 30.00 | Cum |  | 100.00 | 3000.00 | 131.00 | 3930.00 | 180.00 | 5400.00 | 120.00 | 3600.00 | 115.00 | 3450.00 | 3000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.00 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil. Pipes, cables etc. not exceeding 80 mm dia. | 30.00 | Mtr |  | 120.00 | 3600.00 | 191.00 | 5730.00 | 210.00 | 6300.00 | 200.00 | 6000.00 | 140.00 | 4200.00 | 3600.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 20.00 | Cum |  | 80.00 | 1600.00 | 151.00 | 3020.00 | 180.00 | 3600.00 | 120.00 | 2400.00 | 125.00 | 2500.00 | 1600.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
5.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 8.00 | Cum |  | 1500.00 | 12000.00 | 999.00 | 7992.00 | 1850.00 | 14800.00 | 1500.00 | 12000.00 | 900.00 | 7200.00 | 7200.00 | AMRIT RANJAN NAYAK
6.00 | Clearing grass and removal of the rubbish up to a distance of 50 m outside the periphery of the area cleared. | 1120.00 | sqm |  | 5.00 | 5600.00 | 7.75 | 8680.00 | 9.00 | 10080.00 | 3.00 | 3360.00 | 5.00 | 5600.00 | 3360.00 | PRASANTA KUMAR BEURIA
7.00 | Supplying chemical emulsion in sealed containers including delivery as specified. Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | 500.00 | Ltr |  | 200.00 | 100000.00 | 201.00 | 100500.00 | 200.00 | 100000.00 | 200.00 | 100000.00 | 160.00 | 80000.00 | 80000.00 | AMRIT RANJAN NAYAK
8.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc.: With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | 650.00 | Mtr |  | 50.00 | 32500.00 | 55.00 | 35750.00 | 45.00 | 29250.00 | 40.00 | 26000.00 | 35.00 | 22750.00 | 22750.00 | AMRIT RANJAN NAYAK
9.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor: With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | 1550.00 | sqm |  | 200.00 | 310000.00 | 178.00 | 275900.00 | 255.00 | 395250.00 | 270.00 | 418500.00 | 200.00 | 310000.00 | 275900.00 | MD RIYAJUDDIN
10.00 | Treatment of existing masonry using chemical emulsion @ one litre per hole at 300 mm interval including drilling holes at 45 degree and plugging them with cement mortar 1:2 (1 cement : 2 coarse sand) to the full depth of the hole : With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | 50.00 | Mtr |  | 40.00 | 2000.00 | 35.00 | 1750.00 | 45.00 | 2250.00 | 29.00 | 1450.00 | 30.00 | 1500.00 | 1450.00 | PRASANTA KUMAR BEURIA
11.00 | Treatment at points of contact of wood work by chemical emulsion Chlorpyriphos/ Lindane (in oil or kerosene based solution) @ 0.5 litres per hole by drilling 6 mm dia holes at downward angle of 45 degree at 150 mm centre to centre and sealing the same. | 25.00 | Mtr |  | 240.00 | 6000.00 | 220.00 | 5500.00 | 245.00 | 6125.00 | 192.00 | 4800.00 | 180.00 | 4500.00 | 4500.00 | AMRIT RANJAN NAYAK
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 14.00 | Cum |  | 5300.00 | 74200.00 | 4041.00 | 56574.00 | 5850.00 | 81900.00 | 5250.00 | 73500.00 | 4850.00 | 67900.00 | 56574.00 | MD RIYAJUDDIN
13.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 240.00 | Cum |  | 4300.00 | 1032000.00 | 2001.00 | 480240.00 | 4950.00 | 1188000.00 | 4200.00 | 1008000.00 | 4250.00 | 1020000.00 | 480240.00 | MD RIYAJUDDIN
14.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc. | 55.00 | Sqm |  | 300.00 | 16500.00 | 275.00 | 15125.00 | 750.00 | 41250.00 | 340.00 | 18700.00 | 350.00 | 19250.00 | 15125.00 | MD RIYAJUDDIN
15.00 | Providing, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete work in string courses, bands, copings, bed plates, anchor blocks, plain window sills and the like, including the cost of required centering, shuttering but , excluding cost of reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 3.00 | cum |  | 6500.00 | 19500.00 | 7575.00 | 22725.00 | 8800.00 | 26400.00 | 7500.00 | 22500.00 | 6200.00 | 18600.00 | 18600.00 | AMRIT RANJAN NAYAK
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 15.00 | sqm |  | 200.00 | 3000.00 | 301.00 | 4515.00 | 265.00 | 3975.00 | 220.00 | 3300.00 | 200.00 | 3000.00 | 3000.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for Shelves (Cast in situ) | 25.00 | sqm |  | 200.00 | 5000.00 | 320.00 | 8000.00 | 775.00 | 19375.00 | 320.00 | 8000.00 | 400.00 | 10000.00 | 5000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 14.00 | sqm |  | 200.00 | 2800.00 | 405.00 | 5670.00 | 845.00 | 11830.00 | 350.00 | 4900.00 | 400.00 | 5600.00 | 2800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 605.00 | kg |  | 70.00 | 42350.00 | 67.00 | 40535.00 | 110.00 | 66550.00 | 96.00 | 58080.00 | 75.00 | 45375.00 | 40535.00 | MD RIYAJUDDIN
20.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 7.00 | cum |  | 6800.00 | 47600.00 | 5275.00 | 36925.00 | 7600.00 | 53200.00 | 7300.00 | 51100.00 | 6500.00 | 45500.00 | 36925.00 | MD RIYAJUDDIN
21.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab upto 0.50 sqm | 5.00 | Sqm |  | 2800.00 | 14000.00 | 3940.00 | 19700.00 | 4400.00 | 22000.00 | 4700.00 | 23500.00 | 3500.00 | 17500.00 | 14000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
22.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 42.00 | Sqm |  | 2800.00 | 117600.00 | 3938.00 | 165396.00 | 4250.00 | 178500.00 | 4300.00 | 180600.00 | 3400.00 | 142800.00 | 117600.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
23.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 1245.00 | Sqm |  | 900.00 | 1120500.00 | 826.00 | 1028370.00 | 1100.00 | 1369500.00 | 870.00 | 1083150.00 | 750.00 | 933750.00 | 933750.00 | AMRIT RANJAN NAYAK
24.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) nondecorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 146.00 | sqm |  | 1800.00 | 262800.00 | 1912.00 | 279152.00 | 1920.00 | 280320.00 | 1860.00 | 271560.00 | 1250.00 | 182500.00 | 182500.00 | AMRIT RANJAN NAYAK
25.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 146.00 | sqm |  | 350.00 | 51100.00 | 101.00 | 14746.00 | 430.00 | 62780.00 | 330.00 | 48180.00 | 300.00 | 43800.00 | 14746.00 | MD RIYAJUDDIN
26.00 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : 20 mm dia | 118.00 | metre |  | 250.00 | 29500.00 | 350.00 | 41300.00 | 325.00 | 38350.00 | 340.00 | 40120.00 | 250.00 | 29500.00 | 29500.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
27.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding | 780.00 | kg |  | 100.00 | 78000.00 | 87.00 | 67860.00 | 135.00 | 105300.00 | 188.00 | 146640.00 | 120.00 | 93600.00 | 67860.00 | MD RIYAJUDDIN
28.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. With second class teak wood beading 62X19 mm | 45.00 | sqm |  | 900.00 | 40500.00 | 957.00 | 43065.00 | 1250.00 | 56250.00 | 1100.00 | 49500.00 | 850.00 | 38250.00 | 38250.00 | AMRIT RANJAN NAYAK
29.00 | Providing and fixing ISI marked IS:1341 M.S. pressed butt hinges bright finished with necessary screws etc.complete : 125x65x2.12 mm | 78.00 | Each |  | 60.00 | 4680.00 | 57.00 | 4446.00 | 45.00 | 3510.00 | 38.00 | 2964.00 | 50.00 | 3900.00 | 2964.00 | PRASANTA KUMAR BEURIA
30.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete 250x16 mm | 78.00 | Each |  | 250.00 | 19500.00 | 251.00 | 19578.00 | 245.00 | 19110.00 | 180.00 | 14040.00 | 150.00 | 11700.00 | 11700.00 | AMRIT RANJAN NAYAK
31.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100x10 mm | 78.00 | Each |  | 50.00 | 3900.00 | 101.00 | 7878.00 | 55.00 | 4290.00 | 55.00 | 4290.00 | 50.00 | 3900.00 | 3900.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
32.00 | Providing and fixing aluminium pull bolt lock, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws bolts, nut and washers etc. complete. | 56.00 | Each |  | 90.00 | 5040.00 | 103.00 | 5768.00 | 90.00 | 5040.00 | 70.00 | 3920.00 | 75.00 | 4200.00 | 3920.00 | PRASANTA KUMAR BEURIA
33.00 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- incharge Extruded section profile size 42x50 mm | 425.00 | metre |  | 275.00 | 116875.00 | 250.00 | 106250.00 | 265.00 | 112625.00 | 260.00 | 110500.00 | 240.00 | 102000.00 | 102000.00 | AMRIT RANJAN NAYAK
34.00 | Providing and fixing to existing door frames. 30 mm thick factory made Polyvinyl Chloride (PVC) door shutter made of styles and rails of a uPVC hollow section of size 60x30 mm and wall thickness 2 mm (± 0.2 mm), with inbuilt decorative moulding edging on one side. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 25x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of ‘H’ section, a uPVC hollow section of size 100x30 mm and 2 mm (± 0.2 mm) wall thickness fixed to the shutter styles by means of plastic/ galvanised M.S. ‘U’ cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness . The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer’s specification and direction of Engineer-in-charge. | 119.00 | sqm |  | 2500.00 | 297500.00 | 2001.00 | 238119.00 | 2755.00 | 327845.00 | 2800.00 | 333200.00 | 2000.00 | 238000.00 | 238000.00 | AMRIT RANJAN NAYAK
35.00 | Providing and fixing cupboard shutter with 19mm thick one side decorative and other side balancing lamination factory pressed BWP grade marine ply as per IS 710 of approved brand including 2mm thick PVC edge banding tape with hot glue by edge bending machine etc. with auto closing spring loaded hinges (hydraulic type) etc. complete as per direction of Engineerin- charge.(Payment of providing and fixing auto closing hinges shall be paid separately) | 42.00 | sqm |  | 2200.00 | 92400.00 | 2222.00 | 93324.00 | 2635.00 | 110670.00 | 2300.00 | 96600.00 | 1900.00 | 79800.00 | 79800.00 | AMRIT RANJAN NAYAK
36.00 | Providing and fixing stainless steel soft closing spring hinges at 0 degree hinges (hydraulic type) of approved make/brand to cupboard shutters with full threaded steel screws including making necessary recess in board and finished etc. complete as per direction of Engineer-incharge. | 63.00 | Each |  | 250.00 | 15750.00 | 271.00 | 17073.00 | 265.00 | 16695.00 | 210.00 | 13230.00 | 220.00 | 13860.00 | 13230.00 | PRASANTA KUMAR BEURIA
37.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 5850.00 | Kg |  | 93.00 | 544050.00 | 71.00 | 415350.00 | 115.00 | 672750.00 | 103.00 | 602550.00 | 98.00 | 573300.00 | 415350.00 | MD RIYAJUDDIN
38.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 4800.00 | Kg |  | 90.00 | 432000.00 | 71.00 | 340800.00 | 110.00 | 528000.00 | 108.00 | 518400.00 | 105.00 | 504000.00 | 340800.00 | MD RIYAJUDDIN
39.00 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, priming coat of approved steel primer, but excluding the cost of other fittings,glass panes complete all as per approved design, (sectional weight of only steel members shall be measured for payment). Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 1340.00 | Kg |  | 125.00 | 167500.00 | 111.00 | 148740.00 | 120.00 | 160800.00 | 105.00 | 140700.00 | 98.00 | 131320.00 | 131320.00 | AMRIT RANJAN NAYAK
40.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Electric resistance or induction butt welded tubes | 1420.00 | Kg |  | 110.00 | 156200.00 | 91.00 | 129220.00 | 105.00 | 149100.00 | 140.00 | 198800.00 | 108.00 | 153360.00 | 129220.00 | MD RIYAJUDDIN
41.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 280.00 | Kg |  | 90.00 | 25200.00 | 96.00 | 26880.00 | 85.00 | 23800.00 | 80.00 | 22400.00 | 90.00 | 25200.00 | 22400.00 | PRASANTA KUMAR BEURIA
42.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 740.00 | kg |  | 98.00 | 72520.00 | 121.00 | 89540.00 | 155.00 | 114700.00 | 140.00 | 103600.00 | 110.00 | 81400.00 | 72520.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
43.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 320.00 | kg |  | 165.00 | 52800.00 | 121.00 | 38720.00 | 177.00 | 56640.00 | 170.00 | 54400.00 | 120.00 | 38400.00 | 38400.00 | AMRIT RANJAN NAYAK
44.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Galvanised M.S. Wire gauze with 0.63 mm dia wire and 1.4 mm aperture on both sides | 145.00 | sqm |  | 650.00 | 94250.00 | 757.00 | 109765.00 | 733.00 | 106285.00 | 630.00 | 91350.00 | 550.00 | 79750.00 | 79750.00 | AMRIT RANJAN NAYAK
45.00 | Providing and fixing angle iron frames for doors, windows and ventilators of mild steel Angle sections of size 35x35x5 mm, joints mitred and welded by angle iron 35x35x5 mm or 35x 5 mm flat pieces to the existing T-iron frame or to the wall with dash fastener, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer, all complete as per the direction of Engineer-In-charge. | 965.00 | Kg |  | 111.00 | 107115.00 | 97.00 | 93605.00 | 121.00 | 116765.00 | 105.00 | 101325.00 | 98.00 | 94570.00 | 93605.00 | MD RIYAJUDDIN
46.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 80.00 | Sqm |  | 400.00 | 32000.00 | 567.00 | 45360.00 | 563.00 | 45040.00 | 440.00 | 35200.00 | 400.00 | 32000.00 | 32000.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
47.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 285.00 | Sqm |  | 1600.00 | 456000.00 | 850.00 | 242250.00 | 1785.00 | 508725.00 | 1550.00 | 441750.00 | 1175.00 | 334875.00 | 242250.00 | MD RIYAJUDDIN
48.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 155.00 | Sqm |  | 900.00 | 139500.00 | 850.00 | 131750.00 | 886.00 | 137330.00 | 870.00 | 134850.00 | 675.00 | 104625.00 | 104625.00 | AMRIT RANJAN NAYAK
49.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 1742.00 | Sqm |  | 1000.00 | 1742000.00 | 1001.00 | 1743742.00 | 1100.00 | 1916200.00 | 1500.00 | 2613000.00 | 825.00 | 1437150.00 | 1437150.00 | AMRIT RANJAN NAYAK
50.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 225.00 | Sqm |  | 1020.00 | 229500.00 | 925.00 | 208125.00 | 1345.00 | 302625.00 | 1450.00 | 326250.00 | 850.00 | 191250.00 | 191250.00 | AMRIT RANJAN NAYAK
51.00 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section. | 96.00 | mtr |  | 165.00 | 15840.00 | 141.00 | 13536.00 | 178.00 | 17088.00 | 160.00 | 15360.00 | 110.00 | 10560.00 | 10560.00 | AMRIT RANJAN NAYAK
52.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase | 74.00 | mtr |  | 295.00 | 21830.00 | 307.00 | 22718.00 | 260.00 | 19240.00 | 200.00 | 14800.00 | 200.00 | 14800.00 | 14800.00 | PRASANTA KUMAR BEURIA, AMRIT RANJAN NAYAK
53.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 37.00 | No. |  | 250.00 | 9250.00 | 301.00 | 11137.00 | 210.00 | 7770.00 | 220.00 | 8140.00 | 190.00 | 7030.00 | 7030.00 | AMRIT RANJAN NAYAK
54.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 74.00 | mtr |  | 300.00 | 22200.00 | 336.00 | 24864.00 | 305.00 | 22570.00 | 250.00 | 18500.00 | 200.00 | 14800.00 | 14800.00 | AMRIT RANJAN NAYAK
55.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 110 mm | 37.00 | Each |  | 100.00 | 3700.00 | 201.00 | 7437.00 | 140.00 | 5180.00 | 110.00 | 4070.00 | 100.00 | 3700.00 | 3700.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
56.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 37.00 | Each |  | 135.00 | 4995.00 | 195.00 | 7215.00 | 170.00 | 6290.00 | 120.00 | 4440.00 | 110.00 | 4070.00 | 4070.00 | AMRIT RANJAN NAYAK
57.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 37.00 | Each |  | 125.00 | 4625.00 | 181.00 | 6697.00 | 145.00 | 5365.00 | 100.00 | 3700.00 | 100.00 | 3700.00 | 3700.00 | PRASANTA KUMAR BEURIA, AMRIT RANJAN NAYAK
58.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 37.00 | Each |  | 250.00 | 9250.00 | 372.00 | 13764.00 | 333.00 | 12321.00 | 230.00 | 8510.00 | 250.00 | 9250.00 | 8510.00 | PRASANTA KUMAR BEURIA
59.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 39.00 | Each |  | 50.00 | 1950.00 | 60.00 | 2340.00 | 60.00 | 2340.00 | 30.00 | 1170.00 | 45.00 | 1755.00 | 1170.00 | PRASANTA KUMAR BEURIA
60.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 130.00 | Sqm |  | 650.00 | 84500.00 | 567.00 | 73710.00 | 635.00 | 82550.00 | 630.00 | 81900.00 | 450.00 | 58500.00 | 58500.00 | AMRIT RANJAN NAYAK
61.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Gutter (600 mm over all girth) | 25.00 | metre |  | 1000.00 | 25000.00 | 1213.00 | 30325.00 | 1175.00 | 29375.00 | 980.00 | 24500.00 | 850.00 | 21250.00 | 21250.00 | AMRIT RANJAN NAYAK
62.00 | 12 mm cement plaster: 1:6 (1 cement: 6 coarse sand) | 14.00 | Sqm |  | 250.00 | 3500.00 | 343.00 | 4802.00 | 275.00 | 3850.00 | 220.00 | 3080.00 | 200.00 | 2800.00 | 2800.00 | AMRIT RANJAN NAYAK
63.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 coarse sand) | 14.00 | Sqm |  | 300.00 | 4200.00 | 395.00 | 5530.00 | 305.00 | 4270.00 | 280.00 | 3920.00 | 220.00 | 3080.00 | 3080.00 | AMRIT RANJAN NAYAK
64.00 | Neat cement punning. | 25.00 | Sqm |  | 80.00 | 2000.00 | 81.00 | 2025.00 | 75.00 | 1875.00 | 60.00 | 1500.00 | 60.00 | 1500.00 | 1500.00 | PRASANTA KUMAR BEURIA, AMRIT RANJAN NAYAK
65.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 4010.00 | Sqm |  | 90.00 | 360900.00 | 61.00 | 244610.00 | 135.00 | 541350.00 | 130.00 | 521300.00 | 85.00 | 340850.00 | 244610.00 | MD RIYAJUDDIN
66.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 20.00 | Sqm |  | 110.00 | 2200.00 | 161.00 | 3220.00 | 150.00 | 3000.00 | 140.00 | 2800.00 | 110.00 | 2200.00 | 2200.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
67.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 133.00 | Sqm |  | 88.00 | 11704.00 | 103.00 | 13699.00 | 190.00 | 25270.00 | 180.00 | 23940.00 | 120.00 | 15960.00 | 11704.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
68.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 8030.00 | Sqm |  | 120.00 | 963600.00 | 43.00 | 345290.00 | 120.00 | 963600.00 | 100.00 | 803000.00 | 85.00 | 682550.00 | 345290.00 | MD RIYAJUDDIN
69.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC (Volatile Organic Compound) content less than 50 gram/ litre, of approved brand and manufacturer including applying additional coats wherever required to achieve even shade and colour Old work (one or more coats) | 3320.00 | Sqm |  | 65.00 | 215800.00 | 39.00 | 129480.00 | 58.00 | 192560.00 | 42.00 | 139440.00 | 40.00 | 132800.00 | 129480.00 | MD RIYAJUDDIN
70.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 100.00 | Sqm |  | 10.00 | 1000.00 | 20.00 | 2000.00 | 25.00 | 2500.00 | 8.00 | 800.00 | 10.00 | 1000.00 | 800.00 | PRASANTA KUMAR BEURIA
71.00 | Painting (one or more coats) on rain water, soil waste and vent pipes and fittings with black anticorrosive bitumastic paint of approved brand and manufacture on old work : 100 mm diameter pipes | 50.00 | mtr |  | 30.00 | 1500.00 | 35.00 | 1750.00 | 40.00 | 2000.00 | 28.00 | 1400.00 | 25.00 | 1250.00 | 1250.00 | AMRIT RANJAN NAYAK
72.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work | 410.00 | Sqm |  | 80.00 | 32800.00 | 102.00 | 41820.00 | 110.00 | 45100.00 | 80.00 | 32800.00 | 70.00 | 28700.00 | 28700.00 | AMRIT RANJAN NAYAK
73.00 | French spirit polishing : One or more coats on old work | 50.00 | Sqm |  | 125.00 | 6250.00 | 224.00 | 11200.00 | 215.00 | 10750.00 | 170.00 | 8500.00 | 120.00 | 6000.00 | 6000.00 | AMRIT RANJAN NAYAK
74.00 | Finishing walls with water proofing cement paint of required shade : Old work (one or more coats applied @ 2.20 kg/10 sqm) over priming coat of primer applied @ 0.80 litrs/10 sqm complete including cost of Priming coat. | 1545.00 | Sqm |  | 90.00 | 139050.00 | 41.00 | 63345.00 | 95.00 | 146775.00 | 80.00 | 123600.00 | 65.00 | 100425.00 | 63345.00 | MD RIYAJUDDIN
75.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1cement: 4 coarse sand) | 135.00 | Sqm |  | 400.00 | 54000.00 | 399.00 | 53865.00 | 475.00 | 64125.00 | 480.00 | 64800.00 | 400.00 | 54000.00 | 53865.00 | MD RIYAJUDDIN
76.00 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. Door chowkhats | 53.00 | each |  | 1200.00 | 63600.00 | 852.00 | 45156.00 | 2185.00 | 115805.00 | 1400.00 | 74200.00 | 1250.00 | 66250.00 | 45156.00 | MD RIYAJUDDIN
77.00 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. Window chowkhats | 49.00 | each |  | 900.00 | 44100.00 | 757.00 | 37093.00 | 1075.00 | 52675.00 | 900.00 | 44100.00 | 700.00 | 34300.00 | 34300.00 | AMRIT RANJAN NAYAK
78.00 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface including disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. For door/ window/ clerestory window | 30.00 | Sqm |  | 900.00 | 27000.00 | 969.00 | 29070.00 | 1105.00 | 33150.00 | 900.00 | 27000.00 | 825.00 | 24750.00 | 24750.00 | AMRIT RANJAN NAYAK
79.00 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: Float glass panes of nominal thickness 5 mm (weight not less than 12.5kg/sqm) | 79.00 | Sqm |  | 900.00 | 71100.00 | 1111.00 | 87769.00 | 1288.00 | 101752.00 | 1100.00 | 86900.00 | 925.00 | 73075.00 | 71100.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
80.00 | Renewal of old putty of glass panes (length) metre | 145.00 | metre |  | 50.00 | 7250.00 | 56.00 | 8120.00 | 60.00 | 8700.00 | 40.00 | 5800.00 | 45.00 | 6525.00 | 5800.00 | PRASANTA KUMAR BEURIA
81.00 | Refixing old glass panes with putty and nails | 40.00 | Sqm |  | 550.00 | 22000.00 | 729.00 | 29160.00 | 620.00 | 24800.00 | 520.00 | 20800.00 | 500.00 | 20000.00 | 20000.00 | AMRIT RANJAN NAYAK
82.00 | Providing and fixing M.S. round or square bars with M.S. flats at required spacing in wooden frames of windows and clerestory windows. | 955.00 | kg |  | 100.00 | 95500.00 | 81.00 | 77355.00 | 110.00 | 105050.00 | 100.00 | 95500.00 | 98.00 | 93590.00 | 77355.00 | MD RIYAJUDDIN
83.00 | Disconnecting damaged overhead/terrace PVC water storage tank of any size from water supply line and removing from the terrace including shifting at ground level as per direction of Engineer-in-charge. | 63.00 | each |  | 300.00 | 18900.00 | 335.00 | 21105.00 | 395.00 | 24885.00 | 320.00 | 20160.00 | 275.00 | 17325.00 | 17325.00 | AMRIT RANJAN NAYAK
84.00 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 60.00 | Sqm |  | 20.00 | 1200.00 | 4.00 | 240.00 | 5.00 | 300.00 | 21.00 | 1260.00 | 3.00 | 180.00 | 180.00 | AMRIT RANJAN NAYAK
85.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | 90.00 | Cum |  | 1600.00 | 144000.00 | 516.00 | 46440.00 | 2185.00 | 196650.00 | 1300.00 | 117000.00 | 1500.00 | 135000.00 | 46440.00 | MD RIYAJUDDIN
86.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 20.00 | Cum |  | 1000.00 | 20000.00 | 890.00 | 17800.00 | 2785.00 | 55700.00 | 30.00 | 600.00 | 2200.00 | 44000.00 | 600.00 | PRASANTA KUMAR BEURIA
87.00 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer-in-charge. | 5.00 | Sqm |  | 800.00 | 4000.00 | 1200.00 | 6000.00 | 965.00 | 4825.00 | 800.00 | 4000.00 | 700.00 | 3500.00 | 3500.00 | AMRIT RANJAN NAYAK
88.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 8.00 | Cum |  | 900.00 | 7200.00 | 2500.00 | 20000.00 | 1875.00 | 15000.00 | 1100.00 | 8800.00 | 1200.00 | 9600.00 | 7200.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
89.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 149.00 | Each |  | 300.00 | 44700.00 | 200.00 | 29800.00 | 330.00 | 49170.00 | 200.00 | 29800.00 | 200.00 | 29800.00 | 29800.00 | PRASANTA KUMAR BEURIA, MD RIYAJUDDIN, AMRIT RANJAN NAYAK
90.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area beyond 3 sq. metres | 21.00 | Each |  | 300.00 | 6300.00 | 500.00 | 10500.00 | 470.00 | 9870.00 | 200.00 | 4200.00 | 250.00 | 5250.00 | 4200.00 | PRASANTA KUMAR BEURIA
91.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 100.00 | kg |  | 2.00 | 200.00 | 6.00 | 600.00 | 9.00 | 900.00 | 2.50 | 250.00 | 4.00 | 400.00 | 200.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
92.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 881.00 | Sqm |  | 50.00 | 44050.00 | 35.00 | 30835.00 | 63.00 | 55503.00 | 45.00 | 39645.00 | 50.00 | 44050.00 | 30835.00 | MD RIYAJUDDIN
93.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 28.00 | Each |  | 75.00 | 2100.00 | 112.00 | 3136.00 | 95.00 | 2660.00 | 75.00 | 2100.00 | 50.00 | 1400.00 | 1400.00 | AMRIT RANJAN NAYAK
94.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 8030.00 | Sqm |  | 15.00 | 120450.00 | 15.00 | 120450.00 | 45.00 | 361350.00 | 35.00 | 281050.00 | 40.00 | 321200.00 | 120450.00 | MD RIYAJUDDIN, M/S DAROGA SINGH CONSTRUCTION COMPANY
95.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved | 50.00 | Cum |  | 250.00 | 12500.00 | 263.00 | 13150.00 | 230.00 | 11500.00 | 180.00 | 9000.00 | 175.00 | 8750.00 | 8750.00 | AMRIT RANJAN NAYAK
96.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 25.00 | Cum |  | 5800.00 | 145000.00 | 4344.00 | 108600.00 | 6300.00 | 157500.00 | 5200.00 | 130000.00 | 5000.00 | 125000.00 | 108600.00 | MD RIYAJUDDIN
97.00 | Providing and laying 60 mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 630.00 | Sqm |  | 820.00 | 516600.00 | 555.00 | 349650.00 | 850.00 | 535500.00 | 670.00 | 422100.00 | 700.00 | 441000.00 | 349650.00 | MD RIYAJUDDIN
98.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-incharge. Made of G.I. wire of dia 4 mm | 950.00 | Sqm |  | 850.00 | 807500.00 | 395.00 | 375250.00 | 750.00 | 712500.00 | 750.00 | 712500.00 | 700.00 | 665000.00 | 375250.00 | MD RIYAJUDDIN
99.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. (Old CC paver blocks shall be supplied by the department free of cost). | 275.00 | Sqm |  | 375.00 | 103125.00 | 321.00 | 88275.00 | 350.00 | 96250.00 | 320.00 | 88000.00 | 250.00 | 68750.00 | 68750.00 | AMRIT RANJAN NAYAK
100.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 32.00 | Each |  | 5000.00 | 160000.00 | 5757.00 | 184224.00 | 550.00 | 17600.00 | 5200.00 | 166400.00 | 4000.00 | 128000.00 | 17600.00 | RUTVIKA INSPECTION AND TESTING SERVICES PVT LTD
101.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 12.00 | Each |  | 6800.00 | 81600.00 | 7172.00 | 86064.00 | 6300.00 | 75600.00 | 6800.00 | 81600.00 | 5000.00 | 60000.00 | 60000.00 | AMRIT RANJAN NAYAK
102.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 22.00 | Each |  | 2000.00 | 44000.00 | 2225.00 | 48950.00 | 2110.00 | 46420.00 | 1850.00 | 40700.00 | 1500.00 | 33000.00 | 33000.00 | AMRIT RANJAN NAYAK
103.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board 610x510 mm bowl depth 200 mm | 27.00 | Each |  | 3400.00 | 91800.00 | 3536.00 | 95472.00 | 3200.00 | 86400.00 | 3900.00 | 105300.00 | 3500.00 | 94500.00 | 86400.00 | RUTVIKA INSPECTION AND TESTING SERVICES PVT LTD
104.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 12.00 | Each |  | 350.00 | 4200.00 | 450.00 | 5400.00 | 303.00 | 3636.00 | 270.00 | 3240.00 | 275.00 | 3300.00 | 3240.00 | PRASANTA KUMAR BEURIA
105.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 40 mm dia | 50.00 | Each |  | 70.00 | 3500.00 | 102.00 | 5100.00 | 105.00 | 5250.00 | 80.00 | 4000.00 | 85.00 | 4250.00 | 3500.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
106.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 50.00 | Each |  | 1200.00 | 60000.00 | 1415.00 | 70750.00 | 1465.00 | 73250.00 | 1300.00 | 65000.00 | 1200.00 | 60000.00 | 60000.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
107.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 40.00 | metre |  | 750.00 | 30000.00 | 981.00 | 39240.00 | 1088.00 | 43520.00 | 980.00 | 39200.00 | 800.00 | 32000.00 | 30000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
108.00 | Providing and fixing soil, waste and vent pipes : 75 mm dia Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | 40.00 | metre |  | 700.00 | 28000.00 | 819.00 | 32760.00 | 1095.00 | 43800.00 | 950.00 | 38000.00 | 850.00 | 34000.00 | 28000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
109.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 450 mm long towel rail with total length of 495 mm, 78 mm wide and effective height of 88 mm, weighing not less than 170 gms | 40.00 | Each |  | 350.00 | 14000.00 | 590.00 | 23600.00 | 600.00 | 24000.00 | 480.00 | 19200.00 | 500.00 | 20000.00 | 14000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
110.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 15 mm nominal dia Pipes metre | 82.00 | mtr |  | 260.00 | 21320.00 | 286.00 | 23452.00 | 245.00 | 20090.00 | 180.00 | 14760.00 | 225.00 | 18450.00 | 14760.00 | PRASANTA KUMAR BEURIA
111.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal dia Pipes metre | 280.00 | mtr |  | 250.00 | 70000.00 | 210.00 | 58800.00 | 310.00 | 86800.00 | 270.00 | 75600.00 | 230.00 | 64400.00 | 58800.00 | MD RIYAJUDDIN
112.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal dia Pipes metre | 55.00 | mtr |  | 350.00 | 19250.00 | 351.00 | 19305.00 | 350.00 | 19250.00 | 300.00 | 16500.00 | 250.00 | 13750.00 | 13750.00 | AMRIT RANJAN NAYAK
113.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 40 mm nominal dia Pipes metre | 10.00 | mtr |  | 400.00 | 4000.00 | 750.00 | 7500.00 | 665.00 | 6650.00 | 560.00 | 5600.00 | 475.00 | 4750.00 | 4000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
114.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 110.00 | mtr |  | 330.00 | 36300.00 | 250.00 | 27500.00 | 430.00 | 47300.00 | 240.00 | 26400.00 | 350.00 | 38500.00 | 26400.00 | PRASANTA KUMAR BEURIA
115.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes metre | 30.00 | mtr |  | 400.00 | 12000.00 | 400.00 | 12000.00 | 446.00 | 13380.00 | 380.00 | 11400.00 | 425.00 | 12750.00 | 11400.00 | PRASANTA KUMAR BEURIA
116.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal dia Pipes metre | 10.00 | mtr |  | 350.00 | 3500.00 | 625.00 | 6250.00 | 520.00 | 5200.00 | 450.00 | 4500.00 | 450.00 | 4500.00 | 3500.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
117.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal dia Pipes | 10.00 | mtr |  | 350.00 | 3500.00 | 735.00 | 7350.00 | 626.00 | 6260.00 | 520.00 | 5200.00 | 550.00 | 5500.00 | 3500.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
118.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 15 mm nominal dia Pipes | 15.00 | mtr |  | 150.00 | 2250.00 | 245.00 | 3675.00 | 206.00 | 3090.00 | 190.00 | 2850.00 | 175.00 | 2625.00 | 2250.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
119.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 20 mm nominal dia Pipes | 20.00 | mtr |  | 300.00 | 6000.00 | 275.00 | 5500.00 | 215.00 | 4300.00 | 205.00 | 4100.00 | 200.00 | 4000.00 | 4000.00 | AMRIT RANJAN NAYAK
120.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal dia Pipes | 100.00 | mtr |  | 250.00 | 25000.00 | 350.00 | 35000.00 | 305.00 | 30500.00 | 270.00 | 27000.00 | 250.00 | 25000.00 | 25000.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
121.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 32 mm nominal dia Pipes | 10.00 | mtr |  | 350.00 | 3500.00 | 430.00 | 4300.00 | 388.00 | 3880.00 | 360.00 | 3600.00 | 350.00 | 3500.00 | 3500.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
122.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 40 mm nominal dia Pipes | 10.00 | mtr |  | 400.00 | 4000.00 | 600.00 | 6000.00 | 475.00 | 4750.00 | 430.00 | 4300.00 | 400.00 | 4000.00 | 4000.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
123.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 80 mm dia nominal bore | 30.00 | mtr |  | 800.00 | 24000.00 | 1050.00 | 31500.00 | 915.00 | 27450.00 | 880.00 | 26400.00 | 700.00 | 21000.00 | 21000.00 | AMRIT RANJAN NAYAK
124.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 50 to 80 mm nominal bore | 2.00 | Each |  | 1500.00 | 3000.00 | 1750.00 | 3500.00 | 1690.00 | 3380.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 2400.00 | AMRIT RANJAN NAYAK
125.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 80 mm nominal bore | 12.00 | Each |  | 1500.00 | 18000.00 | 2600.00 | 31200.00 | 2450.00 | 29400.00 | 500.00 | 6000.00 | 2000.00 | 24000.00 | 6000.00 | PRASANTA KUMAR BEURIA
126.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 25 mm nominal bore | 37.00 | Each |  | 375.00 | 13875.00 | 450.00 | 16650.00 | 390.00 | 14430.00 | 700.00 | 25900.00 | 350.00 | 12950.00 | 12950.00 | AMRIT RANJAN NAYAK
127.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 33000.00 | litre |  | 8.00 | 264000.00 | 9.40 | 310200.00 | 8.00 | 264000.00 | 9.00 | 297000.00 | 7.00 | 231000.00 | 231000.00 | AMRIT RANJAN NAYAK
128.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 54.00 | Each |  | 550.00 | 29700.00 | 500.00 | 27000.00 | 430.00 | 23220.00 | 580.00 | 31320.00 | 400.00 | 21600.00 | 21600.00 | AMRIT RANJAN NAYAK
129.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 39.00 | Each |  | 900.00 | 35100.00 | 600.00 | 23400.00 | 745.00 | 29055.00 | 680.00 | 26520.00 | 600.00 | 23400.00 | 23400.00 | MD RIYAJUDDIN, AMRIT RANJAN NAYAK
130.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15 mm nominal bore | 11.00 | Each |  | 590.00 | 6490.00 | 600.00 | 6600.00 | 410.00 | 4510.00 | 500.00 | 5500.00 | 450.00 | 4950.00 | 4510.00 | RUTVIKA INSPECTION AND TESTING SERVICES PVT LTD
131.00 | Providing and fixing PTMT bib cock of approved quality and colour. 15 mm nominal bore, 86 mm long, weighing not less than 88 gms | 27.00 | Each |  | 150.00 | 4050.00 | 200.00 | 5400.00 | 115.00 | 3105.00 | 300.00 | 8100.00 | 100.00 | 2700.00 | 2700.00 | AMRIT RANJAN NAYAK
132.00 | Providing and fixing PTMT stop cock of approved quality and colour. 15 mm nominal bore, 89 mm long, weighing not less than 88 gms | 27.00 | Each |  | 120.00 | 3240.00 | 200.00 | 5400.00 | 122.00 | 3294.00 | 200.00 | 5400.00 | 90.00 | 2430.00 | 2430.00 | AMRIT RANJAN NAYAK
133.00 | Providing and fixing PTMT stop cock of approved quality and colour. 20 mm nominal bore, 89 mm long, weighing not less than 88 gms | 27.00 | Each |  | 130.00 | 3510.00 | 200.00 | 5400.00 | 125.00 | 3375.00 | 120.00 | 3240.00 | 110.00 | 2970.00 | 2970.00 | AMRIT RANJAN NAYAK
134.00 | Providing and fixing PTMT pillar cock of approved quality and colour. 15 mm nominal bore, 107 mm long, weighing not less than 110 gms | 27.00 | Each |  | 210.00 | 5670.00 | 225.00 | 6075.00 | 190.00 | 5130.00 | 200.00 | 5400.00 | 150.00 | 4050.00 | 4050.00 | AMRIT RANJAN NAYAK
135.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball. 20 mm nominal bore, 120 mm long, weighing not less than 198 gms | 53.00 | Each |  | 565.00 | 29945.00 | 260.00 | 13780.00 | 220.00 | 11660.00 | 220.00 | 11660.00 | 200.00 | 10600.00 | 10600.00 | AMRIT RANJAN NAYAK
136.00 | Providing and fixing PTMT angle stop cock 15 mm nominal bore, weighing not less than 85 gms | 27.00 | Each |  | 180.00 | 4860.00 | 160.00 | 4320.00 | 145.00 | 3915.00 | 250.00 | 6750.00 | 120.00 | 3240.00 | 3240.00 | AMRIT RANJAN NAYAK
137.00 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms | 27.00 | Each |  | 150.00 | 4050.00 | 140.00 | 3780.00 | 115.00 | 3105.00 | 315.00 | 8505.00 | 100.00 | 2700.00 | 2700.00 | AMRIT RANJAN NAYAK
138.00 | Providing and fixing PTMT soap Dish Holder having length of 138 mm, breadth 102 mm, height of 75 mm with concealed fitting arrangements, weighing not less than 106 gms. | 27.00 | Each |  | 121.00 | 3267.00 | 121.00 | 3267.00 | 115.00 | 3105.00 | 185.00 | 4995.00 | 90.00 | 2430.00 | 2430.00 | AMRIT RANJAN NAYAK
139.00 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour. 15 mm nominal bore with 45 cm length | 33.00 | Each |  | 111.00 | 3663.00 | 125.00 | 4125.00 | 118.00 | 3894.00 | 100.00 | 3300.00 | 100.00 | 3300.00 | 3300.00 | PRASANTA KUMAR BEURIA, AMRIT RANJAN NAYAK
140.00 | Providing and fixing PTMT extension nipple for water tank pipe, fittings of approved quality and colour. 20 mm nominal bore, weighing not less than 62 gms | 53.00 | Each |  | 90.00 | 4770.00 | 93.00 | 4929.00 | 95.00 | 5035.00 | 78.00 | 4134.00 | 80.00 | 4240.00 | 4134.00 | PRASANTA KUMAR BEURIA
141.00 | Providing and fixing PTMT extension nipple for water tank pipe, fittings of approved quality and colour. 25 mm nominal bore, weighing not less than 62 gms | 107.00 | Each |  | 100.00 | 10700.00 | 113.00 | 12091.00 | 105.00 | 11235.00 | 100.00 | 10700.00 | 90.00 | 9630.00 | 9630.00 | AMRIT RANJAN NAYAK
142.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | each |  | 2000.00 | 10000.00 | 2700.00 | 13500.00 | 2688.00 | 13440.00 | 2200.00 | 11000.00 | 1800.00 | 9000.00 | 9000.00 | AMRIT RANJAN NAYAK
143.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 290.00 | Kg |  | 450.00 | 130500.00 | 410.00 | 118900.00 | 425.00 | 123250.00 | 400.00 | 116000.00 | 350.00 | 101500.00 | 101500.00 | AMRIT RANJAN NAYAK
144.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 290.00 | Kg |  | 540.00 | 156600.00 | 499.00 | 144710.00 | 400.00 | 116000.00 | 420.00 | 121800.00 | 425.00 | 123250.00 | 116000.00 | RUTVIKA INSPECTION AND TESTING SERVICES PVT LTD
145.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 40.00 | Sqm |  | 900.00 | 36000.00 | 1050.00 | 42000.00 | 1365.00 | 54600.00 | 1200.00 | 48000.00 | 950.00 | 38000.00 | 36000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
146.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 22.00 | Mtr |  | 80.00 | 1760.00 | 95.00 | 2090.00 | 90.00 | 1980.00 | 70.00 | 1540.00 | 80.00 | 1760.00 | 1540.00 | PRASANTA KUMAR BEURIA
147.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 10.00 | Cum |  | 5500.00 | 55000.00 | 7000.00 | 70000.00 | 5700.00 | 57000.00 | 6800.00 | 68000.00 | 5200.00 | 52000.00 | 52000.00 | AMRIT RANJAN NAYAK
148.00 | Brick work with non-modular fly ash bricks of class designation 7.5 average compressive strength in foundaion and plinth in: cement mortar 1:6 (1 Cement: 6 Coarse Sand) | 12.00 | cum |  | 5000.00 | 60000.00 | 3350.00 | 40200.00 | 4650.00 | 55800.00 | 4200.00 | 50400.00 | 3800.00 | 45600.00 | 40200.00 | MD RIYAJUDDIN
149.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in in foundaion and plinth . Cement mortar 1:4 (1 cement :4 coarse sand) | 70.00 | sqm |  | 450.00 | 31500.00 | 325.00 | 22750.00 | 680.00 | 47600.00 | 560.00 | 39200.00 | 550.00 | 38500.00 | 22750.00 | MD RIYAJUDDIN
150.00 | Providing and laying brick flat soiling with overburnt bricks including filling joints with silver sand. Etc complete as per direction Engineer-in-charge. | 25.00 | Sqm |  | 300.00 | 7500.00 | 305.00 | 7625.00 | 290.00 | 7250.00 | 220.00 | 5500.00 | 200.00 | 5000.00 | 5000.00 | AMRIT RANJAN NAYAK
151.00 | Dismantling wall tiles with mortar and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead complete in all respect as per direction of Engineer in charge. | 762.00 | sqm |  | 10.00 | 7620.00 | 41.00 | 31242.00 | 35.00 | 26670.00 | 33.00 | 25146.00 | 25.00 | 19050.00 | 7620.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
152.00 | Dismantling of Sanitary fixtures & fittings including WC, Urinals, Wash Basins etc. including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 141.00 | Each |  | 80.00 | 11280.00 | 99.00 | 13959.00 | 120.00 | 16920.00 | 78.00 | 10998.00 | 50.00 | 7050.00 | 7050.00 | AMRIT RANJAN NAYAK
153.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes within 50 metres lead as per direction of Engineer- in-Charge. (a) Internal Work - Exposed on wall. 15 mm to 40 mm nominal bore | 5.00 | mtr |  | 90.00 | 450.00 | 112.00 | 560.00 | 100.00 | 500.00 | 105.00 | 525.00 | 80.00 | 400.00 | 400.00 | AMRIT RANJAN NAYAK
| Total in Figures |  |  |  |  | 14342369.00 |  | 11591761.00 |  | 16294923.00 |  | 15588377.00 |  | 12711885.00
Lowest Amount Quoted BY: MD RIYAJUDDIN(11591761.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special repair to Residential Quarters and IMD evicted quarters at B.P.I Airport, Bhubaneswar Tender ID: 2025_AAI_228915_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MD RIYAJUDDIN (BID ID -834672) | 11591761.00 | L1
| 2 | AMRIT RANJAN NAYAK (BID ID -834944) | 12711885.00 | L2
| 3 | M/S DAROGA SINGH CONSTRUCTION COMPANY (BID ID -835057) | 14342369.00 | L3
| 4 | PRASANTA KUMAR BEURIA (BID ID -834499) | 15588377.00 | L4
| 5 | RUTVIKA INSPECTION AND TESTING SERVICES PVT LTD (BID ID -834001) | 16294923.00 | L5