## BoQ1
Government eProcurement System Created By: Manas Ranjan Mishra Created Date/Time: 24-Apr-2025 06:50 PM Tender Title: Renovation of sewerage system in residential colony at B.P.I. Airport, Bhubaneswar Tender ID: 2025_AAI_229131_1
Tender Inviting Authority: Sr. Manager Engg.(C), B.P.I. Airport, Bhubaneswar
Name of Work: Renovation of sewerage system in residential colony at B.P.I. Airport, Bhubaneswar.
Contract No: 2025_AAI_229131_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUMEET MOHANTY (GSTN-21AMSPM6002C1ZI) BID ID -834997 |  | M/S DAROGA SINGH CONSTRUCTION COMPANY (GSTN-20AALFD6255D1ZT) BID ID -835060 |  | SUBHADARSHI NAYAK (GSTN-NA) BID ID -826600 |  | PRASANTA KUMAR BEURIA (GSTN-NA) BID ID -834462 |  | MD RIYAJUDDIN (GSTN-NA) BID ID -835275 |  | RUTVIKA INSPECTION AND TESTING SERVICES PVT LTD (GSTN-NA) BID ID -833878 |  | AMRIT RANJAN NAYAK (GSTN-NA) BID ID -834975
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-incharge.All kinds of soil | 190.00 | Cum |  | 99.00 | 18810.00 | 100.00 | 19000.00 | 177.50 | 33725.00 | 95.00 | 18050.00 | 91.00 | 17290.00 | 180.00 | 34200.00 | 100.00 | 19000.00 | 17290.00 | MD RIYAJUDDIN
2.00 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil. Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 2300.00 | Mtr |  | 153.00 | 351900.00 | 200.00 | 460000.00 | 150.00 | 345000.00 | 200.00 | 460000.00 | 96.00 | 220800.00 | 350.00 | 805000.00 | 150.00 | 345000.00 | 220800.00 | MD RIYAJUDDIN
3.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 10.00 | Cum |  | 1200.00 | 12000.00 | 1200.00 | 12000.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 1400.00 | 14000.00 | 1800.00 | 18000.00 | 900.00 | 9000.00 | 9000.00 | AMRIT RANJAN NAYAK
4.00 | Clearing grass and removal of the rubbish up to a distance of 50 m outside the periphery of the area cleared. | 150.00 | sqm |  | 4.00 | 600.00 | 8.00 | 1200.00 | 30.00 | 4500.00 | 3.00 | 450.00 | 7.50 | 1125.00 | 10.00 | 1500.00 | 7.00 | 1050.00 | 450.00 | PRASANTA KUMAR BEURIA
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | Cum |  | 4200.00 | 42000.00 | 5000.00 | 50000.00 | 4900.00 | 49000.00 | 5500.00 | 55000.00 | 4142.00 | 41420.00 | 6350.00 | 63500.00 | 4900.00 | 49000.00 | 41420.00 | MD RIYAJUDDIN
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 12.00 | Cum |  | 3400.00 | 40800.00 | 4000.00 | 48000.00 | 4500.00 | 54000.00 | 4800.00 | 57600.00 | 3637.00 | 43644.00 | 5250.00 | 63000.00 | 4200.00 | 50400.00 | 40800.00 | SUMEET MOHANTY
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 10.00 | sqm |  | 150.00 | 1500.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 218.00 | 2180.00 | 391.00 | 3910.00 | 320.00 | 3200.00 | 200.00 | 2000.00 | 1500.00 | SUMEET MOHANTY
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 80.00 | sqm |  | 250.00 | 20000.00 | 200.00 | 16000.00 | 310.00 | 24800.00 | 680.00 | 54400.00 | 171.00 | 13680.00 | 750.00 | 60000.00 | 400.00 | 32000.00 | 13680.00 | MD RIYAJUDDIN
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 40.00 | sqm |  | 300.00 | 12000.00 | 250.00 | 10000.00 | 400.00 | 16000.00 | 670.00 | 26800.00 | 213.00 | 8520.00 | 800.00 | 32000.00 | 500.00 | 20000.00 | 8520.00 | MD RIYAJUDDIN
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 35.00 | sqm |  | 300.00 | 10500.00 | 250.00 | 8750.00 | 390.00 | 13650.00 | 300.00 | 10500.00 | 299.00 | 10465.00 | 650.00 | 22750.00 | 400.00 | 14000.00 | 8750.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 30.00 | sqm |  | 300.00 | 9000.00 | 250.00 | 7500.00 | 450.00 | 13500.00 | 350.00 | 10500.00 | 301.00 | 9030.00 | 820.00 | 24600.00 | 500.00 | 15000.00 | 7500.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 3570.00 | kg |  | 80.00 | 285600.00 | 70.00 | 249900.00 | 73.00 | 260610.00 | 100.00 | 357000.00 | 61.00 | 217770.00 | 90.00 | 321300.00 | 72.00 | 257040.00 | 217770.00 | MD RIYAJUDDIN
13.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 50.00 | cum |  | 5900.00 | 295000.00 | 5600.00 | 280000.00 | 5700.00 | 285000.00 | 7200.00 | 360000.00 | 4849.00 | 242450.00 | 7450.00 | 372500.00 | 5700.00 | 285000.00 | 242450.00 | MD RIYAJUDDIN
14.00 | 12 mm cement plaster: 1:6 (1 cement: 6 coarse sand) | 15.00 | Sqm |  | 210.00 | 3150.00 | 200.00 | 3000.00 | 333.35 | 5000.25 | 200.00 | 3000.00 | 300.00 | 4500.00 | 275.00 | 4125.00 | 200.00 | 3000.00 | 3000.00 | PRASANTA KUMAR BEURIA, AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
15.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 coarse sand) | 15.00 | Sqm |  | 230.00 | 3450.00 | 250.00 | 3750.00 | 383.00 | 5745.00 | 210.00 | 3150.00 | 310.00 | 4650.00 | 325.00 | 4875.00 | 220.00 | 3300.00 | 3150.00 | PRASANTA KUMAR BEURIA
16.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 80.00 | Sqm |  | 200.00 | 16000.00 | 180.00 | 14400.00 | 300.45 | 24036.00 | 200.00 | 16000.00 | 280.00 | 22400.00 | 250.00 | 20000.00 | 180.00 | 14400.00 | 14400.00 | AMRIT RANJAN NAYAK, M/S DAROGA SINGH CONSTRUCTION COMPANY
17.00 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge. | 10.00 | Cum |  | 200.00 | 2000.00 | 400.00 | 4000.00 | 420.80 | 4208.00 | 100.00 | 1000.00 | 420.00 | 4200.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 1000.00 | PRASANTA KUMAR BEURIA
18.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved | 10.00 | Cum |  | 150.00 | 1500.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 150.00 | 1500.00 | 260.00 | 2600.00 | 220.00 | 2200.00 | 250.00 | 2500.00 | 1500.00 | PRASANTA KUMAR BEURIA, SUMEET MOHANTY
19.00 | Providing and laying 60 mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 50.00 | Sqm |  | 640.00 | 32000.00 | 750.00 | 37500.00 | 800.00 | 40000.00 | 530.00 | 26500.00 | 765.00 | 38250.00 | 890.00 | 44500.00 | 700.00 | 35000.00 | 26500.00 | PRASANTA KUMAR BEURIA
20.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. (Old CC paver blocks shall be supplied by the department free of cost). | 50.00 | Sqm |  | 250.00 | 12500.00 | 600.00 | 30000.00 | 250.00 | 12500.00 | 205.00 | 10250.00 | 401.00 | 20050.00 | 340.00 | 17000.00 | 250.00 | 12500.00 | 10250.00 | PRASANTA KUMAR BEURIA
21.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 50.00 | metre |  | 800.00 | 40000.00 | 1000.00 | 50000.00 | 1200.00 | 60000.00 | 715.00 | 35750.00 | 1011.00 | 50550.00 | 950.00 | 47500.00 | 750.00 | 37500.00 | 35750.00 | PRASANTA KUMAR BEURIA
22.00 | Providing and fixing soil, waste and vent pipes : 75 mm dia Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | 40.00 | metre |  | 800.00 | 32000.00 | 1000.00 | 40000.00 | 1200.00 | 48000.00 | 816.00 | 32640.00 | 750.00 | 30000.00 | 920.00 | 36800.00 | 750.00 | 30000.00 | 30000.00 | AMRIT RANJAN NAYAK, MD RIYAJUDDIN
23.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 250 mm diameter S.W. pipe/hume pipe | 30.00 | metre |  | 1000.00 | 30000.00 | 1200.00 | 36000.00 | 1590.55 | 47716.50 | 1150.00 | 34500.00 | 999.00 | 29970.00 | 1320.00 | 39600.00 | 950.00 | 28500.00 | 28500.00 | AMRIT RANJAN NAYAK
24.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : 100 mm diameter S.W. pipe/hume pipe | 450.00 | metre |  | 250.00 | 112500.00 | 350.00 | 157500.00 | 420.00 | 189000.00 | 258.00 | 116100.00 | 437.00 | 196650.00 | 380.00 | 171000.00 | 300.00 | 135000.00 | 112500.00 | SUMEET MOHANTY
25.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe/hume pipe | 450.00 | metre |  | 350.00 | 157500.00 | 400.00 | 180000.00 | 530.00 | 238500.00 | 395.00 | 177750.00 | 565.00 | 254250.00 | 640.00 | 288000.00 | 500.00 | 225000.00 | 157500.00 | SUMEET MOHANTY
26.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : 250 mm diameter S.W. pipe/hume pipe | 1650.00 | metre |  | 500.00 | 825000.00 | 600.00 | 990000.00 | 430.00 | 709500.00 | 515.00 | 849750.00 | 716.00 | 1181400.00 | 840.00 | 1386000.00 | 600.00 | 990000.00 | 709500.00 | SUBHADARSHI NAYAK
27.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 39.00 | each |  | 2000.00 | 78000.00 | 2200.00 | 85800.00 | 2600.00 | 101400.00 | 1800.00 | 70200.00 | 1350.00 | 52650.00 | 2350.00 | 91650.00 | 2200.00 | 85800.00 | 52650.00 | MD RIYAJUDDIN
28.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. pipe | 450.00 | metre |  | 370.00 | 166500.00 | 600.00 | 270000.00 | 580.00 | 261000.00 | 450.00 | 202500.00 | 545.00 | 245250.00 | 450.00 | 202500.00 | 475.00 | 213750.00 | 166500.00 | SUMEET MOHANTY
29.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 250 mm dia. R.C.C. pipe | 1650.00 | metre |  | 580.00 | 957000.00 | 800.00 | 1320000.00 | 690.00 | 1138500.00 | 687.00 | 1133550.00 | 675.00 | 1113750.00 | 750.00 | 1237500.00 | 575.00 | 948750.00 | 948750.00 | AMRIT RANJAN NAYAK
30.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 20.00 | Each |  | 8000.00 | 160000.00 | 10000.00 | 200000.00 | 8500.00 | 170000.00 | 8000.00 | 160000.00 | 7687.00 | 153740.00 | 9600.00 | 192000.00 | 7800.00 | 156000.00 | 153740.00 | MD RIYAJUDDIN
31.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 30.00 | Each |  | 17000.00 | 510000.00 | 17500.00 | 525000.00 | 17000.00 | 510000.00 | 18000.00 | 540000.00 | 13120.00 | 393600.00 | 19850.00 | 595500.00 | 16250.00 | 487500.00 | 393600.00 | MD RIYAJUDDIN
32.00 | Extra for depth for manholes : Size 90x80 cm With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | metre |  | 5000.00 | 25000.00 | 5000.00 | 25000.00 | 8825.00 | 44125.00 | 4800.00 | 24000.00 | 4500.00 | 22500.00 | 7200.00 | 36000.00 | 5500.00 | 27500.00 | 22500.00 | MD RIYAJUDDIN
33.00 | Extra for depth for manholes : Size 120x90 cm With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 6.00 | metre |  | 6000.00 | 36000.00 | 8000.00 | 48000.00 | 10585.00 | 63510.00 | 7000.00 | 42000.00 | 6100.00 | 36600.00 | 8400.00 | 50400.00 | 6400.00 | 38400.00 | 36000.00 | SUMEET MOHANTY
34.00 | Providing M.S. foot rests including fixing in manholes with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) as per standard design : With 20x20 mm square bar | 20.00 | Each |  | 400.00 | 8000.00 | 800.00 | 16000.00 | 544.70 | 10894.00 | 315.00 | 6300.00 | 550.00 | 11000.00 | 460.00 | 9200.00 | 340.00 | 6800.00 | 6300.00 | PRASANTA KUMAR BEURIA
35.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each |  | 16000.00 | 16000.00 | 15000.00 | 15000.00 | 30000.00 | 30000.00 | 20000.00 | 20000.00 | 25000.00 | 25000.00 | 26250.00 | 26250.00 | 16500.00 | 16500.00 | 15000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
36.00 | Providing and Placing in position suitable PVC water stops conforming to IS:12200 for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete : Serrated with central bulb (225 mm wide, 8-11 mm thick) | 30.00 | metre |  | 300.00 | 9000.00 | 300.00 | 9000.00 | 327.65 | 9829.50 | 217.00 | 6510.00 | 325.00 | 9750.00 | 280.00 | 8400.00 | 200.00 | 6000.00 | 6000.00 | AMRIT RANJAN NAYAK
37.00 | Providing and mixing integral crystalline admixture for water proofing treatment to RCC structures like basement raft, retaining walls, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc. at the time of transporting of concrete into the drum of the ready-mix truck , using integral crystalline admixture @0.80% (minimum) to the weight of cement content per cubic meter of concrete) or higher as recommended by the manufacturer’s specification in reinforced cement concrete at site of work. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e. by reducing permeability of concrete by more than 90%, compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure. The crystalline admixture shall be capable of selfhealing of cracks up to a width of 0.50 mm. The work shall be carried out all complete as per specification and the direction of the Engineerin- charge. The product performance shall carry guarantee for 10 years against any leakage. | 130.00 | kg |  | 200.00 | 26000.00 | 300.00 | 39000.00 | 400.00 | 52000.00 | 355.00 | 46150.00 | 310.00 | 40300.00 | 320.00 | 41600.00 | 240.00 | 31200.00 | 26000.00 | SUMEET MOHANTY
38.00 | Brick work with non-modular fly ash bricks of class designation 7.5 average compressive strength in foundaion and plinth in: cement mortar 1:6 (1 Cement: 6 Coarse Sand) | 10.00 | cum |  | 3600.00 | 36000.00 | 5000.00 | 50000.00 | 6800.00 | 68000.00 | 4300.00 | 43000.00 | 3800.00 | 38000.00 | 4550.00 | 45500.00 | 3300.00 | 33000.00 | 33000.00 | AMRIT RANJAN NAYAK
39.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in in foundaion and plinth . Cement mortar 1:4 (1 cement :4 coarse sand) | 100.00 | sqm |  | 496.00 | 49600.00 | 550.00 | 55000.00 | 1300.00 | 130000.00 | 471.00 | 47100.00 | 275.00 | 27500.00 | 660.00 | 66000.00 | 500.00 | 50000.00 | 27500.00 | MD RIYAJUDDIN
| Total in Figures |  |  |  |  | 4444410.00 |  | 5371300.00 |  | 5090749.25 |  | 5076680.00 |  | 4853214.00 |  | 6489150.00 |  | 4719390.00
Lowest Amount Quoted BY: SUMEET MOHANTY(4444410.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of sewerage system in residential colony at B.P.I. Airport, Bhubaneswar Tender ID: 2025_AAI_229131_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUMEET MOHANTY (BID ID -834997) | 4444410.00 | L1
| 2 | AMRIT RANJAN NAYAK (BID ID -834975) | 4719390.00 | L2
| 3 | MD RIYAJUDDIN (BID ID -835275) | 4853214.00 | L3
| 4 | PRASANTA KUMAR BEURIA (BID ID -834462) | 5076680.00 | L4
| 5 | SUBHADARSHI NAYAK (BID ID -826600) | 5090749.25 | L5
| 6 | M/S DAROGA SINGH CONSTRUCTION COMPANY (BID ID -835060) | 5371300.00 | L6
| 7 | RUTVIKA INSPECTION AND TESTING SERVICES PVT LTD (BID ID -833878) | 6489150.00 | L7