## BoQ1
Government eProcurement System Created By: Bhavesh P Mehta Created Date/Time: 11-Apr-2025 03:02 PM Tender Title: Construction of EandM workshop at S.V. Airport, Raipur. (Civil Work) Tender ID: 2025_AAI_229685_1
Tender Inviting Authority:
Name of Work: Construction of E&M Workshop at S.V. Airport, Raipur. (Civil Works)
Contract No: 2025_AAI_229685_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RECHI CONSTRUCTION PVT LTD (GSTN-19AAGCR6941N1ZN) BID ID -836206 |  | PAWAN KUMAR AGRAWAL (GSTN-22AAYPA1729N1ZG) BID ID -836291 |  | M/S ARYA CONSTRUCTION COMPANY (GSTN-22AAQFA0154M1ZI) BID ID -837408 |  | AAKRITI CONSTRUCTION (GSTN-NA) BID ID -837405
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Surface dressing of the ground including removing vegetation and inequalities\ not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. a) All kinds of soil | 1000.00 | Sqm |  | 15.00 | 15000.00 | 34.15 | 34150.00 | 35.00 | 35000.00 | 50.00 | 50000.00 | 15000.00 | RECHI CONSTRUCTION PVT LTD
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed. a) All kinds of soil | 490.00 | Cum |  | 150.00 | 73500.00 | 260.30 | 127547.00 | 261.00 | 127890.00 | 300.00 | 147000.00 | 73500.00 | RECHI CONSTRUCTION PVT LTD
3.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. a) All kinds of soil | 90.00 | Cum |  | 100.00 | 9000.00 | 126.80 | 11412.00 | 127.00 | 11430.00 | 100.00 | 9000.00 | 9000.00 | RECHI CONSTRUCTION PVT LTD, AAKRITI CONSTRUCTION
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 400.00 | Cum |  | 150.00 | 60000.00 | 196.00 | 78400.00 | 197.00 | 78800.00 | 300.00 | 120000.00 | 60000.00 | RECHI CONSTRUCTION PVT LTD
5.00 | Supplying and stacking at site. a) Moorum | 260.00 | Cum |  | 650.00 | 169000.00 | 450.00 | 117000.00 | 451.00 | 117260.00 | 330.00 | 85800.00 | 85800.00 | AAKRITI CONSTRUCTION
6.00 | Supplying and filling in plinth with sand under floors, including watering,ramming, consolidating and dressing complete. | 90.00 | Cum |  | 1800.00 | 162000.00 | 2123.75 | 191137.50 | 2124.00 | 191160.00 | 330.00 | 29700.00 | 29700.00 | AAKRITI CONSTRUCTION
7.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil. | 60.00 | Cum |  | 150.00 | 9000.00 | 260.30 | 15618.00 | 261.00 | 15660.00 | 350.00 | 21000.00 | 9000.00 | RECHI CONSTRUCTION PVT LTD
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 180.00 | Cum |  | 5200.00 | 936000.00 | 5500.00 | 990000.00 | 6813.00 | 1226340.00 | 5500.00 | 990000.00 | 936000.00 | RECHI CONSTRUCTION PVT LTD
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level a) 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 30.00 | Cum |  | 6300.00 | 189000.00 | 6500.00 | 195000.00 | 7900.00 | 237000.00 | 6000.00 | 180000.00 | 180000.00 | AAKRITI CONSTRUCTION
10.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. i) All works upto plinth level a) Concrete of M25 grade with minimum cement content of 330 kg /cum | 170.00 | Cum |  | 7100.00 | 1207000.00 | 7000.00 | 1190000.00 | 8100.00 | 1377000.00 | 6000.00 | 1020000.00 | 1020000.00 | AAKRITI CONSTRUCTION
11.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. i) All works above plinth level upto floor V level b) Concrete of M25 grade with minimum cement content of 330 kg /cum | 120.00 | Cum |  | 7500.00 | 900000.00 | 7500.00 | 900000.00 | 8600.00 | 1032000.00 | 5000.00 | 600000.00 | 600000.00 | AAKRITI CONSTRUCTION
12.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 60.00 | Quintal |  | 400.00 | 24000.00 | 733.50 | 44010.00 | 734.00 | 44040.00 | 200.00 | 12000.00 | 12000.00 | AAKRITI CONSTRUCTION
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Foundations, footings, bases of columns, etc. for mass concrete | 251.00 | Sqm |  | 350.00 | 87850.00 | 392.15 | 98429.65 | 793.00 | 199043.00 | 600.00 | 150600.00 | 87850.00 | RECHI CONSTRUCTION PVT LTD
14.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : b) Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc. | 57.00 | Sqm |  | 500.00 | 28500.00 | 842.50 | 48022.50 | 843.00 | 48051.00 | 400.00 | 22800.00 | 22800.00 | AAKRITI CONSTRUCTION
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for : c) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 534.00 | Sqm |  | 550.00 | 293700.00 | 736.40 | 393237.60 | 737.00 | 393558.00 | 300.00 | 160200.00 | 160200.00 | AAKRITI CONSTRUCTION
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for : d) Columns, Pillars, Piers, Abutments, Posts and Struts | 525.00 | Sqm |  | 550.00 | 288750.00 | 961.30 | 504682.50 | 962.00 | 505050.00 | 300.00 | 157500.00 | 157500.00 | AAKRITI CONSTRUCTION
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for : e) Suspended floors, roofs, landings, balconies and access platform | 266.00 | Sqm |  | 600.00 | 159600.00 | 927.25 | 246648.50 | 928.00 | 246848.00 | 400.00 | 106400.00 | 106400.00 | AAKRITI CONSTRUCTION
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for i) Edges of slabs and breaks in floors and walls f) Under 20 cm wide | 20.00 | Mtr |  | 180.00 | 3600.00 | 208.55 | 4171.00 | 209.00 | 4180.00 | 400.00 | 8000.00 | 3600.00 | RECHI CONSTRUCTION PVT LTD
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for g) Shelves (Cast in situ) | 28.00 | Sqm |  | 650.00 | 18200.00 | 927.25 | 25963.00 | 928.00 | 25984.00 | 500.00 | 14000.00 | 14000.00 | AAKRITI CONSTRUCTION
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for h) Weather shade, Chajjas, corbels etc., including edges | 23.00 | Sqm |  | 700.00 | 16100.00 | 951.10 | 21875.30 | 952.00 | 21896.00 | 500.00 | 11500.00 | 11500.00 | AAKRITI CONSTRUCTION
21.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 26690.00 | Kg |  | 80.00 | 2135200.00 | 90.00 | 2402100.00 | 100.00 | 2669000.00 | 110.00 | 2935900.00 | 2135200.00 | RECHI CONSTRUCTION PVT LTD
22.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 18840.00 | Kg |  | 85.00 | 1601400.00 | 90.00 | 1695600.00 | 100.00 | 1884000.00 | 85.00 | 1601400.00 | 1601400.00 | RECHI CONSTRUCTION PVT LTD, AAKRITI CONSTRUCTION
23.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 98.00 | Cum |  | 6500.00 | 637000.00 | 6500.00 | 637000.00 | 8700.00 | 852600.00 | 4450.00 | 436100.00 | 436100.00 | AAKRITI CONSTRUCTION
24.00 | Providing and laying Autoclaved Aerated concrete (AAC) blocks masonry 100 mm/ 125 mm thick with Grade-I AAC blocks of density 551 to 650 kg/ cum conforming to IS: 2185 (Part 3) in super structure above plinth level up to floor V level in cement mortar 1:4 (1 cement : 4 coarse sand). The rate includes providing and placing in position 2 Nos 6 mm dia M.S. bars at every third course of masonry work. | 2.00 | Cum |  | 8000.00 | 16000.00 | 10195.45 | 20390.90 | 10195.45 | 20390.90 | 5500.00 | 11000.00 | 11000.00 | AAKRITI CONSTRUCTION
25.00 | Providing and laying Autoclaved Aerated concrete (AAC) blocks masonry with 150mm/230mm/300 mm thick with Grade-I AAC blocks of density 551 to 650 kg/ cum conforming to IS: 2185 (Part 3) in super structure above plinth level up to floor V level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for seperately). | 170.00 | Cum |  | 7900.00 | 1343000.00 | 8000.00 | 1360000.00 | 8333.65 | 1416720.50 | 4500.00 | 765000.00 | 765000.00 | AAKRITI CONSTRUCTION
26.00 | Brick work with non modular Fly ash bricks conforming to IS:12894, class designation 5.0 average compressive strength in foundation and plinth in: a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 40.00 | Cum |  | 7000.00 | 280000.00 | 7132.25 | 285290.00 | 7132.25 | 285290.00 | 3500.00 | 140000.00 | 140000.00 | AAKRITI CONSTRUCTION
27.00 | Brick work with non modular Fly ash bricks conforming to IS:12894, class designation 5.0 in superstructure above plinth level up to floor five level in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 20.00 | Cum |  | 7000.00 | 140000.00 | 9105.95 | 182119.00 | 9105.95 | 182119.00 | 3500.00 | 70000.00 | 70000.00 | AAKRITI CONSTRUCTION
28.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. i) Granite stone slab of colour black, Cherry/Ruby red a) Area of slab over 0.50 sqm | 30.00 | Sqm |  | 3200.00 | 96000.00 | 4950.90 | 148527.00 | 4950.90 | 148527.00 | 3500.00 | 105000.00 | 96000.00 | RECHI CONSTRUCTION PVT LTD
29.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. completeas per design approved by Engineer-in-Charge. a) Granite work | 70.00 | Mtr |  | 300.00 | 21000.00 | 70.00 | 4900.00 | 70.00 | 4900.00 | 500.00 | 35000.00 | 4900.00 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
30.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/Granite/stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 10.00 | Each |  | 500.00 | 5000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 5000.00 | RECHI CONSTRUCTION PVT LTD
31.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 10.00 | Sqm |  | 2500.00 | 25000.00 | 2172.10 | 21721.00 | 2172.10 | 21721.00 | 5500.00 | 55000.00 | 21721.00 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
32.00 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. a) Using M.S. angels 40x40x6 mm for diagonal braces | 8.00 | Sqm |  | 4000.00 | 32000.00 | 5804.35 | 46434.80 | 5804.35 | 46434.80 | 2400.00 | 19200.00 | 19200.00 | AAKRITI CONSTRUCTION
33.00 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 17.00 | Each |  | 700.00 | 11900.00 | 998.35 | 16971.95 | 998.35 | 16971.95 | 490.00 | 8330.00 | 8330.00 | AAKRITI CONSTRUCTION
34.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : a) 300x16 mm | 34.00 | Nos. |  | 200.00 | 6800.00 | 303.25 | 10310.50 | 303.25 | 10310.50 | 450.00 | 15300.00 | 6800.00 | RECHI CONSTRUCTION PVT LTD
35.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 100 mm | 34.00 | Nos. |  | 50.00 | 1700.00 | 59.55 | 2024.70 | 59.55 | 2024.70 | 500.00 | 17000.00 | 1700.00 | RECHI CONSTRUCTION PVT LTD
36.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. a) Single rubber stopper | 17.00 | Nos. |  | 50.00 | 850.00 | 39.60 | 673.20 | 39.60 | 673.20 | 500.00 | 8500.00 | 673.20 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
37.00 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineerin-charge. a) Extruded section profile size 48x40 mm | 20.00 | Mtr |  | 200.00 | 4000.00 | 270.20 | 5404.00 | 270.20 | 5404.00 | 5000.00 | 100000.00 | 4000.00 | RECHI CONSTRUCTION PVT LTD
38.00 | Providing and fixing to existing door frames. a) 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of ‘H’ section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. ‘U’ cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer’s specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 10.00 | Sqm |  | 1800.00 | 18000.00 | 2969.25 | 29692.50 | 2969.25 | 29692.50 | 5000.00 | 50000.00 | 18000.00 | RECHI CONSTRUCTION PVT LTD
39.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. a) Fixed to openings /wooden frames with rawl plugs screws etc. | 800.00 | Kg |  | 130.00 | 104000.00 | 238.35 | 190680.00 | 238.35 | 190680.00 | 90.00 | 72000.00 | 72000.00 | AAKRITI CONSTRUCTION
40.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1510.00 | Kg |  | 125.00 | 188750.00 | 133.70 | 201887.00 | 133.70 | 201887.00 | 110.00 | 166100.00 | 166100.00 | AAKRITI CONSTRUCTION
41.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 790.00 | Kg |  | 130.00 | 102700.00 | 172.60 | 136354.00 | 172.60 | 136354.00 | 90.00 | 71100.00 | 71100.00 | AAKRITI CONSTRUCTION
42.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 300.00 | Kg |  | 100.00 | 30000.00 | 97.20 | 29160.00 | 97.20 | 29160.00 | 110.00 | 33000.00 | 29160.00 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
43.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. a) 80x1.25 mm M.S. laths with 1.25 mm thick top cover | 110.00 | Sqm |  | 2500.00 | 275000.00 | 3653.20 | 401852.00 | 3653.20 | 401852.00 | 650.00 | 71500.00 | 71500.00 | AAKRITI CONSTRUCTION
44.00 | Providing and fixing ball bearing for rolling shutters. | 20.00 | Nos. |  | 400.00 | 8000.00 | 492.35 | 9847.00 | 492.35 | 9847.00 | 350.00 | 7000.00 | 7000.00 | AAKRITI CONSTRUCTION
45.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. a) Exceeding 16.80 sqm in area | 110.00 | Sqm |  | 1000.00 | 110000.00 | 1181.80 | 129998.00 | 1181.80 | 129998.00 | 1200.00 | 132000.00 | 110000.00 | RECHI CONSTRUCTION PVT LTD
46.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). a) Sal wood | 4.00 | Cum |  | 100000.00 | 400000.00 | 116520.30 | 466081.20 | 120520.30 | 482081.20 | 3400.00 | 13600.00 | 13600.00 | AAKRITI CONSTRUCTION
47.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 700.00 | Sqm |  | 700.00 | 490000.00 | 1056.15 | 739305.00 | 1056.15 | 739305.00 | 1000.00 | 700000.00 | 490000.00 | RECHI CONSTRUCTION PVT LTD
48.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : a) 25 mm thick | 130.00 | Sqm |  | 1550.00 | 201500.00 | 1948.25 | 253272.50 | 1948.25 | 253272.50 | 2500.00 | 325000.00 | 201500.00 | RECHI CONSTRUCTION PVT LTD
49.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 40.00 | Sqm |  | 2000.00 | 80000.00 | 2354.70 | 94188.00 | 2354.70 | 94188.00 | 3500.00 | 140000.00 | 80000.00 | RECHI CONSTRUCTION PVT LTD
50.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades,laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. a) Size of Tile 600x600 mm | 90.00 | Sqm |  | 1000.00 | 90000.00 | 1553.45 | 139810.50 | 1553.45 | 139810.50 | 1200.00 | 108000.00 | 90000.00 | RECHI CONSTRUCTION PVT LTD
51.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). a) Size of Tile 600x600 mm | 120.00 | Sqm |  | 1000.00 | 120000.00 | 1623.05 | 194766.00 | 1623.05 | 194766.00 | 1200.00 | 144000.00 | 120000.00 | RECHI CONSTRUCTION PVT LTD
52.00 | Providing and fixing Polyisocyanurate insulated sandwich panels, The insulated Roofing shall be 50+30mm thick PIR insulated Sandwich panels with density of more than 40 Kg/m3. The top covering on roof panels will trapezoidal Pre-coated galvanized iron sheet with crest height 30±1mm,crest width 24±1mm and pitch 200±1mm & bottom covering on roof panels shall be micro ribbing Pre-coated galvanized iron sheet. Pre-Painted Galvanized Iron Sheet shall have minimum coating of 4-5micron epoxy primer and 25micron polyester top coat on the finish surface and 7-8micron primer alkyl base on reverse. The PPGI sheet shall have plastic protective guard film of minimum 25 microns to avoid scratches during transportation & installation. Material shall be Fire retardant type including CFC free PIR pannel should be GRIHA Certified. the cost shall also inclued the required hardware accessories such as required Channel, Clamling device threaded GI sheet down rods etc. complete as per direction and satisfaction of Engineer-in-Charge. | 280.00 | Sqm |  | 1200.00 | 336000.00 | 2044.40 | 572432.00 | 2044.40 | 572432.00 | 1200.00 | 336000.00 | 336000.00 | RECHI CONSTRUCTION PVT LTD, AAKRITI CONSTRUCTION
53.00 | Providing & fixing of white vitreous china below counter oval wash basin (Jaquar cat no. FLS-WHT-5701 (550x425x195 mm) Kohler/Hindware or approved equivalent), Pillar Cock auto closing System (Ref CAT No. PRS-031L65 Pillar Cock Jaquar) and Bottle trap (Ref. CAT No. ALD-769L300x190 Jaquar) Size - 300x190, Waste Coupl. 32mm full thread Jaquar make CAT no. - ALD-705L130), wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 8.00 | Each |  | 7000.00 | 56000.00 | 10237.50 | 81900.00 | 10237.50 | 81900.00 | 5000.00 | 40000.00 | 40000.00 | AAKRITI CONSTRUCTION
54.00 | Providing & fixing of white vitreous china Rimless Wall Hung WC (Jaquar cat no. FLS-WHT-5953 (355x555x370 mm) Kohler/Hindware or approved equivalent) with inbuilt jet, Seat Cover and all other accessories for waste connection , Concealed Cistern (Jaquar JCS-WHT-2400S/ Kohler/Hindware or approved equivalent) witrh installation kit & 'S' Type drain pipe connection set and Flush Plate ( Jaquar/Kohler/Hindware or approved equivalent) complete including , nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 4.00 | Each |  | 7500.00 | 30000.00 | 18775.00 | 75100.00 | 18775.00 | 75100.00 | 5000.00 | 20000.00 | 20000.00 | AAKRITI CONSTRUCTION
55.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: a) White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 1.00 | Each |  | 3000.00 | 3000.00 | 3050.00 | 3050.00 | 3050.00 | 3050.00 | 1000.00 | 1000.00 | 1000.00 | AAKRITI CONSTRUCTION
56.00 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. | 1.00 | Each |  | 1500.00 | 1500.00 | 1962.50 | 1962.50 | 1962.50 | 1962.50 | 4500.00 | 4500.00 | 1500.00 | RECHI CONSTRUCTION PVT LTD
57.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+ 0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : a) Gutter (600 mm over all girth) | 70.00 | Mtr |  | 1000.00 | 70000.00 | 1313.70 | 91959.00 | 1313.70 | 91959.00 | 750.00 | 52500.00 | 52500.00 | AAKRITI CONSTRUCTION
58.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. a) 110 mm diameter | 100.00 | Mtr |  | 300.00 | 30000.00 | 377.40 | 37740.00 | 377.40 | 37740.00 | 100.00 | 10000.00 | 10000.00 | AAKRITI CONSTRUCTION
59.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. a) 75 mm diameter | 20.00 | Mtr |  | 200.00 | 4000.00 | 248.80 | 4976.00 | 248.80 | 4976.00 | 200.00 | 4000.00 | 4000.00 | RECHI CONSTRUCTION PVT LTD, AAKRITI CONSTRUCTION
60.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Coupler ii) 110 mm | 10.00 | Each |  | 100.00 | 1000.00 | 136.15 | 1361.50 | 136.15 | 1361.50 | 200.00 | 2000.00 | 1000.00 | RECHI CONSTRUCTION PVT LTD
61.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Bend 87.5° i) 110 mm bend | 10.00 | Each |  | 150.00 | 1500.00 | 150.35 | 1503.50 | 150.35 | 1503.50 | 300.00 | 3000.00 | 1500.00 | RECHI CONSTRUCTION PVT LTD
62.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. a) 110 mm | 10.00 | Nos. |  | 250.00 | 2500.00 | 371.30 | 3713.00 | 371.30 | 3713.00 | 300.00 | 3000.00 | 2500.00 | RECHI CONSTRUCTION PVT LTD
63.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised -PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. a) 75 mm | 10.00 | Nos. |  | 250.00 | 2500.00 | 369.85 | 3698.50 | 369.85 | 3698.50 | 300.00 | 3000.00 | 2500.00 | RECHI CONSTRUCTION PVT LTD
64.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Coupler i) 75 mm | 15.00 | Each |  | 100.00 | 1500.00 | 91.70 | 1375.50 | 91.70 | 1375.50 | 300.00 | 4500.00 | 1375.50 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
65.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Single tee with door i) 75x75x75 mm | 10.00 | Each |  | 140.00 | 1400.00 | 164.20 | 1642.00 | 164.20 | 1642.00 | 300.00 | 3000.00 | 1400.00 | RECHI CONSTRUCTION PVT LTD
66.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Single tee without door: i) 110x110x110 mm | 10.00 | Each |  | 120.00 | 1200.00 | 221.35 | 2213.50 | 221.35 | 2213.50 | 500.00 | 5000.00 | 1200.00 | RECHI CONSTRUCTION PVT LTD
67.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Bend 87.5°: i) 75 mm bend | 10.00 | Each |  | 90.00 | 900.00 | 105.90 | 1059.00 | 105.90 | 1059.00 | 500.00 | 5000.00 | 900.00 | RECHI CONSTRUCTION PVT LTD
68.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Shoe (Plain): i) 110 mm Shoe | 10.00 | Each |  | 100.00 | 1000.00 | 131.85 | 1318.50 | 131.50 | 1315.00 | 500.00 | 5000.00 | 1000.00 | RECHI CONSTRUCTION PVT LTD
69.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. a) GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 140.00 | Sqm |  | 2200.00 | 308000.00 | 2068.75 | 289625.00 | 2255.00 | 315700.00 | 1250.00 | 175000.00 | 175000.00 | AAKRITI CONSTRUCTION
70.00 | Providing and fixing thermal insulation with Resin bonded rock wool conforming to IS: 8183, density 48 kg/m3, 50 mm thick, wrapped in 200 G virgin Polythene bags placed over existing false ceilng and held in position by criss-crossing Gl wire. | 140.00 | Sqm |  | 250.00 | 35000.00 | 316.05 | 44247.00 | 316.05 | 44247.00 | 600.00 | 84000.00 | 35000.00 | RECHI CONSTRUCTION PVT LTD
71.00 | 6 mm cement plaster of mix : a) 1:3 (1 cement : 3 fine sand) | 390.00 | Sqm |  | 280.00 | 109200.00 | 300.45 | 117175.50 | 300.45 | 117175.50 | 300.00 | 117000.00 | 109200.00 | RECHI CONSTRUCTION PVT LTD
72.00 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ perlite respectively conforming to IS: 2547 (Part - 1 & II) 1976, applied on hacked / uneven background such as bare brick/ block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | 1400.00 | Sqm |  | 250.00 | 350000.00 | 468.90 | 656460.00 | 468.90 | 656460.00 | 200.00 | 280000.00 | 280000.00 | AAKRITI CONSTRUCTION
73.00 | 12 mm cement plaster of mix : a) 1:6 (1 cement: 6 coarse sand) | 190.00 | Sqm |  | 300.00 | 57000.00 | 343.65 | 65293.50 | 343.65 | 65293.50 | 300.00 | 57000.00 | 57000.00 | RECHI CONSTRUCTION PVT LTD, AAKRITI CONSTRUCTION
74.00 | 15 mm cement plaster on rough side of single or half brick wall of mix : a) 1:6 (1 cement: 6 coarse sand) | 190.00 | Sqm |  | 330.00 | 62700.00 | 395.35 | 75116.50 | 395.35 | 75116.50 | 400.00 | 76000.00 | 62700.00 | RECHI CONSTRUCTION PVT LTD
75.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. a) Two Coats | 900.00 | Sqm |  | 120.00 | 108000.00 | 142.80 | 128520.00 | 142.80 | 128520.00 | 180.00 | 162000.00 | 108000.00 | RECHI CONSTRUCTION PVT LTD
76.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) | 1100.00 | Sqm |  | 120.00 | 132000.00 | 160.60 | 176660.00 | 160.60 | 176660.00 | 240.00 | 264000.00 | 132000.00 | RECHI CONSTRUCTION PVT LTD
77.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 900.00 | Sqm |  | 130.00 | 117000.00 | 226.25 | 203625.00 | 226.25 | 203625.00 | 250.00 | 225000.00 | 117000.00 | RECHI CONSTRUCTION PVT LTD
78.00 | Neat cement punning. | 520.00 | Sqm |  | 100.00 | 52000.00 | 79.95 | 41574.00 | 79.95 | 41574.00 | 200.00 | 104000.00 | 41574.00 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
79.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 8.00 | Each |  | 1000.00 | 8000.00 | 1607.95 | 12863.60 | 1607.95 | 12863.60 | 2400.00 | 19200.00 | 8000.00 | RECHI CONSTRUCTION PVT LTD
80.00 | Providing and fixing toilet paper holder : a) C.P. brass | 4.00 | Each |  | 600.00 | 2400.00 | 803.70 | 3214.80 | 803.70 | 3214.80 | 500.00 | 2000.00 | 2000.00 | AAKRITI CONSTRUCTION
81.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. a) 15 mm nominal dia Pipes | 25.00 | Mtr |  | 400.00 | 10000.00 | 497.80 | 12445.00 | 497.80 | 12445.00 | 500.00 | 12500.00 | 10000.00 | RECHI CONSTRUCTION PVT LTD
82.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. (i) Internal work - Exposed on wall a) 25 mm nominal outer dia Pipes | 25.00 | Mtr |  | 600.00 | 15000.00 | 401.55 | 10038.75 | 401.55 | 10038.75 | 200.00 | 5000.00 | 5000.00 | AAKRITI CONSTRUCTION
83.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. (i) External work a) 25 mm nominal outer dia Pipes | 25.00 | Mtr |  | 350.00 | 8750.00 | 355.40 | 8885.00 | 355.40 | 8885.00 | 400.00 | 10000.00 | 8750.00 | RECHI CONSTRUCTION PVT LTD
84.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. (i) External work b) 32 mm nominal outer dia Pipes | 100.00 | Mtr |  | 430.00 | 43000.00 | 438.60 | 43860.00 | 438.60 | 43860.00 | 400.00 | 40000.00 | 40000.00 | AAKRITI CONSTRUCTION
85.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Liter |  | 15.00 | 15000.00 | 11.00 | 11000.00 | 11.00 | 11000.00 | 12.00 | 12000.00 | 11000.00 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
86.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. a) 15 mm nominal bore | 8.00 | Each |  | 700.00 | 5600.00 | 820.70 | 6565.60 | 820.70 | 6565.60 | 400.00 | 3200.00 | 3200.00 | AAKRITI CONSTRUCTION
87.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. a) 15 mm nominal bore | 4.00 | Each |  | 590.00 | 2360.00 | 670.45 | 2681.80 | 670.45 | 2681.80 | 400.00 | 1600.00 | 1600.00 | AAKRITI CONSTRUCTION
88.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15mm nominal bore | 4.00 | Each |  | 500.00 | 2000.00 | 574.30 | 2297.20 | 574.30 | 2297.20 | 400.00 | 1600.00 | 1600.00 | AAKRITI CONSTRUCTION
89.00 | Providing and fixing C.P. brass Two Way Two Lever Bib Cock with wall flange (Essco by Jaquar SQT-CHR-512ANKN/ Kohler/Hindware or approved equivalent) along with Hand Shower (Health Faucet) (ABS Body) , 1 Meter Long Spirochrome flex tube & Wall Hook ( Jaquar ALD-CHR-587/ Kohler/ hindware or approved equivalent) of approved quality complete as per the instructions of EIC a) 15mm nominal bore | 4.00 | Each |  | 1500.00 | 6000.00 | 1537.50 | 6150.00 | 1537.50 | 6150.00 | 1200.00 | 4800.00 | 4800.00 | AAKRITI CONSTRUCTION
90.00 | Providing orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910, on 12 mm dia steel bar conforming to IS: 1786, having minimum cross section as 23 mmx25 mm and over all minimum length 263 mm and width as 165 mm with minimum 112 mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture’s permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per design. | 10.00 | Each |  | 450.00 | 4500.00 | 553.70 | 5537.00 | 553.70 | 5537.00 | 1200.00 | 12000.00 | 4500.00 | RECHI CONSTRUCTION PVT LTD
91.00 | Providing and laying non­pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : a) 300 mm dia. R.C.C. pipe | 50.00 | Mtr |  | 1200.00 | 60000.00 | 994.30 | 49715.00 | 994.30 | 49715.00 | 400.00 | 20000.00 | 20000.00 | AAKRITI CONSTRUCTION
92.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : i) For fixed portion a) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 740.00 | Kg |  | 480.00 | 355200.00 | 530.90 | 392866.00 | 530.90 | 392866.00 | 500.00 | 370000.00 | 355200.00 | RECHI CONSTRUCTION PVT LTD
93.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : i) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) a) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 740.00 | Kg |  | 480.00 | 355200.00 | 634.45 | 469493.00 | 634.45 | 469493.00 | 500.00 | 370000.00 | 355200.00 | RECHI CONSTRUCTION PVT LTD
94.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 50.00 | Sqm |  | 1250.00 | 62500.00 | 1505.25 | 75262.50 | 1505.25 | 75262.50 | 300.00 | 15000.00 | 15000.00 | AAKRITI CONSTRUCTION
95.00 | Providing and submitting the preliminary drawing, carrying out structural design, preparation of detailed structural drawing and developing working architectural drawing. the structural design shall be done by consultant. The structural design and drawings shall be got vetted by Govt. Engineering College /NIT /IIT. The design and drawing so submitted shall be got approved by Engineer_in_charge before execution of work. After approval of structural design and drawing by AAI 3 (three)set of good for construction" design and drawing showing all relevant details shall be submitted duly signed by the consultant. Consultant shall also submit any other details relevant to the scope and completion of work | 1.00 | Job |  | 60000.00 | 60000.00 | 300000.00 | 300000.00 | 300000.00 | 300000.00 | 50000.00 | 50000.00 | 50000.00 | AAKRITI CONSTRUCTION
96.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. a) Electric resistance or induction butt welded tubes | 7510.00 | Kg |  | 125.00 | 938750.00 | 160.00 | 1201600.00 | 194.40 | 1459944.00 | 120.00 | 901200.00 | 901200.00 | AAKRITI CONSTRUCTION
97.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 60.00 | Sqm |  | 500.00 | 30000.00 | 749.30 | 44958.00 | 749.30 | 44958.00 | 3000.00 | 180000.00 | 30000.00 | RECHI CONSTRUCTION PVT LTD
98.00 | Making joint/ groove cutting (10 mm wide x 50 mm deep) by saw machine to safe guard the existing CC pavement/CC paved area all complete as per direction of Engineer-in-Charge. | 120.00 | Mtr |  | 300.00 | 36000.00 | 150.00 | 18000.00 | 150.00 | 18000.00 | 200.00 | 24000.00 | 18000.00 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
99.00 | Grading roof for water proofing treatment with a) Cement mortar 1:3 (1 cement : 3 coarse sand) | 13.00 | Cum |  | 10000.00 | 130000.00 | 16112.10 | 209457.30 | 16112.10 | 209457.30 | 200.00 | 2600.00 | 2600.00 | AAKRITI CONSTRUCTION
100.00 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineer-in-charge. | 230.00 | Each |  | 750.00 | 172500.00 | 1399.95 | 321988.50 | 1399.95 | 321988.50 | 500.00 | 115000.00 | 115000.00 | AAKRITI CONSTRUCTION
101.00 | Providing and supplying aluminium extruded tubular and other aluminium sections as per the architectural drawings and approved shop drawings , the aluminium quality as per grade 6063 T5 or T6 as per BS 1474,including super durable powder coating of 60-80 microns conforming to AAMA 2604 of required colour and shade as approved by the Engineer-in-Charge. ( The item includes cost of material such as cleats, sleeves, screws etc. necessary for fabrication of extruded aluminium frame work. Nothing extra shall be paid on this account). The weight of aluminium extruded section shall be taken for purpose of payment. | 220.00 | Kg |  | 500.00 | 110000.00 | 414.30 | 91146.00 | 520.00 | 114400.00 | 500.00 | 110000.00 | 91146.00 | PAWAN KUMAR AGRAWAL
102.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. a) On steel work | 230.00 | Sqm |  | 150.00 | 34500.00 | 241.75 | 55602.50 | 245.75 | 56522.50 | 500.00 | 115000.00 | 34500.00 | RECHI CONSTRUCTION PVT LTD
103.00 | Providing and filling in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads / pavements all complete as per direction of the Engineer-in-Charge. a) Using grade 'A' sealing compound conforming to IS: 1834. | 120.00 | Per cm depth per cm width per metre length |  | 10.00 | 1200.00 | 8.65 | 1038.00 | 8.65 | 1038.00 | 500.00 | 60000.00 | 1038.00 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
104.00 | Providing and fixing Stainless Steel towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings. a) 600 mm long towel rail with total length of 645 mm. | 4.00 | Each |  | 500.00 | 2000.00 | 1575.00 | 6300.00 | 1575.00 | 6300.00 | 200.00 | 800.00 | 800.00 | AAKRITI CONSTRUCTION
105.00 | Providing and fixing in position best quality Astral/Supreme/Finolesx make or equivalent SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. a) P-trap | 4.00 | Each |  | 200.00 | 800.00 | 150.00 | 600.00 | 150.00 | 600.00 | 1000.00 | 4000.00 | 600.00 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
106.00 | Providing and fixing stainless steel grating along with PVC nahani trap etc. as per direction & satisfaction of Engineer-in-Charge. a) 100mm dia | 20.00 | Each |  | 100.00 | 2000.00 | 80.00 | 1600.00 | 80.00 | 1600.00 | 1000.00 | 20000.00 | 1600.00 | PAWAN KUMAR AGRAWAL, M/S ARYA CONSTRUCTION COMPANY
107.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : i) Kitchen sink without drain board- a) 610x510 mm bowl depth 200 mm | 1.00 | Each |  | 4000.00 | 4000.00 | 4940.80 | 4940.80 | 4940.80 | 4940.80 | 3000.00 | 3000.00 | 3000.00 | AAKRITI CONSTRUCTION
108.00 | Providing and fixing Liquid Soap Container or Jaguar "Push Button Soap Dispensers, Capacity :0 .8L, Material : ABS, Finish : white/smoked" with SS Screws including making good the wall wherever required complete as directed by the Engineer-in-charge. | 6.00 | Each |  | 600.00 | 3600.00 | 1750.00 | 10500.00 | 1750.00 | 10500.00 | 500.00 | 3000.00 | 3000.00 | AAKRITI CONSTRUCTION
109.00 | Providing and fixing in position starwhite vitreous chinaware Urinal, of Jaquar Cat. no URS-WHT-13261/Kohler/Parryware with C.P. brass flush pile spreads, domed waste coupler and auto closing concealed urinal flush valve (reference Cat No.PRS-CHR-073 of Jaquar) etc. including other accessories complete in all respect as per manufacturer's specifications and satisfaction of Engineer In-charge including cutting and making good the walls and floor where ever required. | 2.00 | Each |  | 4500.00 | 9000.00 | 4625.00 | 9250.00 | 4625.00 | 9250.00 | 500.00 | 1000.00 | 1000.00 | AAKRITI CONSTRUCTION
110.00 | Providing and fixing gun metal gate valve of approved quality (quarter turn with pvc encased handle) : b) 20 mm nominal bore | 2.00 | Nos. |  | 500.00 | 1000.00 | 539.95 | 1079.90 | 539.95 | 1079.90 | 500.00 | 1000.00 | 1000.00 | RECHI CONSTRUCTION PVT LTD, AAKRITI CONSTRUCTION
111.00 | Providing and fixing gun metal gate valve of approved quality (quarter turn with pvc encased handle) : a) 25 mm nominal bore | 2.00 | Nos. |  | 700.00 | 1400.00 | 622.40 | 1244.80 | 622.40 | 1244.80 | 500.00 | 1000.00 | 1000.00 | AAKRITI CONSTRUCTION
112.00 | Providing and fixing gun metal gate valve of approved quality (quarter turn with pvc encased handle) : c) 32 mm nominal bore | 2.00 | Nos. |  | 1000.00 | 2000.00 | 689.60 | 1379.20 | 689.60 | 1379.20 | 500.00 | 1000.00 | 1000.00 | AAKRITI CONSTRUCTION
113.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. 483 SUB HEAD : 8 - CLADDING WORK (b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets\ (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service)coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 74.00 | Sqm |  | 3200.00 | 236800.00 | 3510.00 | 259740.00 | 3650.00 | 270100.00 | 2200.00 | 162800.00 | 162800.00 | AAKRITI CONSTRUCTION
| Total in Figures |  |  |  |  | 17830560.00 |  | 21452266.55 |  | 23215722.00 |  | 16961330.00
Lowest Amount Quoted BY: AAKRITI CONSTRUCTION(16961330.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of EandM workshop at S.V. Airport, Raipur. (Civil Work) Tender ID: 2025_AAI_229685_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AAKRITI CONSTRUCTION (BID ID -837405) | 16961330.00 | L1
| 2 | RECHI CONSTRUCTION PVT LTD (BID ID -836206) | 17830560.00 | L2
| 3 | PAWAN KUMAR AGRAWAL (BID ID -836291) | 21452266.55 | L3
| 4 | M/S ARYA CONSTRUCTION COMPANY (BID ID -837408) | 23215722.00 | L4