## BoQ1
Government eProcurement System Created By: Mukesh Meena Created Date/Time: 26-May-2025 06:12 PM Tender Title: Replacement of existing goods lift at ATS Complex, Mumbai along with A.I.C.M.C. work for the period of 05 years Tender ID: 2025_AAI_230990_1
Tender Inviting Authority: Asstt.General Manager (Engg.-Elect.), ATS Complex, Mumbai.
Name of Work: "Replacement of existing goods lift at ATS Complex, Mumbai along with A.I.C.M.C. work for the period of 05 years.”
Contract No: MUM/ATS/ENGG-E/eNIT-10/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Escon elevators Pvt Ltd (GSTN-27AAACE0977F1ZQ) BID ID -840176 |  | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED (GSTN-NA) BID ID -838643
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : S.I.T.C. and dismantling of Goods lift
2.00 | Design, Engineering, Fabrication, Assembly at shop, inspection, shop painting (primer + finish coat), Shaft painting, testing at manufacturer's work, packing, supply,storage at work site, assembly at work site, installation, testing, site painting, pre-commissioning, commissioning of following Machine room Goods elevator microprosser based Simplex Down collective system variable voltage variable frequency (V3F) drive for power saving & smooth operation of lifts suitable for operating on 415 V, 3 Phase 50 Hz AC supply of automatic central opening type SS (hairline finish) car & landing doors of suitable width SS constructed full car enclosure with SS hairline finish with duty load 1.5 Ton , Speed 0.5 m/s , Landing position : 5 (G+4), Car inspection box, Magnetic switch vanes, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, emergency light, intercom suitable for hook up with EPBAX system, infrared full height curtain electronic door detection system, fire man's switch with hammer at main landing floors, digital car positions indicator in car & at all floors with UP/Down direction, LED car lighting & LED emergency lighting with battery & battery charger, ventilation fan/ blower, main beam in shaft for machine, pit ladder, pit buffer, etc.complete with all accessories serving different floors in the lift shaft along with Automatic Resue Device (ARD) complete with maintenance free batteries as required including supply of all commissioning spares, special tools and tackles, test weights, erection material, first fill of oils, lubricants, consumables, etc., training to client's personel at site, drawings and documentation as per the enclosed scope of work, job specifications and other prevailing codes, standards and including Minor Civil Work, Lift License, etc. as required. | 1.00 | Job |  | 2725000.00 | 2725000.00 | 2970000.00 | 2970000.00 | 2725000.00 | Escon elevators Pvt Ltd
3.00 | Dismantling of existing TKE make goods lift, packing and transporting it to nearby store location or at suitable location as per direction of E-I-C. | 1.00 | Job |  | 50000.00 | 50000.00 | 171000.00 | 171000.00 | 50000.00 | Escon elevators Pvt Ltd
4.00 | SH-II : A.I.C.M.C.-(All Inclusive Comprehensive Maintenance Contract)
5.00 | All inclusive comprehensive maintenance contract for goods lift as per detailed specifications, terms and conditions and scope of work covered under this contract, etc. as required. The rate shall be inclusive of all spares and consumables required for complete system.
6.00 | 1st Year post DLP | 1.00 | Year |  | 163500.00 | 163500.00 | 178200.00 | 178200.00 | 163500.00 | Escon elevators Pvt Ltd
7.00 | 2nd Year post DLP | 1.00 | Year |  | 171675.00 | 171675.00 | 187110.00 | 187110.00 | 171675.00 | Escon elevators Pvt Ltd
8.00 | 3rd Year post DLP | 1.00 | Year |  | 180258.75 | 180258.75 | 196465.50 | 196465.50 | 180258.75 | Escon elevators Pvt Ltd
9.00 | 4th Year post DLP | 1.00 | Year |  | 189271.69 | 189271.69 | 206288.78 | 206288.78 | 189271.69 | Escon elevators Pvt Ltd
10.00 | 5th Year post DLP | 1.00 | Year |  | 198735.27 | 198735.27 | 216603.22 | 216603.22 | 198735.27 | Escon elevators Pvt Ltd
| Total in Figures |  |  |  |  | 3678440.71 |  | 4125667.50
Lowest Amount Quoted BY: Escon elevators Pvt Ltd(3678440.71)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing goods lift at ATS Complex, Mumbai along with A.I.C.M.C. work for the period of 05 years Tender ID: 2025_AAI_230990_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Escon elevators Pvt Ltd (BID ID -840176) | 3678440.71 | L1
| 2 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED (BID ID -838643) | 4125667.50 | L2