## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 30-Apr-2025 04:38 PM Tender Title: Provision of High Mast for Bay No.5 Old Apron used for Night Parking at Gaya Airport, Gaya, Bihar. Tender ID: 2025_AAI_230993_1
Tender Inviting Authority: <AGM ( Engg. Elect), AAI, Gaya Airport, Gaya>
Name of Work: <Provision of High Mast for Bay No.5 & Old Apron used for Night Parking at Gaya Airport, Gaya, Bihar.>
Contract No: <0631-2210043>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S AMAR ENTERPRISES (GSTN-20AAMFA2722R1ZE) BID ID -840683 |  | elektron (GSTN-09AAFFE6230P1Z2) BID ID -840897 |  | MANNA ELECTRONICS AND ELECTRICAL WORKS (GSTN-19AALFM9363P2Z6) BID ID -841073 |  | VL SERVICES (GSTN-NA) BID ID -841160 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -840551 |  | waystone engicon private limited (GSTN-NA) BID ID -841101
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design & Supply of 20 metre height high mast tower, two or three sectioned, hot dip galvanised, suitable for wind velocity as per IS 875 part-3 along with its all accessories & LED Type Low Intensity aviation obstruction light as per ICAO standard etc : viz head frame, steel wire rope, double or tripple drum winch, suitable steel wire rope, Galvanised Circular lantern carriage arrangement( 0-360 Degree ) (suitable for minimum 240 W LED Flood Light luminaire - 20 Nos ), lightning finial, integral power tool installed inside the base compartment for its operation, trailing cable, supply of foundation bolts, with nuts, washers, anchor plates and templates etc. as reqiured. Make :- As per AAI Approved Make list. | 1.00 | Set | 263.00 | 167000.00 | 167000.00 | 573416.00 | 573416.00 | 222200.00 | 222200.00 | 365000.00 | 365000.00 | 30149.00 | 30149.00 | 465000.00 | 465000.00 | 30149.00 | SAURABH ENTERPRISES
2.00 | Design & Supply of 11 metre height high mast tower, two or three sectioned, hot dip galvanised, suitable for wind velocity as per IS 875 part-3 along with its all accessories & LED Type Low Intensity aviation obstruction light etc : viz head frame, steel wire rope,raising lowering system double or tripple drum winch, suitable steel wire rope, Galvanised Circular lantern carriage arrangement( 0-360 Degree ) (suitable for 240 W LED Flood Light luminaire - approx 6 Nos ), lightning finial, integral power tool installed inside the base compartment for its operation, trailing cable, supply of foundation bolts, with nuts, washers, anchor plates and templates etc. as reqiured.Make :- As per AAI Approved Make list. | 2.00 | Set | 263.00 | 90000.00 | 180000.00 | 227999.00 | 455998.00 | 128000.00 | 256000.00 | 145000.00 | 290000.00 | 25000.00 | 50000.00 | 155000.00 | 310000.00 | 50000.00 | SAURABH ENTERPRISES
3.00 | Supply of LED type Flood lighting Luminaire fitting having power consumption approx minimum 240 Watt and lumen output minimum 110 lumens/watt, IP- 65, single piece integral high pressure die cast aluminium housing, complete with electronic power driver, all its accessories suitable for 230V, 50 Hz power supply. The LED fitting should be meeting the technical specification as specified. | 32.00 | Each | 263.00 | 7000.00 | 224000.00 | 11970.00 | 383040.00 | 8200.00 | 262400.00 | 8500.00 | 272000.00 | 9000.00 | 288000.00 | 11400.00 | 364800.00 | 224000.00 | M/S AMAR ENTERPRISES
4.00 | Design and casting & Making of suitable shallow foundation with M-20 concrete for the high mast in the item no.-1 & 2 considering the safe soil bearing capacity at site as 09T/Sq.Mtr at 2 metres depth. Foundation design shall be vetted with Govt. Institute. | 3.00 | Job | 263.00 | 50000.00 | 150000.00 | 72000.00 | 216000.00 | 60000.00 | 180000.00 | 85000.00 | 255000.00 | 30000.00 | 90000.00 | 60000.00 | 180000.00 | 90000.00 | SAURABH ENTERPRISES
5.00 | Erection, testing and commissioning of 20 mtrs High mast system with all its accessories, lighting finial and necessary cables, wirings etc. as required and as per specification on the existing foundation. | 1.00 | Job | 263.00 | 15000.00 | 15000.00 | 9600.00 | 9600.00 | 7000.00 | 7000.00 | 18000.00 | 18000.00 | 10000.00 | 10000.00 | 18000.00 | 18000.00 | 7000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
6.00 | Erection, testing and commissioning of 11 mtrs High mast system with all its accessories, lighting finial and necessary cables, wirings etc. as required and as per specification on the existing foundation. | 2.00 | Job | 263.00 | 10000.00 | 20000.00 | 7200.00 | 14400.00 | 7000.00 | 14000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 14000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
7.00 | Installation , Testing and Commisioning of LED fittings to meet the ICAO Lux requirement of Apron making Suitable arrengement and Configuration of Light fitting as per the direction of Engineer Incharge including wiring with suitable size wire & interconnection of Fittings with feeder Pillar/Junction Box complete as required . | 32.00 | Job | 263.00 | 1000.00 | 32000.00 | 264.00 | 8448.00 | 300.00 | 9600.00 | 250.00 | 8000.00 | 500.00 | 16000.00 | 600.00 | 19200.00 | 8000.00 | VL SERVICES
8.00 | SITC of Outdoor feeder pillar, made of 14 SWG CRCA sheet , IP -55 Stand mounted feeder Pillar with 02 two number 32 A TPN MCB Incomer , Single Dial time switch, 22A TP contactor for the Automatic switching of Luminaire, power tool control with 02 Number 09 Amps Contactors and raise lower push button complete as required. | 3.00 | Each | 263.00 | 25000.00 | 75000.00 | 30000.00 | 90000.00 | 55000.00 | 165000.00 | 32000.00 | 96000.00 | 20000.00 | 60000.00 | 32000.00 | 96000.00 | 60000.00 | SAURABH ENTERPRISES
9.00 | Supply of 3.5C x 70 sqmm XLPE insulated PVC sheathed aluminium conductor armoured power cable of l.lkVgrade conforming to IS:7098 (part-I) with upto date amendment complete as required. | 500.00 | Mtr | 263.00 | 380.00 | 190000.00 | 426.00 | 213000.00 | 358.00 | 179000.00 | 370.00 | 185000.00 | 650.00 | 325000.00 | 380.00 | 190000.00 | 179000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
10.00 | Supply of 3.5C x 50 sqmm XLPE insulated PVC sheathed aluminium conductor armoured power cable of l.lkVgrade conforming to IS:7098 (part-I) with upto date amendment complete as required. | 1000.00 | Mtr | 263.00 | 300.00 | 300000.00 | 320.00 | 320000.00 | 282.00 | 282000.00 | 340.00 | 340000.00 | 550.00 | 550000.00 | 280.00 | 280000.00 | 280000.00 | waystone engicon private limited
11.00 | Supply of 90 mm dia (OD-90 mm & ID-76 mm nominal) DWC HDPE Pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. | 400.00 | Mtr | 263.00 | 300.00 | 120000.00 | 104.00 | 41600.00 | 125.00 | 50000.00 | 365.00 | 146000.00 | 150.00 | 60000.00 | 120.00 | 48000.00 | 41600.00 | elektron
12.00 | Supply of 63 mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE Pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc | 900.00 | Mtr | 263.00 | 300.00 | 270000.00 | 74.00 | 66600.00 | 97.00 | 87300.00 | 250.00 | 225000.00 | 150.00 | 135000.00 | 100.00 | 90000.00 | 66600.00 | elektron
13.00 | Laying of DWC HDPE of size 90 mm dia & 63 mm dia direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 1200.00 | Mtr | 263.00 | 200.00 | 240000.00 | 108.00 | 129600.00 | 65.00 | 78000.00 | 385.00 | 462000.00 | 100.00 | 120000.00 | 50.00 | 60000.00 | 60000.00 | waystone engicon private limited
14.00 | Laying of DWC HDPE of size 90 mm & 63 mm dia dia in concrete / bituminous road / paver block complete including trenching (50 cm deep) and refilling the trench and making good the same,complete as required. | 100.00 | Mtr | 263.00 | 100.00 | 10000.00 | 1140.00 | 114000.00 | 120.00 | 12000.00 | 120.00 | 12000.00 | 250.00 | 25000.00 | 200.00 | 20000.00 | 10000.00 | M/S AMAR ENTERPRISES
15.00 | Supply and laying of 100 mm dia GI pipe, Class 'B' for crossing of roads & pathways i/c cutting, jointing with coupler etc. as required in ground including excavation and refilling the trench and making good the same,complete as required. | 50.00 | Mtr | 263.00 | 1300.00 | 65000.00 | 1252.00 | 62600.00 | 1016.00 | 50800.00 | 1250.00 | 62500.00 | 1200.00 | 60000.00 | 480.00 | 24000.00 | 24000.00 | waystone engicon private limited
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing HDPE pipe RCC/ HUME/ METAL/Duct pipe as required. Above 35 sq. mm and upto 95 sq. mm. | 1400.00 | Mtr | 263.00 | 50.00 | 70000.00 | 42.00 | 58800.00 | 6.00 | 8400.00 | 85.00 | 119000.00 | 30.00 | 42000.00 | 25.00 | 35000.00 | 8400.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation and refilling the trench etc as required, but excluding sand cushioning and protective covering. Above 35 sq. mm and upto 95 sq. mm | 100.00 | Mtr | 263.00 | 50.00 | 5000.00 | 108.00 | 10800.00 | 100.00 | 10000.00 | 265.00 | 26500.00 | 100.00 | 10000.00 | 30.00 | 3000.00 | 3000.00 | waystone engicon private limited
18.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 35 sq. mm and upto 95 sq. mm | 50.00 | Mtr | 263.00 | 50.00 | 2500.00 | 72.00 | 3600.00 | 5.00 | 250.00 | 65.00 | 3250.00 | 40.00 | 2000.00 | 180.00 | 9000.00 | 250.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
19.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp). | 30.00 | Mtr | 263.00 | 50.00 | 1500.00 | 72.00 | 2160.00 | 100.00 | 3000.00 | 85.00 | 2550.00 | 70.00 | 2100.00 | 200.00 | 6000.00 | 1500.00 | M/S AMAR ENTERPRISES
20.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 70 sq. mm. | 2.00 | Each | 263.00 | 3000.00 | 6000.00 | 9600.00 | 19200.00 | 2854.00 | 5708.00 | 2650.00 | 5300.00 | 2200.00 | 4400.00 | 214.00 | 428.00 | 428.00 | waystone engicon private limited
21.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 50 sq. mm. | 4.00 | Each | 263.00 | 2000.00 | 8000.00 | 9000.00 | 36000.00 | 2387.00 | 9548.00 | 2450.00 | 9800.00 | 2200.00 | 8800.00 | 200.00 | 800.00 | 800.00 | waystone engicon private limited
22.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required) 3.5C x 70 sqmm. | 2.00 | Set | 263.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 502.00 | 1004.00 | 1650.00 | 3300.00 | 800.00 | 1600.00 | 200.00 | 400.00 | 400.00 | waystone engicon private limited
23.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required) 3.5C x 50 sqmm. | 4.00 | Set | 263.00 | 1000.00 | 4000.00 | 1320.00 | 5280.00 | 306.00 | 1224.00 | 1250.00 | 5000.00 | 800.00 | 3200.00 | 200.00 | 800.00 | 800.00 | waystone engicon private limited
24.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thickincluding accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 6.00 | Job | 263.00 | 8000.00 | 48000.00 | 12600.00 | 75600.00 | 6500.00 | 39000.00 | 22500.00 | 135000.00 | 10000.00 | 60000.00 | 10000.00 | 60000.00 | 39000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
25.00 | Earthing with GI earth pipe 4.5 mtr long, 40mm dia. including accessories and providing masonary enclosure with cover plate having locking arrangment and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Job | 263.00 | 5000.00 | 10000.00 | 9800.00 | 19600.00 | 5000.00 | 10000.00 | 16500.00 | 33000.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 10000.00 | M/S AMAR ENTERPRISES, MANNA ELECTRONICS AND ELECTRICAL WORKS
26.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 15.00 | Mtr | 263.00 | 500.00 | 7500.00 | 870.00 | 13050.00 | 520.00 | 7800.00 | 350.00 | 5250.00 | 500.00 | 7500.00 | 200.00 | 3000.00 | 3000.00 | waystone engicon private limited
27.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm). | 15.00 | Mtr | 263.00 | 300.00 | 4500.00 | 192.00 | 2880.00 | 100.00 | 1500.00 | 450.00 | 6750.00 | 150.00 | 2250.00 | 200.00 | 3000.00 | 1500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
28.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 20.00 | Mtr | 263.00 | 150.00 | 3000.00 | 192.00 | 3840.00 | 210.00 | 4200.00 | 285.00 | 5700.00 | 150.00 | 3000.00 | 200.00 | 4000.00 | 3000.00 | SAURABH ENTERPRISES, M/S AMAR ENTERPRISES
| Total in Figures |  |  |  |  | 2230000.00 |  | 2952112.00 |  | 1956934.00 |  | 3126900.00 |  | 1999999.00 |  | 2340428.00
Lowest Amount Quoted BY: MANNA ELECTRONICS AND ELECTRICAL WORKS(1956934.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of High Mast for Bay No.5 Old Apron used for Night Parking at Gaya Airport, Gaya, Bihar. Tender ID: 2025_AAI_230993_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANNA ELECTRONICS AND ELECTRICAL WORKS (BID ID -841073) | 1956934.00 | L1
| 2 | SAURABH ENTERPRISES (BID ID -840551) | 1999999.00 | L2
| 3 | M/S AMAR ENTERPRISES (BID ID -840683) | 2230000.00 | L3
| 4 | waystone engicon private limited (BID ID -841101) | 2340428.00 | L4
| 5 | elektron (BID ID -840897) | 2952112.00 | L5
| 6 | VL SERVICES (BID ID -841160) | 3126900.00 | L6